## FCI Summary
Building Name: | Alexander Street | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 74844
Number of Floors: | 4
School Age (years): | 116
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 54.2%
Facility Condition = | VERY POOR
FCI Deficiency Cost = | 8367018.4257
FCI Replacement Cost = | 15436575
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 379
Historic 2005 LRFP Capacity = | 414
Adjusted 2012 Capacity = | 511
Recent Occupancy % = | 74.17%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 93.92%
Classroom Adequacy = | GOOD
Special Spaces Adequacy % Score = | 50.62%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Alexander Street | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 74844
Largest Floor Level Area: |  | 24290
Vertical FAR Ratio: |  | 3.0813
School Age (years): |  | 116
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 2.7% | 5.5687 | 74844 | 416787.525 | 100 | 116 | 0 | 0.5 | 5 | 5 | 20839.3763 | 395948.1487 | 95%
|  |  | A1030 - SLAB ON GRADE | 2.65% | 5.4656 | 74844 | 409069.2375 | 100 | 116 | 0 | 0.5 | 5 | 5 | 20453.4619 | 388615.7756 | 95%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 74844 | 339604.65 | 100 | 116 | 0 | 0.5 | 5 | 5 | 16980.2325 | 322624.4175 | 95%
|  |  | SUBTOTAL SUBSTRUCTURE | 7.55% | 15.5719 | 74844 | 1165461.4125
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 74844 | 1698023.25 | 100 | 116 | 0 | 0.5 | 5 | 5 | 84901.1625 | 1613122.0875 | 95%
|  |  | B1020 - ROOF CONSTRUCTION | 3.4% | 7.0125 | 74844 | 524843.55 | 100 | 116 | 0 | 0.5 | 5 | 5 | 26242.1775 | 498601.3725 | 95%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 7.7% | 15.8812 | 74844 | 1188616.275 | 100 | 116 | 0 | 0.51172 | 5 | 5 | 59430.8138 | 1129185.4612 | 95%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 4.4% | 9.075 | 74844 | 679209.3 | 30 | 40 | 0 | 0.41667 | 5 | 5 | 113201.55 | 566007.75 | 83.33%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 3% | 6.1875 | 74844 | 463097.25 | 30 | 26 | 4 | 0.5 | 15 | 19 | 293294.925 | 169802.325 | 36.67%
|  |  | SUBTOTAL SHELL | 29.5% | 60.8438 | 74844 | 4553789.625
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 74844 | 617463 | 60 | 47.1591 | 12.8409 | 0.53906 | 32.3438 | 45.1847 | 464997.5859 | 152465.4141 | 24.69%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 74844 | 231548.625 | 20 | 18.8043 | 1.1957 | 0.49138 | 9.8276 | 11.0232 | 127620.7845 | 103927.8405 | 44.88%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 74844 | 617463 | 20 | 15.25 | 4.75 | 0.5 | 10 | 14.75 | 455378.9625 | 162084.0375 | 26.25%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 74844 | 231548.625 | 30 | 116 | 0 | 0.5 | 5 | 5 | 38591.4375 | 192957.1875 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 3.2% | 6.6 | 74844 | 493970.4 | 10 | 9.7692 | 0.23077 | 0.36429 | 3.6429 | 3.8736 | 191345.6769 | 302624.7231 | 61.26%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 74844 | 926194.5 | 20 | 20.1034 | 0 | 0.47059 | 5 | 5 | 231548.625 | 694645.875 | 75%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 74844 | 926194.5 | 30 | 30 | 0 | 0.52273 | 15.6818 | 15.6818 | 484147.125 | 442047.375 | 47.73%
|  |  | SUBTOTAL INTERIORS | 26.2% | 54.0375 | 74844 | 4044382.65
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.75% | 1.5469 | 74844 | 115774.3125 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 115774.3125 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 74844 | 231548.625 | 60 | 23.189 | 36.811 | 0.55198 | 33.1187 | 60 | 231548.625 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 74844 | 200675.475 | 60 | 3.5 | 56.5 | 0.75 | 45 | 60 | 200675.475 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 74844 | 185238.9 | 60 | 0 | 60 | 0 | 0 | 60 | 185238.9 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 74844 | 77182.875 | 30 | 60 | 0 | 0.5 | 5 | 5 | 12863.8125 | 64319.0625 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 74844 | 416787.525 | 60 | 0 | 60 | 0.5 | 30 | 60 | 416787.525 | 0 | 0%
|  |  | D3020 - BOILERS | 2% | 4.125 | 74844 | 308731.5 | 60 | 38 | 22 | 0.25 | 15 | 37 | 190384.425 | 118347.075 | 38.33%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 74844 | 617463 | 40 | 60 | 0 | 0.25 | 5 | 5 | 77182.875 | 540280.125 | 87.5%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 74844 | 617463 | 40 | 20.6773 | 19.3227 | 0.47942 | 19.1769 | 38.4997 | 594302.7401 | 23160.2599 | 3.751%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 74844 | 308731.5 | 40 | 0 | 40 | 0 | 0 | 40 | 308731.5 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 74844 | 231548.625 | 20 | 0 | 20 | 0 | 0 | 20 | 231548.625 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 74844 | 154365.75 | 20 | 0 | 20 | 0 | 0 | 20 | 154365.75 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 74844 | 30873.15 | 20 | 15 | 5 | 0.625 | 12.5 | 17.5 | 27014.0063 | 3859.1437 | 12.5%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 74844 | 200675.475 | 60 | 60 | 0 | 0.25 | 15 | 15 | 50168.8688 | 150506.6063 | 75%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 74844 | 1080560.25 | 30 | 16.88 | 13.12 | 0.56452 | 16.9355 | 30 | 1080560.25 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 74844 | 463097.25 | 20 | 6.2604 | 13.7396 | 0.625 | 12.5 | 20 | 463097.25 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 74844 | 46309.725 | 20 | 25.9239 | 0 | 0.52083 | 5 | 5 | 11577.4312 | 34732.2937 | 75%
|  |  | SUBTOTAL SERVICES | 34.25% | 70.6406 | 74844 | 5287026.9375
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 74844
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 74844
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 74844
|  |  | E1090 - OTHER EQUIPMENT |  |  | 74844
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 74844
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 74844
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 74844
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 74844
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 74844
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 74844 | 154365.75 | 30 | 26 | 4 | 0.25 | 7.5 | 11.5 | 59173.5375 | 95192.2125 | 61.67%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 74844 | 77182.875 | 30 | 26 | 4 | 0.25 | 7.5 | 11.5 | 29586.7688 | 47596.1062 | 61.67%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 74844 | 77182.875 | 30 | 0 | 30 | 0.5 | 15 | 30 | 77182.875 | 0 | 0%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 74844 | 77182.875 | 30 | 30 | 0 | 0.5 | 15 | 15 | 38591.4375 | 38591.4375 | 50%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 74844 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 74844
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 74844 | 15436575 | [7 empty] | 8367018.4257 | 54.2%
100%
Note on J34: Tessier, Matthew: No Survey Data
Note on J36: Tessier, Matthew: No Survey Data
Note on J41: Tessier, Matthew: No Survey Data
Note on J42: Tessier, Matthew: No Survey Data
Note on J60: Tessier, Matthew: No Survey Data

## Master File (Interior)
Alexander Street
School Code: | 150
NPS Code: | 47
Street: | 43 Alexander St.
City/Town: | Newark, NJ 07106
Database ID: | 62
Total size (gsf): | 74849
ROOM INFORMATION | [12 empty] | 56.25 | Ave Condition | 0.52344 | [6 empty] | 20.1034 | Ave Condition | 0.47059 | [6 empty] | 9.7692 | Ave Condition | 0.36429 | [5 empty] | 30 | Ave Condition | 0.52273 | [6 empty] | 18.8043 | Ave Condition | 0.49138 | [6 empty] | 47.1591 | Ave Condition | 0.53906 | [6 empty] | 20.1 | Ave Condition | 0.54412 | [6 empty] | 21.9286 | Ave Condition | 0.53125 | [6 empty] | 20.0833 | Ave Condition | 0.64286 | [5 empty] | 30 | Ave Condition | 0.5 | [5 empty] | 23.8333 | Ave Condition | 0.54167 | [6 empty] | 15.25 | Ave Condition | 0.5 | [6 empty] | 16.88 | Ave Condition | 0.56452 | [6 empty] | 28.8478 | Ave Condition | 0.54167 | [6 empty] | 27.9545 | Ave Condition | 0.52885 | [6 empty] | 13.4 | Ave Condition | 0.43 | [6 empty] | 15 | Ave Condition | 0.625 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 9.5625 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [7 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
6751 | 1 | 2nd Grade Classroom | Ground Floor | C | General Classroom (Grades 1-3) |  |  | 862 | 11' 10" | [9 empty] | Wood | [17 empty] | Plaster
6752 | 2 | 2nd Grade Classroom | Ground Floor | A | General Classroom (Grades 1-3) |  |  | 787 | 11' 10" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | [5 empty] | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  |  | Other (describe) | 16 | 21 | 18.5 | Fair | 0.5 |  |  | Drinking fountain | [43 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | [28 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 | [72 empty] | Present
6753 | 3 | 2nd Grade Classroom | Ground Floor | C | General Classroom (Grades 1-3) |  |  | 712 | 11' 10" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6754 | 4 | 2nd Grade Classroom | Ground Floor | C | General Classroom (Grades 1-3) |  |  | 848 | 11' 10" | [9 empty] | Wood | [17 empty] | Plaster
6755 | UN-1 | N/A | Ground Floor | B | N/A |  |  | 125 | N/A
6756 | UN-2 | Water Closet | Ground Floor | A | Support |  |  | 43 | 8' 8" | [9 empty] | Unfinished | [17 empty] | Plaster | [31 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
6757 | UN-3 | Custodial Office | Ground Floor | A | Support |  |  | 479 | 8' 9" | [9 empty] | Unfinished | [17 empty] | Specialty Ceilings (describe)
6758 | UN-4 | Storage | Ground Floor | A | Support |  |  | 464 | 8' 9" | [9 empty] | Unfinished | [17 empty] | Specialty Ceilings (describe)
6759 | UN-5 | Custodial Closet | Ground Floor | A | Support |  |  | 47 | 8' 10" | [9 empty] | Unfinished | [17 empty] | Plaster
6760 | UN-6 | Kitchen | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 796 | 8' 8" | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Metal panel on | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41100 |  | 8.5 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | [5 empty] | Other (describe) |  |  |  | Fair | 0.5 |  |  | Fiber board on wood studs | Stainless Steel Sinks |  |  |  | Good | 0.75 | 2 |  | And wall mount | [43 empty] | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | Kitchen exhaust | [9 empty] | Dry Chemical | 16 | 21 | 18.5 | Fair | 0.5 |  |  | For the hood | [7 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 CPU | [106 empty] | Present - Present - Present | [26 empty] | Present | [8 empty] | Present
6761 | UN-7 | Storage | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 135 | 8' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6762 | UN-8 | Cafeteria | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 1954 | 8' 8" | Brick, Exposed/Unfinished |  |  |  | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41100 |  | 8.5 | Poor | 0.25 |  |  |  | Other (describe) |  |  | Fair | 0.5 |  |  |  | Wood/Wood Frame |  |  |  | Poor | 0.25 |  |  |  | Other (describe) |  |  |  | Good | 0.75 |  |  | Brick | [52 empty] | Fluorescent Linear Surface Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | [8 empty] | Other (describe) | 30+ |  | 30 | Good | 0.75 |  |  | Steam piping | [44 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 CPU | [106 empty] | Present - Present - Present - Present
6763 | UN-9 | N/A | Ground Floor | C | N/A |  |  | 1020 | N/A
6764 | UN-10 | Old Boiler Room | Ground Floor | C | Support |  |  | 537 | N/A
6765 | UN-11 | N/A | Ground Floor | A | N/A |  |  | 159 | N/A
6766 | UN-12 | N/A | Ground Floor | A | N/A |  |  | 589 | N/A
6767 | UN-13 | N/A | Ground Floor | A | N/A |  |  | 266 | N/A
6768 | UN-14 | Girls' Water Closet | Ground Floor | C | Support |  |  | 133 | 6' 6" | [9 empty] | Unfinished | [17 empty] | Plaster | [31 empty] | 2 | [8 empty] | 4 | [8 empty] | 0
6769 | UN-15 | Storage | Ground Floor | A | Support |  |  | 811 | 10' 0" | Brick, Exposed/Unfinished | 60+ |  | 60 | Fair | 0.5 |  |  |  | Unfinished | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls |  |  |  | Fair | 0.5 |  |  |  | Other (describe) |  |  | Good | 0.75 |  |  | Metal | Metal/Metal Frame |  |  |  | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 60+ |  | 60 | Good | 0.75 | [55 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Good | 0.75 |  |  | Horizontal hot water steam piping | [25 empty] | Present - Present | [133 empty] | Present - Present
6770 | UN-16 | Water Closet | Ground Floor | A | Support |  |  | 231 | N/A
6771 | UN-17 | Storage | Ground Floor | A | Support |  |  | 876 | 10' 0" | [9 empty] | Unfinished | [17 empty] | Plaster
6804 | UN-18 | Gymnasium | Ground Floor | C | Phys. Ed. (Gym + Storage) |  |  | 3846 | 18' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6805 | UN-19 | Storage | Ground Floor | C | Phys. Ed. (Gym + Storage) |  |  | 285 | 10' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6806 | UN-20 | Storage | Ground Floor | C | Phys. Ed. (Gym + Storage) |  |  | 295 | 10' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6807 | UN-21 | Old Boiler Room | Ground Floor | C | Support |  |  | 1631 | N/A
6808 | UN-22 | Water Closet | Ground Floor | A | General Classroom (Grades 1-3) |  |  | 46 | 8' 10" | Plaster Partitions/on CMU Back-up Wall |  |  |  | Good | 0.75 |  |  |  | Solid Terrazzo | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 41100 |  | 8.5 | Poor | 0.25 |  |  |  | Plaster |  |  | Fair | 0.5 |  |  |  | Wood/Wood Frame |  |  |  | Poor | 0.25 |  |  |  | Other (describe) |  |  |  | Good | 0.75 |  |  | Plaster on cmu | Wall-Mounted Lavatories | 30+ |  | 30 | Good | 0.75 | 1 |  | Floor mounted flush valve. 30+. Good. 3 | [6 empty] | 3 | [8 empty] | 0 | [27 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | [37 empty] | Present - Present - Present
6809 | UN-23 | Storage | Ground Floor | C | General Classroom (Grades 1-3) |  |  | 34 | 10' 0 | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6810 | UN-24 | Water Closet | Ground Floor | C | General Classroom (Grades 1-3) |  |  | 32 | 8' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Specialty Ceilings (describe) | [31 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
6811 | 101 | 2nd Grade Classroom | 1st Floor | B | General Classroom (Grades 1-3) |  |  | 819 | 12' 7" | [9 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
6812 | 102 | 2nd Grade Classroom | 1st Floor | B | General Classroom (Grades 1-3) |  |  | 838 | 12' 7" | [9 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
6813 | 103 | Classroom | 1st Floor | A | General Classroom |  |  | 752 | 12' 6" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6814 | 104 | Classroom | 1st Floor | A | General Classroom |  |  | 788 | 12' 6" | Plaster Partitions/on CMU Back-up Wall | [7 empty] | Window stool not in good condition | Wood |  |  |  | Fair | 0.5 |  |  | Significant damage to the floor at radiator | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) |  |  | Good | 0.75 |  |  | Wood |  |  |  |  | Fair | 0.5 | [64 empty] | Fluorescent Linear Pendant Mount Fixture |  |  |  | Good | 0.75 |  |  |  | Toggle Wall Switches |  |  |  | Fair | 0.5 | [12 empty] | Window Mounted | 30+ |  | 30 | Poor | 0.25 | [80 empty] | 2 | [72 empty] | Present
6815 | 105 | Music Classroom | 1st Floor | A | Visual & Performing Arts |  |  | 836 | 12' 5" |  |  |  |  | Fair | 0.5 |  |  |  | Wood | [12 empty] | Poor | 0.25 |  |  |  | Unfinished Ceiling |  |  | Fair | 0.5 | [7 empty] | Good | 0.75 | [7 empty] | Poor | 0.25 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Good | 0.75 | [7 empty] | Fair | 0.5 | [7 empty] | Fair | 0.5 |  |  | And exposed steam pipe radiation in poor condition | [25 empty] | Present | [18 empty] | Hardwired CAT 5/6 |  |  |  | Fair | 0.5 |  |  | 2 CPUs | [106 empty] | Present - Present
6816 | 106 | Home Economics | 1st Floor | A | Visual & Performing Arts |  |  | 856 | 12' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | [5 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | [7 empty] | Poor | 0.25 |  |  |  | Unfinished Ceiling |  |  | Fair | 0.5 |  |  | Water damage at one end of room |  |  |  |  | Poor | 0.25 | [12 empty] | Stainless Steel Sinks | 30+ |  | 30 | Fair | 0.5 | 5 | [49 empty] | Good | 0.75 | [7 empty] | Good | 0.75 | [7 empty] | Fair | 0.5 |  |  | With steam piping in poor condition | [25 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 4 CPUs | [106 empty] | Present - Present - Present
6817 | 109 | 6th Grade Classroom | 1st Floor | A | General Classroom (Grades 6-8) |  |  | 822 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster | [11 empty] | Poor | 0.25 | [64 empty] | Fluorescent Linear Pendant Mount Fixture | [8 empty] | Toggle Wall Switches |  |  |  | Fair | 0.5 |  |  |  | Cast Iron Radiators | [33 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 4 | [72 empty] | Present - Present - Present - Present
6818 | 110 | 5th Grade Classroom | 1st Floor | C | General Classroom (Grades 4-5) |  |  | 858 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6819 | 111 | 5th Grade Classroom | 1st Floor | A | General Classroom (Grades 4-5) |  |  | 790 | 12' 0" | Plaster Partitions/on CMU Back-up Wall | [8 empty] | Wood | [8 empty] | Painted Walls | [8 empty] | Plaster | [81 empty] | Good | 0.75 | [7 empty] | Good | 0.75 | [37 empty] | Present - Present - Present - Present | [60 empty] | 4 | [72 empty] | Present - Present - Present - Present - Present
6820 | 112 | 5th Grade Classroom | 1st Floor | C | General Classroom (Grades 4-5) |  |  | 848 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6821 | UN-25 | Auditorium | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 4377 | 12' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls |  |  |  | Fair | 0.5 |  |  |  | Plaster |  |  | Poor | 0.25 |  |  |  | Wood/Wood Frame |  |  |  | Fair | 0.5 |  |  |  | Other (describe) |  |  |  | Poor | 0.25 |  |  | Plaster on cmu. Water damage at front wall near stage | [52 empty] | Fluorescent Linear Pendant Mount Fixture |  |  |  | Fair | 0.5 |  |  |  | Toggle Wall Switches |  |  |  | Fair | 0.5 |  |  |  | Cast Iron Radiators |  |  |  | Fair | 0.5 | [12 empty] | Dry Chemical | 41136 |  | 11.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present
6822 | UN-26 | Dressing Room | 1st Floor | C | Food Service/Assembly (K-8) |  |  | 78 | 10' 0" | [9 empty] | Wood | [17 empty] | Plaster
6823 | UN-27 | Dressing Room | 1st Floor | C | Food Service/Assembly (K-8) |  |  | 75 | 10' 0" | [9 empty] | Wood | [17 empty] | Plaster
6824 | UN-28 | Custodial Closet | 1st Floor | C | Support |  |  | 30 | 12' 0" | [9 empty] | Unfinished | [17 empty] | Plaster
6825 | UN-29 | Storage | 1st Floor | A | Support |  |  | 32 | 9' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6826 | UN-30 | Storage | 1st Floor | A | General Classroom |  |  | 12 | 12' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6827 | UN-31 | Storage | 1st Floor | A | General Classroom |  |  | 13 | 12' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6828 | UN-32 | Storage | 1st Floor | A | General Classroom |  |  | 92 | 12' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6829 | UN-33 | Child Study Room | 1st Floor | A | Small Group Instruction |  |  | 198 | 12' 6" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6830 | UN-34 | Storage | 1st Floor | A | General Classroom |  |  | 86 | 12' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6831 | UN-35 | Nurse | 1st Floor | B | Health Services |  |  | 395 | 12' 6" | Other (describe) |  |  |  | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) |  |  |  | Poor | 0.25 | 0 |  |  | Painted Walls |  |  |  | Fair | 0.5 |  |  |  | Specialty Ceilings (describe) |  |  | Good | 0.75 | 0 |  |  | Wood/Wood Frame | [8 empty] | Other (describe) |  |  |  | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 41136 |  | 11.5 | Good | 0.75 | [46 empty] | Fluorescent Linear Pendant Mount Fixture |  |  |  | Poor | 0.25 |  |  |  | Toggle Wall Switches |  |  |  | Fair | 0.5 |  |  |  | Cast Iron Radiators |  |  |  | Fair | 0.5 |  |  |  | Window Mounted | 16 | 21 | 18.5 | Poor | 0.25 | [38 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 CPU
6832 | UN-36 | Exam Room | 1st Floor | A | Health Services |  |  | 99 | 12' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | [7 empty] | Poor | 0.25 |  |  |  | Specialty Ceilings (describe) |  |  | Fair | 0.5 |  |  |  | Wood/Wood Frame |  |  |  | Fair | 0.5 |  |  |  | Other (describe) |  |  |  | Poor | 0.25 |  |  | Plaster on cmu and. Significant water damage | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present - Present - Present
6833 | UN-37 | Water Closet | 1st Floor | A | Health Services |  |  | 37 | 9' 0" | Plaster Partitions/on CMU Back-up Wall |  |  |  | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) |  |  |  | Fair | 0.5 |  |  |  | Painted Walls |  |  |  | Fair | 0.5 |  |  |  | Other (describe) |  |  | Good | 0.75 |  |  |  | Wood/Wood Frame |  |  |  | Fair | 0.5 |  |  |  | Other (describe) |  |  |  | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Tank | 22 | 30 | 26 | Fair | 0.5 | 1 | [8 empty] | 0 | [27 empty] | Fluorescent Linear Surface Mount Fixture | 30+ |  | 30 | Poor | 0.25 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Good | 0.75 | [28 empty] | Present - Present - Present - Present - Present - Present - Present
6834 | UN-38 | Book Storage | 1st Floor | B | Faculty Support |  |  | 270 | 12' 6 | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6835 | UN-39 | General Office | 1st Floor | A | Administration |  |  | 448 | 12' 7" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Decorative metal | Metal/Metal Frame | 41070 |  | 8 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Painted wood paneling | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Good | 0.75 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Very Good | 0.9 | [19 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 3 CPUs | [106 empty] | Present - Present - Present - Present - Present - Present - Present
6836 | UN-40 | Principal\'s Office | 1st Floor | A | Administration |  |  | 292 | 12' 7" | Plaster Partitions/on CMU Back-up Wall | [8 empty] | Vinyl Composition Tile (VCT) | [8 empty] | Painted Walls | [8 empty] | Other (describe) | [7 empty] | Wood/Wood Frame |  |  |  | Fair | 0.5 |  |  |  | Other (describe) | [60 empty] | Fluorescent Linear Pendant Mount Fixture |  |  |  | Good | 0.75 | [46 empty] | Present - Present - Present - Present - Present - Present - Present | [26 empty] | 1 CPU | [106 empty] | Present - Present - Present - Present - Present - Present - Present
6837 | UN-41 | Storage | 1st Floor | B | Administration |  |  | 55 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6838 | UN-42 | Storage | 1st Floor | B | Administration |  |  | 123 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6839 | UN-43 | Vice Principal\'s Office | 1st Floor | A | Administration |  |  | 164 | 12' 7" | Plaster Partitions/on CMU Back-up Wall |  |  |  | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Good | 0.75 |  |  |  | Metal/Metal Frame | 41070 |  | 8 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on cmu | In-Counter Lavatories | 16 | 21 | 18.5 | Good | 0.75 | 1 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Fair | 0.5 | [19 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 CPU | [106 empty] | Present - Present - Present - Present - Present - Present - Present
6840 | UN-44 | Storage | 1st Floor | B | General Classroom (Grades 1-3) |  |  | 103 | 10' 0 | [9 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
6841 | UN-45 | Womens' Water Closet | 1st Floor | A | Faculty Support |  |  | 70 | 9' 0" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [31 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
6842 | UN-46 | Boys' Water Closet | 1st Floor | C | Support |  |  | 302 | 12' 0" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 4 | [8 empty] | 3 | [8 empty] | 6
6843 | UN-47 | Girls\' Water Closet | 1st Floor | A | Support |  |  | 396 | 12' 0" | Plaster Partitions/on CMU Back-up Wall |  |  |  | Good | 0.75 |  |  |  | Ceramic Tile |  |  |  | Poor | 0.25 |  |  |  | Painted Walls with Wainscot |  |  |  | Poor | 0.25 |  |  |  | Plaster |  |  | Fair | 0.5 |  |  |  | Wood/Wood Frame | [8 empty] | Other (describe) |  |  |  | Good | 0.75 |  |  | Plaster on cmu | Wall-Mounted Lavatories | 16 | 21 | 18.5 | Good | 0.75 | 4 |  |  | Floor Mounted Flush Valve | 16 | 21 | 18.5 | Good | 0.75 | 6 | [8 empty] | 0 | [18 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Fair | 0.5 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Steam radiator pipes. Paint peeling off | [25 empty] | Present - Present - Present - Present - Present - Present - Present
6844 | UN-48 | Mens\' Water Closet | 1st Floor | A | Faculty Support |  |  | 70 | 9' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Ceramic Tile |  |  |  | Fair | 0.5 |  |  |  | Painted Walls |  |  |  | Poor | 0.25 |  |  |  | Suspended Acoustical |  |  | Poor | 0.25 |  |  |  | Wood/Wood Frame |  |  |  | Fair | 0.5 |  |  |  | Other (describe) |  |  |  | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories |  |  |  | Poor | 0.25 | 1 |  |  | Wall Hung Flush Valve |  |  |  | Fair | 0.5 | 1 | [8 empty] | 1 | [27 empty] | Fluorescent Linear Surface Mount Fixture | 30+ |  | 30 | Poor | 0.25 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Poor | 0.25 | [37 empty] | Present - Present - Present - Present - Present - Present - Present
6845 | 201 | 4th Grade Classroom | 2nd Floor | B | General Classroom (Grades 4-5) |  |  | 819 | 12' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | Tin | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on masonry | [52 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Push button | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 41067 |  | 6.5 | Fair | 0.5 | 0 | [35 empty] | 2 | [72 empty] | Present
6846 | 202 | 3rd Grade Classroom | 2nd Floor | B | General Classroom (Grades 1-3) |  |  | 838 | 12' 6" | [9 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
6847 | 203 | 4th Grade Classroom | 2nd Floor | B | General Classroom (Grades 4-5) |  |  | 836 | 12' 6" | [9 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
6848 | 204 | 4th Grade Classroom | 2nd Floor | B | General Classroom (Grades 4-5) |  |  | 833 | 12' 4" | [9 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
6849 | 205 | 3rd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 847 | 12' 6" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6850 | 206 | 3rd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 769 | 12' 6" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6851 | 207 | 3rd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 780 | 12' 6" | [9 empty] | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 |  |  | Wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Push button | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 | [72 empty] | Present - Present
6852 | 208 | 3rd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 824 | 12' 6" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6853 | 209 | Classroom (Science) | 2nd Floor | C | Science (6-12) |  |  | 854 | 12' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 |  | 8.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 |  |  | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Push button | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 | [27 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 2 | [72 empty] | Present - Present - Present
6854 | 210 | 6th Grade Classroom | 2nd Floor | C | General Classroom (Grades 6-8) |  |  | 826 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6855 | 211 | 6th Grade Classroom | 2nd Floor | C | General Classroom (Grades 6-8) |  |  | 826 | 12' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 |  |  | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 | [27 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 3 | [72 empty] | Present - Present - Present - Present
6856 | 212 | 6th Grade Classroom | 2nd Floor | C | General Classroom (Grades 6-8) |  |  | 812 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6857 | UN-49 | Vice Principal's Office | 2nd Floor | B | Administration |  |  | 132 | 12' 7" | [9 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
6858 | UN-50 | Water Closet | 2nd Floor | B | Administration |  |  | 27 | 10' 0 | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
6859 | UN-51 | Storage | 2nd Floor | B | General Classroom (Grades 4-5) |  |  | 101 | 12' 5" | [9 empty] | Wood | [17 empty] | Plaster
6860 | UN-52 | Storage | 2nd Floor | B | General Classroom (Grades 4-5) |  |  | 103 | 12' 5" | [9 empty] | Wood | [17 empty] | Plaster
6861 | UN-53 | Storage | 2nd Floor | C | Support |  |  | 30 | 12' 4" | [9 empty] | Unfinished | [17 empty] | Plaster
6862 | UN-54 | Girls' Water Closet | 2nd Floor | C | Support |  |  | 396 | 12' 0" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 4 | [8 empty] | 6 | [8 empty] | 0
6863 | UN-55 | Balcony | 2nd Floor | C | Food Service/Assembly (K-8) |  |  | 831 | 15' 0" | [9 empty] | Wood | [17 empty] | Plaster
6864 | UN-56 | Storage | 2nd Floor | C | Support |  |  | 42 | 12' 0" | [9 empty] | Unfinished | [17 empty] | Plaster
6865 | UN-57 | Boys\' Water Closet | 2nd Floor | C | Support |  |  | 302 | 12' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | Wall-Mounted Lavatories | 22 | 30 | 26 | Fair | 0.5 | 4 |  |  | Floor Mounted Flush Valve | 22 | 30 | 26 | Fair | 0.5 | 3 |  |  | Wall Hung | 22 | 30 | 26 | Fair | 0.5 | 6 | [18 empty] | Solid Surface (Plastic) | 16 | 30 | 23 | Fair | 0.5 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Poor | 0.25 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | [28 empty] | Present - Present - Present - Present - Present
6866 | UN-58 | Guidance Office | 2nd Floor | C | Administration |  |  | 157 | 12' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Other (describe) | 20+ |  | 20 | Poor | 0.25 | 0 |  | Painted concrete | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on brick | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Poor | 0.25 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41067 |  | 6.5 | Fair | 0.5 | 0 | [107 empty] | 0 | Present - Present - Present - Present - Present
6867 | UN-59 | Storage | 2nd Floor | C | Support |  |  | 22 | 12' 7" | [9 empty] | Unfinished | [17 empty] | Plaster
6868 | UN-60 | Teachers\' Room | 2nd Floor | C | Faculty Support |  |  | 225 | 12' 4" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | In-Counter Lavatories | 16 | 21 | 18.5 | Fair | 0.5 | [46 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Push button | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 |  | 11.5 | Poor | 0.25 | [19 empty] | Present - Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present
6869 | UN-61 | Water Closet | 2nd Floor | C | Faculty Support |  |  | 22 | 9' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Solid Terrazzo | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [6 empty] | 1 |  |  | Floor Mounted Flush Tank | 30+ |  | 30 | Poor | 0.25 | 1 | [8 empty] | 0 | [27 empty] | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Wall mounted fluoresant | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Wall exhaust | [25 empty] | Present - Present - Present - Present - Present - Present - Present
6870 | UN-62 | Storage | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 105 | 10' 0 | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6871 | UN-63 | Storage | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 146 | 10' 0 | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6872 | UN-64 | Teachers\' Room | 2nd Floor | A | Faculty Support |  |  | 110 | 12' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 |  |  | Wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | [46 empty] | Fluorescent Linear Pendant Mount Fixture | 30+ |  | 30 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Push button | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present - Present
6873 | UN-65 | Storage | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 12 | 10' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6874 | UN-66 | Storage | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 13 | 10' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6875 | UN-67 | Storage | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 92 | 10' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6876 | UN-68 | Storage | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 86 | 10' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6877 | UN-69 | Speech | 2nd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 198 | 12' 6" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6878 | 302 | Computer Lab | 3rd Floor | B | Technological Literacy |  |  | 941 | 11' 8" | [9 empty] | Carpet | [17 empty] | Plaster
6879 | 303 | Library | 3rd Floor | B | Media Center |  |  | 969 | 11' 8" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  | Water damage | Metal/Metal Frame | 0 | 5 | 2.5 | Good | 0.75 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Push button | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 6 | [72 empty] | Present
6880 | 309 | Classroom | 3rd Floor | C | General Classroom |  |  | 852 | 11' 8" | [9 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
6881 | 310 | Classroom | 3rd Floor | C | General Classroom |  |  | 828 | 11' 8" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Other (describe) | 30+ | 30 | Good | 0.75 | 0 |  | Tin? | Wood/Wood Frame | 20+ |  | 20 |  |  | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 | [27 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present - Present
6882 | 311 | Classroom | 3rd Floor | C | General Classroom |  |  | 826 | 11' 8" | [9 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
6883 | 312 | 8th Grade Classroom | 3rd Floor | C | General Classroom (Grades 6-8) |  |  | 812 | 11' 8" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 |  | 8.5 | Poor | 0.25 | 0 |  |  | Other (describe) | 30+ | 30 | Good | 0.75 | 0 |  | Tin? | Wood/Wood Frame | 20+ |  | 20 |  |  | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 | [27 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present - Present - Present
6884 | UN-70 | Storage | 3rd Floor | C | Technological Literacy |  |  | 51 | 10' 0" | [9 empty] | Unfinished | [17 empty] | Plaster
6885 | UN-71 | Storage | 3rd Floor | B | Media Center |  |  | 55 | 10' 0" | [9 empty] | Unfinished | [17 empty] | Plaster
6886 | UN-72 | Storage | 3rd Floor | B | Support |  |  | 22 | 10' 0" | [9 empty] | Wood | [17 empty] | Plaster
6887 | UN-73 | Teachers' Lounge | 3rd Floor | C | Faculty Support |  |  | 225 | 11' 8" | [9 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
6888 | UN-74 | Water Closet | 3rd Floor | C | Faculty Support |  |  | 22 | 9' 0" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
6889 | UN-75 | Girls\' Water Closet | 3rd Floor | C | Support |  |  | 59 | 9' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | 1 |  |  | Wall Hung Flush Tank | 30+ |  | 30 | Poor | 0.25 | 1 | [8 empty] | 0 | [27 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Poor | 0.25 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | [28 empty] | Present - Present - Present - Present
6890 | UN-76 | Boys' Water Closet | 3rd Floor | C | Support |  |  | 58 | 9' 0" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 1 | [8 empty] | 1 | [8 empty] | 1
12699 | UN-21A | Storage | Ground Floor | A | Support |  |  | 236
12700 | UN-9A | Electrical Room | Ground Floor | A | Support |  |  | 59
INTERIORs INFORMATION
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
212 | B |  | 1st fl | [6 empty] | Epoxy | 20+ |  | 20 | Fair | 0.5 |  |  | Also wood floor strips epoxy finish | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Decorative metal ceiling, | [8 empty] | Concrete Block | 60+ |  | 60 | Fair | 0.5 | [21 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  | 2x4, 2 needs replacment | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Dry Chemical | 41136 | 11.5 | Good | 0.75 | [10 empty] | Present | [17 empty] | Present | [8 empty] | Present
213 | C |  | 2nd | [6 empty] | Epoxy | 0 | 5 | 2.5 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | [11 empty] | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall Mounted Stainless Steel Drinking Fountains | 0 | 7 | 3.5 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 41136 | 11.5 | Good | 0.75 | [10 empty] | Present | [17 empty] | Present | [8 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
193 | A |  | 1st | [6 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick veneer with cmu backup | Reinforced Concrete | 30+ |  | 30 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Epoxy | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Epoxy | Metal/Metal Frame | 41070 |  | 8 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture |  |  |  | Good | 0.75 |  |  | Cover missing | [8 empty] | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [19 empty] | Present
194 | B |  | 1st | [6 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick veneer with cmu backup | Reinforced Concrete | 30+ |  | 30 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Epoxy | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Epoxy | Metal/Metal Frame | 41070 |  | 8 | Fair | 0.5 |  |  | 1 1/2 rated | [9 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [19 empty] | Present
195 | C |  | 1st | [6 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick veneer with cmu backup | Reinforced Concrete | 30+ |  | 30 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  | Peeling paint | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Epoxy | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Epoxy | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [19 empty] | Present
196 | D |  | Ground | [6 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick veneer with cmu backup | Reinforced Concrete | 30+ |  | 30 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Epoxy paint | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Epoxy paint | Metal/Metal Frame | 41070 |  | 8 | Fair | 0.5 |  |  | 1 1/2 fire rated | [9 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 |  |  | Duct taped together

## Master File (Systems)
systems | Question | Value1 | Average1 | Value2 |  | Average2 | Value3 |  | Average3 | systems | Question | Value1 | Average1
Systems | Seg ID | 1842 |  | 1820 |  |  | 1871 |  |  | InfoTech | Seg ID | 478
| Bldg.Phase | A |  | B |  |  | C |  |  |  | Bldg.Phase | A
| Original | 1 |  | 0 |  |  | 0 |  |  |  | Original | 1
| Addition | 0 |  | 1 |  |  | 1 |  |  |  | Addition | 0
| Year Built | 1896 |  | 1903 |  |  | 1911, 1920 |  |  |  | Year Built | 1896
Domestic Water Heaters | Location | [8 empty] | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | [5 empty] | Fuel/Fired Water Heater |  |  |  | Description
| Age | [5 empty] | 0 | 7 | 3.5 |  | Age
| Condition | [5 empty] | Good |  | 0.75 |  | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | 0 |  | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Sanitary Drainage | Location | [8 empty] | Main Dist. Facility (MDF) | Location | Ground Level Floor
| Description | [9 empty] | Description | UN60 wall mounted rack
| Age | [9 empty] | Age | 41067 | 6.5
| Condition | [9 empty] | Condition | Good | 0.75
| CheckBox | [9 empty] | CheckBox | Secure
| Quantity | 0 |  | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Building Support (other) Plumbing Systems | Location | [8 empty] | MDF, HVAC Terminal Units | Location
| Description | [5 empty] | Stormwater Area Drains |  |  |  | Description
| Age | [5 empty] | 60+ |  | 60 |  | Age
| Condition | [5 empty] | Fair |  | 0.5 |  | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | 0 |  | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Fuel Piping | Location | [8 empty] | MDF, Packaged Terminal Air Conditioner | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | 0 |  | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Fuel Pumps | Location | [8 empty] | Inter. Data Facility (IDF #1) | Location | UN42
| Description | [9 empty] | Description | Wall mounted racks
| Age | [9 empty] | Age | 41067 | 6.5
| Condition | [9 empty] | Condition | Good | 0.75
| CheckBox | [9 empty] | CheckBox | Secure
| Quantity | 0 |  | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Fuel Storage Tanks | Location | [8 empty] | IDF #1, HVAC Terminal Units | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | 0 |  | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Fuel Fired Boilers | Location | [8 empty] | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | [5 empty] | Gas/Fired Boilers |  |  |  | Description
| Age | [5 empty] | 31 | 45 | 38 |  | Age
| Condition | [5 empty] | Poor |  | 0.25 |  | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | 0 |  | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [5 empty] | Condensate return package, poor |  |  |  | Notes
Furnaces | Location | [8 empty] | Inter. Data Facility (IDF #2) | Location | UN 64
| Description | [9 empty] | Description | Wall mounted rack
| Age | [9 empty] | Age | 41067 | 6.5
| Condition | [9 empty] | Condition | Good | 0.75
| CheckBox | [9 empty] | CheckBox | Secure
| Quantity | 0 |  | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Unit Ventilators | Location | [8 empty] | IDF #2, HVAC Terminal Units | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Fan Coil Units | Location | [8 empty] | IDF #2, Packaged Terminal Air Conditioner | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Water Chillers | Location | [8 empty] | Inter. Data Facility (IDF #3) | Location | UN60
| Description | [9 empty] | Description | Cabinet
| Age | [9 empty] | Age | 41067 | 6.5
| Condition | [9 empty] | Condition | Good | 0.75
| CheckBox | [9 empty] | CheckBox | Secure
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Cooling Towers | Location | [8 empty] | IDF #3, HVAC Terminal Units | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Packaged Terminal Air Conditioner | Location | [8 empty] | IDF #3, Packaged Terminal Air Conditioner | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Hydronic Piping System | Location | [8 empty] | Inter. Data Facility (IDF #4) | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | 0 |  | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Pumps | Location | [8 empty] | IDF #4, HVAC Terminal Units | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | 0 |  | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Steam Piping System | Location | [8 empty] | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | [5 empty] | Two Pipe |  |  |  | Description
| Age | [5 empty] | 60+ |  | 60 |  | Age
| Condition | [5 empty] | Poor |  | 0.25 |  | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | 0 |  | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
HVAC Air Distribution | Location | [8 empty] | Inter. Data Facility (IDF #5) | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | 0 |  | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Air Handling Units | Location | [8 empty] | IDF #5, HVAC Terminal Units | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
HVAC Fans | Location | [8 empty] | IDF #5, Packaged Terminal Air Conditioner | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | 0 |  | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Fire/Suppression (Sprinklers), Water/Based | Location | [8 empty] | Backbone Cable Dist. | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | 0 |  | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Fire/Suppression (Standpipes), Water/Based | Location | [8 empty] | Horizontal Cable Dist. | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | 0 |  | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Facility Power Generation, Packaged Generator Assemblies | Location |  |  | UN4
| Description |  |  | Gas Engine Generators
| Age |  |  | 16 | 30 | 23
| Condition |  |  | Fair |  | 0.5
CheckBox
| Quantity | 0 |  | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
| Quantity | 0 |  | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location |  |  | UN4
| Description |  |  | D5010 120
| Age |  |  | 60+ |  | 60
| Condition |  |  | Poor |  | 0.25
CheckBox
| Quantity | 0 |  | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes
Voice Communication Terminal Equipment | Location
Description
Age
Condition
CheckBox
| Quantity | 0 |  | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location |  |  | UN39
| Description |  |  | Public Address and Mass Notification Systems
| Age |  |  | 0 | 10 | 5
| Condition |  |  | Fair |  | 0.5
CheckBox
| Quantity | 0 |  | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location |  |  | Entry
| Description |  |  | Analog Video Recording Devices
| Age |  |  | 0 | 10 | 5
| Condition |  |  | Fair |  | 0.5
CheckBox
| Quantity | 0 |  | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location |  |  | UN3
| Description |  |  | Fire Alarm Annunciation Panels
| Age |  |  | 0 | 10 | 5
| Condition |  |  | Good |  | 0.75
CheckBox
| Quantity | 0 |  | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
| Quantity | 0 |  | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
| Quantity | 0 |  | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Value2 |  | Average2 | Value3 | Average3 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 2237 |  |  | 2249 |  |  | 2260 |  | SiteElements | Seg ID | 533
| Bldg.Phase | A |  |  | B |  |  | C |  |  | Bldg.Phase | A
| Original | 1 |  |  | 0 |  |  | 0 |  |  | Original | 1
| Addition | 0 |  |  | 1 |  |  | 1 |  |  | Addition | 0
| Year Built | 1896 |  |  | 1903 |  |  | 1911, 1920 |  |  | Year Built | 1896
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typ |  |  | Typ |  |  | Typ |  | Roadways | Location | West
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 | 60+ |  | 60 | 60+ | 60 |  | Age | 22 | 30 | 26
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes |  |  |  | Partial cast in place foundation |  |  | Cracks on south side |  |  | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location | [8 empty] | Parking Lots | Location | West
| Description | [9 empty] | Description | Asphalt (Bituminous)
| Age | [9 empty] | Age | 22 | 30 | 26
| Condition | [9 empty] | Condition | Poor |  | 0.25
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Standard Slabs On Grade, Primary | Location | Typ | [5 empty] | Typ |  | Pedestrian Plazas and Walkways, Primary | Location | South
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  | Description | Concrete, CIP
| Age | 60+ |  | 60 | 60+ |  | 60 | 60+ | 60 |  | Age | 22 | 30 | 26
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Standard Slabs On Grade, Secondary | Location | [8 empty] | Pedestrian Plazas and Walkways, Secondary | Location | North
| Description | [9 empty] | Description | Concrete, CIP
| Age | [9 empty] | Age | 22 | 30 | 26
| Condition | [9 empty] | Condition | Fair |  | 0.5
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Floor Construction, Primary | Location | Typ | [5 empty] | Typ |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, CIP Beams and Slab |  |  | Concrete, CIP Beams and Slab |  |  | Concrete, CIP Beams and Slab |  |  | Description
| Age | 60+ |  | 60 | 60+ |  | 60 | 60+ | 60 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair | 0.5 |  | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Floor Construction, Secondary | Location | [8 empty] | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Roof Construction, Structural Frame, Primary | Location | [8 empty] | Site Lighting, Primary | Location | Typ
| Description | [9 empty] | Description | Pole Mounted H.I.D.
| Age | [9 empty] | Age | 41136 |  | 11.5
| Condition | [9 empty] | Condition | Good |  | 0.75
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | Unknown |  |  | Unknown |  |  | Unknown |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location | [8 empty] | Site Lighting, Secondary | Location | Typ
| Description | [9 empty] | Description | Building Mounted H.I.D.
| Age | [9 empty] | Age | 30+ |  | 30
| Condition | [9 empty] | Condition | Fair |  | 0.5
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Exterior Walls / Exterior Assembly, Primary | Location | North | [5 empty] | South |  | Playground Surface | Location | East
| Description | Other (describe) |  |  | Other (describe) |  |  | Other (describe) |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 | 60+ |  | 60 | 60+ | 60 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | Brick veneer with cmu backup |  |  | Brick veneer with cmu backup |  |  | Brick veneer with cmu backup |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location | [8 empty] | Playground Equipment | Location | East
| Description | [9 empty] | Description | B/Ball Backstops
| Age | [9 empty] | Age | 30+ |  | 30
| Condition | [9 empty] | Condition | Fair |  | 0.5
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Exterior Windows, Primary | Location | North | [5 empty] | South |  | TCUs | Location
| Description | Other (describe) |  |  | Other (describe) |  |  | Other (describe) |  |  | Description
| Age | 30+ |  | 30 | 30+ |  | 30 | 30+ | 30 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair | 0.5 |  | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | Aluminum single hung |  |  | Aluminum single hung |  |  | Aluminum single hung |  |  | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Single Pane |  |  | Glass, Single Pane |  |  | Glass, Single Pane
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | 1 inch
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles |  |  | Security Grilles |  |  | Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location | Typ
| Description | Other (describe)
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Aluminum sliding
Exterior Windows, Secondary / Glazing | Location
| Description | Glass, Single Pane
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | Entry | [5 empty] | South
| Description | Wood | [5 empty] | Wood
| Age | 60+ |  | 60 |  |  |  | 60+ | 60
| Condition | Poor |  | 0.25 |  |  |  | Poor | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | Entry |  |  | Roof |  |  | Roof
| Description | Asphalt Shingle |  |  | Asphalt Shingle |  |  | Asphalt, Built Up
| Age | 22 | 30 | 26 | 22 | 30 | 26 | 30+ | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | Roof |  |  | Roof |  |  | Roof
| Description | Aluminum |  |  | Aluminum |  |  | Aluminum
| Age | 22 | 30 | 26 | 22 | 30 | 26 | 30+ | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | Parapet clay tiles
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | Roof |  |  | Roof |  |  | Roof
| Description | Aluminum |  |  | Aluminum |  |  | Aluminum
| Age | 22 | 30 | 26 | 22 | 30 | 26 | 30+ | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Epdm over alum, interior gutters |  |  | Epdm, interior gutters |  |  | Low roof has water pounding.
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes