## FCI Summary
Building Name: | Franklin | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 87540
Number of Floors: | Sub B + B + 3
School Age (years): | ##
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 22%
Facility Condition = | FAIR
FCI Deficiency Cost = | 3972407.3484
FCI Replacement Cost = | 18055125
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 617
Historic 2005 LRFP Capacity = | 543
Adjusted 2012 Capacity = | 490
Recent Occupancy % = | 125.9%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 83.06%
Classroom Adequacy = | FAIR
Special Spaces Adequacy % Score = | 79.25%
Special Spaces Adequacy = | FAIR

## Uniformat FCI
Building Name: |  | Franklin | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 87540
Largest Floor Level Area: |  | 24052
Vertical FAR Ratio: |  | 3.6396
School Age (years): |  | ##
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 1.8% | 3.7125 | 87540 | 324992.25 | 100 | 110 | 0 | 0.5 | 5 | 5 | 16249.6125 | 308742.6375 | 95%
|  |  | A1030 - SLAB ON GRADE | 1.5% | 3.0938 | 87540 | 270826.875 | 100 | 60 | 40 | 0.5 | 50 | 90 | 243744.1875 | 27082.6875 | 10%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 87540 | 397212.75 | 100 | 60 | 40 | 0.5 | 50 | 90 | 357491.475 | 39721.275 | 10%
|  |  | SUBTOTAL SUBSTRUCTURE | 5.5% | 11.3438 | 87540 | 993031.875
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 87540 | 1986063.75 | 100 | 60 | 40 | 0.5 | 50 | 90 | 1787457.375 | 198606.375 | 10%
|  |  | B1020 - ROOF CONSTRUCTION | 2.5% | 5.1562 | 87540 | 451378.125 | 100 | 60 | 40 | 0.5 | 50 | 90 | 406240.3125 | 45137.8125 | 10%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 9.5% | 19.5938 | 87540 | 1715236.875 | 100 | 58.5 | 41.5 | 0.47059 | 47.0588 | 88.5588 | 1518993.5972 | 196243.2778 | 11.44%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 5.5% | 11.3438 | 87540 | 993031.875 | 30 | 13 | 17 | 0.625 | 18.75 | 30 | 993031.875 | 0 | 0%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 2% | 4.125 | 87540 | 361102.5 | 30 | 20.8 | 9.2 | 0.65 | 19.5 | 28.7 | 345454.725 | 15647.775 | 4.333%
|  |  | SUBTOTAL SHELL | 30.5% | 62.9063 | 87540 | 5506813.125
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 87540 | 722205 | 60 | 54.9118 | 5.0882 | 0.48529 | 29.1176 | 34.2059 | 411727.6544 | 310477.3456 | 42.99%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 87540 | 270826.875 | 20 | 20.2121 | 0 | 0.53676 | 5 | 5 | 67706.7188 | 203120.1562 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 87540 | 722205 | 20 | 7.5 | 12.5 | 0.625 | 12.5 | 20 | 722205 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 87540 | 270826.875 | 30 | 110 | 0 | 0.5 | 5 | 5 | 45137.8125 | 225689.0625 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 4% | 8.25 | 87540 | 722205 | 10 | 9.6143 | 0.38571 | 0.40278 | 4.0278 | 4.4135 | 318744.6036 | 403460.3964 | 55.87%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 87540 | 1083307.5 | 20 | 17.1 | 2.9 | 0.53472 | 10.6944 | 13.5944 | 736348.1812 | 346959.3188 | 32.03%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 87540 | 1083307.5 | 30 | 28.7667 | 1.2333 | 0.50781 | 15.2344 | 16.4677 | 594653.0648 | 488654.4352 | 45.11%
|  |  | SUBTOTAL INTERIORS | 27% | 55.6875 | 87540 | 4874883.75
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 1% | 2.0625 | 87540 | 180551.25 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 180551.25 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 87540 | 270826.875 | 60 | 21.8286 | 38.1714 | 0.52564 | 31.5387 | 60 | 270826.875 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 87540 | 234716.625 | 60 | 3.5 | 56.5 | 0.75 | 45 | 60 | 234716.625 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 87540 | 216661.5 | 60 | 38 | 22 | 0.25 | 15 | 37 | 133607.925 | 83053.575 | 38.33%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 87540 | 90275.625 | 30 | 0 | 30 | 0 | 0 | 30 | 90275.625 | 0 | 0%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 87540 | 487488.375 | 60 | 38 | 22 | 0.25 | 15 | 37 | 300617.8312 | 186870.5437 | 38.33%
|  |  | D3020 - BOILERS | 2% | 4.125 | 87540 | 361102.5 | 60 | 38 | 22 | 0.375 | 22.5 | 44.5 | 267817.6875 | 93284.8125 | 25.83%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 87540 | 722205 | 40 | 35.25 | 4.75 | 0.375 | 15 | 19.75 | 356588.7188 | 365616.2812 | 50.62%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 87540 | 722205 | 40 | 21.625 | 18.375 | 0.52625 | 21.05 | 39.425 | 711823.3031 | 10381.6969 | 1.438%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 87540 | 361102.5 | 40 | 0 | 40 | 0 | 0 | 40 | 361102.5 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 87540 | 270826.875 | 20 | 0 | 20 | 0 | 0 | 20 | 270826.875 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 87540 | 180551.25 | 20 | 0 | 20 | 0 | 0 | 20 | 180551.25 | 0 | 100%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 87540 | 36110.25 | 20 | 3.5 | 16.5 | 0.75 | 15 | 20 | 36110.25 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 87540 | 234716.625 | 60 | 38 | 22 | 0.25 | 15 | 37 | 144741.9188 | 89974.7062 | 38.33%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 87540 | 1263858.75 | 30 | 18.0897 | 11.9103 | 0.54012 | 16.2037 | 28.114 | 1184402.4829 | 79456.2671 | 6.287%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 87540 | 541653.75 | 20 | 11.4444 | 8.5556 | 0.54938 | 10.9877 | 19.5432 | 529282.6458 | 12371.1042 | 2.284%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 87540 | 54165.375 | 20 | 18.01 | 1.99 | 0.37981 | 7.5962 | 9.5862 | 25961.8809 | 28203.4941 | 52.07%
|  |  | SUBTOTAL SERVICES | 34.5% | 71.1563 | 87540 | 6229018.125
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 87540
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 87540
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 87540
|  |  | E1090 - OTHER EQUIPMENT |  |  | 87540
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 87540
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 87540
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 87540
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 87540
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 87540
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 87540 | 180551.25 | 30 | 0 | 30 | 0 | 0 | 30 | 180551.25 | 0 | 0%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 87540 | 90275.625 | 30 | 18.5 | 11.5 | 0.5 | 15 | 26.5 | 79743.4688 | 10532.1562 | 11.67%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 87540 | 90275.625 | 30 | 30 | 0 | 0.75 | 22.5 | 22.5 | 67706.7188 | 22568.9062 | 25%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 87540 | 90275.625 | 30 | 11.5 | 18.5 | 0.75 | 22.5 | 30 | 90275.625 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 87540 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 87540
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 87540 | 18055125 | [7 empty] | 3972407.3484 | 22%
100%

## Master File (Interior)
Franklin
School Code: | 430
NPS Code: | 72
Street: | 42 Park Ave.
City/Town: | Newark,
Database ID: | 53
Total size (gsf):
ROOM INFORMATION | [11 empty] | 57 | Ave Condition | 0.44118 | [6 empty] | 17.1 | Ave Condition | 0.53472 | [5 empty] | 9.6143 | Ave Condition | 0.40278 | [5 empty] | 28.7667 | Ave Condition | 0.50781 | [6 empty] | 20.2121 | Ave Condition | 0.53676 | [6 empty] | 54.9118 | Ave Condition | 0.48529 | [6 empty] | 23.1429 | Ave Condition | 0.54688 | [6 empty] | 16.5 | Ave Condition | 0.52778 | [5 empty] | 25.375 | Ave Condition | 0.5 | [5 empty] | 30 | Ave Condition | 0.42857 | [6 empty] | 14.125 | Ave Condition | 0.625 | [6 empty] | 7.5 | Ave Condition | 0.625 | [6 empty] | 12.7692 | Ave Condition | 0.62037 | [5 empty] | 28.52 | Ave Condition | 0.50962 | [5 empty] | 30 | Ave Condition | 0.49 | [6 empty] | 13.25 | Ave Condition | 0.5625 | [6 empty] | 3.5 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 8.5 | Ave Condition | 0.69444 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [8 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [7 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
8061 | UN-01 | Gym | Sub-Basement | A | Phys. Ed. (Gym + Storage) |  |  | 4455 | 19' 2" | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  | painted | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41067 | 6.5 | Poor | 0.25 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | clay | Metal/Metal Frame | 41228 |  | 13 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | brick | [6 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 | [10 empty] | Wall Mounted Electric Water Coolers | 0 | 7 | 3.5 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  | ceiling | [25 empty] | Present | [42 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present
8062 | UN-02 | Gym Teacher | Sub-Basement | A | Phys. Ed. (Gym + Storage) |  |  | 274 | N/A
8063 | UN-03 | N/A | Sub-Basement | A | Phys. Ed. (Gym + Storage) |  |  | 136 | N/A
8064 | UN-04 | bathroom | Sub-Basement | A | Support |  |  | 92 | N/A | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 |  |  |  | Other (describe) | 20+ |  | 20 | Poor | 0.25 |  |  | painted concrete | Painted Walls | 41067 | 6.5 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 41136 |  | 11.5 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Tank | 41136 |  | 11.5 | Good | 0.75 | 1 | [7 empty] | 0 | [28 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | push button | [76 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present - Present
8065 | UN-05 | N/A | Sub-Basement | A | Phys. Ed. (Gym + Storage) |  |  | 39 | N/A
8066 | UN-06 | N/A | Sub-Basement | A | N/A |  |  | 2577 | N/A | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  | painted | Unfinished | 20+ |  | 20 | Fair | 0.5 |  |  | exposed concrete | Painted Walls | 41067 | 6.5 | Fair | 0.5 | [11 empty] | Metal/Metal Frame | 41228 |  | 13 | Good | 0.75 | [18 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
8067 | 100 | Kindergarten | Basement | A | Kindergarten Classroom |  |  | 863 | 11' 2" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 | 0 |  | wood lath | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41067 | 6.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  | painted wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | push button | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Fair | 0.5 | 0 | [35 empty] | 3 | [72 empty] | Present
8068 | 100A | Kindergarten Storage | Basement | A | Kindergarten Classroom |  |  | 65 | N/A
8069 | 100T | Kindergarten Water Closet | Basement | A | Kindergarten Classroom |  |  | 64 | 11' 10" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 | 0 |  | wood lath | Solid Terrazzo | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls with Wainscot | 10+ | 10 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | Painted wood panelling | Wood/Wood Frame | 41070 |  | 8 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on masonry | Wall-Mounted Lavatories |  |  |  | Fair | 0.5 | 2 |  |  | Floor Mounted Flush Valve |  |  |  | Fair | 0.5 | 2 | [7 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Fair | 0.5 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Poor | 0.25 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  | push button | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75 | 0
8070 | B-1 | Custodian | Basement | A | Support |  |  | 363 | N/A | Plaster Partitions/on CMU Back-up Wall | [7 empty] | Wood |  |  |  | Poor | 0.25 |  |  |  | Painted Walls |  |  | Poor | 0.25 |  |  |  | Other (describe) |  |  | Fair | 0.5 |  |  | Painted wood |  |  |  |  | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | [46 empty] | Fluorescent Linear Pendant Mount Fixture |  |  |  | Poor | 0.25 |  |  |  | Other (describe) |  |  | Fair | 0.5 |  |  | Push button | Cast Iron Radiators |  |  | Fair | 0.5 | [28 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Fair | 0.5 |  |  | 1 CPU | [106 empty] | Present - Present
8071 | B-2 | Music Room | Basement | A | Visual & Performing Arts |  |  | 493 | 8' 6"
8072 | B-3 | Speech Room | Basement | A | Self-Contained Sp. Ed. Classroom |  |  | 255 | 8' 6" | Brick, Exposed/Unfinished | 60+ | 60 | Poor | 0.25 | 0 |  | wood lath | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41067 | 6.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  | painted wood | Wood/Metal Frame | 41070 |  | 8 | Fair | 0.5 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  | push button | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Fair | 0.5 | 0 | [35 empty] | 1 | [72 empty] | Present - Present - Present
8073 | B-4 | Guidance Counselor | Basement | A | Administration |  |  | 313 | 8' 6" | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Poor | 0.25 |  |  |  | Painted Walls | 10+ | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | [55 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | [7 empty] | 1 CPU | [106 empty] | Present - Present - Present - Present
8074 | B-5 | Teachers' Room | Basement | A | Faculty Support |  |  | 326 | 8' 6" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
8075 | B-6 | Music Room | Basement | A | Visual & Performing Arts |  |  | 849 | 9' 10" | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 | 0 |  |  | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Good | 0.75 | 0 |  |  | Painted Walls | 41067 | 6.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | [34 empty] | 0 | [11 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present - Present - Present - Present - Present - Present | [7 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0 | Present - Present - Present - Present - Present
8076 | B-8 | Science Lab | Basement | A | Science (6-12) |  |  | 649 | N/A | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 | 0 |  | wood lath | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41067 | 6.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  | painted wood | Wood/Metal Frame | 41070 |  | 8 | Good | 0.75 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | In-Counter Lavatories |  |  |  | Fair | 0.5 | [46 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  | push button | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75 | 0 | [108 empty] | Present - Present - Present - Present - Present - Present
8077 | B-8A | Science Storage | Basement | A | Science (6-12) |  |  | 130 | N/A
8078 | B-8T | Science Lab Water Closet | Basement | A | Science (6-12) |  |  | 19 | N/A | [8 empty] | Unfinished | [16 empty] | Plaster | [31 empty] | 0 | [8 empty] | 1 | [7 empty] | 0
8079 | B-9 | CST | Basement | A | Administration |  |  | 257 | N/A | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
8080 | B-10 | CST | Basement | A | Administration |  |  | 259 | N/A | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
8081 | B-11 | Storage | Basement | A | Support |  |  | 220 | N/A
8082 | B-15 | Book Room | Basement | A | Support |  |  | 272 | N/A
8083 | B-17 | Water Closet | Basement | A | Support |  |  | 31 | N/A | [8 empty] | Unfinished | [16 empty] | Plaster | [31 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
8084 | B-18 | Water Closet | Basement | A | Support |  |  | 30 | N/A | [8 empty] | Unfinished | [16 empty] | Plaster | [31 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
8085 | UN-07 | Water Closet | Basement | A | Support |  |  | 62 | N/A | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
8086 | UN-08 | Cafeteria | Basement | A | Food Service/Assembly (K-8) |  |  | 1462 | 11' 8" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41067 | 6.5 | Fair | 0.5 | 0 |  |  | Acoustical Panel |  |  | Poor | 0.25 | 0 |  | Glued on | Metal/Metal Frame | 16 | 20 | 18 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Poor | 0.25 | 0 |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Poor | 0.25 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | Push button | Terminal Unit Heaters | 30+ | 30 | Poor | 0.25 | 0 |  | Ceiling | [24 empty] | 0 | Present - Present - Present - Present - Present - Present - Present
8087 | UN-09 | N/A | Basement | A | Support |  |  | 29 | N/A
8088 | UN-10 | N/A | Basement | A | Support |  |  | 30 | N/A
8089 | UN-11 | Kitchen | Basement | A | Food Service/Assembly (K-8) |  |  | 735 | N/A | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 0 | 5 | 2.5 | Good | 0.75 | 0 |  | painted | Painted Walls with Wainscot | 10+ | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | plaster on masonry | Stainless Steel Sinks | 41136 |  | 11.5 | Fair | 0.5 |  |  | 3 stainless steel; 2 wall mounted | [31 empty] | 0 | [11 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [8 empty] | 0 |  |  | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | 0 | [8 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 |  |  | Hardwired CAT 5/6 | 41100 |  | 8.5 | Fair | 0.5 | 0 |  | 1 cpu | [6 empty] | 0 | [98 empty] | 0 | [26 empty] | 0 | [8 empty] | 0
8090 | UN-12 | Pantry & Work Area | Basement | A | Food Service/Assembly (K-8) |  |  | 252 | N/A | [8 empty] | Unfinished | [16 empty] | Acoustical Panel
8091 | UN-13 | Storage | Basement | A | Support |  |  | 94 | N/A
8092 | UN-14 | Cafeteria Storeroom | Basement | A | Food Service/Assembly (K-8) |  |  | 217 | 9' 10"
8093 | UN-15 | N/A | Basement | A | Support |  |  | 21 | N/A
8094 | UN-16 | Girls' Water Closet | Basement | A | Support |  |  | 196 | N/A | [57 empty] | 3 | [8 empty] | 2 | [7 empty] | 4
8095 | UN-17 | Boys' Water Closet | Basement | A | Support |  |  | 198 | N/A | [8 empty] | Unfinished | [16 empty] | Plaster
8096 | UN-18 | Custodial Closet | Basement | A | Support |  |  | 10 | N/A
8097 | UN-19 | N/A | Basement | A | N/A |  |  | 656 | N/A
8098 | UN-20 | Custodial Closet | Basement | A | Support |  |  | 46 | N/A
8099 | UN-21 | N/A | Basement | A | Administration |  |  | 11 | N/A
8100 | UN-22 | N/A | Basement | A | Administration |  |  | 12 | N/A
8101 | UN-23 | N/A | Basement | A | Faculty Support |  |  | 12 | N/A
8102 | UN-24 | N/A | Basement | A | Faculty Support |  |  | 10 | N/A
8103 | UN-25 | N/A | Basement | A | N/A |  |  | 24 | N/A
8104 | UN-26 | N/A | Basement | A | Administration |  |  | 60 | N/A
8105 | UN-27 | N/A | Basement | A | Administration |  |  | 58 | N/A
8106 | UN-28 | Boiler Room | Basement | A | Support |  |  | 747 | N/A
8107 | UN-29 | Gallery | Basement | A | Food Service/Assembly (K-8) |  |  | 689 | N/A | [8 empty] | Wood | [16 empty] | Plaster
8108 | 101 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 706 | 13' 0" | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 | 0 |  | wood lath | Wood | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41067 | 6.5 | Fair | 0.5 | 0 |  |  | Specialty Ceilings (describe) | 30+ | 30 | Good | 0.75 | 0 |  | painted tin | Wood/Wood Frame | 41070 |  | 8 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [8 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 | [28 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | push button | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75 | 0 | [35 empty] | 3 | [72 empty] | Present
8109 | 101A | Storage | 1st Floor | A | Kindergarten Classroom |  |  | 88 | N/A | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 | 0 |  | wood lath | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  | painted | Painted Walls | 41067 | 6.5 | Fair | 0.5 | 0 |  |  | Specialty Ceilings (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | painted tin | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [8 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 | [28 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | push button switches | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 0
8110 | 102 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 667 | 13' 0" | [8 empty] | Wood | [16 empty] | Specialty Ceilings (describe)
8111 | 102A | Storage | 1st Floor | A | Kindergarten Classroom |  |  | 63 | N/A
8112 | 103 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 779 | 12' 6" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
8113 | 103T | Kindergarten Water Closet | 1st Floor | A | Kindergarten Classroom |  |  | 29 | 12' 0" | [57 empty] | 1 | [8 empty] | 2 | [7 empty] | 0
8114 | 104 | Montclair Residence Program | 1st Floor | A | Administration |  |  | 657 | 12' 6" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  | wood lath | Wood | 20+ |  | 20 | Fair | 0.5 |  |  | painted | Painted Walls | 41067 | 6.5 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | painted wood | Wood/Wood Frame | 41070 |  | 8 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 |  |  |  | In-Counter Lavatories | 22 | 30 | 26 | Good | 0.75 | 1 |  | with fountain head | [43 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | push button switches | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75 | [109 empty] | Present - Present
8115 | 105 | Vice Principal's Office | 1st Floor | A | Administration |  |  | 265 | 12' 6" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
8116 | 105T | Vice Principal's Water Closet | 1st Floor | A | Administration |  |  | 61 | N/A | [57 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
8117 | 106 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 685 | 12' 6" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
8118 | 106T | Kindergarten Water Closet | 1st Floor | A | Kindergarten Classroom |  |  | 23 | 12' 0" | [57 empty] | 1 | [8 empty] | 2 | [7 empty] | 0
8119 | 107 | World Languages Room | 1st Floor | A | General Classroom |  |  | 642 | 12' 6" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
8120 | 109 | 1st Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 632 | 11' 8" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
8121 | 110 | Special Education Classroom | 1st Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 629 | 11' 8" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
8122 | 110A | Storage | 1st Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 52 | 13' 2" | [8 empty] | Ceramic Tile | [16 empty] | Plaster
8123 | 110B | Storage | 1st Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 7 | N/A
8124 | 111 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 713 | 13' 2" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
8125 | 111A | Storage | 1st Floor | A | Kindergarten Classroom |  |  | 8 | N/A
8126 | 111B | Storage | 1st Floor | A | Kindergarten Classroom |  |  | 52 | N/A
8127 | 112 | 1st Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 717 | 13' 2" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
8128 | 112A | Storage | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 55 | N/A
8129 | 113 | 1st Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 773 | 12' 6" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
8130 | 113A | Storage | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 34 | N/A
8131 | 114 | 1st Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 826 | 12' 6" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
8132 | 115 | 1st Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 843 | N/A
8133 | UN-30 | Nurse | 1st Floor | A | Health Services |  |  | 298 | 12' 6" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  | wood lath | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Good | 0.75 |  |  |  | Painted Walls | 41067 | 6.5 | Poor | 0.25 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | painted wood | Wood/Wood Frame | 41070 |  | 8 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 | [8 empty] | 0 | [7 empty] | 0 | [28 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 41136 | 11.5 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 |  | 11.5 | Good | 0.75 | [19 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75 |  |  | 1 cpu | [106 empty] | Present - Present - Present
8134 | UN-31 | Girls' Water Closet | 1st Floor | A | Support |  |  | 187 | 13' 0" | [8 empty] | Ceramic Tile | [48 empty] | 3 | [8 empty] | 5 | [7 empty] | 0
8135 | UN-32 | Boys\' Water Closet | 1st Floor | A | Support |  |  | 234 | 13' 0" | Other (describe) | 60+ | 60 | Fair | 0.5 |  |  | tile on brick | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  | painted | Painted Walls with Wainscot | 41067 | 6.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 3 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Fair | 0.5 | 3 |  |  | Wall Hung | 30+ | 30 | Fair | 0.5 | 6 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present - Present
8136 | UN-33 | Custodial Closet | 1st Floor | A | Support |  |  | 19 | N/A
8137 | UN-34 | Custodial Closet | 1st Floor | A | Support |  |  | 23 | N/A
8138 | UN-35 | Faculty Water Closet | 1st Floor | A | Faculty Support |  |  | 31 | 7' 8" | [57 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
8139 | UN-36 | Faculty Water Closet | 1st Floor | A | Faculty Support |  |  | 22 | 7' 8" | [8 empty] | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 41067 | 6.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 41136 | 11.5 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Fair | 0.5 | 1 |  |  | Wall Hung Flush Valve | 22 | 30 | 26 | Fair | 0.5 | 1 | [7 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | exhaust vent | [25 empty] | Present - Present - Present - Present - Present - Present
8140 | UN-37 | Office | 1st Floor | A | Administration |  |  | 354 | N/A | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  | wood lath | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Fair | 0.5 |  |  |  | Painted Walls | 41067 | 6.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | [9 empty] | 0 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 41136 | 11.5 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 |  | 11.5 | Good | 0.75 | [19 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75 | [109 empty] | Present - Present - Present - Present | head end
8141 | UN-38 | Vice Principal\'s Office | 1st Floor | A | Administration |  |  | 90 | N/A | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  | wood lath | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Fair | 0.5 |  |  |  | Painted Walls | 41067 | 6.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 41136 | 11.5 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 41228 |  | 13 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [9 empty] | 0 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | [11 empty] | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 |  | 11.5 | Fair | 0.5 | [38 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75 | [10 empty] | Present
8142 | UN-39 | N/A | 1st Floor | A | Administration |  |  | 152 | N/A
8143 | UN-40 | Storage | 1st Floor | A | Administration |  |  | 35 | N/A
8144 | UN-41 | Principal's Office | 1st Floor | A | Administration |  |  | 395 | N/A
8145 | UN-42 | Parent Resource Room | 1st Floor | A | Administration |  |  | 632 | N/A
8146 | UN-43 | Auditorium | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 4728 | 27' 0" | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5
8147 | UN-44 | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 108 | N/A
8148 | UN-45 | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 100 | N/A | [57 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
8149 | UN-46 | Water Closet (Not In Use) | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 23 | N/A
8150 | UN-47 | N/A | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 11 | N/A
8151 | 200 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 409 | 9' 2" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 | 0 |  | wood lath | Wood | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41067 | 6.5 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | painted wood | Wood/Wood Frame | 41070 |  | 8 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | push button | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75 | 0 | [17 empty] | 0 | [17 empty] | 1 | [72 empty] | Present
8152 | 201 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 704 | 13' 0" | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 | 0 |  | wood lath | Wood | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41067 | 6.5 | Fair | 0.5 | 0 |  |  | Specialty Ceilings (describe) | 30+ | 30 | Good | 0.75 | 0 |  | painted tin | Wood/Wood Frame | 41070 |  | 8 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | push button | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [72 empty] | Present - Present
8153 | 201A | Storage | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 82 | N/A | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 | 0 |  | wood lath | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41067 | 6.5 | Poor | 0.25 | 0 |  |  | Specialty Ceilings (describe) | 30+ | 30 | Good | 0.75 | 0 |  | painted tin | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | push button switches | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present - Present - Present
8154 | 202 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 671 | 13' 0" | [8 empty] | Wood | [16 empty] | Specialty Ceilings (describe)
8155 | 203 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 726 | 13' 0" | [8 empty] | Wood | [16 empty] | Specialty Ceilings (describe)
8156 | 203A | Storage | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 12 | N/A
8157 | 203B | N/A | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 30 | N/A
8158 | 203C | N/A | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 40 | N/A
8159 | 204 | Tutor Room | 2nd Floor | A | Small Group Instruction |  |  | 657 | 12' 8" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 | 0 |  | wood lath | Wood | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41067 | 6.5 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | painted wood | Wood/Wood Frame | 41070 |  | 8 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | push button | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75 | 0 | [17 empty] | 0 | [17 empty] | 3 | [72 empty] | Present - Present - Present - Present
8160 | 205 | Special Education Classroom | 2nd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 648 | 12' 0" | [8 empty] | Wood | [16 empty] | Acoustical Panel
8161 | 206 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 656 | 12' 8" | [8 empty] | Wood | [16 empty] | Unfinished Ceiling
8162 | 206A | N/A | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 28 | N/A
8163 | 207 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 642 | 12' 8" | [8 empty] | Wood | [16 empty] | Unfinished Ceiling
8164 | 208 | 3rd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 632 | 11' 10" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
8165 | 209 | Special Education Classroom | 2nd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 632 | 11' 10" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
8166 | 210 | 3rd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 628 | 11' 10" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
8167 | 211 | Special Education Classroom | 2nd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 639 | 11' 10" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
8168 | 211A | Storage | 2nd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 48 | N/A
8169 | 212 | 3rd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 730 | 13' 2" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
8170 | 212A | Storage | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 8 | N/A
8171 | 212B | Storage | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 50 | N/A
8172 | 213 | 3rd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 727 | 13' 2" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
8173 | 213A | N/A | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 65 | N/A
8174 | 214 | Math Lab Room | 2nd Floor | A | Small Group Instruction |  |  | 713 | 13' 2" | [8 empty] | Wood | [16 empty] | Plaster
8175 | 214A | Storage | 2nd Floor | A | Small Group Instruction |  |  | 39 | N/A
8176 | 215 | Art Room | 2nd Floor | A | Visual & Performing Arts |  |  | 849 | 12' 8" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
8177 | 216 | Special Education Classroom | 2nd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 852 | 12' 8" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
8178 | UN-48 | Storage | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 64 | N/A
8179 | UN-49 | Reading Recovery | 2nd Floor | A | Small Group Instruction |  |  | 225 | 13' 0" | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 | 0 |  | wood lath | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ | 10 | Poor | 0.25 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | painted wood | Metal/Metal Frame | 41070 |  | 8 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | push button | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 1 | [72 empty] | Present - Present - Present - Present - Present
8180 | UN-50 | Vice Principal\'s Office | 2nd Floor | A | Administration |  |  | 287 | 12' 8" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Fair | 0.5 |  |  |  | Painted Walls | 41067 | 6.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 | [8 empty] | 1 | [7 empty] | 0 | [28 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | push button | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 16 | 21 | 18.5 | Poor | 0.25 | [19 empty] | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75 | [109 empty] | Present - Present - Present - Present - Present - Present
8181 | UN-51 | Vice Principal's Closet | 2nd Floor | A | Administration |  |  | 34 | N/A | [57 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
8182 | UN-52 | Faculty Water Closet | 2nd Floor | A | Faculty Support |  |  | 19 | N/A
8183 | UN-53 | Faculty Water Closet | 2nd Floor | A | Faculty Support |  |  | 54 | N/A | [57 empty] | 3 | [8 empty] | 2 | [7 empty] | 5
8184 | UN-54 | Custodial Closet | 2nd Floor | A | Support |  |  | 45 | N/A | [57 empty] | 4 | [8 empty] | 6 | [7 empty] | 0
8185 | UN-55 | Boys' Water Closet | 2nd Floor | A | Support |  |  | 314 | 12' 8" | [8 empty] | Unfinished | [16 empty] | Plaster
8186 | UN-56 | Girls' Water Closet | 2nd Floor | A | Support |  |  | 223 | 12' 8"
8187 | UN-57 | Custodial Closet | 2nd Floor | A | Support |  |  | 40 | N/A
8188 | UN-58 | Balcony | 2nd Floor | A | Food Service/Assembly (K-8) |  |  | 1030 | N/A | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 |  |  |  | Epoxy | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | [9 empty] | 0 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present - Present
8189 | UN-59 | Control Room | 2nd Floor | A | Food Service/Assembly (K-8) |  |  | 72 | N/A
8190 | 301 | Special Education Classroom | 3rd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 638 | 11' 0" | [8 empty] | Wood | [16 empty] | Acoustical Panel
8191 | 302 | 3rd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 638 | 11' 0" | [8 empty] | Wood | [16 empty] | Acoustical Panel
8192 | 303 | 4th Grade Classroom | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 638 | 11' 0" | [8 empty] | Wood | [16 empty] | Acoustical Panel
8193 | 304 | 4th Grade Classroom | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 638 | 11' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
8194 | 304A | Storage | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 63 | N/A
8195 | 305 | 2nd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 764 | 11' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
8196 | 305A | Storage | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 56 | N/A
8197 | 306 | Library | 3rd Floor | A | Media Center |  |  | 768 | 11' 0" | [8 empty] | Wood | [16 empty] | Acoustical Panel
8198 | 306A | Storage | 3rd Floor | A | Media Center |  |  | 51 | N/A
8199 | 307 | 4th Grade Classroom | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 725 | 13' 4" | [8 empty] | Wood | [16 empty] | Plaster
8200 | 307A | Storage | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 55 | N/A
8201 | 308 | 4th Grade Classroom | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 832 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
8202 | 309 | Computer Lab | 3rd Floor | A | Technological Literacy |  |  | 852 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
8203 | 309A | Storage | 3rd Floor | A | Technological Literacy |  |  | 86 | N/A
8204 | 309B | Storage | 3rd Floor | A | Technological Literacy |  |  | 58 | N/A
8205 | 310 | Tutoring | 3rd Floor | A | Small Group Instruction |  |  | 622 | 18' 2" / 27' 0" | [8 empty] | Wood | [16 empty] | Unfinished Ceiling
8206 | 311 | Tutoring | 3rd Floor | A | Small Group Instruction |  |  | 581 | 18' 2" / 27' 0" | [8 empty] | Wood | [16 empty] | Unfinished Ceiling
8207 | 312 | ESL Classroom | 3rd Floor | A | Small Group Instruction |  |  | 570 | 18' 2" / 27' 0" | [8 empty] | Wood | [16 empty] | Unfinished Ceiling
8208 | 313 | ESL Classroom | 3rd Floor | A | Small Group Instruction |  |  | 606 | 18' 2" / 27' 0" | [8 empty] | Wood | [16 empty] | Unfinished Ceiling
8209 | 319 | Literacy Coach | 3rd Floor | A | Administration |  |  | 281 | N/A
8210 | UN-60 | Social Worker | 3rd Floor | A | Administration |  |  | 225 | N/A
8211 | UN-61 | ESL Classroom | 3rd Floor | A | Small Group Instruction |  |  | 207 | 9' 6" | [8 empty] | Wood | [16 empty] | Plaster | [31 empty] | 3 | [8 empty] | 5 | [7 empty] | 0
8212 | UN-62 | Custodial Closet | 3rd Floor | A | Support |  |  | 18 | N/A | [57 empty] | 1 | [8 empty] | 2 | [7 empty] | 0
8213 | UN-63 | Girls' Water Closet | 3rd Floor | A | Support |  |  | 172 | 9' 6" | [8 empty] | Unfinished | [16 empty] | Plaster | [31 empty] | 3 | [8 empty] | 3 | [7 empty] | 6
8214 | UN-64 | N/A | 3rd Floor | A | Support |  |  | 9 | N/A | [57 empty] | 1 | [8 empty] | 1 | [7 empty] | 1
8215 | UN-65 | Boys' Water Closet | 3rd Floor | A | Support |  |  | 328 | 9' 6" | [8 empty] | Unfinished | [16 empty] | Plaster
8216 | UN-66 | Women's Faculty Water Closet | 3rd Floor | A | Faculty Support |  |  | 61 | 8' 2" | [8 empty] | Ceramic Tile | [16 empty] | Acoustical Panel
8217 | UN-67 | Men's Faculty Water Closet | 3rd Floor | A | Faculty Support |  |  | 58 | 8' 2" | [8 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [31 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
8218 | UN-68 | Teachers' Resource Room | 3rd Floor | A | Administration |  |  | 134 | N/A
8219 | UN-69 | Water Closet | 3rd Floor | A | Small Group Instruction |  |  | 90 | N/A | [8 empty] | Unfinished | [16 empty] | Acoustical Panel
8220 | UN-70 | N/A | 3rd Floor | A | Small Group Instruction |  |  | 39 | N/A
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [8 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
43 | A | ENT#1 (see marked plans) | 1st floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Good | 0.75 |  |  |  | Ceramic Tile | 20+ |  | 20 | Good | 0.75 |  |  | Mosaic | Painted Walls | 10+ | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 | [12 empty] | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [9 empty] | Fluorescent Linear Surface Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [19 empty] | Present
44 | B | ENT#2 (see marked plans) | 1st floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Solid Terrazzo | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Poor | 0.25 | [12 empty] | Concrete Block | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on masonry | [9 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | [7 empty] | Cast Iron Radiators | [23 empty] | Present
Corridors | [9 empty] | Floor Finish | [7 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Standpipes | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
136 | A | Corridor #1 (see marked plans) | Basement | [9 empty] | Poor | 0.25 |  |  | PaintedAsphalt tiles | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 |  |  | Decorative metal | [8 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | Wall Mounted Stainless Steel Drinking Fountains | 16 | 21 | 18.5 | Fair | 0.5 | [12 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [19 empty] | Present | [16 empty] | Present
137 | B | Corridor#2 (see marked plans) | 1st floor | [6 empty] | Other (describe) | 41070 | 8 | Fair | 0.5 |  |  | Painted concrete and terrazzo in poor condition | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 | [11 empty] | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | Wall Mounted Stainless Steel Drinking Fountains | 16 | 21 | 18.5 | Fair | 0.5 | [12 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 41136 |  | 11.5 | Fair | 0.5 |  |  | Water type | [7 empty] | Present | [16 empty] | Present
138 | C | Corridor#3 (see marked plans) | 1st floor | [6 empty] | Vinyl Composition Tile (VCT) | 41228 | 13 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  | With partial suspended acoustical ceiling type | [8 empty] | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [18 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 41136 |  | 11.5 | Good | 0.75 | [10 empty] | Present | [16 empty] | Present | Camera
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Stair Construction | [8 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
126 | A | Stair#1 (see marked plans) | 1st floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Good | 0.75 |  |  |  | Steel Pan | 30+ |  | 30 | Good | 0.75 |  |  |  | Painted Walls | 10+ | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Exposed landing construction | Exposed Concrete | 30+ |  | 30 | Fair | 0.5 |  |  | Painted | Exposed Concrete | 30+ |  | 30 | Fair | 0.5 |  |  | Painted | Metal/Metal Frame | 41228 |  | 13 | Good | 0.75 | [12 empty] | Fluorescent Pendant Mount Fixture | 30+ | 30 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 | [28 empty] | Present
127 | B | Stair#2 (see marked plans) | 1st floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Reinforced Concrete | 30+ |  | 30 | Fair | 0.5 |  |  |  | Painted Walls | 10+ | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Exposed Concrete | 30+ |  | 30 | Fair | 0.5 |  |  | Painted | Exposed Concrete | 30+ |  | 30 | Fair | 0.5 |  |  | Painted | Metal/Metal Frame | 41228 |  | 13 | Good | 0.75 | [12 empty] | Fluorescent Pendant Mount Fixture | 41136 | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present
128 | C | Stair #3 (see marked plans) | 1st floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Reinforced Concrete | 30+ |  | 30 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ | 10 | Fair | 0.5 |  |  | Wood wainscot | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Decorative metal | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Wood strips | Metal/Metal Frame | 41228 |  | 13 | Good | 0.75 | [12 empty] | Fluorescent Pendant Mount Fixture | 41136 | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 | [28 empty] | Present

## Master File (Systems)
systems | Question | Value1 |  | Average1 | Value2 |  | Average2 | systems | Question | Value1 |  | Average1
Systems | Seg ID | 1114 |  |  | 1116 |  |  | InfoTech | Seg ID | 416
| Bldg.Phase | A |  |  | B |  |  |  | Bldg.Phase | A
| Original | 1 |  |  | 0 |  |  |  | Original | 1
| Addition | 0 |  |  | 1 |  |  |  | Addition | 0
| Year Built | 1889 |  |  | 1910 |  |  |  | Year Built | 1889
Domestic Water Heaters | Location | un28 | [5 empty] | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel | Fired Water Heater | [5 empty] | Description
| Age | 0 | 7 | 3.5 |  |  |  |  | Age
| Condition | Good |  | 0.75 |  |  |  |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Copper piping for domestic hot water. 6. Good. Hot water storage tank. Poor | [6 empty] | Notes
Sanitary Drainage | Location |  |  |  | roof b |  |  | Main Dist. Facility (MDF) | Location
| Description |  |  |  | Other (describe) |  |  |  | Description
| Age |  |  |  | 31 | 45 | 38 |  | Age
| Condition |  |  |  | Poor |  | 0.25 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes |  |  |  | Bathroom exhaust fan |  |  |  | Notes
Building Support (other) Plumbing Systems | Location |  |  |  | roof b |  |  | MDF, HVAC Terminal Units | Location
| Description |  |  |  | Stormwater Area Drains |  |  |  | Description
| Age | [7 empty] | Age
| Condition |  |  |  | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes |  |  |  | Bathroom vent piping |  |  |  | Notes
Fuel Piping | Location | un28 | [5 empty] | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping | [6 empty] | Description
| Age | 31 | 45 | 38 |  |  |  |  | Age
| Condition | Fair |  | 0.5 |  |  |  |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Pumps | Location | [6 empty] | Inter. Data Facility (IDF #1) | Location | B | 15
| Description | [7 empty] | Description | Floor mounted
| Age | [7 empty] | Age | 41067 |  | 6.5
| Condition | [7 empty] | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox | Secure
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes | Door says b | 6
Fuel Storage Tanks | Location | [6 empty] | IDF #1, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Fired Boilers | Location | un28 | [5 empty] | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Other (describe) | [6 empty] | Description
| Age | 31 | 45 | 38 |  |  |  |  | Age
| Condition | Poor |  | 0.25 |  |  |  |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Low pressure steam boiler. Condensate return package. 40. Poor. | [6 empty] | Notes
Furnaces | Location | [6 empty] | Inter. Data Facility (IDF #2) | Location | Un | 50
| Description | [7 empty] | Description | Wall mounted
| Age | [7 empty] | Age | 41067 |  | 6.5
| Condition | [7 empty] | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox | Secure
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Unit Ventilators | Location | [6 empty] | IDF #2, HVAC Terminal Units | Location
| Description | [7 empty] | Description | Cast Iron Radiators
| Age | [7 empty] | Age | 30+ |  | 30
| Condition | [7 empty] | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fan Coil Units | Location | [6 empty] | IDF #2, Packaged Terminal Air Conditioner | Location
| Description | [7 empty] | Description | Window Mounted
| Age | [7 empty] | Age | 22 | 30 | 26
| Condition | [7 empty] | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Water Chillers | Location | [6 empty] | Inter. Data Facility (IDF #3) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Cooling Towers | Location | [6 empty] | IDF #3, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Packaged Terminal Air Conditioner | Location | [6 empty] | IDF #3, Packaged Terminal Air Conditioner | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Hydronic Piping System | Location | [6 empty] | Inter. Data Facility (IDF #4) | Location | un41
| Description | [7 empty] | Description | Idf 0. Wall hung
| Age | [7 empty] | Age | 41067 |  | 6.5
| Condition | [7 empty] | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox | Secure
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Pumps | Location | [6 empty] | IDF #4, HVAC Terminal Units | Location
| Description | [7 empty] | Description | Cast Iron Radiators
| Age | [7 empty] | Age | 30+ |  | 30
| Condition | [7 empty] | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Steam Piping System | Location | typical a | [5 empty] | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Two Pipe | [6 empty] | Description | Window Mounted
| Age | 60+ |  | 60 |  |  |  |  | Age | 0 | 7 | 3.5
| Condition | Poor |  | 0.25 |  |  |  |  | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
HVAC Air Distribution | Location | [6 empty] | Inter. Data Facility (IDF #5) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Air Handling Units | Location | un28 | [5 empty] | IDF #5, HVAC Terminal Units | Location
| Description | Indoor Air Handling Units (AHU) | [6 empty] | Description
| Age | 41233 |  | 10.5 |  |  |  |  | Age
| Condition | Fair |  | 0.5 |  |  |  |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
HVAC Fans | Location | [6 empty] | IDF #5, Packaged Terminal Air Conditioner | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fire/Suppression (Sprinklers), Water/Based | Location | [6 empty] | Backbone Cable Dist. | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fire/Suppression (Standpipes), Water/Based | Location | [6 empty] | Horizontal Cable Dist. | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Facility Power Generation, Packaged Generator Assemblies | Location | un28
| Description | Gas Engine Generators
| Age | 0 | 15 | 7.5
| Condition | Poor |  | 0.25
CheckBox
Quantity
| Voltage | 120/208
| Power Output | 49kva
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | un28
| Description | D5010 120
| Age | 31 | 45 | 38
| Condition | Poor |  | 0.25
CheckBox
Quantity
| Voltage | 208
| Power Output | 1600amps
Elec Power
Notes
Voice Communication Terminal Equipment | Location | B | 1
| Description | PDX/Key Systems
| Age | 0 | 10 | 5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | un37
| Description | Public Address and Mass Notification Systems
| Age | 0 | 10 | 5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | Entry 1
| Description | Analog Video Recording Devices
| Age | 41233 |  | 10.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | B | 1
| Description | Fire Alarm Annunciation Panels
| Age | 0 | 10 | 5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Value2 |  | Average2 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 1468 |  |  | 2305 |  |  | SiteElements | Seg ID | 346
| Bldg.Phase | A |  |  | B |  |  |  | Bldg.Phase | A
| Original | 1 |  |  | 0 |  |  |  | Original | 1
| Addition | 0 |  |  | 1 |  |  |  | Addition | 0
| Year Built | 1889 |  |  | 1910 |  |  |  | Year Built | 1889
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typical a |  |  | Typical b |  |  | Roadways | Location
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  |  | Description
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location | [6 empty] | Parking Lots | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Standard Slabs On Grade, Primary | Location | Typical a |  |  | Typical b |  |  | Pedestrian Plazas and Walkways, Primary | Location | S/1, S/13
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  |  | Description | Concrete, CIP
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age | 16 | 21 | 18.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Standard Slabs On Grade, Secondary | Location | [6 empty] | Pedestrian Plazas and Walkways, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Floor Construction, Primary | Location | Typical a |  |  | Typical b |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, CIP Beams and Slab |  |  | Concrete, CIP Beams and Slab |  |  |  | Description
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | With clay tile infill |  |  | With clay tile infill |  |  |  | Notes
Floor Construction, Secondary | Location | [6 empty] | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Roof Construction, Structural Frame, Primary | Location | Typical a |  |  | Typical b |  |  | Site Lighting, Primary | Location | Typical
| Description | Other (describe) |  |  | Other (describe) |  |  |  | Description | Pole Mounted H.I.D.
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Wood strips on steel framing |  |  | Wood strips on steel framing |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location | [6 empty] | Site Lighting, Secondary | Location | typical
| Description | Concrete, CIP |  |  | Concrete, CIP |  |  |  | Description | Pole Mounted H.I.D.
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Walls / Exterior Assembly, Primary | Location | Typical a |  |  | Typical b |  |  | Playground Surface | Location | s/15
| Description | Brick, Solid (Mass) |  |  | Brick, Solid (Mass) |  |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Extensive severe leaks at area ways and exterior brick requires repointing |  |  | Extensive severe leaks at area ways and exterior brick requires repointing |  |  |  | Notes | With secondary synthetic flooring 16 yrs good condition
Exterior Walls / Exterior Assembly, Secondary | Location | [6 empty] | Playground Equipment | Location | s/15
| Description | [7 empty] | Description | Multi/Component Play Equipment Set
| Age | [7 empty] | Age | 41136 |  | 11.5
| Condition | [7 empty] | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Windows, Primary | Location | Typical a |  |  | Typical b |  |  | TCUs | Location
| Description | Aluminum, Double Hung |  |  | Aluminum, Double Hung |  |  |  | Description
| Age | 16 | 21 | 18.5 | 16 | 21 | 18.5 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated) |  |  | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles |  |  | Security Grilles
Quantity
Voltage
Power Output
Elec Power
| Notes | Security grilles at basement |  |  | Security grilles at basement
Exterior Windows, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | Typical a |  |  | roof b
| Description | Fiber Reinforced Panel (FRP) |  |  | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5 | 0 | 15 | 7.5
| Condition | Good |  | 0.75 | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | roof a |  |  | roof b
| Description | Asphalt Shingle |  |  | Polyurethane, Spray Applied
| Age | 16 | 21 | 18.5 | 30+ |  | 30
| Condition | Good |  | 0.75 | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location |  |  |  | roof b
| Description |  |  |  | Asphalt, Built Up
| Age |  |  |  | 30+ |  | 30
| Condition |  |  |  | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | roof a |  |  | roof b
| Description | Aluminum |  |  | Metal, Galvanized/Painted
| Age | 16 | 21 | 18.5 | 16 | 21 | 18.5
| Condition | Fair |  | 0.5 | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | W/some copper
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | roof a |  |  | roof b
| Description | Metal, Galvanized/Painted |  |  | Other (describe)
| Age | 16 | 21 | 18.5 | 30+ |  | 30
| Condition | Good |  | 0.75 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | Cast iron internal roof drain
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes