## FCI Summary
Building Name: | Boylan ECC (Alexander Annex)
Building Square Footage: | 24083 | 2012 LRFP CONDITION SUMMARY
Number of Floors: | B + 2
School Age (years): | 83
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 42.79%
Facility Condition = | POOR
FCI Deficiency Cost = | 2125570.8482
FCI Replacement Cost = | 4967118.75
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 90
Historic 2005 LRFP Capacity = | 105
Adjusted 2012 Capacity = | 31
Recent Occupancy % = | 290.3%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 60.63%
Classroom Adequacy = | VERY POOR
Special Spaces Adequacy % Score = | 33.87%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Boylan ECC (Alexander Annex) | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 24083
Largest Floor Level Area: |  | 10164
Vertical FAR Ratio: |  | 2.3694
School Age (years): |  | 83
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 2.7% | 5.5687 | 24083 | 134112.2062 | 100 | 83 | 17 | 0.5 | 50 | 67 | 89855.1782 | 44257.0281 | 33%
|  |  | A1030 - SLAB ON GRADE | 2.65% | 5.4656 | 24083 | 131628.6469 | 100 | 83 | 17 | 0.5 | 50 | 67 | 88191.1934 | 43437.4535 | 33%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 24083 | 109276.6125 | 100 | 83 | 17 | 0.5 | 50 | 67 | 73215.3304 | 36061.2821 | 33%
|  |  | SUBTOTAL SUBSTRUCTURE | 7.55% | 15.5719 | 24083 | 375017.4656
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 24083 | 546383.0625 | 100 | 83 | 17 | 0.25 | 25 | 42 | 229480.8862 | 316902.1763 | 58%
|  |  | B1020 - ROOF CONSTRUCTION | 3.4% | 7.0125 | 24083 | 168882.0375 | 100 | 83 | 17 | 0.25 | 25 | 42 | 70930.4557 | 97951.5818 | 58%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 7.7% | 15.8812 | 24083 | 382468.1437 | 100 | 83 | 17 | 0.5 | 50 | 67 | 256253.6563 | 126214.4874 | 33%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 4.4% | 9.075 | 24083 | 218553.225 | 30 | 20 | 10 | 0.5 | 15 | 25 | 182127.6875 | 36425.5375 | 16.67%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 3% | 6.1875 | 24083 | 149013.5625 | 30 | 10 | 20 | 25 | 750 | 30 | 149013.5625 | 0 | 0%
|  |  | SUBTOTAL SHELL | 29.5% | 60.8438 | 24083 | 1465300.0313
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 24083 | 198684.75 | 60 | 83 | 0 | 0.5 | 5 | 5 | 16557.0625 | 182127.6875 | 91.67%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 24083 | 74506.7812 | 20 | 30 | 0 | 0.5 | 5 | 5 | 18626.6953 | 55880.0859 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 24083 | 198684.75 | 20 | 10 | 10 | 0.75 | 15 | 20 | 198684.75 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 24083 | 74506.7812 | 30 | 83 | 0 | 0.5 | 5 | 5 | 12417.7969 | 62088.9844 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 3.2% | 6.6 | 24083 | 158947.8 | 10 | 5 | 5 | 0.5 | 5 | 10 | 158947.8 | 0 | 0%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 24083 | 298027.125 | 20 | 30 | 0 | 0.5 | 5 | 5 | 74506.7812 | 223520.3438 | 75%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 24083 | 298027.125 | 30 | 83 | 0 | 0.25 | 5 | 5 | 49671.1875 | 248355.9375 | 83.33%
|  |  | SUBTOTAL INTERIORS | 26.2% | 54.0375 | 24083 | 1301385.1125
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.75% | 1.5469 | 24083 | 37253.3906 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 37253.3906 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 24083 | 74506.7812 | 60 | 38 | 22 | 0.5 | 30 | 52 | 64572.5438 | 9934.2375 | 13.33%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 24083 | 64572.5437 | 60 | 10 | 50 | 0.5 | 30 | 60 | 64572.5437 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 24083 | 59605.425 | 60 | 83 | 0 | 0.25 | 5 | 5 | 4967.1187 | 54638.3063 | 91.67%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 24083 | 24835.5938 | 30 | 83 | 0 | 0.25 | 5 | 5 | 4139.2656 | 20696.3281 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 24083 | 134112.2062 | 60 | 40 | 20 | 0.25 | 15 | 35 | 78232.1203 | 55880.0859 | 41.67%
|  |  | D3020 - BOILERS | 2% | 4.125 | 24083 | 99342.375 | 60 | 40 | 20 | 0.41667 | 25 | 45 | 74506.7812 | 24835.5938 | 25%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 24083 | 198684.75 | 40 | 26 | 14 | 0.6 | 24 | 38 | 188750.5125 | 9934.2375 | 5%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 24083 | 198684.75 | 40 | 45.75 | 0 | 0.3125 | 5 | 5 | 24835.5938 | 173849.1562 | 87.5%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 24083 | 99342.375 | 40 | 10 | 30 | 0.25 | 10 | 40 | 99342.375 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 24083 | 74506.7812 | 20 | 83 | 0 | 0.1 | 5 | 5 | 18626.6953 | 55880.0859 | 75%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 24083 | 49671.1875 | 20 | 0 | 20 | 0 | 0 | 20 | 49671.1875 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 24083 | 9934.2375 | 20 | 10 | 10 | 0.5 | 10 | 20 | 9934.2375 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 24083 | 64572.5437 | 60 | 40 | 20 | 0.25 | 15 | 35 | 37667.3172 | 26905.2266 | 41.67%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 24083 | 347698.3125 | 30 | 10 | 20 | 0.75 | 22.5 | 30 | 347698.3125 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 24083 | 149013.5625 | 20 | 21.4 | 0 | 0.5 | 5 | 5 | 37253.3906 | 111760.1719 | 75%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 24083 | 14901.3563 | 20 | 25 | 0 | 0.375 | 5 | 5 | 3725.3391 | 11176.0172 | 75%
|  |  | SUBTOTAL SERVICES | 34.25% | 70.6406 | 24083 | 1701238.1719
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 24083
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 24083
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 24083
|  |  | E1090 - OTHER EQUIPMENT |  |  | 24083
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 24083
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 24083
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 24083
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 24083
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 24083
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 24083 | 49671.1875 | 30 | 30 | 0 | 0.5 | 15 | 15 | 24835.5938 | 24835.5938 | 50%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 24083 | 24835.5938 | 30 | 30 | 0 | 0.5 | 15 | 15 | 12417.7969 | 12417.7969 | 50%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 24083 | 24835.5938 | 30 | 10 | 20 | 0.75 | 22.5 | 30 | 24835.5938 | 0 | 0%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 24083 | 24835.5938 | 30 | 30 | 0 | 0.1 | 3 | 3 | 2483.5594 | 22352.0344 | 90%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 24083 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 24083
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 24083 | 4967118.75 | [7 empty] | 2125570.8482 | 42.79%
100%

## Master File (Interior)
Alexander Street Annex
School Code:
NPS Code: | 54
Street: | 15 Boylan St.
City/Town: | Newark, NJ 07106
Database ID: | 63
Total size (gsf): | 24083
ROOM INFORMATION | [11 empty] | 83 | Ave Condition | 0.5 | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | 5 | Ave Condition | 0.5 | [5 empty] | 83 | Ave Condition | 0.25 | [5 empty] | 30 | Ave Condition | 0.5 | [5 empty] | 83 | Ave Condition | 0.5 | [5 empty] | 40 | Ave Condition | 0.5 | [5 empty] | 40 | Ave Condition | 0.5 | [5 empty] | 40 | Ave Condition | 0.5 | [5 empty] | 40 | Ave Condition | 0.5 | [5 empty] | 30 | Ave Condition | 0.5 | [5 empty] | 10 | Ave Condition | 0.75 | [5 empty] | 10 | Ave Condition | 0.75 | [5 empty] | 40 | Ave Condition | 0.5 | [5 empty] | 83 | Ave Condition | 0.25 | [5 empty] | 40 | Ave Condition | 0.25 | [5 empty] | 10 | Ave Condition | 0.5 | [5 empty] | Average Age | 10 | Ave Condition | 0.75 | [5 empty] | Average Age | 83 | Ave Condition | 0.1 | [5 empty] | 7 | Ave Condition | 0.5 | [5 empty] | Average Age | 7 | Ave Condition | 0.5 | [5 empty] | Average Age | 10 | Ave Condition | 0.75 | [5 empty] | Average Age | 5 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 7 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 40 | Ave Condition | 0.5 | [5 empty] | Average Age | 10 | Ave Condition | 0.5 | [5 empty] | Average Age | 40 | Ave Condition | 0.25 | [5 empty] | Average Age | #DIV/0! | 83 | 0.25 | [5 empty] | Average Age | 30 | Ave Condition | 0.25 | [5 empty] | Average Age | 30 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [7 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Interior Door | [7 empty] | Partitions | [7 empty] | Plumbing Fixtures - Lavatories | [7 empty] | Plumbing Fixtures - Toilets | [7 empty] | Plumbing Fixtures - Urinals | [7 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [7 empty] | Toilet Partitions | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [7 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
12617 | UN-1 | Boiler Room | Basement | A | Support |  |  | 1166 | N/A
12618 | UN-2 | Mechanical Room | Basement | A | Support |  |  | 449 | N/A
12619 | UN-3 | Storage | Basement | A | Support |  |  | 311 | N/A
12620 | UN-4 | Storage | Basement | A | Support |  |  | 449 | N/A
12621 | UN-5 | Storage | Basement | A | Support |  |  | 311 | N/A
12622 | 104 | Classroom | 1st Floor | A | General Classroom |  |  | 567 | 13' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12623 | UN-6 | Kitchen/Servery | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 523 | 13' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [7 empty] | Painted Walls | [7 empty] | Plaster | [23 empty] | Stainless Steel Sinks | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | Good | [204 empty] | Present | [8 empty] | Present
12624 | UN-7 | Faculty Water Closet | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 29 | 10' 5" | [8 empty] | Ceramic Tile | [7 empty] | Painted Walls | [7 empty] | Plaster | [23 empty] | Wall-Mounted Lavatories |  |  |  |  | 1 | [7 empty] | 1 | [7 empty] | 0 | [42 empty] | Cast Iron Radiators
12625 | UN-8 | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 65 | 12' 11" | [8 empty] | Ceramic Tile | [15 empty] | Plaster
12626 | UN-9 | Pantry | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 87 | 12' 11" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12627 | UN-10 | Faculty Water Closet | 1st Floor | A | Faculty Support |  |  | 27 | 10' 5" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [28 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
12628 | UN-11 | Faculty Lounge | 1st Floor | A | Faculty Support |  |  | 236 | 13' 0" | [8 empty] | Vinyl Asbestos Tile (VAT) | [7 empty] | Painted Walls | [7 empty] | Plaster | [71 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | Good | [12 empty] | Cast Iron Radiators
12629 | UN-12 | N/A | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 110 | N/A
12630 | UN-13 | Auditorium | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 1262 | 15' 0" | [24 empty] | Plaster
12631 | UN-14 | Storage | 1st Floor | A | Support |  |  | 63 | N/A
12632 | UN-15 | Custodial Closet | 1st Floor | A | Support |  |  | 9 | N/A
12633 | UN-16 | Storage | 1st Floor | A | Support |  |  | 23 | N/A
12634 | UN-17 | Boys' Water Closet | 1st Floor | A | Support |  |  | 171 | 10' 5" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [28 empty] | 2 | [7 empty] | 3 | [7 empty] | 4
12635 | UN-18 | Girls' Water Closet | 1st Floor | A | Support |  |  | 168 | 13' 0" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [28 empty] | 2 | [7 empty] | 4 | [7 empty] | 0
12636 | UN-19 | Storage | 1st Floor | A | Support |  |  | 43 | 13' 0" | [24 empty] | Plaster
12637 | UN-20 | Storage | 1st Floor | A | Support |  |  | 53 | 13' 0" | [24 empty] | Plaster
12638 | UN-21 | Parent Room | 1st Floor | A | Administration |  |  | 346 | 15' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12639 | UN-22 | Storage | 1st Floor | A | Administration |  |  | 41 | 8' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12640 | UN-23 | Storage | 1st Floor | A | Administration |  |  | 40 | 8' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12641 | UN-24 | Storage | 1st Floor | A | Administration |  |  | 7 | 8' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12642 | UN-25 | Storage | 1st Floor | A | Administration |  |  | 22 | 8' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12643 | UN-26 | Storage | 1st Floor | A | Administration |  |  | 7 | 8' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12644 | UN-27 | Water Closet | 1st Floor | A | Administration |  |  | 26 | 12' 0" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [28 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
12645 | UN-28 | Office | 1st Floor | A | Administration |  |  | 189 | 13' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12646 | UN-29 | Main Office | 1st Floor | A | Administration |  |  | 456 | 13' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [7 empty] | Painted Walls | [7 empty] | Plaster | [71 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | Good | [12 empty] | Cast Iron Radiators | [7 empty] | Window Mounted | [157 empty] | head end control
12647 | UN-30 | Safe | 1st Floor | A | Administration |  |  | 14 | N/A
12648 | UN-31 | Storage | 1st Floor | A | Administration |  |  | 15 | N/A
12649 | UN-32 | Water Closet | 1st Floor | A | Administration |  |  | 24 | 12' 0" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [28 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
12650 | UN-33 | Office | 1st Floor | A | Administration |  |  | 186 | 13' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12651 | UN-34 | Storage | 1st Floor | A | Administration |  |  | 23 | N/A
12652 | UN-35 | Classroom | 1st Floor | A | General Classroom |  |  | 453 | 13' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12653 | UN-36 | Nurse's Office | 1st Floor | A | Health Services |  |  | 340 | 13' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12654 | UN-37 | Water Closet | 1st Floor | A | Health Services |  |  | 48 | 8' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Acoustical Panel | [28 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
12655 | UN-38 | Water Closet | 1st Floor | A | General Classroom |  |  | 22 | 13' 0" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [28 empty] | 1 | [7 empty] | 1 | [7 empty] | 1
12656 | UN-39 | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 22 | N/A
12657 | UN-40 | Cafeteria | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 1066 | 12' 1" | [8 empty] | Vinyl Composition Tile (VCT) | [7 empty] | Painted Walls | [7 empty] | Plaster | [6 empty] | peeling paint | [64 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | Good | [12 empty] | Cast Iron Radiators
12658 | 201 | Classroom | 2nd Floor | A | General Classroom |  |  | 750 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12659 | 202 | Classroom | 2nd Floor | A | General Classroom |  |  | 511 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12660 | 203 | Classroom | 2nd Floor | A | General Classroom |  |  | 516 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12661 | 204 | Classroom | 2nd Floor | A | General Classroom |  |  | 580 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12662 | 205 | Classroom | 2nd Floor | A | General Classroom |  |  | 712 | 12' 0" | [8 empty] | Vinyl Asbestos Tile (VAT) | [7 empty] | Painted Walls | [7 empty] | Plaster | [23 empty] | In-Counter Lavatories | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | Good
12663 | 206 | Classroom | 2nd Floor | A | General Classroom |  |  | 549 | 9' 11" | [8 empty] | Vinyl Asbestos Tile (VAT) | [15 empty] | Acoustical Panel | [15 empty] | Other (describe) | [6 empty] | Brick | [48 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | Good
12664 | 207 | Classroom | 2nd Floor | A | General Classroom |  |  | 488 | 9' 11" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Acoustical Panel
12665 | 208 | Classroom | 2nd Floor | A | General Classroom |  |  | 484 | 10' 10" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Acoustical Panel
12666 | 209 | Classroom | 2nd Floor | A | General Classroom |  |  | 444 | 10' 10" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Acoustical Panel
12667 | 210 | Classroom | 2nd Floor | A | General Classroom |  |  | 494 | 10' 10" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Acoustical Panel
12668 | 211 | Art Room | 2nd Floor | A | Visual & Performing Arts |  |  | 1037 | 14' 8" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Specialty Ceilings (describe)
12669 | UN-41 | Storage | 2nd Floor | A | Support |  |  | 20 | N/A
12670 | UN-42 | Storage | 2nd Floor | A | General Classroom |  |  | 9 | N/A
12671 | UN-43 | Storage | 2nd Floor | A | Support |  |  | 13 | N/A
12672 | UN-44 | Storage | 2nd Floor | A | Support |  |  | 13 | N/A
12673 | UN-45 | Storage | 2nd Floor | A | General Classroom |  |  | 16 | N/A
12674 | UN-46 | Art Storage | 2nd Floor | A | Visual & Performing Arts |  |  | 25 | N/A
12675 | UN-47 | Girls' Water Closet | 2nd Floor | A | Support |  |  | 134 | 8' 0" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [28 empty] | 2 | [7 empty] | 4 | [7 empty] | 0
12676 | UN-48 | Storage | 2nd Floor | A | General Classroom |  |  | 19 | N/A
12677 | UN-49 | Storage | 2nd Floor | A | General Classroom |  |  | 22 | N/A
12678 | UN-50 | Storage | 2nd Floor | A | Support |  |  | 43 | N/A
12679 | UN-51 | Storage | 2nd Floor | A | General Classroom |  |  | 24 | N/A
12680 | UN-52 | Storage | 2nd Floor | A | General Classroom |  |  | 24 | N/A
12681 | UN-53 | Storage | 2nd Floor | A | Support |  |  | 28 | N/A
12682 | UN-54 | Storage | 2nd Floor | A | General Classroom |  |  | 19 | N/A
12683 | UN-55 | Storage | 2nd Floor | A | General Classroom |  |  | 13 | N/A
12684 | UN-56 | Custodial Closet | 2nd Floor | A | Support |  |  | 12 | 8' 0" | [8 empty] | Ceramic Tile | [15 empty] | Plaster
12685 | UN-57 | Boys' Water Closet | 2nd Floor | A | Support |  |  | 178 | 8' 0" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [28 empty] | 2 | [7 empty] | 3 | [7 empty] | 3
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [7 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Standpipes | [7 empty] | Partitions | [7 empty] | Plumbing Fixtures - Drinking Fountains | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [7 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes
71 | A | Original | 1st | [11 empty] | 0 |  |  | Vinyl Composition Tile (VCT) |  |  |  |  | 0 |  |  | Painted Walls |  |  |  |  | 0 |  |  | Plaster |  |  |  |  | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 |  |  | Fluorescent Linear Surface Mount Fixture |  |  |  |  | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
#VALUE!
Corridors | [9 empty] | Floor Finish | [7 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Standpipes | [7 empty] | Partitions | [7 empty] | Plumbing Fixtures - Drinking Fountains | [7 empty] | Lockers | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [7 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | FALSE | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes
223 | A | Original | 1st | [6 empty] | Vinyl Composition Tile (VCT) |  |  |  |  | 0 |  |  | Painted Walls |  |  |  |  | 0 |  |  | Plaster |  |  |  |  | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 |  |  | Other (describe) |  |  |  |  | 0 |  | Metal | Fluorescent Linear Surface Mount Fixture |  |  |  |  | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
224 | B | Original | 2nd | [6 empty] | Vinyl Composition Tile (VCT) |  |  |  |  | 0 |  |  | Painted Walls |  |  |  |  | 0 |  |  | Plaster |  |  |  |  | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 |  |  | Fluorescent Linear Surface Mount Fixture |  |  |  |  | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Stair Construction | [7 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Tread Finish | [7 empty] | Landing Finish | [7 empty] | Interior Door | [7 empty] | Standpipes | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [7 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes
211 | A | Original | 40910 | [22 empty] | Painted Walls | [7 empty] | Plaster | [7 empty] | Terrazzo | [7 empty] | Terrazzo | [7 empty] | Metal/Metal Frame | [31 empty] | Fin Tube Radiation
212 | B | Original | 40910 | [6 empty] | #VALUE! | [15 empty] | Painted Walls | [7 empty] | Plaster | [7 empty] | Terrazzo | [7 empty] | Terrazzo | [7 empty] | Metal/Metal Frame | [31 empty] | Fin Tube Radiation
Elevators | [17 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment | [7 empty] | Car Load Capacity | [7 empty] | Elevator Equipment and Controls
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes
21 | A | Original | 40910 | [6 empty] | Hydraulic |  |  |  |  | 0 |  |  | Other (describe) |  |  |  |  | 0 |  | ceiling fluorescent | [5 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 |  | 2000 lbs | [5 empty] | 0

## Master File (Systems)
Systems | Question | Value1 | Average1 | Systems | Question | Value1 | Average1
Systems | Seg ID | 1995 |  | InfoTech | Seg ID | 545
| Bldg.Phase | A |  |  | Bldg.Phase | A
| Original | 1 |  |  | Original | 1
| Addition | 0 |  |  | Addition | 0
| Year Built |  |  |  | Year Built
Domestic Water Heaters | Location | UN/1 |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description |  |  |  | Description
| Age |  | 10 |  | Age
| Condition |  | 0.5 |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Sanitary Drainage | Location |  |  | Main Dist. Facility (MDF) | Location | Ground Level Floor
| Description |  |  |  | Description | UN/33 Wall Mounted
| Age |  | 83 |  | Age
| Condition |  | 0.25 |  | Condition
| CheckBox |  |  |  | CheckBox | Secure
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Building Support (other) Plumbing Systems | Location |  |  | MDF, HVAC Terminal Units | Location
| Description |  |  |  | Description
| Age |  | 83 |  | Age
| Condition |  | 0.25 |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Fuel Piping | Location | UN/1 |  | MDF, Packaged Terminal Air Conditioner | Location
| Description |  |  |  | Description | Window Mounted
| Age |  | 40 |  | Age
| Condition |  | 0.5 |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Fuel Pumps | Location |  |  | Inter. Data Facility (IDF #1) | Location
| Description |  |  |  | Description
| Age |  | 40 |  | Age
| Condition |  | 0.5 |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Fuel Storage Tanks | Location |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  | Description
| Age |  | 40 |  | Age
| Condition |  | 0.25 |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Fuel Fired Boilers | Location | UN/1 |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description |  |  |  | Description
| Age |  | 40 |  | Age
| Condition |  | 0.25 |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Furnaces | Location |  |  | Inter. Data Facility (IDF #2) | Location
| Description |  |  |  | Description
| Age |  |  |  | Age
| Condition |  |  |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Unit Ventilators | Location |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  | Description
| Age |  | 40 |  | Age
| Condition |  | 0.25 |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Fan Coil Units | Location |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  | Description
| Age |  | 30 |  | Age
| Condition |  | 0.5 |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Water Chillers | Location |  |  | Inter. Data Facility (IDF #3) | Location
| Description |  |  |  | Description
| Age |  |  |  | Age
| Condition |  |  |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Cooling Towers | Location |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  | Description
| Age |  |  |  | Age
| Condition |  |  |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  | Description
| Age |  | 20 |  | Age
| Condition |  | 0.5 |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Hydronic Piping System | Location |  |  | Inter. Data Facility (IDF #4) | Location
| Description |  |  |  | Description
| Age |  | 40 |  | Age
| Condition |  | 0.5 |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Pumps | Location |  |  | IDF #4, HVAC Terminal Units | Location
| Description |  |  |  | Description
| Age |  | 40 |  | Age
| Condition |  | 0.25 |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Steam Piping System | Location |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description |  |  |  | Description
| Age |  | 10 |  | Age
| Condition |  | 0.75 |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
HVAC Air Distribution | Location |  |  | Inter. Data Facility (IDF #5) | Location
| Description |  |  |  | Description
| Age |  | 10 |  | Age
| Condition |  | 0.75 |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Air Handling Units | Location |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  |  | Description
| Age |  |  |  | Age
| Condition |  |  |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
HVAC Fans | Location |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description |  |  |  | Description
| Age |  | 40 |  | Age
| Condition |  | 0.5 |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  | Backbone Cable Dist. | Location
| Description |  |  |  | Description
| Age |  | 83 |  | Age
| Condition |  | 0.1 |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  | Description
| Age |  |  |  | Age
| Condition |  |  |  | Condition
| CheckBox |  |  |  | CheckBox
| Quantity |  |  |  | Quantity
| Voltage |  |  |  | Voltage
| Power Output |  |  |  | Power Output
| Elec Power |  |  |  | Elec Power
| Notes |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location
Description
| Age |  | 10
| Condition |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location
Description
| Age |  | 40
| Condition |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Voice Communication Terminal Equipment | Location
Description
| Age |  | 40
| Condition |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | UN/29
Description
| Age |  | 40
| Condition |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | Ent/1
Description
| Age |  | 10
| Condition |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location
Description
| Age |  | 10
| Condition |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
| Age |  | 10
| Condition |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
| Description | Air Compressor
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
No Info