## FCI Summary
Building Name: | Chancellor Avenue | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 92773
Number of Floors: | B + 3
School Age (years): | 82
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 28.2%
Facility Condition = | FAIR
FCI Deficiency Cost = | 5395305.9378
FCI Replacement Cost = | 19134431.25
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 290
Historic 2005 LRFP Capacity = | 427
Adjusted 2012 Capacity = | 599
Recent Occupancy % = | 48.41%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 93.73%
Classroom Adequacy = | GOOD
Special Spaces Adequacy % Score = | 50.13%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Chancellor Avenue | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 92773
Largest Floor Level Area: |  | 26861
Vertical FAR Ratio: |  | 3.4538
School Age (years): |  | 82
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 1.8% | 3.7125 | 92773 | 344419.7625 | 100 | 82 | 18 | 0.5 | 50 | 68 | 234205.4385 | 110214.324 | 32%
|  |  | A1030 - SLAB ON GRADE | 1.5% | 3.0938 | 92773 | 287016.4688 | 100 | 82 | 18 | 0.75 | 75 | 93 | 266925.3159 | 20091.1528 | 7%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 92773 | 420957.4875 | 100 | 82 | 18 | 0.5 | 50 | 68 | 286251.0915 | 134706.396 | 32%
|  |  | SUBTOTAL SUBSTRUCTURE | 5.5% | 11.3438 | 92773 | 1052393.7188
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 92773 | 2104787.4375 | 100 | 82 | 18 | 0.75 | 75 | 93 | 1957452.3169 | 147335.1206 | 7%
|  |  | B1020 - ROOF CONSTRUCTION | 2.5% | 5.1562 | 92773 | 478360.7812 | 100 | 82 | 18 | 0.75 | 75 | 93 | 444875.5266 | 33485.2547 | 7%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 9.5% | 19.5938 | 92773 | 1817770.9688 | 100 | 82 | 18 | 0.58155 | 58.1548 | 76.1548 | 1384319.1532 | 433451.8155 | 23.85%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 5.5% | 11.3438 | 92773 | 1052393.7188 | 30 | 18.75 | 11.25 | 0.5 | 15 | 26.25 | 920844.5039 | 131549.2148 | 12.5%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 2% | 4.125 | 92773 | 382688.625 | 30 | 18.5 | 11.5 | 0.58333 | 17.5 | 29 | 369932.3375 | 12756.2875 | 3.333%
|  |  | SUBTOTAL SHELL | 30.5% | 62.9063 | 92773 | 5836001.5313
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 92773 | 765377.25 | 60 | 52.4634 | 7.5366 | 0.54878 | 32.9268 | 40.4634 | 516162.9503 | 249214.2997 | 32.56%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 92773 | 287016.4688 | 20 | 22.35 | 0 | 0.41026 | 5 | 5 | 71754.1172 | 215262.3516 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 92773 | 765377.25 | 20 | 25 | 0 | 0.5 | 5 | 5 | 191344.3125 | 574032.9375 | 75%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 92773 | 287016.4688 | 30 | 82 | 0 | 0.5 | 5 | 5 | 47836.0781 | 239180.3906 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 4% | 8.25 | 92773 | 765377.25 | 10 | 11.5488 | 0 | 0.39024 | 5 | 5 | 382688.625 | 382688.625 | 50%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 92773 | 1148065.875 | 20 | 19.0349 | 0.96512 | 0.36512 | 7.3023 | 8.2674 | 474578.3937 | 673487.4813 | 58.66%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 92773 | 1148065.875 | 30 | 30 | 0 | 0.57927 | 17.378 | 17.378 | 665038.1593 | 483027.7157 | 42.07%
|  |  | SUBTOTAL INTERIORS | 27% | 55.6875 | 92773 | 5166296.4375
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.7% | 1.4438 | 92773 | 133941.0188 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 133941.0188 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 92773 | 287016.4688 | 60 | 25.2242 | 34.7758 | 0.545 | 32.7 | 60 | 287016.4688 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 92773 | 248747.6062 | 60 | 3.5 | 56.5 | 0.75 | 45 | 60 | 248747.6062 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 92773 | 229613.175 | 60 | 60 | 0 | 0.5 | 30 | 30 | 114806.5875 | 114806.5875 | 50%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 92773 | 95672.1562 | 30 | 23 | 7 | 0.5 | 15 | 22 | 70159.5812 | 25512.575 | 26.67%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 3.2% | 6.6 | 92773 | 612301.8 | 60 | 23 | 37 | 0.25 | 15 | 52 | 530661.56 | 81640.24 | 13.33%
|  |  | D3020 - BOILERS | 2.5% | 5.1562 | 92773 | 478360.7812 | 60 | 41.5 | 18.5 | 0.375 | 22.5 | 41 | 326879.8672 | 151480.9141 | 31.67%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4.5% | 9.2812 | 92773 | 861049.4062 | 40 | 32.5 | 7.5 | 0.375 | 15 | 22.5 | 484340.291 | 376709.1152 | 43.75%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4.5% | 9.2812 | 92773 | 861049.4062 | 40 | 16.7754 | 23.2246 | 0.64855 | 25.942 | 40 | 861049.4062 | 0 | 0%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 0% | 0 | 92773 | 0 | 40 | 0 | 40 | 0 | 0 | 40 | 0 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.8% | 3.7125 | 92773 | 344419.7625 | 20 | 23 | 0 | 0.5 | 5 | 5 | 86104.9406 | 258314.8219 | 75%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 92773 | 191344.3125 | 20 | 7.5 | 12.5 | 0.5 | 10 | 20 | 191344.3125 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 92773 | 38268.8625 | 20 | 24.25 | 0 | 0.625 | 5 | 5 | 9567.2156 | 28701.6469 | 75%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 92773 | 248747.6062 | 60 | 53 | 7 | 0.25 | 15 | 22 | 91207.4556 | 157540.1506 | 63.33%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 92773 | 1339410.1875 | 30 | 12.1406 | 17.8594 | 0.73698 | 22.1094 | 30 | 1339410.1875 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 92773 | 574032.9375 | 20 | 11.8575 | 8.1425 | 0.49886 | 9.9773 | 18.1198 | 520067.3183 | 53965.6192 | 9.401%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 92773 | 57403.2938 | 20 | 34 | 0 | 0.3 | 5 | 5 | 14350.8234 | 43052.4703 | 75%
|  |  | SUBTOTAL SERVICES | 34.5% | 71.1562 | 92773 | 6601378.7812
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 92773
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 92773
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 92773
|  |  | E1090 - OTHER EQUIPMENT |  |  | 92773
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 92773
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 92773
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 92773
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 92773
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 92773
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 92773 | 191344.3125 | 30 | 26 | 4 | 0.25 | 7.5 | 11.5 | 73348.6531 | 117995.6594 | 61.67%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 92773 | 95672.1562 | 30 | 26 | 4 | 0.75 | 22.5 | 26.5 | 84510.4047 | 11161.7516 | 11.67%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 92773 | 95672.1562 | 30 | 0 | 30 | 0 | 0 | 30 | 95672.1562 | 0 | 0%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 92773 | 95672.1562 | 30 | 0 | 30 | 0.1 | 3 | 30 | 95672.1562 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 92773 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 92773
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 92773 | 19134431.25 | [7 empty] | 5395305.9378 | 28.2%
100%
Note on J60: Tessier, Matthew: No Survey Data
Note on J61: Tessier, Matthew: No Survey Data

## Master File (Interior)
Chancellor Avenue
School Code: | 330
NPS Code: | 62
Street: | 321 Chancellor Ave.
City/Town: | Newark,
Database ID: | 29
Total size (gsf): | 81199
ROOM INFORMATION | [11 empty] | Average Age | 55.0476 | Ave Condition | 0.4131 | [5 empty] | Average Age | 19.0349 | Ave Condition | 0.36512 | [5 empty] | Average Age | 11.5488 | Ave Condition | 0.39024 | [5 empty] | Average Age | 30 | Ave Condition | 0.57927 | [5 empty] | Average Age | 22.35 | Ave Condition | 0.41026 | [5 empty] | Average Age | 52.4634 | Ave Condition | 0.54878 | [5 empty] | Average Age | 26.6667 | Ave Condition | 0.5 | [5 empty] | Average Age | 25.6875 | Ave Condition | 0.375 | [5 empty] | Average Age | 22.6 | Ave Condition | 0.6 | [5 empty] | Average Age | 30 | Ave Condition | 0.5 | [5 empty] | Average Age | 21.1667 | Ave Condition | 0.75 | [5 empty] | Average Age | 25 | Ave Condition | 0.5 | [5 empty] | Average Age | 13.4219 | Ave Condition | 0.71094 | [5 empty] | Average Age | 30 | Ave Condition | 0.5 | [5 empty] | Average Age | 30 | Ave Condition | 0.5 | [5 empty] | Average Age | 15.3261 | Ave Condition | 0.69565 | [5 empty] | Average Age | 24.25 | Ave Condition | 0.625 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 8.575 | Ave Condition | 0.7375 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [8 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
1899 | 1 | Music | Basement | A | Visual & Performing Arts |  |  | 833 | 9' 6" | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present | [27 empty] | 2 cpu w/ no data ports | [106 empty] | Present | clock and speaker
1900 | 1 | Classroom | Basement | A | General Classroom |  |  | 626 | 10' 7"
1901 | 2 | Classroom | Basement | A | General Classroom |  |  | 637 | 10' 7"
1902 | 3 | Child Study | Basement | A | Administration |  |  | 704 | 9' 6" | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Poor | 0.25 |  |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Poor | 0.25 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present | [134 empty] | Present | clock and speaker
1903 | 3 | Classroom | Basement | A | General Classroom |  |  | 736 | 10' 7" | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 60+ |  | 60 | Poor | 0.25 |  |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present | [43 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present | clock and speaker
1904 | 4 | Storage | Basement | A | Support |  |  | 719 | N/A | [9 empty] | Vinyl Asbestos Tile (VAT)
1905 | 6 | Water Closet | Basement | A | Support |  |  | 187 | N/A
1906 | 7 | N/A | Basement | A | Support |  |  | 270 | N/A
1907 | 8 | N/A | Basement | A | N/A |  |  | 260 | N/A
1908 | UN-1 | N/A | Basement | A | N/A |  |  | 248 | N/A
1909 | UN-2 | N/A | Basement | A | N/A |  |  | 331 | N/A
1910 | UN-3 | N/A | Basement | A | N/A |  |  | 371 | N/A
1911 | UN-4 | Showers | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 200 | N/A
1912 | UN-5 | Custodial Closet | Basement | A | Support |  |  | 12 | N/A
1913 | UN-6 | Water Closet | Basement | A | Support |  |  | 53 | N/A
1914 | UN-7 | Dressing Room | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 228 | N/A
1915 | UN-8 | Boiler Room | Basement | A | Support |  |  | 997 | N/A
1916 | UN-9 | Custodial Closet | Basement | A | Support |  |  | 265 | N/A
1917 | UN-10 | Storage | Basement | A | Support |  |  | 277 | 10' 7
1918 | UN-11 | N/A | Basement | A | N/A |  |  | 17 | N/A
1919 | UN-12 | Water Closet | Basement | A | Support |  |  | 56 | 9' 7"
1920 | UN-13 | N/A | Basement | A | N/A |  |  | 81 | N/A
1921 | UN-14 | Classroom | Basement | A | General Classroom |  |  | 886 | 9' 6 | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present | [43 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present | clock and speaker
1922 | UN-15 | Classroom | Basement | A | General Classroom |  |  | 937 | 9' 6"
1923 | UN-16 | N/A | Basement | A | N/A |  |  | 67 | N/A
1924 | UN-17 | Electric Meter Room | Basement | A | Support |  |  | 243 | N/A
1925 | UN-18 | Transformer Room | Basement | A | Support |  |  | 325 | N/A
1926 | UN-19 | N/A | Basement | A | Support |  |  | 389 | N/A
1927 | UN-20 | N/A | Basement | A | N/A |  |  | 298 | N/A
1928 | UN-21 | N/A | Basement | A | N/A |  |  | 82 | N/A
1929 | UN-22 | N/A | Basement | A | N/A |  |  | 12 | N/A
1930 | UN-23 | N/A | Basement | A | N/A |  |  | 9 | N/A
1931 | UN-24 | Storage | Basement | A | Support |  |  | 254 | N/A
1932 | UN-25 | Storage | Basement | A | Support |  |  | 311 | N/A
1933 | UN-26 | N/A | Basement | A | Support |  |  | 2293 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Other (describe) | 20+ |  | 20 | Poor | 0.25 | 0 |  | exposed concrete | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 |  |  | Concrete Block | 60+ |  | 60 | Poor | 0.25 | 0 | [44 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0
1934 | UN-27 | N/A | Basement | A | N/A |  |  | 4001 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Unfinished | 20+ |  | 20 | Poor | 0.25 | 0 |  | exposed concrete | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 |  |  | Concrete Block | 60+ |  | 60 | Poor | 0.25 | 0 | [62 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0
1935 | 101 | Classroom | 1st Floor | A | General Classroom |  |  | 1208 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 | 0 |  | 2x4 | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | painted plaster finish | In-Counter Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  | not in use | [45 empty] | Fluorescent Linear Surface Mount Fixture | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | unit ventilator tied to steam system | Dry Chemical | 16 | 21 | 18.5 | Good | 0.75 | [10 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [72 empty] | Present | clock and speaker
1936 | 102 | Classroom | 1st Floor | A | General Classroom |  |  | 440 | 12'
1937 | 103 | Classroom | 1st Floor | A | General Classroom |  |  | 825 | 12'
1938 | 104 | Classroom | 1st Floor | A | General Classroom |  |  | 825 | 12'
1939 | 105 | Classroom | 1st Floor | A | General Classroom |  |  | 711 | 12'
1940 | 106 | Classroom | 1st Floor | A | General Classroom |  |  | 768 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  | 2x4 | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 22 | 30 | 26 | Good | 0.75 | 0 |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | unit ventilator tied to steam system | [16 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [72 empty] | Present | clock and speaker
1941 | UN-28 | Girls\' Water Closet | 1st Floor | A | Support |  |  | 178 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  | tile wainscot | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Tile | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 3 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Fair | 0.5 | 7 | [8 empty] | 0 | [20 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Fair | 0.5 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  | 1x4 | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present
1942 | UN-29 | Storage | 1st Floor | A | General Classroom |  |  | 66 | 12'
1943 | UN-30 | Storage | 1st Floor | A | General Classroom |  |  | 33 | 12'
1944 | UN-31 | Storage | 1st Floor | A | General Classroom |  |  | 67 | 12' | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [62 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0
1945 | UN-32 | Storage | 1st Floor | A | General Classroom |  |  | 32 | 12'
1946 | UN-33 | Safe | 1st Floor | A | Administration |  |  | 17 | N/A
1947 | UN-34 | N/A | 1st Floor | A | Administration |  |  | 23 | N/A
1948 | UN-35 | Principal\'s Office | 1st Floor | A | Administration |  |  | 10 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Carpet | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 60+ |  | 60 | Good | 0.75 |  |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Window Mounted | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | [19 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 |  |  | 1 cpu | [106 empty] | Present | head end controls
1949 | UN-36 | N/A | 1st Floor | A | Administration |  |  | 10 | N/A
1950 | UN-37 | N/A | 1st Floor | A | Administration |  |  | 26 | N/A
1951 | UN-38 | Principal's Office | 1st Floor | A | Administration |  |  | 202 | N/A
1952 | UN-39 | Main Office | 1st Floor | A | Administration |  |  | 417 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Other (describe) | 2012-06-10 |  | 1900-01-07 | Fair | 0.5 |  |  | painted concrete | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 60+ |  | 60 | Good | 0.75 |  |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Window Mounted | 16 | 21 | 18.5 | Good | 0.75 | [19 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 |  |  | 2 cpu
1953 | UN-40 | Staff Water Closet | 1st Floor | A | Administration |  |  | 21 | N/A
1954 | UN-41 | N/A | 1st Floor | A | Health Services |  |  | 16 | N/A
1955 | UN-42 | Storage | 1st Floor | A | Health Services |  |  | 220 | 12'
1956 | UN-43 | Waiting Room | 1st Floor | A | Health Services |  |  | 204 | N/A
1957 | UN-44 | Nurse | 1st Floor | A | Health Services |  |  | 285 | 12' | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  | plaster finish | Other (describe) | 0 | 5 | 2.5 | Poor | 0.25 |  |  | painted concrete | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Good | 0.75 |  |  | painted plaster finish | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Fair | 0.5 | 1 | [8 empty] | 0 | [20 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | wood | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Window Mounted | 16 | 21 | 18.5 | Good | 0.75 | [19 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 |  |  | 1 cpu | [106 empty] | Present | clock not functional
1958 | UN-45 | N/A | 1st Floor | A | Health Services |  |  | 8 | N/A
1959 | UN-46 | N/A | 1st Floor | A | Health Services |  |  | 6 | N/A
1960 | UN-47 | N/A | 1st Floor | A | Health Services |  |  | 37 | N/A
1961 | UN-48 | Nurse's Water Closet | 1st Floor | A | Health Services |  |  | 21 | N/A
1962 | UN-49 | Child Study | 1st Floor | A | Administration |  |  | 299 | 12'
1963 | UN-50 | N/A | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 79 | N/A
1964 | UN-51 | N/A | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 48 | N/A
1965 | UN-52 | Custodial Closet | 1st Floor | A | Support |  |  | 69 | N/A
1966 | UN-53 | Cafeteria | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 1137 | 12' | Brick, Exposed/Unfinished | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Unfinished Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  | brick finish | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | exhaust fan | [16 empty] | Present | [134 empty] | Present | television
1967 | UN-54 | Boys\' Water Closet | 1st Floor | A | Support |  |  | 235 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  | tile wainscot | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Tile | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 3 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Fair | 0.5 | 4 |  |  | Wall Hung | 30+ |  | 30 | Good | 0.75 | 6 | [20 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Fair | 0.5 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  | 1x4 | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present
1968 | UN-55 | Water Closet | 1st Floor | A | Support |  |  | 23 | N/A
1969 | UN-56 | Custodial Closet | 1st Floor | A | Support |  |  | 12 | N/A
1970 | UN-57 | Kitchen | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 524 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  | painted plaster finish | Stainless Steel Sinks | 30+ |  | 30 | Fair | 0.5 | 2 |  | china hand washing lavatory | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | unit ventilator tied to steam system | Wet Chemical | 30+ |  | 30 | Fair | 0.5 | [10 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 cpu | [106 empty] | Present - Present - Present - Present - Present - Present | clock not functional | [25 empty] | Present | [8 empty] | Present
1971 | UN-58 | N/A | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 122 | N/A
1972 | UN-59 | N/A | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 9 | N/A | [9 empty] | Wood | [17 empty] | Plaster
1973 | UN-60 | Cafeteria | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 983 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Very Poor | 0.1 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 60+ |  | 60 | Good | 0.75 | 0 |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | unit ventilator tied to steam system | [15 empty] | 0 | Present | [169 empty] | 0 | Present | wall mounted 19
1974 | UN-61 | Gymnasium | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 3335 | 22' 6" | Brick, Exposed/Unfinished | 60+ |  | 60 | Poor | 0.25 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Unfinished Walls | 10+ |  | 10 | Fair | 0.5 |  |  | exposed brick | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  | brick finish | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [29 empty] | HID Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | recessed | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | ceiling return ventilation grilles | [16 empty] | Present | [43 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present - Present - Present - Present - Present - Present - Present | clock not functional
1975 | UN-62 | Storage | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 299 | 8' 1"
1976 | UN-63 | Lockers | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 72 | N/A
1977 | UN-64 | N/A | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 40 | N/A
1978 | UN-65 | N/A | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 9 | N/A
1979 | UN-66 | Water Closet | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 66 | N/A
1980 | UN-67 | Water Closet | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 66 | N/A
1981 | UN-68 | N/A | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 9 | N/A
1982 | UN-69 | Lockers | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 72 | N/A
1983 | UN-70 | N/A | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 40 | N/A
1984 | UN-71 | Storage | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 299 | N/A
1985 | UN-72 | N/A | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 94 | N/A
1986 | UN-73 | N/A | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 94 | N/A
1987 | UN-74 | Auditorium | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 3677 | 24' 4" | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  |  | Other (describe) | 2012-06-10 |  | 1900-01-07 | Fair | 0.5 |  |  | painted concrete | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Pendant Mount Fixture | 30+ |  | 30 | Fair | 0.5 |  |  | decorative fixture | Panel Breaker Switching | 30+ |  | 30 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | return ventilation grilles | [16 empty] | Present | [134 empty] | Present - Present - Present - Present - Present - Present - Present
1988 | 201 | N/A | 2nd Floor | A | General Classroom |  |  | 1205 | 11' 8" | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  | 2x4 | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | unit ventilator tied to steam system | [16 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [72 empty] | Present | clock and speaker
1989 | 202 | Classroom | 2nd Floor | A | General Classroom |  |  | 440 | 11' 8"
1990 | 203 | Classroom | 2nd Floor | A | General Classroom |  |  | 823 | 11' 8"
1991 | 204 | Classroom | 2nd Floor | A | General Classroom |  |  | 823 | 11' 8"
1992 | 205 | Classroom | 2nd Floor | A | General Classroom |  |  | 830 | 11' 8"
1993 | 206 | Classroom | 2nd Floor | A | General Classroom |  |  | 889 | 11' 8"
1994 | 207 | Classroom | 2nd Floor | A | General Classroom |  |  | 821 | 11' 8"
1995 | 208 | Classroom | 2nd Floor | A | General Classroom |  |  | 819 | 11' 8" | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  | 2x4 | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | unit ventilator tied to steam system | [16 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present | clock and speaker
1996 | 209 | Classroom | 2nd Floor | A | General Classroom |  |  | 830 | 11' 8"
1997 | 210 | Classroom | 2nd Floor | A | General Classroom |  |  | 830 | 11' 8" | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  | 2x4 | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | unit ventilator tied to steam system | [16 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [72 empty] | Present | clock and speaker
1998 | 211 | Classroom | 2nd Floor | A | General Classroom |  |  | 325 | 11' 8"
1999 | 212 | Library | 2nd Floor | A | Media Center |  |  | 1334 | 11' 8" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  | wood frame | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | unit ventilator tied to steam system | [16 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | [18 empty] | 0 | [8 empty] | 0 | [8 empty] | 5 | [72 empty] | Present | clock not functional
2000 | UN-75 | Girls' Water Closet | 2nd Floor | A | Support |  |  | 178 | 10' 6"
2001 | UN-76 | Teacher's Lounge | 2nd Floor | A | Faculty Support |  |  | 382 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 2012-06-07 |  | 1900-01-05 12:00 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 60+ |  | 60 | Good | 0.75 |  |  | painted plaster finish | In-Counter Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | 2x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | [18 empty] | 0 | [8 empty] | 0 | [8 empty] | 1 | [72 empty] | Present - Present - Present - Present - Present | clock not functional
2002 | UN-77 | N/A | 2nd Floor | A | Faculty Support |  |  | 44 | N/A
2003 | UN-78 | N/A | 2nd Floor | A | Support |  |  | 25 | N/A
2004 | UN-79 | Boys' Water Closet | 2nd Floor | A | Support |  |  | 235 | N/A
2005 | UN-80 | Water Closet | 2nd Floor | A | Faculty Support |  |  | 23 | N/A
2006 | UN-81 | Custodial Closet | 2nd Floor | A | Support |  |  | 12 | N/A
2007 | UN-82 | Balcony | 2nd Floor | A | Phys. Ed. (Gym + Storage) |  |  | 1402 | N/A | Brick, Exposed/Unfinished | 60+ |  | 60 | Poor | 0.25 |  |  |  | Other (describe) | 20+ |  | 20 | Poor | 0.25 |  |  | painted concrete | Unfinished Walls | 10+ |  | 10 | Fair | 0.5 |  |  | exposed brick | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  | brick finish | [6 empty] | 0 | [47 empty] | HID Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | recessed | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | ceiling return ventilation grilles | [16 empty] | Present | [134 empty] | Present - Present - Present - Present - Present - Present | clock not functional
2008 | UN-83 | Storage | 2nd Floor | A | Support |  |  | 189 | 9' 7"
2009 | UN-84 | Storage | 2nd Floor | A | Support |  |  | 187 | 9' 7"
2010 | UN-85 | Projector Room | 2nd Floor | A | Visual & Performing Arts |  |  | 77 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Other (describe) | 20+ |  | 20 | Poor | 0.25 |  |  | painted concrete | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 60+ |  | 60 | Good | 0.75 |  |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | return air grille | [25 empty] | Present
2011 | 300 | N/A | 3rd Floor | A | N/A |  |  | 124 | N/A
2012 | 301 | Classroom | 3rd Floor | A | General Classroom |  |  | 823 | 12'
2013 | 302 | Classroom | 3rd Floor | A | General Classroom |  |  | 823 | 12'
2014 | 303 | Classroom | 3rd Floor | A | General Classroom |  |  | 823 | 12'
2015 | 304 | 7th and 8th Grade Classroom | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 823 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | 0 |  | 2x4 | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | unit ventilator tied to steam system | [16 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 4 | [72 empty] | Present | clock and speaker
2016 | 305 | 7th Grade Classroom | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 834 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | 0 |  | 2x4 | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | unit ventilator tied to steam system | [16 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [72 empty] | Present | clock and speaker
2017 | 306 | 7th and 8th Grade Classroom | 3rd Floor | A | Science (6-12) |  |  | 891 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Wood | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  | 2x4 | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | unit ventilator tied to steam system | [16 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 5 | [72 empty] | Present | clock missing. wall mounted tv not functional
2018 | 307 | 7th and 8th Language Arts | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 825 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  | 2x4 | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | unit ventilator tied to steam system | [16 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 4 | [72 empty] | Present | clock and speaker
2019 | 308 | 5th Grade Math/Science | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 822 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | 0 |  | 2x4 | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | unit ventilator tied to steam system | [16 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 4 | [72 empty] | Present | clock and speaker
2020 | 309 | Computer Lab | 3rd Floor | A | Technological Literacy |  |  | 831 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Window Mounted | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | 2 units | [16 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | [18 empty] | 0 | [8 empty] | 0 | [8 empty] | 25 | [72 empty] | Present - Present - Present - Present - Present - Present | clock and speaker
2021 | 310 | Classroom | 3rd Floor | A | General Classroom |  |  | 831 | 12'
2022 | 311 | Classroom | 3rd Floor | A | General Classroom |  |  | 831 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 | 0 |  | 2x4 | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | unit ventilator tied to steam system | [16 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 4 | [72 empty] | Present - Present - Present - Present - Present - Present - Present | clock and speaker
2023 | 312 | Classroom | 3rd Floor | A | General Classroom |  |  | 831 | 12'
2024 | UN-86 | Girls' Water Closet | 3rd Floor | A | Support |  |  | 325 | N/A
2025 | UN-87 | Teacher\'s Lounge | 3rd Floor | A | Faculty Support |  |  | 380 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Good | 0.75 |  |  | painted plaster finish | In-Counter Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 | [8 empty] | 0 | [8 empty] | 0 | [29 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | 2x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 |  |  | 2 cpu | [106 empty] | Present - Present - Present - Present - Present - Present - Present | clock not functional
2026 | UN-88 | N/A | 3rd Floor | A | Faculty Support |  |  | 46 | N/A
2027 | UN-89 | Storage | 3rd Floor | A | Support |  |  | 26 | 10' 8"
2028 | UN-90 | Boys' Water Closet | 3rd Floor | A | Support |  |  | 232 | N/A
2029 | UN-91 | Water Closet | 3rd Floor | A | Faculty Support |  |  | 23 | N/A
2030 | UN-92 | Custodial Closet | 3rd Floor | A | Support |  |  | 12 | N/A
2031 | UN-93 | Storage | 3rd Floor | A | Support |  |  | 120 | 12' 6"
2032 | UN-94 | Storage | 3rd Floor | A | Phys. Ed. (Gym + Storage) |  |  | 153 | N/A
2033 | UN-95 | Storage | 3rd Floor | A | Phys. Ed. (Gym + Storage) |  |  | 141 | N/A
2034 | UN-96 | Classroom | 3rd Floor | A | General Classroom |  |  | 782 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | 0 |  | 2x4 | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | painted plaster finish | [6 empty] | 0 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | 1x4 | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | 2 units | [15 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 10 | [71 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | clock and speaker
2035 | UN-97 | Classroom | 3rd Floor | A | General Classroom |  |  | 780 | 12'
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
3 | A |  | 1st floor | [15 empty] | Solid Terrazzo | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Other (describe) | 10+ |  | 10 | Good | 0.75 | 0 |  | Marble travertine | Plaster | 30+ |  | 30 | Good | 0.75 | 0 | [11 empty] | Concrete Block | 60+ |  | 60 | Good | 0.75 | 0 | [11 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 | [17 empty] | 0 | Present | Smoke and heat | [24 empty] | 0
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
5 | A | Corridor 1 | Basement | [6 empty] | Other (describe) | 2012-06-10 |  | 1900-01-07 | Good | 0.75 |  |  | Painted concrete | Painted Walls with Wainscot | 10+ |  | 10 | Very Poor | 0.1 |  |  | water damage | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wet Standpipe Risers | 30+ |  | 30 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster finish | [8 empty] | Removed drinking fountain | [9 empty] | Fluorescent Linear Pendant Mount Fixture | 22 | 30 | 26 | Poor | 0.25 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Good | 0.75 |  |  | Water based | [7 empty] | Present | Smoke and heat | [16 empty] | Present | Camera | [7 empty] | Present | Alarm and Speakers
6 | B | Corridor 2 | 1st floor | [6 empty] | Other (describe) | 2012-06-10 |  | 1900-01-07 | Good | 0.75 |  |  | Painted concrete | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wet Standpipe Risers | 30+ |  | 30 | Fair | 0.5 |  |  | 2 standpipes | Concrete Block | 60+ |  | 60 | Fair | 0.5 | [21 empty] | Fluorescent Linear Pendant Mount Fixture | 22 | 30 | 26 | Poor | 0.25 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present | Smoke and heat | [16 empty] | Present | Camera | [7 empty] | Present | Alarm and speakers
7 | C | Corridor 3 | 3rd floor | [6 empty] | Other (describe) | 2012-06-10 |  | 1900-01-07 | Good | 0.75 |  |  | Painted concrete | Painted Walls with Wainscot | 10+ |  | 10 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wet Standpipe Risers | 30+ |  | 30 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall Mounted China Drinking Fountains | 16 | 21 | 18.5 | Good | 0.75 |  |  | 1 drinking fountain | [9 empty] | Fluorescent Linear Pendant Mount Fixture | 22 | 30 | 26 | Poor | 0.25 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water based | [7 empty] | Present | Smoke and heat | [16 empty] | Present | Camera | [7 empty] | Present | Alarm and Smoke
8 | D | Corridor 4 | 3rd floor | [6 empty] | Other (describe) | 2012-06-10 |  | 1900-01-07 | Good | 0.75 |  |  | Painted concrete | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wet Standpipe Risers | 30+ |  | 30 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 |  |  |  |  | Plaster finish | Wall Mounted China Drinking Fountains | 16 | 21 | 18.5 | Good | 0.75 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 22 | 30 | 26 | Poor | 0.25 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Good | 0.75 |  |  | Water based | [7 empty] | Present | Smoke and heat | [16 empty] | Present | Camera | [7 empty] | Present | Speaker
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
4 | A | Stair 1 | Basement | Handrails need painting | [5 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Steel Pan | 30+ |  | 30 | Good | 0.75 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | Painted concrete | Other (describe) | 0 | 7 | 3.5 | Poor | 0.25 |  |  | Painted concrete | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | [12 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present | Smoke and heat | [16 empty] | Present | Camera
5 | B | Stair 2 | 2nd floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Steel Pan | 30+ |  | 30 | Good | 0.75 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | Painted Concrete | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | Painted Concrete | Metal/Metal Frame | 20+ |  | 20 | Poor | 0.25 |  |  | One door doesn't close | [9 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  | Lens missing | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present | Smoke and heat | [16 empty] | Present | Camera
6 | C | Stair 3 | 2nd floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Steel Pan | 30+ |  | 30 | Good | 0.75 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | Painted concrete | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | Painted concrete | Metal/Metal Frame | 20+ |  | 20 | Poor | 0.25 |  |  | One door doesn't close | [9 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present | Smoke and Heat | [16 empty] | Present | Camera
7 | D | Stair 4 | 3rd floor | Handrails need painting | [5 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Steel Pan | 30+ |  | 30 | Good | 0.75 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | Painted concrete | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | Painted concrete | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | [12 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present | Smoke and heat | [16 empty] | Present | Camera

## Master File (Systems)
Systems | Question | Value1 |  | Average1 | Systems | Question | Value1 | Average1
Systems | Seg ID | 62 |  |  | InfoTech | Seg ID | 13
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1930 |  |  |  | Year Built | 1930
Domestic Water Heaters | Location | UN/8 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  |  | Description
| Age | 0 | 7 | 3.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | A.O. Smith, 660 btu |  |  |  | Notes
Sanitary Drainage | Location | Roof |  |  | Main Dist. Facility (MDF) | Location | Above Ground Level Floor
| Description | Other (describe) |  |  |  | Description | Rack Mounted
| Age | 60+ |  | 60 |  | Age | 41100 | 8.5
| Condition | Fair |  | 0.5 |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Storm piping |  |  |  | Notes | Room 309
Building Support (other) Plumbing Systems | Location | UN/8 |  |  | MDF, HVAC Terminal Units | Location
| Description | Other (describe) |  |  |  | Description
| Age | 16 | 30 | 23 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Copper piping |  |  |  | Notes
Fuel Piping | Location | UN/8 |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description | Other (describe)
| Age | 16 | 30 | 23 |  | Age | 41136 | 11.5
| Condition | Fair |  | 0.5 |  | Condition | Poor | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Window a/c
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location | UN/19
| Description |  |  |  |  | Description | Rack Mounted
| Age |  |  |  |  | Age | 41100 | 8.5
| Condition |  |  |  |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Fired Boilers | Location | UN/8 |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas/Fired Boilers |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Sheet metal falling off, 5230 Mbh, 2 federal |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location | UN/39
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age | 41100 | 8.5
| Condition |  |  |  |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location | Typ. |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age | 0 | 10 | 5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location | UN/76
| Description |  |  |  |  | Description | Rack Mounted
| Age |  |  |  |  | Age | 41100 | 8.5
| Condition |  |  |  |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location | UN/87
| Description |  |  |  |  | Description | Rack Mounted
| Age |  |  |  |  | Age | 41100 | 8.5
| Condition |  |  |  |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location | UN/8 |  |  | IDF #4, HVAC Terminal Units | Location
| Description | Other (describe) |  |  |  | Description
| Age | 16 | 30 | 23 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Well |  |  |  | Notes
Steam Piping System | Location | UN/8 |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Single/Pipe |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Dents |  |  |  | Notes
HVAC Air Distribution | Location |  |  |  | Inter. Data Facility (IDF #5) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location |  |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Fans | Location | Roof |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description | Hooded Roof Ventilators |  |  |  | Description
| Age | 0 | 10 | 5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location | UN/8 |  |  | Backbone Cable Dist. | Location
| Description | Wet/Pipe System |  |  |  | Description
| Age | 16 | 30 | 23 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location | Typical |  |  | Horizontal Cable Dist. | Location
| Description | D4020 310 |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location | UN/8
| Description | Diesel Engine Generators
| Age | 31 | 45 | 38
| Condition | Very Poor |  | 0.1
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
| Notes | Does not work
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | UN/17; UN/18
| Description | D5010 120
| Age | 46 | 60 | 53
| Condition | Poor |  | 0.25
CheckBox
| Quantity | 0
| Voltage | 208
Power Output
Elec Power
| Notes | High volt substation Transformer on the ground. Hazard
Voice Communication Terminal Equipment | Location | UN/39
Description
Age
| Condition | Fair |  | 0.5
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
| Notes | Same as paging
Distributed AV Communication (Paging) Systems | Location | UN/39
Description
| Age | 21 | 30 | 25.5
| Condition | Fair |  | 0.5
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | Corridor #1
Description
| Age | 21 | 30 | 25.5
| Condition | Poor |  | 0.25
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | UN/8
Description
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
| Notes | Fire alarm control panel
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
| Description | Satellite dish on roof
Age
Condition
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Systems | Question | Value1 |  | Average1 | Systems | Question | Value1 |  | Average1
Exterior | Seg ID | 60 |  |  | SiteElements | Seg ID | 22
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1930 |  |  |  | Year Built | 1930
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typical |  |  | Roadways | Location | S/11
| Description | Other (describe) |  |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 |  | Age | 22 | 30 | 26
| Condition | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Limestone wainscot painted |  |  |  | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location |  |  |  | Parking Lots | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Primary | Location | S/4 |  |  | Pedestrian Plazas and Walkways, Primary | Location | S/4
| Description | Concrete, Cast/In/Place |  |  |  | Description | Concrete, CIP
| Age | 16 | 30 | 23 |  | Age | 22 | 30 | 26
| Condition | Good |  | 0.75 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Secondary | Location |  |  |  | Pedestrian Plazas and Walkways, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Primary | Location | Typical |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, Waffle Slab |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Concrete with clay tile infill |  |  |  | Notes | (Unterrman Field belongs to Weequahic)
Floor Construction, Secondary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Primary | Location | Typical |  |  | Site Lighting, Primary | Location | Typical
| Description | Concrete, Waffle Slab |  |  |  | Description | Building Mounted H.I.D.
| Age |  |  |  |  | Age | 41136 |  | 11.5
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Concrete with clay tile infill |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location |  |  |  | Site Lighting, Secondary | Location | Typical
| Description |  |  |  |  | Description | Pole Mounted H.I.D.
| Age |  |  |  |  | Age | 41136 |  | 11.5
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Primary | Location | Typical |  |  | Playground Surface | Location
| Description | Brick, Solid (Mass) |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Painted on the 1st floor |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location |  |  |  | Playground Equipment | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary | Location | Instruction Room Template A |  |  | TCUs | Location
| Description | Aluminum, Double Hung |  |  |  | Description
| Age | 30+ |  | 30 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles
Quantity
Voltage
Power Output
Elec Power
| Notes | Security grilles in fair condition
Exterior Windows, Secondary | Location | Corridor #4
| Description | Aluminum, Double Hung
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
| Description | Glass, Single Pane
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | 1st floor
| Description | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | Roof
| Description | Polyurethane, Spray Applied
| Age | 16 | 21 | 18.5
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Built up roofing under polyurethane severely bubbled
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | Roof
Description
| Age | 16 | 21 | 18.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | Roof
| Description | Aluminum
| Age | 16 | 21 | 18.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Internal roof drain cast iron, good, 82 yrs
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes