## FCI Summary
Building Name: | Early Childhood Academy West (old Speedway Avenue) | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 36688
Number of Floors: | 4
School Age (years): | 96
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 28.58%
Facility Condition = | FAIR
FCI Deficiency Cost = | 2162677.3699
FCI Replacement Cost = | 7566900
CAPACITY UTILIZATION
Recent 2011/12 Enrollment = | 71
Historic 2005 LRFP Capacity = | 264
Adjusted 2012 Capacity = | 242.1554
Recent Occupancy % = | 29.32%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 85.42%
Classroom Adequacy = | FAIR
Educational Adequacy % Score = | 76.19%
Special Spaces Adequacy = | FAIR

## Uniformat FCI
Building Name: |  | Early Childhood Academy West (old Speedway Avenue) | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 36688
Largest Floor Level Area: |  | 23161
Vertical FAR Ratio: |  | 1.584
School Age (years): |  | 96
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 3.5% | 7.2188 | 36688 | 264841.5 | 100 | 96 | 4 | 0.5 | 50 | 54 | 143014.41 | 121827.09 | 46%
|  |  | A1030 - SLAB ON GRADE | 3.8% | 7.8375 | 36688 | 287542.2 | 100 | 96 | 4 | 0.625 | 62.5 | 66.5 | 191215.563 | 96326.637 | 33.5%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 36688 | 166471.8 | 100 | 96 | 4 | 0.625 | 62.5 | 66.5 | 110703.747 | 55768.053 | 33.5%
|  |  | SUBTOTAL SUBSTRUCTURE | 9.5% | 19.5938 | 36688 | 718855.5
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 36688 | 832359 | 100 | 96 | 4 | 0.5 | 50 | 54 | 449473.86 | 382885.14 | 46%
|  |  | B1020 - ROOF CONSTRUCTION | 4.4% | 9.075 | 36688 | 332943.6 | 100 | 96 | 4 | 0.3 | 30 | 34 | 113200.824 | 219742.776 | 66%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 5.8% | 11.9625 | 36688 | 438880.2 | 100 | 96 | 4 | 0.54348 | 54.3478 | 58.3478 | 256077.0558 | 182803.1442 | 41.65%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 3.3% | 6.8063 | 36688 | 249707.7 | 30 | 11.1667 | 18.8333 | 0.625 | 18.75 | 30 | 249707.7 | 0 | 0%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 4% | 8.25 | 36688 | 302676 | 30 | 30 | 0 | 0.5625 | 16.875 | 16.875 | 170255.25 | 132420.75 | 43.75%
|  |  | SUBTOTAL SHELL | 28.5% | 58.7812 | 36688 | 2156566.5
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 36688 | 302676 | 60 | 45.9375 | 14.0625 | 0.57292 | 34.375 | 48.4375 | 244347.8125 | 58328.1875 | 19.27%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 36688 | 113503.5 | 20 | 20.5 | 0 | 0.625 | 5 | 5 | 28375.875 | 85127.625 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 36688 | 302676 | 20 | 7.5 | 12.5 | 0.75 | 15 | 20 | 302676 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 36688 | 113503.5 | 30 | 96 | 0 | 0.5 | 5 | 5 | 18917.25 | 94586.25 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 2.5% | 5.1562 | 36688 | 189172.5 | 10 | 6.64 | 3.36 | 0.634 | 6.34 | 9.7 | 183497.325 | 5675.175 | 3%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 36688 | 454014 | 20 | 13.26 | 6.74 | 0.554 | 11.08 | 17.82 | 404526.474 | 49487.526 | 10.9%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 36688 | 454014 | 30 | 24.5909 | 5.4091 | 0.55 | 16.5 | 21.9091 | 331567.8 | 122446.2 | 26.97%
|  |  | SUBTOTAL INTERIORS | 25.5% | 52.5938 | 36688 | 1929559.5
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.5% | 1.0312 | 36688 | 37834.5 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 37834.5 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 36688 | 113503.5 | 60 | 21.5039 | 38.4961 | 0.58389 | 35.0333 | 60 | 113503.5 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 36688 | 98369.7 | 60 | 11.5 | 48.5 | 0.75 | 45 | 60 | 98369.7 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 36688 | 90802.8 | 60 | 60 | 0 | 0.25 | 15 | 15 | 22700.7 | 68102.1 | 75%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 36688 | 37834.5 | 30 | 0 | 30 | 0 | 0 | 30 | 37834.5 | 0 | 0%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 36688 | 204306.3 | 60 | 0 | 60 | 0 | 0 | 60 | 204306.3 | 0 | 0%
|  |  | D3020 - BOILERS | 2% | 4.125 | 36688 | 151338 | 60 | 7.5 | 52.5 | 0.7 | 42 | 60 | 151338 | 0 | 0%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 36688 | 302676 | 40 | 60 | 0 | 0.5 | 5 | 5 | 37834.5 | 264841.5 | 87.5%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 36688 | 302676 | 40 | 25.9625 | 14.0375 | 0.47708 | 19.0833 | 33.1208 | 250622.0338 | 52053.9662 | 17.2%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 36688 | 151338 | 40 | 0 | 40 | 0 | 0 | 40 | 151338 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 36688 | 113503.5 | 20 | 0 | 20 | 0 | 0 | 20 | 113503.5 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 36688 | 75669 | 20 | 0 | 20 | 0 | 0 | 20 | 75669 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 36688 | 15133.8 | 20 | 11.5 | 8.5 | 0.75 | 15 | 20 | 15133.8 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 36688 | 98369.7 | 60 | 60 | 0 | 0.5 | 30 | 30 | 49184.85 | 49184.85 | 50%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 36688 | 529683 | 30 | 15 | 15 | 0.59722 | 17.9167 | 30 | 529683 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 36688 | 227007 | 20 | 11.925 | 8.075 | 0.70312 | 14.0625 | 20 | 227007 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 36688 | 22700.7 | 20 | 33.425 | 0 | 0.33125 | 5 | 5 | 5675.175 | 17025.525 | 75%
|  |  | SUBTOTAL SERVICES | 34% | 70.125 | 36688 | 2572746
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 36688
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 36688
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 36688
|  |  | E1090 - OTHER EQUIPMENT |  |  | 36688
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 36688
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 36688
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 36688
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 36688
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 36688
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 36688 | 75669 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 18917.25 | 56751.75 | 75%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 36688 | 37834.5 | 30 | 30 | 0 | 0.75 | 22.5 | 22.5 | 28375.875 | 9458.625 | 25%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 36688 | 37834.5 | 30 | 0 | 30 | 0.1 | 3 | 30 | 37834.5 | 0 | 0%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 36688 | 37834.5 | 30 | 0 | 30 | 0.1 | 3 | 30 | 37834.5 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 36688 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 36688
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 36688 | 7566900 | [7 empty] | 2162677.3699 | 28.58%
100%
Note on J35: Tessier, Matthew: No Survey Data
Note on J36: Tessier, Matthew: No Survey Data
Note on J40: Tessier, Matthew: No Survey Data
Note on J41: Tessier, Matthew: No Survey Data
Note on J42: Tessier, Matthew: No Survey Data
Note on J60: Tessier, Matthew: No Survey Data
Note on J61: Tessier, Matthew: No Survey Data

## Master File (Interior)
Early Child Academy West (old Speedway Avenue)
School Code:
NPS Code: | 98
Street: | 26 Speedway Ave.
City/Town: | Newark, NJ 07106
Database ID: | 75
Total size (gsf): | 36688
ROOM INFORMATION | [12 empty] | 44.913 | Ave Condition | 0.58696 | [6 empty] | 13.26 | Ave Condition | 0.554 | [6 empty] | 6.64 | Ave Condition | 0.634 | [6 empty] | 24.5909 | Ave Condition | 0.55 | [6 empty] | 20.5 | Ave Condition | 0.625 | [6 empty] | 45.9375 | Ave Condition | 0.57292 | [6 empty] | 17.7778 | Ave Condition | 0.69444 | [5 empty] | 15.2 | Ave Condition | 0.6 | [5 empty] | 26.9167 | Ave Condition | 0.5 | [5 empty] | 30 | Ave Condition | 0.5 | [6 empty] | 17.625 | Ave Condition | 0.625 | [6 empty] | 7.5 | Ave Condition | 0.75 | [5 empty] | 11.5 | Ave Condition | 0.69444 | [6 empty] | 28.85 | Ave Condition | 0.5625 | [6 empty] | 29.425 | Ave Condition | 0.5375 | [6 empty] | 22.5 | Ave Condition | 0.41667 | [5 empty] | 11.5 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 7.25 | Ave Condition | 0.625 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [7 empty] | Plumbing Fixtures - Urinals | [7 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
12240 | UN-1 | Mechanical Room | Basement | A | Support |  |  | 1321 | N/A | [9 empty] | Unfinished | [17 empty] | Plaster
12241 | UN-2 | Boiler Room | Basement | A | Support |  |  | 679 | N/A | [9 empty] | Unfinished | [17 empty] | Plaster
12242 | UN-3 | Storage | Basement | A | Support |  |  | 151 | N/A | [9 empty] | Unfinished | [17 empty] | Plaster
12243 | 1 | Classroom | 1st Floor | A | General Classroom |  |  | 752 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12244 | 2 | Classroom | 1st Floor | B | General Classroom |  |  | 752 | 9' 8" | Other (describe) | 31 | 45 | 38 | Good | 0.75 | 0 |  | Concrete panels | Vinyl Composition Tile (VCT) | 2013-11-15 |  | 13 | Good | 0.75 | 0 |  |  | Painted Walls | 41369 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Demountable/Folding. | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Stainless Steel Sinks | 2013-08-15 |  | 11.5 | Good | 0.75 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ |  | 30 | Fair | 0.5 | 0 |  | Linear diffusers | [24 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 1 | [17 empty] | 4 | [72 empty] | Present - Present - Present
12245 | 3 | Classrom | 1st Floor | A | General Classroom |  |  | 752 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12246 | 4 | Classroom | 1st Floor | A | General Classroom |  |  | 745 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12247 | 5 | Classroom | 1st Floor | B | General Classroom |  |  | 708 | 9' 8" | Other (describe) | 31 | 45 | 38 | Good | 0.75 | 0 |  | Concrete panels | Vinyl Composition Tile (VCT) | 41593 |  | 13 | Fair | 0.5 | 0 |  |  | Painted Walls | 41369 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Demountable/Folding. | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Stainless Steel Sinks | 16 | 21 | 18.5 | Good | 0.75 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Linear diffuser | [24 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 1 | [17 empty] | 2 | [72 empty] | Present - Present - Present - Present
12248 | 6 | Classroom | 1st Floor | A | General Classroom |  |  | 708 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12249 | 7 | Classroom | 1st Floor | B | General Classroom |  |  | 785 | 9' 8" | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [58 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0
12250 | 8 | Classroom | 1st Floor | A | General Classroom |  |  | 785 | 9' 8" | Other (describe) | 31 | 45 | 38 | Good | 0.75 | 0 |  | Concrete panels | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41369 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Demountable/Folding. | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Stainless Steel Sinks | 41501 |  | 11.5 | Good | 0.75 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Linear diffuser | [6 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [26 empty] | 4 | [71 empty] | 0
12251 | 9 | Classroom | 1st Floor | A | General Classroom |  |  | 782 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12252 | 10 | Classroom | 1st Floor | A | General Classroom |  |  | 788 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12253 | 101 | Office | 1st Floor | A | Administration |  |  | 356 | 8' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
12254 | 102 | Kindergarten | 1st Floor | A | Kindergarten Classroom |  |  | 794 | 12' 3" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  | Peeling paint | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 41369 |  | 4.5 | Good | 0.75 | [36 empty] | 7 | [72 empty] | Present
12255 | 106 | Classroom | 1st Floor | A | General Classroom |  |  | 789 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Unfinished | 0 | 5 | 2.5 | Poor | 0.25 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 41435 |  | 8 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Good | 0.75 | [27 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 41369 |  | 4.5 | Good | 0.75 | [109 empty] | Present - Present
12256 | UN-4 | Nurse | 1st Floor | A | Health Services |  |  | 210 | 12' | CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41435 |  | 8 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 41435 |  | 8 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Good | 0.75 |  |  |  | Window Mounted | 30+ |  | 30 | Poor | 0.25 | [18 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present - Present
12257 | UN-5 | Water Closet | 1st Floor | A | Health Services |  |  | 28 | 12' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
12258 | UN-6 | N/A | 1st Floor | A | N/A |  |  | 6 | N/A
12259 | UN-7 | N/A | 1st Floor | A | N/A |  |  | 5 | N/A
12260 | UN-8 | Water Closet | 1st Floor | A | Administration |  |  | 33 | 12' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
12261 | UN-9 | Principal's Office | 1st Floor | A | Administration |  |  | 216 | 12' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
12262 | UN-10 | Main Office | 1st Floor | A | Administration |  |  | 321 | 12' 3" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 41435 |  | 8 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | [18 empty] | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present
12263 | UN-11 | Storage | 1st Floor | A | Administration |  |  | 6 | 9' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
12264 | UN-12 | Storage | 1st Floor | A | Administration |  |  | 11 | 12' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
12265 | UN-13 | Guidance Office | 1st Floor | A | Administration |  |  | 225 | 12' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
12266 | UN-14 | Water Closet | 1st Floor | A | Kindergarten Classroom |  |  | 23 | 12' 3" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
12267 | UN-15 | Girls' Water Closet | 1st Floor | A | Support |  |  | 230 | 8' 9" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 2 | [7 empty] | 3 | [7 empty] | 0
12268 | UN-16 | Electrical Closet | 1st Floor | A | Support |  |  | 56 | 8' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
12269 | UN-17 | Water Closet | 1st Floor | A | Support |  |  | 24 | 12' 3" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
12270 | UN-18 | Storage | 1st Floor | A | Support |  |  | 81 | 8' 9" | [9 empty] | Unfinished | [17 empty] | Plaster
12271 | UN-19 | N/A | 1st Floor | A | N/A |  |  | 27 | N/A
12272 | UN-20 | Storage | 1st Floor | A | Support |  |  | 38 | 9' 10" | [9 empty] | Unfinished | [17 empty] | Plaster
12273 | UN-21 | Office | 1st Floor | A | Administration |  |  | 72 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12274 | UN-22 | Office | 1st Floor | A | Administration |  |  | 72 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12275 | UN-23 | Office | 1st Floor | B | Administration |  |  | 120 | 9' 8" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 41435 |  | 8 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Demountable/Folding. | 31 | 45 | 38 | Fair | 0.5 | [54 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1CPU | [106 empty] | Present - Present - Present - Present - Present - Present - Present
12276 | UN-24 | Girls' Water Closet | 1st Floor | A | Support |  |  | 181 | 8' | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 3 | [7 empty] | 3 | [7 empty] | 0
12277 | UN-25 | Custodial Closet | 1st Floor | A | Support |  |  | 47 | 8' | [9 empty] | Ceramic Tile | [17 empty] | Plaster
12278 | UN-26 | Boys\' Water Closet | 1st Floor | B | Support |  |  | 178 | 8' | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 41501 |  | 11.5 | Good | 0.75 | 3 |  |  | Floor Mounted Flush Valve | 41501 | 11.5 | Good | 0.75 | 3 |  |  | Wall Hung | 30+ | 30 | Fair | 0.5 | 5 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Terminal Unit Heaters | 30+ |  | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present - Present - Present - Present - Present
12279 | UN-27 | Cafetorium | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 2592 | 14' 7" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 41593 |  | 13 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Acoustical Panel | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Good | 0.75 | [62 empty] | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Central air | [24 empty] | Present - Present - Present - Present - Present - Present - Present | [34 empty] | Present | [98 empty] | Present - Present - Present - Present - Present - Present - Present
12280 | UN-28 | Kitchen | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 1153 | 9' 8" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 |  |  |  | Epoxy | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 |  |  | Metal | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | Stainless Steel Sinks | 22 | 30 | 26 | Good | 0.75 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Terminal Unit Heaters | 30+ |  | 30 | Fair | 0.5 |  |  | Kitchen exhaust | [9 empty] | Dry Chemical | 41501 | 11.5 | Good | 0.75 |  |  | + 1 wet chemical type | [7 empty] | Present - Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present - Present | [35 empty] | Present
12281 | UN-29 | Office | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 44 | 8' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
12282 | UN-30 | Storage | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 272 | 8' 5" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 41593 |  | 13 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 |  |  | Metal | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | [54 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Terminal Unit Heaters | 30+ |  | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present - Present - Present - Present - Present
12283 | UN-31 | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 90 | 8' 5" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12284 | UN-32 | Womens' Water Closet | 1st Floor | A | Faculty Support |  |  | 56 | 8' | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
12285 | UN-33 | Mens' Water Closet | 1st Floor | A | Faculty Support |  |  | 56 | 8' | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [7 empty] | 1
12286 | UN-34 | Teachers\' Lounge | 1st Floor | B | Faculty Support |  |  | 395 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | 41435 |  | 8 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | Stainless Steel Sinks | 16 | 21 | 18.5 | Good | 0.75 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Linear diffusers | [24 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1CPU | [106 empty] | Present - Present - Present - Present - Present - Present - Present
12287 | UN-35 | Womens' Water Closet | 1st Floor | A | Faculty Support |  |  | 36 | 8' | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
12288 | UN-36 | Mens\' Water Closet | 1st Floor | B | Faculty Support |  |  | 32 | 8' | [9 empty] | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Valve | 30+ | 30 | Good | 0.75 | 1 | [7 empty] | 0 | [36 empty] | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Wall mounted | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Toilet exhaust | [24 empty] | Present - Present - Present - Present - Present - Present - Present
12289 | UN-37 | Utility Room | 1st Floor | B | Support |  |  | 511 | 10' 3" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 |  |  |  | Unfinished | 20+ |  | 20 | Fair | 0.5 |  |  | Concrete | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 0 | 7 | 3.5 | Very Poor | 0.1 |  |  |  | Wood/Metal Frame | 41435 |  | 8 | Good | 0.75 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | [54 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Good | 0.75 |  |  |  | Terminal Unit Heaters | 16 | 21 | 18.5 | Fair | 0.5 | [27 empty] | Present - Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present - Present | Speaker
12290 | 202 | Classroom | 2nd Floor | A | General Classroom |  |  | 806 | 10' 1" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41593 |  | 13 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Acoustical Panel | 41501 |  | 11.5 | Good | 0.75 |  |  |  | Wood/Wood Frame | 41435 |  | 8 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 41369 |  | 4.5 | Good | 0.75 | [109 empty] | Present
12291 | 203 | Office | 2nd Floor | A | Administration |  |  | 242 | 10' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12292 | 204 | Classroom | 2nd Floor | A | General Classroom |  |  | 821 | 10' 1" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12293 | 207 | Storage | 2nd Floor | A | Support |  |  | 818 | 10' 1" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41435 |  | 8 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Acoustical Panel | 41501 |  | 11.5 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 41435 |  | 8 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [27 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 41369 |  | 4.5 | Good | 0.75 | [109 empty] | Present - Present
12294 | UN-38 | Storage | 2nd Floor | A | Support |  |  | 8 | 8' 2" | [9 empty] | Unfinished | [17 empty] | Plaster
12295 | UN-39 | Storage | 2nd Floor | A | Support |  |  | 30 | 9' | [9 empty] | Wood | [17 empty] | Plaster
12296 | UN-40 | Water Closet | 2nd Floor | A | Faculty Support |  |  | 22 | 8' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
12297 | UN-41 | Boys' Water Closet | 2nd Floor | A | Support |  |  | 230 | 8' 11" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 2 | [7 empty] | 5 | [7 empty] | 4
12298 | UN-42 | N/A | 2nd Floor | A | N/A |  |  | 16 | N/A
12299 | UN-43 | Custodial Closet | 2nd Floor | A | Support |  |  | 18 | 8' | [9 empty] | Unfinished | [17 empty] | Plaster
12300 | UN-44 | Custodial Closet | 2nd Floor | A | Support |  |  | 28 | 8' | [9 empty] | Unfinished | [17 empty] | Plaster
12301 | 302 | Classroom | 3rd Floor | A | General Classroom |  |  | 806 | 10' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12302 | 303 | Office | 3rd Floor | A | Administration |  |  | 242 | 10' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41593 |  | 13 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Acoustical Panel | 41501 |  | 11.5 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | 1 | [44 empty] | Fluorescent Linear Pendant Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 41369 |  | 4.5 | Good | 0.75 | [109 empty] | Present
12303 | 304 | Computer Lab | 3rd Floor | A | Technological Literacy |  |  | 822 | 10' 1" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41435 |  | 8 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Acoustical Panel | 41501 |  | 11.5 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 41435 |  | 8 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41501 |  | 11.5 | Fair | 0.5 | [18 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 41369 |  | 4.5 | Good | 0.75 | [109 empty] | Present - Present
12304 | 307 | Dance Room | 3rd Floor | A | Visual & Performing Arts |  |  | 818 | 10' 1" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41435 |  | 8 | Poor | 0.25 |  |  | Cracked tiles | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Acoustical Panel | 41501 |  | 11.5 | Fair | 0.5 |  |  | Water damage | Wood/Wood Frame | 41435 |  | 8 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41369 |  | 4.5 | Good | 0.75 | [109 empty] | Present - Present - Present
12305 | UN-45 | Storage | 3rd Floor | A | Support |  |  | 8 | 8' 2" | [9 empty] | Unfinished | [17 empty] | Plaster
12306 | UN-46 | Storage | 3rd Floor | A | Support |  |  | 30 | 8' | [9 empty] | Wood | [17 empty] | Plaster
12307 | UN-47 | Storage | 3rd Floor | A | Support |  |  | 10 | 8' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
12308 | UN-48 | Water Closet | 3rd Floor | A | Faculty Support |  |  | 23 | 10' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel | [32 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
12309 | UN-49 | Girls' Water Closet | 3rd Floor | A | Support |  |  | 230 | 8' 11" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 2 | [7 empty] | 3 | [7 empty] | 0
12310 | UN-50 | Custodial Closet | 3rd Floor | A | Support |  |  | 16 | 8' | [9 empty] | Unfinished | [17 empty] | Plaster
12311 | UN-51 | Custodial Closet | 3rd Floor | A | Support |  |  | 18 | 8' | [9 empty] | Unfinished | [17 empty] | Plaster
12312 | UN-52 | Storage | 3rd Floor | A | Support |  |  | 10 | 8' 2" | [9 empty] | Unfinished | [17 empty] | Plaster
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
84 | A |  | 1st floor | [6 empty] | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 | 0 | [17 empty] | 0 | [11 empty] | Fluorescent Lay-In Fixture (Troffer) |  |  |  |  | 0 |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Other (describe) |  |  |  |  | 0 |  | Ceiling diffusers | [15 empty] | 0 | Present | [24 empty] | 0
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
244 | A |  | 1st floor | [6 empty] | Vinyl Composition Tile (VCT) | 2013-11-15 |  | 13 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Concrete Block | 31 | 45 | 38 | Fair | 0.5 |  |  |  | Wall Mounted Stainless Steel Drinking Fountains | 16 | 21 | 18.5 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Linear diffusers | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water type | [7 empty] | Present | [16 empty] | Present | [8 empty] | Present
245 | B |  | 1st floor | [6 empty] | Other (describe) | 20+ |  | 20 | Poor | 0.25 |  |  | Painted concrete | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall Mounted Stainless Steel Drinking Fountains | 22 | 30 | 26 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 16 | 21 | 18.5 | Good | 0.75 |  |  | Water type | [7 empty] | Present | [16 empty] | Present | [8 empty] | Present
246 | C |  | 3rd floor | Not in use | [5 empty] | Other (describe) | 20+ |  | 20 | Poor | 0.25 |  |  | Exposed concrete | Painted Walls | 10+ |  | 10 | Very Poor | 0.1 |  |  |  | Plaster | 30+ |  | 30 | Very Poor | 0.1 | [12 empty] | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 |  |  |  | Wall Mounted Stainless Steel Drinking Fountains | 22 | 30 | 26 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 16 | 21 | 18.5 | Fair | 0.5 |  |  | Water type | [7 empty] | Present | [16 empty] | Present | [8 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [7 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
233 | A | Stair#01 | 1st-4th floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Reinforced Concrete | 30+ |  | 30 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Exposed Concrete | 30+ |  | 30 | Good | 0.75 |  |  |  | Exposed Concrete | 30+ |  | 30 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 0 | 5 | 2.5 | Good | 0.75 | [11 empty] | Fluorescent Pendant Mount Fixture | 41501 | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [18 empty] | Present

## Master File (Systems)
Systems | Question | Value1 |  | Average1 | Value2 |  | Average2 | Systems | Question | Value1 |  | Average1 | Value2 | Average2
Systems | Seg ID | 2194 |  |  | 2199 |  |  | InfoTech | Seg ID | 580 |  |  | 582
| Bldg.Phase | A |  |  | B |  |  |  | Bldg.Phase | A |  |  | B
| Original | 1 |  |  | 1 |  |  |  | Original | 1 |  |  | 1
| Addition | 0 |  |  | 1 |  |  |  | Addition | 0 |  |  | 1
| Year Built | 1916 |  |  | 1972 |  |  |  | Year Built | 1916 |  |  | 1972
Domestic Water Heaters | Location | UN2 |  |  | UN37 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  | Fuel/Fired Water Heater |  |  |  | Description
| Age | 41501 |  | 11.5 | 16 | 21 | 18.5 |  | Age
| Condition | Good |  | 0.75 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Sanitary Drainage | Location | UN2 | [5 empty] | Main Dist. Facility (MDF) | Location | Above Ground Level Floor |  |  | Ground Level Floor
| Description | Other (describe) | [6 empty] | Description | 304 |  |  | Wall Mounted In Cabinet (UN/34)
| Age | 60+ |  | 60 |  |  |  |  | Age | 41369 |  | 4.5 | 41369 | 4.5
| Condition | Poor |  | 0.25 |  |  |  |  | Condition | Good |  | 0.75 | Good | 0.75
| CheckBox | [7 empty] | CheckBox | Secure |  |  | Secure
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Sump pump | [6 empty] | Notes
Building Support (other) Plumbing Systems | Location | [6 empty] | MDF, HVAC Terminal Units | Location
| Description | [7 empty] | Description | Fin Tube Radiation |  |  | Other (describe)
| Age | [7 empty] | Age | 41501 |  | 11.5 | 30+ | 30
| Condition | [7 empty] | Condition | Good |  | 0.75 | Good | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes |  |  |  | Linear Diffusers
Fuel Piping | Location | UN2 | [5 empty] | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping | [6 empty] | Description | Window Mounted
| Age | 0 | 15 | 7.5 |  |  |  |  | Age | 0 | 7 | 3.5
| Condition | Fair |  | 0.5 |  |  |  |  | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Pumps | Location | [6 empty] | Inter. Data Facility (IDF #1) | Location | 101
| Description | [7 empty] | Description | Wall mounted rack
| Age | [7 empty] | Age | 41369 |  | 4.5
| Condition | [7 empty] | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox | Secure
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Storage Tanks | Location | [6 empty] | IDF #1, HVAC Terminal Units | Location
| Description | [7 empty] | Description | Cast Iron Radiators
| Age | [7 empty] | Age | 30+ |  | 30
| Condition | [7 empty] | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Fired Boilers | Location | UN2 | [5 empty] | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas/Fired Boilers | [6 empty] | Description | Window Mounted
| Age | 0 | 15 | 7.5 |  |  |  |  | Age | 16 | 21 | 18.5
| Condition | Very Good |  | 0.9 |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | New burner old boiler | [6 empty] | Notes
Furnaces | Location | [6 empty] | Inter. Data Facility (IDF #2) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Unit Ventilators | Location | [6 empty] | IDF #2, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fan Coil Units | Location | [6 empty] | IDF #2, Packaged Terminal Air Conditioner | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Water Chillers | Location | [6 empty] | Inter. Data Facility (IDF #3) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Cooling Towers | Location | [6 empty] | IDF #3, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Packaged Terminal Air Conditioner | Location | [6 empty] | IDF #3, Packaged Terminal Air Conditioner | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Hydronic Piping System | Location | [6 empty] | Inter. Data Facility (IDF #4) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Pumps | Location | [6 empty] | IDF #4, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Steam Piping System | Location | UN2 | [5 empty] | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Two Pipe | [6 empty] | Description
| Age | 60+ |  | 60 |  |  |  |  | Age
| Condition | Fair |  | 0.5 |  |  |  |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
HVAC Air Distribution | Location | [6 empty] | Inter. Data Facility (IDF #5) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Air Handling Units | Location | [6 empty] | IDF #5, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
HVAC Fans | Location | [6 empty] | IDF #5, Packaged Terminal Air Conditioner | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fire/Suppression (Sprinklers), Water/Based | Location | [6 empty] | Backbone Cable Dist. | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fire/Suppression (Standpipes), Water/Based | Location | [6 empty] | Horizontal Cable Dist. | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Facility Power Generation, Packaged Generator Assemblies | Location | UN2
| Description | Gas Engine Generators
| Age | 31 | 45 | 38
| Condition | Very Poor |  | 0.1
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Not working
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | UN2 |  |  | UN37
| Description | D5010 120 |  |  | D5010 120
| Age | 60+ |  | 60 | 16 | 30 | 23
| Condition | Fair |  | 0.5 | Fair |  | 0.5
CheckBox
Quantity
| Voltage | 240 |  |  | 122
Power Output
Elec Power
Notes
Voice Communication Terminal Equipment | Location |  |  |  | UN37
| Description |  |  |  | Other (describe)
| Age |  |  |  | 40+ |  | 40
| Condition |  |  |  | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | 101
| Description | Public Address and Mass Notification Systems
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location |  |  |  | UN37
| Description |  |  |  | Fire Alarm Annunciation Panels
| Age |  |  |  | 41598 |  | 15.5
| Condition |  |  |  | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
| Description |  |  |  | Air compressor
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | 30 yr

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Value2 |  | Average2 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 2640 |  |  | 2653 |  |  | SiteElements | Seg ID | 605
| Bldg.Phase | A |  |  | B |  |  |  | Bldg.Phase | A
| Original | 1 |  |  | 1 |  |  |  | Original | 1
| Addition | 0 |  |  | 1 |  |  |  | Addition | 0
| Year Built | 1916 |  |  | 1972 |  |  |  | Year Built | 1916
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typ |  |  | Typ |  |  | Roadways | Location
| Description | CMU, Regular |  |  | Concrete, Cast | In | Place |  | Description
| Age | 60+ |  | 60 | 31 | 45 | 38 |  | Age
| Condition | Fair |  | 0.5 | Good |  | 0.75 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location | [6 empty] | Parking Lots | Location | S | 1
| Description | [7 empty] | Description | Asphalt (Bituminous)
| Age | [7 empty] | Age | 30+
| Condition | [7 empty] | Condition | Poor
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Standard Slabs On Grade, Primary | Location | Typ |  |  | Typ |  |  | Pedestrian Plazas and Walkways, Primary | Location | Typ
| Description | Concrete, Cast | In | Place | Concrete, Cast | In | Place |  | Description | Concrete, CIP
| Age | 60+ |  | 60 | 31 | 45 | 38 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 | Good |  | 0.75 |  | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Standard Slabs On Grade, Secondary | Location | [6 empty] | Pedestrian Plazas and Walkways, Secondary | Location | S | 6
| Description | [7 empty] | Description | Asphalt (Bituminous)
| Age | [7 empty] | Age | 30+
| Condition | [7 empty] | Condition | Fair
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Floor Construction, Primary | Location | Typ |  |  | Typ |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Other (describe) |  |  | Concrete, CIP Beams and Slab |  |  |  | Description
| Age | 60+ |  | 60 | 31 | 45 | 38 |  | Age
| Condition | Poor |  | 0.25 | Good |  | 0.75 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Clay tile arch | [6 empty] | Notes
Floor Construction, Secondary | Location | [6 empty] | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Roof Construction, Structural Frame, Primary | Location | Typ |  |  | Typ |  |  | Site Lighting, Primary | Location | Typ
| Description | Wood, Beams and Joists |  |  | Steel Framing, OWJ w/ Steel Deck |  |  |  | Description | Pole Mounted H.I.D.
| Age | 60+ |  | 60 | 31 | 45 | 38 |  | Age | 16 | 21 | 18.5
| Condition | Very Poor |  | 0.1 | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Roof Construction, Structural Frame, Secondary | Location | [6 empty] | Site Lighting, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Walls - Exterior Assembly, Primary | Location | Typ |  |  | Typ |  |  | Playground Surface | Location
| Description | Brick, Solid (Mass) |  |  | Other (describe) |  |  |  | Description
| Age | 60+ |  | 60 | 31 | 45 | 38 |  | Age
| Condition | Fair |  | 0.5 | Good |  | 0.75 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes |  |  |  | Concrete panel |  |  |  | Notes
Exterior Walls - Exterior Assembly, Secondary | Location |  |  |  | North |  |  | Playground Equipment | Location | S | 1
| Description |  |  |  | CMU, Split Faced |  |  |  | Description | B | Ball Backstops
| Age |  |  |  | 31 | 45 |  |  | Age | 30+
| Condition |  |  |  | Fair |  |  |  | Condition | Poor
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Windows, Primary | Location | Typ | [5 empty] | TCUs | Location
| Description | Aluminum, Double Hung |  |  | Aluminum, Awning/Hopper |  |  |  | Description
| Age | 16 | 21 | 18.5 | 30+ |  |  |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Windows, Primary - Glazing | Location
| Description | Glass, Double Pane (Insulated) |  |  | Glass, Single Pane
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary - Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles |  |  | Security Grilles
Quantity
Voltage
Power Output
Elec Power
| Notes | Bsmt
Exterior Windows, Secondary | Location | Stair
| Description | Aluminum, Curtain Wall
| Age | 30+ |  | 30
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary - Glazing | Location
| Description | Glass, Single Pane
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Plexiglass
Exterior Windows, Secondary - Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | Typ
| Description | Fiber Reinforced Panel (FRP) |  |  | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5 | 0 | 15 | 7.5
| Condition | Good |  | 0.75 | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
| Description |  |  |  | Steel (Hollow)
| Age |  |  |  | 31 | 45
| Condition |  |  |  | Poor
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location
| Description | Asphalt, Built Up |  |  | Asphalt, Built Up
| Age | 30+ |  | 30 | 30+
| Condition | Fair |  | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components - Flashing and Trim | Location
| Description | Other (describe) |  |  | Other (describe)
| Age | 30+ |  | 30 | 30+
| Condition | Fair |  | 0.5 | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Stainless steel |  |  | Stainless steel
Roof (Accessories) Appurtenances - Rainwater Management (Gutters, Downspouts) | Location
| Description | Other (describe) |  |  | Other (describe)
| Age | 30+ |  | 30 | 30+
| Condition | Fair |  | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Cast iron |  |  | Cast iron
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes