## FCI Summary
Building Name: | Dr. E. Alma Flagg | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 75406
Number of Floors: | 2
School Age (years): | 28
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 16.89%
Facility Condition = | GOOD
FCI Deficiency Cost = | 2626998.4405
FCI Replacement Cost = | 15552487.5
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 503
Historic 2005 LRFP Capacity = | 428
Adjusted 2012 Capacity = | 511
Recent Occupancy % = | 98.43%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 95.67%
Classroom Adequacy = | GOOD
Special Spaces Adequacy % Score = | 82.02%
Special Spaces Adequacy = | FAIR

## Uniformat FCI
Building Name: |  | Dr. E. Alma Flagg | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 75406
Largest Floor Level Area: |  | 40866
Vertical FAR Ratio: |  | 1.8452
School Age (years): |  | 28
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 3.5% | 7.2188 | 75406 | 544337.0625 | 100 | 28 | 72 | 0.5 | 50 | 100 | 544337.0625 | 0 | 0%
|  |  | A1030 - SLAB ON GRADE | 3.8% | 7.8375 | 75406 | 590994.525 | 100 | 28 | 72 | 0.75 | 75 | 100 | 590994.525 | 0 | 0%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 75406 | 342154.725 | 100 | 28 | 72 | 0.75 | 75 | 100 | 342154.725 | 0 | 0%
|  |  | SUBTOTAL SUBSTRUCTURE | 9.5% | 19.5938 | 75406 | 1477486.3125
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 5% | 10.3125 | 75406 | 777624.375 | 100 | 28 | 72 | 0.75 | 75 | 100 | 777624.375 | 0 | 0%
|  |  | B1020 - ROOF CONSTRUCTION | 4.4% | 9.075 | 75406 | 684309.45 | 100 | 28 | 72 | 0.5 | 50 | 100 | 684309.45 | 0 | 0%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 9.8% | 20.2125 | 75406 | 1524143.775 | 100 | 28 | 72 | 0.1 | 0 | 72 | 1097383.518 | 426760.257 | 28%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 5.3% | 10.9313 | 75406 | 824281.8375 | 30 | 16.75 | 13.25 | 0.1 | 0 | 13.25 | 364057.8116 | 460224.0259 | 55.83%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 4% | 8.25 | 75406 | 622099.5 | 30 | 26 | 4 | 0.5 | 15 | 19 | 393996.35 | 228103.15 | 36.67%
|  |  | SUBTOTAL SHELL | 28.5% | 58.7812 | 75406 | 4432458.9375
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 75406 | 622099.5 | 60 | 22.8816 | 37.1184 | 0.68421 | 41.0526 | 60 | 622099.5 | 0 | 0%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 75406 | 233287.3125 | 20 | 20.8333 | 0 | 0.52778 | 5 | 5 | 58321.8281 | 174965.4844 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 75406 | 622099.5 | 20 | 7.5 | 12.5 | 0.66667 | 13.3333 | 20 | 622099.5 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 75406 | 233287.3125 | 30 | 28 | 2 | 0.5 | 15 | 17 | 132196.1437 | 101091.1688 | 43.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 2.5% | 5.1562 | 75406 | 388812.1875 | 10 | 8.9487 | 1.0513 | 0.60256 | 6.0256 | 7.0769 | 275159.3942 | 113652.7933 | 29.23%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 75406 | 933149.25 | 20 | 18.9 | 1.1 | 0.55 | 11 | 12.1 | 564555.2963 | 368593.9537 | 39.5%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 75406 | 933149.25 | 30 | 18.4 | 11.6 | 0.51429 | 15.4286 | 27.0286 | 840723.0386 | 92426.2114 | 9.905%
|  |  | SUBTOTAL INTERIORS | 25.5% | 52.5938 | 75406 | 3965884.3125
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.5% | 1.0312 | 75406 | 77762.4375 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 77762.4375 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 75406 | 233287.3125 | 60 | 23.6317 | 36.3683 | 0.54302 | 32.581 | 60 | 233287.3125 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 75406 | 202182.3375 | 60 | 3.5 | 56.5 | 0.75 | 45 | 60 | 202182.3375 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 75406 | 186629.85 | 60 | 0 | 60 | 0 | 0 | 60 | 186629.85 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 75406 | 77762.4375 | 30 | 0 | 30 | 0 | 0 | 30 | 77762.4375 | 0 | 0%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 75406 | 419917.1625 | 60 | 19.75 | 40.25 | 0.375 | 22.5 | 60 | 419917.1625 | 0 | 0%
|  |  | D3020 - BOILERS | 2% | 4.125 | 75406 | 311049.75 | 60 | 23 | 37 | 0.5 | 30 | 60 | 311049.75 | 0 | 0%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 75406 | 622099.5 | 40 | 24.25 | 15.75 | 0.25 | 10 | 25.75 | 400476.5531 | 221622.9469 | 35.62%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 75406 | 622099.5 | 40 | 26 | 14 | 0.45968 | 18.3871 | 32.3871 | 503699.9177 | 118399.5823 | 19.03%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 75406 | 311049.75 | 40 | 0 | 40 | 0 | 0 | 40 | 311049.75 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 75406 | 233287.3125 | 20 | 0 | 20 | 0 | 0 | 20 | 233287.3125 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 75406 | 155524.875 | 20 | 0 | 20 | 0 | 0 | 20 | 155524.875 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 75406 | 31104.975 | 20 | 9.5 | 10.5 | 0.75 | 15 | 20 | 31104.975 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 75406 | 202182.3375 | 60 | 23 | 37 | 0.25 | 15 | 52 | 175224.6925 | 26957.645 | 13.33%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 75406 | 1088674.125 | 30 | 16.7204 | 13.2796 | 0.56989 | 17.0968 | 30 | 1088674.125 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 75406 | 466574.625 | 20 | 5.7361 | 14.2639 | 0.62269 | 12.4537 | 20 | 466574.625 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 75406 | 46657.4625 | 20 | 24.5 | 0 | 0.3871 | 5 | 5 | 11664.3656 | 34993.0969 | 75%
|  |  | SUBTOTAL SERVICES | 34% | 70.125 | 75406 | 5287845.75
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 75406
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 75406
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 75406
|  |  | E1090 - OTHER EQUIPMENT |  |  | 75406
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 75406
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 75406
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 75406
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 75406
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 75406
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 75406 | 155524.875 | 30 | 26 | 4 | 0.25 | 7.5 | 11.5 | 59617.8688 | 95907.0063 | 61.67%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 75406 | 77762.4375 | 30 | 26 | 4 | 0.5 | 15 | 19 | 49249.5437 | 28512.8938 | 36.67%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 75406 | 77762.4375 | 30 | 26 | 4 | 0.5 | 15 | 19 | 49249.5437 | 28512.8938 | 36.67%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 75406 | 77762.4375 | 30 | 26 | 4 | 0.5 | 15 | 19 | 49249.5437 | 28512.8938 | 36.67%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 75406 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 75406
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 75406 | 15552487.5 | [7 empty] | 2626998.4405 | 16.89%
100%

## Master File (Interior)
Dr. E. Alma Flagg
School Code: | 415
NPS Code: | 74
Street: | 150 3rd St.
City/Town: | Newark,
Database ID: | 49
Total size (gsf): | 75406
ROOM INFORMATION | [12 empty] | 20.9 | Ave Condition | 0.5 | [6 empty] | 18.9 | Ave Condition | 0.55 | [6 empty] | 8.9487 | Ave Condition | 0.60256 | [6 empty] | 18.4 | Ave Condition | 0.51429 | [6 empty] | 20.8333 | Ave Condition | 0.52778 | [6 empty] | 22.8816 | Ave Condition | 0.68421 | [6 empty] | 24.7143 | Ave Condition | 0.51786 | [6 empty] | 17.9444 | Ave Condition | 0.63889 | [6 empty] | 23.5 | Ave Condition | 0.6 | [6 empty] | 26 | Ave Condition | 0.41667 | [6 empty] | 26 | Ave Condition | 0.54167 | [6 empty] | 7.5 | Ave Condition | 0.66667 | [6 empty] | 12.6613 | Ave Condition | 0.70968 | [6 empty] | 26 | Ave Condition | 0.52419 | [6 empty] | 26 | Ave Condition | 0.45968 | [6 empty] | Ave Condition | [7 empty] | 9.5 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | 4.5 | Ave Condition | 0.75 | [5 empty] | Average Age | 9.9167 | Ave Condition | 0.48611 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Package Terminal Air Conditioner | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
9120 | 106 | Nurse | Ground | A | Health Services |  |  | 340 | 8' | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | 1 |  |  | Wall Hung Flush Valve | 22 | 30 | 26 | Good | 0.75 | 1 |  | partition damage at base of toilet | [6 empty] | 0 | [29 empty] | Fluorescent Lay-In Fixture (Troffer) | 22 | 30 | 26 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Poor | 0.25 |  |  | fan coil unit with hvac; ducted air diffusers | [24 empty] | Present | [8 empty] | Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 cpu | [106 empty] | Present
9121 | 106 | Waiting Room | Ground | A | Health Services |  |  | 128 | 8' | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [9 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [29 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Poor | 0.25 |  |  | fan coil unit with hvac | [24 empty] | Present | [8 empty] | Present - Present
9122 | 113 | Electrical Room | Ground | A | Support |  |  | 66 | 8' | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
9123 | 117 | Cafeteria/Auditorium | Ground | A | Food Service/Assembly (K-8) |  |  | 4104 | 9' 2" | Other (describe) | 16 | 30 | 23 | Poor | 0.25 |  |  | precast wall panels | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  | wood stage floor/28/poor | Painted Walls | 41067 |  | 6.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Poor | 0.25 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 |  |  |  | Stainless Steel Sinks | 22 | 30 | 26 | Fair | 0.5 | 1 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | ceiling ducted central air diffusers | [8 empty] | Dry Chemical | 41136 |  | 11.5 | Good | 0.75 |  |  | class 3A | [7 empty] | Present | [8 empty] | Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Poor | 0.25 |  |  | cash register | [106 empty] | Present | clock and speaker | [25 empty] | Present | [8 empty] | Present
9124 | 117A | Dress Room | Ground | A | Food Service/Assembly (K-8) |  |  | 56 | 9' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9125 | 120 | Kitchen | Ground | A | Food Service/Assembly (K-8) |  |  | 791 | 9' 2" | [9 empty] | Ceramic Tile | 20+ |  | 20 | Good | 0.75 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 |  |  | concealed spline | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 |  |  |  | Stainless Steel Sinks | 22 | 30 | 26 | Good | 0.75 | 6 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | central heating and ventilating/kitchen exhaust hood | [8 empty] | Dry Chemical | 41136 |  | 11.5 | Good | 0.75 |  |  | class 4A/pyro-chem kitchen hood fire suppression system | [7 empty] | Present | [8 empty] | Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 pc | [106 empty] | Present | [26 empty] | Present - Present | [8 empty] | Present
9126 | 123A | 2nd Grade Classroom | Ground | A | General Classroom (Grades 1-3) |  |  | 785 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9127 | 123B | Parent Liaison | Ground | A | Administration |  |  | 552 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9128 | 124A | Girls' Water Closet | Ground | A | Support |  |  | 162 | 9' 7" | [60 empty] | 3 | [8 empty] | 3 | [8 empty] | 0
9129 | 124B | Boys\' Water Closet | Ground | A | Support |  |  | 177 | 9' 7" | [9 empty] | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Fair | 0.5 | 2 |  |  | Wall Hung Flush Valve | 22 | 30 | 26 | Fair | 0.5 | 3 |  |  | Wall Hung | 22 | 30 | 26 | Fair | 0.5 | 3 | [20 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | toilet exhaust vent | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present
9130 | 125A | 2nd Grade Classroom | Ground | A | General Classroom (Grades 1-3) |  |  | 850 | 9' 7 | [6 empty] | 0 |  |  | Vinyl Composition Tile (VCT) | [5 empty] | 0 | [8 empty] | 0 |  |  | Suspended Acoustical | [5 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [62 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [25 empty] | 0 | [8 empty] | 0 | [16 empty] | 0 | [107 empty] | 0
9131 | 125A | Storage | Ground | A | General Classroom (Grades 4-5) |  |  | 75 | 9' 7 | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9132 | 125B | 5th and 6th Grade Bilingual Classroom | Ground | A | General Classroom |  |  | 518 | 9' 7" | [9 empty] | Wood | [17 empty] | Acoustical Panel
9133 | 125B | Storage | Ground | A | General Classroom |  |  | 19 | 9' 7"
9134 | 125C | Storage | Ground | A | General Classroom |  |  | 100 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9135 | 125D | Storage | Ground | A | General Classroom |  |  | 83 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9136 | 126 | Mechanical Room | Ground | A | Support |  |  | 1298 | 9' 7"
9137 | 130 | 7th and 8th Grade Bilingual Classroom | Ground | A | General Classroom |  |  | 540 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel | [32 empty] | 2 | [8 empty] | 2 | [8 empty] | 3
9138 | 131 | Resource Room | Ground | A | Faculty Support |  |  | 548 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9139 | 143 | 5th Grade Classroom | Ground | A | General Classroom (Grades 4-5) |  |  | 1140 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9140 | 144 | 3rd and 4th Grade Bilingual Classroom | Ground | A | General Classroom |  |  | 828 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9141 | 145 | Bilingual Kindergarten Classroom | Ground | A | Kindergarten Classroom |  |  | 1187 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9142 | 146 | 3rd Grade Classroom | Ground | A | General Classroom (Grades 1-3) |  |  | 830 | 9' 7" | Other (describe) | 16 | 30 | 23 | Good | 0.75 | 0 |  | precast concrete panel | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41067 |  | 6.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [8 empty] | 0 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | 0 |  | ducted air diffusers; fan coil unit with hvac | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [72 empty] | Present - Present - Present - Present - Present | clock and speaker
9143 | 147 | 1st and 2nd Grade Bilingual Classroom | Ground | A | General Classroom |  |  | 820 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9144 | 148 | Kindergarten Classroom | Ground | A | Kindergarten Classroom |  |  | 893 | 9' 7" | Other (describe) | 16 | 30 | 23 | Good | 0.75 | 0 |  | precast concrete panel | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41067 |  | 6.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | In-Counter Lavatories | 22 | 30 | 26 | Poor | 0.25 | 1 | [8 empty] | 0 | [8 empty] | 0 | [11 empty] | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | china in sink | [9 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | 0 |  | ducted air diffusers; fan coil unit with hvac | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 5 | [72 empty] | Present - Present - Present - Present - Present - Present | clock and speaker
9145 | 148A | Water Closet | Ground | A | Kindergarten Classroom |  |  | 28 | 8' | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
9146 | 149 | Kindergarten Classroom | Ground | A | Kindergarten Classroom |  |  | 1031 | 9'7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9147 | 149A | Water Closet | Ground | A | Kindergarten Classroom |  |  | 28 | 8' | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
9148 | 149B | Storage | Ground | A | Kindergarten Classroom |  |  | 35 | 8' | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
9149 | 150 | 1st Grade Classroom | Ground | A | General Classroom (Grades 1-3) |  |  | 818 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9150 | 151 | 3rd Grade Classroom | Ground | A | General Classroom (Grades 1-3) |  |  | 820 | 9' 7 | [6 empty] | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41067 |  | 6.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [8 empty] | 0 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | 0 |  | ducted air diffusers; fan coil unit with hvac | [5 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [71 empty] | 0 |  | clock and speaker
9151 | 152 | 1st Grade Classroom | Ground | A | General Classroom (Grades 1-3) |  |  | 825 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9152 | UN-1 | Reception/ General Office | Ground | A | Administration |  |  | 538 | 8' | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 41067 |  | 6.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [9 empty] | 0 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | fan coil unit with hvac | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present - Present | head end paging system
9153 | UN-2 | Storage | Ground | A | Administration |  |  | 81 | 9' 2" | [60 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
9154 | UN-3 | Storage | Ground | A | Administration |  |  | 19 | 9' 2" | [60 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
9155 | UN-4 | Storage | Ground | A | Administration |  |  | 18 | 9' 2"
9156 | UN-5 | Principal\'s Office | Ground | A | Administration |  |  | 169 | 9' 2 | [6 empty] | 0 |  |  | Vinyl Composition Tile (VCT) | [5 empty] | 0 | [8 empty] | 0 |  |  | Suspended Acoustical | [5 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [62 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [25 empty] | 0 | [8 empty] | 0 | [16 empty] | 0 | [107 empty] | 0
9157 | UN-6 | Faculty Water Closet | Ground | A | Administration |  |  | 23 | 9' 2"
9158 | UN-7 | Vestibule | Ground | A | Administration |  |  | 23 | 9' 2"
9159 | UN-8 | Vestibule | Ground | A | Administration |  |  | 153 | 9' 2"
9160 | UN-9 | Faculty Water Closet | Ground | A | Health Services |  |  | 74 | 8' | [60 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
9161 | UN-10 | Storage | Ground | A | Health Services |  |  | 74 | 9' 2" | [60 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
9162 | UN-11 | Faculty Water Closet | Ground | A | Faculty Support |  |  | 25 | N/A
9163 | UN-12 | Faculty Water Closet | Ground | A | Faculty Support |  |  | 28 | N/A
9164 | UN-13 | Book Storage | Ground | A | Administration |  |  | 363 | N/A
9165 | UN-14 | Storage | Ground | A | Support |  |  | 16 | N/A
9166 | UN-15 | Dance Room | Ground | A | Visual & Performing Arts |  |  | 463 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [9 empty] | 0 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Terminal Unit Heaters | 22 | 30 | 26 | Fair | 0.5 |  |  | ceiling ducted central air diffusers | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present - Present | clock and speaker
9167 | UN-16 | Office | Ground | A | Visual & Performing Arts |  |  | 89 | 9' 7"
9168 | UN-17 | Office | Ground | A | Food Service/Assembly (K-8) |  |  | 40 | 9'
9169 | UN-18 | Refrigerator | Ground | A | Food Service/Assembly (K-8) |  |  | 68 | 9' | [60 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
9170 | UN-19 | Faculty Water Closet | Ground | A | Food Service/Assembly (K-8) |  |  | 61 | 9' | [9 empty] | Ceramic Tile | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | 1 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | ducted air diffuser | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present
9171 | UN-20 | Storage | Ground | A | Food Service/Assembly (K-8) |  |  | 29 | 9'
9172 | UN-21 | Freezer | Ground | A | Food Service/Assembly (K-8) |  |  | 98 | 9'
9173 | UN-22 | Receiving Room | Ground | A | Food Service/Assembly (K-8) |  |  | 127 | 13' 7" | [27 empty] | Specialty Ceilings (describe)
9174 | UN-23 | Storage | Ground | A | Food Service/Assembly (K-8) |  |  | 50 | 9' | [27 empty] | Acoustical Panel
9175 | UN-24 | Storage | Ground | A | Food Service/Assembly (K-8) |  |  | 122 | 9' | [9 empty] | Ceramic Tile | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [9 empty] | 0 | [8 empty] | 3 | [8 empty] | 0 | [29 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | hv exhaust grille | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present
9176 | UN-25 | N/A | Ground | A | N/A |  |  | 130 | N/A | [60 empty] | 2 | [8 empty] | 2 | [8 empty] | 3
9177 | UN-26 | N/A | Ground | A | N/A |  |  | 130 | N/A
9178 | UN-27 | N/A | Ground | A | N/A |  |  | 53 | N/A
9179 | UN-28 | N/A | Ground | A | N/A |  |  | 268 | N/A
9180 | UN-29 | Boys\' Locker Room | Ground | A | Phys. Ed. (Gym + Storage) |  |  | 244 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Poor | 0.25 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [9 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [29 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 22 | 30 | 26 | Poor | 0.25 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | ducted air diffuser | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [33 empty] | 0 | [8 empty] | 0 | [8 empty] | 0
9181 | UN-30 | Showers | Ground | A | Phys. Ed. (Gym + Storage) |  |  | 74 | N/A | [9 empty] | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Fair | 0.5 | [12 empty] | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [9 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 |  |  | Other (describe) | 22 | 30 | 26 | Poor | 0.25 |  |  | gang showers | [18 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | ceiling exhaust grille | [33 empty] | Present - Present - Present - Present - Present - Present - Present | [33 empty] | 0 | [8 empty] | 0 | [8 empty] | 0
9182 | UN-31 | Boys\' Water Closet | Ground | A | Phys. Ed. (Gym + Storage) |  |  | 65 | N/A | [9 empty] | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 | [12 empty] | Concrete Block | 16 | 30 | 23 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Poor | 0.25 | 2 |  |  | Wall Hung Flush Valve | 22 | 30 | 26 | Fair | 0.5 | 1 |  |  | Wall Hung | 22 | 30 | 26 | Fair | 0.5 | 2 | [20 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | ceiling exhaust grille | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [33 empty] | 0 | [8 empty] | 0 | [8 empty] | 0
9183 | UN-32 | Office/Equipment | Ground | A | Phys. Ed. (Gym + Storage) |  |  | 125 | N/A
9184 | UN-33 | Storage | Ground | A | Visual & Performing Arts |  |  | 136 | N/A
9185 | UN-34 | Faculty Water Closet | Ground | A | Phys. Ed. (Gym + Storage) |  |  | 61 | N/A
9186 | UN-35 | Gym Equipment Storage | Ground | A | Phys. Ed. (Gym + Storage) |  |  | 184 | N/A | [60 empty] | 2 | [8 empty] | 3 | [8 empty] | 0
9187 | UN-36 | Boys' Water Closet | Ground | A | Support |  |  | 154 | 11' 9" | [60 empty] | 2 | [8 empty] | 1 | [8 empty] | 2
9188 | UN-37 | Girls' Water Closet | Ground | A | Support |  |  | 151 | 11' 9"
9189 | UN-38 | Utility | Ground | A | Support |  |  | 10 | N/A | [60 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
9190 | UN-39 | Office | Ground | A | Phys. Ed. (Gym + Storage) |  |  | 95 | 8' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9191 | UN-40 | Storage | Ground | A | Phys. Ed. (Gym + Storage) |  |  | 35 | N/A
9192 | UN-41 | Faculty Water Closet | Ground | A | Phys. Ed. (Gym + Storage) |  |  | 33 | N/A | [60 empty] | 1 | [8 empty] | 3 | [8 empty] | 0
9193 | UN-42 | Girls' Locker Room | Ground | A | Phys. Ed. (Gym + Storage) |  |  | 216 | 8' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9194 | UN-43 | Girls' Water Closet | Ground | A | Phys. Ed. (Gym + Storage) |  |  | 95 | 8' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9195 | UN-44 | Showers | Ground | A | Phys. Ed. (Gym + Storage) |  |  | 78 | 8' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9196 | UN-45 | Storage | Ground | A | Phys. Ed. (Gym + Storage) |  |  | 48 | 8' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9197 | UN-46 | Gymnasium | Ground | A | Phys. Ed. (Gym + Storage) |  |  | 6661 | 28' | Other (describe) | 16 | 30 | 23 | Good | 0.75 |  |  | precast concrete panel | Wood | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 41067 |  | 6.5 | Good | 0.75 |  |  |  | Other (describe) | 16 | 21 | 18.5 | Good | 0.75 |  |  | exposed metal deck | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [9 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [29 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 22 | 30 | 26 | Poor | 0.25 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | ducted central air conditioning | [8 empty] | Dry Chemical | 41136 |  | 11.5 | Good | 0.75 |  |  | class 4A | [7 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [33 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present - Present - Present - Present - Present - Present - Present
9198 | UN-47 | Storage | Ground | A | Phys. Ed. (Gym + Storage) |  |  | 86 | 8' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9199 | UN-48 | Utility | Ground | A | Support |  |  | 10 | N/A | [60 empty] | 2 | [8 empty] | 2 | [8 empty] | 0
9200 | 130 | Boys\' Water Closet | 1st Floor | A | Support |  |  | 184 | N/A | [6 empty] | 0 |  |  | Other (describe) | 16 | 20 | 18 | Poor | 0.25 | 0 |  | painted concrete | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Poor | 0.25 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Poor | 0.25 | 3 |  |  | Wall Hung Flush Valve | 22 | 30 | 26 | Poor | 0.25 | 3 |  |  | Wall Hung | 22 | 30 | 26 | Poor | 0.25 | 3 | [17 empty] | 0 |  |  | Solid Surface (Plastic) | 0 | 15 | 7.5 | Fair | 0.5 | 0 |  |  | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Panel Breaker Switching | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Poor | 0.25 | 0 |  | ceiling exhaust grille | [5 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0
9201 | 132 | Girls\' Water Closet | 1st Floor | A | Support |  |  | 166 | N/A | [9 empty] | Unfinished | [5 empty] | 0 | [8 empty] | 0 |  |  | Suspended Acoustical | [5 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [8 empty] | 3 | [8 empty] | 0 | [26 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [25 empty] | 0 | [8 empty] | 0
9202 | 137 | Project Storage and Ceramics | 1st Floor | A | Visual & Performing Arts |  |  | 176 | 8' 8' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9203 | 139 | Arts and Science Room | 1st Floor | A | Visual & Performing Arts |  |  | 1676 | 8' 8' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9204 | 201 | Art Room | 1st Floor | A | Visual & Performing Arts |  |  | 522 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41067 |  | 6.5 | Poor | 0.25 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Poor | 0.25 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 16 | 30 | 23 | Fair | 0.5 |  |  |  | In-Counter Lavatories | 22 | 30 | 26 | Fair | 0.5 | 1 | [29 empty] | Other (describe) | 22 | 30 | 26 | Poor | 0.25 |  |  | in counter with sink | [9 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | ducted air diffusers | [24 empty] | Present | [8 empty] | Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 3 cpu | [106 empty] | Present
9205 | 202B | Computer Lab | 1st Floor | A | Technological Literacy |  |  | 1616 | 8' 8' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9206 | 208 | Vice Principal's Office | 1st Floor | A | Administration |  |  | 139 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9207 | 209 | Child Study Team | 1st Floor | A | Administration |  |  | 131 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9208 | 210 | Guidance Counselor | 1st Floor | A | Administration |  |  | 135 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9209 | 211 | Social Worker | 1st Floor | A | Administration |  |  | 143 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9210 | 212 | Vice Principal\'s Office | 1st Floor | A | Administration |  |  | 189 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41067 |  | 6.5 | Poor | 0.25 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 16 | 30 | 23 | Fair | 0.5 | [9 empty] | 0 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | ducted air diffuser and fan coil unit with hvac | [24 empty] | Present | [8 empty] | Present - Present - Present | [124 empty] | Present
9211 | 213 | Literacy Coach | 1st Floor | A | Small Group Instruction |  |  | 322 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9212 | 214 | Tutor | 1st Floor | A | Small Group Instruction |  |  | 330 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9213 | 215 | Secretary and Passage | 1st Floor | A | Administration |  |  | 507 | 8' 9" | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 16 | 30 | 23 | Fair | 0.5 | [9 empty] | 0 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | ducted air diffuser and fan coil unit with hvac | [24 empty] | Present | [8 empty] | Present - Present - Present - Present | [124 empty] | Present
9214 | 219 | Custodial Closet | 1st Floor | A | Support |  |  | 18 | N/A | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
9215 | 221 | Library | 1st Floor | A | Media Center |  |  | 2815 | 9' | [9 empty] | Carpet | 41228 |  | 13 | Fair | 0.5 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Poor | 0.25 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 16 | 30 | 23 | Fair | 0.5 | [9 empty] | 0 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Poor | 0.25 |  |  | ducted air diffuser | [8 empty] | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present | [8 empty] | Present - Present - Present - Present - Present |  | Wireless (WiFi) | 41004 | 4.5 | Good | 0.75 |  |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [18 empty] | 2 |  | wall mounted and movable | [6 empty] | 0 | [8 empty] | 8 | [72 empty] | Present
9216 | 221A | ESL | 1st Floor | A | Small Group Instruction |  |  | 184 | 9' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9217 | 221B | ESL | 1st Floor | A | Small Group Instruction |  |  | 192 | 9' | [9 empty] | Carpet | 41228 |  | 13 | Fair | 0.5 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Poor | 0.25 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 16 | 30 | 23 | Fair | 0.5 |  |  | with metal | [6 empty] | 0 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Poor | 0.25 |  |  | ducted air diffuser | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [18 empty] | 0 | [8 empty] | 0 | [8 empty] | 1 | [72 empty] | Present - Present - Present - Present - Present
9218 | 222C | ESL | 1st Floor | A | Small Group Instruction |  |  | 164 | 9' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9219 | 223 | 7th Grade Classroom | 1st Floor | A | General Classroom (Grades 6-8) |  |  | 820 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9220 | 224 | 7th Grade Classroom | 1st Floor | A | General Classroom (Grades 6-8) |  |  | 818 | 9' 7" | Other (describe) | 16 | 30 | 23 | Good | 0.75 | 0 |  | precast concrete panel | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41067 |  | 6.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [8 empty] | 0 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | 0 |  | ducted air diffusers; fan coil unit with hvac | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 4 | [72 empty] | Present - Present - Present - Present - Present - Present | clock and speaker
9221 | 224B | Mechanical Equipment | 1st Floor | A | Support |  |  | 1879 | N/A
9222 | 225 | 8th Grade Classroom | 1st Floor | A | General Classroom (Grades 6-8) |  |  | 815 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9223 | 226 | 8th Grade Classroom | 1st Floor | A | General Classroom (Grades 6-8) |  |  | 830 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9224 | 227 | 8th Grade Classroom | 1st Floor | A | General Classroom (Grades 6-8) |  |  | 833 | 9' 7" | Other (describe) | 16 | 30 | 23 | Good | 0.75 | 0 |  | precast concrete panel | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41067 |  | 6.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [8 empty] | 0 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | 0 |  | ducted air diffusers; fan coil unit with hvac | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 4 | [72 empty] | Present - Present - Present - Present - Present - Present - Present | clock and speaker
9225 | 228 | Math Coach | 1st Floor | A | Small Group Instruction |  |  | 586 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 16 | 30 | 23 | Fair | 0.5 | [9 empty] | 0 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Poor | 0.25 |  |  | ducted air diffuser and fan coil unit with hvac | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [18 empty] | 0 | [8 empty] | 0 | [8 empty] | 2 | [72 empty] | Present - Present - Present - Present - Present - Present - Present
9226 | 229 | Book Storage | 1st Floor | A | Support |  |  | 529 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | exposed metal deck | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 16 | 30 | 23 | Fair | 0.5 | [9 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [29 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | supply grille | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present
9227 | 233 | Special Needs Classroom | 1st Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 719 | 9' 7" | Other (describe) | 16 | 30 | 23 | Good | 0.75 | 0 |  | precast concrete panel | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41067 |  | 6.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | 0 |  | ducted air diffusers; 2 fan coil unit with hvac | [43 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0
9228 | 233A | Storage | 1st Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 71 | N/A
9229 | 234 | 4th Grade Classroom | 1st Floor | A | General Classroom (Grades 4-5) |  |  | 834 | 9' 7"
9230 | 235 | 4th Grade Classroom | 1st Floor | A | General Classroom (Grades 4-5) |  |  | 806 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9231 | 235A | Storage | 1st Floor | A | General Classroom (Grades 4-5) |  |  | 57 | N/A
9232 | 236 | 5th Grade Classroom | 1st Floor | A | General Classroom (Grades 4-5) |  |  | 833 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9233 | 237 | 5th Grade Classroom | 1st Floor | A | General Classroom (Grades 4-5) |  |  | 830 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9234 | 238 | Special Needs Classroom | 1st Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 815 | 9' 7" | Other (describe) | 16 | 30 | 23 | Good | 0.75 | 0 |  | precast concrete panel | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41067 |  | 6.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | 0 |  | ducted air diffusers; fan coil unit with hvac | [43 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0
9235 | 239 | 6th Grade Classroom | 1st Floor | A | General Classroom (Grades 6-8) |  |  | 834 | 9' 7" | Other (describe) | 16 | 30 | 23 | Good | 0.75 | 0 |  | precast concrete panel | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41067 |  | 6.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [8 empty] | 0 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | 0 |  | ducted air diffusers; fan coil unit with hvac | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 4 | [72 empty] | Present - Present - Present - Present - Present - Present - Present | clock and speaker
9236 | 240 | 6th Grade Classroom | 1st Floor | A | General Classroom (Grades 6-8) |  |  | 818 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9237 | 242 | 6th Grade Classroom | 1st Floor | A | General Classroom (Grades 6-8) |  |  | 820 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9238 | 243 | 7th Grade Classroom | 1st Floor | A | General Classroom (Grades 6-8) |  |  | 825 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9239 | 330 | Water Closet | 1st Floor | A | Faculty Support |  |  | 128 | N/A | [60 empty] | 2 | [8 empty] | 2 | [8 empty] | 0
9240 | UN-49 | Storage | 1st Floor | A | Administration |  |  | 25 | N/A
9241 | UN-50 | Safe | 1st Floor | A | Administration |  |  | 49 | N/A
9242 | UN-51 | Faculty Water Closet | 1st Floor | A | Faculty Support |  |  | 114 | N/A
9243 | UN-52 | Custodial Closet | 1st Floor | A | Support |  |  | 102 | N/A | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
9244 | UN-53 | Custodial Closet | 1st Floor | A | Support |  |  | 67 | N/A | [9 empty] | Unfinished | [17 empty] | Acoustical Panel | [32 empty] | 3 | [8 empty] | 3 | [8 empty] | 0
9245 | UN-54 | Storage | 1st Floor | A | Support |  |  | 104 | N/A
9246 | UN-55 | Storage | 1st Floor | A | Small Group Instruction |  |  | 84 | N/A | [60 empty] | 2 | [8 empty] | 2 | [8 empty] | 3
9247 | UN-56 | Boys' Water Closet | 1st Floor | A | Support |  |  | 170 | N/A
9248 | UN-57 | Utility | 1st Floor | A | Support |  |  | 27 | N/A | [9 empty] | Ceramic Tile | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | exposed metal deck | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 16 | 30 | 23 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Poor | 0.25 | 1 |  | mop sink | [6 empty] | 0 | [8 empty] | 0 | [29 empty] | Fluorescent Linear Surface Mount Fixture | 22 | 30 | 26 | Poor | 0.25 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Poor | 0.25 |  |  | central exhaust grille | [24 empty] | Present
9249 | UN-58 | Girls' Water Closet | 1st Floor | A | Support |  |  | 138 | N/A | [60 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
9250 | UN-59 | Storage | 1st Floor | A | Support |  |  | 124 | N/A
9251 | UN-60 | Dark Room | 1st Floor | A | Support |  |  | 62 | N/A
9252 | UN-61 | Faculty Water Closet | 1st Floor | A | Faculty Support |  |  | 22 | N/A
9253 | UN-62 | Teacher\'s Lounge | 1st Floor | A | Faculty Support |  |  | 353 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41067 |  | 6.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 16 | 30 | 23 | Fair | 0.5 |  |  |  | Stainless Steel Sinks | 22 | 30 | 26 | Poor | 0.25 | 0 | [8 empty] | 0 | [8 empty] | 0 | [29 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | ducted air diffuser | [24 empty] | Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 cpu
9254 | UN-63 | Faculty Water Closet | 1st Floor | A | Faculty Support |  |  | 28 | N/A
[70 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
25 | A | Ent1 | Ground | [6 empty] | Other (describe) | 31 | 45 | 38 | Good | 0.75 |  |  | precast concrete | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Poor | 0.25 | [12 empty] | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [12 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  | 2x2 | Keyed Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | [7 empty] | Cabinet heater | [16 empty] | Present | [8 empty] | Present
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
75 | A |  | Ground | [6 empty] | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Spray on fireproffing | [9 empty] | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [21 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  | Chain hung | Keyed Wall Switches | 22 | 30 | 26 | Good | 0.75 | [28 empty] | Present | [8 empty] | Present | [8 empty] | Present | [8 empty] | Present
76 | B | 126 mech room | Ground | [6 empty] | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Spray fireproofing painted | [9 empty] | Concrete Block | 16 | 30 | 23 | Good | 0.75 |  |  |  | Wall Mounted Stainless Steel Drinking Fountains | 22 | 30 | 26 | Good | 0.75 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  | Chain hung | Keyed Wall Switches | 22 | 30 | 26 | Fair | 0.5 | [12 empty] | Dry Chemical | 22 | 30 | 26 | Good | 0.75 | [10 empty] | Present | [8 empty] | Present | [8 empty] | Present | [8 empty] | Present
77 | C |  | 2nd | [6 empty] | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Metal deck | [9 empty] | Concrete Block | 16 | 30 | 23 | Good | 0.75 |  |  |  | Wall Mounted Stainless Steel Drinking Fountains | 0 | 7 | 3.5 | Good | 0.75 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  | Chain hung | [8 empty] | N/a | [25 empty] | Present | [8 empty] | Present | [8 empty] | Present | [8 empty] | Present
78 | D |  | 2nd | [6 empty] | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Painted metal deck | [9 empty] | Concrete Block | 16 | 30 | 23 | Good | 0.75 |  |  |  | Full Recessed Stainless Steel Drinking Fountains | 22 | 30 | 26 | Good | 0.75 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  | Chain hung | Keyed Wall Switches | 30+ |  | 30 | Good | 0.75 | [12 empty] | Dry Chemical | 22 | 30 | 26 | Good | 0.75 | [10 empty] | Present | [8 empty] | Present | [17 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
77 | A | 112 community entrance | Ground | [6 empty] | Other (describe) | 16 | 30 | 23 | Good | 0.75 |  |  | Precast concrete | Steel Pan | 22 | 30 | 26 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | Spray on fireproofing painted | Other (describe) | 22 | 30 | 26 | Poor | 0.25 |  |  | Painted | Vinyl/VCT | 22 | 30 | 26 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 22 | 30 | 26 | Good | 0.75 |  |  | Chain hung | Keyed Wall Switches | 22 | 30 | 26 | Fair | 0.5 | [28 empty] | Present | [8 empty] | Present
78 | C |  | Ground | [6 empty] | Other (describe) | 16 | 30 | 23 | Good | 0.75 |  |  | Concrete block | Steel Pan | 22 | 30 | 26 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Spray on fireproffing | Other (describe) | 22 | 30 | 26 | Poor | 0.25 |  |  | Painted | Vinyl/VCT | 22 | 30 | 26 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | [12 empty] | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | Cabinet heater | [16 empty] | Present | [8 empty] | Present
79 | D |  | Ground | [6 empty] | Other (describe) | 16 | 30 | 23 | Good | 0.75 |  |  | Precast concrete | Steel Pan | 22 | 30 | 26 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | Spray on fireproffing | Other (describe) | 22 | 30 | 26 | Poor | 0.25 |  |  | Painted | Vinyl/VCT | 22 | 30 | 26 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  | Chain hung | Keyed Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | Cabinet heater | [16 empty] | Present | [8 empty] | Present
Elevators | [9 empty] | Elevator | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Car Load Capacity | [8 empty] | Elevator Equipment and Controls
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
8 | A |  | 2nd | [6 empty] | Hydraulic | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Illusions ceiling | [43 empty] | Present | [9 empty] | 3000 lb | [8 empty] | National controls

## Master File (Systems)
systems | Question | Value1 |  | Average1
Systems | Seg ID | 642
| Bldg.Phase | A
| Original | 1
| Addition | 0
| Year Built | 1984
Domestic Water Heaters | Location
| Description | Electric Water Heater
| Age | 0 | 7 | 3.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | And domestic hot water pipping
Sanitary Drainage | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Building Support (other) Plumbing Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fuel Piping | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fuel Pumps | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fuel Storage Tanks | Location
| Description | Above/ground
| Age | 16 | 30 | 23
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fuel Fired Boilers | Location
| Description | Other (describe)
| Age | 16 | 30 | 23
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | electric boiler
Furnaces | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Unit Ventilators | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fan Coil Units | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Water Chillers | Location
| Description | Electric Powered
| Age | 21 | 30 | 25.5
| Condition | Poor |  | 0.25
CheckBox
| Quantity | 2
Voltage
Power Output
Elec Power
| Notes | hydronic piping
Cooling Towers | Location | Outside
| Description | Field Erected
| Age | 0 | 15 | 7.5
| Condition | Fair |  | 0.5
CheckBox
| Quantity | 2
Voltage
Power Output
Elec Power
Notes
Packaged Terminal Air Conditioner | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Hydronic Piping System | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Pumps | Location
| Description | Hydronic Pumps
| Age | 16 | 30 | 23
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Steam Piping System | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
HVAC Air Distribution | Location
| Description | Supply Air Diffusers (Ducted)
| Age | 16 | 30 | 23
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Air Handling Units | Location
| Description | Indoor Air Handling Units (AHU)
| Age | 21 | 30 | 25.5
| Condition | Poor |  | 0.25
CheckBox
| Quantity | 5
Voltage
Power Output
Elec Power
| Notes | 5
HVAC Fans | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire/Suppression (Sprinklers), Water/Based | Location
| Description | Wet/Pipe System
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire/Suppression (Standpipes), Water/Based | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation, Packaged Generator Assemblies | Location
| Description | Diesel Engine Generators
| Age | 16 | 30 | 23
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location
| Description | D5010 120
| Age | 16 | 30 | 23
| Condition | Poor |  | 0.25
CheckBox
Quantity
| Voltage | 208
| Power Output | 2000amps
Elec Power
Notes
Voice Communication Terminal Equipment | Location
| Description | PDX/Key Systems
| Age | 0 | 10 | 5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location
| Description | Public Address and Mass Notification Systems
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location
| Description | Analog Video Recording Devices
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location
| Description | Fire Alarm Annunciation Panels
| Age | 0 | 10 | 5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 565 |  |  | SiteElements | Seg ID | 177
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1984 |  |  |  | Year Built | 1984
(Foundation) Walls for Subgrade Enclosures, Primary | Location | typical |  |  | Roadways | Location
| Description | Concrete, Cast/In/Place |  |  |  | Description
| Age | 16 | 30 | 23 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location |  |  |  | Parking Lots | Location | S/2
| Description |  |  |  |  | Description | Asphalt (Bituminous)
| Age |  |  |  |  | Age | 22 | 30 | 26
| Condition |  |  |  |  | Condition | Poor |  | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Primary | Location | typical |  |  | Pedestrian Plazas and Walkways, Primary | Location | S/11
| Description | Concrete, Cast/In/Place |  |  |  | Description | Concrete, CIP
| Age | 16 | 30 | 23 |  | Age | 22 | 30 | 26
| Condition | Good |  | 0.75 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Secondary | Location | typical |  |  | Pedestrian Plazas and Walkways, Secondary | Location
| Description | Other (describe) |  |  |  | Description
| Age | 16 | 30 | 23 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Primary | Location | typical |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location | S/1
| Description | Steel Framing, w/ Steel Deck |  |  |  | Description | Rubberized
| Age | 16 | 30 | 23 |  | Age | 22 | 30 | 26
| Condition | Good |  | 0.75 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | basketball court; painted surface
Floor Construction, Secondary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Primary | Location | typical |  |  | Site Lighting, Primary | Location | typical
| Description | Steel Framing, w/ Steel Deck |  |  |  | Description | Pole Mounted H.I.D.
| Age | 16 | 30 | 23 |  | Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location |  |  |  | Site Lighting, Secondary | Location | typical
| Description | Other (describe) |  |  |  | Description | Building Mounted H.I.D.
| Age | 16 | 30 | 23 |  | Age | 22 | 30 | 26
| Condition | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | bar joist |  |  |  | Notes
Exterior Walls / Exterior Assembly, Primary | Location | typical |  |  | Playground Surface | Location | S/1
| Description | Concrete, PC |  |  |  | Description | Asphalt (Bituminous)
| Age | 16 | 30 | 23 |  | Age | 22 | 30 | 26
| Condition | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location | typical |  |  | Playground Equipment | Location | S/1
| Description | Other (describe) |  |  |  | Description | B/Ball Backstops
| Age | 16 | 30 | 23 |  | Age | 22 | 30 | 26
| Condition | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | cmu profile unit |  |  |  | Notes | playground
Exterior Windows, Primary | Location | typical |  |  | TCUs | Location
| Description | Other (describe) |  |  |  | Description
| Age | 22 | 30 | 26 |  | Age
| Condition | Very Poor |  | 0.1 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | aluminum strip |  |  |  | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location | stair 1
| Description | Aluminum, Casement
| Age | 22 | 30 | 26
| Condition | Very Proor |  | 0.1
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
| Description | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location
| Description | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location | typical
| Description | Metal, Seam
| Age | 22 | 30 | 26
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | typical
| Description | Aluminum
| Age | 22 | 30 | 26
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes