## FCI Summary
Building Name: | John F. Kennedy | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 45806
Number of Floors: | 2
School Age (years): | 45
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 10.36%
Facility Condition = | GOOD
FCI Deficiency Cost = | 978698.7874
FCI Replacement Cost = | 9447487.5
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 175
Historic 2005 LRFP Capacity = | 171
Adjusted 2012 Capacity = | 187
Recent Occupancy % = | 93.58%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 89.22%
Classroom Adequacy = | GOOD
Special Spaces Adequacy % Score = | 77.58%
Special Spaces Adequacy = | FAIR

## Uniformat FCI
Building Name: |  | John F. Kennedy | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 45806
Largest Floor Level Area: |  | 24342
Vertical FAR Ratio: |  | 1.8818
School Age (years): |  | 45
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 3.5% | 7.2188 | 45806 | 330662.0625 | 100 | 45 | 55 | 0.5 | 50 | 100 | 330662.0625 | 0 | 0%
|  |  | A1030 - SLAB ON GRADE | 3.8% | 7.8375 | 45806 | 359004.525 | 100 | 45 | 55 | 0.75 | 75 | 100 | 359004.525 | 0 | 0%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 45806 | 207844.725 | 100 | 45 | 55 | 0.75 | 75 | 100 | 207844.725 | 0 | 0%
|  |  | SUBTOTAL SUBSTRUCTURE | 9.5% | 19.5938 | 45806 | 897511.3125
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 45806 | 1039223.625 | 100 | 45 | 55 | 0.75 | 75 | 100 | 1039223.625 | 0 | 0%
|  |  | B1020 - ROOF CONSTRUCTION | 4.4% | 9.075 | 45806 | 415689.45 | 100 | 45 | 55 | 0.75 | 75 | 100 | 415689.45 | 0 | 0%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 5.8% | 11.9625 | 45806 | 547954.275 | 100 | 45 | 55 | 0.58333 | 58.3333 | 100 | 547954.275 | 0 | 0%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 3.3% | 6.8063 | 45806 | 311767.0875 | 30 | 9.5 | 20.5 | 0.75 | 22.5 | 30 | 311767.0875 | 0 | 0%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 4% | 8.25 | 45806 | 377899.5 | 30 | 22.3333 | 7.6667 | 0.58333 | 17.5 | 25.1667 | 317015.6917 | 60883.8083 | 16.11%
|  |  | SUBTOTAL SHELL | 28.5% | 58.7812 | 45806 | 2692533.9375
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 45806 | 377899.5 | 60 | 43.7759 | 16.2241 | 0.69828 | 41.8966 | 58.1207 | 366062.9927 | 11836.5073 | 3.132%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 45806 | 141712.3125 | 20 | 22.4667 | 0 | 0.63333 | 5 | 5 | 35428.0781 | 106284.2344 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 45806 | 377899.5 | 20 | 13.125 | 6.875 | 0.6875 | 13.75 | 20 | 377899.5 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 45806 | 141712.3125 | 30 | 45 | 0 | 0.5 | 5 | 5 | 23618.7188 | 118093.5938 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 2.5% | 5.1562 | 45806 | 236187.1875 | 10 | 11.4219 | 0 | 0.65625 | 5 | 5 | 118093.5938 | 118093.5938 | 50%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 45806 | 566849.25 | 20 | 19.4219 | 0.57812 | 0.63281 | 12.6562 | 13.2344 | 375094.7771 | 191754.4729 | 33.83%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 45806 | 566849.25 | 30 | 30 | 0 | 0.58654 | 17.5962 | 17.5962 | 332478.887 | 234370.363 | 41.35%
|  |  | SUBTOTAL INTERIORS | 25.5% | 52.5938 | 45806 | 2409109.3125
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.5% | 1.0312 | 45806 | 47237.4375 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 47237.4375 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 45806 | 141712.3125 | 60 | 23.3629 | 36.6371 | 0.59786 | 35.8714 | 60 | 141712.3125 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 45806 | 122817.3375 | 60 | 11.5 | 48.5 | 0.75 | 45 | 60 | 122817.3375 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 45806 | 113369.85 | 60 | 38 | 22 | 0.75 | 45 | 60 | 113369.85 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 45806 | 47237.4375 | 30 | 38 | 0 | 0.5 | 5 | 5 | 7872.9062 | 39364.5312 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 45806 | 255082.1625 | 60 | 7.5 | 52.5 | 0.75 | 45 | 60 | 255082.1625 | 0 | 0%
|  |  | D3020 - BOILERS | 2% | 4.125 | 45806 | 188949.75 | 60 | 22.75 | 37.25 | 0.625 | 37.5 | 60 | 188949.75 | 0 | 0%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 45806 | 377899.5 | 40 | 9.5 | 30.5 | 0.66667 | 26.6667 | 40 | 377899.5 | 0 | 0%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 45806 | 377899.5 | 40 | 25 | 15 | 0.60938 | 24.375 | 39.375 | 371994.8203 | 5904.6797 | 1.562%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 45806 | 188949.75 | 40 | 5 | 35 | 0.75 | 30 | 40 | 188949.75 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 45806 | 141712.3125 | 20 | 0 | 20 | 0 | 0 | 20 | 141712.3125 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 45806 | 94474.875 | 20 | 0 | 20 | 0 | 0 | 20 | 94474.875 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 45806 | 18894.975 | 20 | 3.5 | 16.5 | 0.75 | 15 | 20 | 18894.975 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 45806 | 122817.3375 | 60 | 7.5 | 52.5 | 0.75 | 45 | 60 | 122817.3375 | 0 | 0%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 45806 | 661324.125 | 30 | 11.8854 | 18.1146 | 0.74479 | 22.3438 | 30 | 661324.125 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 45806 | 283424.625 | 20 | 11.1667 | 8.8333 | 0.75128 | 15.0256 | 20 | 283424.625 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 45806 | 28342.4625 | 20 | 26.5 | 0 | 0.65625 | 5 | 5 | 7085.6156 | 21256.8469 | 75%
|  |  | SUBTOTAL SERVICES | 34% | 70.125 | 45806 | 3212145.75
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 45806
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 45806
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 45806
|  |  | E1090 - OTHER EQUIPMENT |  |  | 45806
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 45806
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 45806
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 45806
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 45806
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 45806
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 45806 | 94474.875 | 30 | 0 | 30 | 0.25 | 7.5 | 30 | 94474.875 | 0 | 0%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 45806 | 47237.4375 | 30 | 30 | 0 | 0.5 | 15 | 15 | 23618.7188 | 23618.7188 | 50%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 45806 | 47237.4375 | 30 | 11.5 | 18.5 | 0.75 | 22.5 | 30 | 47237.4375 | 0 | 0%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 45806 | 47237.4375 | 30 | 11.5 | 18.5 | 0.75 | 22.5 | 30 | 47237.4375 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 45806 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 45806
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 45806 | 9447487.5 | [7 empty] | 978698.7874 | 10.36%
100%
Note on J41: Tessier, Matthew: No Survey Data
Note on J42: Tessier, Matthew: No Survey Data
Note on J58: Tessier, Matthew: No Survey Data

## Master File (Interior)
John F. Kennedy
School Code:
NPS Code:
Street: | 311 S. 10th St.
City/Town: | Newark,
Database ID: | 69
Total size (gsf):
ROOM INFORMATION | [12 empty] | 43.1852 | Ave Condition | 0.66667 | [5 empty] | 19.4219 | Ave Condition | 0.63281 | [6 empty] | 11.4219 | Ave Condition | 0.65625 | [5 empty] | 30 | Ave Condition | 0.58654 | [6 empty] | 22.4667 | Ave Condition | 0.63333 | [6 empty] | 43.7759 | Ave Condition | 0.69828 | [5 empty] | 28.5714 | Ave Condition | 0.66071 | [5 empty] | 19.4286 | Ave Condition | 0.64286 | [5 empty] | 27.3571 | Ave Condition | 0.53571 | [5 empty] | 27.3571 | Ave Condition | 0.5 | [6 empty] | 14.1 | Ave Condition | 0.65 | [6 empty] | 13.125 | Ave Condition | 0.6875 | [5 empty] | 12.2708 | Ave Condition | 0.73958 | [5 empty] | 30 | Ave Condition | 0.5625 | [5 empty] | 30 | Ave Condition | 0.63542 | [6 empty] | 20 | Ave Condition | 0.58333 | [6 empty] | 3.5 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | 10 | Ave Condition | 0.75 | [5 empty] | Average Age | 10 | Ave Condition | 0.61538 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [7 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [7 empty] | Plumbing Fixtures - Toilets | [7 empty] | Plumbing Fixtures - Urinals | [7 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
10737 | 100 | Cooking | 1st Floor | A | General Classroom |  |  | 1065 | 9' 6" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ | 30 | Fair | 0.5 |  |  | Isolated water damage / missing panels | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 |  |  |  | In-Counter Lavatories | 30+ | 30 | Good | 0.75 | 3 | [44 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Good | 0.75 |  |  | Cabinet heater / AC & Wall through exhaust fans | [9 empty] | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Poor | 0.25 | [36 empty] | 2 | [72 empty] | Present
10738 | 101 | Classroom | 1st Floor | A | General Classroom |  |  | 715 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10739 | 102 | Classroom | 1st Floor | A | General Classroom |  |  | 740 | 9' 6" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 |  |  |  | In-Counter Lavatories | 30+ | 30 | Fair | 0.5 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Good | 0.75 |  |  | Cabinet heater / AC | [25 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [18 empty] | 1 |  | Portable | [15 empty] | 2 | [72 empty] | Present - Present
10740 | 103 | Classroom | 1st Floor | A | General Classroom |  |  | 711 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10741 | 104 | Classroom | 1st Floor | A | General Classroom |  |  | 712 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10742 | 105 | Music | 1st Floor | A | Visual & Performing Arts |  |  | 727 | 9' 6 | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 |  |  | Horizontal crack in corridor wall | In-Counter Lavatories | 30+ | 30 | Fair | 0.5 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Good | 0.75 |  |  | Cabinet heater / AC | [25 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present
10743 | UN-01 | General Office | 1st Floor | A | Administration |  |  | 691 | 9' 0 | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ | 30 | Good | 0.75 |  |  | Water damage | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | [53 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Good | 0.75 |  |  | Cabinet heater / AC | Window Mounted | 16 | 21 | 18.5 | Fair | 0.5 | [19 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present
10744 | UN-02 | Office | 1st Floor | A | Administration |  |  | 225 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10745 | UN-03 | Water Closet | 1st Floor | A | Administration |  |  | 25 | 9' 6" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10746 | UN-04 | Principal's Office | 1st Floor | A | Administration |  |  | 411 | 9' 0" | [9 empty] | Carpet | [16 empty] | Acoustical Panel
10747 | UN-05 | Conference | 1st Floor | A | Administration |  |  | 238 | 9' 0" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | [53 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Good | 0.75 |  |  | Cabinet heater / AC | [25 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 2 PCUs | [106 empty] | Present - Present - Present - Present - Present
10748 | UN-06 | Conference | 1st Floor | A | Administration |  |  | 210 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10749 | UN-07 | Boys' Water Closet | 1st Floor | A | Support |  |  | 88 | 9' 6" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10750 | UN-08 | Girls' Water Closet | 1st Floor | A | Support |  |  | 90 | 9' 6" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 2 | [7 empty] | 0
10751 | UN-10 | Cafetorium | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 2028 | 24' 10 | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ | 30 | Fair | 0.5 |  |  | Covered skylights | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | [53 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | [12 empty] | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present
10752 | UN-09 | Child Study Team | 1st Floor | A | Administration |  |  | 559 | 9' 0" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ | 30 | Fair | 0.5 |  |  | Water damage | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | [53 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Good | 0.75 |  |  | Cabinet heater / AC | [25 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 PCU | [106 empty] | Present - Present - Present - Present - Present - Present - Present
10753 | UN-10A | Cafetorium Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 135 | 9' 0 | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10754 | UN-11 | Kitchen | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 752 | 9' 6 | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Other (describe) | 20+ | 20 | Good | 0.75 |  |  | Quarry tile | Ceramic Tile Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ | 30 | Poor | 0.25 |  |  | Metal panels | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 |  |  |  | Stainless Steel Sinks | 30+ | 30 | Good | 0.75 | 6 | [44 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Good | 0.75 |  |  | Wall supply diffuser | Through Wall | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | ANSUL Kitchen Exhaust | [7 empty] | Present - Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present - Present | [35 empty] | Present
10755 | UN-12 | Food Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 367 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10756 | UN-13 | Boiler Room | 1st Floor | A | Support |  |  | 521 | 9' 0 | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
10757 | UN-14 | Boys' Water Closet | 1st Floor | A | Support |  |  | 98 | 9' 0" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 1
10758 | UN-15 | Girls' Water Closet | 1st Floor | A | Support |  |  | 81 | 9' 0" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10759 | UN-16 | Water Closet | 1st Floor | A | General Classroom |  |  | 15 | 9' 6" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10760 | UN-17 | Water Closet | 1st Floor | A | General Classroom |  |  | 20 | 9' 6 | [9 empty] | Ceramic Tile | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Good | 0.75 |  |  | Ceramic tile wainscot | Drywall (Gypsum) | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  | Dutch door | Concrete Block | 46 | 60 | 53 | Good | 0.75 | [8 empty] | 1 | [7 empty] | 1 | [7 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Good | 0.75 |  |  | Toilet exhaust grill | [25 empty] | Present - Present - Present - Present - Present - Present - Present
10761 | UN-18 | Water Closet | 1st Floor | A | General Classroom |  |  | 18 | 9' 6" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10762 | UN-19 | Water Closet | 1st Floor | A | General Classroom |  |  | 17 | 9' 6" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10763 | UN-20 | Water Closet | 1st Floor | A | Visual & Performing Arts |  |  | 20 | 9' 6" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10764 | UN-21 | Pool | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 1120 | 24' 10" | CMU Back-up Wall | 46 | 60 | 53 | Fair | 0.5 |  |  | Cracks | Ceramic Tile | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Exposed open web joist structure with painted tectum panels - water damage at corner | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  | Stainless steel | Concrete Block | 46 | 60 | 53 | Good | 0.75 | [53 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Ceiling exhaust ducts | [25 empty] | Present - Present - Present - Present - Present - Present - Present | [34 empty] | Present | [98 empty] | Present - Present - Present - Present - Present - Present - Present
10765 | UN-22 | Pool Office | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 104 | 24' 10" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10766 | UN-23 | Storage | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 36 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
10767 | UN-24 | Storage | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 75 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
10768 | UN-25 | Washing Machine | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 25 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10769 | UN-26 | Gym Storage | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 116 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
10770 | UN-27 | Gym Storage | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 338 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
10771 | UN-28 | Girls\' Locker Room | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 414 | 9' 0 | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10772 | UN-29 | Water Closet | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 33 | 9' 6" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10773 | UN-30 | Boys\' Locker Room | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 394 | 9' 0 | [9 empty] | Ceramic Tile | 20+ | 20 | Good | 0.75 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Poor | 0.25 |  |  | Isolated water damage spots | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | [27 empty] | Compartmental Showers | 30+ | 30 | Fair | 0.5 |  |  | -5 | [9 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Exhaust grills | [25 empty] | Present - Present - Present - Present - Present - Present - Present
10774 | UN-31 | Girls' Water Closet | 1st Floor | A | Support |  |  | 172 | 9' 0" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 3 | [7 empty] | 3 | [7 empty] | 0
10775 | UN-32 | Gymnasium | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 1981 | 24' 10" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Wood | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Exposed open web joist structure with painted tectum panels - water damage at exterior wall | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 46 | 60 | 53 | Fair | 0.5 |  |  | & foldable partitions - cracks at CMU | [50 empty] | HID Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Supply wall register and ceiling mounted exhaust fan | [9 empty] | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present - Present
10776 | UN-33 | Office | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 76 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10777 | UN-34 | Boys\' Water Closet | 1st Floor | A | Support |  |  | 190 | 9' 0" | CMU Back-up Wall | 46 | 60 | 53 | Poor | 0.25 |  |  | Cracks | Ceramic Tile | 20+ | 20 | Good | 0.75 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 46 | 60 | 53 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ | 30 | Fair | 0.5 | 3 |  |  | Wall Hung Flush Valve | 30+ | 30 | Good | 0.75 | 3 |  |  | Floor Unit | 30+ | 30 | Good | 0.75 | 2 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Recessed Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present - Present - Present - Present
10778 | UN-35 | Storage | 1st Floor | A | Support |  |  | 80 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
10779 | UN-36 | Gym Storage | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 123 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
10780 | UN-37 | Medical Suite | 1st Floor | A | Health Services |  |  | 377 | 9' 6" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Other (describe) | 46 | 60 | 53 | Good | 0.75 |  |  | Plaster on CMU | [50 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Good | 0.75 |  |  | Supply air diffuser | [25 empty] | Present - Present - Present - Present - Present - Present - Present
10781 | UN-38 | Beds | 1st Floor | A | Health Services |  |  | 154 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10782 | UN-39 | Medical Storage | 1st Floor | A | Health Services |  |  | 71 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
10783 | UN-40 | Boys' Water Closet | 1st Floor | A | Health Services |  |  | 37 | 9' 6" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 1
10784 | UN-41 | Girls' Water Closet | 1st Floor | A | Health Services |  |  | 36 | 9' 6" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10785 | UN-42 | Medical Storage | 1st Floor | A | Health Services |  |  | 49 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
10786 | 200 | Classroom | 2nd Floor | A | General Classroom |  |  | 563 | 12' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10787 | 201 | Classroom | 2nd Floor | A | General Classroom |  |  | 821 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10788 | 202 | Autistic | 2nd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 841 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10789 | 203 | Autistic | 2nd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 827 | 9' 8" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | Stainless Steel Sinks | 30+ | 30 | Fair | 0.5 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Other (describe) | 30+ | 30 | Good | 0.75 |  |  | Cabinet hvac | [9 empty] | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75 | [36 empty] | 4 |  | Desktops | [70 empty] | Present
10790 | 204 | Classroom | 2nd Floor | A | General Classroom |  |  | 795 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10791 | 205 | Classroom | 2nd Floor | A | General Classroom |  |  | 832 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10792 | 206 | Computer Lab | 2nd Floor | A | Technological Literacy |  |  | 922 | 9' 6" | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Fair | 0.5 | [53 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Other (describe) | 30+ | 30 | Good | 0.75 |  |  | Cabinet hvac | Window Mounted | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | [19 empty] | Present - Present | [10 empty] | Wireless (WiFi) | 10+ | 10 | Good | 0.75 |  |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75 | [20 empty] | Wall mount | [15 empty] | 17 |  | Desktop | [70 empty] | Present - Present
10793 | 207 | Parents\' Room | 2nd Floor | A | Administration |  |  | 540 | 9' 8" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | [53 empty] | Fluorescent Linear Surface Mount Fixture | 30+ | 30 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Cabinet hvac | [25 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75 | [109 empty] | Present - Present - Present
10794 | 208 | Classroom | 2nd Floor | A | General Classroom |  |  | 768 | 9' 8" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | Stainless Steel Sinks | 30+ | 30 | Good | 0.75 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Cabinet hvac | [25 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75 | [18 empty] | 1 |  | Mobile | [15 empty] | 4 |  | Desktops | [70 empty] | Present - Present - Present - Present
10795 | 209 | Classroom | 2nd Floor | A | General Classroom |  |  | 754 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10796 | 210 | Classroom | 2nd Floor | A | General Classroom |  |  | 753 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10797 | 211 | Classroom | 2nd Floor | A | General Classroom |  |  | 750 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10798 | 212 | Classroom | 2nd Floor | A | General Classroom |  |  | 764 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10799 | 213 | Classroom | 2nd Floor | A | General Classroom |  |  | 773 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10800 | 214 | Classroom | 2nd Floor | A | General Classroom |  |  | 761 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10801 | 215 | Classroom | 2nd Floor | A | General Classroom |  |  | 824 | 9' 8" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ | 30 | Fair | 0.5 |  |  | Water damage | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | Stainless Steel Sinks | 30+ | 30 | Good | 0.75 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Cabinet hvac | [25 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75 | [18 empty] | 1 |  | Wall mount | [15 empty] | 4 |  | Desktops | [70 empty] | Present - Present - Present - Present - Present
10802 | 216 | Classroom | 2nd Floor | A | General Classroom |  |  | 763 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10803 | 217 | Classroom | 2nd Floor | A | General Classroom |  |  | 666 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10804 | 218 | Wood Working | 2nd Floor | A | Technological Literacy |  |  | 657 | 12' 3" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 | 0 |  |  | Wood | 20+ | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 | 0 | [7 empty] | 0 |  | Open ceiling | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | 0 |  |  | In-Counter Lavatories | 30+ | 30 | Fair | 0.5 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ | 30 | Good | 0.75 | 0 |  | Cabinet hvac | [6 empty] | 0 |  |  | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | 0 | [8 empty] | 0 | Present - Present - Present - Present - Present - Present | [7 empty] | 0 | [7 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75 | 0 | [8 empty] | 0 | [8 empty] | 1 |  | Wall mount | [15 empty] | 4 |  | Desktops | [69 empty] | 0
10805 | 219 | Art | 2nd Floor | A | Visual & Performing Arts |  |  | 804 | 12' 3" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 | 0 |  | Chipped | Painted Walls | 10+ |  | 10 | Good | 0.75 | 0 | [7 empty] | 0 |  | Open ceiling | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | 0 |  |  | Stainless Steel Sinks | 30+ | 30 | Good | 0.75 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ | 30 | Good | 0.75 | 0 |  | Cabinet hvac | [24 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75 | 0 | [107 empty] | 0
10806 | UN-43 | Water Closet | 2nd Floor | A | Technological Literacy |  |  | 21 | 9' 8" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10807 | UN-44 | Storage | 2nd Floor | A | Technological Literacy |  |  | 38 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
10808 | UN-45 | Water Closet | 2nd Floor | A | General Classroom |  |  | 23 | 9' 8" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10809 | UN-46 | Water Closet | 2nd Floor | A | General Classroom |  |  | 20 | 9' 8" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10810 | UN-47 | Water Closet | 2nd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 21 | 9' 8" | [9 empty] | Ceramic Tile | 20+ | 20 | Good | 0.75 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | [8 empty] | 1 | [7 empty] | 1 | [7 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Toilet exhaust vent | [25 empty] | Present - Present - Present - Present - Present - Present - Present
10811 | UN-48 | Water Closet | 2nd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 23 | 9' 8" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10812 | UN-49 | Water Closet | 2nd Floor | A | General Classroom |  |  | 15 | 9' 8" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10813 | UN-50 | Custodial Closet | 2nd Floor | A | Support |  |  | 20 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
10814 | UN-51 | Handicapped Boys\' Water Closet | 2nd Floor | A | Support |  |  | 107 | 9' 8" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 |  |  |  | Ceramic Tile | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 30+ | 30 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Tank | 30+ | 30 | Good | 0.75 | 1 | [7 empty] | 0 | [28 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present - Present - Present - Present
10815 | UN-52 | Handicapped Girls' Water Closet | 2nd Floor | A | Support |  |  | 132 | 9' 8" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10816 | UN-53 | Storage | 2nd Floor | A | Visual & Performing Arts |  |  | 206 | 12' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
10817 | UN-54 | Storage | 2nd Floor | A | Technological Literacy |  |  | 194 | 12' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
10818 | UN-55 | Storage | 2nd Floor | A | General Classroom |  |  | 66 | 12' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
10819 | UN-56 | Girls\' Water Closet | 2nd Floor | A | Support |  |  | 144 | 9' 8" | [9 empty] | Ceramic Tile | 20+ | 20 | Fair | 0.5 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Poor | 0.25 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 30+ | 30 | Good | 0.75 | 2 |  |  | Floor Mounted Flush Valve | 30+ | 30 | Good | 0.75 | 2 | [7 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present - Present - Present - Present
10820 | UN-57 | Storage | 2nd Floor | A | General Classroom |  |  | 19 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
10821 | UN-58 | Water Closet | 2nd Floor | A | General Classroom |  |  | 22 | 9' 8" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10822 | UN-59 | Boys' Water Closet | 2nd Floor | A | Support |  |  | 76 | 9' 8" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 1
10823 | UN-60 | Girls' Water Closet | 2nd Floor | A | Support |  |  | 76 | 9' 8" | [9 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
12528 | UN-11A | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 77 | 9' 6
12529 | UN-11B | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 14 | 9' 6
12530 | UN-11C | Water Closet | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 41 | 9' 6
12531 | UN-11D | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 38 | 9' 6
12532 | UN-11E | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 20 | 9' 6
12533 | UN-01A | Storage | 1st Floor | A | Administration |  |  | 62 | 9' 0
12534 | UN-01B | Storage | 1st Floor | A | Administration |  |  | 58 | 9' 0
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [7 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
62 | A | Main entrance | 1st floor | @ S. 10th Street | [13 empty] | N/A | Solid Terrazzo | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ | 30 | Good | 0.75 | [12 empty] | Concrete Block | 31 | 45 | 38 | Good | 0.75 | [11 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 |  |  | Plus Ceiling mounted diffuser | [16 empty] | Present | Strobe plus. Smoke and heat detectors | [14 empty] | Present | [7 empty] | Present
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [7 empty] | Ceiling Finish | [8 empty] | Standpipes | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
180 | A |  | 1st floor | [6 empty] | Solid Terrazzo | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Good | 0.75 | [11 empty] | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | Wall Mounted Stainless Steel Drinking Fountains | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 | [11 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water type | [7 empty] | Present | Strobe plus smoke and heat detectors | [22 empty] | Present | Speakers
181 | B |  | 2nd floor | [6 empty] | Solid Terrazzo | 20+ |  | 20 | Fair | 0.5 |  |  | Few cracks | Painted Walls | 10+ | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Good | 0.75 | [11 empty] | Concrete Block | 31 | 45 | 38 | Good | 0.75 | [20 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 | [11 empty] | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water type | [7 empty] | Present | Strobe plus smoke and heat detector | [14 empty] | Present | Camera | [6 empty] | Present | Clock and speaker
182 | C |  | 2nd floor | [6 empty] | Solid Terrazzo | 20+ |  | 20 | Fair | 0.5 |  |  | Few cracks | Painted Walls | 10+ | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Good | 0.75 | [11 empty] | Concrete Block | 31 | 45 | 38 | Good | 0.75 | [20 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water type | [7 empty] | Present | Strobe plus smoke and heat detector | [14 empty] | Present | Camera | [6 empty] | Present | Clock and speakers
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Stair Construction | [7 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [7 empty] | Standpipes | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [7 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
172 | A |  | 1st to 2nd floor | [6 empty] | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 |  |  |  | Steel Pan | 30+ | 30 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Drywall (Gypsum) | 30+ | 30 | Good | 0.75 |  |  |  | Terrazzo | 30+ |  | 30 | Fair | 0.5 |  |  |  | Terrazzo | 30+ |  | 30 | Fair | 0.5 |  |  | Few cracks | Labeled Metal/Metal Frames | 20+ | 20 | Good | 0.75 |  |  | Needs repainting | [8 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 | [27 empty] | Present
173 | B |  | 1st to 2nd floor | [6 empty] | CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Steel Pan | 30+ | 30 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Terrazzo | 30+ |  | 30 | Fair | 0.5 |  |  |  | Terrazzo | 30+ |  | 30 | Fair | 0.5 |  |  |  | Labeled Metal/Metal Frames | 20+ | 20 | Good | 0.75 |  |  | Needs repainting | [8 empty] | Fluorescent Linear Surface Mount Fixture | 30+ | 30 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ |  | 30 | Fair | 0.5 | [18 empty] | Present | [15 empty] | Present | Camera
Pools | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [7 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [7 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Package Terminal Air Conditioner | [7 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [7 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [8 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment | [7 empty] | Swimming Pools
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
3 | A |  | 1st | No overflow grilles | [5 empty] | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Ceramic Tile | 20+ | 20 | Fair | 0.5 | 0 |  | Mosaic | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ | 30 | Good | 0.75 | 0 |  | Open to structure | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | 0 | [15 empty] | 0 | [7 empty] | 0 |  |  | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 | 0 |  | Wall mounted | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Exposed Duct work supply and return | [5 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | Present | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present | Camera | [5 empty] | 0 | Present | Clock and speakers | Other (describe) | [5 empty] | 0 |  | 30x15x5 ft 15000 gallon home pool style
Elevators | [9 empty] | Elevator | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [8 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment | [7 empty] | Car Load Capacity | [7 empty] | Elevator Equipment and Controls
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
18 | A | Corridor #1 | 1st floor | [6 empty] | Hydraulic | 30+ |  | 30 | Good | 0.75 |  |  |  | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 | [44 empty] | 4,000 lbs | [7 empty] | Keyed controls and push buttons
EXTERIORs INFORMATION

## Master File (Systems)
systems | Question | Value1 |  | Average1 | systems | Question | Value1 | Average1
Systems | Seg ID | 1586 |  |  | InfoTech | Seg ID | 506
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 19677 |  |  |  | Year Built | 19677
Domestic Water Heaters | Location | Un13 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Sanitary Drainage | Location | Roof |  |  | Main Dist. Facility (MDF) | Location | Above Ground Level Floor
| Description | Other (describe) |  |  |  | Description | Un27
| Age | 31 | 45 | 38 |  | Age | 10+ | 10
| Condition | Good |  | 0.75 |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Stormwater Area Drains |  |  |  | Notes
Building Support (other) Plumbing Systems | Location | Un13 |  |  | MDF, HVAC Terminal Units | Location
| Description | Stormwater Drainage Sump Pumps |  |  |  | Description | Other (describe)
| Age | 31 | 45 | 38 |  | Age | 41136 | 11.5
| Condition | Fair |  | 0.5 |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Air handing unit 4
Fuel Piping | Location | Un13 |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description
| Age | 31 | 45 | 38 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location | Un01
| Description |  |  |  |  | Description | Wall mount
| Age |  |  |  |  | Age | 10+ | 10
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Fired Boilers | Location | Un13 |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas/Fired Boilers |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location | 206
| Description |  |  |  |  | Description | Wallount
| Age |  |  |  |  | Age | 10+ | 10
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description | Other (describe)
| Age |  |  |  |  | Age | 30+ | 30
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Cabinet hvac
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description | Window Mounted
| Age |  |  |  |  | Age | 41136 | 11.5
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location | Un27 |  |  | Inter. Data Facility (IDF #4) | Location
| Description | Single Loop Hot Water System |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location | Un27 |  |  | IDF #4, HVAC Terminal Units | Location
| Description | Hydronic Pumps |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location |  |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location |  |  |  | Inter. Data Facility (IDF #5) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location | Interior courtyard |  |  | IDF #5, HVAC Terminal Units | Location
| Description | Indoor Air Handling Units (AHU) |  |  |  | Description
| Age | 41233 |  | 10.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Also air unit in un27 |  |  |  | Notes
HVAC Fans | Location | Roof |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description | Centrifugal Roof Ventilator |  |  |  | Description
| Age | 41233 |  | 10.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | 8 |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location | Un13
| Description | Gas Engine Generators
| Age | 16 | 30 | 23
| Condition | Good |  | 0.75
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | Un13
| Description | D5010 120
| Age | 0 | 15 | 7.5
| Condition | Good |  | 0.75
CheckBox
| Quantity | 0
| Voltage | 120/208
| Power Output | 2500
Elec Power
Notes
Voice Communication Terminal Equipment | Location | Un13
| Description | PDX/Key Systems
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | Un01
| Description | Public Address and Mass Notification Systems
| Age | 41233 |  | 10.5
| Condition | Good |  | 0.75
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | Un04
| Description | Digital Video Recorders
| Age | 0 | 10 | 5
| Condition | Very Good |  | 0.9
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | Un13
| Description | Fire Alarm Annunciation Panels
| Age | 41233 |  | 10.5
| Condition | Good |  | 0.75
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location | Un13
| Description | Building Automation Controls
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
| Description | Condensing unit
Age
Condition
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
| Notes | In courtyard in good condition 0 to 15

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 2272 |  |  | SiteElements | Seg ID | 525
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 19677 |  |  |  | Year Built | 19677
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typical |  |  | Roadways | Location | S/6, S/1
| Description | Concrete, Cast/In/Place |  |  |  | Description | Asphalt (Bituminous)
| Age | 31 | 45 | 38 |  | Age | 16 | 21 | 18.5
| Condition | Good |  | 0.75 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location |  |  |  | Parking Lots | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Primary | Location | Typical |  |  | Pedestrian Plazas and Walkways, Primary | Location | S/5, S/3
| Description | Concrete, Cast/In/Place |  |  |  | Description | Concrete, CIP
| Age | 31 | 45 | 38 |  | Age | 30+ |  | 30
| Condition | Good |  | 0.75 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Secondary | Location |  |  |  | Pedestrian Plazas and Walkways, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Primary | Location | Typical |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Other (describe) |  |  |  | Description
| Age | 31 | 45 | 38 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Concrete, CIP Beams w/ Tectum panels |  |  |  | Notes
Floor Construction, Secondary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Primary | Location | Typical |  |  | Site Lighting, Primary | Location | Typical
| Description | Other (describe) |  |  |  | Description | Pole Mounted H.I.D.
| Age | 31 | 45 | 38 |  | Age | 41136 |  | 11.5
| Condition | Good |  | 0.75 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Steel Framing, OWJ w/ Tectum panels |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location |  |  |  | Site Lighting, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Primary | Location | Typical |  |  | Playground Surface | Location | Typical
| Description | Brick Veneer w/ Steel Stud |  |  |  | Description | Rubberized
| Age | 31 | 45 | 38 |  | Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location |  |  |  | Playground Equipment | Location
| Description |  |  |  |  | Description | Multi/Component Play Equipment Set
| Age |  |  |  |  | Age | 41136 |  | 11.5
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary | Location | Typical |  |  | TCUs | Location
| Description | Aluminum, Double Hung |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles
Quantity
Voltage
Power Output
Elec Power
| Notes | Security grilles at ground floor
Exterior Windows, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | Typical
| Description | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location | Kitchen
| Description | Steel (Hollow)
| Age | 0 | 15 | 7.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | Typical
| Description | Polyurethane, Spray Applied
| Age | 16 | 21 | 18.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | Typical
| Description | Aluminum
| Age | 16 | 21 | 18.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | Typical
| Description | Other (describe)
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Cast iron roof area drains
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes