## FCI Summary
Building Name: | Lafayette | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 68009
Number of Floors: | 4
School Age (years): | 104
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 51.02%
Facility Condition = | VERY POOR
FCI Deficiency Cost = | 7156181.2547
FCI Replacement Cost = | 14026856.25
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 1118
Historic 2005 LRFP Capacity = | 621
650
Adjusted 2012 Capacity = | 650
Recent Occupancy % = | 172%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 89.01%
Classroom Adequacy = | GOOD
Special Spaces Adequacy % Score = | 32.4%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Lafayette | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 68009
Largest Floor Level Area: |  | 19037
Vertical FAR Ratio: |  | 3.5725
School Age (years): |  | 104
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 1.8% | 3.7125 | 68009 | 252483.4125 | 100 | 104 | 0 | 0.5 | 5 | 5 | 12624.1706 | 239859.2419 | 95%
|  |  | A1030 - SLAB ON GRADE | 1.5% | 3.0938 | 68009 | 210402.8438 | 100 | 104 | 0 | 0.5 | 5 | 5 | 10520.1422 | 199882.7016 | 95%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 68009 | 308590.8375 | 100 | 104 | 0 | 0.5 | 5 | 5 | 15429.5419 | 293161.2956 | 95%
|  |  | SUBTOTAL SUBSTRUCTURE | 5.5% | 11.3438 | 68009 | 771477.0938
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 68009 | 1542954.1875 | 100 | 104 | 0 | 0.5 | 5 | 5 | 77147.7094 | 1465806.4781 | 95%
|  |  | B1020 - ROOF CONSTRUCTION | 2.5% | 5.1562 | 68009 | 350671.4062 | 100 | 104 | 0 | 0.5 | 5 | 5 | 17533.5703 | 333137.8359 | 95%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 9.5% | 19.5938 | 68009 | 1332551.3438 | 100 | 104 | 0 | 0.49219 | 5 | 5 | 66627.5672 | 1265923.7766 | 95%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 5.5% | 11.3438 | 68009 | 771477.0938 | 30 | 22.5 | 7.5 | 0.375 | 11.25 | 18.75 | 482173.1836 | 289303.9102 | 37.5%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 2% | 4.125 | 68009 | 280537.125 | 30 | 12.3333 | 17.6667 | 0.58333 | 17.5 | 30 | 280537.125 | 0 | 0%
|  |  | SUBTOTAL SHELL | 30.5% | 62.9063 | 68009 | 4278191.1563
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 68009 | 561074.25 | 60 | 53.9848 | 6.0152 | 0.52273 | 31.3636 | 37.3788 | 349537.9229 | 211536.3271 | 37.7%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 68009 | 210402.8438 | 20 | 18.1818 | 1.8182 | 0.49545 | 9.9091 | 11.7273 | 123372.5766 | 87030.2672 | 41.36%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 68009 | 561074.25 | 20 | 33.75 | 0 | 0.5 | 5 | 5 | 140268.5625 | 420805.6875 | 75%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 68009 | 210402.8438 | 30 | 104 | 0 | 0.5 | 5 | 5 | 35067.1406 | 175335.7031 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 4% | 8.25 | 68009 | 561074.25 | 10 | 8.1618 | 1.8382 | 0.46471 | 4.6471 | 6.4853 | 363873.1533 | 197201.0967 | 35.15%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 68009 | 841611.375 | 20 | 16.7571 | 3.2429 | 0.45857 | 9.1714 | 12.4143 | 522400.2035 | 319211.1715 | 37.93%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 68009 | 841611.375 | 30 | 28.5152 | 1.4848 | 0.48788 | 14.6364 | 16.1212 | 452259.85 | 389351.525 | 46.26%
|  |  | SUBTOTAL INTERIORS | 27% | 55.6875 | 68009 | 3787251.1875
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 1% | 2.0625 | 68009 | 140268.5625 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 140268.5625 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 68009 | 210402.8438 | 60 | 22.325 | 37.675 | 0.55 | 33 | 60 | 210402.8438 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 68009 | 182349.1313 | 60 | 11.5 | 48.5 | 0.25 | 15 | 60 | 182349.1313 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 68009 | 168322.275 | 60 | 0 | 60 | 0 | 0 | 60 | 168322.275 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 68009 | 70134.2812 | 30 | 60 | 0 | 0.5 | 5 | 5 | 11689.0469 | 58445.2344 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 68009 | 378725.1187 | 60 | 49 | 11 | 0.375 | 22.5 | 33.5 | 211454.858 | 167270.2608 | 44.17%
|  |  | D3020 - BOILERS | 2% | 4.125 | 68009 | 280537.125 | 60 | 45.3333 | 14.6667 | 0.41667 | 25 | 39.6667 | 185466.2104 | 95070.9146 | 33.89%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 68009 | 561074.25 | 40 | 39 | 1 | 0.175 | 7 | 8 | 112214.85 | 448859.4 | 80%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 68009 | 561074.25 | 40 | 22.5 | 17.5 | 0.49519 | 19.8077 | 37.3077 | 523309.637 | 37764.613 | 6.731%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 68009 | 280537.125 | 40 | 0 | 40 | 0 | 0 | 40 | 280537.125 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 68009 | 210402.8438 | 20 | 0 | 20 | 0 | 0 | 20 | 210402.8438 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 68009 | 140268.5625 | 20 | 0 | 20 | 0 | 0 | 20 | 140268.5625 | 0 | 100%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 68009 | 28053.7125 | 20 | 11.5 | 8.5 | 0.6875 | 13.75 | 20 | 28053.7125 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 68009 | 182349.1313 | 60 | 38 | 22 | 0.25 | 15 | 37 | 112448.6309 | 69900.5003 | 38.33%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 68009 | 981879.9375 | 30 | 17.6944 | 12.3056 | 0.58056 | 17.4167 | 29.7222 | 972788.4566 | 9091.4809 | 0.9259%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 68009 | 420805.6875 | 20 | 9.7643 | 10.2357 | 0.68393 | 13.6786 | 20 | 420805.6875 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 68009 | 42080.5687 | 20 | 34 | 0 | 0.49554 | 5 | 5 | 10520.1422 | 31560.4266 | 75%
|  |  | SUBTOTAL SERVICES | 34.5% | 71.1563 | 68009 | 4839265.4063
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 68009
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 68009
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 68009
|  |  | E1090 - OTHER EQUIPMENT |  |  | 68009
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 68009
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 68009
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 68009
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 68009
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 68009
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 68009 | 140268.5625 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 35067.1406 | 105201.4219 | 75%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 68009 | 70134.2812 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 17533.5703 | 52600.7109 | 75%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 68009 | 70134.2812 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 17533.5703 | 52600.7109 | 75%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 68009 | 70134.2812 | 30 | 3.5 | 26.5 | 0.75 | 22.5 | 30 | 70134.2812 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 68009 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 68009
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 68009 | 14026856.25 | [7 empty] | 7156181.2547 | 51.02%
100%
Note on J34: Tessier, Matthew: No Survey Data
Note on J41: Tessier, Matthew: No Survey Data
Note on J42: Tessier, Matthew: No Survey Data

## Master File (Interior)
Lafayette Street
School Code:
NPS Code:
Street: | 205 Lafayette St.
City/Town: | Newark,
Database ID: | 12
Total size (gsf):
ROOM INFORMATION | [12 empty] | 55.25 | Ave Condition | 0.48438 | [6 empty] | 16.7571 | Ave Condition | 0.45857 | [6 empty] | 8.1618 | Ave Condition | 0.46471 | [6 empty] | 28.5152 | Ave Condition | 0.48788 | [6 empty] | 18.1818 | Ave Condition | 0.49545 | [6 empty] | 53.9848 | Ave Condition | 0.52273 | [6 empty] | 24.7143 | Ave Condition | 0.51786 | [5 empty] | 22.0714 | Ave Condition | 0.57143 | [5 empty] | 24.7143 | Ave Condition | 0.53571 | [6 empty] | 23.375 | Ave Condition | 0.5625 | [6 empty] | 16.75 | Ave Condition | 0.5625 | [6 empty] | 33.75 | Ave Condition | 0.5 | [6 empty] | 11.5833 | Ave Condition | 0.74167 | [5 empty] | 30 | Ave Condition | 0.49107 | [5 empty] | 30 | Ave Condition | 0.49038 | [6 empty] | 15 | Ave Condition | 0.5 | [5 empty] | 11.5 | Ave Condition | 0.6875 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 9.85 | Ave Condition | 0.5375 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [7 empty] | Plumbing Fixtures - Urinals | [7 empty] | Plumbing Fixtures - Showers | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
9481 | 102 | Office | Ground Floor | A | Administration |  |  | 83 | 14' 1" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9482 | 103 | Language Lab | Ground Floor | A | Small Group Instruction |  |  | 181 | 14' 1" | [9 empty] | Vinyl Composition Tile (VCT) | 2012-06-10 |  | 1900-01-07 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [11 empty] | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Fan | [15 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 2 |  | Desktops | [70 empty] | Present
9483 | 105 | Nurse | Ground Floor | A | Health Services |  |  | 102 | 14' 1" | [9 empty] | Vinyl Composition Tile (VCT) | 2012-06-10 |  | 1900-01-07 | Good | 0.75 |  |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Poor | 0.25 |  |  | peeling | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  | plaster finish | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 16 | 21 | 18.5 | Poor | 0.25 | [18 empty] | Present - Present
9484 | 107 | 1st Grade Classroom | Ground Floor | A | General Classroom (Grades 1-3) |  |  | 735 | 14' 1" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  | Newly painted | Painted Walls | 2012-04-05 |  | 1900-01-03 12:00 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [18 empty] | 1 |  | Wall mount | [88 empty] | Present - Present
9485 | 109 | Pre-Kindergarten | Ground Floor | A | Pre-Kindergarten Classroom |  |  | 711 | 14' 1" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9486 | 111 | Pre-Kindergarten | Ground Floor | A | Pre-Kindergarten Classroom |  |  | 749 | 14' 1" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 2012-04-05 |  | 1900-01-03 12:00 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | [46 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 |  | Desktops | [70 empty] | Present - Present - Present
9487 | 113 | Classroom | Ground Floor | A | General Classroom |  |  | 523 | 14' 1" | [6 empty] | 0 |  |  | Vinyl Composition Tile (VCT) | [5 empty] | 0 | [8 empty] | 0 |  |  | Plaster | [5 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [60 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0
9488 | UN-1 | Boiler Room | Ground Floor | A | Support |  |  | 2647 | N/A | [9 empty] | Unfinished | [17 empty] | Unfinished Ceiling
9489 | UN-2 | Library | Ground Floor | A | Media Center |  |  | 730 | 14' 1" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  | Exposed brick | Vinyl Composition Tile (VCT) | 2012-06-10 |  | 1900-01-07 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Poor | 0.25 | [35 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 |  | Desktops | [70 empty] | Present - Present - Present - Present - Present - Present - Present
9490 | UN-3 | Custodial Office | Ground Floor | A | Support |  |  | 164 | 14' 1" | [9 empty] | Wood | [17 empty] | Plaster
9491 | UN-4 | Boys\' Water Closet | Ground Floor | A | Support |  |  | 645 | 14' 1" | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  | ceramic tile wainscot | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  | cracking | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 3 |  |  | Floor Mounted Flush Valve | 30+ | 30 | Fair | 0.5 | 9 |  |  | Floor Unit | 30+ | 30 | Fair | 0.5 | 9 | [29 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | exhaust vent | [24 empty] | Present - Present - Present - Present - Present - Present - Present
9492 | UN-5 | Storage | Ground Floor | A | Support |  |  | 751 | 14' 1" | [9 empty] | Wood | [17 empty] | Plaster
9493 | UN-6 | Storage | Ground Floor | A | Support |  |  | 732 | 14' 1" | [9 empty] | Wood | [17 empty] | Plaster
9494 | UN-7 | Office | Ground Floor | A | Administration |  |  | 112 | 14' 1" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  | painted | Painted Walls | 2012-04-05 |  | 1900-01-03 12:00 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  | water damage | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Fair | 0.5 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 |  |  | IDF
9495 | UN-8 | Water Closet | Ground Floor | A | Support |  |  | 31 | 14' 1" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
9496 | UN-9 | Storage | Ground Floor | A | Support |  |  | 152 | 14' 1" | [9 empty] | Wood | [17 empty] | Plaster
9497 | UN-10 | Nurse Office | Ground Floor | A | Health Services |  |  | 86 | 14' 1" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  | some cracking | Vinyl Composition Tile (VCT) | 2012-06-10 |  | 1900-01-07 | Good | 0.75 |  |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Poor | 0.25 |  |  | peeling | Plaster | 30+ |  | 30 | Good | 0.75 | [12 empty] | Concrete Block | 60+ |  | 60 | Good | 0.75 |  |  | plaster finish | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | [46 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 16 | 21 | 18.5 | Poor | 0.25 | [18 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | [109 empty] | Present - Present - Present - Present
9498 | UN-11 | Water Closet | Ground Floor | A | Faculty Support |  |  | 12 | 14' 1" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
9499 | UN-12 | Girls' Water Closet | Ground Floor | A | Support |  |  | 249 | 14' 1" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 5 | [7 empty] | 7 | [7 empty] | 0
9500 | UN-13 | Office | Ground Floor | A | Administration |  |  | 211 | 14' 1" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9501 | UN-14 | Cafeteria | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 1586 | 14' 1" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 2012-06-10 |  | 1900-01-07 | Fair | 0.5 |  |  |  | Painted Walls | 2012-04-05 |  | 1900-01-03 12:00 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Stainless Steel Sinks | 30+ |  | 30 | Fair | 0.5 | [46 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [20 empty] | Dry Chemical | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  | Ansul system | [7 empty] | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present | [26 empty] | Present
9502 | UN-15 | Food Storage | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 191 | 14' 1" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9503 | UN-16 | Classroom | Ground Floor | A | General Classroom |  |  | 795 | 14' 1" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9504 | UN-17 | Cafeteria | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 779 | 14' 1" | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  | cracking | Vinyl Composition Tile (VCT) | 2012-06-10 |  | 1900-01-07 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 16 | 20 | 18 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  | plaster finish | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present | [35 empty] | Present
9505 | 201 | 3rd Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 751 | 14' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 2012-06-10 |  | 1900-01-07 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Very Good | 0.9 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | [46 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | [11 empty] | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | [18 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present
9506 | 203 | 3rd Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 759 | 14' 6" | [9 empty] | Wood | [17 empty] | Plaster
9507 | 207 | 3rd Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 735 | 14' 6" | [9 empty] | Wood | [17 empty] | Plaster
9508 | 208 | 2nd Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 779 | 14' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 | 0 |  | Water damage | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 |  | Desktops | [70 empty] | Present - Present
9509 | 209 | 3rd Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 711 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9510 | 210 | 2nd Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 795 | 14' 6" | [9 empty] | Wood | [17 empty] | Plaster
9511 | 211 | Classroom | 1st Floor | A | General Classroom |  |  | 749 | 14' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 2012-06-10 |  | 1900-01-07 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present - Present | [133 empty] | Present - Present - Present
9512 | 212 | 2nd Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 788 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9513 | 213 | 3rd Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 757 | 14' 6" | [9 empty] | Wood | [17 empty] | Plaster
9514 | 214 | 2nd Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 772 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9515 | UN-18 | Women's Water Closet | 1st Floor | A | Faculty Support |  |  | 13 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel | [32 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
9516 | UN-19 | Men's Water Closet | 1st Floor | A | Faculty Support |  |  | 19 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel | [32 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
9517 | UN-20 | Teachers\' Room | 1st Floor | A | Faculty Support |  |  | 522 | 14' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 2012-04-05 |  | 1900-01-03 12:00 | Good | 0.75 |  |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Stains | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | In-Counter Lavatories | 0 | 7 | 3.5 | Good | 0.75 | [46 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Dry Chemical | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 | [10 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 desktop | [106 empty] | Present - Present - Present - Present
9518 | UN-21 | Water Closet | 1st Floor | A | Visual & Performing Arts |  |  | 36 | 14' 6" | [8 empty] | N/a | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 2012-04-05 |  | 1900-01-03 12:00 | Fair | 0.5 |  |  |  | Suspended Acoustical | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Wood/Wood Frame | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 1 | [7 empty] | 1 | [7 empty] | 0 | [29 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present - Present - Present
9519 | UN-22 | Storage | 1st Floor | A | Visual & Performing Arts |  |  | 72 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9520 | UN-23 | Storage | 1st Floor | A | Visual & Performing Arts |  |  | 127 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9521 | UN-24 | Storage | 1st Floor | A | Visual & Performing Arts |  |  | 85 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9522 | UN-25 | Storage | 1st Floor | A | Visual & Performing Arts |  |  | 144 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9523 | UN-26 | Auditorium | 1st Floor | A | Visual & Performing Arts |  |  | 4552 | 14' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Epoxy | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 2012-04-05 |  | 1900-01-03 12:00 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [55 empty] | Incandescent Pendant Mount Fixture | 30+ |  | 30 | Good | 0.75 |  |  | Custom pandent | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [12 empty] | Dry Chemical | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present - Present | [34 empty] | Present | [98 empty] | Present - Present - Present - Present - Present | Auditorium speakers
9524 | UN-27 | Custodial Closet | 1st Floor | A | Support |  |  | 15 | N/A
9525 | UN-28 | Storage | 1st Floor | A | Support |  |  | 10 | N/A
9526 | UN-29 | Office | 1st Floor | A | Administration |  |  | 126 | 14' 6"
9527 | UN-30 | Office | 1st Floor | A | Administration |  |  | 137 | 14' 6"
9528 | UN-31 | General Office | 1st Floor | A | Administration |  |  | 453 | N/A | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Very Good | 0.9 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | [46 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | [11 empty] | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | [37 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 3 pcs | [105 empty] | 0 | Present - Present - Present - Present - Present - Present
9529 | UN-32 | Water Closet | 1st Floor | A | Faculty Support |  |  | 12 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
9530 | UN-33 | Girls' Water Closet | 1st Floor | A | Support |  |  | 249 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 5 | [7 empty] | 7 | [7 empty] | 0
9531 | UN-34 | Office | 1st Floor | A | Administration |  |  | 191 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9532 | 301 | 6th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 751 | 14' 6" | [9 empty] | Wood | [17 empty] | Plaster
9533 | 302 | 6th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 744 | 14' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 0 | 5 | 2.5 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 |  | Desktops | [70 empty] | Present
9534 | 303 | 5th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 757 | 14' 6" | [9 empty] | Wood | [17 empty] | Plaster
9535 | 304 | 6th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 748 | 14' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 2012-04-05 |  | 1900-01-03 12:00 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [18 empty] | 1 |  | Mobile | [15 empty] | 4 |  | Desktops | [70 empty] | Present - Present
9536 | 305 | 5th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 751 | 14' 6" | [9 empty] | Wood | [17 empty] | Plaster
9537 | 306 | 6th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 750 | 14' 6" | [9 empty] | Wood | [17 empty] | Plaster
9538 | 307 | 5th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 735 | 14' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 | 0 |  |  | Painted Walls | 2012-04-05 |  | 1900-01-03 12:00 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 0 | 5 | 2.5 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [18 empty] | 1 |  | Wall mount | [15 empty] | 3 |  | Desktops | [70 empty] | Present - Present - Present
9539 | 308 | 5th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 779 | 14' 6" | [9 empty] | Wood | [17 empty] | Plaster
9540 | 309 | Classroom | 2nd Floor | A | General Classroom |  |  | 711 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9541 | 310 | Computer Lab | 2nd Floor | A | Technological Literacy |  |  | 795 | N/A | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 2012-04-05 |  | 1900-01-03 12:00 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [45 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75 | [18 empty] | 1 |  | Wall mount | [15 empty] | 20 |  | Desktop | [70 empty] | Present - Present - Present - Present
9542 | 311 | 4th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 749 | 14' 6" | [9 empty] | Wood | [17 empty] | Plaster
9543 | 312 | 4th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 788 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9544 | 313 | 4th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 757 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9545 | 314 | 4th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 772 | 14' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 | 0 |  |  | Painted Walls | 2012-04-05 |  | 1900-01-03 12:00 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 0 | 5 | 2.5 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 4 |  | Desktops | [70 empty] | Present - Present - Present - Present - Present
9546 | UN-35 | Girls\' Water Closet | 2nd Floor | A | Support |  |  | 219 | 14' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Fair | 0.5 |  |  | Wainscot | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 3 |  |  | Floor Mounted Flush Valve | 30+ | 30 | Fair | 0.5 | 7 | [7 empty] | 0 | [20 empty] | Metal, Powder Coated | 60+ |  | 60 | Poor | 0.25 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  | Ceiling pipes | [24 empty] | Present - Present - Present - Present - Present
9547 | UN-36 | Custodial Closet | 2nd Floor | A | Support |  |  | 16 | N/A
9548 | UN-37 | Storage | 2nd Floor | A | Support |  |  | 8 | N/A
9549 | UN-38 | Water Closet | 2nd Floor | A | Faculty Support |  |  | 12 | 14' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Epoxy | 20+ |  | 20 | Poor | 0.25 |  |  |  | Other (describe) | 10+ |  | 10 | Poor | 0.25 |  |  | Wood panel | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Tank | 30+ | 30 | Fair | 0.5 | 1 | [7 empty] | 0 | [29 empty] | Fluorescent Linear Surface Mount Fixture | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [35 empty] | Present - Present - Present - Present - Present - Present
9550 | UN-39 | Boys' Water Closet | 2nd Floor | A | Support |  |  | 249 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 2 | [7 empty] | 5 | [7 empty] | 7
9551 | UN-40 | Guidance | 2nd Floor | A | Administration |  |  | 191 | N/A | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Sheet Vinyl | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 2012-04-05 |  | 1900-01-03 12:00 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | 4x8 | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 | [18 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present
9552 | 401 | 8th Grade Classroom | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 751 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9553 | 402 | Classroom | 3rd Floor | A | General Classroom |  |  | 744 | 14' 6" | [9 empty] | Wood | [17 empty] | Plaster
9554 | 403 | 7th Grade Classroom | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 756 | 14' 6" | [9 empty] | Wood | [17 empty] | Plaster
9555 | 404 | 8th Grade Classroom | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 748 | 14' 6" | [9 empty] | Wood | [17 empty] | Plaster
9556 | 405 | Classroom | 3rd Floor | A | General Classroom |  |  | 751 | 14' 6" | [9 empty] | Wood | [17 empty] | Plaster
9557 | 406 | 8th Grade Classroom | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 750 | 14' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 2012-04-05 |  | 1900-01-03 12:00 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [18 empty] | 1 |  | Wall mount | [15 empty] | 4 |  | Desktops | [70 empty] | Present
9558 | 407 | 7th Grade Classroom | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 735 | 14' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 2012-04-05 |  | 1900-01-03 12:00 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 0 | 5 | 2.5 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 5 |  | Desktops | [70 empty] | Present - Present
9559 | 409 | 7th Grade Classroom | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 711 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9560 | 411 | Classroom | 3rd Floor | A | General Classroom |  |  | 778 | 14' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 2012-04-05 |  | 1900-01-03 12:00 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [54 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 2 |  | Desktops | [70 empty] | Present - Present - Present
9561 | 413 | Classroom | 3rd Floor | A | General Classroom |  |  | 757 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9562 | 415 | Gym | 3rd Floor | A | Phys. Ed. (Gym + Storage) |  |  | 3401 | 30' 0" | CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | [37 empty] | Wall Mounted Stainless Steel Drinking Fountains | 30+ |  | 30 | Fair | 0.5 | [12 empty] | HID Vapor Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | [12 empty] | Other (describe) | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 |  |  | Water | [7 empty] | Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present
9563 | UN-41 | Girls' Water Closet | 3rd Floor | A | Support |  |  | 219 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 3 | [7 empty] | 8 | [7 empty] | 0
9564 | UN-42 | Custodial Closet | 3rd Floor | A | Support |  |  | 16 | N/A
9565 | UN-43 | Storage | 3rd Floor | A | Support |  |  | 9 | N/A
9566 | UN-44 | Water Closet | 3rd Floor | A | Faculty Support |  |  | 12 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
9567 | UN-45 | Boys\' Water Closet | 3rd Floor | A | Support |  |  | 138 | 14' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Poor | 0.25 |  |  | Wainscot | Plaster | 30+ |  | 30 | Very Poor | 0.1 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Valve | 30+ | 30 | Fair | 0.5 | 2 |  |  | Floor Unit | 30+ | 30 | Fair | 0.5 | 5 | [20 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 |  |  | Ceiling mounted pipes | [24 empty] | Present - Present - Present - Present - Present
9568 | UN-46 | Storage | 3rd Floor | A | General Classroom |  |  | 71 | N/A
9569 | UN-47 | Storage | 3rd Floor | A | Phys. Ed. (Gym + Storage) |  |  | 169 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9570 | UN-48 | Office | 3rd Floor | A | Phys. Ed. (Gym + Storage) |  |  | 155 | 14' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
48 | A | @ Lafayette street | 1st | [6 empty] | Brick, Exposed/Unfinished | 60+ |  | 60 | Fair | 0.5 |  |  |  | Epoxy | 0 | 5 | 2.5 | Fair | 0.5 |  |  | On brick | [9 empty] | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Wood structure | [27 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Terminal Unit Heaters | 0 | 7 | 3.5 | Good | 0.75 | [19 empty] | Present
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
149 | A | @ UN-26 (auditorium) | 1st | [6 empty] | Epoxy | 0 | 5 | 2.5 | Fair | 0.5 |  |  | On concrete | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  | Isolated dents | [9 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on metal lath | Full Recessed Stainless Steel Drinking Fountains | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  | Aluminum casing | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Water based | [7 empty] | Present | [16 empty] | Present | [7 empty] | Present
150 | B | @ UN-14 (cafeteria) | Ground | [6 empty] | Epoxy | 0 | 5 | 2.5 | Good | 0.75 |  |  | On concrete slab | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on metal lath | [18 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 | [12 empty] | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water based | [7 empty] | Present | [16 empty] | Present | [7 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
143 | A | @ 201 (classroom) | 1st - 2nd | [6 empty] | Other (describe) | 60+ |  | 60 | Poor | 0.25 |  |  | Ceramic brick tiles | Steel Pan | 30+ |  | 30 | Good | 0.75 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Unfinished Ceiling | 30+ |  | 30 | Good | 0.75 |  |  | Exposed steel pan structure | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Epoxy in concrete | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Epoxy on concrete | Labeled Metal/Metal Frames | 2012-11-15 |  | 1900-01-12 | Fair | 0.5 |  |  | Needs repainting | [8 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present
144 | B | @ 105 (nurse) | Ground -1 | [6 empty] | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Steel Pan | 30+ |  | 30 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Unfinished Ceiling | 30+ |  | 30 | Fair | 0.5 |  |  | Exposed to steel pan structure | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Epoxy | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Epoxy | Labeled Metal/Metal Frames | 16 | 20 | 18 | Poor | 0.25 |  |  | Hardware jammed - needs replacement | [8 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  | Aluminum casing | [16 empty] | Present
444 | A | 1 | 0 | 1908 | [21 empty] | Above Ground Level Floor | wall mounted rack | 2012-07-10 | Good |  | #VALUE! | Secure | FALSE |  |  |  |  | Room 310 |  | #VALUE! |  |  | Cast Iron Radiators | 30+ | Fair | [10 empty] | Window Mounted |  | #VALUE! | 2012-08-15 | FALSE | Fair | [9 empty] | UN-48 | wall mounted rack | 2012-07-10 | Good | #VALUE! | Secure | FALSE | [8 empty] | Cast Iron Radiators | 30+ | Fair | [25 empty] | UN-20 | cabinet floor mounted | 2012-07-10 | Good |  | #VALUE! | Secure | FALSE | [8 empty] | Cast Iron Radiators | 30+ | Fair | [9 empty] | Window Mounted |  | #VALUE! | 2012-08-15 | FALSE | Fair | [8 empty] | UN-7 | wall mounted rack | 2012-07-10 | Good |  | #VALUE! | Secure | FALSE | [9 empty] | Cast Iron Radiators | 30+ | Fair

## Master File (Systems)
systems | Question | Value1 |  | Average1 | systems | Question | Value1 | Average1
Systems | Seg ID | 1396 |  |  | InfoTech | Seg ID | 444
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1908 |  |  |  | Year Built | 1908
Domestic Water Heaters | Location | UN/1 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Sanitary Drainage | Location |  |  |  | Main Dist. Facility (MDF) | Location | Above Ground Level Floor
| Description |  |  |  |  | Description | wall mounted rack
| Age |  |  |  |  | Age | 41100 | 8.5
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Room 310
Building Support (other) Plumbing Systems | Location | Roof |  |  | MDF, HVAC Terminal Units | Location
| Description | Stormwater Area Drains |  |  |  | Description | Cast Iron Radiators
| Age | 60+ |  | 60 |  | Age | 30+ | 30
| Condition | Fair |  | 0.5 |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Piping | Location | UN/1 |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Oil Piping |  |  |  | Description | Window Mounted
| Age | 60+ |  | 60 |  | Age | 41136 | 11.5
| Condition | Poor |  | 0.25 |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Pumps | Location | UN/1 |  |  | Inter. Data Facility (IDF #1) | Location | UN/48
| Description | Fuel/Oil Pumps |  |  |  | Description | wall mounted rack
| Age | 31 | 45 | 38 |  | Age | 41100 | 8.5
| Condition | Fair |  | 0.5 |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location | UN/1 |  |  | IDF #1, HVAC Terminal Units | Location
| Description | Below/ground |  |  |  | Description | Cast Iron Radiators
| Age | 60+ |  | 60 |  | Age | 30+ | 30
| Condition | Poor |  | 0.25 |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Fired Boilers | Location | UN/1 |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Oil/Fired Boilers |  |  |  | Description
| Age | 31 | 45 | 38 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location | UN/20
| Description |  |  |  |  | Description | cabinet floor mounted
| Age |  |  |  |  | Age | 41100 | 8.5
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description | Cast Iron Radiators
| Age |  |  |  |  | Age | 30+ | 30
| Condition |  |  |  |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description | Window Mounted
| Age |  |  |  |  | Age | 41136 | 11.5
| Condition |  |  |  |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location | UN/7
| Description |  |  |  |  | Description | wall mounted rack
| Age |  |  |  |  | Age | 41100 | 8.5
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description | Cast Iron Radiators
| Age |  |  |  |  | Age | 30+ | 30
| Condition |  |  |  |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location | UN/1 |  |  | IDF #4, HVAC Terminal Units | Location
| Description | Steam Condensate Pumps |  |  |  | Description
| Age | 31 | 45 | 38 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location | UN/1 |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Two Pipe |  |  |  | Description
| Age | 31 | 45 | 38 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location |  |  |  | Inter. Data Facility (IDF #5) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location |  |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Fans | Location | other |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description | Other (describe) |  |  |  | Description
| Age | 40+ |  | 40 |  | Age
| Condition | Very Poor |  | 0.1 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | rooftop exhaust drains |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location | UN/1
| Description | Gas Engine Generators
| Age | 31 | 45 | 38
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | UN/9
| Description | D5010 120
| Age | 31 | 45 | 38
| Condition | Poor |  | 0.25
CheckBox
Quantity
| Voltage | 120/208V
| Power Output | 800A
Elec Power
Notes
Voice Communication Terminal Equipment | Location | UN/1
| Description | PDX/Key Systems
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | UN/1
| Description | Public Address and Mass Notification Systems
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | ENT/1
| Description | Digital Video Recorders
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | UN/31
| Description | Fire Alarm Annunciation Panels
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 1677 |  |  | SiteElements | Seg ID | 382
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1908 |  |  |  | Year Built | 1908
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typical |  |  | Roadways | Location
| Description | Concrete, Cast/In/Place |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location |  |  |  | Parking Lots | Location | S/1
| Description |  |  |  |  | Description | Asphalt (Bituminous)
| Age |  |  |  |  | Age | 30+ |  | 30
| Condition |  |  |  |  | Condition | Poor |  | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Primary | Location | Typical |  |  | Pedestrian Plazas and Walkways, Primary | Location | S/5
| Description | Concrete, Cast/In/Place |  |  |  | Description | Concrete, CIP
| Age | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | With brick pavers
Standard Slabs On Grade, Secondary | Location |  |  |  | Pedestrian Plazas and Walkways, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Primary | Location | Typical |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, CIP Beams and Slab |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Composite with masonry |  |  |  | Notes
Floor Construction, Secondary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Primary | Location | Typical |  |  | Site Lighting, Primary | Location | Typical
| Description | Concrete, CIP |  |  |  | Description | Pole Mounted H.I.D.
| Age | 60+ |  | 60 |  | Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location |  |  |  | Site Lighting, Secondary | Location | Typical
| Description |  |  |  |  | Description | Building Mounted H.I.D.
| Age |  |  |  |  | Age | 30+ |  | 30
| Condition |  |  |  |  | Condition | Poor |  | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Primary | Location | Typical |  |  | Playground Surface | Location | S/1
| Description | Brick, Solid (Mass) |  |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | With stone details at windows and entries |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location | Typical / below / above primary windows |  |  | Playground Equipment | Location | S/1
| Description | Other (describe) |  |  |  | Description | B/Ball Backstops
| Age | 16 | 30 | 23 |  | Age | 0 | 7 | 3.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Aluminum composite panels |  |  |  | Notes
Exterior Windows, Primary | Location | Typical |  |  | TCUs | Location | S/2
| Description | Aluminum, Double Hung |  |  |  | Description | Other (describe)
| Age | 30+ |  | 30 |  | Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Single Pane
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Screens, Insect / Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location | Typical
| Description | Aluminum, Double Hung
| Age | 22 | 30 | 26
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
| Description | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | Typical
| Description | Wood
| Age | 60+ |  | 60
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location | Roof
| Description | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | Typical / Main Upper Roofs
| Description | Other (describe)
| Age | 0 | 7 | 3.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | EPDM
Roofing, Secondary | Location | Lower Roofs
| Description | Membrane, Singly Ply
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Roofing coated over the years
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | Typical
| Description | Aluminum
| Age | 0 | 7 | 3.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | Typical
| Description | Other (describe)
| Age | 30+ |  | 30
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Cast iron / water damage
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes