## FCI Summary
Building Name: | Lincoln | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 57450
Number of Floors: | B + 3
School Age (years): | 104
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 47.79%
Facility Condition = | POOR
FCI Deficiency Cost = | 5662303.7867
FCI Replacement Cost = | 11849062.5
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 416
Historic 2005 LRFP Capacity = | 419
Adjusted 2012 Capacity = | 387
Recent Occupancy % = | 107.5%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | #REF!
Classroom Adequacy = | #REF!
Special Spaces Adequacy % Score = | #REF!
Special Spaces Adequacy = | #REF!

## Uniformat FCI
Building Name: |  | Lincoln | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 57450
Largest Floor Level Area: |  | 15442
Vertical FAR Ratio: |  | 3.7204
School Age (years): |  | 104
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 1.8% | 3.7125 | 57450 | 213283.125 | 100 | 104 | 0 | 0.5 | 5 | 5 | 10664.1562 | 202618.9688 | 95%
|  |  | A1030 - SLAB ON GRADE | 1.5% | 3.0938 | 57450 | 177735.9375 | 100 | 104 | 0 | 0.5 | 5 | 5 | 8886.7969 | 168849.1406 | 95%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 57450 | 260679.375 | 100 | 104 | 0 | 0.5 | 5 | 5 | 13033.9688 | 247645.4062 | 95%
|  |  | SUBTOTAL SUBSTRUCTURE | 5.5% | 11.3438 | 57450 | 651698.4375
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 57450 | 1303396.875 | 100 | 104 | 0 | 0.5 | 5 | 5 | 65169.8438 | 1238227.0312 | 95%
|  |  | B1020 - ROOF CONSTRUCTION | 2.5% | 5.1562 | 57450 | 296226.5625 | 100 | 104 | 0 | 0.5 | 5 | 5 | 14811.3281 | 281415.2344 | 95%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 9.5% | 19.5938 | 57450 | 1125660.9375 | 100 | 104 | 0 | 0.49537 | 5 | 5 | 56283.0469 | 1069377.8906 | 95%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 5.5% | 11.3438 | 57450 | 651698.4375 | 30 | 45 | 0 | 0.4375 | 5 | 5 | 108616.4062 | 543082.0312 | 83.33%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 2% | 4.125 | 57450 | 236981.25 | 30 | 24.25 | 5.75 | 0.5 | 15 | 20.75 | 163912.0312 | 73069.2188 | 30.83%
|  |  | SUBTOTAL SHELL | 30.5% | 62.9063 | 57450 | 3613964.0625
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 57450 | 473962.5 | 60 | 56.3958 | 3.6042 | 0.51042 | 30.625 | 34.2292 | 270389.0234 | 203573.4766 | 42.95%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 57450 | 177735.9375 | 20 | 23.6154 | 0 | 0.48462 | 5 | 5 | 44433.9844 | 133301.9531 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 57450 | 473962.5 | 20 | 15.25 | 4.75 | 0.425 | 8.5 | 13.25 | 314000.1562 | 159962.3438 | 33.75%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 57450 | 177735.9375 | 30 | 104 | 0 | 0.5 | 5 | 5 | 29622.6562 | 148113.2812 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 4% | 8.25 | 57450 | 473962.5 | 10 | 9.2692 | 0.73077 | 0.44615 | 4.4615 | 5.1923 | 246095.9135 | 227866.5865 | 48.08%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 57450 | 710943.75 | 20 | 16.6964 | 3.3036 | 0.33621 | 6.7241 | 10.0277 | 356456.8648 | 354486.8852 | 49.86%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 57450 | 710943.75 | 30 | 21.7292 | 8.2708 | 0.51458 | 15.4375 | 23.7083 | 561843.0469 | 149100.7031 | 20.97%
|  |  | SUBTOTAL INTERIORS | 27% | 55.6875 | 57450 | 3199246.875
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 1% | 2.0625 | 57450 | 118490.625 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 118490.625 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 57450 | 177735.9375 | 60 | 23.3976 | 36.6024 | 0.52976 | 31.7857 | 60 | 177735.9375 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 57450 | 154037.8125 | 60 | 11.5 | 48.5 | 0.5 | 30 | 60 | 154037.8125 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 57450 | 142188.75 | 60 | 0 | 60 | 0 | 0 | 60 | 142188.75 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 57450 | 59245.3125 | 30 | 23 | 7 | 0.5 | 15 | 22 | 43446.5625 | 15798.75 | 26.67%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 57450 | 319924.6875 | 60 | 23 | 37 | 0 | 0 | 37 | 197286.8906 | 122637.7969 | 38.33%
|  |  | D3020 - BOILERS | 2% | 4.125 | 57450 | 236981.25 | 60 | 7.5 | 52.5 | 0.5 | 30 | 60 | 236981.25 | 0 | 0%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 57450 | 473962.5 | 40 | 7.5 | 32.5 | 0.5 | 20 | 40 | 473962.5 | 0 | 0%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 57450 | 473962.5 | 40 | 22.0595 | 17.9405 | 0.5 | 20 | 37.9405 | 449559.0737 | 24403.4263 | 5.149%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 57450 | 236981.25 | 40 | 0 | 40 | 0 | 0 | 40 | 236981.25 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 57450 | 177735.9375 | 20 | 104 | 0 | 0.1 | 5 | 5 | 44433.9844 | 133301.9531 | 75%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 57450 | 118490.625 | 20 | 0 | 20 | 0 | 0 | 20 | 118490.625 | 0 | 100%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 57450 | 23698.125 | 20 | 11.5 | 8.5 | 0.75 | 15 | 20 | 23698.125 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 57450 | 154037.8125 | 60 | 23 | 37 | 0.5 | 30 | 60 | 154037.8125 | 0 | 0%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 57450 | 829434.375 | 30 | 10.6515 | 19.3485 | 0.56439 | 16.9318 | 30 | 829434.375 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 57450 | 355471.875 | 20 | 7.0625 | 12.9375 | 0.64375 | 12.875 | 20 | 355471.875 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 57450 | 35547.1875 | 20 | 14.7159 | 5.2841 | 0.63636 | 12.7273 | 18.0114 | 32012.666 | 3534.5215 | 9.943%
|  |  | SUBTOTAL SERVICES | 34.5% | 71.1563 | 57450 | 4087926.5625
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 57450
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 57450
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 57450
|  |  | E1090 - OTHER EQUIPMENT |  |  | 57450
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 57450
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 57450
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 57450
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 57450
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 57450
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 57450 | 118490.625 | 30 | 0 | 30 | 0 | 0 | 30 | 118490.625 | 0 | 0%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 57450 | 59245.3125 | 30 | 18.5 | 11.5 | 0.5 | 15 | 26.5 | 52333.3594 | 6911.9531 | 11.67%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 57450 | 59245.3125 | 30 | 26 | 4 | 0.25 | 7.5 | 11.5 | 22710.7031 | 36534.6094 | 61.67%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 57450 | 59245.3125 | 30 | 11.5 | 18.5 | 0.5 | 15 | 30 | 59245.3125 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 57450 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 57450
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 57450 | 11849062.5 | [7 empty] | 5662303.7867 | 47.79%
100%

## Master File (Interior)
ROOM INFORMATION | [11 empty] | 53.6111 | Ave Condition | 0.49074 | [5 empty] | 16.6964 | Ave Condition | 0.33621 | [5 empty] | 9.2692 | Ave Condition | 0.44615 | [5 empty] | 21.7292 | Ave Condition | 0.51458 | [5 empty] | 23.6154 | Ave Condition | 0.48462 | [5 empty] | 56.3958 | Ave Condition | 0.51042 | [5 empty] | 25.6429 | Ave Condition | 0.5 | [5 empty] | 19.4286 | Ave Condition | 0.60714 | [5 empty] | 26.9167 | Ave Condition | 0.54167 | [5 empty] | 30 | Ave Condition | 0.33333 | [5 empty] | 15 | Ave Condition | 0.66667 | [5 empty] | 15.25 | Ave Condition | 0.425 | [5 empty] | 8.9545 | Ave Condition | 0.69318 | [5 empty] | 21.9318 | Ave Condition | 0.52273 | [5 empty] | 29.119 | Ave Condition | 0.41667 | [5 empty] | 15 | Ave Condition | 0.58333 | [5 empty] | 11.5 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 9.8125 | Ave Condition | 0.46875
[10 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [7 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Interior Door | [7 empty] | Partitions | [7 empty] | Plumbing Fixtures - Lavatories | [7 empty] | Plumbing Fixtures - Toilets | [7 empty] | Plumbing Fixtures - Urinals | [7 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [7 empty] | Toilet Partitions | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [7 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity
FORMULA BAR

## Master File (Systems)
systems | Question | Value1 |  | Average1 | systems | Question | Value1 |  | Average1
Systems | Seg ID | 1275 |  |  | InfoTech | Seg ID | 428
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1926 |  |  |  | Year Built | 1926
Domestic Water Heaters | Location | un16 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | domestic copper piping |  |  |  | Notes
Sanitary Drainage | Location |  |  |  | Main Dist. Facility (MDF) | Location | Above Ground Level Floor
| Description |  |  |  |  | Description | @Room 207 / Wall Mounted Racks
| Age |  |  |  |  | Age | 41067 |  | 6.5
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Building Support (other) Plumbing Systems | Location | un16 |  |  | MDF, HVAC Terminal Units | Location
| Description | Stormwater Drainage Sump Pumps |  |  |  | Description | Cast Iron Radiators
| Age | 16 | 30 | 23 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Piping | Location | un16 |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description | Window Mounted
| Age | 0 | 15 | 7.5 |  | Age | 0 | 7 | 3.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Fired Boilers | Location | un16 |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas/Fired Boilers |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | feed water package |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location |  |  |  | IDF #4, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location | un16 |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Two Pipe |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location |  |  |  | Inter. Data Facility (IDF #5) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location |  |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Fans | Location |  |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location | un16
| Description | Gas Engine Generators
| Age | 0 | 15 | 7.5
| Condition | Good |  | 0.75
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | un6
| Description | D5010 120
| Age | 16 | 30 | 23
| Condition | Fair |  | 0.5
CheckBox
| Quantity | 0
Voltage
| Power Output | 800 Amps
Elec Power
Notes
Voice Communication Terminal Equipment | Location | un6
| Description | PDX/Key Systems
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | un38
| Description | Public Address and Mass Notification Systems
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | ent/1
| Description | Analog Video Recording Devices
| Age | 41233 |  | 10.5
| Condition | Fair |  | 0.5
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | un6
| Description | Fire Alarm Annunciation Panels
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
| Notes | head end
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Value2 |  | Average2 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 1281 |  |  | 1295 |  |  | SiteElements | Seg ID | 305
| Bldg.Phase | A |  |  | B |  |  |  | Bldg.Phase | A
| Original | 1 |  |  | 0 |  |  |  | Original | 1
| Addition | 0 |  |  | 1 |  |  |  | Addition | 0
| Year Built | 1926 |  |  | 1926 |  |  |  | Year Built | 1926
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typ |  |  | Typ |  |  | Roadways | Location
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  |  | Description
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location | [6 empty] | Parking Lots | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Standard Slabs On Grade, Primary | Location | Typ |  |  | Typ |  |  | Pedestrian Plazas and Walkways, Primary | Location | East
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  |  | Description | Concrete, CIP
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age | 16 | 21 | 18.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Standard Slabs On Grade, Secondary | Location | [6 empty] | Pedestrian Plazas and Walkways, Secondary | Location | West
| Description | [7 empty] | Description | Concrete, CIP
| Age | [7 empty] | Age | 16 | 21 | 18.5
| Condition | [7 empty] | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Floor Construction, Primary | Location | Typ |  |  | Typ |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, CIP Beams and Slab |  |  | Concrete, CIP Beams and Slab |  |  |  | Description
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Floor Construction, Secondary | Location | [6 empty] | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Roof Construction, Structural Frame, Primary | Location | Typ |  |  | Typ |  |  | Site Lighting, Primary | Location | Typ
| Description | Other (describe) |  |  | Steel Framing, w/ PC Planks |  |  |  | Description | Pole Mounted H.I.D.
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Steel framing with shingles | [6 empty] | Notes
Roof Construction, Structural Frame, Secondary | Location | [6 empty] | Site Lighting, Secondary | Location | Typ
| Description | [7 empty] | Description | Building Mounted H.I.D.
| Age | [7 empty] | Age | 41136 |  | 11.5
| Condition | [7 empty] | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Walls / Exterior Assembly, Primary | Location | Typ |  |  | Typ |  |  | Playground Surface | Location | West
| Description | Other (describe) |  |  | Other (describe) |  |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age | 22 | 30 | 26
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Brick veneer with cmu backup |  |  | Brick veneer with cmu backup |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location | [6 empty] | Playground Equipment | Location | West
| Description | [7 empty] | Description | B/Ball Backstops
| Age | [7 empty] | Age | 41136 |  | 11.5
| Condition | [7 empty] | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Windows, Primary | Location | Typ |  |  | Typ |  |  | TCUs | Location | West. Playground
| Description | Other (describe) |  |  | Other (describe) |  |  |  | Description | Other (describe)
| Age | 30+ |  | 30 | 30+ |  | 30 |  | Age | 16 | 21 | 18.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Aluminum single hung |  |  | Aluminum single hung |  |  |  | Notes | 1 /2 classroom unit
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated) |  |  | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | Arch transom
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles |  |  | Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location | Typ |  |  | Typ
| Description | Aluminum, Double Hung |  |  | Other (describe)
| Age | 30+ |  | 30 | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | Aluminum horizontal single/sliding
Exterior Windows, Secondary / Glazing | Location
| Description | Glass, Double Pane (Insulated) |  |  | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
| CheckBox |  |  |  | Security Grilles
Quantity
Voltage
Power Output
Elec Power
| Notes | N/a
Exterior Doors, Primary | Location | Typ |  |  | Typ
| Description | Wood |  |  | Wood
| Age | 60+ |  | 60 | 60+ |  | 60
| Condition | Poor |  | 0.25 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | Roof |  |  | Roof
| Description | Other (describe) |  |  | Asphalt, Built Up
| Age | 30+ |  | 30 | 16 | 21 | 18.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Shingles with copper eves, needs cleaning |  |  | With gravel & skylights
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | Roof |  |  | Roof
| Description | Copper |  |  | Aluminum
| Age | 16 | 21 | 18.5 | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | Roof |  |  | Roof
| Description | Copper |  |  | Other (describe)
| Age | 16 | 21 | 18.5 | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | Cast Iron Internal Drains
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes