## FCI Summary
Building Name: | Dr. Martin L. King Jr. (Off-Line)
Building Square Footage: | 118888 | 2012 LRFP CONDITION SUMMARY
Number of Floors: | B + 3
School Age (years): | 105
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 46.45%
Facility Condition = | POOR
FCI Deficiency Cost = | 11389821.2167
FCI Replacement Cost = | 24520650
CAPACITY UTILIZATION
Recent 2018 Enrollment = | 0
Historic 2005 LRFP Capacity = | 650
Adjusted 2012 Capacity = | 528
Recent Occupancy % = | 0%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 98.06%
Classroom Adequacy = | VERY GOOD
Special Spaces Adequacy % Score = | 76.54%
Special Spaces Adequacy = | FAIR

## Uniformat FCI
Building Name: |  | Dr. Martin L. King Jr. (Off-Line) | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 118888
Largest Floor Level Area: |  | 35122
Vertical FAR Ratio: |  | 3.385
School Age (years): |  | 105
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 1.8% | 3.7125 | 118888 | 441371.7 | 100 | 105 | 0 | 0.5 | 5 | 5 | 22068.585 | 419303.115 | 95%
|  |  | A1030 - SLAB ON GRADE | 1.5% | 3.0938 | 118888 | 367809.75 | 100 | 105 | 0 | 0.5 | 5 | 5 | 18390.4875 | 349419.2625 | 95%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 118888 | 539454.3 | 100 | 105 | 0 | 0.5 | 5 | 5 | 26972.715 | 512481.585 | 95%
|  |  | SUBTOTAL SUBSTRUCTURE | 5.5% | 11.3438 | 118888 | 1348635.75
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 118888 | 2697271.5 | 100 | 105 | 0 | 0.5 | 5 | 5 | 134863.575 | 2562407.925 | 95%
|  |  | B1020 - ROOF CONSTRUCTION | 2.5% | 5.1562 | 118888 | 613016.25 | 100 | 105 | 0 | 0.5 | 5 | 5 | 30650.8125 | 582365.4375 | 95%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 9.5% | 19.5938 | 118888 | 2329461.75 | 100 | 105 | 0 | 0.56818 | 5 | 5 | 116473.0875 | 2212988.6625 | 95%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 5.5% | 11.3438 | 118888 | 1348635.75 | 30 | 19.8333 | 10.1667 | 0.41667 | 12.5 | 22.6667 | 1018969.2333 | 329666.5167 | 24.44%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 2% | 4.125 | 118888 | 490413 | 30 | 16.125 | 13.875 | 0.5 | 15 | 28.875 | 472022.5125 | 18390.4875 | 3.75%
|  |  | SUBTOTAL SHELL | 30.5% | 62.9063 | 118888 | 7478798.25
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 118888 | 980826 | 60 | 54.8846 | 5.1154 | 0.65 | 39 | 44.1154 | 721158.6038 | 259667.3962 | 26.47%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 118888 | 367809.75 | 20 | 20 | 0 | 0.47222 | 9.4444 | 9.4444 | 173687.9375 | 194121.8125 | 52.78%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 118888 | 980826 | 20 | 22.6667 | 0 | 0.66667 | 5 | 5 | 245206.5 | 735619.5 | 75%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 118888 | 367809.75 | 30 | 105 | 0 | 0.5 | 5 | 5 | 61301.625 | 306508.125 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 4% | 8.25 | 118888 | 980826 | 10 | 7.6111 | 2.3889 | 0.47593 | 4.7593 | 7.1481 | 701108.9556 | 279717.0444 | 28.52%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 118888 | 1471239 | 20 | 19.6786 | 0.32143 | 0.47679 | 9.5357 | 9.8571 | 725110.65 | 746128.35 | 50.71%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 118888 | 1471239 | 30 | 23.537 | 6.463 | 0.57407 | 17.2222 | 23.6852 | 1161552.2722 | 309686.7278 | 21.05%
|  |  | SUBTOTAL INTERIORS | 27% | 55.6875 | 118888 | 6620575.5
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 1% | 2.0625 | 118888 | 245206.5 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 245206.5 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 118888 | 367809.75 | 60 | 23.8607 | 36.1393 | 0.46601 | 27.9605 | 60 | 367809.75 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 118888 | 318768.45 | 60 | 3.5 | 56.5 | 0.9 | 54 | 60 | 318768.45 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 118888 | 294247.8 | 60 | 60 | 0 | 0.5 | 30 | 30 | 147123.9 | 147123.9 | 50%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 118888 | 122603.25 | 30 | 60 | 0 | 0.5 | 5 | 5 | 20433.875 | 102169.375 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 118888 | 662057.55 | 60 | 60 | 0 | 0.25 | 15 | 15 | 165514.3875 | 496543.1625 | 75%
|  |  | D3020 - BOILERS | 2% | 4.125 | 118888 | 490413 | 60 | 7.5 | 52.5 | 0.75 | 45 | 60 | 490413 | 0 | 0%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 118888 | 980826 | 40 | 16.375 | 23.625 | 0.625 | 25 | 40 | 980826 | 0 | 0%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 118888 | 980826 | 40 | 24.25 | 15.75 | 0.42668 | 17.0673 | 32.8173 | 804701.7159 | 176124.2841 | 17.96%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 118888 | 490413 | 40 | 0 | 40 | 0 | 0 | 40 | 490413 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 118888 | 367809.75 | 20 | 0 | 20 | 0 | 0 | 20 | 367809.75 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 118888 | 245206.5 | 20 | 0 | 20 | 0 | 0 | 20 | 245206.5 | 0 | 100%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 118888 | 49041.3 | 20 | 11.5 | 8.5 | 0.75 | 15 | 20 | 49041.3 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 118888 | 318768.45 | 60 | 53 | 7 | 0.5 | 30 | 37 | 196573.8775 | 122194.5725 | 38.33%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 118888 | 1716445.5 | 30 | 13 | 17 | 0.70833 | 21.25 | 30 | 1716445.5 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 118888 | 735619.5 | 20 | 9.4398 | 10.5602 | 0.48158 | 9.6316 | 20 | 735619.5 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 118888 | 73561.95 | 20 | 32.6296 | 0 | 0.28611 | 5 | 5 | 18390.4875 | 55171.4625 | 75%
|  |  | SUBTOTAL SERVICES | 34.5% | 71.1563 | 118888 | 8459624.25
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 118888
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 118888
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 118888
|  |  | E1090 - OTHER EQUIPMENT |  |  | 118888
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 118888
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 118888
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 118888
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 118888
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 118888
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 118888 | 245206.5 | 30 | 18.5 | 11.5 | 0.25 | 7.5 | 19 | 155297.45 | 89909.05 | 36.67%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 118888 | 122603.25 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 30650.8125 | 91952.4375 | 75%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 118888 | 122603.25 | 30 | 18.5 | 11.5 | 0.25 | 7.5 | 19 | 77648.725 | 44954.525 | 36.67%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 118888 | 122603.25 | 30 | 11.5 | 18.5 | 0.75 | 22.5 | 30 | 122603.25 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 118888 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 118888
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 118888 | 24520650 | [7 empty] | 11389821.2167 | 46.45%
100%
Note on J36: Tessier, Matthew: No Survey Data
Note on J41: Tessier, Matthew: No Survey Data
Note on J42: Tessier, Matthew: No Survey Data

## Master File (Interior)
Dr. Martin Luther King, Jr.
School Code: | 517
NPS Code: | 94
Street: | 108 S. 9th St.
City/Town: | Newark,
Database ID: | 65
Total size (gsf):
ROOM INFORMATION | [12 empty] | 54.9091 | Ave Condition | 0.63636 | [6 empty] | 19.6786 | Ave Condition | 0.47679 | [6 empty] | 7.6111 | Ave Condition | 0.47593 | [6 empty] | 23.537 | Ave Condition | 0.57407 | [5 empty] | 20 | Ave Condition | 0.47222 | [6 empty] | 54.8846 | Ave Condition | 0.65 | [6 empty] | 25.5263 | Ave Condition | 0.44737 | [5 empty] | 17.6667 | Ave Condition | 0.66667 | [6 empty] | 28 | Ave Condition | 0.375 | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [6 empty] | 24.25 | Ave Condition | 0.375 | [6 empty] | 22.6667 | Ave Condition | 0.66667 | [6 empty] | 14.5 | Ave Condition | 0.66667 | [5 empty] | 27.2593 | Ave Condition | 0.47222 | [5 empty] | 30 | Ave Condition | 0.38462 | [6 empty] | 18.5 | Ave Condition | 0.46875 | [5 empty] | 11.5 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 8.5789 | Ave Condition | 0.67105 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [7 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
5315 | UN-1 | Storage | Basement | A | Food Service/Assembly (K-8) |  |  | 148 | N/A
5316 | UN-2 | Kitchen | Basement | B | Food Service/Assembly (K-8) |  |  | 734 | N/A | Plaster Partitions/on CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Poor | 0.25 |  |  | supplementary vct | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 |  |  |  | Metal/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | [9 empty] | 0 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | ducted air diffusers | [9 empty] | Dry Chemical | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  | ansul system | [7 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | [109 empty] | Present | [26 empty] | Present | [8 empty] | Present
5317 | UN-3 | Water Closet | Basement | A | Food Service/Assembly (K-8) |  |  | 64 | N/A | [59 empty] | 1 | [7 empty] | 1 | [8 empty] | 0
5318 | UN-4 | Recreation/Cafeteria | Basement | B | Food Service/Assembly (K-8) |  |  | 5053 | 11' 4" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | painted precast concrete t's | Metal/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Fair | 0.5 | [9 empty] | 0 | [27 empty] | Other (describe) | 16 | 21 | 18.5 | Fair | 0.5 |  |  | floor mounted electric water cooler | [9 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | [12 empty] | Other (describe) | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  | water | [7 empty] | Present - Present - Present | [34 empty] | Present | [98 empty] | Present - Present - Present - Present | [35 empty] | Present
5319 | UN-5 | Girls' Water Closet | Basement | A | Support |  |  | 273 | N/A | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 3 | [7 empty] | 4 | [8 empty] | 0
5320 | UN-6 | Boys' Water Closet | Basement | A | Support |  |  | 219 | N/A | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 3 | [7 empty] | 2 | [8 empty] | 4
5321 | UN-7 | Water Closet | Basement | A | Faculty Support |  |  | 32 | N/A
5322 | UN-8 | Water Closet | Basement | A | Faculty Support |  |  | 30 | N/A
5323 | UN-9 | Instructor | Basement | A | Administration |  |  | 91 | N/A
5324 | UN-10 | Instructor | Basement | A | Administration |  |  | 100 | N/A
5325 | UN-11 | N/A | Basement | A | N/A |  |  | 20 | N/A
5326 | UN-12 | Storage | Basement | A | Support |  |  | 423 | N/A
5327 | UN-13 | Storage | Basement | A | Support |  |  | 271 | N/A
5328 | UN-14 | Fan Room/Storage | Basement | A | Support |  |  | 889 | N/A
5329 | UN-15 | Storage | Basement | A | Food Service/Assembly (K-8) |  |  | 201 | N/A
5330 | UN-16 | Storage | Basement | A | Support |  |  | 222 | N/A
5331 | UN-17 | Boiler Room | Basement | A | Support |  |  | 3516 | N/A
5332 | UN-18 | Crawl Space | Basement | A | Support |  |  | 2975 | N/A
5333 | UN-19 | Incinerator | Basement | A | Support |  |  | 356 | N/A
5334 | UN-20 | Custodian Closet | Basement | A | Support |  |  | 47 | N/A
5335 | UN-21 | Mens' Water Closet | Basement | A | Support |  |  | 90 | N/A
5336 | UN-22 | Custodian Workers | Basement | A | Support |  |  | 221 | N/A
5337 | UN-23 | Womens' Water Closet | Basement | A | Support |  |  | 78 | N/A
5338 | UN-24 | Custodian Office | Basement | B | Support |  |  | 131 | N/A | [9 empty] | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Poor | 0.25 |  |  | water damage | Acoustical Panel | 30+ |  | 30 | Fair | 0.5 |  |  | glued on | Wood/Metal Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | [9 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [28 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ |  | 30 | Good | 0.75 |  |  |  | Toggle Wall Switches | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | ceiling diffuser | [43 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | [109 empty] | Present - Present
5339 | UN-25 | Storage Room | Basement | A | Support |  |  | 170 | N/A
5340 | UN-26 | Switchboard Room | Basement | A | Support |  |  | 299 | N/A | [9 empty] | Unfinished | [17 empty] | Plaster
5341 | UN-27 | Storage | Basement | A | Support |  |  | 398 | 8' 3"
5342 | UN-28 | Transformer Vault | Basement | A | Support |  |  | 270 | N/A
5343 | UN-29 | Emergency Generator | Basement | A | Support |  |  | 156 | N/A | [9 empty] | Unfinished | [17 empty] | Plaster
5344 | UN-30 | Meters | Basement | A | Support |  |  | 134 | N/A | [9 empty] | Unfinished | [17 empty] | Plaster
5345 | UN-31 | Storage | Basement | A | Support |  |  | 1300 | 8' 3"
5346 | UN-32 | N/A | Basement | A | N/A |  |  | 255 | N/A
5347 | UN-33 | Custodian Office | Basement | B | Support |  |  | 189 | N/A | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Acoustical Panel | 30+ |  | 30 | Good | 0.75 |  |  | glued on | Wood/Metal Frame | 20+ | 20 | Good | 0.75 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 1 | [7 empty] | 0 | [8 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | ceiling diffuser | [24 empty] | Present - Present | [133 empty] | Present - Present - Present
5348 | UN-34 | Pipe Space | Basement | A | Support |  |  | 544 | N/A
5349 | UN-35 | Crawl Space | Basement | A | Support |  |  | 5305 | N/A
5350 | UN-36 | N/A | Basement | A | N/A |  |  | 696 | N/A
5351 | UN-37 | N/A | Basement | A | N/A |  |  | 88 | N/A
5352 | UN-38 | N/A | Basement | A | N/A |  |  | 148 | N/A
5353 | UN-39 | N/A | Basement | A | N/A |  |  | 312 | N/A
5354 | 101 | Science / Social Studies Room | 1st Floor | B | General Classroom |  |  | 940 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5355 | 102 | Resource Room | 1st Floor | A | Administration |  |  | 936 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5356 | 103 | Art Room | 1st Floor | B | Visual & Performing Arts |  |  | 936 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [25 empty] | In-Counter Lavatories | 30+ |  | 30 | Fair | 0.5 | 0 |  | drinking fountain head | [68 empty] | Window Mounted | 16 | 21 | 18.5 | Fair | 0.5 | [18 empty] | Present | [133 empty] | Present
5357 | 105 | Dance Room | 1st Floor | B | Visual & Performing Arts |  |  | 1769 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  | raised wood platform | [9 empty] | Plaster | [25 empty] | In-Counter Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 | [27 empty] | Wall Mounted China Drinking Fountains | 30+ |  | 30 | Poor | 0.25 | [37 empty] | Window Mounted | 16 | 21 | 18.5 | Fair | 0.5 | [18 empty] | Present - Present | [133 empty] | Present - Present
5358 | 108 | Math Coach Room | 1st Floor | A | Small Group Instruction |  |  | 812 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5359 | 109 | Literacy Coach Room | 1st Floor | A | Small Group Instruction |  |  | 862 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5360 | 110 | Small Group Instruction | 1st Floor | A | Small Group Instruction |  |  | 865 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5361 | 111 | 1st Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 765 | 10 '9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5362 | 112 | Child Study Team Room | 1st Floor | A | Administration |  |  | 1042 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5363 | 113 | Parent Room | 1st Floor | A | Administration |  |  | 1001 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | 16 | 20 | 18 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 |  |  | concealed spline | Wood/Metal Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Concrete Block | 60+ |  | 60 | [5 empty] | In-Counter Lavatories | 22 | 30 | 26 | Poor | 0.25 | 1 |  | No hot water | [43 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Vent. AND Fin Tube | 30+ | 30 | Poor | 0.25 | [27 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75 | [109 empty] | Present - Present - Present
5364 | 114 | Storage | 1st Floor | A | Support |  |  | 921 | 9' 11" | CMU Back-up Wall | 60+ |  | 60 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 |  |  | concealed spline | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Poor | 0.25 |  |  | plaster finish | In-Counter Lavatories | 22 | 30 | 26 | Poor | 0.25 | 1 | [7 empty] | 0 | [8 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Vent. AND Fin Tube | 30+ | 30 | Poor | 0.25 |  |  |  | Window Mounted | 16 | 21 | 18.5 | Poor | 0.25 | [18 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | [109 empty] | Present - Present - Present - Present
5365 | 115 | Resource Room | 1st Floor | A | Administration |  |  | 995 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5366 | 116 | 1st Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 947 | 9' 11" | CMU Back-up Wall | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 | 0 |  | Concealed spline | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | plaster finish | In-Counter Lavatories | 22 | 30 | 26 | Fair | 0.5 | 1 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Vent. AND Fin Tube | 30+ | 30 | Poor | 0.25 | 0 | [26 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present - Present - Present - Present - Present
5367 | UN-40 | Auditorium/Gym | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 5298 | 20' | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Wood | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Good | 0.75 |  |  | structural facing tile wainscot | Acoustical Panel | 30+ |  | 30 | Fair | 0.5 |  |  | glued onto suspended drywall | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | [9 empty] | 0 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ |  | 30 | Poor | 0.25 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 |  |  | ducted air diffusers | [9 empty] | Other (describe) | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  | water | [7 empty] | Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present
5368 | UN-41 | Check Room | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 101 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5369 | UN-42 | Storage | 1st Floor | A | Support |  |  | 312 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5370 | UN-43 | Storage | 1st Floor | A | Support |  |  | 820 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5371 | UN-44 | Storage | 1st Floor | B | Support |  |  | 1356 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5372 | UN-45 | N/A | 1st Floor | A | Support |  |  | 98 | N/A
5373 | UN-46 | N/A | 1st Floor | A | Support |  |  | 43 | N/A
5374 | UN-47 | N/A | 1st Floor | A | Support |  |  | 44 | N/A
5375 | UN-48 | N/A | 1st Floor | A | Support |  |  | 104 | N/A
5376 | UN-49 | Storage | 1st Floor | A | Support |  |  | 1220 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5377 | UN-50 | Vestibule | 1st Floor | A | Support |  |  | 134 | 10' 9" | [9 empty] | Ceramic Tile | [17 empty] | Plaster
5378 | UN-51 | Men\'s Water Closet | 1st Floor | B | Support |  |  | 162 | 10' 9" | [9 empty] | Ceramic Tile | 20+ |  | 20 | Good | 0.75 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | painted precast concrete t's | Wood/Metal Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 3 |  |  | Wall Hung Flush Valve | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 | 2 |  |  | Wall Hung | 30+ |  | 30 | Fair | 0.5 | 2 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | toilet exhaust vent | [24 empty] | Present - Present - Present - Present - Present - Present - Present
5379 | UN-52 | Boys' Water Closet | 1st Floor | A | Support |  |  | 337 | 10' 9" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 2 | [7 empty] | 4 | [8 empty] | 7
5380 | UN-53 | Custodial Closet | 1st Floor | A | Support |  |  | 39 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5381 | UN-54 | Storage | 1st Floor | A | Support |  |  | 84 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5382 | UN-55 | Girls' Water Closet | 1st Floor | A | Support |  |  | 337 | 10' 9" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 2 | [7 empty] | 7 | [8 empty] | 0
5383 | UN-56 | Storage | 1st Floor | A | Administration |  |  | 98 | 10' 9" | [9 empty] | Ceramic Tile | [17 empty] | Plaster
5384 | UN-57 | Vice Principal's Office | 1st Floor | A | Administration |  |  | 153 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5385 | UN-58 | General Office | 1st Floor | B | Administration |  |  | 495 | 10' 9" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Fair | 0.5 |  |  |  | Acoustical Panel | 30+ |  | 30 | Fair | 0.5 |  |  | glued on | Wood/Metal Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 |  |  | plaster finish | [6 empty] | 0 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  | recessed lighting along counter | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 16 | 21 | 18.5 | Fair | 0.5 | [18 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Poor | 0.25 |  |  | removed | [106 empty] | Present - Present - Present - Present - Present - Present - Present | head end
5386 | UN-59 | Water Closet | 1st Floor | A | Administration |  |  | 41 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [31 empty] | 1 | [7 empty] | 1 | [8 empty] | 0
5387 | UN-60 | Storage | 1st Floor | A | Administration |  |  | 22 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5388 | UN-61 | Principal\'s Office | 1st Floor | B | Administration |  |  | 158 | 10' 9" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Fair | 0.5 |  |  |  | Acoustical Panel | 30+ |  | 30 | Fair | 0.5 |  |  | glued on | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 |  |  | plaster finish | [6 empty] | 0 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 30+ |  | 30 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 16 | 21 | 18.5 | Fair | 0.5 | [18 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Poor | 0.25 |  |  | removed | [106 empty] | Present - Present - Present - Present - Present - Present - Present
5389 | UN-62 | Storage | 1st Floor | A | Health Services |  |  | 14 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5390 | UN-63 | Waiting | 1st Floor | A | Health Services |  |  | 80 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5391 | UN-64 | Nurse | 1st Floor | B | Health Services |  |  | 214 | 10' 9" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Fair | 0.5 |  |  |  | Acoustical Panel | 30+ |  | 30 | Good | 0.75 |  |  | glued on | Wood/Metal Frame | 20+ | 20 | Good | 0.75 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 |  |  | plaster finish | Wall-Mounted Lavatories | 30+ |  | 30 | Good | 0.75 | 1 | [7 empty] | 0 | [8 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 16 | 21 | 18.5 | Fair | 0.5 | [18 empty] | Present - Present - Present - Present - Present - Present - Present
5392 | UN-65 | N/A | 1st Floor | A | Health Services |  |  | 116 | N/A
5393 | UN-66 | N/A | 1st Floor | A | Health Services |  |  | 173 | N/A
5394 | UN-67 | N/A | 1st Floor | A | Health Services |  |  | 28 | N/A
5395 | UN-68 | N/A | 1st Floor | A | Support |  |  | 35 | N/A
5396 | 201 | 3rd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 863 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5397 | 202 | 3rd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 952 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5398 | 203 | 4th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 950 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5399 | 204 | 4th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 895 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5400 | 205 | 4th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 883 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5401 | 206 | classroom | 2nd Floor | B | General Classroom |  |  | 848 | 10' 9" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Very Poor | 0.1 | 0 |  | peeling | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | painted precast concrete t's | Wood Fire/Metal Frames | 20+ | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | 0 |  | plaster finish | In-Counter Lavatories | 30+ |  | 30 | Poor | 0.25 | 1 |  | drinking fountain head | [43 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Vent. AND Fin Tube | 30+ | 30 | Poor | 0.25 | 0 |  |  | Window Mounted | 16 | 21 | 18.5 | Good | 0.75 | [18 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [108 empty] | Present
5402 | 207 | World Language Classroom | 2nd Floor | A | General Classroom |  |  | 849 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5403 | 208 | 3rd-7th Grade Reading Lab | 2nd Floor | A | Small Group Instruction |  |  | 811 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5404 | 209 | 1st-3rd Grade Classroom | 2nd Floor | B | General Classroom (Grades 1-3) |  |  | 874 | 10' 9" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Poor | 0.25 | 0 |  | cracks | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Poor | 0.25 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | painted precast concrete t's | Wood/Metal Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | 0 |  | plaster finish | In-Counter Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Poor | 0.25 | 0 |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present - Present
5405 | 210 | Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 868 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5406 | 211 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 769 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5407 | 212 | Kindergarten Classroom | 2nd Floor | A | Kindergarten Classroom |  |  | 866 | 10' | CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 2012-11-15 |  | 1900-01-12 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 | 0 |  | Concealed spline | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | plaster finish | In-Counter Lavatories | 16 | 21 | 18.5 | Fair | 0.5 | 1 | [7 empty] | 0 | [8 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Vent. AND Fin Tube | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present - Present - Present
5408 | 213 | Kindergarten Classroom | 2nd Floor | A | Kindergarten Classroom |  |  | 876 | 10' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
5409 | 214 | Computer / Writing Lab | 2nd Floor | A | Technological Literacy |  |  | 991 | 10' | CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Good | 0.75 | 0 |  | Concealed spline | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | plaster finish | In-Counter Lavatories | 22 | 30 | 26 | Poor | 0.25 | 1 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Vent. AND Fin Tube | 30+ | 30 | Poor | 0.25 | 0 |  |  | Window Mounted | 16 | 21 | 18.5 | Poor | 0.25 | [18 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 1 |  | Disassembled IDF Equipment | [70 empty] | Present - Present - Present - Present
5410 | 215 | Guidance / Support Services | 2nd Floor | A | Administration |  |  | 1047 | 10' | [9 empty] | Wood | [17 empty] | Acoustical Panel
5411 | 216 | Kindergarten Classroom | 2nd Floor | A | Kindergarten Classroom |  |  | 965 | 10' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
5412 | 219 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 913 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5413 | UN-69 | Womens' Water Closet | 2nd Floor | A | Faculty Support |  |  | 41 | 10' 9" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 1 | [7 empty] | 1 | [8 empty] | 0
5414 | UN-70 | Mens\' Water Closet | 2nd Floor | B | Faculty Support |  |  | 44 | 10' 9" | [9 empty] | Ceramic Tile | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls with Wainscot | 0 | 3 | 1.5 | Good | 0.75 |  |  | ceramic tile wainscot | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 |  |  | concealed spline | Wood/Metal Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 |  |  | plaster finish | Wall-Mounted Lavatories | 30+ |  | 30 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Tank | 30+ | 30 | Good | 0.75 | 1 | [8 empty] | 0 | [19 empty] | Metal, Powder Coated | 46 | 60 | 53 | Fair | 0.5 |  |  |  | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | exhaust vent | [24 empty] | Present - Present - Present - Present - Present
5415 | UN-71 | Teachers' Room | 2nd Floor | A | Faculty Support |  |  | 650 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5416 | UN-72 | Storage | 2nd Floor | A | Faculty Support |  |  | 43 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5417 | UN-73 | Boys' Water Closet | 2nd Floor | A | Support |  |  | 335 | 10' 9" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 2 | [7 empty] | 4 | [8 empty] | 7
5418 | UN-74 | Custodial Closet | 2nd Floor | A | Support |  |  | 38 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5419 | UN-75 | Storage | 2nd Floor | A | Support |  |  | 81 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5420 | UN-76 | Girls' Water Closet | 2nd Floor | A | Support |  |  | 335 | 10' 9" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 2 | [7 empty] | 7 | [8 empty] | 0
5421 | UN-77 | Library | 2nd Floor | B | Media Center |  |  | 1410 | 10' 9" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | painted precast concrete t's | Wood/Metal Frame | 20+ | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | 0 |  | plaster finish | [6 empty] | 0 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Vent. AND Fin Tube | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present - Present - Present - Present - Present
5422 | UN-78 | N/A | 2nd Floor | A | N/A |  |  | 94 | N/A
5423 | UN-79 | Library Work Room | 2nd Floor | B | Media Center |  |  | 192 | 10' 9" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | painted precast concrete t's | Wood/Metal Frame | 20+ | 20 | Good | 0.75 | 0 |  |  | Other (describe) | 46 | 60 | 53 | Good | 0.75 | 0 |  | wood framed window wall | In-Counter Lavatories | 16 | 21 | 18.5 | Good | 0.75 | 1 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | 0 | [35 empty] | Present | [9 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 0
5424 | UN-80 | Water Closet | 2nd Floor | A | Kindergarten Classroom |  |  | 40 | 10' | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 1 | [7 empty] | 2 | [8 empty] | 0
5425 | UN-81 | Storage | 2nd Floor | A | Kindergarten Classroom |  |  | 25 | 10' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5426 | UN-82 | Water Closet | 2nd Floor | A | Kindergarten Classroom |  |  | 87 | 10' | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 2 | [7 empty] | 2 | [8 empty] | 0
5427 | UN-83 | Storage | 2nd Floor | A | Kindergarten Classroom |  |  | 58 | 10' | CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 | 0 |  | Concealed spline | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on masonry | [6 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [28 empty] | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Surface mtd lightbulb | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Vent. AND Fin Tube | 30+ | 30 | Poor | 0.25 | 0 | [26 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0
5428 | UN-84 | Water Closet | 2nd Floor | A | Kindergarten Classroom |  |  | 106 | 10' | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 2 | [7 empty] | 2 | [8 empty] | 0
5429 | 301 | 5th Grade Classroom | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 863 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5430 | 302 | 5th Grade Classroom | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 952 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5431 | 303 | Technology Coordinator | 3rd Floor | B | Technological Literacy |  |  | 950 | 9' 11" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Poor | 0.25 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | painted precast concrete t's | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | 0 |  | plaster finish | In-Counter Lavatories | 22 | 30 | 26 | Poor | 0.25 | 1 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Poor | 0.25 | 0 |  |  | Unit Vent. AND Fin Tube | 30+ | 30 | Poor | 0.25 | 0 | [26 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Poor | 0.25 | 0 |  | MDF/IDF disassembled | [15 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present
5432 | 304 | LAL Intervention Support Teacher -CAPA | 3rd Floor | A | Administration |  |  | 895 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5433 | 305 | Classroom | 3rd Floor | A | General Classroom |  |  | 883 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5434 | 306 | 4th/5th Grade Self-Contained Special Ed. Classroo | 3rd Floor | B | Self-Contained Sp. Ed. Classroom |  |  | 848 | 9' 11" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | painted precast concrete t's | Wood/Metal Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | 0 |  | plaster finish | In-Counter Lavatories | 22 | 30 | 26 | Poor | 0.25 | 1 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Poor | 0.25 | 0 |  |  | Unit Vent. AND Fin Tube | 30+ | 30 | Poor | 0.25 | 0 | [26 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present - Present
5435 | 307 | Classroom | 3rd Floor | A | General Classroom |  |  | 849 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5436 | 308 | Classroom | 3rd Floor | A | General Classroom |  |  | 811 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5437 | 309 | Classroom | 3rd Floor | A | General Classroom |  |  | 875 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5438 | 310 | 7th Grade Classroom | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 868 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5439 | 311 | 7th Grade Classroom | 3rd Floor | B | General Classroom (Grades 6-8) |  |  | 881 | 9' 11" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Fair | 0.5 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | painted precast concrete t's | Wood/Metal Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | 0 |  | plaster finish | In-Counter Lavatories | 22 | 30 | 26 | Fair | 0.5 | 1 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Poor | 0.25 | 0 |  |  | Unit Vent. AND Fin Tube | 30+ | 30 | Poor | 0.25 | 0 | [26 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [26 empty] | 0 | [8 empty] | 0 | [72 empty] | Present - Present - Present
5440 | 312 | 8th Grade Classroom | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 1238 | 9' 11" | [9 empty] | Wood | [17 empty] | Acoustical Panel
5441 | 313 | 8th Grade Classroom | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 970 | 9' 11" | CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 | 0 |  | Concealed spline | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 |  | plaster finish | In-Counter Lavatories | 22 | 30 | 26 | Poor | 0.25 | 1 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Vent. AND Fin Tube | 30+ | 30 | Poor | 0.25 | 0 | [26 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 | [26 empty] | 0 | [8 empty] | 0 | [72 empty] | Present - Present - Present - Present
5442 | 314 | Bilingual/ESL Classroom | 3rd Floor | A | Small Group Instruction |  |  | 993 | 9' 11" | [9 empty] | Wood | [17 empty] | Acoustical Panel
5443 | 315 | 6th/7th Grade Classroom | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 981 | 9' 11" | [9 empty] | Wood | [17 empty] | Acoustical Panel
5444 | 316 | 7th/8th Grade Self-Contained Special Ed. Classroom | 3rd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 1107 | 9' 11" | [9 empty] | Wood | [17 empty] | Acoustical Panel
5445 | 317 | 8th Grade Classroom | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 813 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5446 | 318 | 6th Grade Classroom | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 901 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5447 | 319 | 6th Grade Classroom | 3rd Floor | A | General Classroom (Grades 6-8) |  |  | 914 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5448 | UN-85 | Teachers\' Room | 3rd Floor | B | Faculty Support |  |  | 650 | 9' 11" | CMU Back-up Wall | 46 | 60 | 53 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Painted precast concrete t's | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Fair | 0.5 | [9 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [28 empty] | Fluorescent Pendant Mount Fixture | 16 | 21 | 18.5 | Poor | 0.25 |  |  | Specialty | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Poor | 0.25 | [27 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | [109 empty] | Present - Present - Present - Present - Present
5449 | UN-86 | Womens' Water Closet | 3rd Floor | A | Faculty Support |  |  | 40 | 9' 11" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 1 | [7 empty] | 1 | [8 empty] | 0
5450 | UN-87 | Mens' Water Closet | 3rd Floor | A | Faculty Support |  |  | 33 | 9' 11" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 1 | [7 empty] | 1 | [8 empty] | 0
5451 | UN-88 | Storage | 3rd Floor | A | Faculty Support |  |  | 43 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5452 | UN-89 | Boys\' Water Closet | 3rd Floor | B | Support |  |  | 338 | 9' 11" | CMU Back-up Wall | 46 | 60 | 53 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  | Ceramic tile wainscot | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Painted precast concrete t's | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 | [12 empty] | Wall-Mounted Lavatories | 16 | 21 | 18.5 | Poor | 0.25 | 2 |  |  | Wall Hung Flush Valve | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 | 3 |  |  | Wall Hung | 22 | 30 | 26 | Poor | 0.25 | 6 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Poor | 0.25 | [27 empty] | Present - Present - Present - Present - Present - Present
5453 | UN-90 | Custodial Closet | 3rd Floor | A | Support |  |  | 41 | 9' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
5454 | UN-91 | Storage | 3rd Floor | B | Support |  |  | 78 | 9' 11" | [9 empty] | Other (describe) | 20+ |  | 20 | Poor | 0.25 |  |  | Concrete | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Precast concrete t's | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Fair | 0.5 | [9 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [28 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [35 empty] | Present - Present - Present - Present - Present - Present - Present
5455 | UN-92 | Girls' Water Closet | 3rd Floor | A | Support |  |  | 343 | 9' 11" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 2 | [7 empty] | 7 | [8 empty] | 0
INTERIORs INFORMATION
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
139 | B |  | Basement

## Master File (Systems)
systems | Question | Value1 | Average1 | Value2 |  | Average2 | systems | Question | Value1 | Average1
Systems | Seg ID | 1119 |  | 1135 |  |  | InfoTech | Seg ID | 422
| Bldg.Phase | A |  | B |  |  |  | Bldg.Phase | B
| Original | 1 |  | 0 |  |  |  | Original | 0
| Addition | 0 |  | 1 |  |  |  | Addition | 1
| Year Built | 1907 |  | 1962 |  |  |  | Year Built | 1962
Domestic Water Heaters | Location |  |  | UN/17 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description |  |  | Fuel/Fired Water Heater |  |  |  | Description
| Age |  |  | 0 | 7 | 3.5 |  | Age
| Condition |  |  | Very Good |  | 0.9 |  | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes |  |  | With steam to hot water heat exchanger |  |  |  | Notes
Sanitary Drainage | Location | Roof A |  | UN/17 & Roof B |  |  | Main Dist. Facility (MDF) | Location | Above Ground Level Floor
| Description | Other (describe) |  | Sanitary Sewers |  |  |  | Description | UN/91 wall mounted cabinet
| Age | 60+ | 60 | 46 | 60 | 53 |  | Age | 41100 | 8.5
| Condition | Fair | 0.5 | Fair |  | 0.5 |  | Condition | Very Poor | 0.1
| CheckBox | [6 empty] | CheckBox | Secure
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | Bathroom exhaust pipes |  | Sump Pump & Bathroom exhaust pipes |  |  |  | Notes | Disassembled
Building Support (other) Plumbing Systems | Location | Roof A |  | Roof B |  |  | MDF, HVAC Terminal Units | Location
| Description | Stormwater Area Drains |  | Stormwater Area Drains |  |  |  | Description
| Age | 60+ | 60 | 46 | 60 | 53 |  | Age
| Condition | Fair | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Fuel Piping | Location |  |  | UN/17 |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description |  |  | Gas Piping |  |  |  | Description
| Age |  |  | 0 | 15 | 7.5 |  | Age
| Condition |  |  | Good |  | 0.75 |  | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Fuel Pumps | Location | [5 empty] | Inter. Data Facility (IDF #1) | Location | 303
| Description | [6 empty] | Description | Cabinet
| Age | [6 empty] | Age | 41100 | 8.5
| Condition | [6 empty] | Condition | Very Poor | 0.1
| CheckBox | [6 empty] | CheckBox | Secure
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes | Disassembled
Fuel Storage Tanks | Location | [5 empty] | IDF #1, HVAC Terminal Units | Location
| Description | [6 empty] | Description | Unit Vent. AND Fin Tube
| Age | [6 empty] | Age | 30+ | 30
| Condition | [6 empty] | Condition | Poor | 0.25
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Fuel Fired Boilers | Location |  |  | UN/17 |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description |  |  | Gas/Fired Boilers |  |  |  | Description
| Age |  |  | 0 | 15 | 7.5 |  | Age
| Condition |  |  | Good |  | 0.75 |  | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes |  |  | Condensate return package / poor/ 30+ & boiler feed water package /fair |  |  |  | Notes
Furnaces | Location | [5 empty] | Inter. Data Facility (IDF #2) | Location | UN/75
| Description | [6 empty] | Description | Wall mounted cabinet
| Age | [6 empty] | Age | 41100 | 8.5
| Condition | [6 empty] | Condition | Very Poor | 0.1
| CheckBox | [6 empty] | CheckBox | Secure
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes | Disassembled
Unit Ventilators | Location | [5 empty] | IDF #2, HVAC Terminal Units | Location
| Description | [6 empty] | Description
| Age | [6 empty] | Age
| Condition | [6 empty] | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Fan Coil Units | Location | [5 empty] | IDF #2, Packaged Terminal Air Conditioner | Location
| Description | [6 empty] | Description
| Age | [6 empty] | Age
| Condition | [6 empty] | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Water Chillers | Location | [5 empty] | Inter. Data Facility (IDF #3) | Location | 214
| Description | [6 empty] | Description | Wall mounted rack
| Age | [6 empty] | Age | 41100 | 8.5
| Condition | [6 empty] | Condition | Very Poor | 0.1
| CheckBox | [6 empty] | CheckBox | Secure
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes | Disassembled
Cooling Towers | Location | [5 empty] | IDF #3, HVAC Terminal Units | Location
| Description | [6 empty] | Description | Unit Vent. AND Fin Tube
| Age | [6 empty] | Age | 30+ | 30
| Condition | [6 empty] | Condition | Poor | 0.25
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Packaged Terminal Air Conditioner | Location | [5 empty] | IDF #3, Packaged Terminal Air Conditioner | Location
| Description | [6 empty] | Description
| Age | [6 empty] | Age
| Condition | [6 empty] | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Hydronic Piping System | Location | [5 empty] | Inter. Data Facility (IDF #4) | Location
| Description | [6 empty] | Description
| Age | [6 empty] | Age
| Condition | [6 empty] | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Pumps | Location | [5 empty] | IDF #4, HVAC Terminal Units | Location
| Description | [6 empty] | Description
| Age | [6 empty] | Age
| Condition | [6 empty] | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Steam Piping System | Location |  |  | UN/17 |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description |  |  | Two Pipe |  |  |  | Description
| Age |  |  | 0 | 15 | 7.5 |  | Age
| Condition |  |  | Good |  | 0.75 |  | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
HVAC Air Distribution | Location |  |  | Roof B & UN/14 |  |  | Inter. Data Facility (IDF #5) | Location
| Description |  |  | Insulated Sheet Metal Ducts |  |  |  | Description
| Age |  |  | 0 | 15 | 7.5 |  | Age
| Condition |  |  | Good |  | 0.75 |  | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes |  |  | Poor sheet metal ducts @ UN/14 |  |  |  | Notes
Air Handling Units | Location |  |  | (2) Roof B & (3) UN/14 |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  | Package Rooftop Units (RTU) |  |  |  | Description
| Age |  |  | 41233 |  | 10.5 |  | Age
| Condition |  |  | Good |  | 0.75 |  | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity |  |  | 3 |  |  |  | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes |  |  | (3) indoor air handling / poor / 40+ |  |  |  | Notes
HVAC Fans | Location | Roof A |  | Roof B |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description | Other (describe) |  | Other (describe) |  |  |  | Description
| Age | 40+ | 40 | 40+ |  | 40 |  | Age
| Condition | Poor | 0.25 | Poor |  | 0.25 |  | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | Exhaust fans |  | Roof exhaust fan |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location | [5 empty] | Backbone Cable Dist. | Location
| Description | [6 empty] | Description
| Age | [6 empty] | Age
| Condition | [6 empty] | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Fire/Suppression (Standpipes), Water/Based | Location | [5 empty] | Horizontal Cable Dist. | Location
| Description | [6 empty] | Description
| Age | [6 empty] | Age
| Condition | [6 empty] | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Facility Power Generation, Packaged Generator Assemblies | Location |  |  | UN/29
| Description |  |  | Gas Engine Generators
| Age |  |  | 31 | 45 | 38
| Condition |  |  | Very Poor |  | 0.1
CheckBox
Quantity
Voltage
| Power Output |  |  | 49kva
Elec Power
| Notes |  |  | do not operate
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location |  |  | UN/26
| Description |  |  | D5010 120
| Age |  |  | 46 | 60 | 53
| Condition |  |  | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  | 1600 amps
Voice Communication Terminal Equipment | Location |  |  | UN/31
| Description |  |  | PDX/Key Systems
| Age |  |  | 0 | 10 | 5
| Condition |  |  | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location |  |  | UN/58
| Description |  |  | Public Address and Mass Notification Systems
| Age |  |  | 21 | 30 | 25.5
| Condition |  |  | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location |  |  | Entry Lobby #1
| Description |  |  | Analog Video Recording Devices
| Age |  |  | 0 | 10 | 5
| Condition |  |  | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location |  |  | UN/17
| Description |  |  | Fire Alarm Annunciation Panels
| Age |  |  | 0 | 10 | 5
| Condition |  |  | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
| Description |  |  | Air compressor unit
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Value2 |  | Average2 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 1496 |  |  | 1508 |  |  | SiteElements | Seg ID | 352
| Bldg.Phase | A |  |  | B |  |  |  | Bldg.Phase | A
| Original | 1 |  |  | 0 |  |  |  | Original | 1
| Addition | 0 |  |  | 1 |  |  |  | Addition | 0
| Year Built | 1907 |  |  | 1962 |  |  |  | Year Built | 1907
(Foundation) Walls for Subgrade Enclosures, Primary | Location | typical a |  |  | typical b |  |  | Roadways | Location | s/2
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 | 46 | 60 | 53 |  | Age | 16 | 21 | 18.5
| Condition | Fair |  | 0.5 |  |  |  |  | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location | [6 empty] | Parking Lots | Location | s/5
| Description | [7 empty] | Description | Asphalt (Bituminous)
| Age | [7 empty] | Age | 16 | 21 | 18.5
| Condition |  |  |  | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes | Ponding
Standard Slabs On Grade, Primary | Location | typical a |  |  | typical b |  |  | Pedestrian Plazas and Walkways, Primary | Location | s/6
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  |  | Description | Concrete, CIP
| Age | 60+ |  | 60 | 46 | 60 | 53 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Standard Slabs On Grade, Secondary | Location | [6 empty] | Pedestrian Plazas and Walkways, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Floor Construction, Primary | Location | typical a |  |  | typical b |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, CIP Beams and Slab |  |  | Concrete, CIP Beams and Slab |  |  |  | Description
| Age | 60+ |  | 60 | 46 | 60 | 53 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes |  |  |  | Precast double tees |  |  |  | Notes
Floor Construction, Secondary | Location | [6 empty] | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Roof Construction, Structural Frame, Primary | Location | [6 empty] | Site Lighting, Primary | Location | typical
| Description | [7 empty] | Description | Pole Mounted H.I.D.
| Age | [7 empty] | Age | 41136 |  | 11.5
| Condition | [7 empty] | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Roof Construction, Structural Frame, Secondary | Location | [6 empty] | Site Lighting, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Walls / Exterior Assembly, Primary | Location | typical a |  |  | typical b |  |  | Playground Surface | Location | s/4
| Description | Brick Veneer w/ Steel Stud |  |  | Brick Veneer w/ Steel Stud |  |  |  | Description | Asphalt (Bituminous)
| Age | 46 | 60 | 53 | 46 | 60 | 53 |  | Age | 16 | 21 | 18.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Walls / Exterior Assembly, Secondary | Location | typical a |  |  | typical b |  |  | Playground Equipment | Location | s/4
| Description | Other (describe) |  |  | Other (describe) |  |  |  | Description | B/Ball Backstops
| Age | 46 | 60 | 53 | 46 | 60 | 53 |  | Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Exposed aggregate architectural finish |  |  | Exposed aggregate architectural finish |  |  |  | Notes
Exterior Windows, Primary | Location | typical a |  |  | typical b |  |  | TCUs | Location
| Description | Aluminum, Double Hung |  |  | Aluminum, Double Hung |  |  |  | Description
| Age | 22 | 30 | 26 | 22 | 30 | 26 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Single Pane |  |  | Glass, Single Pane
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox |  |  |  | Security Grilles
Quantity
Voltage
Power Output
Elec Power
| Notes | First floor |  |  | First floor
Exterior Windows, Secondary | Location | un40
| Description | Aluminum, Awning/Hopper
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
| Description | Glass, Single Pane
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location |  |  |  | typical b
| Description |  |  |  | Steel (Hollow)
| Age |  |  |  | 0 | 15 | 7.5
| Condition |  |  |  | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | roof a |  |  | roof b
| Description | Polyurethane, Spray Applied |  |  | Polyurethane, Spray Applied
| Age | 41136 |  | 11.5 | 41136 |  | 11.5
| Condition | Fair |  | 0.5 | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | Multiple areas of membrane have cracks and water damage
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | roof a |  |  | roof b
| Description | Aluminum |  |  | Aluminum
| Age | 41136 |  | 11.5 | 41136 |  | 11.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | roof a |  |  | roof b
| Description | Other (describe) |  |  | Other (describe)
| Age | 30+ |  | 30 | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Cast iron roof drain. Some missing covers |  |  | Cast iron roof drain. Some missing covers
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes