## FCI Summary
Building Name: | Maple Avenue Annex | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 23384
Number of Floors: | B + 2
School Age (years): | 72
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 29.91%
Facility Condition = | FAIR
FCI Deficiency Cost = | 1442709.1291
FCI Replacement Cost = | 4822950
CAPACITY UTILIZATION
Recent 2011/12 Enrollment = | IN MAPLE
Historic 2005 LRFP Capacity = | 157
Adjusted 2012 Capacity = | IN MAPLE
Recent Occupancy % = | NA
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 51.41%
Classroom Adequacy = | VERY POOR
Special Spaces Adequacy % Score = | 34.52%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Maple Avenue Annex | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 23384
Largest Floor Level Area: |  | 9241
Vertical FAR Ratio: |  | 2.5305
School Age (years): |  | 72
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 2.7% | 5.5687 | 23384 | 130219.65 | 100 | 72 | 28 | 0.5 | 50 | 78 | 101571.327 | 28648.323 | 22%
|  |  | A1030 - SLAB ON GRADE | 2.65% | 5.4656 | 23384 | 127808.175 | 100 | 72 | 28 | 0.5 | 50 | 78 | 99690.3765 | 28117.7985 | 22%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 23384 | 106104.9 | 100 | 72 | 28 | 0.5 | 50 | 78 | 82761.822 | 23343.078 | 22%
|  |  | SUBTOTAL SUBSTRUCTURE | 7.55% | 15.5719 | 23384 | 364132.725
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 23384 | 530524.5 | 100 | 72 | 28 | 0.5 | 50 | 78 | 413809.11 | 116715.39 | 22%
|  |  | B1020 - ROOF CONSTRUCTION | 3.4% | 7.0125 | 23384 | 163980.3 | 100 | 72 | 28 | 0.5 | 50 | 78 | 127904.634 | 36075.666 | 22%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 7.7% | 15.8812 | 23384 | 371367.15 | 100 | 72 | 28 | 0.6 | 60 | 88 | 326803.092 | 44564.058 | 12%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 4.4% | 9.075 | 23384 | 212209.8 | 30 | 28.25 | 1.75 | 0.375 | 11.25 | 13 | 91957.58 | 120252.22 | 56.67%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 3% | 6.1875 | 23384 | 144688.5 | 30 | 30 | 0 | 0.5 | 15 | 15 | 72344.25 | 72344.25 | 50%
|  |  | SUBTOTAL SHELL | 29.5% | 60.8438 | 23384 | 1422770.25
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 23384 | 192918 | 60 | 60 | 0 | 0.7 | 42 | 42 | 135042.6 | 57875.4 | 30%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 23384 | 72344.25 | 20 | 14.4 | 5.6 | 0.5 | 10 | 15.6 | 56428.515 | 15915.735 | 22%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 23384 | 192918 | 20 | 0 | 20 | 0 | 0 | 20 | 192918 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 23384 | 72344.25 | 30 | 72 | 0 | 0.5 | 5 | 5 | 12057.375 | 60286.875 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 3.2% | 6.6 | 23384 | 154334.4 | 10 | 4.5 | 5.5 | 0.6 | 6 | 10 | 154334.4 | 0 | 0%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 23384 | 289377 | 20 | 20 | 0 | 0.44 | 8.8 | 8.8 | 127325.88 | 162051.12 | 56%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 23384 | 289377 | 30 | 30 | 0 | 0.65 | 19.5 | 19.5 | 188095.05 | 101281.95 | 35%
|  |  | SUBTOTAL INTERIORS | 26.2% | 54.0375 | 23384 | 1263612.9
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.75% | 1.5469 | 23384 | 36172.125 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 36172.125 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 23384 | 72344.25 | 60 | 0 | 60 | 0 | 0 | 60 | 72344.25 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 23384 | 62698.35 | 60 | 0 | 60 | 0 | 0 | 60 | 62698.35 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 23384 | 57875.4 | 60 | 0 | 60 | 0 | 0 | 60 | 57875.4 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 23384 | 24114.75 | 30 | 0 | 30 | 0 | 0 | 30 | 24114.75 | 0 | 0%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 23384 | 130219.65 | 60 | 72 | 0 | 0.25 | 5 | 5 | 10851.6375 | 119368.0125 | 91.67%
|  |  | D3020 - BOILERS | 2% | 4.125 | 23384 | 96459 | 60 | 72 | 0 | 0.25 | 5 | 5 | 8038.25 | 88420.75 | 91.67%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 23384 | 192918 | 40 | 0 | 40 | 0 | 0 | 40 | 192918 | 0 | 0%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 23384 | 192918 | 40 | 21.4375 | 18.5625 | 0 | 0 | 18.5625 | 89526.0094 | 103391.9906 | 53.59%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 23384 | 96459 | 40 | 0 | 40 | 0 | 0 | 40 | 96459 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 23384 | 72344.25 | 20 | 72 | 0 | 0.1 | 5 | 5 | 18086.0625 | 54258.1875 | 75%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 23384 | 48229.5 | 20 | 0 | 20 | 0 | 0 | 20 | 48229.5 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 23384 | 9645.9 | 20 | 0 | 20 | 0 | 0 | 20 | 9645.9 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 23384 | 62698.35 | 60 | 0 | 60 | 0 | 0 | 60 | 62698.35 | 0 | 0%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 23384 | 337606.5 | 30 | 11.5 | 18.5 | 0.75 | 22.5 | 30 | 337606.5 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 23384 | 144688.5 | 20 | 21.5 | 0 | 0.5 | 5 | 5 | 36172.125 | 108516.375 | 75%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 23384 | 14468.85 | 20 | 30 | 0 | 0.5 | 5 | 5 | 3617.2125 | 10851.6375 | 75%
|  |  | SUBTOTAL SERVICES | 34.25% | 70.6406 | 23384 | 1651860.375
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 23384
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 23384
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 23384
|  |  | E1090 - OTHER EQUIPMENT |  |  | 23384
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 23384
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 23384
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 23384
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 23384
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 23384
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 23384 | 48229.5 | 30 | 30 | 0 | 0.5 | 15 | 15 | 24114.75 | 24114.75 | 50%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 23384 | 24114.75 | 30 | 30 | 0 | 0.5 | 15 | 15 | 12057.375 | 12057.375 | 50%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 23384 | 24114.75 | 30 | 30 | 0 | 0.75 | 22.5 | 22.5 | 18086.0625 | 6028.6875 | 25%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 23384 | 24114.75 | 30 | 30 | 0 | 0.5 | 15 | 15 | 12057.375 | 12057.375 | 50%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 23384 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 23384
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 23384 | 4822950 | [7 empty] | 1442709.1291 | 29.91%
100%

## Master File (Interior)
Maple Avenue Annex
School Code:
NPS Code: | 80
Street: | 200 Lyons Ave.
City/Town: | Newark, NJ 07112
Database ID: | 38
Total size (gsf): | 23427
ROOM INFORMATION | [11 empty] | 60 | Ave Condition | 0.7 | [5 empty] | 20 | Ave Condition | 0.44 | [5 empty] | 4.5 | Ave Condition | 0.6 | [5 empty] | 30 | Ave Condition | 0.65 | [5 empty] | 14.4 | Ave Condition | 0.5 | [5 empty] | 60 | Ave Condition | 0.7 | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | 11.5 | Ave Condition | 0.75 | [5 empty] | 30 | Ave Condition | 0.5 | [5 empty] | 30 | Ave Condition | 0.3 | [6 empty] | 12.875 | Ave Condition | 0.5 | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 10 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [7 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Interior Door | [7 empty] | Partitions | [7 empty] | Plumbing Fixtures - Lavatories | [7 empty] | Plumbing Fixtures - Toilets | [7 empty] | Plumbing Fixtures - Urinals | [7 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [7 empty] | Toilet Partitions | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
12313 | UN-1 | Girls' Water Closet | Basement | A | Support |  |  | 193 | 7' 5" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [28 empty] | 2 | [7 empty] | 4
12314 | UN-2 | Custodial Closet | Basement | A | Support |  |  | 7 | 7' 5" | [8 empty] | Ceramic Tile | [15 empty] | Plaster
12315 | UN-4 | Boiler Room | Basement | A | Support |  |  | 534 | N/A | [8 empty] | Unfinished | [15 empty] | Plaster
12316 | UN-5 | Storage | Basement | A | Food Service/Assembly (K-8) |  |  | 129 | 10' 4" | [8 empty] | Ceramic Tile | [15 empty] | Acoustical Panel
12317 | UN-6 | Storage | Basement | A | Food Service/Assembly (K-8) |  |  | 193 | 10' 4" | [8 empty] | Ceramic Tile | [15 empty] | Acoustical Panel
12318 | UN-7 | Kitchen | Basement | A | Food Service/Assembly (K-8) |  |  | 480 | 10' 5" | [8 empty] | Ceramic Tile | [15 empty] | Specialty Ceilings (describe)
12319 | UN-8 | Cafeteria | Basement | A | Food Service/Assembly (K-8) |  |  | 1583 | 9' 7" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Acoustical Panel
12320 | UN-9 | Storage | Basement | A | Food Service/Assembly (K-8) |  |  | 61 | 10' 6" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Acoustical Panel
12321 | UN-10 | Office | Basement | A | Food Service/Assembly (K-8) |  |  | 163 | 10' 6" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12322 | UN-11 | Boys' Water Closet | Basement | A | Support |  |  | 97 | 10' 6" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [28 empty] | 2 | [7 empty] | 2 | [7 empty] | 2
12323 | UN-12 | Storage | Basement | A | Support |  |  | 17 | 10' 6" | [8 empty] | Ceramic Tile | [15 empty] | Plaster
12324 | UN-13 | Storage | Basement | A | Support |  |  | 98 | 8' 8" | [8 empty] | Unfinished | [15 empty] | Plaster
12325 | UN-14 | Water Closet | Basement | A | Support |  |  | 23 | 7' 10" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [28 empty] | 1 | [7 empty] | 1 | [7 empty] | 1
12326 | UN-15 | Water Closet | Basement | A | Support |  |  | 26 | 7' 11" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [28 empty] | 1 | [7 empty] | 1
12327 | UN-16 | Storage | Basement | A | Support |  |  | 114 | 10' 5" | [8 empty] | Unfinished | [15 empty] | Plaster
12328 | UN-17 | Girls' Water Closet | Basement | A | Support |  |  | 113 | 10' 6" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [28 empty] | 2 | [7 empty] | 3
12329 | UN-18 | Custodial Closet | Basement | A | Support |  |  | 10 | 10' 6" | [8 empty] | Ceramic Tile | [15 empty] | Plaster
12330 | 101 | Teacher\'s Room | 1st Floor | A | Faculty Support |  |  | 432 | 10' 2 | Plaster on Metal Lath | 60+ | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 41004 | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 41228 | 13 | Fair | 0.5 |  |  |  | Concrete Block | 60+ | 60 | Good | 0.75 | [51 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Poor | 0.25 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 1 | [72 empty] | Present
12331 | 102 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 432 | 10' 2" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12332 | 103 | Art Room | 1st Floor | A | Visual & Performing Arts |  |  | 432 | 10' 2" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 41004 | 4.5 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ | 60 | Good | 0.75 | [51 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Poor | 0.25 |  |  |  | Window Mounted | 16 | 21 | 18.5 | Poor | 0.25 | [18 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 CPU | [106 empty] | Present - Present
12333 | 104 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 456 | 10' 2" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12334 | 105 | SGI Language Literacy | 1st Floor | A | Small Group Instruction |  |  | 406 | 10' 2" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Good | 0.75 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ | 20 | Very Poor | 0.1 | 0 |  |  | Painted Walls | 41004 | 4.5 | Good | 0.75 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 41228 | 13 | Fair | 0.5 | 0 |  |  | Concrete Block | 60+ | 60 | Good | 0.75 | 0 | [50 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Poor | 0.25 | 0 |  |  | Window Mounted | 22 | 30 | 26 | Poor | 0.25 | [17 empty] | 0 | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 1 | [89 empty] | 0 | Present - Present - Present
12335 | 106 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 428 | 10' 2" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12336 | 107 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 426 | 10' 2" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12337 | 108 | Library | 1st Floor | A | Media Center |  |  | 426 | 10' 2" | Plaster on Metal Lath | 60+ | 60 | Good | 0.75 |  |  |  | Carpet | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41004 | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 41228 | 13 | Fair | 0.5 |  |  |  | Concrete Block | 60+ | 60 | Good | 0.75 | [51 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Poor | 0.25 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 | [18 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | [41 empty] | 3 | [72 empty] | Present - Present - Present - Present
12338 | 300 | Pre-Kindergarten Classroom | 1st Floor | A | Pre-Kindergarten Classroom |  |  | 229 | 9' 9" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Acoustical Panel
12339 | 301 | Pre-Kindergarten Classroom | 1st Floor | A | Pre-Kindergarten Classroom |  |  | 491 | 9' 9" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Acoustical Panel
12340 | 301A | CST/Guidance | 1st Floor | A | Administration |  |  | 142 | 9' 7" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Acoustical Panel
12341 | 302 | Teacher Parents Room | 1st Floor | A | Faculty Support |  |  | 502 | 9' 7 | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Acoustical Panel
12342 | 303 | Pre-Kindergarten Classroom | 1st Floor | A | Pre-Kindergarten Classroom |  |  | 586 | 9' 7" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Acoustical Panel
12343 | 303-1/2 | Speech Room | 1st Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 204 | 9' 7" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Acoustical Panel
12344 | 305 | Small Group Instruction | 1st Floor | A | Small Group Instruction |  |  | 202 | 9' 7" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Acoustical Panel
12345 | UN-19 | Main Office | 1st Floor | A | Administration |  |  | 152 | 10' 2" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 41004 | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 41228 | 13 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Wood Stud Framing | 60+ | 60 | Fair | 0.5 | [51 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 | [18 empty] | Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present | Headend paging
12346 | UN-20 | Vice Principal | 1st Floor | A | Administration |  |  | 215 | 10' 2" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12347 | UN-21 | Storage | 1st Floor | A | Administration |  |  | 22 | 10' 2 | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12348 | UN-22 | Boys' Water Closet | 1st Floor | A | Support |  |  | 179 | 7' 7" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [28 empty] | 2 | [7 empty] | 4 | [7 empty] | 4
12349 | UN-23 | Boys' Water Closet | 1st Floor | A | Support |  |  | 87 | 7' 11" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster | [28 empty] | 2 | [7 empty] | 2 | [7 empty] | 2
12350 | UN-24 | Girls' Water Closet | 1st Floor | A | Support |  |  | 85 | 7' 11" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster | [28 empty] | 2 | [7 empty] | 2
12351 | UN-25 | Custodial Closet | 1st Floor | A | Support |  |  | 65 | 7' 11" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12352 | UN-26 | Storage | 1st Floor | A | Small Group Instruction |  |  | 15 | 9' 7" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12353 | UN-27 | Storage | 1st Floor | A | Administration |  |  | 12 | 9' 7 | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12354 | UN-28 | Storage | 1st Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 11 | 9' 7" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12355 | UN-29 | Storage | 1st Floor | A | Faculty Support |  |  | 22 | 9' 7" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12356 | 201 | Instructional Resource Room | 2nd Floor | A | Administration |  |  | 432 | 10' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12357 | 202 | 1st Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 432 | 10' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12358 | 203 | Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 432 | 10' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12359 | 204 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 456 | 10' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12360 | 206 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 471 | 9' 11" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12361 | 207 | 1st Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 596 | 9' 11" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12362 | 208 | 1st Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 617 | 9' 11" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12363 | 209 | Computer Lab | 2nd Floor | A | Technological Literacy |  |  | 397 | 9' 11" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12364 | UN-30 | Custodial Storage | 2nd Floor | A | Support |  |  | 368 | 9' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12365 | UN-31 | Staff Water Closet | 2nd Floor | A | Faculty Support |  |  | 21 | 7' 8" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster | [28 empty] | 1 | [7 empty] | 1
12366 | UN-32 | Teacher's Room | 2nd Floor | A | Faculty Support |  |  | 224 | 7' 8" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12367 | UN-33 | Nurse | 2nd Floor | A | Health Services |  |  | 186 | 8' 4" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Acoustical Panel
12368 | UN-34 | Water Closet | 2nd Floor | A | Health Services |  |  | 10 | 8' 4" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster | [28 empty] | 1 | [7 empty] | 1
12369 | UN-35 | IT/Storage | 2nd Floor | A | Support |  |  | 108 | 9' 11" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
12370 | UN-36 | Storage | 2nd Floor | A | Support |  |  | 17 | 9' 11" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster

## Master File (Systems)
Systems | Question | Value1 |  | Average1
Systems | Seg ID | 1653
| Bldg.Phase | A
| Original | 1
| Addition | 0
| Year Built | 1940
Domestic Water Heaters | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Sanitary Drainage | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Building Support (other) Plumbing Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fuel Piping | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fuel Pumps | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fuel Storage Tanks | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fuel Fired Boilers | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Furnaces | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Unit Ventilators | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fan Coil Units | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Water Chillers | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Cooling Towers | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Packaged Terminal Air Conditioner | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Hydronic Piping System | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Pumps | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Steam Piping System | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
HVAC Air Distribution | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Air Handling Units | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
HVAC Fans | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire/Suppression (Sprinklers), Water/Based | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire/Suppression (Standpipes), Water/Based | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation, Packaged Generator Assemblies | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Voice Communication Terminal Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | Main office
| Description | Public Address and Mass Notification Systems
| Age | 40+ |  | 40
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | Ent 1
| Description | Analog Video Recording Devices
| Age | 21 | 30 | 25.5
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | Main office
| Description | Fire Alarm Annunciation Panels
| Age | 41233 |  | 10.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Exterior | Question | Value1 | Average1
Exterior | Seg ID | 2063 |  |  | SiteElements | Seg ID | 468
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1940 |  |  |  | Year Built | 1940
(Foundation) Walls for Subgrade Enclosures, Primary | Location | typical |  |  | Roadways | Location
| Description | Concrete, Cast/In/Place |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location |  |  |  | Parking Lots | Location | s/1
| Description |  |  |  |  | Description | Asphalt (Bituminous)
| Age |  |  |  |  | Age | 30+ | 30
| Condition |  |  |  |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | entry pavement needs repair
Standard Slabs On Grade, Primary | Location | typical |  |  | Pedestrian Plazas and Walkways, Primary | Location | s/7
| Description | Concrete, Cast/In/Place |  |  |  | Description | Concrete, CIP
| Age | 60+ |  | 60 |  | Age | 30+ | 30
| Condition | Fair |  | 0.5 |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Secondary | Location |  |  |  | Pedestrian Plazas and Walkways, Secondary | Location | s/3
| Description |  |  |  |  | Description | Concrete, CIP
| Age |  |  |  |  | Age | 30+ | 30
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Primary | Location | typical |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, CIP Beams and Slab |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Secondary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Primary | Location | typical |  |  | Site Lighting, Primary | Location | typical
| Description | Concrete, CIP |  |  |  | Description | Pole Mounted H.I.D.
| Age | 60+ |  | 60 |  | Age | 41136 | 11.5
| Condition | Fair |  | 0.5 |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location |  |  |  | Site Lighting, Secondary | Location | typical
| Description |  |  |  |  | Description | Building Mounted H.I.D.
| Age |  |  |  |  | Age | 41136 | 11.5
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Primary | Location | typical |  |  | Playground Surface | Location | s/1
| Description | Brick, Solid (Mass) |  |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 |  | Age | 30+ | 30
| Condition | Fair |  | 0.5 |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location |  |  |  | Playground Equipment | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary | Location | typical |  |  | TCUs | Location
| Description | Aluminum, Double Hung |  |  |  | Description
| Age | 16 | 21 | 18.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location | typical
| Description | Aluminum, Awning/Hopper
| Age | 16 | 21 | 18.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
| Description | Other (describe)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | polycarbonate
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | typical
| Description | Glazed Door(s), Steel or Alum.
| Age | 31 | 45 | 38
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | plastic glazing
Exterior Doors, Secondary | Location | typical
| Description | Wood
| Age | 60+ |  | 60
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | roof
| Description | Aluminum
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes