## FCI Summary
Building Name: | Newark Innovation Academy | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 73346
Number of Floors: | 2
School Age (years): | 28
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 22.07%
Facility Condition = | FAIR
FCI Deficiency Cost = | 3338043.9161
FCI Replacement Cost = | 15127612.5
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 181
Historic 2005 LRFP Capacity = | 331
Adjusted 2012 Capacity = | 409
Recent Occupancy % = | 44.25%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 87.8%
Classroom Adequacy = | GOOD
Special Spaces Adequacy % Score = | 76.1%
Special Spaces Adequacy = | FAIR

## Uniformat FCI
Building Name: |  | Newark Innovation Academy | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 73346
Largest Floor Level Area: |  | 40017
Vertical FAR Ratio: |  | 1.8329
School Age (years): |  | 28
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 3.5% | 7.2188 | 73346 | 529466.4375 | 60 | 28 | 32 | 0.5 | 30 | 60 | 529466.4375 | 0 | 0%
|  |  | A1030 - SLAB ON GRADE | 3.8% | 7.8375 | 73346 | 574849.275 | 60 | 28 | 32 | 0.75 | 45 | 60 | 574849.275 | 0 | 0%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 73346 | 332807.475 | 60 | 28 | 32 | 0.5 | 30 | 60 | 332807.475 | 0 | 0%
|  |  | SUBTOTAL SUBSTRUCTURE | 9.5% | 19.5938 | 73346 | 1437123.1875
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 73346 | 1664037.375 | 60 | 28 | 32 | 0.25 | 15 | 47 | 1303495.9438 | 360541.4312 | 21.67%
|  |  | B1020 - ROOF CONSTRUCTION | 4.4% | 9.075 | 73346 | 665614.95 | 60 | 28 | 32 | 0.25 | 15 | 47 | 521398.3775 | 144216.5725 | 21.67%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 5.8% | 11.9625 | 73346 | 877401.525 | 60 | 30.75 | 29.25 | 0.175 | 10.5 | 39.75 | 581278.5103 | 296123.0147 | 33.75%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 3.3% | 6.8063 | 73346 | 499211.2125 | 30 | 28 | 2 | 0.1 | 3 | 5 | 83201.8687 | 416009.3438 | 83.33%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 4% | 8.25 | 73346 | 605104.5 | 30 | 11 | 19 | 0.41667 | 12.5 | 30 | 605104.5 | 0 | 0%
|  |  | SUBTOTAL SHELL | 28.5% | 58.7812 | 73346 | 4311369.5625
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 73346 | 605104.5 | 60 | 28 | 32 | 0.5 | 30 | 60 | 605104.5 | 0 | 0%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 73346 | 226914.1875 | 20 | 20.7273 | 0 | 0.54545 | 5 | 5 | 56728.5469 | 170185.6406 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 73346 | 605104.5 | 20 | 7.5 | 12.5 | 0.75 | 15 | 20 | 605104.5 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 73346 | 226914.1875 | 30 | 28 | 2 | 0.5 | 15 | 17 | 128584.7063 | 98329.4812 | 43.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 2.5% | 5.1562 | 73346 | 378190.3125 | 10 | 7.6806 | 2.3194 | 0.61111 | 6.1111 | 8.4306 | 318835.444 | 59354.8685 | 15.69%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 73346 | 907656.75 | 20 | 17.9189 | 2.0811 | 0.52027 | 10.4054 | 12.4865 | 566672.1872 | 340984.5628 | 37.57%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 73346 | 907656.75 | 30 | 23.2059 | 6.7941 | 0.45882 | 13.7647 | 20.5588 | 622011.8316 | 285644.9184 | 31.47%
|  |  | SUBTOTAL INTERIORS | 25.5% | 52.5938 | 73346 | 3857541.1875
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.5% | 1.0312 | 73346 | 75638.0625 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 75638.0625 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 73346 | 226914.1875 | 60 | 22.7707 | 37.2293 | 0.55693 | 33.4159 | 60 | 226914.1875 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 73346 | 196658.9625 | 60 | 11.5 | 48.5 | 0.75 | 45 | 60 | 196658.9625 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 73346 | 181531.35 | 60 | 38 | 22 | 0.5 | 30 | 52 | 157327.17 | 24204.18 | 13.33%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 73346 | 75638.0625 | 30 | 28 | 2 | 0.5 | 15 | 17 | 42861.5687 | 32776.4938 | 43.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 73346 | 408445.5375 | 60 | 28 | 32 | 0.3125 | 18.75 | 50.75 | 345476.8505 | 62968.687 | 15.42%
|  |  | D3020 - BOILERS | 2% | 4.125 | 73346 | 302552.25 | 60 | 7.5 | 52.5 | 0.625 | 37.5 | 60 | 302552.25 | 0 | 0%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 73346 | 605104.5 | 40 | 26.625 | 13.375 | 0.3125 | 12.5 | 25.875 | 391426.9734 | 213677.5266 | 35.31%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 73346 | 605104.5 | 40 | 28 | 12 | 0.175 | 7 | 19 | 287424.6375 | 317679.8625 | 52.5%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 73346 | 302552.25 | 40 | 0 | 40 | 0 | 0 | 40 | 302552.25 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 73346 | 226914.1875 | 20 | 28 | 0 | 0.5 | 5 | 5 | 56728.5469 | 170185.6406 | 75%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 73346 | 151276.125 | 20 | 0 | 20 | 0 | 0 | 20 | 151276.125 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 73346 | 30255.225 | 20 | 6.7 | 13.3 | 0.7 | 14 | 20 | 30255.225 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 73346 | 196658.9625 | 60 | 28 | 32 | 0.25 | 15 | 47 | 154049.5206 | 42609.4419 | 21.67%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 73346 | 1058932.875 | 30 | 6.0167 | 23.9833 | 0.7 | 21 | 30 | 1058932.875 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 73346 | 453828.375 | 20 | 10.5 | 9.5 | 0.6254 | 12.5079 | 20 | 453828.375 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 73346 | 45382.8375 | 20 | 26.5 | 0 | 0.50446 | 5 | 5 | 11345.7094 | 34037.1281 | 75%
|  |  | SUBTOTAL SERVICES | 34% | 70.125 | 73346 | 5143388.25
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 73346
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 73346
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 73346
|  |  | E1090 - OTHER EQUIPMENT |  |  | 73346
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 73346
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 73346
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 73346
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 73346
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 73346
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 73346 | 151276.125 | 30 | 18.5 | 11.5 | 0.1 | 3 | 14.5 | 73116.7937 | 78159.3313 | 51.67%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 73346 | 75638.0625 | 30 | 28 | 2 | 0.25 | 7.5 | 9.5 | 23952.0531 | 51686.0094 | 68.33%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 73346 | 75638.0625 | 30 | 28 | 2 | 0.1 | 3 | 5 | 12606.3438 | 63031.7188 | 83.33%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 73346 | 75638.0625 | 30 | 0 | 30 | 0.1 | 3 | 30 | 75638.0625 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 73346 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 73346
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 73346 | 15127612.5 | [7 empty] | 3338043.9161 | 22.07%
100%
Note on J20: Weston, Ronald: No windows in instrcutional spaces
Note on J42: Tessier, Matthew: No Survey Data
Note on J61: Tessier, Matthew: No Survey Data

## Master File (Interior)
Newark Innovation Academy
School Code: | 465
NPS Code:
Street: | 190 Muhammad Ali Blvd.
City/Town: | Newark, NJ 07108
Database ID: | 10
Total size (gsf): | 73347
ROOM INFORMATION | [12 empty] | 33.5 | Ave Condition | 0.25 | [6 empty] | 17.9189 | Ave Condition | 0.52027 | [6 empty] | 7.6806 | Ave Condition | 0.61111 | [6 empty] | 23.2059 | Ave Condition | 0.45882 | [6 empty] | 20.7273 | Ave Condition | 0.54545 | [6 empty] | 35.9857 | Ave Condition | 0.5 | [6 empty] | 19.1364 | Ave Condition | 0.59091 | [5 empty] | 23.0625 | Ave Condition | 0.59375 | [6 empty] | 23.25 | Ave Condition | 0.6 | [6 empty] | 26.5714 | Ave Condition | 0.5 | [6 empty] | 21.8333 | Ave Condition | 0.5 | [6 empty] | 7.5 | Ave Condition | 0.75 | [6 empty] | 11.05 | Ave Condition | 0.7 | [5 empty] | 30 | Ave Condition | 0.50893 | [6 empty] | 29.0862 | Ave Condition | 0.25 | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [6 empty] | 6.7 | Ave Condition | 0.7 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 10 | Ave Condition | 0.52778 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [7 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Package Terminal Air Conditioner | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
9255 | 100 | Classroom | 1st Floor | A | General Classroom |  |  | 838 | 9' 6" | Other (describe) | 31 | 45 | 38 | Poor | 0.25 | 0 |  | N/a | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 | 0 |  | Stains | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 31 | 45 | 38 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ |  | 30 | Poor | 0.25 | 0 |  | Fan coil with ac | [24 empty] | Present | [8 empty] | Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 5 |  | Desktops | [70 empty] | Present
9256 | 101 | Classroom | 1st Floor | A | General Classroom |  |  | 806 | 9' 6" | Other (describe) | 31 | 45 | 38 | Poor | 0.25 | 0 |  | N/a | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 | 0 |  | Stains | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 31 | 45 | 38 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ |  | 30 | Poor | 0.25 | 0 |  | Fan coil with ac | [24 empty] | Present - Present | [8 empty] | Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 4 |  | Desktops | [70 empty] | Present - Present
9257 | 101 | Main Office | 1st Floor | A | Administration |  |  | 561 | 8' 0" | Other (describe) | 31 | 45 | 38 | Poor | 0.25 |  |  | Precast concrete | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 46 | 60 | 53 | Fair | 0.5 | 0 |  | Damage at entrance | [53 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Ventilators | 30+ |  | 30 | Poor | 0.25 | 0 |  | Fan coil with ac | [23 empty] | 0 | Present - Present - Present | [7 empty] | 0 | Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 2 pc | [105 empty] | 0 | Present - Present - Present
9258 | 102 | Classroom | 1st Floor | A | General Classroom |  |  | 1006 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9259 | 103 | Classroom | 1st Floor | A | General Classroom |  |  | 882 | 9' 6" | Other (describe) | 31 | 45 | 38 | Poor | 0.25 | 0 |  | Precast concrete | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 | 0 |  | Stains | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | In-Counter Lavatories | 30+ |  | 30 | Fair | 0.5 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Central hvac ceiling fdiffusers | [24 empty] | Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 5 |  | Desktops | [70 empty] | Present - Present - Present - Present
9260 | 104 | Classroom | 1st Floor | A | General Classroom |  |  | 817 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9261 | 105 | Classroom | 1st Floor | A | General Classroom |  |  | 1181 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9262 | 106 | Classroom | 1st Floor | A | General Classroom |  |  | 829 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9263 | 107 | Classroom | 1st Floor | A | General Classroom |  |  | 738 | 9' 6" | Other (describe) | 31 | 45 | 38 | Poor | 0.25 | 0 |  | Precast concrete | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 | 0 |  | Stains | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 31 | 45 | 38 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Central hvac ceiling fdiffusers | [24 empty] | Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 20 |  | Desktops | [70 empty] | Present - Present - Present - Present - Present
9264 | 108 | Classroom | 1st Floor | A | General Classroom |  |  | 826 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9265 | 109 | Classroom | 1st Floor | A | General Classroom |  |  | 830 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9266 | 110 | Classroom | 1st Floor | A | General Classroom |  |  | 534 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9267 | 111 | Classroom | 1st Floor | A | General Classroom |  |  | 528 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9268 | 112 | Classroom | 1st Floor | A | General Classroom |  |  | 657 | 9' 3" | [8 empty] | N/a | Vinyl Composition Tile (VCT) | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 31 | 45 | 38 | Fair | 0.5 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Ceiling diffusers, central ac | [24 empty] | Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75 | [36 empty] | 4 |  | Desktops | [70 empty] | Present - Present - Present - Present - Present - Present
9269 | 113 | Classroom | 1st Floor | A | General Classroom |  |  | 1370 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9270 | 116 | Waiting Room | 1st Floor | A | Health Services |  |  | 133 | 8' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9271 | 117 | Conference Room | 1st Floor | A | Administration |  |  | 196 | 8' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9272 | 138 | Elevator Machine Room | 1st Floor | A | Support |  |  | 38 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9273 | UN-1 | Storage | 1st Floor | A | Administration |  |  | 61 | 8' 0" | Other (describe) | 31 | 45 | 38 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Fair | 0.5 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Ventilators | 30+ |  | 30 | Fair | 0.5 | 0 |  | Fan coil with ac | [23 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [7 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75 | 0 |  | 1 pc | [105 empty] | 0
9274 | UN-2 | Storage | 1st Floor | A | Administration |  |  | 14 | 8' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9275 | UN-3 | Storage | 1st Floor | A | Administration |  |  | 30 | 8' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9276 | UN-4 | Storage | 1st Floor | A | Administration |  |  | 162 | 8' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9277 | UN-5 | Water Closet | 1st Floor | A | Administration |  |  | 31 | 8' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9278 | UN-6 | Nurse | 1st Floor | A | Health Services |  |  | 456 | 8' 11" | Other (describe) | 31 | 45 | 38 | Poor | 0.25 |  |  | Precast Concrete | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | In-Counter Lavatories | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Wall Hung Flush Valve | 30+ | 30 | Fair | 0.5 | [39 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Ventilators | 30+ |  | 30 | Fair | 0.5 | 0 |  | Fan coil with ac | [23 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [7 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 1 pc | [105 empty] | 0 | Present - Present - Present - Present - Present - Present - Present
9279 | UN-7 | Storage | 1st Floor | A | Health Services |  |  | 26 | 8' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9280 | UN-8 | Men's Water Closet | 1st Floor | A | Faculty Support |  |  | 21 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9281 | UN-9 | Storage | 1st Floor | A | Support |  |  | 331 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9282 | UN-10 | Women's Water Closet | 1st Floor | A | Faculty Support |  |  | 24 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9283 | UN-11 | Boys\' Water Closet | 1st Floor | A | Support |  |  | 208 | 9' 0" | [9 empty] | Epoxy | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Very Poor | 0.1 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 3 |  |  | Wall Hung Flush Valve | 30+ | 30 | Fair | 0.5 | 2 |  |  | Wall Hung | 30+ |  | 30 | Fair | 0.5 | 2 | [20 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Toilet exahust | [33 empty] | Present - Present - Present - Present - Present - Present - Present
9284 | UN-12 | N/A | 1st Floor | A | N/A |  |  | 169 | N/A
9285 | UN-13 | Office | 1st Floor | A | Support |  |  | 145 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9286 | UN-14 | N/A | 1st Floor | A | N/A |  |  | 733 | N/A
9287 | UN-15 | Stage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 931 | 9' 0" | [9 empty] | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Unfinished Ceiling | 30+ |  | 30 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | [58 empty] | Incandescent Pendant Mount Fixture | 30+ |  | 30 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Centrall ac with ceiling diffusers | [33 empty] | Present - Present - Present - Present - Present - Present - Present
9288 | UN-16 | Dressing Room | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 38 | N/A
9289 | UN-17 | Storage | 1st Floor | A | Support |  |  | 25 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9290 | UN-18 | Girls' Water Closet | 1st Floor | A | Support |  |  | 179 | 9' 0" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 3 | [7 empty] | 3 | [8 empty] | 0
9291 | UN-19 | Cafeteria | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 3210 | 9' 0" | Other (describe) | 31 | 45 | 38 | Poor | 0.25 |  |  | Per cast exposed concrete | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 |  |  | Painted | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | Stainless Steel Sinks | 30+ |  | 30 | Fair | 0.5 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Central lhvac with ceiling diffusers | [8 empty] | Dry Chemical | 41136 |  | 11.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [124 empty] | Present - Present - Present - Present - Present - Present - Present | [26 empty] | Present
9292 | UN-20 | Kitchen | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 1144 | 9' 0" | Other (describe) | 31 | 45 | 38 | Fair | 0.5 |  |  | Precast concrete | Ceramic Tile | 20+ |  | 20 | Poor | 0.25 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Fair | 0.5 |  |  | Wainscot | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 |  |  | Concealed spline | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Central hvac with ceiling diffusers | [8 empty] | Dry Chemical | 41136 |  | 11.5 | Good | 0.75 |  |  | Ansul system | [7 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [124 empty] | Present - Present - Present - Present - Present - Present - Present | [26 empty] | Present - Present | [8 empty] | Present
9293 | UN-21 | Locker Room | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 61 | N/A
9294 | UN-22 | Water Closet | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 23 | N/A
9295 | UN-23 | Storage | 1st Floor | A | Support |  |  | 738 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9296 | UN-24 | Mechanical Room | 1st Floor | A | Support |  |  | 1013 | 13' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9297 | UN-25 | Women's Locker Room | 1st Floor | A | Support |  |  | 64 | N/A
9298 | UN-26 | Water Closet | 1st Floor | A | Support |  |  | 48 | N/A
9299 | UN-27 | Men's Locker Room | 1st Floor | A | Support |  |  | 64 | N/A
9300 | UN-28 | Water Closet | 1st Floor | A | Support |  |  | 48 | N/A
9301 | UN-29 | Generator Room | 1st Floor | A | Support |  |  | 336 | N/A
9302 | UN-30 | Boiler Room | 1st Floor | A | Support |  |  | 36 | 13' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9303 | UN-31 | Storage | 1st Floor | A | Support |  |  | 74 | 9' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9304 | UN-32 | Storage | 1st Floor | A | Support |  |  | 24 | 9' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9305 | UN-33 | Storage | 1st Floor | A | Support |  |  | 84 | N/A
9306 | UN-34 | Storage | 1st Floor | A | Support |  |  | 59 | 9' 3" | [9 empty] | Vinyl Composition Tile (VCT) | 0 | 5 | 2.5 | Good | 0.75 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | 0 | [55 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Good | 0.75 | 0 |  | Ceiling diffusers, central ac | [23 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [7 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 1 pc | [105 empty] | 0 | Present - Present - Present - Present - Present - Present - Present
9307 | UN-35 | Boys' Water Closet | 1st Floor | A | Support |  |  | 152 | 9' 0" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 3 | [7 empty] | 2 | [8 empty] | 3
9308 | UN-36 | Girls' Water Closet | 1st Floor | A | Support |  |  | 163 | 9' 0" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 3 | [7 empty] | 3 | [8 empty] | 0
9309 | UN-37 | Gymnasium | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 6698 | 27' 10" | Other (describe) | 31 | 45 | 38 | Good | 0.75 |  |  | Precast concrete | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Unfinished Ceiling | 30+ |  | 30 | Fair | 0.5 |  |  | Exposed structure | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Fair | 0.5 | [56 empty] | HID Vapor Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Hvac supplied by 2 air handing units | [8 empty] | Dry Chemical | 0 | 7 | 3.5 | Fair | 0.5 | [10 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [124 empty] | Present - Present - Present - Present - Present - Present - Present
9310 | UN-38 | Storage | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 177 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9311 | UN-39 | Office | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 99 | 9' 0" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel
9312 | UN-40 | Water Closet | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 39 | N/A
9313 | UN-41 | Boy\'s Locker Room | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 218 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 31 | 45 | 38 | Fair | 0.5 | [38 empty] | Full Recessed China Drinking Fountains | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | HVAC ceiling diffusers | [24 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present
9314 | UN-42 | Water Closet | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 57 | N/A | [9 empty] | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 | 0 | [11 empty] | Concrete Block | 31 | 45 | 38 | Good | 0.75 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wall Hung Flush Valve | 30+ | 30 | Fair | 0.5 |  |  |  | Wall Hung | 30+ |  | 30 | Good | 0.75 | [21 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 | 0 |  |  | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Fair | 0.5 | 0 | [10 empty] | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Toilet exhaust grill | [23 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [7 empty] | 0 | Present - Present - Present - Present - Present - Present - Present
9315 | UN-43 | Shower Room | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 66 | N/A | [9 empty] | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Concrete Block | 31 | 45 | 38 | Fair | 0.5 | [29 empty] | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Community showers | [18 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | [11 empty] | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Exhaust grill | [24 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present
9316 | UN-44 | Storage | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 50 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9317 | UN-45 | Girls' Locker Room | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 258 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9318 | UN-46 | Storage | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 72 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9319 | UN-47 | Shower Room | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 76 | N/A
9320 | UN-48 | Water Closet | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 70 | N/A
9321 | UN-49 | Office | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 82 | N/A
9322 | UN-50 | Water Closet | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 59 | N/A
9323 | UN-51 | Storage | 1st Floor | A | General Classroom |  |  | 140 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9324 | UN-52 | Storage | 1st Floor | A | General Classroom |  |  | 196 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9325 | UN-53 | Storage | 1st Floor | A | General Classroom |  |  | 30 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9326 | 200 | Resource Teacher Coordinator | 2nd Floor | A | Administration |  |  | 820 | 9' 9" | [6 empty] | 0 |  | N/a | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Fan coil | [23 empty] | 0 | Present | [7 empty] | 0 | Present | [123 empty] | 0 | Present
9327 | 200A | Science Lab | 2nd Floor | A | Science (6-12) |  |  | 1560 | N/A | Other (describe) | 31 | 45 | 38 | Fair | 0.5 | 0 |  | Precast concrete, large gap between floor and wall | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  | Stains | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | 0 | [55 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ |  | 30 | Fair | 0.5 | 0 |  | Fan coil | [24 empty] | Present - Present | [8 empty] | Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [63 empty] | Present | [17 empty] | Present | [26 empty] | Present - Present
9328 | 201 | Math Trainer | 2nd Floor | A | Administration |  |  | 824 | 9' 9" | [6 empty] | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Ventilators | 30+ |  | 30 | Poor | 0.25 | 0 |  | Fan coil and ceiling diffusers | [23 empty] | 0 | Present - Present - Present | [7 empty] | 0 | Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 1 pc | [105 empty] | 0 | Present - Present - Present
9329 | 202 | Literary Coach | 2nd Floor | A | Administration |  |  | 817 | 9' 9" | [6 empty] | 0 |  | N/a | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | [56 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Ventilators | 30+ |  | 30 | Poor | 0.25 | 0 |  | Fan coil with ceiling diffusers | [23 empty] | 0 | Present - Present - Present - Present | [7 empty] | 0 | Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 1 pc | [105 empty] | 0 | Present - Present - Present - Present
9330 | 203 | Classroom | 2nd Floor | A | General Classroom |  |  | 801 | 9' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9331 | 204 | Classroom | 2nd Floor | A | General Classroom |  |  | 829 | 9' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9332 | 205 | Classroom | 2nd Floor | A | General Classroom |  |  | 736 | N/A
9333 | 206 | Classroom | 2nd Floor | A | General Classroom |  |  | 826 | 9' 9" | Other (describe) | 31 | 45 | 38 | Fair | 0.5 | 0 |  | N/a | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 | 0 |  | Stains | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | 0 | [55 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ |  | 30 | Fair | 0.5 | 0 |  | Fan coil and ceiling diffusers | [24 empty] | Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 2 |  | Desktops | [70 empty] | Present - Present - Present - Present - Present
9334 | 207 | Classroom | 2nd Floor | A | General Classroom |  |  | 830 | 9' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9335 | 208 | Classroom | 2nd Floor | A | General Classroom |  |  | 804 | 9' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9336 | 209 | Classroom | 2nd Floor | A | General Classroom |  |  | 609 | 9' 9" | Other (describe) | 31 | 45 | 38 | Fair | 0.5 | 0 |  | Precast concrete | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  | Stains | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | 0 | [55 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ |  | 30 | Fair | 0.5 | 0 |  | Fan coil with ceiling diffusers | [24 empty] | Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 1 |  | Desktop | [70 empty] | Present - Present - Present - Present - Present - Present
9337 | 209A | Storage | 2nd Floor | A | Support |  |  | 692 | 13' 11"
9338 | 210 | Classroom | 2nd Floor | A | General Classroom |  |  | 830 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9339 | 211 | Classroom | 2nd Floor | A | General Classroom |  |  | 826 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9340 | 212 | Classroom | 2nd Floor | A | General Classroom |  |  | 829 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9341 | 213 | Classroom | 2nd Floor | A | General Classroom |  |  | 817 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9342 | 214 | Classroom | 2nd Floor | A | General Classroom |  |  | 824 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9343 | 216 | East/Central Region Office | 2nd Floor | A | Administration |  |  | 1754 | N/A | Other (describe) | 31 | 45 | 38 | Good | 0.75 |  |  | Precast concrete with drywall | Vinyl Composition Tile (VCT) | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | Central hvac with ceiling diffusers | [24 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 14 pcs | [106 empty] | Present - Present - Present - Present - Present - Present - Present
9344 | 217 | Community Room | 2nd Floor | A | Administration |  |  | 2282 | N/A | Other (describe) | 31 | 45 | 38 | Fair | 0.5 |  |  | precast concrete | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Fair | 0.5 |  |  |  | In-Counter Lavatories | 41136 |  | 11.5 | Fair | 0.5 | 1 | [46 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Supply air diffusers | [8 empty] | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present - Present
9345 | 221 | Audio Visual Room | 2nd Floor | A | Media Center |  |  | 177 | N/A | [9 empty] | Carpet | [17 empty] | Acoustical Panel
9346 | 222 | Prep Room | 2nd Floor | A | Media Center |  |  | 192 | N/A | [9 empty] | Carpet | [17 empty] | Acoustical Panel
9347 | 223 | Librarian Office | 2nd Floor | A | Media Center |  |  | 176 | N/A | [9 empty] | Carpet | [17 empty] | Acoustical Panel
9348 | 225 | Mechanical Room | 2nd Floor | A | Support |  |  | 1557 | N/A | Other (describe) | 31 | 45 | 38 | Fair | 0.5 |  |  | precast concrete | Other (describe) | 20+ |  | 20 | Poor | 0.25 |  |  | painted concrete | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Unfinished Ceiling | 30+ |  | 30 | Fair | 0.5 |  |  | Exposed metal decking | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Fair | 0.5 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [20 empty] | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present
9349 | UN-54 | Storage | 2nd Floor | A | Support |  |  | 623 | 9' 0" | [9 empty] | Epoxy | [17 empty] | Acoustical Panel
9350 | UN-55 | Men's Water Closet | 2nd Floor | A | Support |  |  | 120 | 9' 0" | [9 empty] | Epoxy | [17 empty] | Acoustical Panel
9351 | UN-56 | Custodial Closet | 2nd Floor | A | Support |  |  | 13 | 9' 0" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel
9352 | UN-57 | Women's Water Closet | 2nd Floor | A | Support |  |  | 111 | 9' 0" | [9 empty] | Epoxy | [17 empty] | Acoustical Panel
9353 | UN-58 | Men's Water Closet | 2nd Floor | A | Faculty Support |  |  | 21 | 8' 1" | [9 empty] | Epoxy | [17 empty] | Acoustical Panel
9354 | UN-59 | Book Storage | 2nd Floor | A | Support |  |  | 323 | 8' 1" | [9 empty] | Carpet | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | In-Counter Lavatories | 30+ |  | 30 | Fair | 0.5 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Ventilators | 30+ |  | 30 | Fair | 0.5 |  |  | Fan coil | [24 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present - Present
9355 | UN-60 | Women's Water Closet | 2nd Floor | A | Faculty Support |  |  | 25 | 8' 1" | [9 empty] | Epoxy | [17 empty] | Acoustical Panel
9356 | UN-61 | Boys\' Water Closet | 2nd Floor | A | Support |  |  | 208 | 9' 8" | [9 empty] | Epoxy | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 3 |  |  | Wall Hung Flush Valve | 30+ | 30 | Fair | 0.5 | 3 |  |  | Wall Hung | 30+ |  | 30 | Fair | 0.5 | 3 | [29 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Toilet exhaust vents | [33 empty] | Present
9357 | UN-62 | Girls' Water Closet | 2nd Floor | A | Support |  |  | 204 | 9' 8" | [9 empty] | Epoxy | [17 empty] | Acoustical Panel | [32 empty] | 3 | [7 empty] | 3 | [8 empty] | 0
9358 | UN-63 | Vestibule | 2nd Floor | A | Administration |  |  | 44 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9359 | UN-64 | Kitchen | 2nd Floor | A | Administration |  |  | 80 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9360 | UN-65 | Storage | 2nd Floor | A | Administration |  |  | 33 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9361 | UN-66 | Parent Center | 2nd Floor | A | Media Center |  |  | 2754 | N/A | Other (describe) | 31 | 45 | 38 | Good | 0.75 |  |  | Precast concrete | Carpet | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 |  |  | Water damage | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Fair | 0.5 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Supply air diffusers | [24 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [9 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 4 | [72 empty] | Present - Present - Present - Present - Present - Present - Present
9362 | UN-67 | Water Closet | 2nd Floor | A | Support |  |  | 91 | N/A
9363 | UN-68 | Men\'s Water Closet | 2nd Floor | A | Support |  |  | 111 | 9' 0" | [9 empty] | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Poor | 0.25 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Fair | 0.5 | [9 empty] | 3 |  |  | Wall Hung Flush Valve | 30+ | 30 | Fair | 0.5 | 2 |  |  | Wall Hung | 30+ |  | 30 | Fair | 0.5 | 3 | [20 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Toilet exhaust vents | [33 empty] | Present - Present - Present - Present - Present - Present - Present
9364 | UN-69 | Custodial Closet | 2nd Floor | A | Support |  |  | 25 | 9' 0" | [9 empty] | Ceramic Tile | [17 empty] | Specialty Ceilings (describe)
9365 | UN-70 | Women's Water Closet | 2nd Floor | A | Support |  |  | 79 | 9' 0" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 3 | [7 empty] | 3 | [8 empty] | 0
9366 | UN-71 | Storage | 2nd Floor | A | Support |  |  | 382 | 13' 11" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel
9367 | UN-72 | Storage | 2nd Floor | A | General Classroom |  |  | 78 | 13' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9368 | UN-73 | Storage | 2nd Floor | A | General Classroom |  |  | 41 | 9' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9369 | UN-74 | Storage | 2nd Floor | A | Science (6-12) |  |  | 210 | 9' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9370 | UN-75 | Storage | 2nd Floor | A | Science (6-12) |  |  | 48 | 9' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9371 | UN-76 | Storage | 2nd Floor | A | Support |  |  | 107 | N/A | [9 empty] | Carpet | [17 empty] | Acoustical Panel
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
49 | A | building phase 1 | 1st | door/door frames need repair | [5 empty] | Other (describe) | 16 | 30 | 23 | Fair | 0.5 |  |  | insulated precast concrete; cracks on corners | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Poor | 0.25 |  |  | water damage | [9 empty] | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [12 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | fan coil unit | [16 empty] | Present | [8 empty] | Present
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
151 | A | building phase 1 | 1st | [6 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Unfinished Ceiling | 22 | 30 | 26 | Good | 0.75 |  |  | exposed structure | [9 empty] | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [21 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | wall register | Dry Chemical | 41136 |  | 11.5 | Good | 0.75 | [10 empty] | Present | [8 empty] | Present | [7 empty] | Present | [8 empty] | Present
152 | B | building phase 1 | 2nd | [6 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Unfinished Ceiling | 22 | 30 | 26 | Fair | 0.5 |  |  | exposed structure | [9 empty] | Concrete Block | 16 | 30 | 23 | Good | 0.75 |  |  |  | Wall Mounted Stainless Steel Drinking Fountains | 0 | 7 | 3.5 | Good | 0.75 | [12 empty] | Fluorescent Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  | some covers need replacement | Keyed Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | wall register | Dry Chemical | 41136 |  | 11.5 | Good | 0.75 |  |  | abc | [7 empty] | Present | [8 empty] | Present | [7 empty] | Present | [8 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [7 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
145 | A | building phase 1 | 1st-2nd | [6 empty] | Other (describe) | 16 | 30 | 23 | Good | 0.75 |  |  | insulated precast concrete | Steel Pan | 22 | 30 | 26 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Unfinished Ceiling | 22 | 30 | 26 | Good | 0.75 |  |  | exposed structure above | Exposed Concrete | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Vinyl/VCT | 22 | 30 | 26 | Good | 0.75 |  |  |  | Labeled Metal/Metal Frames | 0 | 5 | 2.5 | Good | 0.75 |  |  | door hardware missing | [8 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Terminal Unit Heaters | 22 | 30 | 26 | Poor | 0.25 | [19 empty] | Present | [7 empty] | Present
146 | B | building phase 1 | 1st-2nd | [6 empty] | Other (describe) | 16 | 30 | 23 | Good | 0.75 |  |  | insulated precast concrete | Steel Pan | 22 | 30 | 26 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Unfinished Ceiling | 22 | 30 | 26 | Good | 0.75 |  |  | exposed structure above | Exposed Concrete | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Vinyl/VCT | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Labeled Metal/Metal Frames | 0 | 5 | 2.5 | Good | 0.75 | [11 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Terminal Unit Heaters | 22 | 30 | 26 | Poor | 0.25 | [19 empty] | Present | [7 empty] | Present
147 | C | building phase 1 | 1st-2nd | [6 empty] | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 |  |  |  | Steel Pan | 22 | 30 | 26 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Unfinished Ceiling | 22 | 30 | 26 | Good | 0.75 |  |  | exposed structure above | Exposed Concrete | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Vinyl/VCT | 22 | 30 | 26 | Fair | 0.5 |  |  | rubber tile on secondary landing 5 years old in good condition | Labeled Metal/Metal Frames | 0 | 5 | 2.5 | Good | 0.75 | [11 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Terminal Unit Heaters | 22 | 30 | 26 | Fair | 0.5 | [19 empty] | Present | [7 empty] | Present
Elevators | [9 empty] | Elevator | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Car Load Capacity | [7 empty] | Elevator Equipment and Controls
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
16 | A | building phase 1 | 1st-2nd | [6 empty] | Hydraulic | 22 | 30 | 26 | Good | 0.75 |  |  |  | Fluorescent Recessed Fixture | 22 | 30 | 26 | Fair | 0.5 | [55 empty] | 3000 lbs.
EXTERIORs INFORMATION

## Master File (Systems)
Systems | Question | Value1 |  | Average1 | Systems | Question | Value1 |  | Average1
Systems | Seg ID | 1416 |  |  | InfoTech | Seg ID | 448
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1983 |  |  |  | Year Built | 1983
Domestic Water Heaters | Location | UN/24 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Sanitary Drainage | Location | UN/24 |  |  | Main Dist. Facility (MDF) | Location
| Description | Sanitary Sewers |  |  |  | Description
| Age |  |  | 38 |  | Age
| Condition |  |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | & bathroom vent piping / fair |  |  |  | Notes
Building Support (other) Plumbing Systems | Location | Roof |  |  | MDF, HVAC Terminal Units | Location
| Description | Stormwater Area Drains |  |  |  | Description
| Age | 31 | 45 | 38 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Piping | Location | UN/24 |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location | UN/14
| Description |  |  |  |  | Description | Wall mounted cabinet
| Age |  |  |  |  | Age | 41067 |  | 6.5
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location | UN/29 |  |  | IDF #1, HVAC Terminal Units | Location
| Description | Above/ground |  |  |  | Description | Other (describe)
| Age | 31 | 45 | 38 |  | Age | 0 | 7 | 3.5
| Condition | Poor |  | 0.25 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Hvac ceiling diffuser
Fuel Fired Boilers | Location | UN/30 |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Other (describe) |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Electric |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location | 117
| Description |  |  |  |  | Description | Wall mounted rack
| Age |  |  |  |  | Age | 41067 |  | 6.5
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description | Other (describe)
| Age |  |  | 28 |  | Age | 30+ |  | 30
| Condition |  |  | 0.1 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Hvac ceiling diffuser
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location | UN/24 |  |  | Inter. Data Facility (IDF #3) | Location
| Description | Electric Powered |  |  |  | Description
| Age | 31 | 40 | 35.5 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 2 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location | Parking lot |  |  | IDF #3, HVAC Terminal Units | Location
| Description | Factory Preassembled |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 2 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location | UN/24 |  |  | Inter. Data Facility (IDF #4) | Location
| Description | Other (describe) |  |  |  | Description
| Age | 31 | 45 | 38 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Chilled water piping |  |  |  | Notes
Pumps | Location | UN/24 |  |  | IDF #4, HVAC Terminal Units | Location
| Description | Hydronic Pumps |  |  |  | Description
| Age | 31 | 45 | 38 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location |  |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location | UN/24 |  |  | Inter. Data Facility (IDF #5) | Location
| Description | Insulated Sheet Metal Ducts |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location | 225 (3), UN/37 (2), UN/24 (1) |  |  | IDF #5, HVAC Terminal Units | Location
| Description | Indoor Air Handling Units (AHU) |  |  |  | Description
| Age | 31 | 40 | 35.5 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 6 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Fans | Location | Roof |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description | Other (describe) |  |  |  | Description
| Age | 21 | 30 | 25.5 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Roof exhaust fan |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location | UN/24 |  |  | Backbone Cable Dist. | Location
| Description | Wet/Pipe System |  |  |  | Description
| Age | 0 | 15 | 28 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location | UN/29
| Description | Diesel Engine Generators
| Age | 16 | 30 | 23
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | UN/29
| Description | D5010 120
| Age | 31 | 45 | 38
| Condition | Poor |  | 0.25
CheckBox
Quantity
| Voltage | 480v
Power Output
Elec Power
| Notes | 2000 amps
Voice Communication Terminal Equipment | Location | UN/29
| Description | PDX/Key Systems
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | 101
| Description | Public Address and Mass Notification Systems
| Age | 31 | 40 | 35.5
| Condition | Very Poor |  | 0.1
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Not working
Video Surveillance Systems | Location | Entry lobby #1
| Description | Digital Video Recorders
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | UN/29
| Description | Fire Alarm Annunciation Panels
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 1690 |  |  | SiteElements | Seg ID | 387
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1983 |  |  |  | Year Built | 1983
(Foundation) Walls for Subgrade Enclosures, Primary | Location |  |  |  | Roadways | Location | S/8
| Description |  |  |  |  | Description | Asphalt (Bituminous)
| Age |  |  |  |  | Age | 16 | 21 | 18.5
| Condition |  |  |  |  | Condition | Poor |  | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location |  |  |  | Parking Lots | Location | S/8
| Description |  |  |  |  | Description | Asphalt (Bituminous)
| Age |  |  |  |  | Age | 16 | 21 | 18.5
| Condition |  |  |  |  | Condition | Very Poor |  | 0.1
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Primary | Location | Typical |  |  | Pedestrian Plazas and Walkways, Primary | Location | S/4
| Description | Concrete, Cast/In/Place |  |  |  | Description | Concrete, CIP
| Age | 16 | 30 | 28 |  | Age | 41136 |  | 28
| Condition | Good |  | 0.75 |  | Condition | Poor |  | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Secondary | Location |  |  |  | Pedestrian Plazas and Walkways, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Primary | Location | Typical |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Steel Framing, w/ Steel Deck |  |  |  | Description
| Age | 16 | 30 | 28 |  | Age
| Condition | Good |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Secondary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Primary | Location | Typical |  |  | Site Lighting, Primary | Location | S/7
| Description | Steel Framing, OWJ w/ Steel Deck |  |  |  | Description | Pole Mounted H.I.D.
| Age | 16 | 30 | 23 |  | Age | 0 | 7 | 3.5
| Condition | Poor |  | 0.25 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location |  |  |  | Site Lighting, Secondary | Location | Typical
| Description |  |  |  |  | Description | Building Mounted H.I.D.
| Age |  |  |  |  | Age | 0 | 7 | 3.5
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Primary | Location | Typical |  |  | Playground Surface | Location
| Description | Concrete, PC |  |  |  | Description
| Age | 16 | 30 | 28 |  | Age
| Condition | Very Poor |  | 0.1 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location |  |  |  | Playground Equipment | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary | Location | Typical |  |  | TCUs | Location
| Description | Other (describe) |  |  |  | Description
| Age | 22 | 30 | 26 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | aluminum fixed window |  |  |  | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | Typical
| Description | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5
| Condition | Very Good |  | 0.9
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | Roof
| Description | Asphalt, Built Up
| Age | 0 | 7 | 3.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | Roof
| Description | Aluminum
| Age | 0 | 7 | 3.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | Roof
| Description | Metal, Galvanized/Painted
| Age | 22 | 30 | 26
| Condition | Fair |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | cast iron roof drain
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes