## FCI Summary
Building Name: | Roberto Clemente | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 68274
Number of Floors: | B + 3
School Age (years): | 128
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 20.07%
Facility Condition = | GOOD
FCI Deficiency Cost = | 2826101.5761
FCI Replacement Cost = | 14081512.5
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 584
Historic 2005 LRFP Capacity = | 478
Adjusted 2012 Capacity = | 537
Recent Occupancy % = | 108.8%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 82.76%
Classroom Adequacy = | FAIR
Special Spaces Adequacy % Score = | 49.88%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Roberto Clemente | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 68274
Largest Floor Level Area: |  | 18788
Vertical FAR Ratio: |  | 3.6339
School Age (years): |  | 128
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 1.8% | 3.7125 | 68274 | 253467.225 | 100 | 110 | 0 | 0.5 | 5 | 5 | 12673.3613 | 240793.8638 | 95%
|  |  | A1030 - SLAB ON GRADE | 1.5% | 3.0938 | 68274 | 211222.6875 | 100 | 60 | 40 | 0.5 | 50 | 90 | 190100.4188 | 21122.2687 | 10%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 68274 | 309793.275 | 100 | 60 | 40 | 0.5 | 50 | 90 | 278813.9475 | 30979.3275 | 10%
|  |  | SUBTOTAL SUBSTRUCTURE | 5.5% | 11.3438 | 68274 | 774483.1875
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 68274 | 1548966.375 | 100 | 60 | 40 | 0.5 | 50 | 90 | 1394069.7375 | 154896.6375 | 10%
|  |  | B1020 - ROOF CONSTRUCTION | 2.5% | 5.1562 | 68274 | 352037.8125 | 100 | 60 | 40 | 0.5 | 50 | 90 | 316834.0312 | 35203.7812 | 10%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 9.5% | 19.5938 | 68274 | 1337743.6875 | 100 | 57.3902 | 42.6098 | 0.50305 | 50.3049 | 92.9146 | 1242959.6531 | 94784.0344 | 7.085%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 5.5% | 11.3438 | 68274 | 774483.1875 | 30 | 15.3 | 14.7 | 0.65 | 19.5 | 30 | 774483.1875 | 0 | 0%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 2% | 4.125 | 68274 | 281630.25 | 30 | 11.5 | 18.5 | 0.625 | 18.75 | 30 | 281630.25 | 0 | 0%
|  |  | SUBTOTAL SHELL | 30.5% | 62.9063 | 68274 | 4294861.3125
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 68274 | 563260.5 | 60 | 51.325 | 8.675 | 0.525 | 31.5 | 40.175 | 377149.8431 | 186110.6569 | 33.04%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 68274 | 211222.6875 | 20 | 20.2619 | 0 | 0.5119 | 5 | 5 | 52805.6719 | 158417.0156 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 68274 | 563260.5 | 20 | 7.5 | 12.5 | 0.75 | 15 | 20 | 563260.5 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 68274 | 211222.6875 | 30 | 110 | 0 | 0.5 | 5 | 5 | 35203.7812 | 176018.9062 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 4% | 8.25 | 68274 | 563260.5 | 10 | 10.5976 | 0 | 0.39024 | 5 | 5 | 281630.25 | 281630.25 | 50%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 68274 | 844890.75 | 20 | 17.1429 | 2.8571 | 0.43571 | 8.7143 | 11.5714 | 488829.6482 | 356061.1018 | 42.14%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 68274 | 844890.75 | 30 | 25.9231 | 4.0769 | 0.55 | 16.5 | 20.5769 | 579508.399 | 265382.351 | 31.41%
|  |  | SUBTOTAL INTERIORS | 27% | 55.6875 | 68274 | 3802008.375
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 1% | 2.0625 | 68274 | 140815.125 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 140815.125 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 68274 | 211222.6875 | 60 | 21.6905 | 38.3095 | 0.55912 | 33.5475 | 60 | 211222.6875 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 68274 | 183059.6625 | 60 | 3.5 | 56.5 | 0.5 | 30 | 60 | 183059.6625 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 68274 | 168978.15 | 60 | 0 | 60 | 0 | 0 | 60 | 168978.15 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 68274 | 70407.5625 | 30 | 60 | 0 | 0.5 | 5 | 5 | 11734.5938 | 58672.9688 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 68274 | 380200.8375 | 60 | 0 | 60 | 0 | 0 | 60 | 380200.8375 | 0 | 0%
|  |  | D3020 - BOILERS | 2% | 4.125 | 68274 | 281630.25 | 60 | 38 | 22 | 0.25 | 15 | 37 | 173671.9875 | 107958.2625 | 38.33%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 68274 | 563260.5 | 40 | 38 | 2 | 0.25 | 10 | 12 | 168978.15 | 394282.35 | 70%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 68274 | 563260.5 | 40 | 19.4857 | 20.5143 | 0.54821 | 21.9286 | 40 | 563260.5 | 0 | 0%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 68274 | 281630.25 | 40 | 0 | 40 | 0 | 0 | 40 | 281630.25 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 68274 | 211222.6875 | 20 | 0 | 20 | 0 | 0 | 20 | 211222.6875 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 68274 | 140815.125 | 20 | 0 | 20 | 0 | 0 | 20 | 140815.125 | 0 | 100%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 68274 | 28163.025 | 20 | 13.6 | 6.4 | 0.6 | 12 | 18.4 | 25909.983 | 2253.042 | 8%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 68274 | 183059.6625 | 60 | 0 | 60 | 0 | 0 | 60 | 183059.6625 | 0 | 0%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 68274 | 985705.875 | 30 | 18.037 | 11.963 | 0.65509 | 19.6528 | 30 | 985705.875 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 68274 | 422445.375 | 20 | 6 | 14 | 0.6 | 12 | 20 | 422445.375 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 68274 | 42244.5375 | 20 | 17.5 | 2.5 | 0.51736 | 10.3472 | 12.8472 | 27136.248 | 15108.2895 | 35.76%
|  |  | SUBTOTAL SERVICES | 34.5% | 71.1563 | 68274 | 4858121.8125
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 68274
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 68274
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 68274
|  |  | E1090 - OTHER EQUIPMENT |  |  | 68274
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 68274
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 68274
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 68274
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 68274
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 68274
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 68274 | 140815.125 | 30 | 30 | 0 | 0.5 | 15 | 15 | 70407.5625 | 70407.5625 | 50%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 68274 | 70407.5625 | 30 | 30 | 0 | 0.5 | 15 | 15 | 35203.7812 | 35203.7812 | 50%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 68274 | 70407.5625 | 30 | 11.5 | 18.5 | 0.5 | 15 | 30 | 70407.5625 | 0 | 0%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 68274 | 70407.5625 | 30 | 11.5 | 18.5 | 0.75 | 22.5 | 30 | 70407.5625 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 68274 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 68274
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 68274 | 14081512.5 | [7 empty] | 2826101.5761 | 20.07%
100%

## Master File (Interior)
Roberto Clemente
School Code:
NPS Code:
Street: | 257 Summer Ave.
City/Town: | Newark,
Database ID: | 58
Total size (gsf): | 71298
ROOM INFORMATION | [12 empty] | 54.7805 | Ave Condition | 0.5061 | [6 empty] | 17.1429 | Ave Condition | 0.43571 | [6 empty] | 10.5976 | Ave Condition | 0.39024 | [6 empty] | 25.9231 | Ave Condition | 0.55 | [6 empty] | 20.2619 | Ave Condition | 0.5119 | [6 empty] | 51.325 | Ave Condition | 0.525 | [6 empty] | 21.4412 | Ave Condition | 0.58824 | [6 empty] | 20.1364 | Ave Condition | 0.61364 | [5 empty] | 18.4375 | Ave Condition | 0.5625 | [5 empty] | 30 | Ave Condition | 0.5 | [5 empty] | 18.4375 | Ave Condition | 0.53125 | [6 empty] | 7.5 | Ave Condition | 0.75 | [6 empty] | 12.6111 | Ave Condition | 0.71528 | [6 empty] | 27.5 | Ave Condition | 0.53472 | [5 empty] | 29.4714 | Ave Condition | 0.47143 | [6 empty] | 9.5 | Ave Condition | 0.625 | [6 empty] | 13.6 | Ave Condition | 0.6 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 10 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [7 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [7 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
9372 | B-1 | 1st Grade Classroom | Ground Floor | A | General Classroom (Grades 1-3) |  |  | 709 | 9' 2" | Brick, Exposed/Unfinished | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Wood | Wood/Metal Frame | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Solid brick | In-Counter Lavatories | 30+ |  | 30 | Good | 0.75 | 1 | [44 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Terminal Unit Heaters | 30+ | 30 | Good | 0.75 |  |  | Cast iron ceiling steam radiator pipes | [9 empty] | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | Water based | [7 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 | [72 empty] | Present
9373 | B-2 | 1st Grade Classroom | Ground Floor | A | General Classroom (Grades 1-3) |  |  | 600 | 9' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
9374 | B-3 | Tutor | Ground Floor | A | Small Group Instruction |  |  | 281 | 8' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9375 | B-4A | Parent Resource Center | Ground Floor | A | Administration |  |  | 183 | 9' | Brick, Exposed/Unfinished | 60+ |  | 60 | Poor | 0.25 |  |  | Water damage | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Very Poor | 0.1 |  |  | Decorative metal | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Drywall (Gypsum)/Wood Stud Framing | 46 | 60 | 53 | Fair | 0.5 |  |  | One brick partition - poor - water damage | [51 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | [36 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 2 pcs | [106 empty] | Present - Present - Present - Present - Present
9376 | B-4B | Storage | Ground Floor | A | Support |  |  | 179 | 9' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Specialty Ceilings (describe)
9377 | B-4C | Storage | Ground Floor | A | Support |  |  | 179 | 9' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Specialty Ceilings (describe)
9378 | B-5 | ESL | Ground Floor | B | Small Group Instruction |  |  | 308 | 9' | Brick, Exposed/Unfinished | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Wood Stud Framing | 46 | 60 | 53 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  | Ceiling mounted steam pipes | [25 empty] | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 | [72 empty] | Present - Present - Present - Present - Present - Present
9379 | B-6 | ESL | Ground Floor | A | Small Group Instruction |  |  | 156 | 8' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9380 | B-8 | Music | Ground Floor | B | Visual & Performing Arts |  |  | 1189 | 9' | Brick, Exposed/Unfinished | 60+ |  | 60 | Fair | 0.5 |  |  | Water damage | Vinyl Composition Tile (VCT) | 0 | 5 | 2.5 | Very Good | 0.9 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Drywall (Gypsum) | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Wood/Wood Frame | 0 | 5 | 2.5 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Wood Stud Framing | 46 | 60 | 53 | Fair | 0.5 | [54 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ | 30 | Good | 0.75 | [28 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 1 | [72 empty] | Present - Present - Present - Present - Present - Present - Present
9381 | UN-9A | Oil Tank | Basement | C | Support |  |  | 198 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Specialty Ceilings (describe)
9382 | B-11A | Speech | Ground Floor | A | Small Group Instruction |  |  | 194 | 8' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Specialty Ceilings (describe)
9383 | B-11B | Child Study Team | Ground Floor | B | Administration |  |  | 157 | 8' 5" | Brick, Exposed/Unfinished | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Drywall (Gypsum)/Wood Stud Framing | 46 | 60 | 53 | Fair | 0.5 | [54 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 |  |  | Wall mounted Steam pipes | Window Mounted | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 | [19 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 PCU | [106 empty] | Present - Present
9384 | B-14 | Kindergarten Classroom | Ground Floor | C | Kindergarten Classroom |  |  | 462 | 9' 8" | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Concrete | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 | 0 |  | Wood wainscot | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Solid brick | [51 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 3 | [72 empty] | Present - Present - Present
9385 | B-15 | Classroom | Ground Floor | C | General Classroom |  |  | 738 | 9' 8" | Other (describe) | 60+ |  | 60 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  | Concrete | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Concrete | [51 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Good | 0.75 | 0 | [27 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 3 PCUs | [106 empty] | Present - Present - Present - Present
9386 | UN-1 | Stage | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 669 | N/A | [9 empty] | Wood | [17 empty] | Plaster
9387 | UN-2 | Auditorium | Ground Floor | C | Food Service/Assembly (K-8) |  |  | 3311 | N/A | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on masonry | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | [63 empty] | Fluorescent Pendant Mount Fixture | 30+ |  | 30 | Poor | 0.25 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [12 empty] | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  | Water based (2) | [7 empty] | Present - Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present - Present | Auditorium speaker system
9388 | UN-3 | Girls\' Water Closet | Ground Floor | C | Support |  |  | 227 | N/A | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Concrete | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  | Brick wainscot | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Painted Concrete - water damage and crack | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Solid brick | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | 2 |  |  | Floor Mounted Flush Valve | 22 | 30 | 26 | Good | 0.75 | 6 | [7 empty] | 0 | [18 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [28 empty] | Present - Present - Present - Present - Present - Present - Present
9389 | UN-4 | Closet | Ground Floor | A | Support |  |  | 12 | N/A
9390 | UN-5 | Storage | Ground Floor | A | Support |  |  | 421 | N/A
9391 | UN-6 | Storage | Ground Floor | A | Support |  |  | 18 | N/A
9392 | UN-7 | Storage | Ground Floor | A | Support |  |  | 249 | N/A
9393 | UN-8 | N/A | Ground Floor | A | Support |  |  | 185 | N/A
9394 | UN-9 | Boiler Room | Basement | C | Support |  |  | 1397 | N/A
9395 | UN-10 | Custodial Closet | Ground Floor | A | Support |  |  | 23 | N/A
9396 | UN-11 | Storage | Ground Floor | A | Support |  |  | 22 | N/A
9397 | UN-12 | Electrical | Basement | C | Support |  |  | 88 | N/A
9398 | UN-13 | Storage | Ground Floor | A | Support |  |  | 110 | N/A
9399 | UN-14 | Custodial Office | Ground Floor | A | Support |  |  | 261 | N/A
9400 | UN-15 | Storage | Ground Floor | A | Support |  |  | 367 | N/A
9401 | UN-16 | Storage | Ground Floor | A | Small Group Instruction |  |  | 65 | 9'
9402 | UN-17 | Storage | Ground Floor | A | Small Group Instruction |  |  | 54 | 9'
9403 | UN-18 | Boys\' Water Closet | Ground Floor | A | Support |  |  | 241 | N/A | Brick, Exposed/Unfinished | 60+ |  | 60 | Poor | 0.25 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  | Brick wainscot | Other (describe) | 30+ |  | 30 | Very Poor | 0.1 |  |  | Decorative metal | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Poor | 0.25 |  |  | Solid brick | Wall-Mounted Lavatories | 22 | 30 | 26 | Poor | 0.25 | 2 |  |  | Floor Mounted Flush Valve | 22 | 30 | 26 | Fair | 0.5 | 4 |  |  | Wall Hung | 41136 | 1900-01-10 12:00 | Good | 0.75 | 5 | [18 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  | One partition old - original | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [37 empty] | Present
9404 | UN-19 | Storage | Ground Floor | A | Support |  |  | 297 | 9' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Specialty Ceilings (describe)
9405 | UN-20 | Storage | Ground Floor | A | General Classroom (Grades 1-3) |  |  | 98 | 9' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
9406 | UN-21 | Pre-K Classroom | Ground Floor | D | Pre-Kindergarten Classroom |  |  | 978 | 8' | Other (describe) | 0 | 15 | 7.5 | Fair | 0.5 |  |  | Masonite | Carpet | 41228 |  | 13 | Poor | 0.25 |  |  | Sheet vinyl at 1/3 of floor | [9 empty] | Acoustical Panel | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 41228 |  | 13 | Fair | 0.5 |  |  |  | Other (describe) | 0 | 15 | 7.5 | Fair | 0.5 |  |  | Masonite | In-Counter Lavatories | 41136 |  | 11.5 | Fair | 0.5 | 2 |  |  | Floor Mounted Flush Tank | 41136 |  | 11.5 | Good | 0.75 | 1 | [18 empty] | Wall Mounted Stainless Steel Drinking Fountains | 2012-08-15 | 1900-01-10 12:00 | Poor | 0.25 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Other (describe) | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  | HVAC Air handler | [9 empty] | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | Water based | [7 empty] | Present - Present - Present - Present - Present - Present - Present | [34 empty] | Present | [98 empty] | Present - Present - Present - Present - Present - Present - Present
9407 | 101 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 709 | 12' 11" | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  | Wood wainscot | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [51 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  | Wall mounted steam pipes | [25 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 | [72 empty] | Present
9408 | 102 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 709 | 12' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
9409 | 103 | Nurse | 1st Floor | A | Health Services |  |  | 208 | 13' | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Very Good | 0.9 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Wood | Wall-Mounted Lavatories | 0 | 7 | 3.5 | Good | 0.75 | 1 | [44 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 PCU | [106 empty] | Present - Present
9410 | 104 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 871 | 13' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9411 | 105 | Office | 1st Floor | A | Administration |  |  | 159 | 13' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9412 | 108 | Kindergarten Classroom | 1st Floor | B | Kindergarten Classroom |  |  | 774 | 12' 10" | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [51 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  | Wall mounted steam pipes | [25 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 | [72 empty] | Present - Present - Present
9413 | 110 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 774 | 12'10" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
9414 | 112 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 690 | 12' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9415 | 113 | Kindergarten Classroom | 1st Floor | C | Kindergarten Classroom |  |  | 617 | 12' 9" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | In-Counter Lavatories | 41136 |  | 11.5 | Good | 0.75 | [28 empty] | Wall Mounted Stainless Steel Drinking Fountains | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 2 | [72 empty] | Present
9416 | 114 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 659 | 12' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9417 | 115A | Main Office | 1st Floor | C | Administration |  |  | 343 | 12' 9" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | [19 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present | Head end control
9418 | 115B | Principal's Office | 1st Floor | A | Administration |  |  | 379 | 12' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9419 | 116 | Office | 1st Floor | A | Administration |  |  | 140 | 12' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9420 | UN-22 | Balcony | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 720 | N/A
9421 | UN-23 | Service | 1st Floor | A | Support |  |  | 94 | N/A
9422 | UN-24 | Storage | 1st Floor | C | Kindergarten Classroom |  |  | 43 | 12' 9 | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9423 | UN-25 | Water Closet | 1st Floor | C | Kindergarten Classroom |  |  | 26 | 12' 9 | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Good | 0.75 |  |  | Ceramic Tile Wainscot | Plaster | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 41136 |  | 11.5 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Valve | 41136 |  | 11.5 | Fair | 0.5 | 1 | [35 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25
9424 | UN-26 | Storage | 1st Floor | A | Kindergarten Classroom |  |  | 43 | 12' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9425 | UN-27 | Water Closet | 1st Floor | A | Kindergarten Classroom |  |  | 26 | 12' 9 | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9426 | UN-28 | Boys' Water Closet | 1st Floor | A | Support |  |  | 186 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 2 | [8 empty] | 2 | [7 empty] | 3
9427 | UN-29 | Storage | 1st Floor | A | Support |  |  | 24 | N/A
9428 | UN-30 | Cafeteria | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 1097 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 |  |  | Water damage | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [51 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Poor | 0.25 | [28 empty] | Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present
9429 | UN-31 | Kitchen | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 447 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 | 0 |  | Ceramic tile wainscot | Plaster | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on masonry | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 | 0 |  | Kitchen exhaust hood | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Carbon dioxide and ansul kitchen exhaust hood | [6 empty] | 0 | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0
9430 | UN-32 | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 156 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9431 | UN-33 | Storage | 1st Floor | A | Support |  |  | 94 | N/A
9432 | UN-34 | Girls' Water Closet | 1st Floor | A | Support |  |  | 156 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 1 | [8 empty] | 4 | [7 empty] | 0
9433 | UN-35 | Office | 1st Floor | A | Health Services |  |  | 65 | 13' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9434 | UN-36 | Storage | 1st Floor | A | Health Services |  |  | 32 | 13' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9435 | UN-37 | Office | 1st Floor | A | Health Services |  |  | 56 | 13' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9436 | 201 | 3rd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 709 | 13' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
9437 | 202 | 4th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 709 | 13' | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Poor | 0.25 |  |  | Plaster on masonry | [51 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 |  |  | Wall mounted steam pipes | [25 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [18 empty] | 1 |  | Portable | [15 empty] | 3 | [72 empty] | Present
9438 | 204 | Storage/Resource | 2nd Floor | A | Faculty Support |  |  | 871 | 12' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9439 | 205 | ESL | 2nd Floor | A | Small Group Instruction |  |  | 155 | 12' 10" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
9440 | 208 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 774 | 12' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
9441 | 209 | 2nd Grade Classroom | 2nd Floor | B | General Classroom (Grades 1-3) |  |  | 772 | 12' 9" | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  | Wood wainscot | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Wood | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [51 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 |  |  | Wall mounted steam pipe | [25 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [18 empty] | 1 |  | Wall mounted | [15 empty] | 4 | [72 empty] | Present - Present
9442 | 210 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 774 | 12' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
9443 | 211 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 772 | 12' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
9444 | 212 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 690 | 12' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9445 | 213 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 721 | 12' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9446 | 214 | 1st Grade Classroom | 2nd Floor | C | General Classroom (Grades 1-3) |  |  | 721 | 12' 11" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 0 | 5 | 2.5 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 0 | 5 | 2.5 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 4 | [72 empty] | Present
9447 | 215 | General Classroom | 2nd Floor | A | General Classroom |  |  | 738 | 12' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9448 | 216 | Office | 2nd Floor | C | Administration |  |  | 255 | N/A
9449 | 217A | Office | 2nd Floor | A | Administration |  |  | 107 | N/A
9450 | 217D | Office | 2nd Floor | C | Administration |  |  | 379 | N/A | [6 empty] | 0 |  |  | Other (describe) | 20+ |  | 20 | Fair | 0.5 | 0 |  | Concrete | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [53 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 1 PCU | [6 empty] | 0 | [98 empty] | 0
9451 | 217C | Storage | 2nd Floor | A | Administration |  |  | 20 | N/A
9452 | 217F | Storage | 2nd Floor | A | Administration |  |  | 68 | N/A
9453 | 217E | Storage | 2nd Floor | A | Phys. Ed. (Gym + Storage) |  |  | 68 | N/A
9454 | 217G | Gymnasium | 2nd Floor | C | Phys. Ed. (Gym + Storage) |  |  | 3135 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 41228 |  | 13 | Good | 0.75 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Surface Mount Fixture | 22 | 30 | 26 | Fair | 0.5 |  |  | HID | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [12 empty] | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water | [7 empty] | Present - Present - Present | [133 empty] | Present - Present - Present
9455 | UN-38 | Girls\' Water Closet | 2nd Floor | C | Support |  |  | 186 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 41070 |  | 8 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | 2 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Fair | 0.5 | 6 | [7 empty] | 0 | [18 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [28 empty] | Present - Present - Present - Present
9456 | UN-39 | Storage | 2nd Floor | A | Support |  |  | 24 | N/A
9457 | UN-40 | Custodial Closet | 2nd Floor | A | Support |  |  | 22 | N/A
9458 | UN-41 | Boys\' Water Closet | 2nd Floor | A | Support |  |  | 156 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  | Brick wainscot | Plaster | 30+ |  | 30 | Very Poor | 0.1 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Valve | 22 | 30 | 26 | Fair | 0.5 | 2 |  |  | Wall Hung | 41136 | 1900-01-10 12:00 | Good | 0.75 | 2 | [18 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present | [133 empty] | Present - Present - Present
9459 | UN-42 | Teachers\' Lounge | 2nd Floor | A | Faculty Support |  |  | 349 | 12' 10" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  | Wood wainscot | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Water damage | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | In-Counter Lavatories | 16 | 21 | 18.5 | Fair | 0.5 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present
9460 | UN-43 | Faculty Water Closet | 2nd Floor | A | Faculty Support |  |  | 28 | 12' 10" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  | Ceramic tile wainscot | Suspended Acoustical | 0 | 7 | 3.5 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Plaster/Metal Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Valve | 22 | 30 | 26 | Good | 0.75 | 1 | [7 empty] | 0 | [27 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present - Present
9461 | 301 | Science | 3rd Floor | B | Technological Literacy |  |  | 709 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on masonry | [51 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Good | 0.75 | [28 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 5 | [72 empty] | Present
9462 | 302 | 3rd/4th Special Needs | 3rd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 709 | 12' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
9463 | 304 | Computer Lab | 3rd Floor | B | Technological Literacy |  |  | 871 | 12' 3" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [51 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 |  |  | 2 | [16 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | IDF located | [33 empty] | 28 | [72 empty] | Present - Present
9464 | 305 | Special Ed. | 3rd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 548 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9465 | 308 | 3rd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 774 | 12' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9466 | 309 | 3rd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 772 | 12' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9467 | 310 | 3rd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 774 | 12' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9468 | 311 | 3rd Grade Classroom | 3rd Floor | B | General Classroom (Grades 1-3) |  |  | 772 | 12' 3" | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on masonry | [51 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ | 30 | Good | 0.75 | [28 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [18 empty] | 1 |  | Wall mounted | [15 empty] | 4 | [72 empty] | Present - Present - Present
9469 | 312 | 4th Grade Classroom | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 690 | 11' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9470 | 313 | 4th Grade Classroom | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 721 | 11' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9471 | 314 | 4th Grade Classroom | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 721 | 11' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9472 | 315 | 4th Grade Classroom | 3rd Floor | C | General Classroom (Grades 4-5) |  |  | 738 | 11' 8" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 4 | [72 empty] | Present
9473 | 316 | Guidance | 3rd Floor | C | Administration |  |  | 102 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Other (describe) | 20+ |  | 20 | Fair | 0.5 |  |  | Painted concrete | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present
9474 | 317 | Special Ed. Resource | 3rd Floor | C | Self-Contained Sp. Ed. Classroom |  |  | 483 | 11' | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [53 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 3 | [72 empty] | Present - Present - Present
9475 | 318 | Teachers\' Lounge | 3rd Floor | C | Faculty Support |  |  | 261 | 11' | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1PC | [106 empty] | Present - Present - Present - Present
9476 | 318L | Faculty Water Closet | 3rd Floor | C | Faculty Support |  |  | 29 | 11' | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Good | 0.75 | 1 | [7 empty] | 0 | [27 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [28 empty] | Present - Present - Present - Present - Present | Very old
9477 | UN-44 | Boys' Water Closet | 3rd Floor | A | Support |  |  | 186 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 1 | [8 empty] | 2 | [7 empty] | 3
9478 | UN-45 | Storage | 3rd Floor | A | Support |  |  | 24 | N/A
9479 | UN-46 | Custodial Closet | 3rd Floor | A | Support |  |  | 22 | N/A
9480 | UN-47 | Girls' Water Closet | 3rd Floor | A | Support |  |  | 156 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 2 | [8 empty] | 3 | [7 empty] | 0
12505 | 217B | Water Closet | 2nd Floor | A | Administration |  |  | 20 | N/A
12506 | 318A | Teachers\' Storage | 3rd Floor | A | Faculty Support |  |  | 29 | 11'
INTERIORs INFORMATION
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
114 | A | building phase a | ground | [6 empty] | Epoxy | 41070 |  | 8 | Fair | 0.5 |  |  | epoxy paint | Painted Walls | 41004 |  | 4.5 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | plaster on brick | Wall Mounted Electric Water Coolers | 41136 |  | 11.5 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  | water based | [7 empty] | Present | [17 empty] | Present | [7 empty] | Present
115 | B | building phase a | 1st | [6 empty] | Epoxy | 41070 |  | 8 | Fair | 0.5 |  |  | epoxy paint on wood floor | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  | patching needed | Plaster | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | plaster on metal lath | Wall Mounted Stainless Steel Drinking Fountains | 41136 |  | 11.5 | Fair | 0.5 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 2012-08-15 | 1900-01-10 12:00 | Fair | 0.5 |  |  | water based | [7 empty] | Present | [17 empty] | Present | [7 empty] | Present
116 | C | building phase b | 3rd | [6 empty] | Epoxy | 0 | 5 | 2.5 | Good | 0.75 |  |  | epoxy paint on wood floor | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | plaster on metal lath | [9 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | cubbies with alternating sliding door | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  | water based | [7 empty] | Present | [17 empty] | Present | [7 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
110 | A | building phase c | ground-3 | [6 empty] | CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  | brick wainscot; water damage at highest floor level | Reinforced Concrete | 30+ |  | 30 | Fair | 0.5 |  |  | chipped nosings | Painted Walls with Wainscot | 0 | 3 | 1.5 | Poor | 0.25 |  |  | brick wainscot; patching needed | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  | painted | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | epoxy paint | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | epoxy paint | Labeled Metal/Metal Frames | 41070 |  | 8 | Good | 0.75 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [19 empty] | Present
111 | B | building phase a/b | ground-3 | [6 empty] | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Steel Pan | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  | isolated patching needed on side wall | Plaster | 22 | 30 | 26 | Fair | 0.5 |  |  | painted | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | epoxy paint | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | epoxy paint | Labeled Metal/Metal Frames | 41070 |  | 8 | Good | 0.75 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5
112 | C | building phase a/b | ground-roof | [6 empty] | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Steel Pan | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | epoxy paint | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | epoxy paint | Labeled Metal/Metal Frames | 41070 |  | 8 | Good | 0.75 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [19 empty] | Present

## Master File (Systems)
systems | Question | Value1 |  | Average1 | Value2 |  | Average2 | systems | Question | Value1 |  | Average1
Systems | Seg ID | 1174 |  |  | 1193 |  |  | InfoTech | Seg ID | 348
| Bldg.Phase | B |  |  | C |  |  |  | Bldg.Phase | B
| Original | 0 |  |  | 0 |  |  |  | Original | 0
| Addition | 1 |  |  | 1 |  |  |  | Addition | 1
| Year Built | 1894/1908 |  |  | 1928 |  |  |  | Year Built | Secure
Domestic Water Heaters | Location |  |  |  | UN/9 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description |  |  |  | Fuel/Fired Water Heater |  |  |  | Description
| Age |  |  |  | 0 | 7 | 3.5 |  | Age
| Condition |  |  |  | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes |  |  |  | Domestic Hot Water Piping, Copper, Fair |  |  |  | Notes
Sanitary Drainage | Location | [6 empty] | Main Dist. Facility (MDF) | Location | Above Ground Level Floor
| Description | [7 empty] | Description | 304 floor rack
| Age | [7 empty] | Age | 41067 |  | 6.5
| Condition | [7 empty] | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox | Secure
| Quantity | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Building Support (other) Plumbing Systems | Location | Roof B |  |  | Roof C |  |  | MDF, HVAC Terminal Units | Location
| Description | Stormwater Area Drains |  |  | Stormwater Area Drains |  |  |  | Description | Cast Iron Radiators
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Bathroom vent |  |  | Bathroom Vents |  |  |  | Notes
Fuel Piping | Location |  |  |  | UN/9 |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description |  |  |  | Gas Piping |  |  |  | Description | Window Mounted
| Age |  |  |  | 31 | 45 | 38 |  | Age | 0 | 7 | 3.5
| Condition |  |  |  | Poor |  | 0.25 |  | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Pumps | Location | [6 empty] | Inter. Data Facility (IDF #1) | Location | 114
| Description | [7 empty] | Description | Wall mounted rack
| Age | [7 empty] | Age | 41100 |  | 8.5
| Condition | [7 empty] | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox | Secure
| Quantity | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Storage Tanks | Location | [6 empty] | IDF #1, HVAC Terminal Units | Location
| Description | [7 empty] | Description | Cast Iron Radiators
| Age | [7 empty] | Age | 30+ |  | 30
| Condition | [7 empty] | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Fired Boilers | Location |  |  |  | UN/9 |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description |  |  |  | Gas/Fired Boilers |  |  |  | Description
| Age |  |  |  | 31 | 45 | 38 |  | Age
| Condition |  |  |  | Poor |  | 0.25 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes |  |  |  | Condensate Return Package / Poor / 40+ |  |  |  | Notes
Furnaces | Location | [6 empty] | Inter. Data Facility (IDF #2) | Location | 115A
| Description | [7 empty] | Description | Wall mounted rack
| Age | [7 empty] | Age | 41100 |  | 8.5
| Condition | [7 empty] | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox | Secure
| Quantity | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Unit Ventilators | Location | [6 empty] | IDF #2, HVAC Terminal Units | Location
| Description | [7 empty] | Description | Cast Iron Radiators
| Age | [7 empty] | Age | 30+ |  | 30
| Condition | [7 empty] | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fan Coil Units | Location | [6 empty] | IDF #2, Packaged Terminal Air Conditioner | Location
| Description | [7 empty] | Description | Window Mounted
| Age | [7 empty] | Age | 41136 |  | 11.5
| Condition | [7 empty] | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Water Chillers | Location | [6 empty] | Inter. Data Facility (IDF #3) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Cooling Towers | Location | [6 empty] | IDF #3, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Packaged Terminal Air Conditioner | Location | [6 empty] | IDF #3, Packaged Terminal Air Conditioner | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Hydronic Piping System | Location | [6 empty] | Inter. Data Facility (IDF #4) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Pumps | Location | [6 empty] | IDF #4, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Steam Piping System | Location |  |  |  | UN/9 |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Two Pipe |  |  | Two Pipe |  |  |  | Description
| Age |  |  |  | 31 | 45 | 38 |  | Age
| Condition |  |  |  | Poor |  | 0.25 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
HVAC Air Distribution | Location | [6 empty] | Inter. Data Facility (IDF #5) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Air Handling Units | Location | [6 empty] | IDF #5, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
HVAC Fans | Location | [6 empty] | IDF #5, Packaged Terminal Air Conditioner | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fire/Suppression (Sprinklers), Water/Based | Location | [6 empty] | Backbone Cable Dist. | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fire/Suppression (Standpipes), Water/Based | Location | [6 empty] | Horizontal Cable Dist. | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | 0 |  |  | 0 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Facility Power Generation, Packaged Generator Assemblies | Location |  |  |  | UN/9
| Description |  |  |  | Gas Engine Generators
| Age |  |  |  | 0 | 15 | 7.5
| Condition |  |  |  | Fair |  | 0.5
CheckBox
| Quantity | 0 |  |  | 0
Voltage
| Power Output |  |  |  | 100kva
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
| Quantity | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location |  |  |  | UN/12
| Description |  |  |  | D5010 120
| Age |  |  |  | 31 | 45 | 38
| Condition |  |  |  | Poor |  | 0.25
CheckBox
| Quantity | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes
Voice Communication Terminal Equipment | Location |  |  |  | UN/7
| Description |  |  |  | PDX/Key Systems
| Age |  |  |  | 0 | 10 | 5
| Condition |  |  |  | Good |  | 0.75
CheckBox
| Quantity | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location |  |  |  | 115A
| Description |  |  |  | Public Address and Mass Notification Systems
| Age |  |  |  | 0 | 10 | 5
| Condition |  |  |  | Fair |  | 0.5
CheckBox
| Quantity | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location |  |  |  | 1st Floor
| Description |  |  |  | Analog Video Recording Devices
| Age |  |  |  | 0 | 10 | 5
| Condition |  |  |  | Fair |  | 0.5
CheckBox
| Quantity | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | UN/14
| Description | Fire Alarm Annunciation Panels
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
| Quantity | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
| Quantity | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
| Quantity | 0 |  |  | 0
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Value2 |  | Average2 | Value3 |  | Average3 | Value4 |  | Average4 | Exterior | Question | Value1 | Average1
Exterior | Seg ID | 1183 |  |  | 1227 |  |  | 1555 |  |  | 1214 |  |  | SiteElements | Seg ID | 286
| Bldg.Phase | A |  |  | B |  |  | C |  |  | D |  |  |  | Bldg.Phase | A
| Original | 1 |  |  | 0 |  |  | 0 |  |  | 0 |  |  |  | Original | 1
| Addition | 0 |  |  | 1 |  |  | 1 |  |  | 1 |  |  |  | Addition | 0
| Year Built | 1884 |  |  | 1894/1908 |  |  | 1928 |  |  | 2002 |  |  |  | Year Built | 1884
(Foundation) Walls for Subgrade Enclosures, Primary | Location | typical a |  |  | typical b |  |  | typical c | [5 empty] | Roadways | Location
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place | [6 empty] | Description
| Age | 60+ |  | 60 | 60+ |  | 60 | 60+ |  | 60 |  |  |  |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair |  | 0.5 |  |  |  |  | Condition
| CheckBox | [13 empty] | CheckBox
| Quantity | [13 empty] | Quantity
| Voltage | [13 empty] | Voltage
| Power Output | [13 empty] | Power Output
| Elec Power | [13 empty] | Elec Power
| Notes |  |  |  | with Stone infill | [9 empty] | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location | [12 empty] | Parking Lots | Location | S/2
| Description | [13 empty] | Description | Asphalt (Bituminous)
| Age | [13 empty] | Age | 30+ | 30
| Condition | [13 empty] | Condition | Fair | 0.5
| CheckBox | [13 empty] | CheckBox
| Quantity | [13 empty] | Quantity
| Voltage | [13 empty] | Voltage
| Power Output | [13 empty] | Power Output
| Elec Power | [13 empty] | Elec Power
| Notes | [13 empty] | Notes
Standard Slabs On Grade, Primary | Location | typical a |  |  | typical b |  |  | typical c | [5 empty] | Pedestrian Plazas and Walkways, Primary | Location | S/3
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place | [6 empty] | Description | Concrete, CIP
| Age | 60+ |  | 60 | 60+ |  | 60 | 60+ |  | 60 |  |  |  |  | Age | 30+ | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair |  | 0.5 |  |  |  |  | Condition | Fair | 0.5
| CheckBox | [13 empty] | CheckBox
| Quantity | [13 empty] | Quantity
| Voltage | [13 empty] | Voltage
| Power Output | [13 empty] | Power Output
| Elec Power | [13 empty] | Elec Power
| Notes | [13 empty] | Notes
Standard Slabs On Grade, Secondary | Location | [12 empty] | Pedestrian Plazas and Walkways, Secondary | Location
| Description | [13 empty] | Description
| Age | [13 empty] | Age
| Condition | [13 empty] | Condition
| CheckBox | [13 empty] | CheckBox
| Quantity | [13 empty] | Quantity
| Voltage | [13 empty] | Voltage
| Power Output | [13 empty] | Power Output
| Elec Power | [13 empty] | Elec Power
| Notes | [13 empty] | Notes
Floor Construction, Primary | Location | typical a |  |  | typical b |  |  | typical c | [5 empty] | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, CIP Beams and Slab |  |  | Concrete, Waffle Slab |  |  | Concrete, CIP Beams and Slab | [6 empty] | Description
| Age | 60+ |  | 60 | 60+ |  | 60 | 60+ |  | 60 |  |  |  |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair |  | 0.5 |  |  |  |  | Condition
| CheckBox | [13 empty] | CheckBox
| Quantity | [13 empty] | Quantity
| Voltage | [13 empty] | Voltage
| Power Output | [13 empty] | Power Output
| Elec Power | [13 empty] | Elec Power
| Notes |  |  |  | Terracotta block infill | [9 empty] | Notes
Floor Construction, Secondary | Location | [12 empty] | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description | [13 empty] | Description
| Age | [13 empty] | Age
| Condition | [13 empty] | Condition
| CheckBox | [13 empty] | CheckBox
| Quantity | [13 empty] | Quantity
| Voltage | [13 empty] | Voltage
| Power Output | [13 empty] | Power Output
| Elec Power | [13 empty] | Elec Power
| Notes | [13 empty] | Notes
Roof Construction, Structural Frame, Primary | Location |  |  |  | typical b |  |  | typical c |  |  | typical d |  |  | Site Lighting, Primary | Location | Typical
| Description |  |  |  | Concrete, CIP |  |  | Concrete, CIP |  |  | Wood, Beams and Joists |  |  |  | Description | Pole Mounted H.I.D.
| Age |  |  |  | 60+ |  | 60 | 60+ |  | 60 | 0 | 15 | 7.5 |  | Age | 41136 | 11.5
| Condition |  |  |  | Fair |  | 0.5 | Fair |  | 0.5 | Good |  | 0.75 |  | Condition | Good | 0.75
| CheckBox | [13 empty] | CheckBox
| Quantity | [13 empty] | Quantity
| Voltage | [13 empty] | Voltage
| Power Output | [13 empty] | Power Output
| Elec Power | [13 empty] | Elec Power
| Notes | [13 empty] | Notes
Roof Construction, Structural Frame, Secondary | Location | [12 empty] | Site Lighting, Secondary | Location | Typical
| Description | [13 empty] | Description | Building Mounted H.I.D.
| Age | [13 empty] | Age | 30+ | 30
| Condition | [13 empty] | Condition | Fair | 0.5
| CheckBox | [13 empty] | CheckBox
| Quantity | [13 empty] | Quantity
| Voltage | [13 empty] | Voltage
| Power Output | [13 empty] | Power Output
| Elec Power | [13 empty] | Elec Power
| Notes | [13 empty] | Notes
Exterior Walls / Exterior Assembly, Primary | Location | typical a |  |  | typical b |  |  | typical c |  |  | typical d |  |  | Playground Surface | Location | S/1
| Description | Other (describe) |  |  | Other (describe) |  |  | Other (describe) |  |  | Metal Siding w/ Steel Stud |  |  |  | Description | Rubberized
| Age | 60+ |  | 60 | 60+ |  | 60 | 60+ |  | 60 | 0 | 15 | 7.5 |  | Age | 41136 | 11.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Fair | 0.5
| CheckBox | [13 empty] | CheckBox
| Quantity | [13 empty] | Quantity
| Voltage | [13 empty] | Voltage
| Power Output | [13 empty] | Power Output
| Elec Power | [13 empty] | Elec Power
| Notes | brick on masonry backup |  |  | brick veneer with masonry backup |  |  | brick veneer with masonry backup | [6 empty] | Notes
Exterior Walls / Exterior Assembly, Secondary | Location | [12 empty] | Playground Equipment | Location | S/1
| Description | [13 empty] | Description | Multi/Component Play Equipment Set
| Age | [13 empty] | Age | 41136 | 11.5
| Condition | [13 empty] | Condition | Good | 0.75
| CheckBox | [13 empty] | CheckBox
| Quantity | [13 empty] | Quantity
| Voltage | [13 empty] | Voltage
| Power Output | [13 empty] | Power Output
| Elec Power | [13 empty] | Elec Power
| Notes | [13 empty] | Notes
Exterior Windows, Primary | Location | typical a |  |  | typical b |  |  | typical c |  |  | typical d |  |  | TCUs | Location | S/2
| Description | Other (describe) |  |  | Other (describe) |  |  | Other (describe) |  |  | Other (describe) |  |  |  | Description | Other (describe)
| Age | 41136 |  | 11.5 | 41136 |  | 11.5 | 41136 |  | 11.5 | 41136 |  | 11.5 |  | Age | 41136 | 11.5
| Condition | Good |  | 0.75 | Good |  | 0.75 | Good |  | 0.75 | Good |  | 0.75 |  | Condition | Poor | 0.25
| CheckBox | [13 empty] | CheckBox
| Quantity | [13 empty] | Quantity
| Voltage | [13 empty] | Voltage
| Power Output | [13 empty] | Power Output
| Elec Power | [13 empty] | Elec Power
| Notes | aluminum single hung |  |  | aluminum single hung |  |  | aluminum single hung | [6 empty] | Notes | Single/Classroom TCU
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated) |  |  | Glass, Double Pane (Insulated) |  |  | Glass, Double Pane (Insulated) |  |  | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles |  |  | Security Grilles |  |  | Security Grilles |  |  | Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location | [6 empty] | typical c
| Description | [6 empty] | Other (describe)
| Age | [6 empty] | 30+ |  | 30
| Condition | [6 empty] | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | [6 empty] | aluminum louvres
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | typical a |  |  | typical b |  |  | typical c |  |  | typical d
| Description | Steel (Hollow) |  |  | Fiber Reinforced Panel (FRP) |  |  | Fiber Reinforced Panel (FRP) |  |  | Steel (Hollow)
| Age | 16 | 30 | 23 | 0 | 15 | 7.5 | 0 | 15 | 7.5 | 0 | 15 | 7.5
| Condition | Fair |  | 0.5 | Good |  | 0.75 | Good |  | 0.75 | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location | typical a |  |  | typical b
| Description | Fiber Reinforced Panel (FRP) |  |  | Steel (Hollow)
| Age | 0 | 15 | 7.5 | 16 | 30 | 23
| Condition | Good |  | 0.75 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | repainting
Roofing, Primary | Location |  |  |  | typical b |  |  | typical c |  |  | typical d
| Description |  |  |  | Polyurethane, Spray Applied |  |  | Polyurethane, Spray Applied |  |  | Membrane, Singly Ply
| Age |  |  |  | 41136 |  | 11.5 | 41136 |  | 11.5 | 41136 |  | 11.5
| Condition |  |  |  | Good |  | 0.75 | Good |  | 0.75 | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | [9 empty] | epdm
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location |  |  |  | typical b |  |  | typical c |  |  | typical d
| Description |  |  |  | Aluminum |  |  | Copper |  |  | Other (describe)
| Age |  |  |  | 41136 |  | 11.5 | 30+ |  | 30 | 41136 |  | 11.5
| Condition |  |  |  | Fair |  | 0.5 | Fair |  | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | Copper detail along parapet exterior | [5 empty] | epdm
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location |  |  |  | typical b |  |  | typical c |  |  | typical d
| Description |  |  |  | Metal, Galvanized/Painted |  |  | Other (describe) |  |  | Aluminum
| Age |  |  |  | 41136 |  | 11.5 | 30+ |  | 30 | 41136 |  | 11.5
| Condition |  |  |  | Fair |  | 0.5 | Fair |  | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | Scuppers and downspouts / Cast Iron internal drains at Building B (original) |  |  | Cast Iron Internal Drains
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes