## FCI Summary
Building Name: | Roseville Avenue | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 14550
Number of Floors: | B + 3
School Age (years): | 129
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 52.88%
Facility Condition = | VERY POOR
FCI Deficiency Cost = | 1587013.8424
FCI Replacement Cost = | 3000937.5
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 156
Historic 2005 LRFP Capacity = | 193
Adjusted 2012 Capacity = | 172
Recent Occupancy % = | 90.7%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 81.28%
Classroom Adequacy = | FAIR
Special Spaces Adequacy % Score = | 10.48%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Roseville Avenue | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 14550
Largest Floor Level Area: |  | 4850
Vertical FAR Ratio: |  | 3
School Age (years): |  | 129
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 2.7% | 5.5687 | 14550 | 81025.3125 | 100 | 129 | 0 | 0.5 | 5 | 5 | 4051.2656 | 76974.0469 | 95%
|  |  | A1030 - SLAB ON GRADE | 2.65% | 5.4656 | 14550 | 79524.8438 | 100 | 129 | 0 | 0.5 | 5 | 5 | 3976.2422 | 75548.6016 | 95%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 14550 | 66020.625 | 100 | 129 | 0 | 0.25 | 5 | 5 | 3301.0312 | 62719.5938 | 95%
|  |  | SUBTOTAL SUBSTRUCTURE | 7.55% | 15.5719 | 14550 | 226570.7812
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 14550 | 330103.125 | 100 | 129 | 0 | 0.25 | 5 | 5 | 16505.1562 | 313597.9688 | 95%
|  |  | B1020 - ROOF CONSTRUCTION | 3.4% | 7.0125 | 14550 | 102031.875 | 100 | 129 | 0 | 0.5 | 5 | 5 | 5101.5938 | 96930.2812 | 95%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 7.7% | 15.8812 | 14550 | 231072.1875 | 100 | 129 | 0 | 0.5 | 5 | 5 | 11553.6094 | 219518.5781 | 95%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 4.4% | 9.075 | 14550 | 132041.25 | 30 | 9.5 | 20.5 | 0.75 | 22.5 | 30 | 132041.25 | 0 | 0%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 3% | 6.1875 | 14550 | 90028.125 | 30 | 17.6667 | 12.3333 | 0.58333 | 17.5 | 29.8333 | 89527.9687 | 500.1563 | 0.5556%
|  |  | SUBTOTAL SHELL | 29.5% | 60.8438 | 14550 | 885276.5625
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 14550 | 120037.5 | 60 | 50.0278 | 9.9722 | 0.35 | 21 | 30.9722 | 61963.8021 | 58073.6979 | 48.38%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 14550 | 45014.0625 | 20 | 23.7059 | 0 | 0.25 | 5 | 5 | 11253.5156 | 33760.5469 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 14550 | 120037.5 | 20 | 7.5 | 12.5 | 0.75 | 15 | 20 | 120037.5 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 14550 | 45014.0625 | 30 | 129 | 0 | 0.5 | 5 | 5 | 7502.3438 | 37511.7188 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 3.2% | 6.6 | 14550 | 96030 | 10 | 11.4722 | 0 | 0.56944 | 5 | 5 | 48015 | 48015 | 50%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 14550 | 180056.25 | 20 | 19.8889 | 0.11111 | 0.325 | 6.5 | 6.6111 | 59518.5937 | 120537.6563 | 66.94%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 14550 | 180056.25 | 30 | 28.8438 | 1.1562 | 0.39062 | 11.7188 | 12.875 | 77274.1406 | 102782.1094 | 57.08%
|  |  | SUBTOTAL INTERIORS | 26.2% | 54.0375 | 14550 | 786245.625
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.75% | 1.5469 | 14550 | 22507.0312 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 22507.0312 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 14550 | 45014.0625 | 60 | 24.7926 | 35.2074 | 0.59202 | 35.5214 | 60 | 45014.0625 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 14550 | 39012.1875 | 60 | 11.5 | 48.5 | 0.75 | 45 | 60 | 39012.1875 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 14550 | 36011.25 | 60 | 0 | 60 | 0 | 0 | 60 | 36011.25 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 14550 | 15004.6875 | 30 | 0 | 30 | 0 | 0 | 30 | 15004.6875 | 0 | 0%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 3.2% | 6.6 | 14550 | 96030 | 60 | 23 | 37 | 0.5 | 30 | 60 | 96030 | 0 | 0%
|  |  | D3020 - BOILERS | 2.5% | 5.1562 | 14550 | 75023.4375 | 60 | 53 | 7 | 0.25 | 15 | 22 | 27508.5937 | 47514.8438 | 63.33%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4.5% | 9.2812 | 14550 | 135042.1875 | 40 | 53 | 0 | 0.25 | 5 | 5 | 16880.2734 | 118161.9141 | 87.5%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4.5% | 9.2812 | 14550 | 135042.1875 | 40 | 28.5 | 11.5 | 0.25 | 10 | 21.5 | 72585.1758 | 62457.0117 | 46.25%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 0% | 0 | 14550 | 0 | 40 | 0 | 40 | 0 | 0 | 40 | 0 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 14550 | 45014.0625 | 20 | 0 | 20 | 0 | 0 | 20 | 45014.0625 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 14550 | 30009.375 | 20 | 0 | 20 | 0 | 0 | 20 | 30009.375 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 14550 | 6001.875 | 20 | 18.5 | 1.5 | 0.75 | 15 | 16.5 | 4951.5469 | 1050.3281 | 17.5%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 14550 | 39012.1875 | 60 | 53 | 7 | 0.25 | 15 | 22 | 14304.4687 | 24707.7188 | 63.33%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 14550 | 210065.625 | 30 | 12.2115 | 17.7885 | 0.68269 | 20.4808 | 30 | 210065.625 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 14550 | 90028.125 | 20 | 19.4167 | 0.58333 | 0.41667 | 8.3333 | 8.9167 | 40137.5391 | 49890.5859 | 55.42%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 14550 | 9002.8125 | 20 | 28.7692 | 0 | 0.5 | 5 | 5 | 2250.7031 | 6752.1094 | 75%
|  |  | SUBTOTAL SERVICES | 34.25% | 70.6406 | 14550 | 1027821.0938
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 14550
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 14550
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 14550
|  |  | E1090 - OTHER EQUIPMENT |  |  | 14550
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 14550
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 14550
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 14550
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 14550
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 14550
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 14550 | 30009.375 | 30 | 0 | 30 | 0.25 | 7.5 | 30 | 30009.375 | 0 | 0%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 14550 | 15004.6875 | 30 | 30 | 0 | 0.5 | 15 | 15 | 7502.3438 | 7502.3438 | 50%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 14550 | 15004.6875 | 30 | 3.5 | 26.5 | 0.75 | 22.5 | 30 | 15004.6875 | 0 | 0%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 14550 | 15004.6875 | 30 | 3.5 | 26.5 | 0.75 | 22.5 | 30 | 15004.6875 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 14550 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 14550
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 14550 | 3000937.5 | [7 empty] | 1587013.8424 | 52.88%
100%
Note on J34: Tessier, Matthew: No Survey Data
Note on J35: Tessier, Matthew: No Survey Data
Note on J41: Tessier, Matthew: No Survey Data
Note on J42: Tessier, Matthew: No Survey Data
Note on J58: Tessier, Matthew: No Survey Data

## Master File (Interior)
Roseville Avenue
School Code: | 630
NPS Code: | 92
Street: | 70 Roseville Ave.
City/Town: | Newark,
Database ID: | 59
Total size (gsf): | 14550
ROOM INFORMATION | [11 empty] | Average Age | 55.5556 | Ave Condition | 0.5 | [6 empty] | 19.8889 | Ave Condition | 0.325 | [5 empty] | Average Age | 11.4722 | Ave Condition | 0.56944 | [5 empty] | Average Age | 28.8438 | Ave Condition | 0.39062 | [5 empty] | Average Age | 23.7059 | Ave Condition | 0.25 | [6 empty] | 50.0278 | Ave Condition | 0.35 | [6 empty] | 24.5714 | Ave Condition | 0.71429 | [6 empty] | 18.1 | Ave Condition | 0.6 | [5 empty] | Average Age | 26.9167 | Ave Condition | 0.58333 | [5 empty] | Average Age | 30 | Ave Condition | 0.5 | [6 empty] | 24.375 | Ave Condition | 0.5625 | [6 empty] | 7.5 | Ave Condition | 0.75 | [5 empty] | Average Age | 12.9231 | Ave Condition | 0.61538 | [6 empty] | 28.7692 | Ave Condition | 0.5 | [5 empty] | Average Age | 30 | Ave Condition | 0.25 | [5 empty] | Average Age | 30 | Ave Condition | 0.25 | [6 empty] | 18.5 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 10 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [8 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
2447 | 103 | Storage | 1st Floor | A | Support |  |  | 115 | 10' 3"
2448 | UN-1 | Nurse | 1st Floor | A | Health Services |  |  | 157 | 10' 3" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Stainless Steel Sinks | 30+ |  | 30 | Good | 0.75 | 1 | [35 empty] | 0 | [8 empty] | 0 |  |  | Fluorescent Pendant Mount Fixture | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present | Heat and smoke detectors | [6 empty] | 0 | [8 empty] | 0 |  | N/A | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [98 empty] | 0 | Present | Clock and speaker
2449 | UN-2 | Main Office | 1st Floor | A | Administration |  |  | 124 | 10' 3" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | 0 | [8 empty] | 0 |  | N/A | [45 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present | Heat and smoke detectors | [6 empty] | 0 | [8 empty] | 0 |  | N/A | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [98 empty] | 0 | Present | Clock and speaker
2450 | UN-3 | Principal's Office | 1st Floor | A | Administration |  |  | 227 | 10' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
2451 | UN-4 | Classroom | 1st Floor | A | General Classroom |  |  | 688 | 10' 3" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | 0 | [8 empty] | 0 |  | N/A | [45 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Poor | 0.25 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | 0 |  | With metal cabinet | [6 empty] | 0 |  | N/A | [8 empty] | N/A | [6 empty] | 0 | Present | Heat and smoke detectors | [15 empty] | 0 |  | N/A | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 |  | N/A | [6 empty] | 0 |  | N/A | [6 empty] | 3 | [71 empty] | 0 | Present | Clock and speaker
2452 | UN-5 | Storage | 1st Floor | A | Support |  |  | 9 | 10' 3"
2453 | UN-6 | Storage | 1st Floor | A | Support |  |  | 87 | 10' 3"
2454 | UN-7 | Cafeteria | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 813 | 10' 3" | Brick, Exposed/Unfinished | 60+ |  | 60 | Poor | 0.25 | 0 |  | Water damage at perimeter | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 | 0 |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 |  |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | [48 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | 0 |  | ceiling steam radiator pipesand unit heater | [6 empty] | 0 |  | N/A | Dry Chemical | 16 | 21 | 18.5 | Good | 0.75 | 0 | [8 empty] | 0 | Present | Heat and smoke detectors | [15 empty] | 0 |  | N/A | [114 empty] | 0 | Present | Clock and speaker | [24 empty] | 0 | Present | [7 empty] | 0
2455 | UN-8 | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 36 | 10' 3"
2456 | UN-9 | Girls\' Water Closet | 1st Floor | A | Support |  |  | 136 | 10' 3" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Good | 0.5 | 0 |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Ceramic Tile Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Good | 0.75 | 2 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Fair | 0.5 | 7 | [8 empty] | 0 |  | N/A | [15 empty] | 0 |  | N/A | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 | 0 |  |  | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Through window exhaust fan | [6 empty] | 0 | [8 empty] | 0 | Present | Heat and smoke detectors | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0 | Present | Alarm
2457 | UN-10 | Boys\' Water Closet | 1st Floor | A | Support |  |  | 136 | 10' 3" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Good | 0.5 | 0 |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Ceramic Tile Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Good | 0.75 | 2 |  |  | Floor Mounted Flush Valve | 22 | 30 | 26 | Fair | 0.5 | 5 |  |  | Wall Hung | 30+ |  | 30 | Good | 0.75 | 4 | [17 empty] | 0 |  | N/A | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 | 0 |  |  | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Through Wall | 30+ |  | 30 | Poor | 0.25 | 0 | [8 empty] | 0 | [8 empty] | 0 | Present | Heat and smoke detectors | [6 empty] | 0 | [8 empty] | 0 |  | N/A | [6 empty] | 0 | [8 empty] | 0 | [98 empty] | 0 | Present | Clock and speaker
2458 | UN-11 | Faculty Water Closet | 1st Floor | A | Faculty Support |  |  | 10 | 10' 3" | [60 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
2459 | UN-12 | Faculty Water Closet | 1st Floor | A | Faculty Support |  |  | 15 | 10' 3" | [60 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
2460 | UN-13 | Storage | 1st Floor | A | Faculty Support |  |  | 40 | 10' 3"
2461 | UN-14 | Teachers\' Room | 1st Floor | A | Faculty Support |  |  | 133 | 10' 3" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Unfinished Ceiling | 30+ |  | 30 | Fair | 0.5 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | 0 |  | Open wireframe at top | [6 empty] | 0 |  | N/A | [6 empty] | 0 |  | N/A | [6 empty] | 0 |  | N/A | [15 empty] | 0 |  | N/A | [6 empty] | 0 |  | N/A | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present | Heat and smoke detectors | [6 empty] | 0 | [8 empty] | 0 |  | N/A | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [98 empty] | 0 | Present | Clock and speaker
2462 | UN-15 | N/A | 1st Floor | A | N/A |  |  | 151 | 10' 3"
2463 | UN-16 | Boiler Room | 1st Floor | A | Support |  |  | 8 | 10' 3"
2464 | UN-17 | Custodian | 1st Floor | A | Support |  |  | 135 | 10' 3"
2465 | 201 | Kindergarten Classroom | 2nd Floor | A | Kindergarten Classroom |  |  | 726 | 12' 8" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 16 | 20 | 18 | Poor | 0.25 | 0 |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [8 empty] | 0 |  | N/A | [6 empty] | 0 |  | N/A | [6 empty] | 0 |  | N/A | [8 empty] | N/A | [8 empty] | N/A | [8 empty] | N/A | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | 0 | [10 empty] | N/A | [8 empty] | N/A | [7 empty] | Present | Smoke and heat detectors | [8 empty] | N/A | [8 empty] | N/A | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 |  | N/A | [6 empty] | 0 |  | N/A | [6 empty] | 3 | [72 empty] | Present | Clock and speaker
2466 | 202 | 1st Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 673 | 12' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
2467 | 202A | Office | 2nd Floor | A | Administration |  |  | 89 | 12' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
2468 | 203 | 2nd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 703 | 12' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
2469 | 204 | 1st Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 674 | 12' 5" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | 0 | [8 empty] | 0 |  | N/A | [45 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | 0 | [10 empty] | N/A | [8 empty] | N/A | [7 empty] | Present | Smoke and heat detectors | [17 empty] | N/A | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 |  | N/A | [6 empty] | 0 |  | N/A | [6 empty] | 3 | [72 empty] | Present | Clock and speaker
2470 | 205 | Kindergarten Classroom | 2nd Floor | A | Kindergarten Classroom |  |  | 721 | 12' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
2471 | UN-18 | Storage | 2nd Floor | A | Kindergarten Classroom |  |  | 45 | 12' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
2472 | UN-19 | Storage | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 45 | 12' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
2473 | UN-20 | Storage | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 37 | 12' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
2474 | UN-21 | Storage | 2nd Floor | A | Kindergarten Classroom |  |  | 37 | 12' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
2475 | 301 | 4th Grade Classroom | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 726 | 12' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
2476 | 302 | 3rd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 682 | 12' 5" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [8 empty] | 0 |  | N/A | [45 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | 0 | [19 empty] | N/A | [7 empty] | Present | Heat and smoke detectors | [17 empty] | N/A | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 |  | N/A | [6 empty] | 0 |  | N/A | [6 empty] | 3 | [72 empty] | Present | Clock and speaker
2477 | 303 | 3rd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 703 | 12' 5" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 |  |  | Acoustical Panel | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [8 empty] | 0 |  | N/A | [45 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | 0 | [27 empty] | Present | Heat and smoke detectors | [17 empty] | N/A | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 |  | N/A | [6 empty] | 0 |  | N/A | [6 empty] | 5 | [72 empty] | Present | Clock and speaker
2478 | 304 | 2nd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 683 | 12' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
2479 | 305 | 4th Grade Classroom | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 721 | 12' 5" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [8 empty] | 0 |  | N/A | [45 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | 0 | [28 empty] | Heat and smoke detectors | [17 empty] | N/A | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 |  | N/A | [6 empty] | 0 |  | N/A | [6 empty] | 3 | [72 empty] | Present | Clock and speaker
2480 | UN-22 | Tutoring | 3rd Floor | A | Administration |  |  | 73 | 12' 5" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 2012-07-10 |  | 1900-01-07 12:00 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 | [47 empty] | Fluorescent Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present | Heat and smoke detectors | [6 empty] | 0 | [8 empty] | 0 |  | N/A | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [98 empty] | 0 | Present | Clock and speaker
2481 | UN-23 | Storage | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 45 | 12' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
2482 | UN-24 | Storage | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 45 | 12' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
2483 | UN-25 | Storage | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 37 | 12' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
2484 | UN-26 | Storage | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 37 | 12' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
12 | A | Main Entrance | 1st Floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Painted wood | [9 empty] | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [11 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Fin Tube Radiation | 30+ |  | 30 | Fair | 0.5 | 0 | [17 empty] | 0 | Present
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
36 | A | Corridor #1 | 1st Floor | [6 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Painted wood | [9 empty] | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 |  |  |  | Wall Mounted Electric Water Coolers | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  | Ceiling mtd. radiator pipes | Dry Chemical | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | Type 4a | [7 empty] | Present | [17 empty] | Present
37 | B | Corridor #2 | 2nd Floor | [6 empty] | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Painted wood | [9 empty] | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall Mounted Stainless Steel Drinking Fountains | 22 | 30 | 26 | Good | 0.75 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 22 | 30 | 26 | Fair | 0.5 |  |  | Water type class 2a | [7 empty] | Present | [17 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
34 | A | Stair #1 | 1st Floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  | Steep risers | Reinforced Concrete | 30+ |  | 30 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  | painted concrete | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  | painted concrete | Metal/Metal Frame | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 30+ |  | 30 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present
35 | B | Stair #2 | 2nd Floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  | Steep risers | Reinforced Concrete | 30+ |  | 30 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  | painted concrete | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  | painted concrete | Metal/Metal Frame | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present

## Master File (Systems)
Systems | Question | Value1 |  | Average1 | Systems | Question | Value1 |  | Average1
Systems | Seg ID | 336 |  |  | InfoTech | Seg ID | 109
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1883 |  |  |  | Year Built | 1883
Domestic Water Heaters | Location | Basement Boiler room |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel | Fired Water Heater |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Sanitary Drainage | Location |  |  |  | Main Dist. Facility (MDF) | Location | Ground Level Floor
| Description |  |  |  |  | Description | UN | 03 Wall mounted cabinet style
| Age |  |  |  |  | Age | 10+ |  | 10
| Condition |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes
Building Support (other) Plumbing Systems | Location |  |  |  | MDF, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes | N/A
Fuel Piping | Location | Basement Boiler room |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description | Other (describe)
| Age | 46 | 60 | 53 |  | Age | 22 | 30 | 26
| Condition | Poor |  | 0.25 |  | Condition | Poor |  | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Window AC
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes
Fuel Fired Boilers | Location | Basement Boiler room |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas | Fired Boilers |  |  | Description
| Age | 46 | 60 | 53 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | 3392 MBH, condensate return package |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes
Packaged Terminal Air Conditioner | Location | Typical |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description | Window Mounted |  |  |  | Description
| Age | 21 | 30 | 25.5 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes
Pumps | Location |  |  |  | IDF #4, HVAC Terminal Units | Location
| Description | Other (describe) |  |  |  | Description
| Age | 16 | 30 | 23 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Sump pump |  |  |  | Notes
Steam Piping System | Location | Basement Boiler room |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Single | Pipe |  |  | Description
| Age | 46 | 60 | 53 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location |  |  |  | Inter. Data Facility (IDF #5) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes
Air Handling Units | Location |  |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes
HVAC Fans | Location |  |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location
Description
Age
Condition
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
| Notes | N/A
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
| Notes | N/A
Electrical Service & Distribution | Location | UN | 2
| Description | D5010 120
| Age | 46 | 60 | 53
| Condition | Poor |  | 0.25
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
| Notes | Single face
Voice Communication Terminal Equipment | Location
Description
Age
Condition
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
| Notes | N/A
Distributed AV Communication (Paging) Systems | Location | UN | 2
| Description | Public Address and Mass Notification Systems
| Age | 40+ |  | 40
| Condition | Poor |  | 0.25
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | UN | 2
| Description | Analog Video Recording Devices
| Age | 21 | 30 | 25.5
| Condition | Fair |  | 0.5
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | Basement Boiler room
| Description | Other (describe)
| Age | 0 | 10 | 5
| Condition | Fair |  | 0.5
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
| Notes | N/A
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 295 |  |  | SiteElements | Seg ID | 104
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1883 |  |  |  | Year Built | 1883
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typical |  |  |  | Location
| Description | Brick, Solid (Mass) |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | N/A
(Foundation) Walls for Subgrade Enclosures, Secondary | Location |  |  |  | Parking Lots | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes | N/A
Standard Slabs On Grade, Primary | Location | Typical |  |  | Pedestrian Plazas and Walkways, Primary | Location | S | 1
| Description | Concrete, Cast | In | Place |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Secondary | Location |  |  |  | Pedestrian Plazas and Walkways, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes | N/A
Floor Construction, Primary | Location | Typical |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location | S | 1
| Description | Wood, Beams and Joists |  |  |  | Description | Rubberized
| Age | 60+ |  | 60 |  | Age | 0 | 7 | 3.5
| Condition | Poor |  | 0.25 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Secondary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes | N/A
Roof Construction, Structural Frame, Primary | Location | Typical |  |  | Site Lighting, Primary | Location | Typical
| Description | Wood, Beams and Joists |  |  |  | Description | Pole Mounted H.I.D.
| Age | 60+ |  | 60 |  | Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location |  |  |  | Site Lighting, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes | N/A
Exterior Walls / Exterior Assembly, Primary | Location | Typical |  |  | Playground Surface | Location | S | 1
| Description | Brick, Solid (Mass) |  |  |  | Description | Rubberized
| Age | 60+ |  | 60 |  | Age | 0 | 7 | 3.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location |  |  |  | Playground Equipment | Location | S | 1
| Description |  |  |  |  | Description | B | Ball Backstops
| Age |  |  |  |  | Age | 0 | 7 | 3.5
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes | No play equipment
Exterior Windows, Primary | Location | Typical |  |  | TCUs | Location
| Description | Aluminum, Double Hung |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | N/A
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | N/A
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | N/A
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | N/A
Exterior Doors, Primary | Location | Main Entrance
| Description | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | N/A
Roofing, Primary | Location | Roof
| Description | Asphalt Shingle
| Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Confirm
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | N/A
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | Roof
| Description | Aluminum
| Age | 41136 |  | 11.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Confirm
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | Roof
| Description | Copper
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | N/A