## FCI Summary
Building Name: | South Street | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 25231
Number of Floors: | 3
School Age (years): | 129
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 51.72%
Facility Condition = | VERY POOR
FCI Deficiency Cost = | 2691292.6157
FCI Replacement Cost = | 5203893.75
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 343
Historic 2005 LRFP Capacity = | 272
Adjusted 2012 Capacity = | 266
Recent Occupancy % = | 128.9%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 65.28%
Classroom Adequacy = | VERY POOR
Special Spaces Adequacy % Score = | 39.38%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | South Street | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 25231
Largest Floor Level Area: |  | 8585
Vertical FAR Ratio: |  | 2.939
School Age (years): |  | 129
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 2.7% | 5.5687 | 25231 | 140505.1312 | 100 | 129 | 0 | 0.5 | 5 | 5 | 7025.2566 | 133479.8747 | 95%
|  |  | A1030 - SLAB ON GRADE | 2.65% | 5.4656 | 25231 | 137903.1844 | 100 | 129 | 0 | 0.5 | 5 | 5 | 6895.1592 | 131008.0252 | 95%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 25231 | 114485.6625 | 100 | 129 | 0 | 0.5 | 5 | 5 | 5724.2831 | 108761.3794 | 95%
|  |  | SUBTOTAL SUBSTRUCTURE | 7.55% | 15.5719 | 25231 | 392893.9781
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 25231 | 572428.3125 | 100 | 129 | 0 | 0.5 | 5 | 5 | 28621.4156 | 543806.8969 | 95%
|  |  | B1020 - ROOF CONSTRUCTION | 3.4% | 7.0125 | 25231 | 176932.3875 | 100 | 129 | 0 | 0.5 | 5 | 5 | 8846.6194 | 168085.7681 | 95%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 7.7% | 15.8812 | 25231 | 400699.8187 | 100 | 129 | 0 | 0.47396 | 5 | 5 | 20034.9909 | 380664.8278 | 95%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 4.4% | 9.075 | 25231 | 228971.325 | 30 | 37.5 | 0 | 0.58 | 5 | 5 | 38161.8875 | 190809.4375 | 83.33%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 3% | 6.1875 | 25231 | 156116.8125 | 30 | 11.5 | 18.5 | 0.625 | 18.75 | 30 | 156116.8125 | 0 | 0%
|  |  | SUBTOTAL SHELL | 29.5% | 60.8438 | 25231 | 1535148.6563
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 25231 | 208155.75 | 60 | 54.28 | 5.72 | 0.58654 | 35.1923 | 40.9123 | 141935.5349 | 66220.2151 | 31.81%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 25231 | 78058.4062 | 20 | 19.32 | 0.68 | 0.51 | 10.2 | 10.88 | 42463.773 | 35594.6333 | 45.6%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 25231 | 208155.75 | 20 | 5.5 | 14.5 | 0.75 | 15 | 20 | 208155.75 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 25231 | 78058.4062 | 30 | 129 | 0 | 0.5 | 5 | 5 | 13009.7344 | 65048.6719 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 3.2% | 6.6 | 25231 | 166524.6 | 10 | 10.0962 | 0 | 0.42308 | 5 | 5 | 83262.3 | 83262.3 | 50%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 25231 | 312233.625 | 20 | 20.3846 | 0 | 0.5 | 5 | 5 | 78058.4062 | 234175.2188 | 75%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 25231 | 312233.625 | 30 | 28.92 | 1.08 | 0.45 | 13.5 | 14.58 | 151745.5417 | 160488.0833 | 51.4%
|  |  | SUBTOTAL INTERIORS | 26.2% | 54.0375 | 25231 | 1363420.1625
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.75% | 1.5469 | 25231 | 39029.2031 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 39029.2031 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 25231 | 78058.4062 | 60 | 23.9278 | 36.0722 | 0.61528 | 36.9167 | 60 | 78058.4062 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 25231 | 67650.6187 | 60 | 11.5 | 48.5 | 0.75 | 45 | 60 | 67650.6187 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 25231 | 62446.725 | 60 | 60 | 0 | 0.25 | 15 | 15 | 15611.6813 | 46835.0438 | 75%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 25231 | 26019.4688 | 30 | 60 | 0 | 0.25 | 5 | 5 | 4336.5781 | 21682.8906 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 25231 | 140505.1312 | 60 | 56.5 | 3.5 | 0.375 | 22.5 | 26 | 60885.5569 | 79619.5744 | 56.67%
|  |  | D3020 - BOILERS | 2% | 4.125 | 25231 | 104077.875 | 60 | 57.6667 | 2.3333 | 0.5 | 30 | 32.3333 | 56086.4104 | 47991.4646 | 46.11%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 25231 | 208155.75 | 40 | 30 | 10 | 0.5 | 20 | 30 | 156116.8125 | 52038.9375 | 25%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 25231 | 208155.75 | 40 | 24.25 | 15.75 | 0.50625 | 20.25 | 36 | 187340.175 | 20815.575 | 10%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 25231 | 104077.875 | 40 | 0 | 40 | 0 | 0 | 40 | 104077.875 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 25231 | 78058.4062 | 20 | 0 | 20 | 0 | 0 | 20 | 78058.4062 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 25231 | 52038.9375 | 20 | 0 | 20 | 0 | 0 | 20 | 52038.9375 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 25231 | 10407.7875 | 20 | 17.6667 | 2.3333 | 0.66667 | 13.3333 | 15.6667 | 8152.7669 | 2255.0206 | 21.67%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 25231 | 67650.6187 | 60 | 7.5 | 52.5 | 0.75 | 45 | 60 | 67650.6187 | 0 | 0%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 25231 | 364272.5625 | 30 | 15 | 15 | 0.57955 | 17.3864 | 30 | 364272.5625 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 25231 | 156116.8125 | 20 | 16.2 | 3.8 | 0.625 | 12.5 | 16.3 | 127235.2022 | 28881.6103 | 18.5%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 25231 | 15611.6813 | 20 | 41.5 | 0 | 0.5119 | 5 | 5 | 3902.9203 | 11708.7609 | 75%
|  |  | SUBTOTAL SERVICES | 34.25% | 70.6406 | 25231 | 1782333.6094
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 25231
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 25231
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 25231
|  |  | E1090 - OTHER EQUIPMENT |  |  | 25231
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 25231
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 25231
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 25231
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 25231
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 25231
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 25231 | 52038.9375 | 30 | 30 | 0 | 0.5 | 15 | 15 | 26019.4688 | 26019.4688 | 50%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 25231 | 26019.4688 | 30 | 30 | 0 | 0.5 | 15 | 15 | 13009.7344 | 13009.7344 | 50%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 25231 | 26019.4688 | 30 | 11.5 | 18.5 | 0.5 | 15 | 30 | 26019.4688 | 0 | 0%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 25231 | 26019.4688 | 30 | 11.5 | 18.5 | 0.5 | 15 | 30 | 26019.4688 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 25231 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 25231
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 25231 | 5203893.75 | [7 empty] | 2691292.6157 | 51.72%
100%
Note on J41: Tessier, Matthew: No Survey Data
Note on J42: Tessier, Matthew: No Survey Data

## Master File (Interior)
South Street
School Code:
NPS Code:
Street: | 151 South St.
City/Town: | Newark,
Database ID: | 17
Total size (gsf):
ROOM INFORMATION | [11 empty] | 58.3333 | Ave Condition | 0.44792 | [5 empty] | 20.3846 | Ave Condition | 0.5 | [6 empty] | 10.0962 | Ave Condition | 0.42308 | [6 empty] | 28.92 | Ave Condition | 0.45 | [6 empty] | 19.32 | Ave Condition | 0.51 | [6 empty] | 54.28 | Ave Condition | 0.58654 | [6 empty] | 26.5556 | Ave Condition | 0.63889 | [6 empty] | 23.1667 | Ave Condition | 0.70833 | [6 empty] | 23.1667 | Ave Condition | 0.66667 | [5 empty] | 30 | Ave Condition | 0.5 | [6 empty] | 16.75 | Ave Condition | 0.5625 | [6 empty] | 5.5 | Ave Condition | 0.75 | [5 empty] | 11.5 | Ave Condition | 0.73864 | [5 empty] | 30 | Ave Condition | 0.52381 | [5 empty] | 30 | Ave Condition | 0.5125 | [6 empty] | 18.5 | Ave Condition | 0.5 | [5 empty] | 17.6667 | Ave Condition | 0.66667 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 10 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [7 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
11862 | UN-1 | Mechanical Room | 1st Floor | A | Support |  |  | 430 | N/A | [8 empty] | Unfinished | [16 empty] | Plaster
11863 | UN-2 | Custodial Office | 1st Floor | A | Support |  |  | 168 | N/A | Brick, Exposed/Unfinished | 60+ | 60 | Good | 0.75 |  |  |  | Other (describe) | 20+ | 20 | Fair | 0.5 |  |  | Paint | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Good | 0.75 |  |  | Clay tile with concrete | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Clay tiles | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | [47 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 | [28 empty] | Other (describe) | 41136 | 11.5 | Good | 0.75 |  |  | Water | [7 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 pc | [106 empty] | Present
11864 | UN-3 | Custodial Closet | 1st Floor | A | Support |  |  | 19 | N/A
11865 | UN-4 | Nurse\'s Office | 1st Floor | A | Health Services |  |  | 408 | N/A | Brick, Exposed/Unfinished | 60+ | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 60+ |  | 60 | Good | 0.75 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 |  |  | Steam, ceiling diffusers | [24 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 pc | [106 empty] | Present - Present - Present
11866 | UN-5 | Girls' Water Closet | 1st Floor | A | Support |  |  | 338 | 10' 9" | [8 empty] | Ceramic Tile | [16 empty] | Unfinished Ceiling | [32 empty] | 6 | [8 empty] | 9 | [8 empty] | 0
11867 | UN-6 | Women's Faculty Water Closet | 1st Floor | A | Faculty Support |  |  | 24 | 8' 0" | [8 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
11868 | UN-7 | Men\'s Faculty Water Closet | 1st Floor | A | Faculty Support |  |  | 20 | 8' 0" | [8 empty] | Ceramic Tile | 20+ | 20 | Good | 0.75 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 60+ |  | 60 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Valve | 22 | 30 | 26 | Good | 0.75 | 1 |  |  | Wall Hung | 22 | 30 | 26 | Good | 0.75 | 1 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Lay-In Fixture (Troffer) | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 |  |  | Toilet exhaust vent | [24 empty] | Present - Present - Present - Present - Present - Present - Present
11869 | UN-8 | Faculty Lounge | 1st Floor | A | Faculty Support |  |  | 234 | 8' 0" | Brick, Exposed/Unfinished | 60+ | 60 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 16 | 21 | 18.5 | Fair | 0.5 | [18 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 pc | [7 empty] | Present - Present
11870 | UN-9 | All Purpose Room | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 1042 | 11' 0 | Brick, Exposed/Unfinished | 60+ | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Brick | [53 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  | Ceiling pipes | [24 empty] | Present - Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present
11871 | UN-10 | Storage | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 38 | N/A
11872 | UN-11 | Cafeteria | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 954 | 10' 11 | Brick, Exposed/Unfinished | 60+ | 60 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Good | 0.75 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Vent. AND Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present | [34 empty] | Present
11873 | UN-12 | Kitchen | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 209 | 7' 9" | [8 empty] | Ceramic Tile | 20+ | 20 | Fair | 0.5 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 60+ |  | 60 | Good | 0.75 |  |  |  | Stainless Steel Sinks | 30+ |  | 30 | Good | 0.75 | [47 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Good | 0.75 | [12 empty] | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Carbon dioxide | [7 empty] | Present - Present | [160 empty] | Present | [8 empty] | Present
11874 | UN-13 | Food Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 54 | 7' 9" | [8 empty] | Ceramic Tile | [16 empty] | Acoustical Panel
11875 | UN-14 | Food Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 49 | 7' 9" | [8 empty] | Ceramic Tile | [16 empty] | Acoustical Panel
11876 | UN-15 | Food Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 53 | 7' 9" | [8 empty] | Ceramic Tile | [16 empty] | Acoustical Panel
11877 | UN-16 | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 92 | N/A
11878 | UN-17 | Boys\' Water Closet | 1st Floor | A | Support |  |  | 281 | 10' 9" | Brick, Exposed/Unfinished | 60+ | 60 | Poor | 0.25 |  |  | Water damage | Ceramic Tile | 20+ | 20 | Fair | 0.5 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Fair | 0.5 |  |  | Wainscot | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Brick and concrete | In-Counter Lavatories | 30+ |  | 30 | Good | 0.75 | 6 |  |  | Wall Hung Flush Valve | 30+ |  | 30 | Good | 0.75 | 5 |  |  | Wall Hung | 30+ |  | 30 | Good | 0.75 | 8 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Poor | 0.25 |  |  |  | Fin Tube Radiation | 30+ | 30 | Good | 0.75 | [27 empty] | Present - Present - Present
11879 | UN-18 | Small Group Instruction | 1st Floor | A | Small Group Instruction |  |  | 86 | 11' 7" | Brick, Exposed/Unfinished | 60+ | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Good | 0.75 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Fin Tube Radiation | 30+ | 30 | Good | 0.75 |  |  | Steam, ceiling diffusers | [9 empty] | Other (describe) | 41136 | 11.5 | Good | 0.75 |  |  | Carbon dioxide | [7 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 1 |  | Desktop
11880 | UN-19 | Office | 1st Floor | A | Administration |  |  | 134 | 8' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
11881 | UN-20 | Storage | 1st Floor | A | Administration |  |  | 32 | N/A
11882 | UN-21 | Main Office | 1st Floor | A | Administration |  |  | 319 | 9' 4" | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Painted wood | Wood/Wood Frame | 41070 |  | 8 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on clay tiles | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 16 | 21 | 18.5 | Fair | 0.5 | [18 empty] | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 4 pcs | [106 empty] | Present - Present
11883 | UN-22 | Storage | 1st Floor | A | Administration |  |  | 48 | N/A
11884 | UN-23 | Principal's Office | 1st Floor | A | Administration |  |  | 132 | 9' 4" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
11885 | 1 | Computer Lab | 2nd Floor | A | Technological Literacy |  |  | 566 | 12' 11" | Other (describe) | 60+ | 60 | Poor | 0.25 |  |  | Plaster on masonry | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Wooden | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Vent. AND Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 23 | [72 empty] | Present
11886 | 2 | Kindergarten | 2nd Floor | A | Kindergarten Classroom |  |  | 565 | 12' 11" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11887 | 3 | Classroom | 2nd Floor | A | General Classroom |  |  | 813 | 12' 11" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11888 | 4 | Kindergarten | 2nd Floor | A | Kindergarten Classroom |  |  | 792 | 12' 11" | Other (describe) | 60+ | 60 | Fair | 0.5 |  |  | Plaster on masonry | Vinyl Composition Tile (VCT) | 20+ | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Vent. AND Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 2 | [72 empty] | Present - Present - Present - Present
11889 | 5 | Classroom | 2nd Floor | A | General Classroom |  |  | 429 | 12' 11" | Other (describe) | 60+ | 60 | Fair | 0.5 |  |  | Plaster on masonry | Vinyl Composition Tile (VCT) | 20+ | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Good | 0.75 |  |  | Wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Linear Pendant Mount Fixture |  |  | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators |  |  | Fair | 0.5 | [27 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 | [72 empty] | Present - Present - Present - Present - Present
11890 | 6 | Classroom | 2nd Floor | A | General Classroom |  |  | 429 | 12' 11" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11891 | 7 | Classroom | 2nd Floor | B | General Classroom |  |  | 587 | 13' 0 | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11892 | 8 | Classroom | 2nd Floor | B | General Classroom |  |  | 564 | 13' 0 | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11893 | 9 | Classroom | 2nd Floor | B | General Classroom |  |  | 564 | 13' 0 | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11894 | 10 | Classroom | 2nd Floor | B | General Classroom |  |  | 587 | 13' 0 | Other (describe) | 60+ | 60 | Poor | 0.25 |  |  | Plaster on masonry - water damage | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Unfinished Ceiling | 30+ |  | 30 | Fair | 0.5 |  |  |  | Labeled Metal/Metal Frames | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 | [72 empty] | Present - Present
11895 | 24 | Office | 2nd Floor | A | Administration |  |  | 101 | 9' 4" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11896 | 25 | ESL | 2nd Floor | A | Small Group Instruction |  |  | 101 | 9' 4" | Other (describe) | 60+ | 60 | Fair | 0.5 |  |  | Plaster on masonry | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 1 | [72 empty] | Present - Present - Present
11897 | UN-24 | Child Study Team | 2nd Floor | A | Administration |  |  | 123 | 13' 4" | Other (describe) | 60+ | 60 | Fair | 0.5 |  |  | Plaster on masonry | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41067 |  | 6.5 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present
11898 | UN-25 | Water Closet | 2nd Floor | A | Kindergarten Classroom |  |  | 37 | 12' 11" | [8 empty] | Ceramic Tile | [16 empty] | Unfinished Ceiling | [32 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
11899 | UN-26 | Water Closet | 2nd Floor | A | Kindergarten Classroom |  |  | 26 | 12' 11" | Other (describe) | 60+ | 60 | Fair | 0.5 |  |  | Plaster on masonry | Ceramic Tile | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 |  |  | Ceramic tile wainscot | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  |  | Wall Hung Flush Valve | 30+ |  | 30 | Fair | 0.5 | 1 | [8 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present - Present - Present - Present - Present
11900 | UN-27 | Storage | 2nd Floor | B | Support |  |  | 26 | N/A
11901 | UN-28 | Storage | 2nd Floor | B | Support |  |  | 37 | N/A
11902 | 11 | Classroom | 3rd Floor | A | General Classroom |  |  | 565 | 12' 11" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11903 | 12 | Faculty Lounge | 3rd Floor | A | Faculty Support |  |  | 565 | 12' 11" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on clay tile | Stainless Steel Sinks | 30+ |  | 30 | Good | 0.75 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 2 desktops | [106 empty] | Present
11904 | 13 | Classroom | 3rd Floor | A | General Classroom |  |  | 814 | 14' 8" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Painted wood, water damage | Wood/Wood Frame | 41070 |  | 8 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Poor | 0.25 |  |  | Plaster on cmu | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 |  | Desktops | [70 empty] | Present - Present
11905 | 14 | Classroom | 3rd Floor | A | General Classroom |  |  | 777 | 14' 8" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11906 | 15 | Classroom | 3rd Floor | A | General Classroom |  |  | 429 | 14' 8" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11907 | 16 | Classroom | 3rd Floor | A | General Classroom |  |  | 429 | 14' 8" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11908 | 17 | Classroom | 3rd Floor | B | General Classroom |  |  | 587 | 12' 11 | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11909 | 18 | Classroom | 3rd Floor | B | General Classroom |  |  | 564 | 12' 11 | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11910 | 19 | Classroom | 3rd Floor | B | General Classroom |  |  | 564 | 12' 11 | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on clay tiles | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 |  | Desktops | [70 empty] | Present - Present - Present
11911 | 20 | Classroom | 3rd Floor | B | General Classroom |  |  | 587 | 12' 11 | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11912 | 26 | Counselor's Office | 3rd Floor | A | Administration |  |  | 101 | 9' 4" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11913 | 27 | Office | 3rd Floor | A | Administration |  |  | 101 | 9' 4" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
11914 | UN-29 | Faculty Water Closet | 3rd Floor | A | Faculty Support |  |  | 28 | 12' 11" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ | 20 | Poor | 0.25 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Fair | 0.5 |  |  | Wainscot | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Tank | 30+ |  | 30 | Good | 0.75 | 1 | [8 empty] | 0 | [28 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 | 11.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 |  |  | Toilet exhaust vents | [24 empty] | Present - Present - Present - Present
11915 | UN-30 | Storage | 3rd Floor | A | Support |  |  | 155 | N/A
11916 | UN-31 | Storage | 3rd Floor | A | General Classroom |  |  | 49 | N/A
11917 | UN-32 | Storage | 3rd Floor | B | Support |  |  | 26 | N/A
11918 | UN-33 | Storage | 3rd Floor | B | Support |  |  | 37 | N/A | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 |  |  |  | Other (describe) | 20+ | 20 | Poor | 0.25 |  |  | Painted | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [35 empty] | Present - Present - Present - Present - Present
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [7 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
46 | A |  | 1st Floor | [6 empty] | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Epoxy | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Plaster/Wood Stud Framing |  |  |  | Fair | 0.5 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present | [15 empty] | Present
Corridors | [9 empty] | Floor Finish | [7 empty] | Wall Finish | [7 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
147 | A |  | 1st Floor | [6 empty] | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ | 10 | Poor | 0.25 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Concrete Block | 60+ |  | 60 | Fair | 0.5 |  |  |  | Full Recessed China Drinking Fountains | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 0 | 7 | 3.5 | Fair | 0.5 | [10 empty] | Present | [15 empty] | Present | [7 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Stair Construction | [7 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [7 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
140 | A |  | 1-4 floor | [6 empty] | Brick, Exposed/Unfinished | 60+ | 60 | Poor | 0.25 |  |  |  | Reinforced Concrete | 30+ | 30 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Painted | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Painted | Labeled Metal/Metal Frames | 41228 |  | 13 | Fair | 0.5 |  |  | Not aligned | [9 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Terminal Unit Heaters | 30+ |  | 30 | Fair | 0.5 |  |  | Cast iron piping | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 | [9 empty] | Present | [15 empty] | Present
141 | B |  | 1-4 floor | [6 empty] | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 |  |  |  | Reinforced Concrete | 30+ | 30 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Painted | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Painted | Labeled Metal/Metal Frames | 20+ |  | 20 | Good | 0.75 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 | [9 empty] | Present
EXTERIORs INFORMATION

## Master File (Systems)
systems | Question | Value1 |  | Average1 | systems | Question | Value1 |  | Average1
Systems | Seg ID | 1290 |  |  | InfoTech | Seg ID | 433
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1883 |  |  |  | Year Built | 1883
Domestic Water Heaters | Location | UN/1 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Sanitary Drainage | Location | UN/1 |  |  | Main Dist. Facility (MDF) | Location | Ground Level Floor
| Description | Sanitary Sewers |  |  |  | Description | Wall mounted rack
| Age | 60+ |  | 60 |  | Age | 41067 |  | 6.5
| Condition | Poor |  | 0.25 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | UN/8
Building Support (other) Plumbing Systems | Location | UN/1 |  |  | MDF, HVAC Terminal Units | Location
| Description | Stormwater Drainage Sump Pumps |  |  |  | Description | Cast Iron Radiators
| Age | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Poor |  | 0.25 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Piping | Location | UN/1 |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description | Window Mounted
| Age | 60+ |  | 60 |  | Age | 16 | 21 | 18.5
| Condition | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Pumps | Location | UN/1 |  |  | Inter. Data Facility (IDF #1) | Location | 1
| Description | Fuel/Oil Pumps |  |  |  | Description | Wall mounted cabinet
| Age | 46 | 60 | 53 |  | Age | 41067 |  | 6.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location | UN/1 |  |  | IDF #1, HVAC Terminal Units | Location
| Description | Above/ground |  |  |  | Description | Unit Vent. AND Radiators
| Age | 46 | 60 | 53 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Steam piping
Fuel Fired Boilers | Location | UN/1 |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas/Fired Boilers |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location | UN/1 |  |  | IDF #4, HVAC Terminal Units | Location
| Description | Steam Condensate Pumps |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location | UN/1 |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Single/Pipe |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location |  |  |  | Inter. Data Facility (IDF #5) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location |  |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Fans | Location |  |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location | UN/1
| Description | Diesel Engine Generators
| Age | 46 | 60 | 53
| Condition | Fair |  | 0.5
CheckBox
Quantity
| Voltage | 122/40
Power Output
Elec Power
| Notes | 3 phase
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | UN/1
| Description | D5010 120
| Age | 0 | 15 | 7.5
| Condition | Good |  | 0.75
CheckBox
Quantity
| Voltage | 122/08
Power Output
Elec Power
Notes
Voice Communication Terminal Equipment | Location | UN/21
| Description | PDX/Key Systems
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | UN/21
| Description | Public Address and Mass Notification Systems
| Age | 40+ |  | 40
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | Entry #1
| Description | Digital Video Recorders
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | UN/1
| Description | Fire Alarm Annunciation Panels
| Age | 41233 |  | 10.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Value2 | Average2 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 1650 |  |  | 1637 |  | SiteElements | Seg ID | 375
| Bldg.Phase | A |  |  | B |  |  | Bldg.Phase | A
| Original | 1 |  |  | 0 |  |  | Original | 1
| Addition | 0 |  |  | 1 |  |  | Addition | 0
| Year Built | 1883 |  |  | 1900 |  |  | Year Built | 1883
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Boiler room |  |  |  |  | Roadways | Location
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  | Description
| Age | 60+ |  | 60 | 60+ | 60 |  | Age
| Condition | Fair |  | 0.5 | Fair | 0.5 |  | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location | [5 empty] | Parking Lots | Location
| Description | [6 empty] | Description | Asphalt (Bituminous)
| Age | [6 empty] | Age | 30+ |  | 30
| Condition | [6 empty] | Condition | Fair |  | 0.5
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Standard Slabs On Grade, Primary | Location | Boiler room |  |  |  |  | Pedestrian Plazas and Walkways, Primary | Location
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  | Description
| Age | 60+ |  | 60 | 60+ | 60 |  | Age
| Condition | Fair |  | 0.5 | Fair | 0.5 |  | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Standard Slabs On Grade, Secondary | Location | [5 empty] | Pedestrian Plazas and Walkways, Secondary | Location
| Description | [6 empty] | Description | Concrete, CIP
| Age | [6 empty] | Age | 30+ |  | 30
| Condition | [6 empty] | Condition | Fair |  | 0.5
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Floor Construction, Primary | Location | Boiler room |  |  |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Other (describe) |  |  | Other (describe) |  |  | Description
| Age | 60+ |  | 60 | 60+ | 60 |  | Age
| Condition | Fair |  | 0.5 | Fair | 0.5 |  | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | Composite masonry floor |  |  | Composite masonry floor |  |  | Notes
Floor Construction, Secondary | Location | [5 empty] | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description | [6 empty] | Description
| Age | [6 empty] | Age
| Condition | [6 empty] | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Roof Construction, Structural Frame, Primary | Location | [5 empty] | Site Lighting, Primary | Location
| Description | Wood, Heavy Timber |  |  | Wood, Heavy Timber |  |  | Description | Pole Mounted H.I.D.
| Age | 60+ |  | 60 | 60+ | 60 |  | Age | 0 | 7 | 3.5
| Condition | Fair |  | 0.5 | Fair | 0.5 |  | Condition | Good |  | 0.75
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Roof Construction, Structural Frame, Secondary | Location | [5 empty] | Site Lighting, Secondary | Location
| Description | [6 empty] | Description | Building Mounted H.I.D.
| Age | [6 empty] | Age | 30+ |  | 30
| Condition | [6 empty] | Condition | Poor |  | 0.25
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Exterior Walls / Exterior Assembly, Primary | Location | [5 empty] | Playground Surface | Location
| Description | Other (describe) |  |  | Other (describe) |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 |  |  |  | Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5 |  |  |  | Condition | Fair |  | 0.5
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | Brick with cmu backup |  |  | Brick on cmu backup |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location | [5 empty] | Playground Equipment | Location
| Description | [6 empty] | Description | B/Ball Backstops
| Age | [6 empty] | Age | 41136 |  | 11.5
| Condition | [6 empty] | Condition | Fair |  | 0.5
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Exterior Windows, Primary | Location | [5 empty] | TCUs | Location
| Description | Aluminum, Double Hung |  |  | Aluminum, Double Hung |  |  | Description
| Age | 30+ |  | 30 | 30+ | 30 |  | Age
| Condition | Fair |  | 0.5 | Fair | 0.5 |  | Condition
| CheckBox | [6 empty] | CheckBox
| Quantity | [6 empty] | Quantity
| Voltage | [6 empty] | Voltage
| Power Output | [6 empty] | Power Output
| Elec Power | [6 empty] | Elec Power
| Notes | [6 empty] | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated) |  |  | Glass, Single Pane
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | A few broken or damaged windows
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles |  |  | Security Grilles
Quantity
Voltage
Power Output
Elec Power
| Notes | 1st floor on south and hermon st elevation. All floors on other elevations |  |  | 1st floor on hermon st
Exterior Windows, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location
| Description | Fiber Reinforced Panel (FRP) |  |  | Steel (Hollow)
| Age | 0 | 15 | 7.5 | 60+ | 60
| Condition | Very Good |  | 0.9 | Fair | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
| Description | Wood |  |  | Wood
| Age | 31 | 45 | 38 | 60+ | 60
| Condition | Poor |  | 0.25 | Fair | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location
| Description | Asphalt Shingle |  |  | Asphalt Shingle
| Age | 41136 |  | 11.5 | 41136 | 11.5
| Condition | Fair |  | 0.5 | Fair | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location
| Description | Aluminum |  |  | Aluminum
| Age | 41136 |  | 11.5 | 41136 | 11.5
| Condition | Good |  | 0.75 | Fair | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location
| Description | Aluminum |  |  | Aluminum
| Age | 41136 |  | 11.5 | 41136 | 11.5
| Condition | Good |  | 0.75 | Good | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes