## FCI Summary
Building Name: | Harriet Tubman | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 50652
Number of Floors: | B + 4
School Age (years): | 124
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 46.67%
Facility Condition = | POOR
FCI Deficiency Cost = | 4875655.0748
FCI Replacement Cost = | 10446975
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 296
Historic 2005 LRFP Capacity = | 345
Adjusted 2012 Capacity = | 351
Recent Occupancy % = | 84.33%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 87.02%
Educational Adequacy = | GOOD
Special Spaces Adequacy % Score = | 48.21%
Educational Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Harriet Tubman | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 50652
Largest Floor Level Area: |  | 26636
Vertical FAR Ratio: |  | 1.9016
School Age (years): |  | 124
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 3.5% | 7.2188 | 50652 | 365644.125 | 100 | 124 | 0 | 0.5 | 5 | 5 | 18282.2063 | 347361.9188 | 95%
|  |  | A1030 - SLAB ON GRADE | 3.8% | 7.8375 | 50652 | 396985.05 | 100 | 124 | 0 | 0.5 | 5 | 5 | 19849.2525 | 377135.7975 | 95%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 50652 | 229833.45 | 100 | 124 | 0 | 0.25 | 5 | 5 | 11491.6725 | 218341.7775 | 95%
|  |  | SUBTOTAL SUBSTRUCTURE | 9.5% | 19.5938 | 50652 | 992462.625
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 50652 | 1149167.25 | 100 | 124 | 0 | 0.25 | 5 | 5 | 57458.3625 | 1091708.8875 | 95%
|  |  | B1020 - ROOF CONSTRUCTION | 4.4% | 9.075 | 50652 | 459666.9 | 100 | 124 | 0 | 0.75 | 5 | 5 | 22983.345 | 436683.555 | 95%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 5.8% | 11.9625 | 50652 | 605924.55 | 100 | 124 | 0 | 0.525 | 5 | 5 | 30296.2275 | 575628.3225 | 95%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 3.3% | 6.8063 | 50652 | 344750.175 | 30 | 13 | 17 | 0.75 | 22.5 | 30 | 344750.175 | 0 | 0%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 4% | 8.25 | 50652 | 417879 | 30 | 30 | 0 | 0.4375 | 13.125 | 13.125 | 182822.0625 | 235056.9375 | 56.25%
|  |  | SUBTOTAL SHELL | 28.5% | 58.7812 | 50652 | 2977387.875
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 50652 | 417879 | 60 | 37.9821 | 22.0179 | 0.64286 | 38.5714 | 60 | 417879 | 0 | 0%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 50652 | 156704.625 | 20 | 19.9655 | 0.034483 | 0.65517 | 13.1034 | 13.1379 | 102938.7278 | 53765.8972 | 34.31%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 50652 | 417879 | 20 | 7.5 | 12.5 | 0.66667 | 13.3333 | 20 | 417879 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 50652 | 156704.625 | 30 | 124 | 0 | 0.5 | 5 | 5 | 26117.4375 | 130587.1875 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 2.5% | 5.1562 | 50652 | 261174.375 | 10 | 7.8621 | 2.1379 | 0.56034 | 5.6034 | 7.7414 | 202184.9903 | 58989.3847 | 22.59%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 50652 | 626818.5 | 20 | 15.05 | 4.95 | 0.625 | 12.5 | 17.45 | 546899.1412 | 79919.3588 | 12.75%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 50652 | 626818.5 | 30 | 23 | 7 | 0.58654 | 17.5962 | 24.5962 | 513910.8087 | 112907.6913 | 18.01%
|  |  | SUBTOTAL INTERIORS | 25.5% | 52.5938 | 50652 | 2663978.625
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.5% | 1.0312 | 50652 | 52234.875 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 52234.875 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 50652 | 156704.625 | 60 | 26.9451 | 33.0549 | 0.59798 | 35.8788 | 60 | 156704.625 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 50652 | 135810.675 | 60 | 18.5 | 41.5 | 0.5 | 30 | 60 | 135810.675 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 50652 | 125363.7 | 60 | 0 | 60 | 0 | 0 | 60 | 125363.7 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 50652 | 52234.875 | 30 | 38 | 0 | 0.25 | 5 | 5 | 8705.8125 | 43529.0625 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 3.2% | 6.6 | 50652 | 334303.2 | 60 | 53 | 7 | 0.5 | 30 | 37 | 206153.64 | 128149.56 | 38.33%
|  |  | D3020 - BOILERS | 2.5% | 5.1562 | 50652 | 261174.375 | 60 | 53 | 7 | 0.5 | 30 | 37 | 161057.5312 | 100116.8438 | 38.33%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4.5% | 9.2812 | 50652 | 470113.875 | 40 | 35.5 | 4.5 | 0.625 | 25 | 29.5 | 346708.9828 | 123404.8922 | 26.25%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4.5% | 9.2812 | 50652 | 470113.875 | 40 | 21.4 | 18.6 | 0.25 | 10 | 28.6 | 336131.4206 | 133982.4544 | 28.5%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 0% | 0 | 50652 | 0 | 40 | 0 | 40 | 0 | 0 | 40 | 0 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 50652 | 156704.625 | 20 | 120 | 0 | 0.1 | 5 | 5 | 39176.1562 | 117528.4688 | 75%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 50652 | 104469.75 | 20 | 0 | 20 | 0 | 0 | 20 | 104469.75 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 50652 | 20893.95 | 20 | 11.5 | 8.5 | 0.75 | 15 | 20 | 20893.95 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 50652 | 135810.675 | 60 | 38 | 22 | 0.5 | 30 | 52 | 117702.585 | 18108.09 | 13.33%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 50652 | 731288.25 | 30 | 22.1346 | 7.8654 | 0.59615 | 17.8846 | 25.75 | 627689.0812 | 103599.1688 | 14.17%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 50652 | 313409.25 | 20 | 21.3 | 0 | 0.5 | 5 | 5 | 78352.3125 | 235056.9375 | 75%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 50652 | 31340.925 | 20 | 45 | 0 | 0.49038 | 5 | 5 | 7835.2313 | 23505.6938 | 75%
|  |  | SUBTOTAL SERVICES | 34% | 70.125 | 50652 | 3551971.5
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 50652
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 50652
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 50652
|  |  | E1090 - OTHER EQUIPMENT |  |  | 50652
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 50652
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 50652
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 50652
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 50652
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 50652
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 50652 | 104469.75 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 26117.4375 | 78352.3125 | 75%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 50652 | 52234.875 | 30 | 0 | 30 | 0 | 0 | 30 | 52234.875 | 0 | 0%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 50652 | 52234.875 | 30 | 3.5 | 26.5 | 0.75 | 22.5 | 30 | 52234.875 | 0 | 0%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 50652 | 52234.875 | 30 | 3.5 | 26.5 | 0.75 | 22.5 | 30 | 52234.875 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 50652 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 50652
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 50652 | 10446975 | [7 empty] | 4875655.0748 | 46.67%
100%
Note on J34: Tessier, Matthew: No Survey Data
Note on J42: Tessier, Matthew: No Survey Data
Note on J59: Tessier, Matthew: No Survey Data

## Master File (Interior)
Harriet Tubman
School Code:
NPS Code:
Street: | 504 S. 10th St.
City/Town: | Newark,
Database ID: | 68
Total size (gsf):
ROOM INFORMATION | [12 empty] | 48.48 | Ave Condition | 0.55 | [6 empty] | 15.05 | Ave Condition | 0.625 | [6 empty] | 7.8621 | Ave Condition | 0.56034 | [6 empty] | 23 | Ave Condition | 0.58654 | [6 empty] | 19.9655 | Ave Condition | 0.65517 | [6 empty] | 37.9821 | Ave Condition | 0.64286 | [6 empty] | 29.6364 | Ave Condition | 0.54545 | [6 empty] | 23.3889 | Ave Condition | 0.61111 | [5 empty] | 30 | Ave Condition | 0.5 | [5 empty] | 30 | Ave Condition | 0.58333 | [6 empty] | 21.7 | Ave Condition | 0.75 | [6 empty] | 7.5 | Ave Condition | 0.66667 | [6 empty] | 14.2692 | Ave Condition | 0.69231 | [5 empty] | 30 | Ave Condition | 0.48077 | [5 empty] | 30 | Ave Condition | 0.25 | [6 empty] | 12.8 | Ave Condition | 0.25 | [5 empty] | 11.5 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 10 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [7 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
10046 | UN-76 | N/A | Basement | A | Support |  |  | 46 | N/A
10047 | UN-77 | N/A | Basement | A | Support |  |  | 94 | N/A
10048 | UN-78 | N/A | Basement | A | Support |  |  | 593 | N/A
10049 | UN-79 | N/A | Basement | B | Support |  |  | 606 | N/A
10050 | 2 | Kindergarten | 1st Floor | C | Kindergarten Classroom |  |  | 778 | 9' 7" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 | 0 |  | water damage | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 31 | 45 | 38 | Good | 0.75 | 0 |  |  | In-Counter Lavatories | 30+ |  | 30 | Fair | 0.5 | 2 | [8 empty] | 0 | [7 empty] | 0 | [28 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Poor | 0.25 | 0 | [26 empty] | Present | [42 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [72 empty] | Present
10051 | 3 | Kindergarten | 1st Floor | A | Kindergarten Classroom |  |  | 778 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10052 | 4 | Pre-K | 1st Floor | C | Pre-Kindergarten Classroom |  |  | 763 | 9' 8" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 31 | 45 | 38 | Good | 0.75 | 0 |  |  | In-Counter Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 | [8 empty] | 0 | [7 empty] | 0 | [28 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Poor | 0.25 | 0 |  | ducted air diffusers | [24 empty] | Present - Present | [42 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present - Present
10053 | 5 | Band | 1st Floor | C | Visual & Performing Arts |  |  | 764 | 8' | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | [12 empty] | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 | [21 empty] | In-Counter Lavatories | 30+ |  | 30 | Fair | 0.5 | 2 | [94 empty] | Present - Present - Present | [133 empty] | Present - Present - Present
10054 | UN-1 | Office | 1st Floor | A | Administration |  |  | 266 | 8' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10055 | UN-2 | General Office | 1st Floor | B | Administration |  |  | 416 | 8' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  | Water damage | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Good | 0.75 |  |  | 2x2 | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | [46 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  | Some covers missing | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 |  |  |  | Window Mounted | 2012-08-15 |  | 1900-01-10 12:00 | Poor | 0.25 | [18 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present
10056 | UN-3 | N/A | 1st Floor | A | N/A |  |  | 65 | N/A
10057 | UN-4 | N/A | 1st Floor | A | N/A |  |  | 19 | N/A
10058 | UN-5 | N/A | 1st Floor | A | N/A |  |  | 65 | N/A
10059 | UN-6 | Coat Room | 1st Floor | A | Support |  |  | 19 | N/A
10060 | UN-7 | Principal\'s Office | 1st Floor | B | Administration |  |  | 613 | N/A | Brick, Exposed/Unfinished | 60+ |  | 60 | Fair | 0.5 |  |  | Painted | Wood | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | [55 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 |  |  |  | Window Mounted | 22 | 30 | 26 | Poor | 0.25 | [18 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5
10061 | UN-8 | Head Custodian's Office | 1st Floor | A | Support |  |  | 68 | 9' 1" | [9 empty] | Unfinished | [17 empty] | Plaster
10062 | UN-9 | Upper Boiler Room | 1st Floor | A | Support |  |  | 258 | 9' 1" | [9 empty] | Unfinished | [17 empty] | Plaster
10063 | UN-10 | Lower Boiler Room | 1st Floor | A | Support |  |  | 403 | n/a | [9 empty] | Unfinished | [17 empty] | Plaster
10064 | UN-11 | School Leadership Council | 1st Floor | A | Administration |  |  | 31 | N/A
10065 | UN-12 | Vault/Storage | 1st Floor | A | Support |  |  | 244 | N/A
10066 | UN-13 | Storage | 1st Floor | A | Support |  |  | 480 | 8' 10" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10067 | UN-14 | Boys\' Water Closet | 1st Floor | A | Support |  |  | 457 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  | ceramic tile wainscot | Ceramic Tile | 20+ |  | 20 | Poor | 0.25 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | [8 empty] | Wood/Wood Frame | 2012-11-15 |  | 1900-01-12 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | 4 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Fair | 0.5 | 9 |  |  | Floor Unit | 30+ | 30 | Fair | 0.5 | 9 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present - Present
10068 | UN-15 | Janitor's Closet | 1st Floor | A | Support |  |  | 59 | N/A | [9 empty] | Unfinished | [17 empty] | Plaster
10069 | UN-16 | Principal's Water Closet | 1st Floor | A | Faculty Support |  |  | 22 | N/A | [60 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
10070 | UN-17 | Storage | 1st Floor | A | Support |  |  | 34 | N/A
10071 | UN-18 | N/A | 1st Floor | A | N/A |  |  | 30 | N/A
10072 | UN-19 | Girls' Water Closet | 1st Floor | A | Support |  |  | 592 | N/A | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 4 | [8 empty] | 18 | [7 empty] | 0
10073 | UN-20 | Parent Center | 1st Floor | A | Administration |  |  | 583 | 8' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10074 | UN-21 | Library | 1st Floor | A | Media Center |  |  | 746 | 8' 4" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Suspended Acoustical | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  | ducted central hvac; radiant pipes | [24 empty] | Present - Present - Present - Present - Present | [42 empty] | 0 | [8 empty] | 0 | [8 empty] | 5 | [72 empty] | Present - Present - Present - Present
10075 | UN-22 | Storage | 1st Floor | A | Support |  |  | 62 | N/A
10076 | UN-23 | Storage | 1st Floor | A | Support |  |  | 65 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | 16 | 20 | 18 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  | wood wainscot | [6 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Poor | 0.25 | [35 empty] | Present - Present - Present - Present - Present - Present
10077 | UN-24 | N/A | 1st Floor | A | N/A |  |  | 29 | N/A
10078 | UN-25 | Water Closet | 1st Floor | A | Support |  |  | 28 | N/A | [60 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
10079 | UN-26 | Nurse | 1st Floor | A | Health Services |  |  | 160 | 9' 2" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  | wood wainscot | Vinyl Composition Tile (VCT) | 16 | 20 | 18 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | painted wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Tank | 22 | 30 | 26 | Good | 0.75 | 1 | [7 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Poor | 0.25 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 | [18 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present
10080 | UN-27 | N/A | 1st Floor | A | N/A |  |  | 113 | N/A
10081 | UN-28 | Fenced-In Storage Area | 1st Floor | A | Support |  |  | 163 | N/A
10082 | UN-29 | Fenced-In Storage Area | 1st Floor | A | Support |  |  | 121 | N/A
10083 | UN-40 | Literacy Coach/Office | 1st Floor | A | Administration |  |  | 280 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10084 | UN-41 | Water Closet | 1st Floor | A | Pre-Kindergarten Classroom |  |  | 15 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
10085 | UN-42 | Girls' Water Closet | 1st Floor | A | Support |  |  | 140 | 7' 11" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 2 | [8 empty] | 2 | [7 empty] | 0
10086 | UN-43 | Water Closet | 1st Floor | A | Kindergarten Classroom |  |  | 18 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
10087 | UN-44 | Water Closet | 1st Floor | A | Visual & Performing Arts |  |  | 15 | 7' 7" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
10088 | UN-45 | Boys' Water Closet | 1st Floor | A | Support |  |  | 140 | N/A
10089 | UN-46 | Janitor's Closet | 1st Floor | A | Support |  |  | 23 | N/A | [9 empty] | Ceramic Tile | [17 empty] | Plaster
10090 | UN-47 | Men's Water Closet | 1st Floor | A | Faculty Support |  |  | 149 | 7' 11" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 2 | [8 empty] | 2 | [7 empty] | 0
10091 | UN-48 | Storage | 1st Floor | C | Support |  |  | 45 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Drywall (Gypsum) | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Fair | 0.5 | [9 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 30+ |  | 30 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | exhaust vent | [24 empty] | Present - Present - Present - Present - Present - Present - Present
10092 | UN-49 | Women's Water Closet | 1st Floor | A | Faculty Support |  |  | 150 | 7' 11" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 2 | [8 empty] | 2 | [7 empty] | 0
10093 | UN-50 | Water Closet | 1st Floor | A | Kindergarten Classroom |  |  | 18 | 9' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
10094 | UN-51 | Girls' Locker Room | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 326 | 8' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
10095 | UN-52 | Girls' Water Closet | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 66 | 8' | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [8 empty] | 2 | [7 empty] | 0
10096 | UN-53 | Storage | 1st Floor | A | Support |  |  | 20 | N/A
10097 | UN-54 | Storage | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 107 | 8' | [9 empty] | Ceramic Tile | [17 empty] | Plaster
10098 | UN-55 | Boys\' Locker Room | 1st Floor | C | Phys. Ed. (Gym + Storage) |  |  | 236 | 8' | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  | 1 tile missing | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Drywall (Gypsum) | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 3 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Fair | 0.5 | 1 | [7 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Fair | 0.5 |  |  |  | Fluorescent Linear Surface Mount Fixture | 30+ |  | 30 | Poor | 0.25 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | exhaust vent | [24 empty] | Present - Present - Present - Present - Present - Present - Present | [42 empty] | 0 | [8 empty] | 0 | [8 empty] | 0
10099 | UN-56 | Boys' Water Closet | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 34 | 8' | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [8 empty] | 1 | [7 empty] | 1
10100 | UN-57 | Paper Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 45 | N/A
10101 | UN-58 | Kitchen | 1st Floor | C | Food Service/Assembly (K-8) |  |  | 1511 | 9' 7" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 |  |  |  | Epoxy | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Acoustical Panel | 30+ |  | 30 | Fair | 0.5 |  |  | Concealed spline | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | Stainless Steel Sinks | 30+ |  | 30 | Good | 0.75 | [46 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Terminal Unit Heaters | 30+ | 30 | Poor | 0.25 | [12 empty] | Wet Chemical | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 | [10 empty] | Present - Present | [133 empty] | Present - Present | [26 empty] | Present | [8 empty] | Present
10102 | UN-59 | Men's Water Closet | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 48 | 8' | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [8 empty] | 1 | [7 empty] | 1
10103 | UN-60 | Women's Water Closet | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 48 | 8' | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
10104 | UN-61 | Meter Room | 1st Floor | A | Support |  |  | 135 | 9' 8" | [9 empty] | Unfinished | [17 empty] | Plaster
10105 | UN-62 | Mechanical | 1st Floor | A | Support |  |  | 72 | 9' 8" | [9 empty] | Unfinished | [17 empty] | Plaster
10106 | UN-63 | Mechanical | 1st Floor | A | Support |  |  | 83 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10107 | UN-64 | Gymnasium/Cafeteria/Auditorium | 1st Floor | C | Food Service/Assembly (K-8) |  |  | 6039 | 23' | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Good | 0.75 |  |  | Metal deck | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | [37 empty] | Wall Mounted Stainless Steel Drinking Fountains | 30+ |  | 30 | Good | 0.75 | [12 empty] | HID Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Good | 0.75 |  |  | Ceiling diffusers | [24 empty] | Present - Present - Present | [34 empty] | Present | [98 empty] | Present - Present - Present
10108 | UN-65 | Kitchen Storage | 1st Floor | C | Food Service/Assembly (K-8) |  |  | 214 | N/A | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Good | 0.75 |  |  | Metal deck | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Air supply | [24 empty] | Present - Present - Present - Present
10109 | UN-66 | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 214 | 23' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Specialty Ceilings (describe)
10110 | UN-67 | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 118 | N/A
10111 | UN-68 | N/A | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 51 | N/A
10112 | UN-69 | N/A | 1st Floor | A | Food Services (9-12) |  |  | 51 | N/A
10113 | 201 | 3rd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 746 | 9' 10" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10114 | 202 | 3rd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 746 | 9' 6" | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Vinyl Composition Tile (VCT) | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  | water damage | Suspended Acoustical | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 31 | 45 | 38 | Poor | 0.25 | 0 |  | water damage | [6 empty] | 0 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present | [42 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [72 empty] | Present
10115 | 203 | Science | 2nd Floor | A | General Classroom |  |  | 819 | 9' 6" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Acoustical Panel | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 | [8 empty] | 1 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present | [42 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [72 empty] | Present - Present
10116 | 204 | 3rd Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 819 | 9' 5" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10117 | 205 | 4th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 660 | 10' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10118 | 206 | Library | 2nd Floor | B | Media Center |  |  | 660 | 10' | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present - Present | [42 empty] | 0 | [8 empty] | 0 | [8 empty] | 4 | [72 empty] | Present - Present - Present
10119 | 207 | 4th Grade Classroom | 2nd Floor | B | General Classroom (Grades 4-5) |  |  | 698 | 10' 1" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Poor | 0.25 | 0 |  | water damage | Wood/Metal Frame | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present - Present - Present | [42 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [72 empty] | Present - Present - Present - Present
10120 | 208 | 4th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 698 | 10' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10121 | 210 | Boys' Water Closet | 2nd Floor | A | Support |  |  | 156 | N/A | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 3 | [8 empty] | 2 | [7 empty] | 4
10122 | 213 | Girls\' Water Closet | 2nd Floor | B | Support |  |  | 156 | N/A | [9 empty] | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Drywall (Gypsum) | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 31 | 45 | 38 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 3 |  |  | Wall Hung Flush Valve | 30+ |  | 30 | Fair | 0.5 | 4 | [7 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Recessed Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present - Present - Present
10123 | 215 | Storage | 2nd Floor | A | Support |  |  | 65 | N/A
10124 | 216 | Teachers\' Room | 2nd Floor | A | Faculty Support |  |  | 160 | 13' 6" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 2012-06-10 |  | 1900-01-07 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | painted wood | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 31 | 45 | 38 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Tank | 30+ |  | 30 | Good | 0.75 | 1 | [7 empty] | 0 | [10 empty] | Wall Mounted Stainless Steel Drinking Fountains | 30+ |  | 30 | Good | 0.75 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [12 empty] | Other (describe) | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  | water | [7 empty] | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | verizon phone | [106 empty] | Present - Present - Present - Present - Present
10125 | 217 | Faculty Water Closet | 2nd Floor | A | Faculty Support |  |  | 28 | 11' 6" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
10126 | 218 | Storage | 2nd Floor | A | Support |  |  | 62 | N/A
10127 | UN-70 | Storage | 2nd Floor | A | Support |  |  | 87 | N/A
10128 | UN-71 | Storage | 2nd Floor | A | Support |  |  | 87 | N/A
10129 | UN-72 | Parent Liaison | 2nd Floor | A | Administration |  |  | 113 | 11' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
10130 | 301 | 2nd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 746 | 12' 2" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | isolated water damage | Wood/Metal Frame | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present | [42 empty] | 0 | [8 empty] | 0 | [8 empty] | 4 | [72 empty] | Present
10131 | 302 | 2nd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 746 | 12' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10132 | 303 | Computers | 3rd Floor | A | Technological Literacy |  |  | 819 | 9' 8" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Suspended Acoustical | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | [18 empty] | Present - Present | [42 empty] | 1 | [17 empty] | 25 | [72 empty] | Present - Present
10133 | 304 | 1st Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 819 | 12' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10134 | 305 | 2nd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 660 | 10' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10135 | 306 | 3rd Grade Classroom | 3rd Floor | B | General Classroom (Grades 1-3) |  |  | 660 | 10' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Vinyl Composition Tile (VCT) | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present - Present | [42 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [72 empty] | Present - Present - Present
10136 | 307 | 3rd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 698 | 10' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10137 | 308 | 3rd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 698 | 10' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10138 | 310 | Boys' Water Closet | 3rd Floor | A | Support |  |  | 156 | N/A | [60 empty] | 3 | [8 empty] | 2 | [7 empty] | 4
10139 | 313 | Girls' Water Closet | 3rd Floor | A | Support |  |  | 156 | N/A | [60 empty] | 3 | [8 empty] | 4 | [7 empty] | 0
10140 | 315 | Storage | 3rd Floor | A | Support |  |  | 65 | N/A | [9 empty] | Unfinished | [17 empty] | Plaster
10141 | 316 | Office Book Room | 3rd Floor | A | Support |  |  | 113 | N/A
10142 | 317 | Teachers' Room | 3rd Floor | A | Faculty Support |  |  | 160 | 13' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
10143 | 318 | Faculty Water Closet | 3rd Floor | A | Faculty Support |  |  | 28 | 13' 6" | [9 empty] | Ceramic Tile | [17 empty] | Unfinished Ceiling | [32 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
10144 | 319 | Storage | 3rd Floor | A | Support |  |  | 62 | N/A
10145 | UN-73 | Storage | 3rd Floor | A | Support |  |  | 87 | 13' 7" | [9 empty] | Unfinished | [17 empty] | Plaster
10146 | UN-74 | Storage | 3rd Floor | B | Support |  |  | 87 | N/A
10147 | 401 | World Languages | 4th Floor | A | General Classroom |  |  | 734 | 10' 1" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10148 | 402 | 5th Grade Classroom | 4th Floor | A | General Classroom (Grades 4-5) |  |  | 734 | 8' 8" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 2012-06-10 |  | 1900-01-07 | Good | 0.75 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 |  |  | no power | [15 empty] | Present | [42 empty] | 0 | [8 empty] | 0 | [8 empty] | 1 | [72 empty] | Present
10149 | 403 | 5th Grade Classroom | 4th Floor | A | General Classroom (Grades 4-5) |  |  | 790 | 9' 7" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 16 | 20 | 18 | Poor | 0.25 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 2012-11-15 |  | 1900-01-12 | Good | 0.75 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present | [42 empty] | 0 | [19 empty] | 3 | [70 empty] | Present - Present
10150 | 404 | 6th Grade Classroom | 4th Floor | A | General Classroom (Grades 6-8) |  |  | 807 | N/A
10151 | 405 | N/A | 4th Floor | A | General Classroom (Grades 6-8) |  |  | 39 | N/A
10152 | 406 | Girls' Water Closet | 4th Floor | A | Support |  |  | 109 | N/A | [60 empty] | 2 | [8 empty] | 2 | [7 empty] | 0
10153 | 409 | Boys' Water Closet | 4th Floor | A | Support |  |  | 109 | N/A | [60 empty] | 2 | [8 empty] | 2 | [7 empty] | 2
10154 | 410 | N/A | 4th Floor | A | General Classroom (Grades 4-5) |  |  | 39 | N/A | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 31 | 45 | 38 | Good | 0.75 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present - Present | [42 empty] | 0 | [8 empty] | 0 | [8 empty] | 0
10155 | 412 | Storage | 4th Floor | A | Support |  |  | 39 | N/A
10156 | 413 | Storage | 4th Floor | A | Support |  |  | 42 | N/A
10157 | 414 | Psychologist/Learning Disability Specialist | 4th Floor | A | Administration |  |  | 113 | 12' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
10158 | 415 | Teachers\' Room | 4th Floor | A | Faculty Support |  |  | 160 | 11' 11" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 2012-11-15 |  | 1900-01-12 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | painted wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 31 | 45 | 38 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Tank | 30+ |  | 30 | Fair | 0.5 | 1 | [7 empty] | 0 | [10 empty] | Wall Mounted Stainless Steel Drinking Fountains | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present
10159 | 416 | Faculty Water Closet | 4th Floor | A | Faculty Support |  |  | 28 | 11' 10" | [9 empty] | Ceramic Tile | [17 empty] | Unfinished Ceiling | [32 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
10160 | UN-75 | N/A | 4th Floor | A | N/A |  |  | 71 | 8' 4" | [9 empty] | Unfinished | [17 empty] | Plaster
INTERIORs INFORMATION
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
200 | A | Original | [7 empty] | Vinyl Composition Tile (VCT) | 2012-06-10 |  | 1900-01-07 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | [12 empty] | Drywall (Gypsum)/Metal Stud Framing | 31 | 45 | 38 | Fair | 0.5 | [21 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 16 | 21 | 18.5 | Good | 0.75 | [10 empty] | Present | [16 empty] | Present | [7 empty] | Present
201 | B | Original and addition | [7 empty] | Vinyl Composition Tile (VCT) | 2012-06-10 |  | 1900-01-07 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Acoustical Panel | 30+ |  | 30 | Poor | 0.25 |  |  | Concealed spline | [9 empty] | Plaster/Metal Stud Framing | 60+ |  | 60 | Good | 0.75 |  |  |  | Wall Mounted Stainless Steel Drinking Fountains | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [19 empty] | Present | [24 empty] | Present
202 | C | Addition | [7 empty] | Vinyl Composition Tile (VCT) | 2012-06-10 |  | 1900-01-07 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Concrete Block | 31 | 45 | 38 | Good | 0.75 |  |  |  | Wall Mounted Electric Water Coolers | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | [12 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Good | 0.75 |  |  | Central hvac with ceiling slut diffusers | Wet Chemical | 16 | 21 | 18.5 | Good | 0.75 | [10 empty] | Present | [24 empty] | Present

## Master File (Systems)
Systems | Question | Value1 |  | Average1 | Value2 |  | Average2 | Systems | Question | Value1 |  | Average1
Systems | Seg ID | 1705 |  |  | 1711 |  |  | InfoTech | Seg ID | 535
| Bldg.Phase | B |  |  | C |  |  |  | Bldg.Phase | B
| Original | 0 |  |  | 0 |  |  |  | Original | 0
| Addition | 1 |  |  | 1 |  |  |  | Addition | 1
| Year Built | 1896 |  |  | 1976 |  |  |  | Year Built | 1896
Domestic Water Heaters | Location | Un10 |  |  | Un62 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  | Fuel/Fired Water Heater |  |  |  | Description
| Age | 16 | 21 | 18.5 | 41136 |  | 11.5 |  | Age
| Condition | Fair |  | 0.5 | Good |  | 0.75 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Sanitary Drainage | Location | [6 empty] | Main Dist. Facility (MDF) | Location | Above Ground Level Floor
| Description | [7 empty] | Description | 306 , wall mount
| Age | [7 empty] | Age | 10+ |  | 10
| Condition | [7 empty] | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox | Secure
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Building Support (other) Plumbing Systems | Location |  |  |  | Roof |  |  | MDF, HVAC Terminal Units | Location
| Description |  |  |  | Stormwater Area Drains |  |  |  | Description | Fin Tube Radiation
| Age |  |  |  | 31 | 45 | 38 |  | Age | 30+ |  | 30
| Condition |  |  |  | Poor |  | 0.25 |  | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Piping | Location | [6 empty] | MDF, Packaged Terminal Air Conditioner | Location
| Description | [7 empty] | Description | Window Mounted
| Age | [7 empty] | Age | 16 | 21 | 18.5
| Condition | [7 empty] | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Pumps | Location | [6 empty] | Inter. Data Facility (IDF #1) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Storage Tanks | Location | [6 empty] | IDF #1, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Fired Boilers | Location | Un10 | [5 empty] | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas/Fired Boilers | [6 empty] | Description
| Age | 46 | 60 | 53 |  |  |  |  | Age
| Condition | Fair |  | 0.5 |  |  |  |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Honeywell, 115 volts | [6 empty] | Notes
Furnaces | Location | [6 empty] | Inter. Data Facility (IDF #2) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Unit Ventilators | Location | [6 empty] | IDF #2, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fan Coil Units | Location | [6 empty] | IDF #2, Packaged Terminal Air Conditioner | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Water Chillers | Location | [6 empty] | Inter. Data Facility (IDF #3) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Cooling Towers | Location | [6 empty] | IDF #3, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Packaged Terminal Air Conditioner | Location | [6 empty] | IDF #3, Packaged Terminal Air Conditioner | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Hydronic Piping System | Location | [6 empty] | Inter. Data Facility (IDF #4) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Pumps | Location | [6 empty] | IDF #4, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Steam Piping System | Location | [6 empty] | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
HVAC Air Distribution | Location | [6 empty] | Inter. Data Facility (IDF #5) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Air Handling Units | Location |  |  |  | Roof |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  |  | Package Rooftop Units (RTU) |  |  |  | Description
| Age |  |  |  | 31 | 40 | 35.5 |  | Age
| Condition |  |  |  | Good |  | 0.75 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity |  |  |  | 3 |  |  |  | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes |  |  |  | Heating and cooling |  |  |  | Notes
HVAC Fans | Location | Un9 |  |  | Roof |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description |  |  |  | Centrifugal Roof Ventilator |  |  |  | Description
| Age |  |  |  | 31 | 40 | 35.5 |  | Age
| Condition |  |  |  | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes |  |  |  | 1 is in poor condition |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location | [6 empty] | Backbone Cable Dist. | Location
| Description | [7 empty] | Description
| Age |  |  | 120 |  |  |  |  | Age
| Condition |  |  | 0.1 |  |  |  |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fire/Suppression (Standpipes), Water/Based | Location | [6 empty] | Horizontal Cable Dist. | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Facility Power Generation, Packaged Generator Assemblies | Location | Un10
| Description | Gas Engine Generators
| Age | 60+ |  | 60
| Condition | Fair |  | 0.5
CheckBox
Quantity
| Voltage | 12208
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | Un9 |  |  | Un64
| Description | D5010 120 |  |  | D5010 120
| Age | 31 | 45 | 38 | 31 | 45 | 38
| Condition | Fair |  | 0.5 | Good |  | 0.75
CheckBox
Quantity
| Voltage | 120 to 208
Power Output
Elec Power
| Notes | 700 amps |  |  | 225 amps
Voice Communication Terminal Equipment | Location | 317
| Description | PDX/Key Systems
| Age | 41233 |  | 10.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | Un2
| Description | Public Address and Mass Notification Systems
| Age | 40+ |  | 40
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | Ent1
| Description | Digital Video Recorders
| Age | 31 | 40 | 35.5
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | Un9
| Description | Fire Alarm Annunciation Panels
| Age | 41233 |  | 10.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
| Description | Condensite return tank in poor 50 plus |  |  | Kitchen exhaust fan
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | Fair

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Value2 | Average2 | Value3 |  | Average3 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 2127 |  |  | 2136 |  | 2145 |  |  | SiteElements | Seg ID | 493
| Bldg.Phase | A |  |  | B |  | C |  |  |  | Bldg.Phase | A
| Original | 1 |  |  | 0 |  | 0 |  |  |  | Original | 1
| Addition | 0 |  |  | 1 |  | 1 |  |  |  | Addition | 0
| Year Built | 1888 |  |  | 1896 |  | 1976 |  |  |  | Year Built | 1888
(Foundation) Walls for Subgrade Enclosures, Primary | Location |  |  |  | Un10 |  | typical |  |  | Roadways | Location
| Description | Brick, Solid (Mass) |  |  | Brick, Solid (Mass) |  | Concrete, Cast/In/Place |  |  |  | Description
| Age | 60+ |  | 60 | 60+ | 60 | 31 | 45 | 38 |  | Age
| Condition | Poor |  | 0.25 | Poor | 0.25 | Good |  | 0.75 |  | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location | [8 empty] | Parking Lots | Location
| Description | [9 empty] | Description | Concrete
| Age | [9 empty] | Age | 30+ |  | 30
| Condition | [9 empty] | Condition | Poor |  | 0.25
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Standard Slabs On Grade, Primary | Location |  |  |  | Un10 |  | typical |  |  | Pedestrian Plazas and Walkways, Primary | Location
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  | Concrete, Cast/In/Place |  |  |  | Description
| Age | 60+ |  | 60 | 60+ | 60 | 31 | 45 | 38 |  | Age
| Condition | Fair |  | 0.5 | Fair | 0.5 | Good |  | 0.75 |  | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Standard Slabs On Grade, Secondary | Location | [8 empty] | Pedestrian Plazas and Walkways, Secondary | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Floor Construction, Primary | Location |  |  |  | Un10 |  |  |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Other (describe) |  |  | Other (describe) | [5 empty] | Description
| Age | 60+ |  | 60 | 60+ | 60 |  |  |  |  | Age
| Condition | Poor |  | 0.25 | Poor | 0.25 |  |  |  |  | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | Clay tile arch floor |  |  | Clay tiles | [5 empty] | Notes
Floor Construction, Secondary | Location | [8 empty] | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Roof Construction, Structural Frame, Primary | Location | [8 empty] | Site Lighting, Primary | Location
| Description | [9 empty] | Description | Pole Mounted H.I.D.
| Age | [9 empty] | Age | 30+ |  | 30
| Condition |  |  |  | Good | 0.75 |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Roof Construction, Structural Frame, Secondary | Location | [8 empty] | Site Lighting, Secondary | Location
| Description | [9 empty] | Description
| Age | [9 empty] | Age
| Condition | [9 empty] | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Exterior Walls / Exterior Assembly, Primary | Location | [5 empty] | typcal |  |  | Playground Surface | Location
| Description | Brick, Solid (Mass) |  |  |  |  | Brick Veneer w/ Steel Stud |  |  |  | Description | Rubberized
| Age | 60+ |  | 60 |  |  | 31 | 45 | 38 |  | Age | 0 | 7 | 3.5
| Condition | Fair |  | 0.5 |  |  | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Exterior Walls / Exterior Assembly, Secondary | Location | [8 empty] | Playground Equipment | Location
| Description | [9 empty] | Description | Multi/Component Play Equipment Set
| Age | [9 empty] | Age | 0 | 7 | 3.5
| Condition | [9 empty] | Condition | Good |  | 0.75
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Exterior Windows, Primary | Location | [5 empty] | typical |  |  | TCUs | Location
| Description | Aluminum, Double Hung |  |  |  |  | Aluminum, Awning/Hopper |  |  |  | Description
| Age | 16 | 21 | 18.5 |  |  | 30+ |  | 30 |  | Age
| Condition | Good |  | 0.75 |  |  | Fair |  | 0.5 |  | Condition
| CheckBox | [9 empty] | CheckBox
| Quantity | [9 empty] | Quantity
| Voltage | [9 empty] | Voltage
| Power Output | [9 empty] | Power Output
| Elec Power | [9 empty] | Elec Power
| Notes | [9 empty] | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated) |  |  |  |  | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | [5 empty] | Security Grilles
Quantity
Voltage
Power Output
Elec Power
| Notes | 1st and 2nd floors
Exterior Windows, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | [5 empty] | typical
| Description | Fiber Reinforced Panel (FRP) |  |  |  |  | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5 |  |  | 0 | 15 | 7.5
| Condition | Good |  | 0.75 |  |  | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | Roof |  |  | Roof |  | Roof
| Description | Asphalt Shingle |  |  | Asphalt Shingle |  | Asphalt, Built Up
| Age | 30+ |  | 30 | 30+ | 30 | 30+ |  | 30
| Condition | Poor |  | 0.25 | Poor | 0.25 | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | Roof |  |  | Roof |  | Roof
| Description | Aluminum |  |  | Aluminum |  | Aluminum
| Age | 30+ |  | 30 | 30+ | 30 | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair | 0.5 | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | Roof |  |  | Roof |  | roof
| Description | Aluminum |  |  | Aluminum |  | Other (describe)
| Age | 30+ |  | 30 | 30+ | 30 | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | [5 empty] | internal roof drains
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes