## FCI Summary
Building Name: | Warren Street | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 57950
Number of Floors: | B + 3
School Age (years): | 102
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 57.13%
Facility Condition = | VERY POOR
FCI Deficiency Cost = | 7448837.8454
FCI Replacement Cost = | 13038750
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 0
Historic 2005 LRFP Capacity = | 307
Adjusted 2012 Capacity = | 398
Recent Occupancy % = | 0%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 78%
Classroom Adequacy = | FAIR
Special Spaces Adequacy % Score = | 36.83%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Warren Street | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 57950
Largest Floor Level Area: |  | 20282
Vertical FAR Ratio: |  | 2.8572
School Age (years): |  | 120
Replacement Constr Cost/SF: |  | 300 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 225 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 2.7% | 6.075 | 57950 | 352046.25 | 100 | 120 | 0 | 0.5 | 5 | 5 | 17602.3125 | 334443.9375 | 95%
|  |  | A1030 - SLAB ON GRADE | 2.65% | 5.9625 | 57950 | 345526.875 | 100 | 120 | 0 | 0.75 | 5 | 5 | 17276.3437 | 328250.5312 | 95%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.95 | 57950 | 286852.5 | 100 | 120 | 0 | 0.75 | 5 | 5 | 14342.625 | 272509.875 | 95%
|  |  | SUBTOTAL SUBSTRUCTURE | 7.55% | 16.9875 | 57950 | 984425.625
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 24.75 | 57950 | 1434262.5 | 100 | 120 | 0 | 0.75 | 5 | 5 | 71713.125 | 1362549.375 | 95%
|  |  | B1020 - ROOF CONSTRUCTION | 3.4% | 7.65 | 57950 | 443317.5 | 100 | 120 | 0 | 0.25 | 5 | 5 | 22165.875 | 421151.625 | 95%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 7.7% | 17.325 | 57950 | 1003983.75 | 100 | 120 | 0 | 0.25 | 5 | 5 | 50199.1875 | 953784.5625 | 95%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 4.4% | 9.9 | 57950 | 573705 | 30 | 25.3333 | 4.6667 | 0.5 | 15 | 19.6667 | 376095.5 | 197609.5 | 34.44%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 3% | 6.75 | 57950 | 391162.5 | 30 | 18.5 | 11.5 | 0.5 | 15 | 26.5 | 345526.875 | 45635.625 | 11.67%
|  |  | SUBTOTAL SHELL | 29.5% | 66.375 | 57950 | 3846431.25
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 9 | 57950 | 521550 | 60 | 104 | 0 | 0.48182 | 5 | 5 | 43462.5 | 478087.5 | 91.67%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.375 | 57950 | 195581.25 | 20 | 22.4333 | 0 | 0.48571 | 5 | 5 | 48895.3125 | 146685.9375 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 9 | 57950 | 521550 | 20 | 11 | 9 | 0.25 | 5 | 14 | 365085 | 156465 | 30%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.375 | 57950 | 195581.25 | 30 | 120 | 0 | 0.5 | 5 | 5 | 32596.875 | 162984.375 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 3.2% | 7.2 | 57950 | 417240 | 10 | 9.883 | 0.11702 | 0.425 | 4.25 | 4.367 | 182209.5957 | 235030.4043 | 56.33%
|  |  | C3020 - FLOOR FINISHES | 6% | 13.5 | 57950 | 782325 | 20 | 11.0571 | 8.9429 | 0.42553 | 8.5106 | 17.4535 | 682715.291 | 99609.709 | 12.73%
|  |  | C3030 - CEILING FINISHES | 6% | 13.5 | 57950 | 782325 | 30 | 28.6136 | 1.3864 | 0.40758 | 12.2273 | 13.6136 | 355009.6023 | 427315.3977 | 54.62%
|  |  | SUBTOTAL INTERIORS | 26.2% | 58.95 | 57950 | 3416152.5
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.7% | 1.575 | 57950 | 91271.25 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 91271.25 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.375 | 57950 | 195581.25 | 60 | 22.3854 | 37.6146 | 0.57822 | 34.6934 | 60 | 195581.25 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.925 | 57950 | 169503.75 | 60 | 60 | 0 | 0.75 | 45 | 45 | 127127.8125 | 42375.9375 | 25%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.7 | 57950 | 156465 | 60 | 104 | 0 | 0.5 | 5 | 5 | 13038.75 | 143426.25 | 91.67%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.125 | 57950 | 65193.75 | 30 | 60 | 0 | 0.5 | 5 | 5 | 10865.625 | 54328.125 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 3.2% | 7.2 | 57950 | 417240 | 60 | 38 | 22 | 0.25 | 15 | 37 | 257298 | 159942 | 38.33%
|  |  | D3020 - BOILERS | 2.5% | 5.625 | 57950 | 325968.75 | 60 | 38 | 22 | 0.25 | 15 | 37 | 201014.0625 | 124954.6875 | 38.33%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4.5% | 10.125 | 57950 | 586743.75 | 40 | 38 | 2 | 0.5 | 20 | 22 | 322709.0625 | 264034.6875 | 45%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4.5% | 10.125 | 57950 | 586743.75 | 40 | 29.5 | 10.5 | 0.50273 | 20.1094 | 30.6094 | 448996.4868 | 137747.2632 | 23.48%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 0% | 0 | 57950 | 0 | 40 | 0 | 40 | 0 | 0 | 40 | 0 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.375 | 57950 | 195581.25 | 20 | 120 | 0 | 0.1 | 5 | 5 | 48895.3125 | 146685.9375 | 75%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.25 | 57950 | 130387.5 | 20 | 120 | 0 | 0.25 | 5 | 5 | 32596.875 | 97790.625 | 75%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.45 | 57950 | 26077.5 | 20 | 4.8333 | 15.1667 | 0.70833 | 14.1667 | 20 | 26077.5 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.925 | 57950 | 169503.75 | 60 | 60 | 0 | 0.25 | 15 | 15 | 42375.9375 | 127127.8125 | 75%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 15.75 | 57950 | 912712.5 | 30 | 11.9744 | 18.0256 | 0.52564 | 15.7692 | 30 | 912712.5 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.75 | 57950 | 391162.5 | 20 | 19.25 | 0.75 | 0.58929 | 11.7857 | 12.5357 | 245175.067 | 145987.433 | 37.32%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.675 | 57950 | 39116.25 | 20 | 18.75 | 1.25 | 0.49679 | 9.9359 | 11.1859 | 21877.518 | 17238.732 | 44.07%
|  |  | SUBTOTAL SERVICES | 34.2% | 76.95 | 57950 | 4459252.5
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 57950
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 57950
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 57950
|  |  | E1090 - OTHER EQUIPMENT |  |  | 57950
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 57950
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 57950
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 57950
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 57950
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 57950
|  |  | G2020 - PARKING LOTS | 1% | 2.25 | 57950 | 130387.5 | 30 | 30 | 0 | 0.1 | 3 | 3 | 13038.75 | 117348.75 | 90%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.125 | 57950 | 65193.75 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 16298.4375 | 48895.3125 | 75%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.125 | 57950 | 65193.75 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 16298.4375 | 48895.3125 | 75%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.125 | 57950 | 65193.75 | 30 | 30 | 0 | 0.1 | 3 | 3 | 6519.375 | 58674.375 | 90%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 57950 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 57950
|  |  | REPLACEMENT COST PER SF |  | 225 | 57950 | 13038750 | [7 empty] | 7448837.8454 | 57.13%
99.95%
Note on J26: Tessier, Matthew: No Survey Data
Note on J41: Tessier, Matthew: No Fire Sprinklers
Note on J42: Tessier, Matthew: No Survey Data

## Master File (Interior)
Warren Street (formerly American History HS)
School Code: | 720
NPS Code: | 102
Street: | 200 Warren St.
City/Town: | Newark,
Database ID: | 21
Total size (gsf):
ROOM INFORMATION | [11 empty] | 56.25 | Ave Condition | 0.48182 | [6 empty] | 18.7568 | Ave Condition | 0.42778 | [6 empty] | 11.0571 | Ave Condition | 0.425 | [6 empty] | 28.8871 | Ave Condition | 0.40758 | [6 empty] | 24.5143 | Ave Condition | 0.48571 | [6 empty] | 52.5294 | Ave Condition | 0.49143 | [6 empty] | 22.2667 | Ave Condition | 0.55 | [6 empty] | 23.1667 | Ave Condition | 0.53889 | [6 empty] | 24.25 | Ave Condition | 0.46875 | [5 empty] | 30 | Ave Condition | 0.35625 | [6 empty] | 18.6429 | Ave Condition | 0.41429 | [6 empty] | 17.6667 | Ave Condition | 0.66667 | [6 empty] | 12.7679 | Ave Condition | 0.60714 | [6 empty] | 25.9259 | Ave Condition | 0.42593 | [5 empty] | 30 | Ave Condition | 0.42037 | [6 empty] | 14.3 | Ave Condition | 0.6 | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | 8.5 | Ave Condition | 0.5 | [5 empty] | Average Age | 9.8235 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
7394 | B2 | Classroom | Basement | A | General Classroom (Grades 9-12) |  |  | 576 | 9' | [8 empty] | Unfinished | [17 empty] | Acoustical Panel
7395 | B3 | Classroom | Basement | A | General Classroom (Grades 9-12) |  |  | 751 | 11' 1" | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
7396 | B4 | Storage | Basement | A | Support |  |  | 214 | 8' 6" | [8 empty] | Unfinished | [17 empty] | Unfinished Ceiling
7397 | B5 | Storage | Basement | A | Support |  |  | 228 | 10' 8" | [8 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
7398 | B6 | Storage | Basement | A | Support |  |  | 145 | 10' 6" | [8 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
7399 | B7 | Storage | Basement | A | Support |  |  | 153 | 10' 8" | [8 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
7400 | B8 | Storage | Basement | A | Support |  |  | 175 | 10' 8" | [8 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
7401 | B9 | Classroom | Basement | A | General Classroom (Grades 9-12) |  |  | 750 | 11' 1" | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
7402 | B10 | Classroom | Basement | A | General Classroom (Grades 9-12) |  |  | 748 | 10' | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
7403 | B11 | Gymnasium | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 2632 | 17' 3" | [8 empty] | Unfinished | [17 empty] | Specialty Ceilings (describe)
7404 | UN-1 | Storage | Basement | A | Support |  |  | 442 | 9' 10" | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
7405 | UN-2 | Girls' Water Closet | Basement | A | Support |  |  | 441 | 8' 6" | [8 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 3 | [8 empty] | 13 | [8 empty] | 0
7406 | UN-3 | Boys' Water Closet | Basement | A | Support |  |  | 341 | 8' 6" | [8 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 2 | [8 empty] | 6 | [8 empty] | 9
7407 | UN-4 | Storage | Basement | A | Support |  |  | 953 | N/A
7408 | UN-5 | Boiler Room | Basement | A | Support |  |  | 937 | N/A
7409 | UN-6 | Storage | Basement | A | Support |  |  | 115 | N/A
7410 | UN-7 | Storage | Basement | A | Support |  |  | 393 | N/A
7411 | UN-8 | Storage | Basement | A | General Classroom (Grades 9-12) |  |  | 196 | N/A
7412 | UN-9 | Storage | Basement | A | Support |  |  | 183 | N/A
7413 | UN-10 | Storage | Basement | A | Support |  |  | 171 | N/A
7414 | 101 | Classroom | 1st Floor | B | General Classroom (Grades 9-12) |  |  | 702 | 14' 4" | Plaster on Metal Lath | 60+ | 60 | Good | 0.75 | 0 |  |  | Wood | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 | 0 | [55 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present
7415 | 102 | Classroom | 1st Floor | A | General Classroom (Grades 9-12) |  |  | 751 | 14' 2" | [8 empty] | Wood | [17 empty] | Unfinished Ceiling
7416 | 103 | Computers | 1st Floor | B | Technological Literacy |  |  | 712 | 14' 1" | Plaster on Metal Lath | 60+ | 60 | Good | 0.75 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 | 0 | [55 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present
7417 | 104 | Classroom | 1st Floor | A | General Classroom (Grades 9-12) |  |  | 745 | 14' 2" | [8 empty] | Wood | [17 empty] | Unfinished Ceiling
7418 | 105 | Science | 1st Floor | B | Science (6-12) |  |  | 750 | 14' 2" | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 | 0 |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Other (describe) | 30+ |  | 30 | Good | 0.75 | 0 |  | Painted wood, paint peeling | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | 0 | [26 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present
7419 | 106 | Science | 1st Floor | A | Science (6-12) |  |  | 748 | 14' 2" | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
7420 | UN-11 | Storage | 1st Floor | A | Science (6-12) |  |  | 8 | N/A
7421 | UN-12 | Storage | 1st Floor | A | Science (6-12) |  |  | 199 | 14' 2" | [8 empty] | Wood | [17 empty] | Unfinished Ceiling
7422 | UN-13 | Water Closet | 1st Floor | B | Science (6-12) |  |  | 64 | 14' 2" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | 3 | [8 empty] | 1 | [8 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | 0 | [26 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0
7423 | UN-14 | N/A | 1st Floor | A | Science (6-12) |  |  | 134 | N/A
7424 | UN-15 | Storage | 1st Floor | A | Science (6-12) |  |  | 7 | N/A
7425 | UN-16 | Storage | 1st Floor | A | General Classroom (Grades 9-12) |  |  | 10 | N/A
7426 | UN-17 | Storage | 1st Floor | A | General Classroom (Grades 9-12) |  |  | 153 | N/A | [8 empty] | Wood | [17 empty] | Unfinished Ceiling
7427 | UN-18 | Storage | 1st Floor | B | Technological Literacy |  |  | 116 | N/A | Plaster on Metal Lath | 60+ | 60 | Good | 0.75 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Wood | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0
7428 | UN-19 | N/A | 1st Floor | A | Technological Literacy |  |  | 39 | N/A
7429 | UN-20 | Auditorium | 1st Floor | B | Assembly/Large Group (9-12) |  |  | 4101 | 24' 4" | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 |  |  |  | Wood | 20+ |  | 20 | [5 empty] | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present
7430 | UN-21 | Music Office | 1st Floor | B | Administration |  |  | 202 | N/A | Plaster on Metal Lath | 60+ | 60 | Good | 0.75 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Poor | 0.25 |  |  |  | Cast Iron Radiators | 30+ | 30 | Very Poor | 0.1 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Fair | 0.5
7431 | UN-22 | N/A | 1st Floor | A | Assembly/Large Group (9-12) |  |  | 154 | N/A
7432 | UN-23 | Storage | 1st Floor | A | General Classroom (Grades 9-12) |  |  | 181 | N/A
7433 | UN-25 | Storage | 1st Floor | A | General Classroom (Grades 9-12) |  |  | 10 | N/A
7434 | UN-26 | Principal\'s Office | 1st Floor | B | Administration |  |  | 140 | N/A | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 |  |  |  | Carpet | 41070 |  | 8 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 |  | 11.5 | Good | 0.75 | [18 empty] | Present | [10 empty] | Wireless (WiFi) | 41100 | 8.5 | Fair | 0.5
7435 | UN-27 | Storage | 1st Floor | A | Administration |  |  | 41 | 14' 3 | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling | [32 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7436 | UN-28 | Main Office | 1st Floor | B | Administration |  |  | 399 | 14' 1" | Plaster on Metal Lath | 60+ | 60 | Very Poor | 0.1 |  |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Poor | 0.25 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Poor | 0.25 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Fair | 0.5 | [109 empty] | Present
7437 | UN-29 | Faculty Water Closet | 1st Floor | B | Faculty Support |  |  | 92 | 14' 1" | Plaster on Metal Lath | 60+ | 60 | Very Poor | 0.1 |  |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Very Poor | 0.1 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Very Poor | 0.1 |  |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Tank | 22 | 30 | 26 | Fair | 0.5 | 1 | [8 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [27 empty] | Present
7438 | UN-30 | Custodial Closet | 1st Floor | A | Support |  |  | 15 | N/A
7439 | UN-31 | Storage | 1st Floor | B | General Classroom (Grades 9-12) |  |  | 168 | 14' 2" | Plaster on Metal Lath | 60+ | 60 | Very Poor | 0.1 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Very Poor | 0.1 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Wood | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0
7440 | UN-32 | Storage | 1st Floor | A | General Classroom (Grades 9-12) |  |  | 28 | 14' 4" | [8 empty] | Wood | [17 empty] | Unfinished Ceiling
7441 | UN-33 | Cafeteria | 1st Floor | A | Food Services (9-12) |  |  | 1538 | 9' 11" | Other (describe) | 60+ | 60 | Good | 0.75 |  |  | Brick | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Painted Sheet metal | Metal/Metal Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Brick | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Poor | 0.25 |  |  |  | Terminal Unit Heaters | 30+ | 30 | Good | 0.75 |  |  | Hot water | [24 empty] | Present | [133 empty] | Present | [26 empty] | Present
7442 | UN-34 | Water Closet | 1st Floor | A | Health Services |  |  | 48 | 8' 8" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 16 | 21 | 18.5 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Tank | 16 | 21 | 18.5 | Good | 0.75 | 1 | [8 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | [12 empty] | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [27 empty] | Present
7443 | UN-35 | Nurse | 1st Floor | A | Health Services |  |  | 336 | 8' 8" | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Poor | 0.25 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Plaster/Metal Stud Framing | 60+ |  | 60 | Poor | 0.25 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Poor | 0.25 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Poor | 0.25 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present
7444 | UN-36 | N/A | 1st Floor | A | N/A |  |  | 40 | N/A
7445 | UN-37 | N/A | 1st Floor | A | N/A |  |  | 35 | N/A
7446 | UN-38 | Kitchen | 1st Floor | A | Food Services (9-12) |  |  | 240 | N/A | [8 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Sheet metal | Other (describe) | 20+ |  | 20 | Poor | 0.25 |  |  | Metal on wood | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Stainless Steel Sinks | 41136 |  | 11.5 | Good | 0.75 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Poor | 0.25 | [35 empty] | Present
7447 | UN-39 | Storage | 1st Floor | A | Support |  |  | 484 | 10' 1" | [8 empty] | Unfinished | [17 empty] | Specialty Ceilings (describe)
7448 | UN-40 | Storage | 1st Floor | A | Support |  |  | 250 | 10' 1" | [8 empty] | Ceramic Tile | [17 empty] | Specialty Ceilings (describe)
7449 | UN-41 | N/A | 1st Floor | A | Food Services (9-12) |  |  | 227 | N/A | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  |  | Other (describe) | 20+ |  | 20 | Fair | 0.5 |  |  | Painted concrete | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Sheet metal | Metal/Metal Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Poor | 0.25 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Suspended radiation pipe | [24 empty] | Present
7450 | UN-42 | Storage | 1st Floor | A | Food Services (9-12) |  |  | 241 | 7' 10" | [8 empty] | Unfinished | [17 empty] | Acoustical Panel
7451 | UN-43 | Storage | 1st Floor | A | Food Services (9-12) |  |  | 146 | 10' 1" | [8 empty] | Unfinished | [17 empty] | Specialty Ceilings (describe)
7452 | UN-44 | N/A | 1st Floor | A | Food Services (9-12) |  |  | 67 | N/A
7453 | UN-45 | Storage | 1st Floor | A | Food Services (9-12) |  |  | 63 | 10' 1" | [8 empty] | Unfinished | [17 empty] | Specialty Ceilings (describe)
7454 | 201 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 702 | 12' 11" | [8 empty] | Wood | [17 empty] | Plaster
7455 | 202 | Humanities Office | 2nd Floor | A | Administration |  |  | 279 | 12' 9" | Plaster Partitions/on CMU Back-up Wall | [6 empty] | Brick | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Other (describe) |  |  |  | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present
7456 | 203 | Classroom | 2nd Floor | B | General Classroom (Grades 9-12) |  |  | 751 | 12' 11" | Plaster on Metal Lath | 60+ | 60 | Good | 0.75 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | 0 | [26 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present
7457 | 204 | Computers | 2nd Floor | B | Technological Literacy |  |  | 764 | 12' 11" | Plaster on Metal Lath | 60+ | 60 | Good | 0.75 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Decorative tin ceiling | Wood/Wood Frame | 16 | 20 | 18 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present
7458 | 205 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 745 | 12' 11" | [8 empty] | Wood | [17 empty] | Plaster
7459 | 206 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 750 | 12' 11" | [8 empty] | Wood | [17 empty] | Plaster
7460 | 207 | Classroom | 2nd Floor | B | General Classroom (Grades 9-12) |  |  | 748 | 12' 11" | Plaster on Metal Lath | 60+ | 60 | Good | 0.75 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present
7461 | 208 | Math Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 202 | N/A
7462 | 209 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 655 | 12' 11" | [8 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
7463 | 210 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 647 | 12' 11" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 16 | 21 | 18.5 | Fair | 0.5 | [18 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present | Clock and speaker
7464 | 211 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 576 | 12' 11" | [8 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
7465 | UN-46 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 8 | N/A
7466 | UN-47 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 199 | N/A
7467 | UN-48 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 64 | N/A
7468 | UN-49 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 134 | N/A
7469 | UN-50 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 7 | N/A
7470 | UN-51 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 10 | N/A
7471 | UN-52 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 153 | N/A
7472 | UN-53 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 116 | N/A
7473 | UN-54 | Faculty Water Closet | 2nd Floor | A | Faculty Support |  |  | 63 | N/A | [59 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7474 | UN-55 | Storage | 2nd Floor | A | Support |  |  | 86 | N/A
7475 | UN-56 | Balcony | 2nd Floor | A | Assembly/Large Group (9-12) |  |  | 881 | 13' 1" | [8 empty] | Wood | [17 empty] | Plaster
7476 | UN-57 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 181 | N/A
7477 | UN-58 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 10 | N/A
7478 | UN-59 | Teachers\' Lounge | 2nd Floor | B | Faculty Support |  |  | 576 | 13' | [8 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | [8 empty] | Plaster | [8 empty] | Wood/Wood Frame | [8 empty] | Plaster/Wood Stud Framing | [61 empty] | Fluorescent Linear Pendant Mount Fixture | [8 empty] | Toggle Wall Switches | [8 empty] | Cast Iron Radiators | [31 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present
7479 | UN-60 | Faculty Water Closet | 2nd Floor | B | Faculty Support |  |  | 49 | 13' 0" |  |  |  | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | 1 | [8 empty] | 1 | [8 empty] | 0 | [28 empty] | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Poor | 0.25 |  |  |  | Toggle Wall Switches | 16 | 21 | 18.5 | Poor | 0.25 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [27 empty] | Present
7480 | UN-61 | Water Closet | 2nd Floor | A | Support |  |  | 16 | N/A
7481 | UN-62 | Custodial Closet | 2nd Floor | A | Support |  |  | 15 | N/A
7482 | UN-63 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 168 | N/A
7483 | UN-64 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 28 | N/A
7484 | UN-65 | Custodial Closet | 2nd Floor | A | Support |  |  | 44 | 13' 2" | [8 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
7485 | UN-66 | Boys\' Water Closet | 2nd Floor | A | Support |  |  | 258 | 13' | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | 1 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Fair | 0.5 | 6 |  |  | Floor Trough | 30+ |  | 30 | Poor | 0.25 | 8 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present
7486 | UN-67 | Girls\' Water Closet | 2nd Floor | A | Support |  |  | 302 | 13' | [8 empty] | Epoxy | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls with Wainscot |  |  |  | Fair | 0.5 |  |  |  | Plaster |  |  |  | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | [7 empty] | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 2 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Poor | 0.25 | 6 | [8 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Surface Mount Fixture | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [27 empty] | Present
7487 | UN-68 | Storage | 2nd Floor | A | Support |  |  | 53 | N/A
7488 | UN-69 | Faculty Water Closet | 2nd Floor | A | Faculty Support |  |  | 107 | N/A | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 16 | 20 | 18 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Very Poor | 0.1 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Fair | 0.5 | 1 | [8 empty] | 0 | [19 empty] | Other (describe) | 31 | 45 | 38 | Fair | 0.5 |  |  | Wood | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present
7489 | UN-70 | Office | 2nd Floor | A | Administration |  |  | 132 | N/A
7490 | UN-71 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 45 | N/A
7491 | UN-72 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 67 | N/A
7492 | 301 | Classroom | 3rd Floor | A | General Classroom (Grades 9-12) |  |  | 655 | 12' 11" | [8 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
7493 | 302 | Classroom | 3rd Floor | A | General Classroom (Grades 9-12) |  |  | 655 | 12' 11" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 16 | 21 | 18.5 | Good | 0.75 | [37 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0
7494 | 303 | Classroom | 3rd Floor | A | General Classroom (Grades 9-12) |  |  | 655 | 12' 11" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 41136 |  | 11.5 | Fair | 0.5 | [18 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present | Speaker
7495 | 304 | Classroom | 3rd Floor | A | General Classroom (Grades 9-12) |  |  | 647 | 12' 11" | [8 empty] | Wood | [17 empty] | Specialty Ceilings (describe)
7496 | UN-73 | Storage | 3rd Floor | A | General Classroom (Grades 9-12) |  |  | 44 | N/A
7497 | UN-74 | N/A | 3rd Floor | A | N/A |  |  | 54 | N/A
7498 | UN-75 | Faculty Water Closet | 3rd Floor | A | Faculty Support |  |  | 107 | 9' 2" | [8 empty] | Wood | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7499 | UN-76 | Math Office | 3rd Floor | A | Support |  |  | 132 | 11' 5" | Plaster on Metal Lath | 60+ | 60 | Good | 0.75 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  | . | Plaster/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 |  | 11.5 | Fair | 0.5 | [18 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present | Speaker
7500 | UN-77 | Storage | 3rd Floor | A | General Classroom (Grades 9-12) |  |  | 735 | N/A
7501 | UN-78 | Storage | 3rd Floor | A | General Classroom (Grades 9-12) |  |  | 45 | N/A
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
24 | A |  | 1st Floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Very Poor | 0.1 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 10+ |  | 10 | Very Poor | 0.1 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Very Poor | 0.1 | [12 empty] | Plaster/Wood Stud Framing | 16 | 30 | 23 | Very Poor | 0.1 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 16 | 21 | 18.5 | Very Poor | 0.1 | [12 empty] | Cast Iron Radiators | 30+ | 30 | Very Poor | 0.1 | [19 empty] | Present
Corridors | [9 empty] | Floor Finish | [7 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
72 | A | Addition 1908 | 1st Floor | [6 empty] | Wood | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Good | 0.75 | [12 empty] | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall Mounted Electric Water Coolers | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Other (describe) | 16 | 30 | 23 | Fair | 0.5 |  |  |  | Fluorescent Lay-In Fixture (Troffer) | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 |  |  |  | Dry Chemical | 0 | 7 | 3.5 | Very Good | 0.9 | [10 empty] | Present | [17 empty] | Present | [7 empty] | Present
73 | B | Addition 1908 | 2nd Floor | See corridor 1 | [5 empty] | Wood | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Good | 0.75 | [12 empty] | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [21 empty] | Fluorescent Lay-In Fixture (Troffer) | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 |  |  |  | Dry Chemical | 0 | 7 | 3.5 | Very Poor | 0.1 | [10 empty] | Present | [25 empty] | Present
74 | C | Original | 3rd Floor | See corridor 1 | [5 empty] | Wood | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Good | 0.75 | [12 empty] | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall Mounted Electric Water Coolers | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Other (describe) | 16 | 30 | 23 | Fair | 0.5 |  |  |  | Fluorescent Lay-In Fixture (Troffer) | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 |  |  |  | Dry Chemical | 0 | 7 | 3.5 | Very Good | 0.9 | [10 empty] | Present | [17 empty] | Present | [7 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
73 | A | Addition 1908 | Basement - 2nd Floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Wood Framed | 30+ |  | 30 | Fair | 0.5 |  |  | With concrete | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Wood | Other (describe) | 30+ |  | 30 | Good | 0.75 |  |  | Painted concrete | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Painted wood | Metal/Metal Frame | 41228 |  | 13 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | [19 empty] | Present | [16 empty] | Present
74 | B | Addition 1908 | Basement - 2nd Floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Wood Framed | 30+ |  | 30 | Fair | 0.5 |  |  | With concrete | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Good | 0.75 |  |  | Painted concrete | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Painted concrete | Metal/Metal Frame | 41228 |  | 13 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | [19 empty] | Present
75 | C | Original 1892 | 1st - 3rd Floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Wood Framed | 30+ |  | 30 | Fair | 0.5 |  |  | With concrete | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Painted concrete | Metal/Metal Frame | 41228 |  | 13 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | [19 empty] | Present
76 | D | Original 1892 | 1st - 3rd Floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Tin | Other (describe) | 30+ |  | 30 | Good | 0.75 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Wood | Metal/Metal Frame | 41228 |  | 13 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | [19 empty] | Present

## Exterior
Exterior | Question | Value1 |  | Average1 | Value2 |  | Average2 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 536 |  |  | 1369 |  |  | SiteElements | Seg ID | 170
| Bldg.Phase | A |  |  | B |  |  |  | Bldg.Phase | A
| Original | 1 |  |  | 0 |  |  |  | Original | 1
| Addition | 1 |  |  | 1 |  |  |  | Addition | 1
| Year Built | 1892 |  |  | 1908 |  |  |  | Year Built | 1892
(Foundation) Walls for Subgrade Enclosures, Primary | Location | [6 empty] | Roadways | Location
| Description | Brick, Solid (Mass) |  |  | Brick, Solid (Mass) |  |  |  | Description
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location | [6 empty] | Parking Lots | Location
| Description | [7 empty] | Description | Asphalt (Bituminous)
| Age | [7 empty] | Age | 30+ |  | 30
| Condition | [7 empty] | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Standard Slabs On Grade, Primary | Location | [6 empty] | Pedestrian Plazas and Walkways, Primary | Location
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  |  | Description
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Standard Slabs On Grade, Secondary | Location | [6 empty] | Pedestrian Plazas and Walkways, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Floor Construction, Primary | Location | [6 empty] | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Wood, Beams and Joists |  |  | Wood, Beams and Joists |  |  |  | Description
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 | Poor |  | 0.25 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Floor Construction, Secondary | Location | [6 empty] | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Roof Construction, Structural Frame, Primary | Location | [6 empty] | Site Lighting, Primary | Location
| Description | Wood, Beams and Joists |  |  | Wood, Beams and Joists |  |  |  | Description | Building Mounted H.I.D.
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Poor |  | 0.25 | Poor |  | 0.25 |  | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Roof Construction, Structural Frame, Secondary | Location | [6 empty] | Site Lighting, Secondary | Location
| Description | [7 empty] | Description | Pole Mounted H.I.D.
| Age | [7 empty] | Age | 30+ |  | 30
| Condition | [7 empty] | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Walls / Exterior Assembly, Primary | Location | [6 empty] | Playground Surface | Location
| Description | Brick, Solid (Mass) |  |  | Brick, Solid (Mass) |  |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Good |  | 0.75 | Fair |  | 0.25 |  | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Walls / Exterior Assembly, Secondary | Location | [6 empty] | Playground Equipment | Location
| Description | [7 empty] | Description | B/Ball Backstops
| Age | [7 empty] | Age | 22 | 30 | 26
| Condition | [7 empty] | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Windows, Primary | Location | [6 empty] | TCUs | Location
| Description | Aluminum, Double Hung |  |  | Aluminum, Double Hung |  |  |  | Description
| Age | 41136 |  | 11.5 | 41136 |  | 11.5 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated) |  |  | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Screens, Insect / Security Grilles |  |  | Screens, Insect / Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location
| Description | Fiber Reinforced Panel (FRP) |  |  | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5 | 0 | 15 | 7.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location
| Description | Asphalt Shingle |  |  | Asphalt Shingle
| Age | 16 | 21 | 18.5 | 16 | 21 | 18.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location
| Description | Aluminum
| Age | 16 | 21 | 18.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location
| Description | Aluminum |  |  | Aluminum
| Age | 16 | 21 | 18.5 | 16 | 21 | 18.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Systems
systems | Question | Value1 |  | Average1 | systems | Question | Value1 | Average1
Systems | Seg ID | 627 |  |  | InfoTech | Seg ID | 241
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 1 |  |  |  | Addition | 1
| Year Built | 1892 |  |  |  | Year Built | 1892
Domestic Water Heaters | Location | UN/4 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Sanitary Drainage | Location | UN/4 |  |  | Main Dist. Facility (MDF) | Location | Basement Level
| Description | Sanitary Drainage Piping Cleanouts |  |  |  | Description | Wall mounted
| Age | 60+ |  | 60 |  | Age | 41067 | 6.5
| Condition | Fair |  | 0.5 |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Building Support (other) Plumbing Systems | Location |  |  |  | MDF, HVAC Terminal Units | Location
| Description | Stormwater Area Drains |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Piping | Location | UN/4 |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location | Ground floor
| Description |  |  |  |  | Description | Wall mounted
| Age |  |  |  |  | Age | 10+ | 10
| Condition |  |  |  |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Fired Boilers | Location | UN/5 |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas/Fired Boilers |  |  |  | Description
| Age | 31 | 45 | 38 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Condensate return package poor condition |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location |  |  |  | IDF #4, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location | UN/5 |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Two Pipe |  |  |  | Description
| Age | 31 | 45 | 38 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location |  |  |  | Inter. Data Facility (IDF #5) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location |  |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Fans | Location |  |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location | UN/5
| Description | Gas Engine Generators
| Age | 16 | 30 | 23
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | UN/10
| Description | D5010 120
| Age | 0 | 15 | 7.5
| Condition | Good |  | 0.75
CheckBox
Quantity
| Voltage | 208volt
Power Output
Elec Power
Notes
Voice Communication Terminal Equipment | Location | UN/10
| Description | PDX/Key Systems
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | UN/28
| Description | Public Address and Mass Notification Systems
| Age | 0 | 10 | 5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | Main lobby
| Description | Fire/Smoke Detection Sensors
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes