## FCI Summary
Building Name: | Samuel L. Berliner | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 38882
Number of Floors: | 1
School Age (years): | 38
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 23.99%
Facility Condition = | FAIR
FCI Deficiency Cost = | 1923606.7933
FCI Replacement Cost = | 8019412.5
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 38
Historic 2005 LRFP Capacity = | 108
Adjusted 2012 Capacity = | 76
Recent Occupancy % = | 50%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 88.07%
Classroom Adequacy = | GOOD
Special Spaces Adequacy % Score = | 66%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Samuel L. Berliner | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 38882
Largest Floor Level Area: |  | 38882
Vertical FAR Ratio: |  | 1
School Age (years): |  | 38
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 3.5% | 7.2188 | 38882 | 280679.4375 | 100 | 38 | 62 | 0.5 | 50 | 100 | 280679.4375 | 0 | 0%
|  |  | A1030 - SLAB ON GRADE | 3.8% | 7.8375 | 38882 | 304737.675 | 100 | 38 | 62 | 0.5 | 50 | 100 | 304737.675 | 0 | 0%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 38882 | 176427.075 | 100 | 38 | 62 | 0.5 | 50 | 100 | 176427.075 | 0 | 0%
|  |  | SUBTOTAL SUBSTRUCTURE | 9.5% | 19.5938 | 38882 | 761844.1875
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 38882 | 882135.375 | 100 | 38 | 62 | 0.5 | 50 | 100 | 882135.375 | 0 | 0%
|  |  | B1020 - ROOF CONSTRUCTION | 4.4% | 9.075 | 38882 | 352854.15 | 100 | 38 | 62 | 0.5 | 50 | 100 | 352854.15 | 0 | 0%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 5.8% | 11.9625 | 38882 | 465125.925 | 100 | 38 | 62 | 0.50694 | 50.6944 | 100 | 465125.925 | 0 | 0%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 3.3% | 6.8063 | 38882 | 264640.6125 | 30 | 9.5 | 20.5 | 0.625 | 18.75 | 30 | 264640.6125 | 0 | 0%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 4% | 8.25 | 38882 | 320776.5 | 30 | 18.5 | 11.5 | 0.25 | 7.5 | 19 | 203158.45 | 117618.05 | 36.67%
|  |  | SUBTOTAL SHELL | 28.5% | 58.7812 | 38882 | 2285532.5625
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 38882 | 320776.5 | 60 | 37.5556 | 22.4444 | 0.45833 | 27.5 | 49.9444 | 267016.7347 | 53759.7653 | 16.76%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 38882 | 120291.1875 | 20 | 21.0588 | 0 | 0.42647 | 5 | 5 | 30072.7969 | 90218.3906 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 38882 | 320776.5 | 20 | 7.5 | 12.5 | 0.75 | 15 | 20 | 320776.5 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 38882 | 120291.1875 | 30 | 38 | 0 | 0.5 | 5 | 5 | 20048.5312 | 100242.6562 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 2.5% | 5.1562 | 38882 | 200485.3125 | 10 | 11.1111 | 0 | 0.48611 | 5 | 5 | 100242.6562 | 100242.6562 | 50%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 38882 | 481164.75 | 20 | 18.3889 | 1.6111 | 0.48611 | 9.7222 | 11.3333 | 272660.025 | 208504.725 | 43.33%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 38882 | 481164.75 | 30 | 27.8235 | 2.1765 | 0.23529 | 7.0588 | 9.2353 | 148123.2662 | 333041.4838 | 69.22%
|  |  | SUBTOTAL INTERIORS | 25.5% | 52.5938 | 38882 | 2044950.1875
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.5% | 1.0312 | 38882 | 40097.0625 | 60 | NA | 0 | 0.1 | 0 | 0 | 0 | 40097.0625 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 38882 | 120291.1875 | 60 | 26.3 | 33.7 | 0.36667 | 22 | 55.7 | 111670.3191 | 8620.8684 | 7.167%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 38882 | 104252.3625 | 60 | 3.5 | 56.5 | 0.5 | 30 | 60 | 104252.3625 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 38882 | 96232.95 | 60 | 38 | 22 | 0.25 | 15 | 37 | 59343.6525 | 36889.2975 | 38.33%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 38882 | 40097.0625 | 30 | 38 | 0 | 0.5 | 5 | 5 | 6682.8438 | 33414.2188 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 3.2% | 6.6 | 38882 | 256621.2 | 60 | 38 | 22 | 0 | 0 | 22 | 94094.44 | 162526.76 | 63.33%
|  |  | D3020 - BOILERS | 2.5% | 5.1562 | 38882 | 200485.3125 | 60 | 38 | 22 | 0.5 | 30 | 52 | 173753.9375 | 26731.375 | 13.33%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4.5% | 9.2812 | 38882 | 360873.5625 | 40 | 17.8333 | 22.1667 | 0.58333 | 23.3333 | 40 | 360873.5625 | 0 | 0%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4.5% | 9.2812 | 38882 | 360873.5625 | 40 | 31.5938 | 8.4062 | 0.29688 | 11.875 | 20.2812 | 182974.1735 | 177899.389 | 49.3%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 0% | 0 | 38882 | 0 | 40 | 0 | 40 | 0 | 0 | 40 | 0 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 38882 | 120291.1875 | 20 | 0 | 20 | 0 | 0 | 20 | 120291.1875 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 38882 | 80194.125 | 20 | 0 | 20 | 0 | 0 | 20 | 80194.125 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 38882 | 16038.825 | 20 | 18.5 | 1.5 | 0.75 | 15 | 16.5 | 13232.0306 | 2806.7944 | 17.5%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 38882 | 104252.3625 | 60 | 38 | 22 | 0.5 | 30 | 52 | 90352.0475 | 13900.315 | 13.33%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 38882 | 561358.875 | 30 | 25.8125 | 4.1875 | 0.45312 | 13.5938 | 17.7812 | 332722.0832 | 228636.7918 | 40.73%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 38882 | 240582.375 | 20 | 12.5833 | 7.4167 | 0.65 | 13 | 20 | 240582.375 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 38882 | 24058.2375 | 20 | 26.9688 | 0 | 0.53125 | 5 | 5 | 6014.5594 | 18043.6781 | 75%
|  |  | SUBTOTAL SERVICES | 34% | 70.125 | 38882 | 2726600.25
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 38882
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 38882
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 38882
|  |  | E1090 - OTHER EQUIPMENT |  |  | 38882
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 38882
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 38882
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 38882
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 38882
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 38882
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 38882 | 80194.125 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 20048.5312 | 60145.5938 | 75%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 38882 | 40097.0625 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 10024.2656 | 30072.7969 | 75%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 38882 | 40097.0625 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 40097.0625 | 100%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 38882 | 40097.0625 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 40097.0625 | 100%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 38882 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 38882
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 38882 | 8019412.5 | [7 empty] | 1923606.7933 | 23.99%
100%
Note on J41: Tessier, Matthew: No Survey Data

## Master File (Interior)
Samuel L. Berliner
School Code: | 635
NPS Code: | 61
Street: | 70 Montgomery St.
City/Town: | Newark, NJ 07103
Database ID: | 16
Total size (gsf): | 38882
ROOM INFORMATION | [12 empty] | 37 | Ave Condition | 0.51389 | [5 empty] | Average Age | 18.3889 | Ave Condition | 0.48611 | [5 empty] | Average Age | 11.1111 | Ave Condition | 0.48611 | [5 empty] | 27.8235 | Ave Condition | 0.23529 | [6 empty] | 21.0588 | Ave Condition | 0.42647 | [6 empty] | 37.5556 | Ave Condition | 0.45833 | [5 empty] | 30 | Ave Condition | 0.33333 | [5 empty] | 30 | Ave Condition | 0.33333 | [5 empty] | 30 | Ave Condition | 0.41667 | [5 empty] | Average Age | 30 | Ave Condition | 0.25 | [5 empty] | Average Age | 11.5 | Ave Condition | 0.5 | [6 empty] | 7.5 | Ave Condition | 0.75 | [6 empty] | 25.8125 | Ave Condition | 0.45312 | [6 empty] | 26.9688 | Ave Condition | 0.53125 | [5 empty] | Average Age | 27.6875 | Ave Condition | 0.34375 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [6 empty] | 18.5 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 10 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [7 empty] | Plumbing Fixtures - Toilets | [7 empty] | Plumbing Fixtures - Urinals | [7 empty] | Plumbing Fixtures - Showers | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [8 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
1740 | 1 | Parent Liaison Room | 1st Floor | A | Administration |  |  | 793 | 9' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
1741 | 2 | Weight Room | 1st Floor | A | Phys. Ed. (Gym + Storage) |  |  | 793 | 9' 4 | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ | 30 | Very Poor | 0.1 | 0 |  | Leakage | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Demountable/Folding. | 31 | 45 | 38 | Fair | 0.5 | 0 |  | Metal Panel | [51 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ |  | 30 | Fair | 0.5 | 0 |  | 1' x 6' | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Integrated Ceiling System w/ ducted Light Troffer (lay-in) diffusers | [6 empty] | 0 | [8 empty] | 0 | [9 empty] | Present | [16 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 1 |  | Wall-Mounted | [15 empty] | 2 | [72 empty] | Present
1742 | 3 | Resource Teachers | 1st Floor | A | Administration |  |  | 793 | 9' 4" | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ | 30 | Very Poor | 0.1 | 0 |  | 2' x 6' | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Demountable/Folding. | 31 | 45 | 38 | Fair | 0.5 | 0 |  | Metal Panel | [51 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ |  | 30 | Fair | 0.5 | 0 |  | 1' x 6' | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Integrated Ceiling System w/ ducted Light Troffer (lay-in) diffusers | [6 empty] | 0 | [8 empty] | 0 | [9 empty] | Present | [16 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present
1743 | 4 | Computer Lab | 1st Floor | A | Technological Literacy |  |  | 793 | N/A | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ | 30 | Very Poor | 0.1 | 0 |  | 2' x 6' | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Demountable/Folding. | 31 | 45 | 38 | Fair | 0.5 | 0 |  | Metal Panel | [51 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ |  | 30 | Fair | 0.5 | 0 |  | 1' x 6' | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Integrated Ceiling System w/ ducted Light Troffer (lay-in) diffusers | [6 empty] | 0 | [8 empty] | 0 | [9 empty] | Present | [16 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 1 |  | Mobile | [15 empty] | 21 |  | IDF Located | [70 empty] | Present
1744 | 5 | Classroom | 1st Floor | A | General Classroom |  |  | 791 | 9' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
1745 | 6 | Art Room | 1st Floor | A | Visual & Performing Arts |  |  | 692 | 9' 4 | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ | 30 | Very Poor | 0.1 | 0 |  | 2' x 6' | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Demountable/Folding. | 31 | 45 | 38 | Fair | 0.5 | 0 |  | Metal Panel | In-Counter Lavatories | 30+ | 30 | Poor | 0.25 | 1 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ |  | 30 | Fair | 0.5 | 0 |  | 1' x 6' | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Integrated Ceiling System w/ ducted Light Troffer (lay-in) diffusers | [6 empty] | 0 | [8 empty] | 0 | [9 empty] | Present | [16 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present
1746 | 7 | Music Room | 1st Floor | A | Visual & Performing Arts |  |  | 791 | 9' 4 | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ | 30 | Very Poor | 0.1 | 0 |  | 2' x 6' | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Other (describe) | 31 | 45 | 38 | Fair | 0.5 | 0 |  | Metal Panel | [51 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ |  | 30 | Fair | 0.5 | 0 |  | 1' x 6' | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Integrated Ceiling System w/ ducted Light Troffer (lay-in) diffusers | [6 empty] | 0 | [8 empty] | 0 | [9 empty] | Present | [16 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present
1747 | 8 | Classroom | 1st Floor | A | General Classroom |  |  | 792 | 9' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
1748 | 9 | SLT Office | 1st Floor | A | Administration |  |  | 793 | 9\' 4\ | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 41136 | 1900-01-10 12:00 | Fair | 0.5 | 0 |  | 2' x 4' | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Other (describe) | 31 | 45 | 38 | Fair | 0.5 | 0 |  | Metal Panel | [51 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 | 0 |  | 2' x 4' | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 | 0 |  | Ducted Supply | [6 empty] | 0 | [8 empty] | 0 | [9 empty] | Present | [16 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present
1749 | 10 | CST Office | 1st Floor | A | Administration |  |  | 793 | 9' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
1750 | 11 | Science Room | 1st Floor | A | Science (6-12) |  |  | 793 | N/A | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 41136 | 1900-01-10 12:00 | Good | 0.75 | 0 |  | 2' x 4' | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Demountable/Folding. | 31 | 45 | 38 | Fair | 0.5 | 0 |  | Metal Panel | [51 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | 2' x 4' | Toggle Wall Switches | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Other (describe) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | Supply | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present | [16 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 1 | [71 empty] | 0 | Present
1751 | 12 | Resource / Training | 1st Floor | A | Small Group Instruction |  |  | 793 | N/A
1752 | 13 | Classroom | 1st Floor | A | General Classroom |  |  | 793 | 9' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
1753 | 14 | Classroom | 1st Floor | A | General Classroom |  |  | 793 | 9' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
1754 | 15 | Classroom | 1st Floor | A | General Classroom |  |  | 793 | 9' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
1755 | 16 | Classroom | 1st Floor | A | General Classroom |  |  | 793 | 9' 4" | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ | 30 | Poor | 0.25 | 0 |  | 2' x 6' | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Demountable/Folding. | 31 | 45 | 38 | Fair | 0.5 | 0 |  | Metal Panel | [51 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ |  | 30 | Fair | 0.5 | 0 |  | 1' x 6' | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Integrated Ceiling System w/ ducted Light Troffer (lay-in) diffusers | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present | [16 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 1 |  | Wall-Mounted | [15 empty] | 3 | [71 empty] | 0 | Present
1756 | 17 | Classroom | 1st Floor | A | General Classroom |  |  | 793 | 9' 4" | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ | 30 | Poor | 0.25 | 0 |  | 2' x 6' | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Demountable/Folding. | 31 | 45 | 38 | Fair | 0.5 | 0 |  | Metal Panel | [51 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ |  | 30 | Fair | 0.5 | 0 |  | 1' x 6' | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Terminal Unit Heaters | 30+ |  | 30 | Poor | 0.25 | 0 |  | Electric | [6 empty] | 0 | [8 empty] | 0 | [9 empty] | Present | [16 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 1 |  | Wall-Mounted | [15 empty] | 3 | [72 empty] | Present
1757 | 18 | Classroom | 1st Floor | A | General Classroom |  |  | 793 | 9' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
1758 | 19 | Program Director | 1st Floor | A | Administration |  |  | 793 | 9' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
1759 | 20 | Storage | 1st Floor | A | Support |  |  | 793 | 9' 4 | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
1760 | UN-1 | Shop Room | 1st Floor | A | Technological Literacy |  |  | 660 | 9' 4" | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ | 30 | Very Poor | 0.1 | 0 |  | 2' x 6' - Leak Along Perimeter | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Demountable/Folding. | 31 | 45 | 38 | Fair | 0.5 | 0 |  | Metal Panel | [51 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ |  | 30 | Poor | 0.25 | 0 |  | 1' x 6' | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Integrated Ceiling System w/ ducted Light Troffer (lay-in) diffusers | [6 empty] | 0 | [8 empty] | 0 | [9 empty] | Present | [16 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 1 | [72 empty] | Present
1761 | UN-2 | In School Suspension | 1st Floor | A | Administration |  |  | 469 | 9' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
1762 | UN-3 | Storage | 1st Floor | A | Support |  |  | 325 | 9' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
1763 | UN-4 | Boiler Room | 1st Floor | A | Support |  |  | 234 | 9' 4" | [9 empty] | Unfinished | [17 empty] | Specialty Ceilings (describe)
1764 | UN-5 | Utility Room | 1st Floor | A | Support |  |  | 373 | 9' 4" | [9 empty] | Unfinished | [17 empty] | Specialty Ceilings (describe)
1765 | UN-6 | Kitchen | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 2215 | 9' 4" | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Other (describe) | 20+ |  | 20 | Fair | 0.5 | 0 |  | Painted Concrete | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ | 30 | Poor | 0.25 | 0 |  | Metal | Wood/Metal Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 31 | 45 | 38 | Fair | 0.5 | 0 |  | Metal Panel | Stainless Steel Sinks | 30+ | 30 | Fair | 0.5 | [46 empty] | Fluorescent Linear Surface Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  | 1' x 6' | Toggle Wall Switches | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Terminal Unit Heaters | 30+ |  | 30 | Fair | 0.5 | 0 |  | Integrated Ceiling System w/ ducted Light Troffer (lay-in) diffusers | [6 empty] | 0 |  |  | Wet Chemical | 16 | 21 | 18.5 | Good | 0.75 | 0 |  | Ansul System | [7 empty] | Present | [16 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present | [26 empty] | Present | [8 empty] | Present
1766 | UN-7 | Locker Room | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 83 | 7' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
1767 | UN-8 | Office | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 60 | 7' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
1768 | UN-9 | Food Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 523 | 9' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
1769 | UN-10 | Freezer | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 148 | N/A
1770 | UN-11 | Womens' Water Closet | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 49 | 7' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
1771 | UN-12 | Mens' Water Closet | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 49 | 7' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
1772 | UN-13 | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 133 | 9' 4" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
1773 | UN-14 | Cafetorium | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 4037 | 18' 0" | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | Exposed Open Web Joist | Wood/Metal Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Concrete Block | 31 | 45 | 38 | Poor | 0.25 | 0 |  | Metal Panel | [51 empty] | HID Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  | 1' x 6' | Toggle Wall Switches | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Ducted Supply | [6 empty] | 0 | [8 empty] | 0 | [9 empty] | Present | [16 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present | Speaker System
1774 | UN-15 | Boys\' Water Closet | 1st Floor | A | Support |  |  | 373 | 8' 0" | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Ceramic Tile | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 | 0 |  | Ceramic Tile Wainscot | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  | 2' x 6' | Wood/Metal Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 31 | 45 | 38 | Poor | 0.25 | 0 |  | Metal Panel | Wall-Mounted Lavatories | 30+ | 30 | Poor | 0.25 | 10 |  |  | Floor Mounted Flush Valve | 30+ | 30 | Poor | 0.25 | 6 |  |  | Wall Hung | 30+ | 30 | Poor | 0.25 | 10 | [17 empty] | 0 |  |  | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 | 0 |  |  | Fluorescent Linear Surface Mount Fixture | 30+ |  | 30 | Poor | 0.25 | 0 |  | 1' x 6' | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Fan Coil Unit | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present | [7 empty] | 0 | [8 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [98 empty] | 0
1775 | UN-16 | Girls' Water Closet | 1st Floor | A | Support |  |  | 373 | 8' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [30 empty] | 11 | [7 empty] | 10 | [7 empty] | 0
1776 | UN-17 | Storage | 1st Floor | A | Visual & Performing Arts |  |  | 87 | N/A
1777 | UN-18 | Media Center | 1st Floor | A | Media Center |  |  | 1740 | 9' 4" | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Carpet | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ | 30 | Very Poor | 0.1 | 0 |  | 2' x 6' | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Demountable/Folding. | 31 | 45 | 38 | Fair | 0.5 | 0 |  | Metal Panel | [51 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ |  | 30 | Poor | 0.25 | 0 |  | 1' x 6' | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Integrated Ceiling System w/ ducted Light Troffer (lay-in) diffusers | [6 empty] | 0 |  |  | Wet Chemical | 16 | 21 | 18.5 | Good | 0.75 | 0 | [8 empty] | 0 | Present | [16 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 1 |  | Mobile | [15 empty] | 3 | [71 empty] | 0 | Present
1778 | UN-19 | Work Room | 1st Floor | A | Media Center |  |  | 225 | N/A
1779 | UN-20 | Nurse Office | 1st Floor | A | Health Services |  |  | 303 | N/A
1780 | UN-21 | Book Storage | 1st Floor | A | Support |  |  | 136 | N/A
1781 | UN-22 | Main Office | 1st Floor | A | Administration |  |  | 723 | 9' 4" | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Carpet | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ | 30 | Very Poor | 0.1 | 0 |  | 2' x 6' | Wood/Metal Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 31 | 45 | 38 | Fair | 0.5 | 0 |  | Metal Panel | [51 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ |  | 30 | Poor | 0.25 | 0 |  | 1' x 6' | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Integrated Ceiling System w/ ducted Light Troffer (lay-in) diffusers | [6 empty] | 0 | [8 empty] | 0 | [9 empty] | Present | [16 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present | Central Station Intercom
1782 | UN-23 | Vice Principal Office | 1st Floor | A | Administration |  |  | 104 | 9' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
1783 | UN-24 | Social Worker Office | 1st Floor | A | Administration |  |  | 106 | N/A
1784 | UN-25 | Principal Office | 1st Floor | A | Administration |  |  | 105 | N/A
1785 | UN-26 | CST Office | 1st Floor | A | Administration |  |  | 155 | 9' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
1786 | UN-27 | Staff Room | 1st Floor | A | Faculty Support |  |  | 515 | 9' 4" | CMU Back-up Wall | 31 | 45 | 38 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 30+ | 30 | Very Poor | 0.1 | 0 |  | 2' x 6' | Wood/Metal Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Other (describe) | 31 | 45 | 38 | Poor | 0.25 | 0 |  | Metal Panel | [51 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ |  | 30 | Poor | 0.25 | 0 |  | 1' x 6' | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Hydronic Radiant Heating | [6 empty] | 0 | [8 empty] | 0 | [9 empty] | Present | [16 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present
1787 | UN-28 | Womens' Water Closet | 1st Floor | A | Faculty Support |  |  | 88 | 8' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
1788 | UN-29 | Mens' Water Closet | 1st Floor | A | Faculty Support |  |  | 88 | 8' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [30 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
5 | A | Main Entrance | 1st | [6 empty] | CMU Back-up Wall | 31 | 45 | 38 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 2012-06-10 |  | 1900-01-07 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ | 30 | Very Poor | 0.1 | 0 | [11 empty] | Drywall (Gypsum)/Metal Stud Framing | 31 | 45 | 38 | Fair | 0.5 | 0 | [10 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ | 30 | Poor | 0.25 | 0 |  | 1' x 6' | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Integrated Ceiling System w/ ducted Light Troffer (lay-in) diffusers | [15 empty] | 0 | Present | [16 empty] | 0 | Present
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
12 | A | @ Room 14 | 1st | [6 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 | [11 empty] | Drywall (Gypsum)/Metal Stud Framing | 31 | 45 | 38 | Fair | 0.5 |  |  |  | Wall Mounted Stainless Steel Drinking Fountains | 30+ |  | 30 | Fair | 0.5 | [11 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ | 30 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Integrated Ceiling System w/ ducted Light Troffer (lay-in) diffusers | Wet Chemical | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 | [10 empty] | Present | [17 empty] | Present

## Master File (Systems)
Exterior | Question | Value1 |  | Average 1 | Question | Value1 |  |  | Average1
Systems | Seg ID | 87 |  |  | InfoTech | Seg ID | 362
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built |  |  |  |  | Year Built
Domestic Water Heaters | Location | UN | 5 |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel | Fired Water Heater |  |  | Description
| Age | 0 | 7 | 3.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Gas | Fired, 344 Volts; Storage Tank | 35yrs |  | Notes
Sanitary Drainage | Location | UN | 5 |  | Main Dist. Facility (MDF) | Location | Ground Level Floor
| Description | Other (describe) |  |  |  | Description | Rack
| Age | 46 | 60 | 38 |  | Age | 10+ |  | 10
| Condition | Poor |  | 0.25 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Incoming gas service and gas meter |  |  |  | Notes | Room UN | 3
Building Support (other) Plumbing Systems | Location | UN | 5 |  | MDF, HVAC Terminal Units | Location
| Description | Stormwater Area Drains |  |  |  | Description
| Age | 46 | 60 | 38 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Piping | Location | UN | 5 |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description
| Age | 31 | 45 | 38 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location | 4
| Description |  |  |  |  | Description | Wall | Mounted Cabinet
| Age |  |  |  |  | Age | 10+ |  | 10
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Fired Boilers | Location |  |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location | UN | 28
| Description |  |  |  |  | Description | Wall | Mounted Rack
| Age |  |  |  |  | Age | 10+ |  | 10
| Condition |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox | Other
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location | Typical |  |  | IDF #2, HVAC Terminal Units | Location
| Description | Other (describe) |  |  |  | Description
| Age | 31 | 40 | 35.5 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Integrated Ceiling System w/ ducted Light Troffer (lay | in) diffusers |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location |  |  |  | IDF #4, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location |  |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location | Typical |  |  | Inter. Data Facility (IDF #5) | Location
| Description | Supply Air Diffusers (Ducted) |  |  |  | Description
| Age | 31 | 45 | 38 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location | Roof |  |  | IDF #5, HVAC Terminal Units | Location
| Description | Package Rooftop Units (RTU) |  |  |  | Description
| Age | 41233 |  | 10.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Fans | Location | Roof |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description | Centrifugal Roof Ventilator |  |  |  | Description
| Age | 0 | 10 | 5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | UN | 4
| Description | D5010 120
| Age | 31 | 45 | 38
| Condition | Fair |  | 0.5
CheckBox
Quantity
| Voltage | 208V
| Power Output | 719kW
Elec Power
Notes
Voice Communication Terminal Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | UN | 22
| Description | Other (describe)
| Age | 31 | 40 | 35.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Paging, Clock, Public Address and Mass Notification System
Video Surveillance Systems | Location | Entry Lobby #1
| Description | Analog Video Recording Devices
| Age | 0 | 10 | 5
| Condition | Very Good |  | 0.9
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | UN | 4
| Description | Other (describe)
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Command Center | Fire/Smoke Detection Sensors w/ Strobe s and Fire Alarm Annunciation Panels
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Question | Value1 |  | Average1
Exterior | Seg ID | 1306 |  |  | SiteElements | Seg ID | 36
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built |  |  |  |  | Year Built
(Foundation) Walls for Subgrade Enclosures, Primary | Location |  |  |  | Roadways | Location
| Description | Concrete, Cast/In/Place |  |  |  | Description | Asphalt (Bituminous)
| Age | 31 | 45 | 38 |  | Age | 30+ | 30
| Condition | Fair |  | 0.5 |  | Condition | Poor | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Dave |  |  |  | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location |  |  |  | Parking Lots | Location
| Description |  |  |  |  | Description | Asphalt (Bituminous)
| Age |  |  |  |  | Age | 30+ | 30
| Condition |  |  |  |  | Condition | Poor | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Primary | Location |  |  |  | Pedestrian Plazas and Walkways, Primary | Location
| Description | Concrete, Cast/In/Place |  |  |  | Description | Concrete, CIP
| Age | 31 | 45 | 38 |  | Age | 30+ | 30
| Condition | Fair |  | 0.5 |  | Condition | Poor | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Secondary | Location |  |  |  | Pedestrian Plazas and Walkways, Secondary | Location
| Description |  |  |  |  | Description | Asphalt (Bituminous)
| Age |  |  |  |  | Age | 30+ | 30
| Condition |  |  |  |  | Condition | Poor | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Primary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, CIP Beams and Slab |  |  |  | Description
| Age | 31 | 45 | 38 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Slab On Grade |  |  |  | Notes
Floor Construction, Secondary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Primary | Location |  |  |  | Site Lighting, Primary | Location
| Description | Steel Framing, OWJ w/ Steel Deck |  |  |  | Description | Building Mounted H.I.D.
| Age | 31 | 45 | 38 |  | Age | 30+ | 30
| Condition | Fair |  | 0.5 |  | Condition | Poor | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location |  |  |  | Site Lighting, Secondary | Location
| Description |  |  |  |  | Description | Pole Mounted H.I.D.
| Age |  |  |  |  | Age | 30+ | 30
| Condition |  |  |  |  | Condition | Poor | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Primary | Location |  |  |  | Playground Surface | Location
| Description | Concrete, Tilt/Up Panel |  |  |  | Description
| Age | 31 | 45 | 38 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location |  |  |  | Playground Equipment | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary | Location |  |  |  | TCUs | Location
| Description | Aluminum, Awning/Hopper |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location
| Description | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
| Description | Steel (Hollow)
| Age | 31 | 45 | 38
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location
| Description | Asphalt, Modified Bitumen
| Age | 16 | 21 | 18.5
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location
| Description | Aluminum
| Age | 16 | 21 | 18.5
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location
| Description | Other (describe)
| Age | 16 | 21 | 18.5
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Cast Iron
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes