## FCI Summary
Building Name: | Bragaw Avenue | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 64797
Number of Floors: | 3
School Age (years): | 84
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 24.04%
Facility Condition = | FAIR
FCI Deficiency Cost = | 3213175.4847
FCI Replacement Cost = | 13364381.25
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 312
Historic 2005 LRFP Capacity = | 435
Adjusted 2012 Capacity = | 390
Recent Occupancy % = | 80%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 89.1%
Classroom Adequacy = | GOOD
Special Spaces Adequacy % Score = | 48.54%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Bragaw Avenue | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 64797
Largest Floor Level Area: |  | 26489
Vertical FAR Ratio: |  | 2.4462
School Age (years): |  | 84
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 2.7% | 5.5687 | 64797 | 360838.2937 | 100 | 84 | 16 | 0.5 | 50 | 66 | 238153.2739 | 122685.0199 | 34%
|  |  | A1030 - SLAB ON GRADE | 2.65% | 5.4656 | 64797 | 354156.1031 | 100 | 84 | 16 | 0.5 | 50 | 66 | 233743.0281 | 120413.0751 | 34%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 64797 | 294016.3875 | 100 | 84 | 16 | 0.5 | 50 | 66 | 194050.8157 | 99965.5717 | 34%
|  |  | SUBTOTAL SUBSTRUCTURE | 7.55% | 15.5719 | 64797 | 1009010.7844
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 64797 | 1470081.9375 | 100 | 84 | 16 | 0.5 | 50 | 66 | 970254.0788 | 499827.8587 | 34%
|  |  | B1020 - ROOF CONSTRUCTION | 3.4% | 7.0125 | 64797 | 454388.9625 | 100 | 84 | 16 | 0.5 | 50 | 66 | 299896.7153 | 154492.2473 | 34%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 7.7% | 15.8812 | 64797 | 1029057.3562 | 100 | 57.5 | 42.5 | 0.6325 | 63.25 | 100 | 1029057.3562 | 0 | 0%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 4.4% | 9.075 | 64797 | 588032.775 | 30 | 9.5 | 20.5 | 0.375 | 11.25 | 30 | 588032.775 | 0 | 0%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 3% | 6.1875 | 64797 | 400931.4375 | 30 | 11.5 | 18.5 | 0.75 | 22.5 | 30 | 400931.4375 | 0 | 0%
|  |  | SUBTOTAL SHELL | 29.5% | 60.8438 | 64797 | 3942492.4688
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 64797 | 534575.25 | 60 | 56.6731 | 3.3269 | 0.62121 | 37.2727 | 40.5997 | 361726.1373 | 172849.1127 | 32.33%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 64797 | 200465.7188 | 20 | 25 | 0 | 0.45161 | 5 | 5 | 50116.4297 | 150349.2891 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 64797 | 534575.25 | 20 | 7.5 | 12.5 | 0.75 | 15 | 20 | 534575.25 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 64797 | 200465.7188 | 30 | 84 | 0 | 0.5 | 5 | 5 | 33410.9531 | 167054.7656 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 3.2% | 6.6 | 64797 | 427660.2 | 10 | 11.8393 | 0 | 0.47857 | 5 | 5 | 213830.1 | 213830.1 | 50%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 64797 | 801862.875 | 20 | 16.2414 | 3.7586 | 0.52941 | 10.5882 | 14.3469 | 575210.5593 | 226652.3157 | 28.27%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 64797 | 801862.875 | 30 | 30 | 0 | 0.60606 | 18.1818 | 18.1818 | 485977.5 | 315885.375 | 39.39%
|  |  | SUBTOTAL INTERIORS | 26.2% | 54.0375 | 64797 | 3501467.8875
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.75% | 1.5469 | 64797 | 100232.8594 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 100232.8594 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 64797 | 200465.7188 | 60 | 23.4246 | 36.5754 | 0.54918 | 32.9511 | 60 | 200465.7188 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 64797 | 173736.9562 | 60 | 11.5 | 48.5 | 0.5 | 30 | 60 | 173736.9562 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 64797 | 160372.575 | 60 | 7.5 | 52.5 | 0.5 | 30 | 60 | 160372.575 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 64797 | 66821.9062 | 30 | 60 | 0 | 0.5 | 5 | 5 | 11136.9844 | 55684.9219 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 64797 | 360838.2937 | 60 | 0 | 60 | 0 | 0 | 60 | 360838.2937 | 0 | 0%
|  |  | D3020 - BOILERS | 2% | 4.125 | 64797 | 267287.625 | 60 | 53 | 7 | 0.25 | 15 | 22 | 98005.4625 | 169282.1625 | 63.33%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 64797 | 534575.25 | 40 | 53 | 0 | 0.25 | 5 | 5 | 66821.9062 | 467753.3438 | 87.5%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 64797 | 534575.25 | 40 | 20.25 | 19.75 | 0.55093 | 22.037 | 40 | 534575.25 | 0 | 0%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 64797 | 267287.625 | 40 | 0 | 40 | 0 | 0 | 40 | 267287.625 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 64797 | 200465.7188 | 20 | 0 | 20 | 0 | 0 | 20 | 200465.7188 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 64797 | 133643.8125 | 20 | 0 | 20 | 0 | 0 | 20 | 133643.8125 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 64797 | 26728.7625 | 20 | 10.4 | 9.6 | 0.6 | 12 | 20 | 26728.7625 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 64797 | 173736.9562 | 60 | 60 | 0 | 0.25 | 15 | 15 | 43434.2391 | 130302.7172 | 75%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 64797 | 935506.6875 | 30 | 9.413 | 20.587 | 0.67308 | 20.1923 | 30 | 935506.6875 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 64797 | 400931.4375 | 20 | 12.4814 | 7.5186 | 0.63304 | 12.6607 | 20 | 400931.4375 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 64797 | 40093.1438 | 20 | 18.75 | 1.25 | 0.40341 | 8.0682 | 9.3182 | 18679.7602 | 21413.3836 | 53.41%
|  |  | SUBTOTAL SERVICES | 34.25% | 70.6406 | 64797 | 4577300.5781
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 64797
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 64797
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 64797
|  |  | E1090 - OTHER EQUIPMENT |  |  | 64797
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 64797
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 64797
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 64797
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 64797
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 64797
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 64797 | 133643.8125 | 30 | 3.5 | 26.5 | 0.5 | 15 | 30 | 133643.8125 | 0 | 0%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 64797 | 66821.9062 | 30 | 3.5 | 26.5 | 0.75 | 22.5 | 30 | 66821.9062 | 0 | 0%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 64797 | 66821.9062 | 30 | 18.5 | 11.5 | 0.25 | 7.5 | 19 | 42320.5406 | 24501.3656 | 36.67%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 64797 | 66821.9062 | 30 | 3.5 | 26.5 | 0.75 | 22.5 | 30 | 66821.9062 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 64797 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 64797
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 64797 | 13364381.25 | [7 empty] | 3213175.4847 | 24.04%
100%

## Master File (Interior)
Bragaw Avenue
School Code:
NPS Code:
Street: | 103 Bragaw Ave.
City/Town: | Newark,
Database ID: | 28
Total size (gsf):
ROOM INFORMATION | [11 empty] | 55 | Ave Condition | 0.515 | [6 empty] | 16.2414 | Ave Condition | 0.52941 | [6 empty] | 11.8393 | Ave Condition | 0.47857 | [5 empty] | 30 | Ave Condition | 0.60606 | [5 empty] | 25 | Ave Condition | 0.45161 | [6 empty] | 56.6731 | Ave Condition | 0.62121 | [6 empty] | 23.3182 | Ave Condition | 0.47727 | [6 empty] | 21.3333 | Ave Condition | 0.55556 | [6 empty] | 23.0714 | Ave Condition | 0.57143 | [5 empty] | 30 | Ave Condition | 0.54167 | [6 empty] | 19.4 | Ave Condition | 0.6 | [6 empty] | 7.5 | Ave Condition | 0.75 | [6 empty] | 15.3261 | Ave Condition | 0.59615 | [5 empty] | 30 | Ave Condition | 0.55682 | [5 empty] | 30 | Ave Condition | 0.46296 | [6 empty] | 10.5 | Ave Condition | 0.63889 | [6 empty] | 10.4 | Ave Condition | 0.6 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 9.8696 | Ave Condition | 0.53125 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Interior Door | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
9571 | 101 | Literacy/Math Coach | Ground Floor | A | Administration |  |  | 773 | 11' 10" | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | 1 brick and 2 painted wood boards | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 3CPUs | [106 empty] | Present | Clock and speaker
9572 | 102 | Science | Ground Floor | A | Science (6-12) |  |  | 893 | 12' 4" | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  | Painted | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [18 empty] | 1 | [17 empty] | 3 | [72 empty] | Present - Present | Clock and speaker
9573 | 103 | Guidance Office | Ground Floor | A | Administration |  |  | 234 | 12' 1" | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9574 | 104 | Cafeteria | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 1078 | 12' 1" | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Exposed brick | Wall-Mounted Lavatories | 16 | 21 | 18.5 | Fair | 0.5 | [47 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Dry Chemical | 0 | 7 | 3.5 | Fair | 0.5 | [10 empty] | Present - Present - Present | [133 empty] | Present - Present - Present | [35 empty] | Present
9575 | 105 | Kindergarten | Ground Floor | A | Kindergarten Classroom |  |  | 1333 | N/A | Plaster on Metal Lath | 60+ | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on cmu | [35 empty] | Wall Mounted China Drinking Fountains | 30+ |  | 30 | Fair | 0.5 |  |  | Not in use | [9 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 5 | [72 empty] | Present | Clock and speaker
9576 | 109 | Parent Liaison | Ground Floor | A | Administration |  |  | 781 | 12' 0" | [8 empty] | Wood | [17 empty] | Plaster
9577 | 111 | Kindergarten | Ground Floor | A | Kindergarten Classroom |  |  | 1045 | 12' 0" | [8 empty] | Wood | [17 empty] | Plaster
9578 | 113 | Conference Room | Ground Floor | A | Administration |  |  | 1321 | 12' 0" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on clay tiles | In-Counter Lavatories | 41136 |  | 11.5 | Fair | 0.5 | [47 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | [7 empty] | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 |  | 11.5 | Fair | 0.5 | [19 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 3CPU | [106 empty] | Present - Present - Present - Present - Present
9579 | A-1 | Storage | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 14 | N/A
9580 | A-2 | Storage | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 38 | N/A
9581 | UN-1 | N/A | Ground Floor | A | Phys. Ed. (Gym + Storage) |  |  | 97 | N/A
9582 | UN-2 | N/A | Ground Floor | A | Phys. Ed. (Gym + Storage) |  |  | 67 | N/A
9583 | UN-3 | Mechanical Room | Ground Floor | A | Support |  |  | 199 | N/A
9584 | UN-4 | Gymnasium | Ground Floor | A | Phys. Ed. (Gym + Storage) |  |  | 3300 | 18' 0" | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  | Solid Brick with glazed brick wainscot | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 |  |  | Glazed brick wainscot | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | Stainless Steel Sinks | 30+ |  | 30 | Fair | 0.5 | [47 empty] | HID Surface Mount Fixture | 30+ |  | 30 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [12 empty] | Wet Chemical | 30+ |  | 30 | Fair | 0.5 | [10 empty] | Present - Present - Present - Present - Present - Present - Present | [34 empty] | Present - Present - Present | [98 empty] | Present - Present - Present - Present - Present - Present - Present
9585 | UN-5 | Music Office | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 90 | 12' 10"
9586 | UN-6 | Storage | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 137 | N/A
9587 | UN-7 | Auditorium | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 3995 | 24' 4" | [7 empty] | N/A | Other (describe) | 0 | 5 | 2.5 | Fair | 0.5 |  |  | Painted concrete | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on clay tiles | [53 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [12 empty] | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [136 empty] | Present
9588 | UN-8 | Custodial Office | Ground Floor | A | Support |  |  | 104 | 12' 1" | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9589 | UN-9 | Storage | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 54 | N/A
9590 | UN-10 | Storage | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 79 | N/A
9591 | UN-11 | Custodial Closet | Ground Floor | A | Support |  |  | 14 | N/A
9592 | UN-12 | Boys' Water Closet | Ground Floor | A | Support |  |  | 186 | 10' 8" | [8 empty] | Epoxy | [17 empty] | Plaster | [30 empty] | 3 | [8 empty] | 5 | [8 empty] | 6
9593 | UN-13 | Men's Faculty Water Closet | Ground Floor | A | Faculty Support |  |  | 50 | 10' 8" | [8 empty] | Epoxy | [17 empty] | Plaster | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
9594 | UN-14 | Water Closet | Ground Floor | A | Kindergarten Classroom |  |  | 23 | N/A | [57 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
9595 | UN-15 | Water Closet | Ground Floor | A | Kindergarten Classroom |  |  | 21 | N/A | [7 empty] | N/A | Ceramic Tile | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on cmu | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Fair | 0.5 | 1 | [8 empty] | 0 | [28 empty] | Incandescent Surface Mount Fixture | 30+ |  | 30 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 |  |  | Toilet exhaust | [25 empty] | Present - Present
9596 | UN-16 | Storage | Ground Floor | A | Kindergarten Classroom |  |  | 44 | N/A
9597 | UN-17 | Storage | Ground Floor | A | Kindergarten Classroom |  |  | 64 | N/A
9598 | UN-18 | Storage | Ground Floor | A | Kindergarten Classroom |  |  | 24 | N/A
9599 | UN-19 | Office Reception | Ground Floor | A | Administration |  |  | 137 | 11' 10" | [8 empty] | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on clay tiles | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 |  | 11.5 | Good | 0.75 | [19 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [10 empty] | Present | [98 empty] | Present - Present - Present - Present - Present - Present
9600 | UN-20 | Storage | Ground Floor | A | Administration |  |  | 57 | N/A
9601 | UN-21 | Storage | Ground Floor | A | Administration |  |  | 19 | N/A
9602 | UN-22 | Storage | Ground Floor | A | Administration |  |  | 13 | N/A
9603 | UN-23 | Water Closet | Ground Floor | A | Administration |  |  | 23 | 12' 0" | [8 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
9604 | UN-24 | Principal\'s Office | Ground Floor | A | Administration |  |  | 160 | N/A | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Fair | 0.5 |  |  | Mosaic | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on clay tiles | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 |  | 11.5 | Good | 0.75 | [19 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1CPU | [7 empty] | Present - Present | [98 empty] | Present - Present - Present - Present - Present - Present - Present | Clock
9605 | UN-25 | Main Office | Ground Floor | A | Administration |  |  | 257 | 11' 10" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Fair | 0.5 |  |  | Mosaic | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Pendant Mount Fixture | 30+ |  | 30 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 |  | 11.5 | Fair | 0.5 | [19 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 3CPU | [106 empty] | Present - Present - Present - Present - Present - Present - Present
9606 | UN-26 | Storage | Ground Floor | A | Administration |  |  | 37 | N/A
9607 | UN-27 | Storage | Ground Floor | A | Administration |  |  | 51 | N/A
9608 | UN-28 | Women's Faculty Water Closet | Ground Floor | A | Faculty Support |  |  | 44 | 10' 4" | [8 empty] | Epoxy | [17 empty] | Plaster | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
9609 | UN-29 | Girls' Water Closet | Ground Floor | A | Support |  |  | 294 | 10' 4" | [8 empty] | Epoxy | [17 empty] | Plaster | [30 empty] | 5 | [8 empty] | 7 | [8 empty] | 0
9610 | UN-30 | Water Closet | Ground Floor | A | Administration |  |  | 42 | 12' 0" | [8 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
9611 | UN-31 | Office | Ground Floor | A | Administration |  |  | 246 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9612 | UN-32 | Copy Room | Ground Floor | A | Faculty Support |  |  | 129 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9613 | UN-33 | Storage | Ground Floor | A | Administration |  |  | 39 | N/A
9614 | UN-34 | Vault | Ground Floor | A | Support |  |  | 124 | N/A
9615 | UN-35 | Storage | Ground Floor | A | Administration |  |  | 170 | N/A
9616 | 201 | Art Room | 1st Floor | A | Visual & Performing Arts |  |  | 793 | 12' 0" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ | 20 | [5 empty] | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on cmu | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Unit Vent. AND Radiators | 30+ | 30 | Poor | 0.25 | [28 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 3 CPU | [106 empty] | Present
9617 | 204 | Media Center | 1st Floor | A | Media Center |  |  | 1602 | 12' 0" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on clay tiles | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 30+ |  | 30 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Dry Chemical | 41136 |  | 11.5 | Fair | 0.5 | [10 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 5 | [72 empty] | Present | Clock and speaker
9618 | 205 | 4th Grade | 1st Floor | A | General Classroom (Grades 4-5) |  |  | 719 | 12' 0" |  |  |  | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) |  |  |  | Poor | 0.25 | [7 empty] | Poor | 0.25 |  |  |  | Plaster |  |  | Good | 0.75 | [6 empty] | Fair | 0.5 | [7 empty] | Fair | 0.5 | [76 empty] | Poor | 0.25 | [28 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 | [72 empty] | Present - Present
9619 | 206 | 4th Grade | 1st Floor | A | General Classroom (Grades 4-5) |  |  | 719 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9620 | 207 | Faculty Lounge | 1st Floor | A | Faculty Support |  |  | 420 | 12' 0" | Plaster on Metal Lath | 60+ | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  |  | In-Counter Lavatories | 30+ |  | 30 | Poor | 0.25 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present
9621 | 208 | 3rd Grade | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 713 | 12' 0" |  |  |  | Very Good | 0.9 |  |  |  | Vinyl Composition Tile (VCT) |  |  |  | Poor | 0.25 | [7 empty] | Fair | 0.5 |  |  |  | Plaster |  |  | Good | 0.75 | [6 empty] | Fair | 0.5 | [7 empty] | Good | 0.75 | [60 empty] | Good | 0.75 | [6 empty] | Fair | 0.5 | [6 empty] | Fair | 0.5 | [28 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 | [72 empty] | Present - Present - Present - Present
9622 | 209 | 3rd Grade | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 778 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9623 | 210 | 2nd Grade | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 809 | 12' 0" |  |  |  | Fair | 0.5 |  |  |  | Wood | [8 empty] | Painted Walls |  |  |  | Poor | 0.25 |  |  |  | Plaster | [19 empty] | Good | 0.75 | [76 empty] | Poor | 0.25 | [28 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 | [72 empty] | Present - Present - Present - Present - Present
9624 | 211 | 2nd Grade | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 811 | 12' 0" | [8 empty] | Wood | [17 empty] | Plaster
9625 | 212 | 1st Grade | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 770 | 12' 0" | [8 empty] | Wood | [12 empty] | Fair | 0.5 |  |  |  | Plaster |  |  | Good | 0.75 | [15 empty] | Good | 0.75 | [106 empty] | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 | [72 empty] | Present - Present - Present - Present - Present - Present
9626 | 213 | 1st Grade | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 740 | 12' 0" | [8 empty] | Wood | [17 empty] | Plaster
9627 | 214 | Social Worker | 1st Floor | A | Administration |  |  | 157 | 10' 0" | [8 empty] | Other (describe) | 0 | 5 | 2.5 | Fair | 0.5 |  |  | Paint | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on cmu | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ | 30 | Good | 0.75 | [28 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75
9628 | UN-36 | Art Storage | 1st Floor | A | Visual & Performing Arts |  |  | 234 | 12' 0" | [8 empty] | Wood | [17 empty] | Plaster
9629 | UN-37 | N/A | 1st Floor | A | Visual & Performing Arts |  |  | 256 | N/A
9630 | UN-38 | Office | 1st Floor | A | Visual & Performing Arts |  |  | 246 | 12' 0" | Plaster on Metal Lath | 60+ | 60 | Good | 0.75 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ | 20 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Good | 0.75 |  |  |  | Window Mounted | 16 | 21 | 18.5 | Fair | 0.5 | [19 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present - Present
9631 | UN-39 | N/A | 1st Floor | A | N/A |  |  | 159 | N/A
9632 | UN-40 | N/A | 1st Floor | A | N/A |  |  | 20 | N/A
9633 | UN-41 | N/A | 1st Floor | A | N/A |  |  | 98 | N/A
9634 | UN-42 | N/A | 1st Floor | A | N/A |  |  | 68 | N/A
9635 | UN-43 | N/A | 1st Floor | A | N/A |  |  | 195 | N/A
9636 | UN-44 | Custodial Closet | 1st Floor | A | Support |  |  | 12 | 12' 1" | [8 empty] | Unfinished | [17 empty] | Plaster
9637 | UN-45 | Boys\' Water Closet | 1st Floor | A | Support |  |  | 205 | 10' 5" | Other (describe) | 60+ | 60 | Fair | 0.5 |  |  | Plaster on metal lath | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  | Damage | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 3 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Fair | 0.5 | 5 |  |  | Floor Unit | 30+ |  | 30 | Fair | 0.5 | 6 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Poor | 0.25 |  |  | Cover replacement | [8 empty] | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  | Needs to be reprinted
9638 | UN-46 | Men\'s Faculty Water Closet | 1st Floor | A | Faculty Support |  |  | 40 | 10' 5" | [7 empty] | N/A | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Precast concrete panels | Wall-Mounted Lavatories | 16 | 21 | 18.5 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Poor | 0.25 | 1 | [8 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [28 empty] | Present - Present
9639 | UN-47 | Storage | 1st Floor | A | General Classroom (Grades 4-5) |  |  | 51 | N/A
9640 | UN-48 | Storage | 1st Floor | A | General Classroom (Grades 4-5) |  |  | 51 | N/A
9641 | UN-49 | N/A | 1st Floor | A | N/A |  |  | 108 | N/A
9642 | UN-50 | Storage | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 51 | N/A
9643 | UN-51 | Storage | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 51 | N/A
9644 | UN-52 | Women's Faculty Water Closet | 1st Floor | A | Faculty Support |  |  | 67 | 10' 3" | [8 empty] | Epoxy | [17 empty] | Plaster | [30 empty] | 1 | [8 empty] | 2 | [8 empty] | 0
9645 | UN-53 | Girls' Water Closet | 1st Floor | A | Support |  |  | 205 | 10' 3" | [8 empty] | Epoxy | [17 empty] | Plaster | [30 empty] | 2 | [8 empty] | 9 | [8 empty] | 0
9646 | UN-54 | Storage | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 54 | N/A
9647 | UN-55 | Storage | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 54 | N/A
9648 | UN-56 | Storage | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 54 | N/A
9649 | 301 | S.O.S. | 2nd Floor | A | General Classroom |  |  | 734 | 12' 0" | Plaster on Metal Lath | 60+ | 60 | Good | 0.75 |  |  |  | Wood | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 5 | [72 empty] | Present
9650 | 302 | Special Education Classroom | 2nd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 694 | 12' 0" | [8 empty] | Wood | [17 empty] | Plaster
9651 | 303 | Language Arts | 2nd Floor | A | General Classroom |  |  | 738 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9652 | 304 | Computer Lab | 2nd Floor | A | Technological Literacy |  |  | 728 | 12' 0" | Plaster on Metal Lath | 60+ | 60 | Good | 0.75 |  |  | Some water damage | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on cmu | [53 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 | [19 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 25 | [72 empty] | Present - Present
9653 | 305 | 6th Grade | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 719 | 12' 0" | [8 empty] | Wood | [17 empty] | Plaster
9654 | 306 | 7th Grade | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 719 | 12' 0" | Plaster on Metal Lath |  |  | Good | 0.75 |  |  |  | Wood |  |  |  | Good | 0.75 | [7 empty] | Fair | 0.5 |  |  |  | Plaster |  |  | Fair | 0.5 | [6 empty] | Fair | 0.5 | [7 empty] | Good | 0.75 | [73 empty] | Unit Vent. AND Radiators | [32 empty] | Present - Present - Present | [22 empty] | Good | 0.75 | [18 empty] | 1 |  | Wall mount | [15 empty] | 1 | [72 empty] | Present - Present - Present
9655 | 308 | 7th Grade | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 713 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9656 | 309 | 5th Grade | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 778 | 12' 0" |  |  |  | Good | 0.75 |  |  |  | Wood | [12 empty] | Poor | 0.25 |  |  |  | Plaster |  |  | Fair | 0.5 | [6 empty] | Poor | 0.25 | [7 empty] | Good | 0.75 | [106 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 4 | [72 empty] | Present - Present - Present - Present
9657 | 310 | 5th Grade | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 809 | 12' 0" | [8 empty] | Wood | [17 empty] | Plaster
9658 | 311 | 8th Grade | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 811 | 12' 0" | Plaster on Metal Lath |  |  | Poor | 0.25 |  |  | Water damage | Wood |  |  |  | Fair | 0.5 |  |  | Bowing in some areas | Painted Walls | [8 empty] | Plaster |  |  | Good | 0.75 |  |  |  | Wood/Wood Frame | [69 empty] | Fluorescent Linear Pendant Mount Fixture |  |  |  | Good | 0.75 |  |  |  | Toggle Wall Switches | [7 empty] | Unit Vent. AND Radiators |  |  | Poor | 0.25 | [28 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 4 | [72 empty] | Present - Present - Present - Present - Present
9659 | 312 | 8th Grade | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 770 | 12' 0" | [8 empty] | Wood | [17 empty] | Plaster
9660 | 313 | Special Education Classroom | 2nd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 692 | 12' 0" | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on cmu | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  | Two not working | Unit Vent. AND Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Good | 0.75 | [36 empty] | 4 | [72 empty] | Present - Present - Present - Present - Present - Present
9661 | 314 | Read 180 | 2nd Floor | A | General Classroom |  |  | 768 | 12' 0" | [8 empty] | Wood | [17 empty] | Plaster
9662 | 315 | 6th Grade | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 796 | 12' 0" | Plaster on Metal Lath | 60+ | 60 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) |  |  |  | Fair | 0.5 | [7 empty] | Poor | 0.25 |  |  |  | Plaster |  |  | Good | 0.75 | [15 empty] | Good | 0.75 | [60 empty] | Good | 0.75 | [44 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 1 | [72 empty] | Present - Present - Present - Present - Present - Present - Present
9663 | UN-57 | Storage | 2nd Floor | A | General Classroom |  |  | 33 | N/A
9664 | UN-58 | Storage | 2nd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 38 | N/A
9665 | UN-59 | Mechanical Room | 2nd Floor | A | Support |  |  | 188 | N/A
9666 | UN-60 | Storage | 2nd Floor | A | General Classroom |  |  | 38 | N/A
9667 | UN-61 | Storage | 2nd Floor | A | Technological Literacy |  |  | 38 | N/A
9668 | UN-62 | Custodial Closet | 2nd Floor | A | Support |  |  | 12 | 12' 1" | [8 empty] | Unfinished | [17 empty] | Plaster
9669 | UN-63 | Boys' Water Closet | 2nd Floor | A | Support |  |  | 216 | 12' 0" | [8 empty] | Wood | [17 empty] | Plaster | [30 empty] | 2 | [8 empty] | 5 | [8 empty] | 6
9670 | UN-64 | Men's Faculty Water Closet | 2nd Floor | A | Faculty Support |  |  | 40 | 12' 0" | [8 empty] | Epoxy | [17 empty] | Plaster | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
9671 | UN-65 | Storage | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 37 | N/A
9672 | UN-66 | Storage | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 37 | N/A
9673 | UN-67 | Vice Principal's Office | 2nd Floor | A | Administration |  |  | 287 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
9674 | UN-68 | Book Room | 2nd Floor | A | Support |  |  | 109 | N/A
9675 | UN-69 | Storage | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 38 | N/A
9676 | UN-70 | Storage | 2nd Floor | A | General Classroom |  |  | 38 | N/A
9677 | UN-71 | Storage | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 37 | N/A
9678 | UN-72 | Storage | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 37 | N/A
9679 | UN-73 | Women\'s Faculty Water Closet | 2nd Floor | A | Faculty Support |  |  | 65 | 12' 0" | [8 empty] | Other (describe) | 20+ |  | 20 | Poor | 0.25 |  |  | Paint | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on cmu | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Poor | 0.25 | 2 | [8 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  | Toilet exhaust | [25 empty] | Present - Present - Present - Present - Present - Present - Present
9680 | UN-74 | Girls\' Water Closet | 2nd Floor | A | Support |  |  | 206 | 12' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Good | 0.75 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | 2 |  |  | Floor Mounted Flush Valve | 22 | 30 | 26 | Fair | 0.5 | 8 | [8 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present - Present - Present - Present
9681 | UN-75 | Storage | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 41 | N/A
9682 | UN-76 | Storage | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 41 | N/A
9683 | UN-77 | Storage | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 41 | N/A
9684 | UN-78 | Storage | 2nd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 29 | N/A
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Standpipes | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
54 | A |  | 1st | [6 empty] | CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Solid Terrazzo | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 10+ |  | 10 | Poor | 0.25 |  |  | Marble | Plaster | 30+ | 30 | Good | 0.75 | [11 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Masonry | [9 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [19 empty] | Present
Corridors | [9 empty] | Floor Finish | [7 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [7 empty] | Partitions | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
168 | A |  | 1st | [6 empty] | Vinyl Asbestos Tile (VAT) | 20+ | 20 | Very Poor | 0.1 |  |  |  | Painted Walls with Wainscot | 41100 |  | 8.5 | Fair | 0.5 |  |  | Brick wainscot | Plaster | 30+ |  | 30 | Fair | 0.5 | [11 empty] | Other (describe) | 60+ | 60 | Fair | 0.5 |  |  | Plaster on metal lath | [18 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water | [7 empty] | Present | [16 empty] | Present | [7 empty] | Present
169 | B |  | 2nd | [6 empty] | Vinyl Asbestos Tile (VAT) | 20+ | 20 | Very Poor | 0.1 |  |  |  | Painted Walls with Wainscot | 41100 |  | 8.5 | Good | 0.75 |  |  | Brick wainscot | Plaster | 30+ |  | 30 | Good | 0.75 | [11 empty] | Other (describe) | 60+ | 60 | Fair | 0.5 |  |  | Plaster on metal lath | [18 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Good | 0.75 | [19 empty] | Present | [16 empty] | Present | [7 empty] | Present
170 | C |  | 3rd | [6 empty] | Vinyl Asbestos Tile (VAT) | 20+ | 20 | Very Poor | 0.1 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 |  |  | Brick wainscot, peeling paint | Plaster | 30+ |  | 30 | Good | 0.75 | [11 empty] | Other (describe) | 60+ | 60 | Fair | 0.5 |  |  | Plaster on metal lath | [18 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water | [7 empty] | Present | [16 empty] | Present | [7 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Tread Finish | [7 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
164 | A |  | Basement - 3rd | [6 empty] | Other (describe) | 60+ | 60 | Fair | 0.5 |  |  | Masonry back up | Steel Pan | 30+ |  | 30 | Good | 0.75 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Good | 0.75 |  |  | Brick wainscot | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Exposed Concrete | 30+ | 30 | Fair | 0.5 |  |  |  | Vinyl/VCT | 0 | 7 | 3.5 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 41070 |  | 8 | Fair | 0.5 |  |  | 2nd floor hardware needs replacement | [9 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present
165 | B |  | 1st - 3rd | [6 empty] | Other (describe) | 60+ | 60 | Fair | 0.5 |  |  | Masonry back up | Steel Pan | 30+ |  | 30 | Good | 0.75 | [12 empty] | Plaster | 30+ | 30 | Fair | 0.5 |  |  | Isolated patching repair needed | Exposed Concrete | 30+ | 30 | Fair | 0.5 |  |  |  | Vinyl/VCT | 30+ |  | 30 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | [12 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present | [15 empty] | Present

## Master File (Systems)
Systems | Question | Value1 |  | Average1 | Systems | Question | Value1 | Average1
Systems | Seg ID | 1530 |  |  | InfoTech | Seg ID | 481
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1928 |  |  |  | Year Built | 1928
Domestic Water Heaters | Location | Boiler Room |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | 2 units with copper piping |  |  |  | Notes
Sanitary Drainage | Location | Boiler Room |  |  | Main Dist. Facility (MDF) | Location | Above Ground Level Floor
| Description | Sanitary Sewers |  |  |  | Description | On floor cabinet style
| Age | 0 | 15 | 7.5 |  | Age | 10+ | 10
| Condition | Fair |  | 0.5 |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Sanitary sump pump |  |  |  | Notes | Room 304
Building Support (other) Plumbing Systems | Location | Roof |  |  | MDF, HVAC Terminal Units | Location
| Description | Stormwater Area Drains |  |  |  | Description | Cast Iron Radiators
| Age | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Piping | Location | Boiler Room |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description | Window Mounted
| Age | 46 | 60 | 53 |  | Age | 41136 | 11.5
| Condition | Poor |  | 0.25 |  | Condition | Very Good | 0.9
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Fired Boilers | Location | Boiler Room |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas/Fired Boilers |  |  |  | Description
| Age | 46 | 60 | 53 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Condensate return package |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location |  |  |  | IDF #4, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location | Boiler Room |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Two Pipe |  |  |  | Description
| Age | 46 | 60 | 53 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location |  |  |  | Inter. Data Facility (IDF #5) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location |  |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Fans | Location |  |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location | Boiler Room
| Description | Gas Engine Generators
| Age | 0 | 15 | 7.5
| Condition | Poor |  | 0.25
CheckBox
Quantity
| Voltage | 120/208Volts
| Power Output | 15 KVA
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | Electrical room
| Description | D5010 120
| Age | 60+ |  | 60
| Condition | Poor |  | 0.25
CheckBox
Quantity
| Voltage | 120/208volt
Power Output
Elec Power
Notes
Voice Communication Terminal Equipment | Location
| Description | PDX/Key Systems
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | UN/25
| Description | Public Address and Mass Notification Systems
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | UN/24
| Description | Analog Video Recording Devices
| Age | 41233 |  | 10.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | Basement
| Description | Fire Alarm Annunciation Panels
| Age | 31 | 40 | 35.5
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 1891 |  |  | SiteElements | Seg ID | 422
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1928 |  |  |  | Year Built | 1928
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typ. |  |  | Roadways | Location
| Description | Concrete, Cast/In/Place |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location |  |  |  | Parking Lots | Location | S/4, S/10
| Description |  |  |  |  | Description | Asphalt (Bituminous)
| Age |  |  |  |  | Age | 0 | 7 | 3.5
| Condition |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Primary | Location | Typ. |  |  | Pedestrian Plazas and Walkways, Primary | Location | S/3, S/5, S/9, S/11
| Description | Concrete, Cast/In/Place |  |  |  | Description | Concrete, CIP
| Age | 60+ |  | 60 |  | Age | 0 | 7 | 3.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Secondary | Location |  |  |  | Pedestrian Plazas and Walkways, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Primary | Location | Typ. |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, CIP Beams and Slab |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Secondary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Primary | Location | Typ. |  |  | Site Lighting, Primary | Location | Typ.
| Description | Concrete, CIP |  |  |  | Description | Pole Mounted H.I.D.
| Age | 60+ |  | 60 |  | Age | 0 | 7 | 3.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location |  |  |  | Site Lighting, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Primary | Location | Typ. |  |  | Playground Surface | Location | S/1
| Description | Brick, Solid (Mass) |  |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 |  | Age | 16 | 21 | 18.5
| Condition | Good |  | 0.75 |  | Condition | Poor |  | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location | Typ. |  |  | Playground Equipment | Location | S/1
| Description | Stone, Solid (Mass) |  |  |  | Description | B/Ball Backstops
| Age | 60+ |  |  |  | Age | 0 | 7 | 3.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Missing nets
Exterior Windows, Primary | Location | Typ. |  |  | TCUs | Location
| Description | Other (describe) |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Aluminum single hung |  |  |  | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Single Pane
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | Typ.
| Description | Steel (Hollow)
| Age | 0 | 15 | 7.5
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | Roof
| Description | Polyurethane, Spray Applied
| Age | 41136 |  | 11.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | Roof
| Description | Other (describe)
| Age | 41136 |  | 11.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Spray applied polyurethane
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes