## FCI Summary
Building Name: | Burnet Street (Off-Line) | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 84999
Number of Floors: | 4
School Age (years): | 104
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 53.09%
Facility Condition = | VERY POOR
FCI Deficiency Cost = | 9307321.0887
FCI Replacement Cost = | 17531043.75
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 0
Historic 2005 LRFP Capacity = | 402
Adjusted 2012 Capacity = | 347
Recent Occupancy % = | 0%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 88.1%
Classroom Adequacy = | GOOD
Special Spaces Adequacy % Score = | 67.24%
Special Spaces Adequacy = | POOR

## Uniformat FCI
Building Name: |  | Burnet Street (Off-Line) | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 84999
Largest Floor Level Area: |  | 25373
Vertical FAR Ratio: |  | 3.35
School Age (years): |  | 104
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 1.8% | 3.7125 | 84999 | 315558.7875 | 100 | 104 | 0 | 0.5 | 5 | 5 | 15777.9394 | 299780.8481 | 95%
|  |  | A1030 - SLAB ON GRADE | 1.5% | 3.0938 | 84999 | 262965.6562 | 100 | 104 | 0 | 0.5 | 5 | 5 | 13148.2828 | 249817.3734 | 95%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 84999 | 385682.9625 | 100 | 104 | 0 | 0.5 | 5 | 5 | 19284.1481 | 366398.8144 | 95%
|  |  | SUBTOTAL SUBSTRUCTURE | 5.5% | 11.3438 | 84999 | 964207.4062
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 84999 | 1928414.8125 | 100 | 104 | 0 | 0.5 | 5 | 5 | 96420.7406 | 1831994.0719 | 95%
|  |  | B1020 - ROOF CONSTRUCTION | 2.5% | 5.1562 | 84999 | 438276.0938 | 100 | 104 | 0 | 0.5 | 5 | 5 | 21913.8047 | 416362.2891 | 95%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 9.5% | 19.5938 | 84999 | 1665449.1562 | 100 | 104 | 0 | 0.50291 | 5 | 5 | 83272.4578 | 1582176.6984 | 95%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 5.5% | 11.3438 | 84999 | 964207.4062 | 30 | 43 | 0 | 0.25 | 5 | 5 | 160701.2344 | 803506.1719 | 83.33%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 2% | 4.125 | 84999 | 350620.875 | 30 | 22.3333 | 7.6667 | 0.5 | 15 | 22.6667 | 264913.55 | 85707.325 | 24.44%
|  |  | SUBTOTAL SHELL | 30.5% | 62.9063 | 84999 | 5346968.3438
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 84999 | 701241.75 | 60 | 54.5568 | 5.4432 | 0.50568 | 30.3409 | 35.7841 | 418221.6422 | 283020.1078 | 40.36%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 84999 | 262965.6562 | 20 | 22.8953 | 0 | 0.34302 | 5 | 5 | 65741.4141 | 197224.2422 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 84999 | 701241.75 | 20 | 33.75 | 0 | 0.625 | 5 | 5 | 175310.4375 | 525931.3125 | 75%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 84999 | 262965.6562 | 30 | 104 | 0 | 0.5 | 5 | 5 | 43827.6094 | 219138.0469 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 4% | 8.25 | 84999 | 701241.75 | 10 | 8.6932 | 1.3068 | 0.48295 | 4.8295 | 6.1364 | 430307.4375 | 270934.3125 | 38.64%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 84999 | 1051862.625 | 20 | 18.9205 | 1.0795 | 0.375 | 7.5 | 8.5795 | 451225.1602 | 600637.4648 | 57.1%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 84999 | 1051862.625 | 30 | 30 | 0 | 0.4939 | 14.8171 | 14.8171 | 519517.516 | 532345.109 | 50.61%
|  |  | SUBTOTAL INTERIORS | 27% | 55.6875 | 84999 | 4733381.8125
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 1% | 2.0625 | 84999 | 175310.4375 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 175310.4375 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 84999 | 262965.6562 | 60 | 23.3762 | 36.6238 | 0.51212 | 30.7275 | 60 | 262965.6562 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 84999 | 227903.5688 | 60 | 3.5 | 56.5 | 0.75 | 45 | 60 | 227903.5688 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 84999 | 210372.525 | 60 | 38 | 22 | 0.25 | 15 | 37 | 129729.7238 | 80642.8012 | 38.33%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 84999 | 87655.2188 | 30 | 60 | 0 | 0.25 | 5 | 5 | 14609.2031 | 73046.0156 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 84999 | 473338.1812 | 60 | 0 | 60 | 0 | 0 | 60 | 473338.1812 | 0 | 0%
|  |  | D3020 - BOILERS | 2% | 4.125 | 84999 | 350620.875 | 60 | 38 | 22 | 0.25 | 15 | 37 | 216216.2063 | 134404.6687 | 38.33%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 84999 | 701241.75 | 40 | 32.5 | 7.5 | 0.5 | 20 | 27.5 | 482103.7031 | 219138.0469 | 31.25%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 84999 | 701241.75 | 40 | 17.6389 | 22.3611 | 0.63712 | 25.4848 | 40 | 701241.75 | 0 | 0%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 84999 | 350620.875 | 40 | 0 | 40 | 0 | 0 | 40 | 350620.875 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 84999 | 262965.6562 | 20 | 0 | 20 | 0 | 0 | 20 | 262965.6562 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 84999 | 175310.4375 | 20 | 0 | 20 | 0 | 0 | 20 | 175310.4375 | 0 | 100%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 84999 | 35062.0875 | 20 | 6.7 | 13.3 | 0.7 | 14 | 20 | 35062.0875 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 84999 | 227903.5688 | 60 | 38 | 22 | 0.5 | 30 | 52 | 197516.4263 | 30387.1425 | 13.33%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 84999 | 1227173.0625 | 30 | 18.8919 | 11.1081 | 0.58986 | 17.6959 | 28.8041 | 1178251.9742 | 48921.0883 | 3.986%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 84999 | 525931.3125 | 20 | 6.9688 | 13.0312 | 0.54167 | 10.8333 | 20 | 525931.3125 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 84999 | 52593.1312 | 20 | 26.3446 | 0 | 0.375 | 5 | 5 | 13148.2828 | 39444.8484 | 75%
|  |  | SUBTOTAL SERVICES | 34.5% | 71.1563 | 84999 | 6048210.0938
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 84999
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 84999
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 84999
|  |  | E1090 - OTHER EQUIPMENT |  |  | 84999
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 84999
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 84999
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 84999
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 84999
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 84999
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 84999 | 175310.4375 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 43827.6094 | 131482.8281 | 75%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 84999 | 87655.2188 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 21913.8047 | 65741.4141 | 75%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 84999 | 87655.2188 | 30 | 30 | 0 | 0.5 | 15 | 15 | 43827.6094 | 43827.6094 | 50%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 84999 | 87655.2188 | 30 | 0 | 30 | 0.1 | 3 | 30 | 87655.2188 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 84999 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 84999
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 84999 | 17531043.75 | [7 empty] | 9307321.0887 | 53.09%
100%
Note on J36: Tessier, Matthew: No Survey Data
Note on J41: Tessier, Matthew: No Survey Data
Note on J42: Tessier, Matthew: No Survey Data
Note on J61: Tessier, Matthew: No Survey Data

## Master File (Interior)
Burnet Street
School Code: | 300
NPS Code: | 59
Street: | 28 Burnet St.
City/Town: | Newark,
Database ID: | 7
Total size (gsf):
ROOM INFORMATION | [11 empty] | 57.2093 | Ave Condition | 0.50581 | [6 empty] | 18.9205 | Ave Condition | 0.375 | [6 empty] | 8.6932 | Ave Condition | 0.48295 | [5 empty] | 30 | Ave Condition | 0.4939 | [5 empty] | 22.8953 | Ave Condition | 0.34302 | [6 empty] | 54.5568 | Ave Condition | 0.50568 | [6 empty] | 26.2353 | Ave Condition | 0.49118 | [6 empty] | 21.3333 | Ave Condition | 0.44444 | [6 empty] | 22.5625 | Ave Condition | 0.5 | [5 empty] | 30 | Ave Condition | 0.5 | [6 empty] | 16.75 | Ave Condition | 0.625 | [6 empty] | 33.75 | Ave Condition | 0.625 | [6 empty] | 11.7838 | Ave Condition | 0.67973 | [6 empty] | 29.6892 | Ave Condition | 0.5 | [5 empty] | 30 | Ave Condition | 0.50758 | [6 empty] | 5.2778 | Ave Condition | 0.76667 | [6 empty] | 6.7 | Ave Condition | 0.7 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 9.8125 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Interior Door | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
7127 | UN-1 | Storage | Ground Floor | B | Support |  |  | 361 | N/A
7128 | UN-2 | Gymnasium | Ground Floor | B | Phys. Ed. (Gym + Storage) |  |  | 5891 | 16' 8" | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  |  | Other (describe) | 20+ |  | 20 | Fair | 0.5 |  |  | Athletic rubberized flooring | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | [53 empty] | HID Vapor Pendant Mount Fixture | 0 | 7 | 3.5 | Very Good | 0.9 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [12 empty] | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water type | [7 empty] | Present - Present - Present | [133 empty] | Present - Present - Present | Clock and speaker
7129 | UN-3 | N/A | Ground Floor | A | Phys. Ed. (Gym + Storage) |  |  | 94 | N/A
7130 | UN-4 | N/A | Ground Floor | B | Phys. Ed. (Gym + Storage) |  |  | 182 | N/A
7131 | UN-5 | Storage | Ground Floor | B | Support |  |  | 321 | N/A
7132 | UN-6 | N/A | Ground Floor | B | Food Service/Assembly (K-8) |  |  | 79 | N/A
7133 | UN-7 | N/A | Ground Floor | B | Food Service/Assembly (K-8) |  |  | 23 | N/A
7134 | UN-8 | N/A | Ground Floor | B | Food Service/Assembly (K-8) |  |  | 26 | N/A
7135 | UN-9 | Kitchen | Ground Floor | B | Food Service/Assembly (K-8) |  |  | 1814 | N/A | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 | 0 |  |  | Epoxy | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Concrete | In-Counter Lavatories | 30+ |  | 30 | Fair | 0.5 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [11 empty] | Wet Chemical | 0 | 7 | 3.5 | Fair | 0.5 | 0 | [8 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [132 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | Clock and speaker | [24 empty] | 0 | Present
7136 | UN-10 | Custodial | Ground Floor | B | Support |  |  | 403 | N/A | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Fair | 0.5 | 1 | [37 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  | Ceiling steam pipes | [25 empty] | Present | [133 empty] | Present | Clock and speaker
7137 | UN-11 | Storage | Ground Floor | B | Food Service/Assembly (K-8) |  |  | 133 | N/A
7138 | UN-12 | Storage | Ground Floor | B | Food Service/Assembly (K-8) |  |  | 151 | N/A
7139 | UN-13 | Cafeteria | Ground Floor | B | Food Service/Assembly (K-8) |  |  | 2077 | 9' 10" | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Concrete | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [12 empty] | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water type | [7 empty] | Present - Present | [34 empty] | Present | Camera | [97 empty] | Present - Present
7140 | UN-14 | N/A | Ground Floor | B | Food Service/Assembly (K-8) |  |  | 40 | N/A
7141 | UN-15 | N/A | Ground Floor | B | Food Service/Assembly (K-8) |  |  | 38 | N/A
7142 | UN-16 | N/A | Ground Floor | B | Food Service/Assembly (K-8) |  |  | 42 | N/A
7143 | UN-17 | N/A | Ground Floor | B | Food Service/Assembly (K-8) |  |  | 44 | N/A
7144 | UN-18 | N/A | Ground Floor | B | Food Service/Assembly (K-8) |  |  | 44 | N/A
7145 | UN-19 | N/A | Ground Floor | B | Food Service/Assembly (K-8) |  |  | 50 | N/A
7146 | UN-20 | Girls' Water Closet | Ground Floor | B | Support |  |  | 165 | N/A | [8 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 1 | [8 empty] | 8 | [8 empty] | 0
7147 | UN-21 | N/A | Ground Floor | B | Support |  |  | 140 | N/A
7148 | UN-22 | Storage | Ground Floor | B | Support |  |  | 530 | N/A
7149 | UN-23 | Boys' Water Closet | Ground Floor | A | Support |  |  | 270 | N/A | [8 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 4 | [8 empty] | 5 | [8 empty] | 4
7150 | UN-24 | Storage | Ground Floor | A | Support |  |  | 102 | N/A
7151 | UN-25 | Storage/Electric Room | Ground Floor | A | Support |  |  | 243 | N/A
7152 | UN-26 | N/A | Ground Floor | A | Support |  |  | 178 | N/A
7153 | UN-27 | Faculty Room | Ground Floor | A | Faculty Support |  |  | 263 | N/A | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | 1 | [46 empty] | Fluorescent Pendant Mount Fixture | 30+ |  | 30 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present
7154 | UN-28 | Faculty Room | Ground Floor | A | Faculty Support |  |  | 39 | N/A | [8 empty] | Other (describe) | 20+ |  | 20 | Poor | 0.25 | 0 |  | Painted concrete | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Drywall (Gypsum)/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 | [34 empty] | 0 | Present - Present - Present - Present - Present
7155 | UN-29 | Storage | Ground Floor | A | Administration |  |  | 110 | N/A
7156 | UN-30 | Storage | Ground Floor | A | Administration |  |  | 112 | N/A
7157 | UN-31 | Storage | Ground Floor | A | Support |  |  | 160 | N/A
7158 | UN-32 | Storage | Ground Floor | A | Support |  |  | 142 | N/A
7159 | UN-33 | Office | Ground Floor | A | Administration |  |  | 407 | N/A
7160 | UN-34 | Guidance Office | Ground Floor | A | Administration |  |  | 890 | N/A | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Brick | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 16 | 21 | 18.5 | Poor | 0.25 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Fair | 0.5 | 0 | [107 empty] | 0 | Present - Present - Present - Present - Present
7161 | UN-35 | Resource Room | Ground Floor | A | Administration |  |  | 805 | 9' 9" | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Fair | 0.5 | 0 | [107 empty] | 0 | Present - Present - Present - Present - Present - Present
7162 | 101 | Pre-Kindergarten | 1st Floor | A | Pre-Kindergarten Classroom |  |  | 802 | 12' 4" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 16 | 20 | 18 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Good | 0.75 | 0 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 1 | [72 empty] | Present
7163 | 104 | Principal\'s Office | 1st Floor | A | Administration |  |  | 805 | 12' 4 | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Good | 0.75 | [47 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 CPU
7164 | 105 | 1st Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 771 | 12' 6" | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
7165 | 106 | Nurse | 1st Floor | A | Health Services |  |  | 231 | 12' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Poor | 0.25 |  |  |  | Painted Walls | 41100 |  | 8.5 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 | [19 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 CPU | [106 empty] | Present - Present
7166 | 107 | Library | 1st Floor | B | Media Center |  |  | 1346 | 12' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Poor | 0.25 | 0 |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 1 | [17 empty] | 1 | [71 empty] | 0 | Present - Present - Present
7167 | 107A | Storage | 1st Floor | B | Media Center |  |  | 92 | N/A
7168 | 109 | 1st Grade Classroom | 1st Floor | B | General Classroom (Grades 1-3) |  |  | 747 | 12' 6" | [8 empty] | Wood | [17 empty] | Plaster
7169 | 110 | 2nd Grade Classroom | 1st Floor | B | General Classroom (Grades 1-3) |  |  | 713 | 12' 6" | [8 empty] | Wood | [17 empty] | Plaster
7170 | 111 | 2nd Grade Classroom | 1st Floor | B | General Classroom (Grades 1-3) |  |  | 715 | 12' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Poor | 0.25 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 1 | [71 empty] | 0 | Present - Present - Present - Present
7171 | 112 | 1st Grade Classroom | 1st Floor | B | General Classroom (Grades 1-3) |  |  | 703 | 12' 6" | Drywall(Gypsum)/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 |  | 8.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present - Present - Present - Present - Present | [7 empty] | 0 | [7 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [8 empty] | 1 |  | Wall mounted | [15 empty] | 1 | [71 empty] | 0 | Present - Present - Present - Present - Present
7172 | 116 | Kindergarten | 1st Floor | A | Kindergarten Classroom |  |  | 767 | 12' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 16 | 20 | 18 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  | Some water damage | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 1 | [17 empty] | 1 | [71 empty] | 0 | Present - Present - Present - Present - Present - Present
7173 | UN-36 | Storage | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 116 | N/A | [8 empty] | Wood | [17 empty] | Plaster
7174 | UN-37 | Storage | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 169 | N/A | [8 empty] | Wood | [17 empty] | Plaster
7175 | UN-38 | Auditorium | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 6951 | 34' 3" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Poor | 0.25 |  |  | Some water damage. Leaks repaired | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  | Some water damage at edges. Leaks repaired | Wood/Wood Frame | 41228 | 13 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 | [56 empty] | HID Vapor Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [12 empty] | Wet Chemical | 41136 |  | 11.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present - Present
7176 | UN-39 | Storage | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 69 | N/A
7177 | UN-40 | Storage | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 9 | N/A
7178 | UN-41 | Storage | 1st Floor | B | Food Service/Assembly (K-8) |  |  | 16 | N/A
7179 | UN-42 | Storage | 1st Floor | B | Media Center |  |  | 90 | N/A
7180 | UN-43 | Water Closet | 1st Floor | B | Media Center |  |  | 116 | N/A | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Good | 0.75 | 0 |  |  | Epoxy | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Wall-Mounted Lavatories | 16 | 21 | 18.5 | Good | 0.75 | 2 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Poor | 0.25 | 2 | [8 empty] | 0 | [19 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | wood | Fluorescent Linear Pendant Mount Fixture | 22 | 30 | 26 | Poor | 0.25 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Poor | 0.25 | 0 | [34 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [132 empty] | 0
7181 | UN-44 | Storage | 1st Floor | B | General Classroom (Grades 1-3) |  |  | 127 | N/A
7182 | UN-45 | Storage | 1st Floor | B | General Classroom (Grades 1-3) |  |  | 86 | N/A
7183 | UN-46 | Girls' Water Closet | 1st Floor | A | Support |  |  | 254 | N/A | [8 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 3 | [8 empty] | 4 | [8 empty] | 0
7184 | UN-47 | Storage | 1st Floor | B | General Classroom (Grades 1-3) |  |  | 114 | N/A
7185 | UN-48 | Storage | 1st Floor | B | General Classroom (Grades 1-3) |  |  | 102 | N/A
7186 | UN-49 | Waiting Room | 1st Floor | A | Health Services |  |  | 98 | N/A | Drywall(Gypsum)/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 | [34 empty] | 0 | Present - Present - Present - Present - Present - Present - Present
7187 | UN-50 | Storage | 1st Floor | A | Health Services |  |  | 23 | N/A
7188 | UN-51 | Storage | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 24 | N/A
7189 | UN-52 | Water Closet | 1st Floor | A | Faculty Support |  |  | 43 | 8' 0" | [8 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7190 | UN-53 | Water Closet | 1st Floor | A | Faculty Support |  |  | 43 | 8' 0" | [8 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7191 | UN-54 | Boys' Water Closet | 1st Floor | A | Support |  |  | 211 | N/A | [8 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 3 | [8 empty] | 2 | [8 empty] | 4
7192 | UN-55 | Storage | 1st Floor | A | Kindergarten Classroom |  |  | 9 | N/A
7193 | UN-56 | Storage | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 134 | N/A
7194 | UN-57 | Storage | 1st Floor | A | Kindergarten Classroom |  |  | 134 | N/A
7195 | UN-58 | Storage | 1st Floor | A | Kindergarten Classroom |  |  | 120 | N/A
7196 | UN-59 | Vice Principal\'s Office | 1st Floor | A | Administration |  |  | 322 | N/A | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 0 | 5 | 2.5 | Poor | 0.25 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Good | 0.75 | [28 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 CPU | [106 empty] | Present - Present - Present - Present - Present - Present - Present
7197 | UN-60 | Storage | 1st Floor | A | Administration |  |  | 79 | N/A
7198 | UN-61 | Main Office | 1st Floor | A | Administration |  |  | 322 | N/A | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 16 | 20 | 18 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | In-Counter Lavatories | 41136 |  | 11.5 | Good | 0.75 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ | 30 | Good | 0.75 | [28 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present - Present | Paging head end
7199 | UN-62 | Storage | 1st Floor | A | Pre-Kindergarten Classroom |  |  | 145 | N/A
7200 | UN-63 | Storage | 1st Floor | A | Pre-Kindergarten Classroom |  |  | 12 | N/A
7201 | 201 | 4th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 802 | 12' 4" | [8 empty] | Wood | [17 empty] | Plaster
7202 | 203 | 4th Grade Classroom | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 769 | 12' 2" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 |  | 8.5 | Good | 0.75 | 0 |  |  | Plaster | 30+ | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [11 empty] | Wet Chemical | 41136 |  | 11.5 | Good | 0.75 | [10 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 1 |  | Wall mounted | [15 empty] | 4 | [72 empty] | Present
7203 | 204 | Literacy Coach | 2nd Floor | A | Small Group Instruction |  |  | 805 | 12' 4" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Good | 0.75 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Plaster | 30+ | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [27 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 1 |  | Wall mounted | [15 empty] | 8 | [72 empty] | Present - Present
7204 | 205 | Art | 2nd Floor | A | Visual & Performing Arts |  |  | 915 | 12' 4" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41004 |  | 4.5 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 2 CPU | [106 empty] | Present - Present - Present
7205 | 207 | 3rd Grade Classroom | 2nd Floor | B | General Classroom (Grades 1-3) |  |  | 717 | 12' 4" | [8 empty] | Wood | [17 empty] | Plaster
7206 | 208 | Small Group Instruction | 2nd Floor | B | Small Group Instruction |  |  | 717 | 10' 4" | [8 empty] | Wood | [17 empty] | Acoustical Panel
7207 | 209 | Small Group Instruction | 2nd Floor | B | Small Group Instruction |  |  | 747 | 12' 4" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Poor | 0.25 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present - Present - Present - Present | [7 empty] | 0 | [7 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [8 empty] | 1 | [17 empty] | 1 | [71 empty] | 0 | Present - Present - Present - Present
7208 | 210 | 3rd Grade Classroom | 2nd Floor | B | General Classroom (Grades 1-3) |  |  | 713 | 12' 4" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 1 |  | Wall mounted | [15 empty] | 1 | [71 empty] | 0 | Present - Present - Present - Present - Present
7209 | 211 | 3rd Grade Classroom | 2nd Floor | B | General Classroom (Grades 1-3) |  |  | 761 | 12' 4" | [8 empty] | Wood | [17 empty] | Plaster
7210 | 212 | Computer Room | 2nd Floor | B | Technological Literacy |  |  | 667 | 12' 4" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 |  | 11.5 | Fair | 0.5 | 0 | [17 empty] | 0 | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 1 | [17 empty] | 26 | [71 empty] | 0 | Present - Present - Present - Present - Present - Present
7211 | 216 | Dance Studio | 2nd Floor | A | Visual & Performing Arts |  |  | 913 | 12' 4" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Very Poor | 0.1 | 1 | [46 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | 0 | [26 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 1 CPU | [6 empty] | 0 | [98 empty] | 0 | Present - Present - Present - Present - Present - Present - Present
7212 | UN-64 | Storage | 2nd Floor | B | Technological Literacy |  |  | 102 | N/A
7213 | UN-65 | Storage | 2nd Floor | A | Visual & Performing Arts |  |  | 9 | N/A
7214 | UN-66 | Storage | 2nd Floor | B | General Classroom (Grades 1-3) |  |  | 115 | N/A
7215 | UN-67 | Storage | 2nd Floor | B | Small Group Instruction |  |  | 92 | N/A
7216 | UN-68 | Storage | 2nd Floor | B | Small Group Instruction |  |  | 127 | N/A
7217 | UN-69 | Storage | 2nd Floor | B | General Classroom (Grades 1-3) |  |  | 128 | N/A
7218 | UN-70 | Storage | 2nd Floor | B | General Classroom (Grades 1-3) |  |  | 97 | N/A
7219 | UN-71 | Girls' Water Closet | 2nd Floor | A | Support |  |  | 254 | N/A | [8 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 3 | [8 empty] | 4 | [8 empty] | 0
7220 | UN-72 | Boys\' Water Closet | 2nd Floor | A | Support |  |  | 211 | N/A | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 | 0 |  |  | Ceramic Tile | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | 3 |  |  | Floor Mounted Flush Valve | 22 | 30 | 26 | Good | 0.75 | 2 |  |  | Wall Hung | 22 | 30 | 26 | Fair | 0.5 | 4 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 | 0 |  |  | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Poor | 0.25 | 0 | [8 empty] | 0 |  | Toilet exhaust | [15 empty] | 0 | Present - Present - Present - Present - Present - Present - Present
7221 | UN-73 | Women's Water Closet | 2nd Floor | A | Faculty Support |  |  | 44 | N/A | [57 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7222 | UN-74 | Men's Water Closet | 2nd Floor | A | Faculty Support |  |  | 42 | N/A | [57 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7223 | UN-75 | Faculty Room | 2nd Floor | A | Faculty Support |  |  | 349 | 12' 3" | [8 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
7224 | UN-76 | Storage | 2nd Floor | A | Visual & Performing Arts |  |  | 26 | N/A
7225 | UN-77 | Storage | 2nd Floor | A | Small Group Instruction |  |  | 67 | N/A
7226 | UN-78 | Storage | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 113 | N/A
7227 | UN-79 | Storage | 2nd Floor | A | General Classroom (Grades 4-5) |  |  | 174 | N/A
7228 | UN-80 | N/A | 2nd Floor | A | Support |  |  | 106 | N/A
7229 | 301 | Classroom | 3rd Floor | A | General Classroom |  |  | 802 | 12' 4" | [8 empty] | Wood | [17 empty] | Plaster
7230 | 302 | Storage | 3rd Floor | A | Support |  |  | 106 | N/A | [8 empty] | Wood | [17 empty] | Plaster
7231 | 303 | Classroom | 3rd Floor | A | General Classroom |  |  | 769 | 12' 6" | [8 empty] | Wood | [17 empty] | Plaster
7232 | 304 | Classroom | 3rd Floor | A | General Classroom |  |  | 805 | 12' 4" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 0 | 7 | 3.5 | Very Good | 0.9 | [19 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 1 | [17 empty] | 1 | [72 empty] | Present | Clock and speaker
7233 | 305 | Classroom | 3rd Floor | A | General Classroom |  |  | 751 | 12' 5" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 0 | 7 | 3.5 | Very Good | 0.9 | [19 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present - Present | Clock and speaker
7234 | 307 | Self-Contained Special Education Classroom | 3rd Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 717 | 12' 7" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Very Good | 0.9 | 0 | [17 empty] | 0 | Present - Present - Present | [132 empty] | 0 | Present - Present - Present | Clock and speaker
7235 | 308 | Science Room | 3rd Floor | B | Science (6-12) |  |  | 717 | 12' 7" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [55 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 0 | 7 | 3.5 | Very Good | 0.9 | 0 | [17 empty] | 0 | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [72 empty] | 0 | Present | [7 empty] | 0 | Present | [25 empty] | 0 | Present - Present - Present - Present
7236 | 309 | Self-Contained Special Education Classroom | 3rd Floor | B | Self-Contained Sp. Ed. Classroom |  |  | 747 | 12' 7" | [8 empty] | Wood | [17 empty] | Plaster
7237 | 310 | Self-Contained Special Education Classroom | 3rd Floor | B | Self-Contained Sp. Ed. Classroom |  |  | 713 | 12' 7 | Drywall(Gypsum)/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Very Good | 0.9 | 0 | [17 empty] | 0 | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [108 empty] | 0 | Present - Present - Present - Present - Present | Clock and speaker
7238 | 311 | 5th Grade Classroom | 3rd Floor | B | General Classroom (Grades 4-5) |  |  | 761 | 12' 7" | Drywall(Gypsum)/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Very Good | 0.9 | 0 | [17 empty] | 0 | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [108 empty] | 0 | Present - Present - Present - Present - Present - Present | Clock and speaker
7239 | 312 | 5th Grade Classroom | 3rd Floor | B | General Classroom (Grades 4-5) |  |  | 539 | 12' 7" | [8 empty] | Wood | [17 empty] | Plaster
7240 | 312A | Storage | 3rd Floor | B | Support |  |  | 102 | N/A
7241 | 316 | Classroom | 3rd Floor | A | General Classroom |  |  | 749 | N/A | [8 empty] | Wood | [17 empty] | Plaster
7242 | UN-81 | Child Study Team | 3rd Floor | B | Administration |  |  | 111 | N/A
7243 | UN-82 | Storage | 3rd Floor | B | Self-Contained Sp. Ed. Classroom |  |  | 115 | N/A
7244 | UN-83 | Storage | 3rd Floor | B | Science (6-12) |  |  | 92 | N/A
7245 | UN-84 | Storage | 3rd Floor | B | Self-Contained Sp. Ed. Classroom |  |  | 127 | N/A
7246 | UN-85 | Storage | 3rd Floor | B | General Classroom (Grades 4-5) |  |  | 128 | N/A
7247 | UN-86 | Storage | 3rd Floor | B | Self-Contained Sp. Ed. Classroom |  |  | 97 | N/A
7248 | UN-87 | Storage | 3rd Floor | B | General Classroom (Grades 4-5) |  |  | 116 | N/A
7249 | UN-88 | Girls\' Water Closet | 3rd Floor | A | Support |  |  | 254 | N/A | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 3 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Poor | 0.25 | 4 | [8 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 60+ |  | 60 | Fair | 0.5 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 |  |  | Ceiling mtd | [25 empty] | Present - Present - Present - Present - Present - Present - Present
7250 | UN-89 | Boys' Water Closet | 3rd Floor | A | Support |  |  | 211 | N/A | [8 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 2 | [8 empty] | 2 | [8 empty] | 4
7251 | UN-90 | Women\'s Water Closet | 3rd Floor | A | Faculty Support |  |  | 44 | N/A | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  | N/A | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Poor | 0.25 | 1 | [8 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  | Wall mtd | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | [10 empty] | N/A | [25 empty] | Present - Present - Present - Present - Present - Present - Present
7252 | UN-91 | Men's Water Closet | 3rd Floor | A | Faculty Support |  |  | 42 | N/A | [57 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7253 | UN-92 | Faculty Room | 3rd Floor | A | Faculty Support |  |  | 337 | 12' 5" | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41100 |  | 8.5 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 |  | 11.5 | Poor | 0.25 | [19 empty] | Present - Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present - Present | Clock and speaker
7254 | UN-93 | Storage | 3rd Floor | A | General Classroom |  |  | 52 | N/A
7255 | UN-94 | Storage | 3rd Floor | A | General Classroom |  |  | 9 | N/A
7256 | UN-95 | Storage | 3rd Floor | A | General Classroom |  |  | 153 | N/A
7257 | UN-96 | Storage | 3rd Floor | A | General Classroom |  |  | 152 | N/A
7258 | UN-97 | Storage | 3rd Floor | A | General Classroom |  |  | 67 | N/A
7259 | UN-98 | Storage | 3rd Floor | A | General Classroom |  |  | 113 | N/A
7260 | UN-99 | Storage | 3rd Floor | A | General Classroom |  |  | 174 | N/A
12507 | UN-33A | Storage | Ground Floor | A | Administration |  |  | 82
12508 | UN-34A | Storage | Ground Floor | A | Administration |  |  | 122
12509 | UN-100 | Custodial Closet | 3rd Floor | A | Support |  |  | 14
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Standpipes | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
33 | A | Main entrance | 1st floor | [6 empty] | Other (describe) | 60+ | 60 | Fair | 0.5 | 0 |  | Marble | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 | 0 |  | Marble wainscot | Plaster | 30+ | 30 | Fair | 0.5 | 0 | [10 empty] | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [11 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [17 empty] | 0 | Present | [24 empty] | 0
Corridors | [9 empty] | Floor Finish | [7 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [7 empty] | Partitions | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
107 | A |  | 1st floor | [6 empty] | Epoxy | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | [11 empty] | Plaster/Wood Stud Framing | 60+ | 60 | Fair | 0.5 |  |  |  | Wall Mounted Stainless Steel Drinking Fountains | 22 | 30 | 26 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 | [11 empty] | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water type | [7 empty] | Present | [17 empty] | Present | Camera | [6 empty] | Present
108 | B |  | 2nd floor | [6 empty] | Epoxy | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | [11 empty] | Plaster/Wood Stud Framing | 60+ | 60 | Fair | 0.5 |  |  |  | Wall Mounted Stainless Steel Drinking Fountains | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water type | [7 empty] | Present | [17 empty] | Present | Camera
109 | C |  | 3rd floor | [6 empty] | Epoxy | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | [11 empty] | Plaster/Wood Stud Framing | 60+ | 60 | Fair | 0.5 |  |  |  | Wall Mounted Stainless Steel Drinking Fountains | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water type | [7 empty] | Present | [17 empty] | Present | Camera
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Tread Finish | [7 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
102 | A | Stair 1 | 1st floor | [6 empty] | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Steel Pan | 30+ |  | 30 | Fair | 0.5 |  |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Exposed Concrete | 41136 | 11.5 | Fair | 0.5 |  |  | Epoxy paint | Exposed Concrete | 41136 |  | 11.5 | Fair | 0.5 |  |  | Epoxy paint | Labeled Metal/Metal Frames | 20+ |  | 20 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present
103 | B | Stair 2 | 1st floor | [6 empty] | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Steel Pan | 30+ |  | 30 | Fair | 0.5 |  |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Exposed Concrete | 30+ | 30 | Fair | 0.5 |  |  | Epoxy paint | Exposed Concrete | 30+ |  | 30 | Fair | 0.5 |  |  | Epoxy paint | Labeled Metal/Metal Frames | 20+ |  | 20 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present
104 | C | Stair 3 | 1st floor | [6 empty] | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  |  | Steel Pan | 30+ |  | 30 | Fair | 0.5 |  |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Exposed Concrete | 30+ | 30 | Fair | 0.5 |  |  | Epoxy paint | Exposed Concrete | 30+ |  | 30 | Fair | 0.5 |  |  | Epoxy paint | Labeled Metal/Metal Frames | 20+ |  | 20 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present

## Master File (Systems)
Systems | Question | Value1 |  | Average1 | Value2 |  | Average2 | systems | Question | Value1 |  | Average1
Systems | Seg ID | 815 |  |  | 818 |  |  | InfoTech | Seg ID | 309
| Bldg.Phase | A |  |  | B |  |  |  | Bldg.Phase | A
| Original | 1 |  |  | 0 |  |  |  | Original | 1
| Addition | 0 |  |  | 1 |  |  |  | Addition | 0
| Year Built | 1908 |  |  | 1914 |  |  |  | Year Built | 1908
Domestic Water Heaters | Location | [6 empty] | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater | [6 empty] | Description
| Age | 0 | 7 | 3.5 |  |  |  |  | Age
| Condition | Good |  | 0.75 |  |  |  |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Associated heater pump 5 good | [6 empty] | Notes
Sanitary Drainage | Location | [6 empty] | Main Dist. Facility (MDF) | Location | Above Ground Level Floor
| Description | Other (describe) | [6 empty] | Description | Wall mounted rack
| Age | 31 | 45 | 38 |  |  |  |  | Age | 41067 |  | 6.5
| Condition | Poor |  | 0.25 |  |  |  |  | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Sump pumps | [6 empty] | Notes
Building Support (other) Plumbing Systems | Location | Roof A | [5 empty] | MDF, HVAC Terminal Units | Location
| Description | Stormwater Area Drains |  |  | Stormwater Area Drains |  |  |  | Description
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 | Poor |  | 0.25 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Piping | Location | [6 empty] | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping | [6 empty] | Description | Window Mounted
| Age | 31 | 45 | 38 |  |  |  |  | Age | 0 | 7 | 3.5
| Condition | Poor |  | 0.25 |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Pumps | Location | [6 empty] | Inter. Data Facility (IDF #1) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Storage Tanks | Location | [6 empty] | IDF #1, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fuel Fired Boilers | Location | [6 empty] | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas/Fired Boilers | [6 empty] | Description
| Age | 31 | 45 | 38 |  |  |  |  | Age
| Condition | Poor |  | 0.25 |  |  |  |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Condensate return package, poor, 30 +; steam to not water heat exchanger 40+ , poor | [6 empty] | Notes
Furnaces | Location | [6 empty] | Inter. Data Facility (IDF #2) | Location | UN48
| Description | [7 empty] | Description | Wall mounted rack
| Age | [7 empty] | Age | 41067 |  | 6.5
| Condition | [7 empty] | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes | Not plugged in
Unit Ventilators | Location | [6 empty] | IDF #2, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fan Coil Units | Location | [6 empty] | IDF #2, Packaged Terminal Air Conditioner | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Water Chillers | Location | [6 empty] | Inter. Data Facility (IDF #3) | Location | UN 92
| Description | [7 empty] | Description | Wall mounted cabninet
| Age | [7 empty] | Age | 41067 |  | 6.5
| Condition | [7 empty] | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox | Secure
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Cooling Towers | Location | [6 empty] | IDF #3, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Packaged Terminal Air Conditioner | Location | [6 empty] | IDF #3, Packaged Terminal Air Conditioner | Location
| Description | [7 empty] | Description | Window Mounted
| Age | [7 empty] | Age | 41136 |  | 11.5
| Condition | [7 empty] | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Hydronic Piping System | Location | [6 empty] | Inter. Data Facility (IDF #4) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Pumps | Location | [6 empty] | IDF #4, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Steam Piping System | Location | [6 empty] | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Two Pipe | [6 empty] | Description
| Age | 60+ |  | 60 |  |  |  |  | Age
| Condition | Poor |  | 0.25 |  |  |  |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
HVAC Air Distribution | Location | [6 empty] | Inter. Data Facility (IDF #5) | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Air Handling Units | Location | [6 empty] | IDF #5, HVAC Terminal Units | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
HVAC Fans | Location | [6 empty] | IDF #5, Packaged Terminal Air Conditioner | Location
| Description | Other (describe) |  |  | Other (describe) |  |  |  | Description
| Age | 0 | 10 | 5 | 0 | 10 | 5 |  | Age
| Condition | Good |  | 0.75 | Good |  | 0.75 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Roof exhaust fan |  |  | Roof exhaust fan |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location | [6 empty] | Backbone Cable Dist. | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Fire/Suppression (Standpipes), Water/Based | Location | [6 empty] | Horizontal Cable Dist. | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Facility Power Generation, Packaged Generator Assemblies | Location
| Description | Gas Engine Generators
| Age | 16 | 30 | 23
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
| Power Output | 56kva
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | UN 25
| Description | D5010 120
| Age | 31 | 45 | 38
| Condition | Fair |  | 0.5
CheckBox
Quantity
| Voltage | 208
Power Output
Elec Power
Notes
Voice Communication Terminal Equipment | Location | UN 31
| Description | PDX/Key Systems
| Age | 0 | 10 | 5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | UN 61
| Description | Public Address and Mass Notification Systems
| Age | 0 | 10 | 5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | Entry
| Description | Analog Video Recording Devices
| Age | 41233 |  | 10.5
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | Entry
| Description | Fire Alarm Annunciation Panels
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
| Description | Bathroom vent piping |  |  | Bathroom vent piping
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Value2 |  | Average2 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 1143 |  |  | 1022 |  |  | SiteElements | Seg ID | 257
| Bldg.Phase | A |  |  | B |  |  |  | Bldg.Phase | A
| Original | 1 |  |  | 0 |  |  |  | Original | 1
| Addition | 0 |  |  | 1 |  |  |  | Addition | 0
| Year Built | 1908 |  |  | 1914 |  |  |  | Year Built | 1908
(Foundation) Walls for Subgrade Enclosures, Primary | Location | [6 empty] | Roadways | Location
| Description | Brick, Solid (Mass) |  |  | Brick, Solid (Mass) |  |  |  | Description
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location | [6 empty] | Parking Lots | Location
| Description | [7 empty] | Description | Asphalt (Bituminous)
| Age | [7 empty] | Age | 30+ |  | 30
| Condition | [7 empty] | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Standard Slabs On Grade, Primary | Location | [6 empty] | Pedestrian Plazas and Walkways, Primary | Location
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  |  | Description | Concrete, CIP
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Standard Slabs On Grade, Secondary | Location | [6 empty] | Pedestrian Plazas and Walkways, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Floor Construction, Primary | Location | [6 empty] | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, CIP Beams and Slab |  |  | Concrete, CIP Beams and Slab |  |  |  | Description
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Floor Construction, Secondary | Location | [6 empty] | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Roof Construction, Structural Frame, Primary | Location | [6 empty] | Site Lighting, Primary | Location
| Description | Wood, Beams and Joists |  |  | Steel Framing, OWJ w/ Steel Deck |  |  |  | Description | Pole Mounted H.I.D.
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age | 22 | 30 | 26
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes |  |  |  | Plate connected |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location | [6 empty] | Site Lighting, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Walls / Exterior Assembly, Primary | Location | [6 empty] | Playground Surface | Location
| Description | Brick, Solid (Mass) |  |  | Brick, Solid (Mass) |  |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Walls / Exterior Assembly, Secondary | Location | [6 empty] | Playground Equipment | Location
| Description | [7 empty] | Description | B/Ball Backstops
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Windows, Primary | Location | [6 empty] | TCUs | Location
| Description | Aluminum, Double Hung |  |  | Aluminum, Double Hung |  |  |  | Description
| Age | 22 | 30 | 26 | 22 | 30 | 26 |  | Age
| Condition | Poor |  | 0.25 | Poor |  | 0.25 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated) |  |  | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles |  |  | Security Grilles
Quantity
Voltage
Power Output
Elec Power
| Notes | Security grilles on 1st floor |  |  | Security grilles on 1st floor
Exterior Windows, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location
| Description | Wood |  |  | Wood
| Age | 60+ |  | 60 | 60+ |  | 60
| Condition | Poor |  | 0.25 | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location
| Description | Asphalt, Modified Bitumen |  |  | Asphalt, Modified Bitumen
| Age | 16 | 21 | 18.5 | 16 | 21 | 18.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location
| Description |  |  |  | Asphalt Shingle
| Age |  |  |  | 16 | 21 | 18.5
| Condition |  |  |  | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location
| Description | Aluminum
| Age | 16 | 21 | 18.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location
| Description | Other (describe) |  |  | Other (describe)
| Age | 30+ |  | 30 | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Cast iron Internal drain |  |  | Cast iron internal drain
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes