## FCI Summary
Building Name: | Chancellor Avenue Annex | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 40771
Number of Floors: | B + 1
School Age (years): | 53
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 19.54%
Facility Condition = | GOOD
FCI Deficiency Cost = | 1643140.6572
FCI Replacement Cost = | 8409018.75
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 161
Historic 2005 LRFP Capacity = | 182
Adjusted 2012 Capacity = | 266
Recent Occupancy % = | 60.53%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 66.65%
Classroom Adequacy = | POOR
Special Spaces Adequacy % Score = | 70.57%
Special Spaces Adequacy = | POOR

## Uniformat FCI
Building Name: |  | Chancellor Avenue Annex | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 40771
Largest Floor Level Area: |  | 22022
Vertical FAR Ratio: |  | 1.8514
School Age (years): |  | 53
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 3.5% | 7.2188 | 40771 | 294315.6563 | 100 | 53 | 47 | 0.5 | 50 | 97 | 285486.1866 | 8829.4697 | 3%
|  |  | A1030 - SLAB ON GRADE | 3.8% | 7.8375 | 40771 | 319542.7125 | 100 | 53 | 47 | 0.5 | 50 | 97 | 309956.4311 | 9586.2814 | 3%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 40771 | 184998.4125 | 100 | 53 | 47 | 0.5 | 50 | 97 | 179448.4601 | 5549.9524 | 3%
|  |  | SUBTOTAL SUBSTRUCTURE | 9.5% | 19.5938 | 40771 | 798856.7812
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 40771 | 924992.0625 | 100 | 53 | 47 | 0.75 | 75 | 100 | 924992.0625 | 0 | 0%
|  |  | B1020 - ROOF CONSTRUCTION | 4.4% | 9.075 | 40771 | 369996.825 | 100 | 53 | 47 | 0.5 | 50 | 97 | 358896.9202 | 11099.9047 | 3%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 5.8% | 11.9625 | 40771 | 487723.0875 | 100 | 53 | 47 | 0.55132 | 55.1316 | 100 | 487723.0875 | 0 | 0%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 3.3% | 6.8063 | 40771 | 277497.6188 | 30 | 9.5 | 20.5 | 0.75 | 22.5 | 30 | 277497.6188 | 0 | 0%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 4% | 8.25 | 40771 | 336360.75 | 30 | 17.6667 | 12.3333 | 0.5 | 15 | 27.3333 | 306462.0167 | 29898.7333 | 8.889%
|  |  | SUBTOTAL SHELL | 28.5% | 58.7812 | 40771 | 2396570.3437
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 40771 | 336360.75 | 60 | 44.875 | 15.125 | 0.61111 | 36.6667 | 51.7917 | 290344.7307 | 46016.0193 | 13.68%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 40771 | 126135.2812 | 20 | 21.9815 | 0 | 0.51852 | 5 | 5 | 31533.8203 | 94601.4609 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 40771 | 336360.75 | 20 | 7.5 | 12.5 | 0.25 | 5 | 17.5 | 294315.6562 | 42045.0938 | 12.5%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 40771 | 126135.2812 | 30 | 53 | 0 | 0.5 | 5 | 5 | 21022.5469 | 105112.7344 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 2.5% | 5.1562 | 40771 | 210225.4688 | 10 | 6.6786 | 3.3214 | 0.625 | 6.25 | 9.5714 | 201215.8058 | 9009.6629 | 4.286%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 40771 | 504541.125 | 20 | 16.6964 | 3.3036 | 0.52222 | 10.4444 | 13.748 | 346821.9698 | 157719.1552 | 31.26%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 40771 | 504541.125 | 30 | 18.56 | 11.44 | 0.53 | 15.9 | 27.34 | 459805.1453 | 44735.9797 | 8.867%
|  |  | SUBTOTAL INTERIORS | 25.5% | 52.5938 | 40771 | 2144299.7812
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.5% | 1.0312 | 40771 | 42045.0938 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 42045.0938 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 40771 | 126135.2812 | 60 | 34.8833 | 25.1167 | 0.53667 | 32.2 | 57.3167 | 120494.2312 | 5641.0501 | 4.472%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 40771 | 109317.2437 | 60 | 11.5 | 48.5 | 0.9 | 54 | 60 | 109317.2437 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 40771 | 100908.225 | 60 | 53 | 7 | 0 | 0 | 7 | 11772.6263 | 89135.5988 | 88.33%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 40771 | 42045.0938 | 30 | 53 | 0 | 0.5 | 5 | 5 | 7007.5156 | 35037.5781 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 40771 | 227043.5062 | 60 | 53 | 7 | 0.5 | 30 | 37 | 140010.1622 | 87033.3441 | 38.33%
|  |  | D3020 - BOILERS | 2% | 4.125 | 40771 | 168180.375 | 60 | 53 | 7 | 0.5 | 30 | 37 | 103711.2313 | 64469.1437 | 38.33%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 40771 | 336360.75 | 40 | 53 | 0 | 0.66667 | 5 | 5 | 42045.0938 | 294315.6562 | 87.5%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 40771 | 336360.75 | 40 | 17.9074 | 22.0926 | 0.375 | 15 | 37.0926 | 311912.3066 | 24448.4434 | 7.269%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 40771 | 168180.375 | 40 | 18 | 22 | 0.1 | 4 | 26 | 109317.2438 | 58863.1312 | 35%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 40771 | 126135.2812 | 20 | 53 | 0 | 0 | 5 | 5 | 31533.8203 | 94601.4609 | 75%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 40771 | 84090.1875 | 20 | 53 | 0 | 0 | 5 | 5 | 21022.5469 | 63067.6406 | 75%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 40771 | 16818.0375 | 20 | 13.8333 | 6.1667 | 0.75 | 15 | 20 | 16818.0375 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 40771 | 109317.2437 | 60 | 53 | 7 | 0.75 | 45 | 52 | 94741.6113 | 14575.6325 | 13.33%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 40771 | 588631.3125 | 30 | 17.971 | 12.029 | 0.65217 | 19.5652 | 30 | 588631.3125 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 40771 | 252270.5625 | 20 | 17.5455 | 2.4545 | 0.55909 | 11.1818 | 13.6364 | 172002.6562 | 80267.9062 | 31.82%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 40771 | 25227.0563 | 20 | 41.0978 | 0 | 0.53804 | 5 | 5 | 6306.7641 | 18920.2922 | 75%
|  |  | SUBTOTAL SERVICES | 34% | 70.125 | 40771 | 2859066.375
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 40771
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 40771
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 40771
|  |  | E1090 - OTHER EQUIPMENT |  |  | 40771
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 40771
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 40771
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 40771
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 40771
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 40771
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 40771 | 84090.1875 | 30 | 53 | 0 | 0 | 5 | 5 | 14015.0312 | 70075.1562 | 83.33%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 40771 | 42045.0938 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 10511.2734 | 31533.8203 | 75%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 40771 | 42045.0938 | 30 | 26 | 4 | 0.75 | 22.5 | 26.5 | 37139.8328 | 4905.2609 | 11.67%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 40771 | 42045.0938 | 30 | 3.5 | 26.5 | 0.75 | 22.5 | 30 | 42045.0938 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 40771 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 40771
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 40771 | 8409018.75 | [7 empty] | 1643140.6572 | 19.54%
100%

## Master File (Interior)
Chancellor Avenue Annex
School Code:
NPS Code:
Street: | 255 Chancellor Ave.
City/Town: | Newark,
Database ID: | 30
Total size (gsf):
ROOM INFORMATION | [12 empty] | 38.2105 | Ave Condition | 0.60263 | [6 empty] | 16.6964 | Ave Condition | 0.52222 | [6 empty] | 6.6786 | Ave Condition | 0.625 | [6 empty] | 18.56 | Ave Condition | 0.53 | [6 empty] | 21.9815 | Ave Condition | 0.51852 | [6 empty] | 44.875 | Ave Condition | 0.61111 | [6 empty] | 53 | Ave Condition | 0.45 | [5 empty] | 53 | Ave Condition | 0.45 | [6 empty] | 25.5 | Ave Condition | 0.45 | [5 empty] | 30 | Ave Condition | 0.75 | [6 empty] | 12.9167 | Ave Condition | 0.58333 | [6 empty] | 7.5 | Ave Condition | 0.25 | [6 empty] | 12.413 | Ave Condition | 0.70652 | [5 empty] | 29.1957 | Ave Condition | 0.57609 | [6 empty] | 25.2222 | Ave Condition | 0.25 | [6 empty] | 18 | Ave Condition | 0.25 | [6 empty] | 13.8333 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [6 empty] | 1.5 | Ave Condition | 0.9 | [5 empty] | Average Age | 10 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [7 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [8 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
11222 | 101-A | Classroom | Basement | A | General Classroom |  |  | 496 | 9' 1" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 | 0 |  |  | Fin Tube Radiation | 30+ |  | 30 | Poor | 0.25 | 0 | [27 empty] | Present | [10 empty] | Wireless (WiFi) | 0 | 3 | 1.5 | Very Good | 0.9 | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 1 | [72 empty] | Present
11223 | 103 | Classroom | Basement | A | General Classroom |  |  | 483 | 9' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11224 | 104 | Classroom | Basement | A | General Classroom |  |  | 616 | 9' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11225 | 105 | Classroom | Basement | A | General Classroom |  |  | 219 | 8' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
11226 | 106 | Classroom | Basement | A | General Classroom |  |  | 433 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11227 | UN-1 | Pool | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 2703 | N/A | [9 empty] | Ceramic Tile | [17 empty] | Specialty Ceilings (describe)
11228 | UN-2 | Storage | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 47 | 13' | Plaster on Metal Lath | 46 | 60 | 53 | Good | 0.75 |  |  |  | Ceramic Tile | 41070 |  | 8 | Good | 0.75 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Good | 0.75 |  |  | ceramic tile wainscot | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 41070 |  | 8 | Good | 0.75 |  |  | frp | Plaster/Metal Stud Framing | 46 | 60 | 53 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Valve | 30+ | 30 | Fair | 0.5 | 1 | [8 empty] | 0 | [19 empty] | Metal, Powder Coated | 0 | 15 | 7.5 | Poor | 0.25 |  |  |  | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [37 empty] | Present - Present - Present - Present | [43 empty] | 0 | [8 empty] | 0 | [8 empty] | 0
11229 | UN-3 | Shower Room | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 288 | 13' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11230 | UN-4 | Sauna | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 55 | 13' | [9 empty] | Ceramic Tile | [17 empty] | Plaster
11231 | UN-5 | Office | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 66 | 13' | [9 empty] | Unfinished | [17 empty] | Plaster
11232 | UN-6 | Boy's Water Closet | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 37 | 13' | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [8 empty] | 1
11233 | UN-7 | Boy\'s Locker Room | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 798 | 13' | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Other (describe) | 0 | 5 | 2.5 | Good | 0.75 |  |  | painted concrete | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Other (describe) | 0 | 5 | 2.5 | Good | 0.75 |  |  | frp | Concrete Block | 46 | 60 | 53 | Fair | 0.5 | [9 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [10 empty] | Wall Mounted Electric Water Coolers | 16 | 21 | 18.5 | Fair | 0.5 | [12 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | ducted air diffuser | [25 empty] | Present - Present - Present - Present - Present - Present - Present | [43 empty] | 0 | [8 empty] | 0 | [8 empty] | 0
11234 | UN-8 | Mechanical Room | Basement | A | Support |  |  | 576 | 13' | [9 empty] | Unfinished | [17 empty] | Plaster
11235 | UN-9 | Girl\'s Locker Room | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 667 | 13' | [9 empty] | Ceramic Tile | 20+ |  | 20 | Good | 0.75 |  |  | painted concrete | Ceramic Tile Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  | painted concrete | Other (describe) | 41070 |  | 8 | Good | 0.75 |  |  | FRP on metal frame | Concrete Block | 46 | 60 | 53 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 41136 |  | 30 | Fair | 0.5 | 0 |  |  | Wall Hung Flush Valve | 41136 | 30 | Fair | 0.5 | 0 | [8 empty] | 0 | [10 empty] | Wall Mounted Electric Water Coolers | 16 | 21 | 18.5 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Toilet exhaust vent | [9 empty] | Other (describe) | 16 | 21 | 18.5 | Good | 0.75 |  |  | water | [7 empty] | Present
11236 | UN-10 | Girl's Water Closet | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 20 | 7' | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [8 empty] | 0
11237 | UN-11 | Changing Room | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 555 | 12' 10" | [9 empty] | Unfinished | [17 empty] | Plaster
11238 | UN-12 | Shower Room | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 222 | 12' 11" | [9 empty] | Unfinished | [17 empty] | Plaster
11239 | UN-13 | Staff Water Closet | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 45 | 8' 2" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [8 empty] | 0
11240 | UN-14 | Sauna | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 88 | 8' 2" | [9 empty] | Unfinished | [17 empty] | Plaster
11241 | UN-15 | Girl's Water Closet | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 66 | 12' 11" | [9 empty] | Unfinished | [17 empty] | Plaster | [32 empty] | 1 | [7 empty] | 1 | [8 empty] | 0
11242 | UN-16 | Boiler Room | Basement | A | Support |  |  | 1165 | 14' 7" | [9 empty] | Unfinished | [17 empty] | Plaster
11243 | UN-17 | Gymnasium | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 5167 | 26' 10" | CMU Back-up Wall | 46 | 60 | 53 | Fair | 0.5 |  |  |  | Sheet Vinyl | 41070 |  | 8 | Good | 0.75 |  |  | rubber sports floor | Other (describe) | 10+ |  | 10 | Fair | 0.5 |  |  | glazed cmu | Acoustical Panel | 30+ |  | 30 | Poor | 0.25 |  |  | fiberglass | Wood/Metal Frame | 41070 |  | 8 | Good | 0.75 |  |  |  | Concrete Block | 46 | 60 | 53 | Fair | 0.5 | [9 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [28 empty] | HID Vapor Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | ceiling mounted hv units | [25 empty] | Present - Present | [43 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [72 empty] | Present - Present
11244 | UN-18 | Gym Office | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 72 | N/A | [9 empty] | Solid Terrazzo | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Poor | 0.25 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Fair | 0.5 | [9 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | ducted air diffusers | [25 empty] | Present - Present - Present | [43 empty] | 0 | [8 empty] | 0 | [8 empty] | 0
11245 | UN-19 | Storage | Basement | A | Support |  |  | 98 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11246 | UN-20 | Work Room | Basement | A | Support |  |  | 852 | 14' 7" | [9 empty] | Unfinished | [17 empty] | Plaster
11247 | UN-21 | Girl's Water Closet | Basement | A | Support |  |  | 68 | 8' | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 2 | [7 empty] | 3 | [8 empty] | 0
11248 | UN-22 | Boy\'s Water Closet | Basement | A | Support |  |  | 106 | 8' | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | 2 |  |  | Wall Hung Flush Valve | 30+ | 30 | Fair | 0.5 | 2 |  |  | Wall Hung | 22 | 30 | 26 | Good | 0.75 | 2 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Fair | 0.5 |  |  |  | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present - Present
11249 | UN-23 | Custodial Closet | Basement | A | Support |  |  | 9 | N/A
11250 | UN-24 | Storage | Basement | A | Support |  |  | 327 | 9' 1" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  | water damage | Wood/Wood Frame | 41070 |  | 8 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 46 | 60 | 53 | Fair | 0.5 | [9 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present - Present - Present | [134 empty] | Present - Present - Present
11251 | 202 | Classroom | 1st Floor | A | General Classroom |  |  | 607 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11252 | 203 | Classroom | 1st Floor | A | General Classroom |  |  | 501 | 9' 6" | Other (describe) | 0 | 15 | 7.5 | Good | 0.75 | 0 |  | window wall | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 | 0 |  |  | Fin Tube Radiation | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 16 | 21 | 18.5 | Poor | 0.25 | [19 empty] | Present | [10 empty] | Wireless (WiFi) | 0 | 3 | 1.5 | Very Good | 0.9 | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [72 empty] | Present
11253 | 206 | Computer Lab | 1st Floor | A | Technological Literacy |  |  | 474 | 10' | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Poor | 0.25 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 | 0 |  |  | Fin Tube Radiation | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 0 | 7 | 3.5 | Poor | 0.25 | [19 empty] | Present - Present | [10 empty] | Wireless (WiFi) | 0 | 3 | 1.5 | Very Good | 0.9 | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 25 | [72 empty] | Present - Present
11254 | 209 | Classroom | 1st Floor | A | General Classroom |  |  | 767 | 10' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11255 | 210 | Classroom | 1st Floor | A | General Classroom |  |  | 689 | 10' 4" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11256 | 222 | Classroom | 1st Floor | A | General Classroom |  |  | 829 | 10' 3" | Other (describe) | 0 | 15 | 7.5 | Good | 0.75 | 0 |  | window wall | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 | 0 |  |  | Terminal Unit Heaters | 41136 |  | 11.5 | Good | 0.75 | 0 | [27 empty] | Present - Present - Present | [10 empty] | Wireless (WiFi) | 0 | 3 | 1.5 | Very Good | 0.9 | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [72 empty] | Present - Present - Present
11257 | 225 | Classroom | 1st Floor | A | General Classroom |  |  | 106 | 8' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11258 | 238 | Classroom | 1st Floor | A | General Classroom |  |  | 682 | 11' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11259 | 242 | Classroom | 1st Floor | A | General Classroom |  |  | 725 | 11' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11260 | 243 | Classroom | 1st Floor | A | General Classroom |  |  | 645 | 11' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11261 | UN-25 | Classroom | 1st Floor | A | General Classroom |  |  | 1053 | 11' 6" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 | 0 |  |  | Fin Tube Radiation | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 16 | 21 | 18.5 | Poor | 0.25 | [19 empty] | Present - Present - Present - Present | [10 empty] | Wireless (WiFi) | 0 | 3 | 1.5 | Very Good | 0.9 | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 6 | [72 empty] | Present - Present - Present - Present
11262 | UN-26 | Storage | 1st Floor | A | Support |  |  | 54 | 8' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
11263 | UN-27 | Boy's Water Closet | 1st Floor | A | Support |  |  | 97 | 11' 6" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 2 | [7 empty] | 2 | [8 empty] | 2
11264 | UN-28 | Girl's Water Closet | 1st Floor | A | Support |  |  | 99 | 11' 6" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 2 | [7 empty] | 2 | [8 empty] | 0
11265 | UN-29 | Storage | 1st Floor | A | Support |  |  | 258 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11266 | UN-30 | N/A | 1st Floor | A | N/A |  |  | 277 | N/A | [9 empty] | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Poor | 0.25 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 0 | 15 | 7.5 | Good | 0.75 | [9 empty] | 0 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [37 empty] | Present - Present - Present - Present - Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [18 empty] | 0 | [8 empty] | 0 | [8 empty] | 0
11267 | UN-31 | Cafetorium | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 4122 | 19' 2" | Plaster on Metal Lath | 46 | 60 | 53 | Good | 0.75 |  |  | wood wainscot | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 46 | 60 | 53 |  |  |  |  | plaster on metal lath | [6 empty] | 0 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ |  | 30 | Fair | 0.5 |  |  | ducted air diffusers | [9 empty] | Dry Chemical | 41136 |  | 11.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present - Present | [35 empty] | Present | [98 empty] | Present - Present - Present - Present - Present | auditorium speakers | [34 empty] | Present
11268 | UN-32 | Kitchen | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 718 | 10' | CMU Back-up Wall | 46 | 60 | 53 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Good | 0.75 |  |  |  | Other (describe) | 10+ |  | 10 | Fair | 0.5 |  |  | glazed cmu | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Fair | 0.5 |  |  |  | Stainless Steel Sinks | 30+ |  | 30 | Fair | 0.5 | 2 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | ceiling mounted hv unit | [9 empty] | Dry Chemical | 41136 |  | 11.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present - Present - Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present | [26 empty] | Present
11269 | UN-33 | Book Room | 1st Floor | A | Support |  |  | 658 | 10' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11270 | UN-34 | Guidance Office | 1st Floor | A | Administration |  |  | 225 | 8' | [9 empty] | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Good | 0.75 |  |  |  | Painted Walls | 41100 |  | 8.5 | Poor | 0.25 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 46 | 60 | 53 | Fair | 0.5 | [9 empty] | 0 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [37 empty] | Present - Present - Present - Present - Present - Present - Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5
11271 | UN-35 | N/A | 1st Floor | A | N/A |  |  | 163 | N/A | [9 empty] | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Poor | 0.25 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Fair | 0.5 | [9 empty] | 0 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [37 empty] | Present - Present - Present - Present - Present - Present - Present | [43 empty] | 0 | [8 empty] | 0 | [8 empty] | 0
11272 | UN-36 | N/A | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 166 | 8'
11273 | UN-37 | Storage | 1st Floor | A | Support |  |  | 109 | 10' 3" | [9 empty] | Solid Terrazzo | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | [9 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [28 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [37 empty] | Present - Present - Present - Present - Present - Present - Present
11274 | UN-38 | Storage | 1st Floor | A | Administration |  |  | 19 | 10' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11275 | UN-39 | Boy's Water Closet | 1st Floor | A | Support |  |  | 132 | 10' 3" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 3 | [7 empty] | 2 | [8 empty] | 4
11276 | UN-40 | Girl\'s Water Closet | 1st Floor | A | Support |  |  | 202 | 10' 3" | [9 empty] | Solid Terrazzo | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | [12 empty] | Concrete Block | 46 | 60 | 53 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 4 |  |  | Wall Hung Flush Valve | 30+ | 30 | Fair | 0.5 | 4 | [8 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ |  | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present - Present - Present - Present
11277 | UN-41 | Main Office | 1st Floor | A | Administration |  |  | 316 | 10' 3" | [9 empty] | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 46 | 60 | 53 | Fair | 0.5 | [9 empty] | 0 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | ducted air diffusers | [25 empty] | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Wireless (WiFi) | 0 | 3 | 1.5 | Very Good | 0.9 |  |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present - Present | head end
11278 | UN-42 | Office | 1st Floor | A | Administration |  |  | 92 | 10' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11279 | UN-43 | Office | 1st Floor | A | Administration |  |  | 91 | 10' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11280 | UN-44 | Office | 1st Floor | A | Administration |  |  | 91 | 10' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11281 | UN-45 | Office | 1st Floor | A | Administration |  |  | 75 | 10' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11282 | UN-46 | Office | 1st Floor | A | Administration |  |  | 164 | 10' 3" | Other (describe) | 0 | 15 | 7.5 | Poor | 0.25 |  |  | window wall | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | [5 empty] | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [9 empty] | 0 | [45 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 41136 | 11.5 | Good | 0.75 |  |  |  | Fin Tube Radiation | 41136 |  | 11.5 | Good | 0.75 | [28 empty] | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Wireless (WiFi) | 0 | 3 | 1.5 | Very Good | 0.9 |  |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present - Present
11283 | UN-47 | Storage | 1st Floor | A | Support |  |  | 64 | 10' 3" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11284 | UN-48 | Storage | 1st Floor | A | Support |  |  | 235 | 8' 1" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11285 | UN-49 | Classroom | 1st Floor | A | General Classroom |  |  | 984 | 8' 1" | CMU Back-up Wall | 46 | 60 | 53 | Good | 0.75 | 0 |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 | 0 | [8 empty] | 0 | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 | 0 |  |  | Fin Tube Radiation | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Window Mounted | 0 | 7 | 3.5 | Fair | 0.5 | [19 empty] | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Wireless (WiFi) | 0 | 3 | 1.5 | Very Good | 0.9 | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 3 | [72 empty] | Present - Present - Present - Present - Present - Present - Present
11286 | UN-50 | Custodial Closet | 1st Floor | A | Support |  |  | 49 | 9' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11287 | UN-51 | Teacher\'s Lounge | 1st Floor | A | Faculty Support |  |  | 187 | 9' 6" | Other (describe) | 0 | 15 | 7.5 | Good | 0.75 |  |  | window wall | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Concrete Block | 46 | 60 | 53 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 0 | 7 | 3.5 | Very Good | 0.9 | 1 | [7 empty] | 0 | [8 empty] | 0 | [28 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Window Mounted | 41136 |  | 11.5 | Fair | 0.5 | [19 empty] | Present - Present - Present - Present - Present - Present - Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present - Present
INTERIORs INFORMATION
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
197 | A |  | Basement | [6 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 |  |  | Structural glazing tile | Suspended Acoustical | 30+ |  | 30 | Good | 0.75 | [12 empty] | Concrete Block | 46 | 60 | 53 | Fair | 0.5 |  |  |  | Wall Mounted Electric Water Coolers | 41136 |  | 11.5 | Poor | 0.25 | [12 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ | 30 | Poor | 0.25 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 | [11 empty] | Wet Chemical | 0 | 7 | 3.5 | Fair | 0.5 |  |  | Water | [7 empty] | Present | [16 empty] | Present | [8 empty] | Present
198 | B |  | 1st floor | [6 empty] | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls with Wainscot | 0 | 3 | 1.5 | Good | 0.75 |  |  | Structural glazing tile | Suspended Acoustical | 30+ |  | 30 | Poor | 0.25 | [12 empty] | Concrete Block | 46 | 60 | 53 | Fair | 0.5 |  |  |  | Wall Mounted Electric Water Coolers | 30+ |  | 30 | Poor | 0.25 | [12 empty] | Fluorescent Lay-In Fixture (Troffer) | 30+ | 30 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 | [11 empty] | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water | [7 empty] | Present | [16 empty] | Present | [8 empty] | Present
199 | C |  | 1st floor | [6 empty] | Solid Terrazzo | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 0 | 3 | 1.5 | Good | 0.75 |  |  | Structural glazing tile | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | [12 empty] | Concrete Block | 46 | 60 | 53 | Fair | 0.5 |  |  |  | Full Recessed Electric Water Coolers | 41136 |  | 11.5 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Good | 0.75 | [11 empty] | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water | [7 empty] | Present | [16 empty] | Present | [8 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [7 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
185 | A |  | Basement - 1st | [15 empty] | Steel Pan | 30+ |  | 30 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 |  |  | Water damage | Terrazzo | 30+ |  | 30 | Fair | 0.5 |  |  |  | Terrazzo | 30+ |  | 30 | Fair | 0.5
186 | B |  | Basement - 1st | [6 empty] | CMU Back-up Wall | 46 | 60 | 53 | Fair | 0.5 |  |  |  | Steel Pan | 30+ |  | 30 | Good | 0.75 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 |  |  | Structural glazing tile | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Epoxy | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Epoxy | Metal/Metal Frame | 41070 |  | 8 | Good | 0.75 | [11 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Fin Tube Radiation | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present

## Master File (Systems)
Systems | Question | Value1 |  | Average1 | Systems | Question | Value1 |  | Average1
Systems | Seg ID | 1695 |  |  | InfoTech | Seg ID | 532
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1959 |  |  |  | Year Built | 1959
Domestic Water Heaters | Location | UN19 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Very Good |  | 0.9 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Sanitary Drainage | Location |  |  |  | Main Dist. Facility (MDF) | Location | Ground Level Floor
| Description |  |  |  |  | Description | 206 wall mounted
| Age |  |  |  |  | Age | 41067 |  | 6.5
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Building Support (other) Plumbing Systems | Location | Roof |  |  | MDF, HVAC Terminal Units | Location
| Description | Stormwater Area Drains |  |  |  | Description | Fin Tube Radiation
| Age | 46 | 60 | 53 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Ducted
Fuel Piping | Location | UN16 |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description | Window Mounted
| Age | 46 | 60 | 53 |  | Age | 22 | 30 | 26
| Condition | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Pumps | Location | UN16 |  |  | Inter. Data Facility (IDF #1) | Location | UN41
| Description | Fuel/Oil Pumps |  |  |  | Description | Wall mounted
| Age | 46 | 60 | 53 |  | Age | 41067 |  | 6.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  |  | Description | Other (describe)
| Age |  |  |  |  | Age | 22 | 30 | 26
| Condition |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Ducted
Fuel Fired Boilers | Location | UN16 |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas/Fired Boilers |  |  |  | Description
| Age | 46 | 60 | 53 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Condenser tank |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location | Roof |  |  | IDF #2, HVAC Terminal Units | Location
| Description | Vertical HVAC (w/heating & cooling) |  |  |  | Description
| Age | 41233 |  | 10.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 4 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location | Roof, UN41 |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Condensing unit fair 40+, cooling coil fair 16/30 |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location |  |  |  | IDF #4, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location | UN16 |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Two Pipe |  |  |  | Description
| Age | 46 | 60 | 53 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location |  |  |  | Inter. Data Facility (IDF #5) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location | UN16, UN1, UN48 |  |  | IDF #5, HVAC Terminal Units | Location
| Description | Indoor Air Handling Units (AHU) |  |  |  | Description
| Age | 41233 |  | 10.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 5 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | UN1 fair 40+, UN48 fair 20/30 |  |  |  | Notes
HVAC Fans | Location | Roof |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description | Other (describe) |  |  |  | Description
| Age | 41233 |  | 10.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Bathroom centrifugal exhaust fan |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location | UN19
| Description | Diesel Engine Generators
| Age | 46 | 60 | 53
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | UN17
| Description | D5010 120
| Age | 46 | 60 | 53
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Voice Communication Terminal Equipment | Location | UN22
| Description | PDX/Key Systems
| Age | 41233 |  | 10.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | UN41
| Description | Public Address and Mass Notification Systems
| Age | 40+ |  | 40
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | UN46
| Description | Analog Video Recording Devices
| Age | 21 | 30 | 25.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | UN29
| Description | Fire Alarm Annunciation Panels
| Age | 41233 |  | 10.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
| Condition | Very Poor |  | 0.1
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 2100 |  |  | SiteElements | Seg ID | 489
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1959 |  |  |  | Year Built | 1959
(Foundation) Walls for Subgrade Enclosures, Primary | Location |  |  |  | Roadways | Location
| Description | Concrete, Cast/In/Place |  |  |  | Description
| Age | 46 | 60 | 53 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location |  |  |  | Parking Lots | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Primary | Location |  |  |  | Pedestrian Plazas and Walkways, Primary | Location
| Description | Concrete, Cast/In/Place |  |  |  | Description | Asphalt (Bituminous)
| Age | 46 | 60 | 53 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Secondary | Location |  |  |  | Pedestrian Plazas and Walkways, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Primary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, CIP Beams and Slab |  |  |  | Description
| Age | 46 | 60 | 53 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Secondary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Primary | Location |  |  |  | Site Lighting, Primary | Location
| Description | Steel Framing, OWJ w/ Steel Deck |  |  |  | Description | Pole Mounted H.I.D.
| Age | 46 | 60 | 53 |  | Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location |  |  |  | Site Lighting, Secondary | Location
| Description |  |  |  |  | Description | Pole Mounted H.I.D.
| Age |  |  |  |  | Age | 30+ |  | 30
| Condition |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Primary | Location |  |  |  | Playground Surface | Location
| Description | Brick, Solid (Mass) |  |  |  | Description | Asphalt (Bituminous)
| Age | 46 | 60 | 53 |  | Age | 22 | 30 | 26
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location |  |  |  | Playground Equipment | Location
| Description | Stucco w/ CMU B/U |  |  |  | Description | B/Ball Backstops
| Age | 46 | 60 | 53 |  | Age | 0 | 7 | 3.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary | Location |  |  |  | TCUs | Location
| Description | Aluminum, Awning/Hopper |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | In a curtain wall system |  |  |  | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Sides
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Screens, Insect
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location
| Description | Aluminum, Awning/Hopper
| Age | 41136 |  | 11.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Back
Exterior Windows, Secondary / Glazing | Location
| Description | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
| CheckBox | Screens, Insect / Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location
| Description | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
| Description | Glazed Door(s), Steel or Alum.
| Age | 46 | 60 | 53
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location
| Description | Polyurethane, Spray Applied
| Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Bubbling and some cracking
Roofing, Secondary | Location
| Description | Asphalt, Built Up
| Age | 30+ |  | 30
| Condition | Good |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Gravel surface. With aluminum flashing
Roof (Accessories) Supplementary Components / Flashing and Trim | Location
| Description | Aluminum
| Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location
| Description | Other (describe)
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Internal roof drains
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes