## FCI Summary
Building Name: | Fast Track Success Academy
Building Square Footage: | 31069 | 2012 LRFP CONDITION SUMMARY
Number of Floors: | B + 2
School Age (years): | 28
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 6.189%
Facility Condition = | GOOD
FCI Deficiency Cost = | 432619.7031
FCI Replacement Cost = | 6990525
CAPACITY UTILIZATION
Recent 2011/12 Enrollment = | NA
Historic 2005 LRFP Capacity = | NA
Adjusted 2012 Capacity = | 66.8588
Recent Occupancy % = | NA
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 83.37%
Classroom Adequacy = | FAIR
Special Spaces Adequacy % Score = | 0%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Fast Track Success Academy | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 31069
Largest Floor Level Area: |  | 10485
Vertical FAR Ratio: |  | 2.9632
School Age (years): |  | 28
Replacement Constr Cost/SF: |  | 300 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 225 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 2.7% | 6.075 | 31069 | 188744.175 | 100 | 28 | 72 | 0.5 | 50 | 100 | 188744.175 | 0 | 0%
|  |  | A1030 - SLAB ON GRADE | 2.65% | 5.9625 | 31069 | 185248.9125 | 100 | 28 | 72 | 0.5 | 50 | 100 | 185248.9125 | 0 | 0%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.95 | 31069 | 153791.55 | 100 | 28 | 72 | 0.5 | 50 | 100 | 153791.55 | 0 | 0%
|  |  | SUBTOTAL SUBSTRUCTURE | 7.55% | 16.9875 | 31069 | 527784.6375
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 24.75 | 31069 | 768957.75 | 100 | 28 | 72 | 0.5 | 50 | 100 | 768957.75 | 0 | 0%
|  |  | B1020 - ROOF CONSTRUCTION | 3.4% | 7.65 | 31069 | 237677.85 | 100 | 28 | 72 | 0.75 | 75 | 100 | 237677.85 | 0 | 0%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 7.7% | 17.325 | 31069 | 538270.425 | 100 | 28 | 72 | 0.57212 | 57.2115 | 100 | 538270.425 | 0 | 0%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 4.4% | 9.9 | 31069 | 307583.1 | 30 | 26 | 4 | 0.75 | 22.5 | 26.5 | 271698.405 | 35884.695 | 11.67%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 3% | 6.75 | 31069 | 209715.75 | 30 | 26 | 4 | 0.58333 | 17.5 | 21.5 | 150296.2875 | 59419.4625 | 28.33%
|  |  | SUBTOTAL SHELL | 29.5% | 66.375 | 31069 | 2062204.875
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 9 | 31069 | 279621 | 60 | 23.1719 | 36.8281 | 0.72656 | 43.5938 | 60 | 279621 | 0 | 0%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.375 | 31069 | 104857.875 | 20 | 15.5735 | 4.4265 | 0.63971 | 12.7941 | 17.2206 | 90285.7144 | 14572.1606 | 13.9%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 9 | 31069 | 279621 | 20 | 12.9 | 7.1 | 0.7 | 14 | 20 | 279621 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.375 | 31069 | 104857.875 | 30 | 28 | 2 | 0.5 | 15 | 17 | 59419.4625 | 45438.4125 | 43.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 3.2% | 7.2 | 31069 | 223696.8 | 10 | 9.6857 | 0.31429 | 0.61429 | 6.1429 | 6.4571 | 144444.2194 | 79252.5806 | 35.43%
|  |  | C3020 - FLOOR FINISHES | 6% | 13.5 | 31069 | 419431.5 | 20 | 14.2143 | 5.7857 | 0.62857 | 12.5714 | 18.3571 | 384978.1982 | 34453.3018 | 8.214%
|  |  | C3030 - CEILING FINISHES | 6% | 13.5 | 31069 | 419431.5 | 30 | 15.375 | 14.625 | 0.6375 | 19.125 | 30 | 419431.5 | 0 | 0%
|  |  | SUBTOTAL INTERIORS | 26.2% | 58.95 | 31069 | 1831517.55
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.75% | 1.6875 | 31069 | 52428.9375 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 52428.9375 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.375 | 31069 | 104857.875 | 60 | 20.8625 | 39.1375 | 0.63512 | 38.1071 | 60 | 104857.875 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.925 | 31069 | 90876.825 | 60 | 11.5 | 48.5 | 0.75 | 45 | 60 | 90876.825 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.7 | 31069 | 83886.3 | 60 | 28 | 32 | 0.75 | 45 | 60 | 83886.3 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.125 | 31069 | 34952.625 | 30 | 23 | 7 | 0.5 | 15 | 22 | 25631.925 | 9320.7 | 26.67%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 6.075 | 31069 | 188744.175 | 60 | 28 | 32 | 0.1 | 6 | 38 | 119537.9775 | 69206.1975 | 36.67%
|  |  | D3020 - BOILERS | 2% | 4.5 | 31069 | 139810.5 | 60 | 28 | 32 | 0.5 | 30 | 60 | 139810.5 | 0 | 0%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 9 | 31069 | 279621 | 40 | 5 | 35 | 0.75 | 30 | 40 | 279621 | 0 | 0%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 9 | 31069 | 279621 | 40 | 25.6339 | 14.3661 | 0.58036 | 23.2143 | 37.5804 | 262706.4261 | 16914.5739 | 6.049%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.5 | 31069 | 139810.5 | 40 | 0 | 40 | 0 | 0 | 40 | 139810.5 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.375 | 31069 | 104857.875 | 20 | 0 | 20 | 0 | 0 | 20 | 104857.875 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.25 | 31069 | 69905.25 | 20 | 0 | 20 | 0 | 0 | 20 | 69905.25 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.45 | 31069 | 13981.05 | 20 | 11.5 | 8.5 | 0.625 | 12.5 | 20 | 13981.05 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.925 | 31069 | 90876.825 | 60 | 7.5 | 52.5 | 0.5 | 30 | 60 | 90876.825 | 0 | 0%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 15.75 | 31069 | 489336.75 | 30 | 13.2167 | 16.7833 | 0.755 | 22.65 | 30 | 489336.75 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.75 | 31069 | 209715.75 | 20 | 5.5 | 14.5 | 0.6886 | 13.7719 | 20 | 209715.75 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.675 | 31069 | 20971.575 | 20 | 22.569 | 0 | 0.64655 | 5 | 5 | 5242.8938 | 15728.6813 | 75%
|  |  | SUBTOTAL SERVICES | 34.25% | 77.0625 | 31069 | 2394254.8125
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 31069
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 31069
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 31069
|  |  | E1090 - OTHER EQUIPMENT |  |  | 31069
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 31069
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 31069
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 31069
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 31069
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 31069
|  |  | G2020 - PARKING LOTS | 1% | 2.25 | 31069 | 69905.25 | 30 | 0 | 30 | 0.25 | 7.5 | 30 | 69905.25 | 0 | 0%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.125 | 31069 | 34952.625 | 30 | 0 | 30 | 0.1 | 3 | 30 | 34952.625 | 0 | 0%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.125 | 31069 | 34952.625 | 30 | 0 | 30 | 0.1 | 3 | 30 | 34952.625 | 0 | 0%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.125 | 31069 | 34952.625 | 30 | 0 | 30 | 0.1 | 3 | 30 | 34952.625 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 31069 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 31069
|  |  | REPLACEMENT COST PER SF |  | 225 | 31069 | 6990525 | [7 empty] | 432619.7031 | 6.189%
100%
Note on J40: Tessier, Matthew: No Survey Data
Note on J41: Tessier, Matthew: No Survey Data
Note on J42: Tessier, Matthew: No Survey Data
Note on J58: Tessier, Matthew: No Survey Data
Note on J59: Tessier, Matthew: No Survey Data
Note on J60: Tessier, Matthew: No Survey Data
Note on J61: Tessier, Matthew: No Survey Data

## Master File (Interior)
former Renaissance Academy (leased)
School Code:
NPS Code:
Street: | 200 Washington St.
City/Town: | Newark, NJ 07102
Database ID: | 25
Total size (gsf): | 32163
ROOM INFORMATION | [12 empty] | 21.5192 | Ave Condition | 0.64423 | [6 empty] | 14.2143 | Ave Condition | 0.62857 | [6 empty] | 9.6857 | Ave Condition | 0.61429 | [6 empty] | 15.375 | Ave Condition | 0.6375 | [6 empty] | 15.5735 | Ave Condition | 0.63971 | [6 empty] | 23.1719 | Ave Condition | 0.72656 | [6 empty] | 16.3125 | Ave Condition | 0.6875 | [6 empty] | 18.7143 | Ave Condition | 0.71429 | [6 empty] | 19.7857 | Ave Condition | 0.60714 | [6 empty] | 26 | Ave Condition | 0.5 | [6 empty] | 23.5 | Ave Condition | 0.66667 | [6 empty] | 12.9 | Ave Condition | 0.7 | [6 empty] | 13.2167 | Ave Condition | 0.755 | [6 empty] | 22.569 | Ave Condition | 0.64655 | [6 empty] | 25.7679 | Ave Condition | 0.66071 | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | 11.5 | Ave Condition | 0.625 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [6 empty] | 1.5 | Ave Condition | 0.75 | [5 empty] | Average Age | 10 | Ave Condition | 0.56579 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Package Terminal Air Conditioner | [7 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [8 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
12371 | UN-63 | Storage | 2nd floor | A | Support |  |  | 82 | 7' 9" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12372 | UN-64 | Science | 2nd floor | A | General Classroom (Grades 9-12) |  |  | 760 | 8' 6" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Fair | 0.5 | 0 |  |  | Carpet | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 |  | Damage | [54 empty] | Fluorescent Lay-In Fixture (Troffer) | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | 0 |  | Central HVAC | [8 empty] | Wet Chemical | 41136 | 11.5 | Good | 0.75 | 0 |  | Water | [6 empty] | 0 | Present - Present - Present | [7 empty] | 0 | Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [107 empty] | 0 | Present - Present
12373 | UN-65 | Guidance | 2nd floor | A | Administration |  |  | 616 | 8' 6" | [9 empty] | Carpet | [17 empty] | Acoustical Panel
12374 | UN-66 | Classroom (Math) | 2nd floor | A | General Classroom (Grades 9-12) |  |  | 611 | 8' 0" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Fair | 0.5 | 0 |  |  | Carpet | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | 0 |  | Central HVAC | [22 empty] | 0 | Present - Present - Present - Present | [7 empty] | 0 | Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 2 | [71 empty] | 0 | Present - Present - Present
12375 | UN-67 | Supervisor Office | 2nd floor | A | Administration |  |  | 652 | 8' 3" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | Carpet | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Poor | 0.25 |  |  | Broken door closer | Drywall (Gypsum)/Wood Stud Framing | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 22 | 30 | 26 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Central HVAC | [23 empty] | Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present |  | Wireless (WiFi) | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present
12376 | UN-68 | Storage | 2nd floor | A | Support |  |  | 60 | 7' 7" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12377 | UN-69 | Conference Center | 2nd floor | A | Administration |  |  | 114 | 7' 7" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | Carpet | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Central HVAC | [23 empty] | Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1CPU | [106 empty] | Present - Present - Present - Present - Present
12378 | UN-70 | Director's Office | 2nd floor | A | Administration |  |  | 672 | 8' 3" | [9 empty] | Carpet | [17 empty] | Acoustical Panel
12379 | UN-71 | Main Office | 2nd floor | A | Administration |  |  | 587 | 8' 8" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | Carpet | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | Central HVAC | [23 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75 | [109 empty] | Present - Present - Present - Present - Present - Present
12380 | UN-72 | Academic Coordinators | 2nd floor | A | Administration |  |  | 112 | 7' 7" | [9 empty] | Carpet | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 41070 |  | 8 | Good | 0.75 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 31 | 45 | 38 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 16 | 21 | 18.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 16 | 21 | 18.5 | Good | 0.75 | 0 |  |  | Other (describe) | 30+ |  | 30 | Good | 0.75 | 0 |  | Central HVAC | [8 empty] | Wet Chemical | 41136 | 11.5 | Fair | 0.5 | 0 |  | Water | [6 empty] | 0 | Present - Present - Present - Present - Present - Present - Present
12381 | UN-73 | Office | 2nd floor | A | Administration |  |  | 132 | 7' 7" | [9 empty] | Carpet | [17 empty] | Acoustical Panel
12382 | UN-74 | Classroom (English) | 2nd floor | A | General Classroom (Grades 9-12) |  |  | 659 | 8' 5" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Fair | 0.5 | 0 |  |  | Carpet | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Poor | 0.25 | 0 |  | Damage | [54 empty] | Fluorescent Lay-In Fixture (Troffer) | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Poor | 0.25 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | 0 |  | Central HVAC | [22 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [7 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [107 empty] | 0 | Present - Present - Present - Present - Present - Present - Present
12383 | UN-75 | Classroom (History) | 2nd floor | A | General Classroom (Grades 9-12) |  |  | 599 | 8' 1" | [9 empty] | Carpet | [17 empty] | Acoustical Panel
12384 | UN-76 | Classroom (Electives) | 2nd floor | A | General Classroom (Grades 9-12) |  |  | 573 | 7' 11" | [9 empty] | Carpet | [17 empty] | Acoustical Panel
12385 | UN-77 | Storage | 2nd floor | A | Support |  |  | 216 | 8' 0" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12418 | UN-1 | Mentoring/Success Center | Basement | A | Assembly/Large Group (9-12) |  |  | 1304 | 8' 10" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Fair | 0.5 | 0 |  |  | Carpet | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Acoustical Panel | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Other (describe) | 20+ |  | 20 | Good | 0.75 | 0 |  | Aluminum and glass | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 | [44 empty] | 0 | [11 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | 0 |  | Central HVAC | [5 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | Present | [7 empty] | 0 | Present | [7 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [98 empty] | 0
12419 | UN-2 | Office | Basement | A | Administration |  |  | 353 | 8' 10" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Fair | 0.5 |  |  |  | Carpet | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Very Good | 0.9 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Very Good | 0.9 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Central HVAC | [8 empty] | Wet Chemical | 41136 | 11.5 | Good | 0.75 |  |  | Water | [7 empty] | Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 3 CPU | [106 empty] | Present
12420 | UN-3 | Storage | Basement | A | Administration |  |  | 102 | 8' 10" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12421 | UN-4 | Cafeteria | Basement | A | Food Services (9-12) |  |  | 1290 | 8' 9" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Stainless Steel Sinks | 22 | 30 | 26 | Good | 0.75 | [48 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Keyed Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Ceiling Diffusers | [22 empty] | 0 | Present | [7 empty] | 0 | Present | [25 empty] | 0 | Present | [124 empty] | 0 | Present
12422 | UN-5 | Kitchen | Basement | A | Food Services (9-12) |  |  | 268 | 8' 9" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 |  |  |  | Other (describe) | 10+ |  | 10 | Good | 0.75 |  |  | FRP Panels | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | Stainless Steel Sinks | 22 | 30 | 26 | Good | 0.75 | [48 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Ceiling Diffusers | [23 empty] | Present - Present | [8 empty] | Present - Present | [152 empty] | Present - Present
12423 | UN-6 | Office | Basement | A | Food Services (9-12) |  |  | 84 | 8' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12424 | UN-7 | Storage | Basement | A | Food Services (9-12) |  |  | 155 | 8' 9" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12425 | UN-8 | Storage | Basement | A | Support |  |  | 37 | 8' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12426 | UN-9 | Mens\' Water Closet | Basement | A | Support |  |  | 109 | 8' 9" | [9 empty] | Ceramic Tile | 41070 |  | 8 | Good | 0.75 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Metal/Metal Frame | 41070 |  | 8 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | In-Counter Lavatories | 41136 |  | 11.5 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Tank | 41136 |  | 11.5 | Good | 0.75 | 2 |  |  | Wall Hung | 41136 |  | 11.5 | Good | 0.75 | 0 | [20 empty] | Metal, Powder Coated | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 41136 |  | 11.5 | Good | 0.75 | [44 empty] | Present - Present - Present - Present - Present - Present - Present
12427 | UN-10 | Custodial Closet | Basement | A | Support |  |  | 30 | 8' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12428 | UN-11 | Womens' Water Closet | Basement | A | Support |  |  | 112 | 8' 9" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 2 | [8 empty] | 0
12429 | UN-12 | Custodial Office | Basement | A | Support |  |  | 145 | 7' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12430 | UN-13 | Nurse | Basement | A | Health Services |  |  | 133 | 7' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12431 | UN-14 | Storage | Basement | A | Support |  |  | 133 | 7' 7" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12432 | UN-15 | Office | Basement | A | Administration |  |  | 140 | 8' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12433 | UN-16 | Office | Basement | A | Administration |  |  | 141 | 7' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12434 | UN-17 | Storage | Basement | A | Support |  |  | 19 | 7' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12435 | UN-18 | Office | Basement | A | Administration |  |  | 255 | 7' 7" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Fair | 0.5 |  |  |  | Wood | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 22 | 30 | 26 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | [26 empty] | Present - Present | [8 empty] | Present - Present
12436 | UN-19 | Water Closet | Basement | A | Administration |  |  | 88 | 7' 7" | [9 empty] | Ceramic Tile | 41070 |  | 8 | Good | 0.75 |  |  |  | Ceramic Tile Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 0 | 7 | 3.5 | Good | 0.75 | 1 | [8 empty] | 1 | [8 empty] | 0 | [29 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Central HVAC | [23 empty] | Present - Present - Present | [8 empty] | Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5
12437 | UN-20 | Boiler | Basement | A | Support |  |  | 44 | 7' 9" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12438 | UN-21 | Storage | Basement | A | Administration |  |  | 49 | 7' 7" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12439 | UN-22 | Storage | Basement | A | Administration |  |  | 47 | 7' 7" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12440 | UN-23 | Office | Basement | A | Administration |  |  | 256 | 7' 7" | [9 empty] | Carpet | [17 empty] | Acoustical Panel
12441 | UN-24 | Office | Basement | A | Administration |  |  | 346 | 7' 7" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Fair | 0.5 |  |  |  | Carpet | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Central HVAC | [23 empty] | Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 4 CPU
12442 | UN-25 | Salvation Army/ Boys&Girls Club | Basement | A | Assembly/Large Group (9-12) |  |  | 1161 | 7' 9" | [9 empty] | Sheet Vinyl | 41070 |  | 8 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Other (describe) | 20+ |  | 20 | Good | 0.75 |  |  | Aluminum and glass | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Central HVAC | [23 empty] | Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present
12443 | UN-26 | Storage | Basement | A | Assembly/Large Group (9-12) |  |  | 75 | 7' 9 | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12444 | UN-27 | Elevator Machine Room | Basement | A | Support |  |  | 44 | 7' 9" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12445 | UN-28 | Storage | Basement | A | Assembly/Large Group (9-12) |  |  | 96 | 7' 9 | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12446 | UN-29 | Office | Basement | A | Administration |  |  | 88 | 7' 9" | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Metal/Metal Frame | 41070 |  | 8 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 41136 |  | 11.5 | Good | 0.75 | [20 empty] | Wet Chemical | 41136 | 11.5 | Fair | 0.5 |  |  | Fair | [16 empty] | Present - Present - Present - Present - Present - Present - Present | [125 empty] | Present - Present
12447 | UN-30 | Electric Room | Basement | A | Support |  |  | 192 | 7' 9" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12448 | UN-31 | Storage | Basement | A | Support |  |  | 36 | 8' 10" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12449 | UN-79 | N/A | Basement | A | N/A |  |  | 28 | N/A
12450 | UN-32 | Storage | 1st Floor | A | Administration |  |  | 52 | 8' 6 | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12451 | UN-33 | Office | 1st Floor | A | Administration |  |  | 231 | 8' 6" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | Carpet | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Acoustical Panel | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Wood/Metal Frame | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 0 | 15 | 7.5 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Central HVAC | [23 empty] | Present | [8 empty] | Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5
12452 | UN-34 | Admin. Office | 1st Floor | A | Administration |  |  | 154 | 8' 6" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | Carpet | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Wood/Metal Frame | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Central HVAC | [23 empty] | Present - Present | [8 empty] | Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75
12453 | UN-35 | Office | 1st Floor | A | Administration |  |  | 99 | 8' 6" | [9 empty] | Carpet | [17 empty] | Acoustical Panel
12454 | UN-36 | Office | 1st Floor | A | Administration |  |  | 101 | 8' 6" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | Carpet | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Wood/Metal Frame | 41070 |  | 8 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Central HVAC | [23 empty] | Present - Present - Present | [8 empty] | Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75 |  |  | 1 CPU
12455 | UN-37 | Office | 1st Floor | A | Administration |  |  | 101 | 8' 6" | [9 empty] | Carpet | [17 empty] | Acoustical Panel
12456 | UN-38 | Office | 1st Floor | A | Administration |  |  | 96 | 8' 6" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | Carpet | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Wood/Metal Frame | 41070 |  | 8 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Central HVAC | [23 empty] | Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75
12457 | UN-39 | Office | 1st Floor | A | Administration |  |  | 165 | 8' 6" | [9 empty] | Carpet | [17 empty] | Acoustical Panel
12458 | UN-40 | Office | 1st Floor | A | Administration |  |  | 87 | 8' 6" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Carpet | 0 | 5 | 2.5 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 | 0 | [11 empty] | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 | 0 | [11 empty] | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Central HVAC | [22 empty] | 0 | Present - Present - Present - Present - Present | [7 empty] | 0 | Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0
12459 | UN-41 | Office | 1st Floor | A | Administration |  |  | 286 | 8' 6" | [9 empty] | Carpet | 0 | 5 | 2.5 | Fair | 0.5 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Wood/Metal Frame | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Plaster/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Central HVAC | [23 empty] | Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75 | [109 empty] | Present
12460 | UN-42 | Office | 1st Floor | A | Administration |  |  | 257 | 8' 6" | [9 empty] | Carpet | [17 empty] | Acoustical Panel
12461 | UN-43 | Office | 1st Floor | A | Administration |  |  | 166 | 8' 6" | [9 empty] | Carpet | [17 empty] | Acoustical Panel
12462 | UN-44 | Mens' Water Closet | 1st Floor | A | Support |  |  | 111 | 7' 10" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [8 empty] | 1
12463 | UN-45 | Storage | 1st Floor | A | Support |  |  | 21 | 8' 6" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12464 | UN-46 | Womens\' Water Closet | 1st Floor | A | Support |  |  | 103 | 7' 10" | [9 empty] | Ceramic Tile | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Wood/Metal Frame | 41228 |  | 13 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | In-Counter Lavatories | 22 | 30 | 26 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Valve | 22 | 30 | 26 | Good | 0.75 | 2 | [8 empty] | 0 | [20 empty] | Metal, Powder Coated | 16 | 30 | 23 | Good | 0.75 |  |  |  | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Central HVAC | [23 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present
12465 | UN-47 | Office | 1st Floor | A | Administration |  |  | 57 | 8' 6" | [9 empty] | Carpet | [17 empty] | Acoustical Panel
12466 | UN-48 | Testing Room | 1st Floor | A | Small Group Instruction |  |  | 226 | 8' 6 | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Fair | 0.5 | 0 |  |  | Carpet | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | 0 |  | Central HVAC | [22 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [7 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 7CPU | [105 empty] | 0 | Present - Present
12467 | UN-49 | Storage | 1st Floor | A | Small Group Instruction |  |  | 32 | 8' 6 | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12468 | UN-50 | Electrical Room | 1st Floor | A | Support |  |  | 48 | 8' 6" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12469 | UN-51 | Mens\' Water Closet | 1st Floor | A | Support |  |  | 98 | 7' 10" | [9 empty] | Ceramic Tile | 41070 |  | 8 | Good | 0.75 |  |  |  | Ceramic Tile Walls | 41100 |  | 8.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Poor | 0.25 |  |  |  | Metal/Metal Frame | 41070 |  | 8 | Good | 0.75 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | In-Counter Lavatories | 41136 |  | 11.5 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Tank | 41136 |  | 11.5 | Good | 0.75 | 1 |  |  | Wall Hung | 41136 |  | 11.5 | Good | 0.75 | 1 | [20 empty] | Metal, Powder Coated | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Other (describe) | 41136 |  | 11.5 | Good | 0.75 |  |  | Central HVAC | [23 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present
12470 | UN-52 | Storage | 1st Floor | A | Support |  |  | 17 | 8' 6" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12471 | UN-53 | Womens' Water Closet | 1st Floor | A | Support |  |  | 99 | 7' 10" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 3 | [8 empty] | 0
12472 | UN-54 | TEEM Room | 1st Floor | A | Assembly/Large Group (9-12) |  |  | 2733 | 9' 6" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | Carpet | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Other (describe) | 20+ |  | 20 | Good | 0.75 |  |  | Aluminum and glass | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Central HVAC | [23 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present
12473 | UN-55 | Electrical Room | 1st Floor | A | Support |  |  | 41 | 8' 6" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12474 | UN-56 | Day Care Center | 1st Floor | A | Pre-Kindergarten Classroom |  |  | 1020 | 9' 6" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Fair | 0.5 | 0 |  |  | Carpet | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 | 0 |  | Central HVAC | [22 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [7 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [107 empty] | 0 | Present - Present - Present - Present
12475 | UN-57 | Social Worker Office | 1st Floor | A | Administration |  |  | 221 | 9' 6" | [9 empty] | Carpet | [17 empty] | Acoustical Panel
12476 | UN-58 | Social Worker Office | 2nd floor | A | Administration |  |  | 1044 | 7' 11" | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Carpet | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 16 | 21 | 18.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Central HVAC | [22 empty] | 0 | Present | [133 empty] | 0 | Present
12477 | UN-59 | Storage | 2nd floor | A | Support |  |  | 49 | 7' 11" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
12478 | UN-60 | Womens\' Water Closet | 2nd floor | A | Support |  |  | 186 | 7' 9" | [9 empty] | Ceramic Tile | 20+ |  | 20 | Good | 0.75 |  |  |  | Ceramic Tile Walls | 10+ |  | 10 | Fair | 0.5 |  |  | Drywall on mirror peall | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  | Broken closer | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | In-Counter Lavatories | 16 | 21 | 18.5 | Good | 0.75 | 3 |  |  | Floor Mounted Flush Tank | 16 | 21 | 18.5 | Good | 0.75 | 4 | [8 empty] | 0 | [20 empty] | Metal, Powder Coated | 16 | 30 | 23 | Fair | 0.5 |  |  |  | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | Central HVAC | [23 empty] | Present - Present | [8 empty] | Present
12479 | UN-61 | Mens' Water Closet | 2nd floor | A | Support |  |  | 177 | 7' 9" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 2 | [8 empty] | 2 | [8 empty] | 2
12480 | UN-62 | Storage | 2nd floor | A | Support |  |  | 22 | 7' 9" | [9 empty] | Unfinished | [17 empty] | Acoustical Panel
INTERIORs INFORMATION
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
142 | A | building phase a | basement | [6 empty] | Wood | 41070 |  | 8 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 | [12 empty] | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [21 empty] | Fluorescent Recessed Fixture | 22 | 30 | 26 | Fair | 0.5 |  |  | recessed soffit lighting | Panel Breaker Switching | 22 | 30 | 26 | Fair | 0.5 | [28 empty] | Present | [8 empty] | Present | [8 empty] | Present | [8 empty] | Present
143 | B | building phase a | 1st level | [6 empty] | Carpet | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 |  |  | isolated water damage | [9 empty] | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [21 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | ceiling return grilles | Other (describe) | 16 | 21 | 18.5 | Good | 0.75 |  |  | water based | [7 empty] | Present | [8 empty] | Present | [8 empty] | Present | [8 empty] | Present
144 | C | building phase a | 2nd level | [6 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Unfinished Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 | [12 empty] | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 | [12 empty] | Other (describe) | 0 | 15 | 7.5 | Fair | 0.5 |  |  |  | Fluorescent Lay-In Fixture (Troffer) | 22 | 30 | 26 | Good | 0.75 |  |  |  | Panel Breaker Switching | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | ceiling return grilles | [16 empty] | Present | [8 empty] | Present | [8 empty] | Present | [8 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
132 | A | building phase a | basement-2nd | [6 empty] | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | Steel Pan | 22 | 30 | 26 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Fair | 0.5 |  |  | carpet | Natural Stone | 22 | 30 | 26 | Good | 0.75 |  |  | marble; some cracking | [18 empty] | Fluorescent Recessed Fixture | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | ducted air diffuser | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | water | [7 empty] | Present | [8 empty] | Present | [16 empty] | Present
133 | B | building phase a | basement-2nd | [6 empty] | Drywall(Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Good | 0.75 |  |  |  | Steel Pan | 22 | 30 | 26 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Poor | 0.25 |  |  |  | Other (describe) | 22 | 30 | 26 | Poor | 0.25 |  |  | rubber | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | rubber | [18 empty] | Fluorescent Recessed Fixture | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | ducted air diffuser | [16 empty] | Present | [8 empty] | Present | [8 empty] | Present | [7 empty] | Present
EXTERIORs INFORMATION

## Master File (Systems)
Systems | Question | Value1 |  | Average1
Systems | Seg ID | 1144
| Bldg.Phase | A
| Original | 1
| Addition | 0
| Year Built | 1984
Domestic Water Heaters | Location | UN/62 and UN/10
| Description | Electric Water Heater
| Age | 41136 |  | 11.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Sanitary Drainage | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Building Support (other) Plumbing Systems | Location | Roof
| Description | Stormwater Area Drains
| Age | 16 | 30 | 23
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fuel Piping | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fuel Pumps | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fuel Storage Tanks | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fuel Fired Boilers | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Furnaces | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Unit Ventilators | Location | Roof
| Description | Vertical HVAC (w/heating & cooling)
| Age | 21 | 30 | 25.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fan Coil Units | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Water Chillers | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Cooling Towers | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Packaged Terminal Air Conditioner | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Hydronic Piping System | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Pumps | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Steam Piping System | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
HVAC Air Distribution | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Air Handling Units | Location | Roof
| Description | Package Rooftop Units (RTU)
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
| Quantity | 6
Voltage
Power Output
Elec Power
| Notes | 80 kw gas units
HVAC Fans | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire/Suppression (Sprinklers), Water/Based | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire/Suppression (Standpipes), Water/Based | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation, Packaged Generator Assemblies | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | UN/30 and UN/55
| Description | D5010 120
| Age | 0 | 15 | 7.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
| Power Output | 225 amp
Elec Power
Notes
Voice Communication Terminal Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | UN/30
| Description | Fire Alarm Annunciation Panels
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 1545
| Bldg.Phase | A
| Original | 1
| Addition | 0
| Year Built | 1984
(Foundation) Walls for Subgrade Enclosures, Primary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Standard Slabs On Grade, Primary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Standard Slabs On Grade, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Floor Construction, Primary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Floor Construction, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof Construction, Structural Frame, Primary | Location | typical
| Description | Wood, Beams and Joists
| Age | 16 | 30 | 23
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof Construction, Structural Frame, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Walls / Exterior Assembly, Primary | Location | typical
| Description | Stucco w/ Brick B/U
| Age | 16 | 30 | 23
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | cracking in multiple locations
Exterior Walls / Exterior Assembly, Secondary | Location | eastern facade
| Description | Brick, Solid (Mass)
| Age | 60+ |  | 60
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary | Location | typical
| Description | Other (describe)
| Age | 22 | 30 | 26
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | aluminum fixed; rusted shelf angles
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | roof
| Description | Asphalt, Built Up
| Age | 22 | 30 | 26
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | patching replacement good in one section
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | roof
| Description | Aluminum
| Age | 22 | 30 | 26
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | precast concrete copings (75%) fair; 25% terra cotta coping poor
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | roof
| Description | Metal, Galvanized/Painted
| Age | 22 | 30 | 26
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes