## FCI Summary
Building Name: | Hawkins Street | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 69161
Number of Floors: | 3
School Age (years): | 125
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 44.82%
Facility Condition = | POOR
FCI Deficiency Cost = | 6393532.9773
FCI Replacement Cost = | 14264456.25
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 523
Historic 2005 LRFP Capacity = | 555
Adjusted 2012 Capacity = | 499
Recent Occupancy % = | 104.8%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 89.83%
Classroom Adequacy = | GOOD
Special Spaces Adequacy % Score = | 51.63%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Hawkins Street | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 69161
Largest Floor Level Area: |  | 29791
Vertical FAR Ratio: |  | 2.3215
School Age (years): |  | 125
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 2.7% | 5.5687 | 69161 | 385140.3187 | 100 | 125 | 0 | 0.5 | 5 | 5 | 19257.0159 | 365883.3028 | 95%
|  |  | A1030 - SLAB ON GRADE | 2.65% | 5.4656 | 69161 | 378008.0906 | 100 | 125 | 0 | 0.5 | 5 | 5 | 18900.4045 | 359107.6861 | 95%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 69161 | 313818.0375 | 100 | 125 | 0 | 0.5 | 5 | 5 | 15690.9019 | 298127.1356 | 95%
|  |  | SUBTOTAL SUBSTRUCTURE | 7.55% | 15.5719 | 69161 | 1076966.4469
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 69161 | 1569090.1875 | 100 | 125 | 0 | 0.5 | 5 | 5 | 78454.5094 | 1490635.6781 | 95%
|  |  | B1020 - ROOF CONSTRUCTION | 3.4% | 7.0125 | 69161 | 484991.5125 | 100 | 125 | 0 | 0.5 | 5 | 5 | 24249.5756 | 460741.9369 | 95%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 7.7% | 15.8812 | 69161 | 1098363.1312 | 100 | 58.6071 | 41.3929 | 0.49306 | 49.3056 | 90.6984 | 996197.9257 | 102165.2055 | 9.302%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 4.4% | 9.075 | 69161 | 627636.075 | 30 | 23.0833 | 6.9167 | 0.58333 | 17.5 | 24.4167 | 510826.0277 | 116810.0473 | 18.61%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 3% | 6.1875 | 69161 | 427933.6875 | 30 | 15 | 15 | 0.6875 | 20.625 | 30 | 427933.6875 | 0 | 0%
|  |  | SUBTOTAL SHELL | 29.5% | 60.8438 | 69161 | 4208014.5938
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 69161 | 570578.25 | 60 | 56.0405 | 3.9595 | 0.50676 | 30.4054 | 34.3649 | 326797.4076 | 243780.8424 | 42.73%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 69161 | 213966.8438 | 20 | 22.4459 | 0 | 0.47297 | 5 | 5 | 53491.7109 | 160475.1328 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 69161 | 570578.25 | 20 | 7.5 | 12.5 | 0.7 | 14 | 20 | 570578.25 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 69161 | 213966.8438 | 30 | 125 | 0 | 0.5 | 5 | 5 | 35661.1406 | 178305.7031 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 3.2% | 6.6 | 69161 | 456462.6 | 10 | 9.6842 | 0.31579 | 0.38816 | 3.8816 | 4.1974 | 191594.1703 | 264868.4297 | 58.03%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 69161 | 855867.375 | 20 | 18.6026 | 1.3974 | 0.44744 | 8.9487 | 10.3462 | 442746.7767 | 413120.5983 | 48.27%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 69161 | 855867.375 | 30 | 29.5 | 0.5 | 0.41892 | 12.5676 | 13.0676 | 372803.4917 | 483063.8833 | 56.44%
|  |  | SUBTOTAL INTERIORS | 26.2% | 54.0375 | 69161 | 3737287.5375
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.75% | 1.5469 | 69161 | 106983.4219 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 106983.4219 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 69161 | 213966.8438 | 60 | 22.3958 | 37.6042 | 0.4753 | 28.5179 | 60 | 213966.8438 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 69161 | 185437.9312 | 60 | 11.5 | 48.5 | 0.5 | 30 | 60 | 185437.9312 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 69161 | 171173.475 | 60 | 60 | 0 | 0.5 | 30 | 30 | 85586.7375 | 85586.7375 | 50%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 69161 | 71322.2812 | 30 | 60 | 0 | 0.25 | 5 | 5 | 11887.0469 | 59435.2344 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 3.2% | 6.6 | 69161 | 456462.6 | 60 | 53 | 7 | 0.25 | 15 | 22 | 167369.62 | 289092.98 | 63.33%
|  |  | D3020 - BOILERS | 2.5% | 5.1562 | 69161 | 356611.4062 | 60 | 41.5 | 18.5 | 0.175 | 10.5 | 29 | 172362.1797 | 184249.2266 | 51.67%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4.5% | 9.2812 | 69161 | 641900.5312 | 40 | 56.5 | 0 | 0.25 | 5 | 5 | 80237.5664 | 561662.9648 | 87.5%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4.5% | 9.2812 | 69161 | 641900.5312 | 40 | 18.625 | 21.375 | 0.58958 | 23.5833 | 40 | 641900.5312 | 0 | 0%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 0% | 0 | 69161 | 0 | 40 | 0 | 40 | 0 | 0 | 40 | 0 | 0 | #DIV/0!
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 69161 | 213966.8438 | 20 | 0 | 20 | 0 | 0 | 20 | 213966.8438 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 69161 | 142644.5625 | 20 | 0 | 20 | 0 | 0 | 20 | 142644.5625 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 69161 | 28528.9125 | 20 | 3.5 | 16.5 | 0.75 | 15 | 20 | 28528.9125 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 69161 | 185437.9312 | 60 | 23 | 37 | 0.5 | 30 | 60 | 185437.9312 | 0 | 0%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 69161 | 998511.9375 | 30 | 18.3333 | 11.6667 | 0.58586 | 17.5758 | 29.2424 | 973296.9896 | 25214.9479 | 2.525%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 69161 | 427933.6875 | 20 | 18.0385 | 1.9615 | 0.59615 | 11.9231 | 13.8846 | 297084.7331 | 130848.9544 | 30.58%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 69161 | 42793.3688 | 20 | 18.75 | 1.25 | 0.625 | 12.5 | 13.75 | 29420.441 | 13372.9277 | 31.25%
|  |  | SUBTOTAL SERVICES | 34.25% | 70.6406 | 69161 | 4885576.2656
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 69161
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 69161
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 69161
|  |  | E1090 - OTHER EQUIPMENT |  |  | 69161
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 69161
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 69161
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 69161
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 69161
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 69161
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 69161 | 142644.5625 | 30 | 11.5 | 18.5 | 0.5 | 15 | 30 | 142644.5625 | 0 | 0%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 69161 | 71322.2812 | 30 | 0 | 30 | 0 | 0 | 30 | 71322.2812 | 0 | 0%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 69161 | 71322.2812 | 30 | 11.5 | 18.5 | 0.5 | 15 | 30 | 71322.2812 | 0 | 0%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 69161 | 71322.2812 | 30 | 11.5 | 18.5 | 0.5 | 15 | 30 | 71322.2812 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 69161 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 69161
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 69161 | 14264456.25 | [7 empty] | 6393532.9773 | 44.82%
100%
Note on J41: Tessier, Matthew: No Survey Data
Note on J42: Tessier, Matthew: No Survey Data
Note on J59: Tessier, Matthew: No Survey Data

## Master File (Interior)
Hawkins Street
School Code: | 460
NPS Code: | 75
Street: | 8 Hawkins St.
City/Town: | Newark,
Database ID: | 11
Total size (gsf):
ROOM INFORMATION | [12 empty] | 57.2143 | Ave Condition | 0.48611 | [6 empty] | 18.6026 | Ave Condition | 0.44744 | [5 empty] | 9.6842 | Ave Condition | 0.38816 | [5 empty] | 29.5 | Ave Condition | 0.41892 | [6 empty] | 22.4459 | Ave Condition | 0.47297 | [6 empty] | 56.0405 | Ave Condition | 0.50676 | [6 empty] | 20.6667 | Ave Condition | 0.47917 | [6 empty] | 17.3125 | Ave Condition | 0.46875 | [6 empty] | 19.75 | Ave Condition | 0.42857 | [5 empty] | Average Age | 30 | Ave Condition | 0.5 | [6 empty] | 24.25 | Ave Condition | 0.5 | [6 empty] | 7.5 | Ave Condition | 0.7 | [6 empty] | 13.5 | Ave Condition | 0.50758 | [5 empty] | Average Age | 30 | Ave Condition | 0.5 | [5 empty] | 30 | Ave Condition | 0.49167 | [6 empty] | 7.25 | Ave Condition | 0.6875 | [6 empty] | 3.5 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 10 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [8 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
7261 | 101 | 1st Grade Classroom | Ground Floor | A | General Classroom (Grades 1-3) |  |  | 857 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
7262 | 102 | 1st Grade Classroom | Ground Floor | A | General Classroom (Grades 1-3) |  |  | 860 | 10' 9" | Brick, Exposed/Unfinished | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41100 | 8.5 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Brick | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present | [7 empty] | 0 | [8 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [98 empty] | 0 | Present
7263 | 103 | SSL | Ground Floor | A | Small Group Instruction |  |  | 152 | 10' 9" | [9 empty] | Unfinished | [16 empty] | Plaster
7264 | 104 | PSL | Ground Floor | A | Small Group Instruction |  |  | 138 | 10' 9 | [9 empty] | Unfinished | [16 empty] | Unfinished Ceiling
7265 | 107 | Classroom | Ground Floor | A | General Classroom |  |  | 771 | 10' 9" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
7266 | 108 | Storage | Ground Floor | A | Support |  |  | 234 | 11' 0" | [9 empty] | Wood | [16 empty] | Specialty Ceilings (describe)
7267 | 111 | 1st Grade Classroom | Ground Floor | A | General Classroom (Grades 1-3) |  |  | 731 | 11' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
7268 | 112 | Guidance Office | Ground Floor | C | Administration |  |  | 201 | 7' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41100 | 8.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | [48 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  | 1 lens missing | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 1CPU | [105 empty] | 0 | Present | Clock and speakers
7269 | 113 | Office | Ground Floor | A | Administration |  |  | 97 | 8' 9" | [9 empty] | Unfinished | [16 empty] | Plaster
7270 | 114 | Kindergarten | Ground Floor | C | Kindergarten Classroom |  |  | 758 | 11' 2" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 | 8.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [39 empty] | Wall Mounted Stainless Steel Drinking Fountains | 0 | 7 | 3.5 | Fair | 0.5 | 0 | [11 empty] | Fluorescent Pendant Mount Fixture | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [61 empty] | 3 | [71 empty] | 0 | Present
7271 | 115 | Kindergarten | Ground Floor | A | Kindergarten Classroom |  |  | 743 | 11' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
7272 | 116 | 1st Grade Classroom | Ground Floor | C | General Classroom (Grades 1-3) |  |  | 756 | 10' 10" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41100 | 8.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [57 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [61 empty] | 3 | [71 empty] | 0 | Present
7273 | 117 | ESL | Ground Floor | A | Small Group Instruction |  |  | 365 | 9' 5" | [9 empty] | Unfinished | [16 empty] | Plaster
7274 | 117A | Parent Room | Ground Floor | C | Administration |  |  | 345 | 9' 5" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Other (describe) | 41070 |  | 8 | Fair | 0.5 | 0 |  | Painted concrete | Painted Walls | 41100 | 8.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 3 CPUs | [105 empty] | 0 | Present
7275 | UN-1 | Storage | Ground Floor | A | Support |  |  | 402 | 11' 0' | [8 empty] | N/A | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 | 8.5 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  | Cast iron piping | [24 empty] | 0 | Present
7276 | UN-2 | Storage | Ground Floor | A | Support |  |  | 409 | 11' 0" | [9 empty] | Wood | [16 empty] | Unfinished Ceiling
7277 | UN-3 | Storage | Ground Floor | A | General Classroom (Grades 1-3) |  |  | 64 | N/A
7278 | UN-4 | Storage | Ground Floor | A | General Classroom (Grades 1-3) |  |  | 70 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  | Water damage | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 | 8.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 | [7 empty] | 0 |  | N/A
7279 | UN-5 | Girls' Water Closet | Ground Floor | A | Support |  |  | 259 | 10' 6" | [9 empty] | Ceramic Tile | [16 empty] | Plaster | [31 empty] | 2 | [8 empty] | 8 | [8 empty] | 0
7280 | UN-6 | Boys\' Water Closet | Ground Floor | A | Support |  |  | 287 | 10' 6" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Ceramic Tile | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls with Wainscot | 10+ | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 16 | 21 | 18.5 | Fair | 0.5 | 2 |  |  | Wall Hung Flush Valve | 16 | 21 | 18.5 | Fair | 0.5 | 3 |  |  | Wall Hung | 0 | 7 | 3.5 | Fair | 0.5 | 5 | [17 empty] | 0 |  |  | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 | 0 |  |  | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  | Ceiling steam piping | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0 | Present
7281 | UN-7 | Storage | Ground Floor | A | Support |  |  | 13 | N/A
7282 | UN-8 | Storage | Ground Floor | A | Support |  |  | 82 | N/A
7283 | UN-9 | Storage | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 303 | N/A
7284 | UN-10 | Cafeteria | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 1956 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Good | 0.75 | 0 |  |  | Painted Walls | 41100 | 8.5 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ | 30 | Fair | 0.5 | 0 |  | Lay in | [15 empty] | 0 |  | With demountable partition | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [34 empty] | 0 | Present | Camera | [96 empty] | 0 | Present | [34 empty] | 0 | Present
7285 | UN-11 | Storage | Ground Floor | A | Support |  |  | 106 | N/A
7286 | UN-12 | Custodial Closet | Ground Floor | A | Support |  |  | 18 | N/A
7287 | UN-13 | Storage | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 83 | 11' 0' | [9 empty] | Wood | [16 empty] | Unfinished Ceiling
7288 | UN-14 | Kitchen | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 792 | 10' 8 | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
7289 | UN-15 | Storage | Ground Floor | A | Support |  |  | 37 | 11' 0' | [9 empty] | Wood | [16 empty] | Specialty Ceilings (describe)
7290 | UN-16 | Storage | Ground Floor | A | Support |  |  | 70 | 11' 0' | [9 empty] | Wood | [16 empty] | Specialty Ceilings (describe)
7291 | UN-17 | Custodial Office | Ground Floor | A | Support |  |  | 355 | 9' 5" | [8 empty] | N/A | Other (describe) | 20+ |  | 20 | Fair | 0.5 |  |  | Painted concrete | Painted Walls | 41100 | 8.5 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | painted wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | [48 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | [10 empty] | N/A | [9 empty] | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1CPU | [106 empty] | Present
7292 | UN-18 | Janitor Closet | Ground Floor | A | Support |  |  | 30 | N/A
7293 | UN-19 | Boys\' Water Closet | Ground Floor | B | Support |  |  | 223 | 12' 0" |  | 60+ |  | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 16 | 21 | 18.5 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Valve | 16 | 21 | 18.5 | Fair | 0.5 | 3 |  |  | Floor Trough | 30+ |  | 30 | Poor | 0.25 | 6 | [20 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Poor | 0.25 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present
7294 | UN-20 | Gym | Ground Floor | D | Phys. Ed. (Gym + Storage) |  |  | 3366 | 19' 0" | Brick, Exposed/Unfinished | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Unfinished Walls | 10+ | 10 | Fair | 0.5 |  |  | Solid Brick with glazed brick wainscot | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Brick | [54 empty] | HID Surface Mount Fixture | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present | [134 empty] | Present
7295 | UN-21 | Phys. Ed. Office | Ground Floor | B | Phys. Ed. (Gym + Storage) |  |  | 113 | N/A
7296 | UN-22 | Storage | Ground Floor | A | Phys. Ed. (Gym + Storage) |  |  | 96 | N/A
7297 | UN-23 | Library | Ground Floor | B | Media Center |  |  | 1133 | 11' 7" |  |  |  |  | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 | 8.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present | [7 empty] | 0 | [8 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [98 empty] | 0 | Present
7298 | UN-24 | Storage | Ground Floor | A | Media Center |  |  | 21 | N/A
7299 | UN-25 | Storage | Ground Floor | A | Media Center |  |  | 19 | N/A
7300 | UN-26 | Health Services | Ground Floor | B | Health Services |  |  | 221 | 11' 3" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 | 8.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [133 empty] | 0 | Present
7301 | UN-27 | Water Closet | Ground Floor | B | Health Services |  |  | 36 | 8' 0" | [9 empty] | Ceramic Tile | [16 empty] | Plaster | [31 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7302 | UN-28 | N/A | Ground Floor | A | Health Services |  |  | 11 | N/A
7303 | UN-29 | Storage | Ground Floor | A | Health Services |  |  | 20 | N/A
7304 | UN-30 | Principal Office | Ground Floor | B | Administration |  |  | 249 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 | 8.5 | Good | 0.75 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 | 0 | [17 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 1CPU | [105 empty] | 0 | Present | Clock and speakers
7305 | UN-31 | N/A | Ground Floor | A | Administration |  |  | 31 | N/A
7306 | UN-32 | N/A | Ground Floor | A | Administration |  |  | 8 | N/A
7307 | UN-33 | N/A | Ground Floor | A | Administration |  |  | 5 | N/A
7308 | UN-34 | Main Office | Ground Floor | B | Administration |  |  | 382 | 11' 7" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  | Brick | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 | 8.5 | Good | 0.75 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | 0 | [8 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 2CPUs | [105 empty] | 0 | Present
7309 | UN-35 | Office | Ground Floor | B | Administration |  |  | 111 | 11' 7" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 | 8.5 | Good | 0.75 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [107 empty] | 0 | Present
7310 | UN-36 | Water Closet | Ground Floor | C | Administration |  |  | 12 | 7' 6" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 | 8.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [8 empty] | 1 | [8 empty] | 1 | [8 empty] | 0 | [29 empty] | Incandescent Surface Mount Fixture | 30+ |  | 30 | Fair | 0.5 | 0 |  | Porcelain socket | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 | [34 empty] | 0 | Present
7311 | UN-37 | Storage | Ground Floor | A | Support |  |  | 120 | N/A
7312 | UN-38 | Storage | Ground Floor | A | Kindergarten Classroom |  |  | 61 | N/A
7313 | UN-39 | Storage | Ground Floor | C | Kindergarten Classroom |  |  | 99 | N/A
7314 | UN-40 | Storage | Ground Floor | A | Kindergarten Classroom |  |  | 14 | N/A
7315 | UN-41 | Storage | Ground Floor | A | Kindergarten Classroom |  |  | 25 | N/A
7316 | UN-42 | Storage | Ground Floor | A | Kindergarten Classroom |  |  | 26 | N/A
7317 | UN-43 | Girls\' Water Closet | Ground Floor | B | Support |  |  | 269 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 | 8.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 16 | 20 | 18 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 16 | 21 | 18.5 | Fair | 0.5 | 2 |  |  | Floor Mounted Flush Valve | 16 | 21 | 18.5 | Fair | 0.5 | 4 | [8 empty] | 0 | [20 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 | 0 |  |  | Fluorescent Pendant Mount Fixture | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [133 empty] | 0 | Present
7318 | UN-44 | Storage | Ground Floor | A | Support |  |  | 244 | 12' 5" | [9 empty] | Unfinished | [16 empty] | Unfinished Ceiling
7319 | UN-45 | Mechanical Room | Ground Floor | A | Support |  |  | 84 | 12' 5" | [9 empty] | Unfinished | [16 empty] | Unfinished Ceiling
7320 | UN-46 | Storage | Ground Floor | A | Support |  |  | 237 | 12' 5" | [9 empty] | Unfinished | [16 empty] | Unfinished Ceiling
7321 | UN-47 | Storage | Ground Floor | A | Support |  |  | 234 | 12' 5" | [9 empty] | Unfinished | [16 empty] | Unfinished Ceiling
7322 | UN-48 | Storage | Ground Floor | A | Support |  |  | 181 | 12' 5" | [9 empty] | Unfinished | [16 empty] | Unfinished Ceiling
7323 | 200 | Classroom | 1st Floor | A | General Classroom |  |  | 831 | 13' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
7324 | 201 | 3rd Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 851 | 13' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41100 | 8.5 | Poor | 0.25 | 0 |  |  | Unfinished Ceiling | 30+ | 30 | Fair | 0.5 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 3 | [71 empty] | 0 | Present
7325 | 202 | Computer Lab | 1st Floor | A | Technological Literacy |  |  | 778 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 | 8.5 | Poor | 0.25 | 0 |  | Water damage | Other (describe) | 30+ | 30 | Poor | 0.25 | 0 |  | Painted wood, water leaks from room above | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 16 | 21 | 18.5 | Fair | 0.5 | 0 | [17 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 30 | [71 empty] | 0 | Present
7326 | 203 | Classroom | 1st Floor | A | General Classroom |  |  | 710 | 13' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
7327 | 204 | Classroom | 1st Floor | A | General Classroom |  |  | 727 | 13' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41067 | 6.5 | Poor | 0.25 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | Decorative molded metal panel ceiling | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | [48 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 3 | [71 empty] | 0 | Present
7328 | 205 | 2nd Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 801 | 13' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
7329 | 206 | 3rd Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 834 | 13' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
7330 | 207 | 3rd Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 746 | 13' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Very Poor | 0.1 | 0 |  |  | Painted Walls | 41100 | 8.5 | Poor | 0.25 | 0 |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 1 | [71 empty] | 0 | Present
7331 | 208 | 2nd Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 749 | 13' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
7332 | 209 | Classroom | 1st Floor | A | General Classroom |  |  | 768 | 13' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
7333 | 210 | Faculty Lounge | 1st Floor | B | Faculty Support |  |  | 178 | 12' 3" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41100 | 8.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | [48 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 | 0 | [17 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 1 | [105 empty] | 0 | Present
7334 | 211 | 5th Grade Classroom | 1st Floor | A | General Classroom (Grades 4-5) |  |  | 767 | 13' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
7335 | 212 | Classroom | 1st Floor | B | General Classroom |  |  | 830 | 13' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Very Poor | 0.1 | 0 |  |  | Painted Walls | 41100 | 8.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ | 30 | Poor | 0.25 | 0 | [26 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 3 | [71 empty] | 0 | Present
7336 | UN-49 | Storage | 1st Floor | A | Support |  |  | 42 | N/A
7337 | UN-50 | Storage | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 18 | N/A
7338 | UN-51 | Storage | 1st Floor | A | Technological Literacy |  |  | 69 | N/A
7339 | UN-52 | Storage | 1st Floor | A | Support |  |  | 7 | N/A
7340 | UN-53 | Storage | 1st Floor | A | General Classroom |  |  | 14 | N/A
7341 | UN-54 | Storage | 1st Floor | A | General Classroom |  |  | 68 | N/A
7342 | UN-55 | Storage | 1st Floor | A | General Classroom |  |  | 68 | N/A
7343 | UN-56 | Storage | 1st Floor | A | General Classroom |  |  | 16 | N/A
7344 | UN-57 | Storage | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 10 | N/A
7345 | UN-58 | Storage | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 35 | N/A
7346 | UN-59 | Storage | 1st Floor | A | Support |  |  | 69 | N/A
7347 | UN-60 | Storage | 1st Floor | A | Support |  |  | 55 | N/A
7348 | UN-61 | Storage | 1st Floor | A | Support |  |  | 48 | N/A
7349 | UN-62 | Janitor Closet | 1st Floor | A | Support |  |  | 30 | 7ft
7350 | UN-63 | Girls' Water Closet | 1st Floor | A | Support |  |  | 228 | 12' 0" | [9 empty] | Ceramic Tile | [16 empty] | Plaster | [31 empty] | 1 | [8 empty] | 5 | [8 empty] | 0
7351 | UN-64 | Office | 1st Floor | A | Administration |  |  | 230 | N/A
7352 | UN-65 | Storage | 1st Floor | A | Support |  |  | 53 | N/A
7353 | UN-66 | Auditorium | 1st Floor | C | Food Service/Assembly (K-8) |  |  | 4862 | 23' 6" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  | Wood lath | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ | 10 | Poor | 0.25 | 0 |  | Water damage at windows | Plaster | 30+ | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Incandescent Pendant Mount Fixture | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [11 empty] | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 | 0 |  | Water based | [6 empty] | 0 | Present | [133 empty] | 0 | Present | Clock
7354 | UN-67 | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 146 | N/A
7355 | UN-68 | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 147 | N/A
7356 | UN-69 | Boys' Water Closet | 1st Floor | A | Support |  |  | 237 | 12' 0" | [9 empty] | Ceramic Tile | [16 empty] | Plaster | [31 empty] | 1 | [8 empty] | 3 | [8 empty] | 6
7357 | UN-70 | Custodial Closet | 1st Floor | A | Support |  |  | 18 | N/A
7358 | UN-71 | Water Closet | 1st Floor | B | Support |  |  | 74 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Other (describe) | 41070 |  | 8 | Fair | 0.5 | 0 |  | Painted concrete | Painted Walls with Wainscot | 10+ | 10 | Fair | 0.5 | 0 |  | tile wainscot | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 16 | 21 | 18.5 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Tank | 16 | 21 | 18.5 | Fair | 0.5 | 1 | [8 empty] | 0 | [20 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 | 0 |  |  | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present
7359 | 300 | Classroom | 2nd Floor | A | General Classroom |  |  | 831 | 13' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41100 | 8.5 | Poor | 0.25 | 0 |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 3 |  | Desktop | [69 empty] | 0 | Present
7360 | 301 | Classroom | 2nd Floor | A | General Classroom |  |  | 851 | 13' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
7361 | 302 | Classroom | 2nd Floor | A | General Classroom |  |  | 733 | 13' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
7362 | 303 | Classroom | 2nd Floor | A | General Classroom |  |  | 710 | 13' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
7363 | 304 | 6th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 727 | 13' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
7364 | 305 | Classroom | 2nd Floor | A | General Classroom |  |  | 752 | 13' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 10+ | 10 | Poor | 0.25 | 0 |  | Peeling paint | Unfinished Ceiling | 30+ | 30 | Poor | 0.25 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 2 |  | Desktop | [69 empty] | 0 | Present
7365 | 306 | Classroom | 2nd Floor | A | General Classroom |  |  | 834 | 13' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41100 | 8.5 | Poor | 0.25 | 0 |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 | 0 |  | Painted wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 2 |  | Desktops | [69 empty] | 0 | Present
7366 | 307 | 7th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 746 | 13' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Unfinished Ceiling
7367 | 308 | Small Group Instruction | 2nd Floor | B | Small Group Instruction |  |  | 749 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41100 | 8.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 2 |  | Desktop | [69 empty] | 0 | Present
7368 | 309 | Classroom | 2nd Floor | A | General Classroom |  |  | 768 | 9' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Acoustical Panel
7369 | 310 | Classroom | 2nd Floor | B | General Classroom |  |  | 968 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 | 0 |  | Also have wood floor | Painted Walls | 41100 | 8.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [56 empty] | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [19 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 1 |  | Desktop | [69 empty] | 0 | Present
7370 | 311 | 8th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 830 | 11' 10" | [9 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
7371 | 313 | Office | 2nd Floor | A | Administration |  |  | 53 | N/A
7372 | UN-72 | Storage | 2nd Floor | A | Support |  |  | 42 | N/A
7373 | UN-73 | Storage | 2nd Floor | A | General Classroom |  |  | 46 | N/A
7374 | UN-74 | Storage | 2nd Floor | A | General Classroom |  |  | 25 | N/A
7375 | UN-75 | Storage | 2nd Floor | A | General Classroom |  |  | 7 | N/A
7376 | UN-76 | Storage | 2nd Floor | A | General Classroom |  |  | 14 | N/A
7377 | UN-77 | Storage | 2nd Floor | A | General Classroom |  |  | 68 | N/A
7378 | UN-78 | Storage | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 68 | N/A
7379 | UN-79 | Storage | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 16 | N/A
7380 | UN-80 | Storage | 2nd Floor | A | General Classroom |  |  | 10 | N/A
7381 | UN-81 | Storage | 2nd Floor | A | General Classroom |  |  | 30 | N/A
7382 | UN-82 | Storage | 2nd Floor | A | General Classroom |  |  | 35 | N/A
7383 | UN-83 | Storage | 2nd Floor | A | Support |  |  | 69 | N/A
7384 | UN-84 | Storage | 2nd Floor | A | Support |  |  | 55 | N/A
7385 | UN-85 | Storage | 2nd Floor | A | Support |  |  | 48 | N/A
7386 | UN-86 | N/A | 2nd Floor | A | N/A |  |  | 29 | N/A
7387 | UN-87 | Girls' Water Closet | 2nd Floor | A | Support |  |  | 223 | 13' 0" | [9 empty] | Ceramic Tile | [16 empty] | Plaster | [31 empty] | 1 | [8 empty] | 4 | [8 empty] | 0
7388 | UN-88 | Office | 2nd Floor | A | Administration |  |  | 225 | N/A
7389 | UN-89 | Storage | 2nd Floor | A | Support |  |  | 15 | N/A
7390 | UN-90 | Boys\' Water Closet | 2nd Floor | B | Support |  |  | 213 | 13' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Ceramic Tile Walls | 10+ | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Poor | 0.25 | 3 |  |  | Floor Unit | 30+ |  | 30 | Poor | 0.25 | 7 | [20 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Fair | 0.5 | 0 |  |  | Fluorescent Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [133 empty] | 0
7391 | UN-91 | Custodial Closet | 2nd Floor | A | Support |  |  | 18 | N/A
7392 | UN-92 | Water Closet | 2nd Floor | A | Support |  |  | 74 | 9' 10" | [9 empty] | Ceramic Tile | [16 empty] | Plaster | [31 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
22 | A |  | 1st floor | [15 empty] | Epoxy | 0 | 5 | 2.5 | Good | 0.75 | 0 |  |  | Other (describe) | 10+ | 10 | Fair | 0.5 | 0 |  | Full height wainscot | Plaster | 30+ | 30 | Poor | 0.25 | 0 | [11 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plastered cmu wall | [9 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | 0 | [17 empty] | 0 | Present
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Standpipes | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
63 | A |  | 1st floor | [6 empty] | Epoxy | 0 | 5 | 2.5 | Good | 0.75 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 | [10 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plastered CMU | Wall Mounted Stainless Steel Drinking Fountains | 0 | 7 | 3.5 | Fair | 0.5 | 0 | [11 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 | 0 | [11 empty] | Wet Chemical | 22 | 30 | 26 | Fair | 0.5 | 0 | [8 empty] | 0 | Present | [16 empty] | 0 | Present | [6 empty] | 0 | Present
64 | B |  | 2nd floor | [6 empty] | Epoxy | 20+ |  | 20 | Poor | 0.25 |  |  | Over wood strips | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Painted wood | [8 empty] | Plaster/Wood Stud Framing | 60+ |  | 60 | Poor | 0.25 |  |  | Wood on wood studs. 60+. Fair | [18 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | [17 empty] | Wet Chemical | 22 | 30 | 26 | Fair | 0.5 | [10 empty] | Present | [17 empty] | Present | [7 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Stair Construction | [8 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
63 | A |  | 1st floor | [6 empty] | Brick, Exposed/Unfinished | 60+ |  | 60 | Fair | 0.5 |  |  |  | Steel Pan | 30+ |  | 30 | Fair | 0.5 |  |  | With concrete | Unfinished Walls | [7 empty] | Other (describe) | 41136 | 11.5 | Fair | 0.5 |  |  | Gypsum board | Other (describe) | 30+ |  | 30 | Good | 0.75 |  |  | Epoxy | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  |  | Labeled Metal/Metal Frames | 41070 |  | 8 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present
64 | B |  | 2nd floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Steel Pan | 30+ |  | 30 | Fair | 0.5 |  |  |  | Painted Walls | 41004 | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Exposed Concrete | 30+ |  | 30 | Fair | 0.5 |  |  | Epoxy | Exposed Concrete | 30+ |  | 30 | Fair | 0.5 |  |  | Epoxy | Labeled Metal/Metal Frames | 41070 |  | 8 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present
65 | C |  | 1st floor | [6 empty] | Brick, Exposed/Unfinished | 60+ |  | 60 | Fair | 0.5 |  |  |  | Steel Pan | 30+ |  | 30 | Fair | 0.5 |  |  |  | Unfinished Walls | 41004 | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Exposed Concrete | 30+ |  | 30 | Fair | 0.5 |  |  | Epoxy | Exposed Concrete | 30+ |  | 30 | Fair | 0.5 |  |  | Epoxy | Labeled Metal/Metal Frames | 41070 |  | 8 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | [5 empty] | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present

## Master File (Systems)
systems | Question | Value1 |  | Average1 | systems | Question | Value1 | Average1
Systems | Seg ID | 569 |  |  | InfoTech | Seg ID | 208
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1887 |  |  |  | Year Built | 1887
Domestic Water Heaters | Location | UN/17 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Gas, temp boiler units outside |  |  |  | Notes
Sanitary Drainage | Location | UN/17 |  |  | Main Dist. Facility (MDF) | Location | Ground Level Floor
| Description | Sanitary Drainage Piping Cleanouts |  |  |  | Description
| Age | 60+ |  | 60 |  | Age | 10+ | 10
| Condition | Fair |  | 0.5 |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Un35
Building Support (other) Plumbing Systems | Location | Roof |  |  | MDF, HVAC Terminal Units | Location
| Description | Stormwater Drainage Sump Pumps |  |  |  | Description | Cast Iron Radiators
| Age | 60+ |  | 60 |  | Age | 30+ | 30
| Condition | Poor |  | 0.25 |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Piping | Location | UN/17 |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description
| Age | 16 | 30 | 23 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | N/a
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location | 202
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age | 10+ | 10
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/a |  |  |  | Notes
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  |  | Description | Unit Ventilators
| Age |  |  |  |  | Age | 30+ | 30
| Condition |  |  |  |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/a |  |  |  | Notes
Fuel Fired Boilers | Location | UN/17 |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas/Fired Boilers |  |  |  | Description | Window Mounted
| Age | 60+ |  | 60 |  | Age | 41136 | 11.5
| Condition | Very Poor |  | 0.1 |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Blower is new |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location | 210
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age | 10+ | 10
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/A |  |  |  | Notes
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description | Cast Iron Radiators
| Age |  |  |  |  | Age | 30+ | 30
| Condition |  |  |  |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/a |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description | Window Mounted
| Age |  |  |  |  | Age | 41136 | 11.5
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/a |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location | UN/01
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age | 10+ | 10
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/a |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/a |  |  |  | Notes | N/a
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | N/a
Hydronic Piping System | Location | UN/17 |  |  | Inter. Data Facility (IDF #4) | Location
| Description | Single Loop Hot Water System |  |  |  | Description
| Age | 46 | 60 | 53 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location | UN/17 |  |  | IDF #4, HVAC Terminal Units | Location
| Description | Hydronic Pumps |  |  |  | Description
| Age | 46 | 60 | 53 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location | UN/17 |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Single/Pipe |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location |  |  |  | Inter. Data Facility (IDF #5) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/a |  |  |  | Notes
Air Handling Units | Location |  |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/a |  |  |  | Notes
HVAC Fans | Location |  |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/a |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/a |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 0 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | N/a |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location | UN/17
| Description | Gas Engine Generators
| Age | 0 | 15 | 7.5
| Condition | Good |  | 0.75
CheckBox
| Quantity | 0
| Voltage | 240
| Power Output | 240
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
| Notes | N/a
Electrical Service & Distribution | Location | UN/17
| Description | D5010 120
| Age | 16 | 30 | 23
| Condition | Fair |  | 0.5
CheckBox
| Quantity | 0
Voltage
| Power Output | 1200 amp
Elec Power
Notes
Voice Communication Terminal Equipment | Location
Description
Age
Condition
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
| Notes | N/a
Distributed AV Communication (Paging) Systems | Location | UN/34
| Description | Public Address and Mass Notification Systems
| Age | 21 | 30 | 25.5
| Condition | Poor |  | 0.25
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | Lobby
| Description | Digital Video Recorders
| Age | 31 | 40 | 35.5
| Condition | Fair |  | 0.5
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | UN/17
| Description | Fire/Smoke Detection Sensors
| Age | 41233 |  | 10.5
| Condition | Fair |  | 0.5
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
| Notes | N/a
Other Equipment | Location
| Description | Clock system doesn't work
Age
Condition
CheckBox
| Quantity | 0
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Value2 |  | Average2 | Value3 |  | Average3 | Value4 | Average4 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 600 |  |  | 612 |  |  | 622 |  |  | 1132 |  | SiteElements | Seg ID | 188
| Bldg.Phase | A |  |  | B |  |  | C |  |  | D |  |  | Bldg.Phase | A
| Original | 1 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | Original | 1
| Addition | 0 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | Addition | 0
| Year Built | 1887 |  |  | 1904 |  |  | 1922 |  |  | 1950 |  |  | Year Built | 1887
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typical | [10 empty] | Roadways | Location
| Description | Concrete, Cast/In/Place | [11 empty] | Description
| Age | 60+ |  | 60 | [9 empty] | Age
| Condition | Fair |  | 0.5 | [9 empty] | Condition
| CheckBox | [12 empty] | CheckBox
| Quantity | [12 empty] | Quantity
| Voltage | [12 empty] | Voltage
| Power Output | [12 empty] | Power Output
| Elec Power | [12 empty] | Elec Power
| Notes | [12 empty] | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location | [11 empty] | Parking Lots | Location | S/1
| Description | CMU, Regular | [11 empty] | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 | [9 empty] | Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5 | [9 empty] | Condition | Fair |  | 0.5
| CheckBox | [12 empty] | CheckBox
| Quantity | [12 empty] | Quantity
| Voltage | [12 empty] | Voltage
| Power Output | [12 empty] | Power Output
| Elec Power | [12 empty] | Elec Power
| Notes | [12 empty] | Notes
Standard Slabs On Grade, Primary | Location | Typical |  |  | Typical |  |  | Typical |  |  | Typical |  | Pedestrian Plazas and Walkways, Primary | Location
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  | Description
| Age | 60+ |  | 60 | 60+ |  | 60 | 60+ |  | 60 | 60+ | 60 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair |  | 0.5 | Fair | 0.5 |  | Condition
| CheckBox | [12 empty] | CheckBox
| Quantity | [12 empty] | Quantity
| Voltage | [12 empty] | Voltage
| Power Output | [12 empty] | Power Output
| Elec Power | [12 empty] | Elec Power
| Notes | [12 empty] | Notes
Standard Slabs On Grade, Secondary | Location | [11 empty] | Pedestrian Plazas and Walkways, Secondary | Location
| Description | [12 empty] | Description
| Age | [12 empty] | Age
| Condition | [12 empty] | Condition
| CheckBox | [12 empty] | CheckBox
| Quantity | [12 empty] | Quantity
| Voltage | [12 empty] | Voltage
| Power Output | [12 empty] | Power Output
| Elec Power | [12 empty] | Elec Power
| Notes | [12 empty] | Notes
Floor Construction, Primary | Location | Typical |  |  | Typical |  |  | Typical |  |  | Typical |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, Waffle Slab |  |  | Concrete, CIP Beams and Slab |  |  | Concrete, CIP Beams and Slab |  |  | Concrete, CIP Beams and Slab |  |  | Description
| Age | 60+ |  | 60 | 60+ |  | 60 | 60+ |  | 60 | 60+ | 60 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair |  | 0.5 | Fair | 0.5 |  | Condition
| CheckBox | [12 empty] | CheckBox
| Quantity | [12 empty] | Quantity
| Voltage | [12 empty] | Voltage
| Power Output | [12 empty] | Power Output
| Elec Power | [12 empty] | Elec Power
| Notes | [6 empty] | Must verify. No access. |  |  | Must verify. No access |  |  | Notes
Floor Construction, Secondary | Location | [11 empty] | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description | [12 empty] | Description
| Age | [12 empty] | Age
| Condition | [12 empty] | Condition
| CheckBox | [12 empty] | CheckBox
| Quantity | [12 empty] | Quantity
| Voltage | [12 empty] | Voltage
| Power Output | [12 empty] | Power Output
| Elec Power | [12 empty] | Elec Power
| Notes | [12 empty] | Notes
Roof Construction, Structural Frame, Primary | Location | Typical |  |  | Typical |  |  | Typical |  |  | Typical |  | Site Lighting, Primary | Location | Typical
| Description | Wood, Heavy Timber |  |  | Steel Framing, w/ Steel Deck |  |  | Steel Framing, w/ Steel Deck |  |  | Steel Framing, w/ Steel Deck |  |  | Description | Building Mounted H.I.D.
| Age | 60+ |  | 60 | 60+ |  | 60 | 60+ |  | 60 | 60+ | 60 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair |  | 0.5 | Fair | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox | [12 empty] | CheckBox
| Quantity | [12 empty] | Quantity
| Voltage | [12 empty] | Voltage
| Power Output | [12 empty] | Power Output
| Elec Power | [12 empty] | Elec Power
| Notes | Must verify. No access |  |  | Must verify. No access. |  |  | Must verify. No access. |  |  | Must verify. No access |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location | [11 empty] | Site Lighting, Secondary | Location | Typical
| Description | [12 empty] | Description | Pole Mounted H.I.D.
| Age | [12 empty] | Age | 41136 |  | 11.5
| Condition | [12 empty] | Condition | Good |  | 0.75
| CheckBox | [12 empty] | CheckBox
| Quantity | [12 empty] | Quantity
| Voltage | [12 empty] | Voltage
| Power Output | [12 empty] | Power Output
| Elec Power | [12 empty] | Elec Power
| Notes | [12 empty] | Notes
Exterior Walls / Exterior Assembly, Primary | Location | Typical | [5 empty] | Typical |  |  | Typical |  | Playground Surface | Location | S/2
| Description | Other (describe) | [5 empty] | Other (describe) |  |  | Other (describe) |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 |  |  |  | 60+ |  | 60 | 60+ | 60 |  | Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5 |  |  |  | Fair |  | 0.5 | Fair | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox | [12 empty] | CheckBox
| Quantity | [12 empty] | Quantity
| Voltage | [12 empty] | Voltage
| Power Output | [12 empty] | Power Output
| Elec Power | [12 empty] | Elec Power
| Notes | Brick veneer with cmu block | [5 empty] | Brick veneer with concrete block |  |  | Brick veneer with cmu block |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location | [11 empty] | Playground Equipment | Location | S/2
| Description | [12 empty] | Description | B/Ball Backstops
| Age | [12 empty] | Age | 41136 |  | 11.5
| Condition | [12 empty] | Condition | Fair |  | 0.5
| CheckBox | [12 empty] | CheckBox
| Quantity | [12 empty] | Quantity
| Voltage | [12 empty] | Voltage
| Power Output | [12 empty] | Power Output
| Elec Power | [12 empty] | Elec Power
| Notes | [12 empty] | Notes
Exterior Windows, Primary | Location | Typical |  |  | 2nd and 3rd floor |  |  | Typical |  |  | Typical |  | TCUs | Location | S/3
| Description | Aluminum, Double Hung |  |  | Aluminum, Casement |  |  | Aluminum, Double Hung |  |  | Aluminum, Double Hung |  |  | Description | Other (describe)
| Age | 22 | 30 | 26 | 41136 |  | 11.5 | 30+ |  | 30 | 30+ | 30 |  | Age | 16 | 21 | 18.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  |  |  | Fair | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox | [12 empty] | CheckBox
| Quantity | [12 empty] | Quantity
| Voltage | [12 empty] | Voltage
| Power Output | [12 empty] | Power Output
| Elec Power | [12 empty] | Elec Power
| Notes | [12 empty] | Notes
Exterior Windows, Primary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles | [5 empty] | Security Grilles |  |  | Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location |  |  |  | 1st floor
| Description |  |  |  | Aluminum, Double Hung
| Age |  |  |  | 22 | 30 | 26
| Condition |  |  |  | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
| CheckBox |  |  |  | Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | Typical |  |  | Front |  |  | Front |  |  | Playground
| Description | Fiber Reinforced Panel (FRP) |  |  | Fiber Reinforced Panel (FRP) |  |  | Fiber Reinforced Panel (FRP) |  |  | Wood
| Age | 0 | 15 | 7.5 | 0 | 15 | 7.5 | 0 | 15 | 7.5 | 60+ | 60
| Condition | Good |  | 0.75 | Good |  | 0.75 | Good |  | 0.75 | Poor | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location | Playground
| Description | Wood
| Age | 60+ |  | 60
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | Typical |  |  | Typical |  |  | Typical |  |  | Typical
| Description | Asphalt Shingle |  |  | Polyurethane, Spray Applied |  |  | Polyurethane, Spray Applied |  |  | Polyurethane, Spray Applied
| Age | 16 | 21 | 18.5 | 41136 |  | 11.5 | 41136 |  | 11.5 | 41136 | 11.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5 | Fair |  | 0.5 | Fair | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | Bubbled areas. Missing walk path |  |  | Bubbled areas. Walk paths in poor condition
Roofing, Secondary | Location
| Description | Membrane, Singly Ply
| Age | 16 | 21 | 18.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | Typical |  |  | Typical |  |  | Typical |  |  | Typical
| Description | Aluminum |  |  | Aluminum |  |  | Aluminum |  |  | Aluminum
| Age | 16 | 21 | 18.5 | 41136 |  | 11.5 | 41136 |  | 11.5 | 41136 | 11.5
| Condition | Good |  | 0.75 | Good |  | 0.75 | Good |  | 0.75 | Good | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | Typical |  |  | Typical |  |  | Typical |  |  | Typical
| Description | Aluminum |  |  | Other (describe) |  |  | Other (describe) |  |  | Other (describe)
| Age | 41136 |  | 11.5 | 41136 |  | 11.5 | 41136 |  | 11.5 | 41136 | 11.5
| Condition | Good |  | 0.75 | Fair |  | 0.5 | Fair |  | 0.5 | Fair | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | Cast iron roof drains. Central portion not properly sloped to drain |  |  | Cast iron roof drains. Signs of ponding, due to poor slope |  |  | Cast iron roof drain
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes