## FCI Summary
Building Name: | Lafayette Street Annex | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 12813
Number of Floors: | B + 2
School Age (years): | 104
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 54.72%
Facility Condition = | VERY POOR
FCI Deficiency Cost = | 1446199.7063
FCI Replacement Cost = | 2642681.25
CAPACITY UTILIZATION
Recent 2011/12 Enrollment = | NA
Historic 2005 LRFP Capacity = | NA
Adjusted 2012 Capacity = | 79.4489
Recent Occupancy % = | NA
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 70.6%
Classroom Adequacy = | POOR
Special Spaces Adequacy % Score = | 19.94%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Lafayette Street Annex | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 12813
Largest Floor Level Area: |  | 4271
Vertical FAR Ratio: |  | 3
School Age (years): |  | 104
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 2.7% | 5.5687 | 12813 | 71352.3937 | 100 | 104 | 0 | 0.5 | 5 | 5 | 3567.6197 | 67784.7741 | 95%
|  |  | A1030 - SLAB ON GRADE | 2.65% | 5.4656 | 12813 | 70031.0531 | 100 | 104 | 0 | 0.5 | 5 | 5 | 3501.5527 | 66529.5005 | 95%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 12813 | 58138.9875 | 100 | 104 | 0 | 0.5 | 5 | 5 | 2906.9494 | 55232.0381 | 95%
|  |  | SUBTOTAL SUBSTRUCTURE | 7.55% | 15.5719 | 12813 | 199522.4344
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 12813 | 290694.9375 | 100 | 104 | 0 | 0.5 | 5 | 5 | 14534.7469 | 276160.1906 | 95%
|  |  | B1020 - ROOF CONSTRUCTION | 3.4% | 7.0125 | 12813 | 89851.1625 | 100 | 104 | 0 | 0.5 | 5 | 5 | 4492.5581 | 85358.6044 | 95%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 7.7% | 15.8812 | 12813 | 203486.4562 | 100 | 58 | 42 | 0.5 | 50 | 92 | 187207.5397 | 16278.9165 | 8%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 4.4% | 9.075 | 12813 | 116277.975 | 30 | 41.5 | 0 | 0.5 | 5 | 5 | 19379.6625 | 96898.3125 | 83.33%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 3% | 6.1875 | 12813 | 79280.4375 | 30 | 30 | 0 | 0.5 | 15 | 15 | 39640.2188 | 39640.2188 | 50%
|  |  | SUBTOTAL SHELL | 29.5% | 60.8438 | 12813 | 779590.9688
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 12813 | 105707.25 | 60 | 57 | 3 | 0.45 | 27 | 30 | 52853.625 | 52853.625 | 50%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 12813 | 39640.2188 | 20 | 22.8889 | 0 | 0.44444 | 5 | 5 | 9910.0547 | 29730.1641 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 12813 | 105707.25 | 20 | 7.5 | 12.5 | 0.625 | 12.5 | 20 | 105707.25 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 12813 | 39640.2188 | 30 | 104 | 0 | 0.5 | 5 | 5 | 6606.7031 | 33033.5156 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 3.2% | 6.6 | 12813 | 84565.8 | 10 | 11.8182 | 0 | 0.40909 | 5 | 5 | 42282.9 | 42282.9 | 50%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 12813 | 158560.875 | 20 | 18.7273 | 1.2727 | 0.47727 | 9.5455 | 10.8182 | 85767.0188 | 72793.8562 | 45.91%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 12813 | 158560.875 | 30 | 19.4 | 10.6 | 0.525 | 15.75 | 26.35 | 139269.3019 | 19291.5731 | 12.17%
|  |  | SUBTOTAL INTERIORS | 26.2% | 54.0375 | 12813 | 692382.4875
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.75% | 1.5469 | 12813 | 19820.1094 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 19820.1094 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 12813 | 39640.2188 | 60 | 60 | 0 | 0.25 | 15 | 15 | 9910.0547 | 29730.1641 | 75%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 12813 | 34354.8562 | 60 | 60 | 0 | 0.5 | 30 | 30 | 17177.4281 | 17177.4281 | 50%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 12813 | 31712.175 | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 31712.175 | 100%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 12813 | 13213.4062 | 30 | 104 | 0 | 0 | 5 | 5 | 2202.2344 | 11011.1719 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 12813 | 71352.3937 | 60 | 60 | 0 | 0.1 | 6 | 6 | 7135.2394 | 64217.1544 | 90%
|  |  | D3020 - BOILERS | 2% | 4.125 | 12813 | 52853.625 | 60 | 60 | 0 | 0.25 | 15 | 15 | 13213.4062 | 39640.2188 | 75%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 12813 | 105707.25 | 40 | 60 | 0 | 0.25 | 5 | 5 | 13213.4062 | 92493.8438 | 87.5%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 12813 | 105707.25 | 40 | 23 | 17 | 0.1 | 4 | 21 | 55496.3063 | 50210.9437 | 47.5%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 12813 | 52853.625 | 40 | 0 | 40 | 0 | 0 | 40 | 52853.625 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 12813 | 39640.2188 | 20 | 104 | 0 | 0.1 | 5 | 5 | 9910.0547 | 29730.1641 | 75%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 12813 | 26426.8125 | 20 | 104 | 0 | 0 | 5 | 5 | 6606.7031 | 19820.1094 | 75%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 12813 | 5285.3625 | 20 | 0 | 20 | 0.1 | 2 | 20 | 5285.3625 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 12813 | 34354.8562 | 60 | 60 | 0 | 0.25 | 15 | 15 | 8588.7141 | 25766.1422 | 75%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 12813 | 184987.6875 | 30 | 8.5 | 21.5 | 0.71875 | 21.5625 | 30 | 184987.6875 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 12813 | 79280.4375 | 20 | 7.5 | 12.5 | 0.625 | 12.5 | 20 | 79280.4375 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 12813 | 7928.0438 | 20 | 26.1875 | 0 | 0.5625 | 5 | 5 | 1982.0109 | 5946.0328 | 75%
|  |  | SUBTOTAL SERVICES | 34.25% | 70.6406 | 12813 | 905118.3281
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 12813
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 12813
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 12813
|  |  | E1090 - OTHER EQUIPMENT |  |  | 12813
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 12813
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 12813
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 12813
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 12813
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 12813
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 12813 | 26426.8125 | 30 | 104 | 0 | 0.25 | 5 | 5 | 4404.4688 | 22022.3438 | 83.33%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 12813 | 13213.4062 | 30 | 60 | 0 | 0 | 5 | 5 | 2202.2344 | 11011.1719 | 83.33%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 12813 | 13213.4062 | 30 | 104 | 0 | 0.1 | 5 | 5 | 2202.2344 | 11011.1719 | 83.33%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 12813 | 13213.4062 | 30 | 104 | 0 | 0.1 | 5 | 5 | 2202.2344 | 11011.1719 | 83.33%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 12813 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 12813
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 12813 | 2642681.25 | [7 empty] | 1446199.7063 | 54.72%
100%
Note on J43: Tessier, Matthew: No Survey Data
Note on J58: Tessier, Matthew: Np Parking Lot
Note on J59: Tessier, Matthew: No Survey Data
Note on J60: Tessier, Matthew: No Playground
Note on J61: Tessier, Matthew: No Survey Data

## Master File (Interior)
Lafayette Street Annex
School Code:
NPS Code: | 77
Street: | 110 Prospect St.
City/Town: | Newark, NJ 07105
Database ID: | 85
Total size (gsf): | 12813
ROOM INFORMATION | [11 empty] | 56 | Ave Condition | 0.5 | [6 empty] | 18.7273 | Ave Condition | 0.47727 | [5 empty] | 11.8182 | Ave Condition | 0.40909 | [6 empty] | 19.4 | Ave Condition | 0.525 | [5 empty] | 22.8889 | Ave Condition | 0.44444 | [5 empty] | 57 | Ave Condition | 0.45 | [5 empty] | 25 | Ave Condition | 0.375 | [5 empty] | 17.6667 | Ave Condition | 0.75 | [5 empty] | 25.375 | Ave Condition | 0.5 | [5 empty] | 30 | Ave Condition | 0.25 | [6 empty] | 16.75 | Ave Condition | 0.575 | [6 empty] | 7.5 | Ave Condition | 0.625 | [6 empty] | 8.5 | Ave Condition | 0.71875 | [6 empty] | 26.1875 | Ave Condition | 0.5625 | [5 empty] | 30 | Ave Condition | 0.47857 | [6 empty] | 3.5 | Ave Condition | 0.75 | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 10 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [8 empty] | Wall Finish | [7 empty] | Ceiling Finish | [8 empty] | Interior Door | [7 empty] | Partitions | [7 empty] | Plumbing Fixtures - Lavatories | [7 empty] | Plumbing Fixtures - Toilets | [7 empty] | Plumbing Fixtures - Urinals | [7 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
12397 | UN-14 | Basement | Basement_ | A | Support |  |  | 2419 | N/A | [8 empty] | Unfinished
12398 | A-1 | Kindergarten | 1st Floor | A | Kindergarten Classroom |  |  | 708 | 9' 9" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Specialty Ceilings (describe)
12399 | A-2 | Kindergarten | 1st Floor | A | Kindergarten Classroom |  |  | 570 | 9' 10" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Metal tin | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Drywall (Gypsum)/Wood Stud Framing | 60+ | 60 | Fair | 0.5 | [53 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 2 |  | Desktops | [70 empty] | Present
12400 | A-3 | Kindergarten | 1st Floor | A | Kindergarten Classroom |  |  | 531 | 9' 10" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Specialty Ceilings (describe)
12401 | UN-1 | Storage | 1st Floor | A | Support |  |  | 40 | N/A | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
12402 | UN-2 | N/A | 1st Floor | A | Support |  |  | 30 | N/A | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
12403 | UN-3 | Custodial Office | 1st Floor | A | Support |  |  | 97 | N/A | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
12404 | UN-4 | Teachers\' Room | 1st Floor | A | Faculty Support |  |  | 162 | N/A | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Ceramic Tile Walls | 10+ | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Wood Stud Framing | 60+ | 60 | Fair | 0.5 | [53 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | [35 empty] | Present - Present
12405 | UN-5 | Boys\' Water Closet | 1st Floor | A | Support |  |  | 50 | N/A | Plaster Partitions/Metal Stud Framing | 60+ | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Ceramic Tile Walls | 10+ | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Drywall (Gypsum)/Wood Stud Framing | 60+ | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ | 30 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Tank | 30+ | 30 | Good | 0.75 | 1 |  |  | Floor Unit | 30+ | 30 | Poor | 0.25 | 2 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ | 30 | Very Poor | 0.1 | [27 empty] | Present - Present - Present
12406 | UN-6 | Girls' Water Closet | 1st Floor | A | Support |  |  | 64 | N/A | [8 empty] | Ceramic Tile | [16 empty] | Acoustical Panel | [29 empty] | 1 | [7 empty] | 2 | [7 empty] | 0
12407 | UN-7 | Custodial Closet | 1st Floor | A | Support |  |  | 40 | N/A | [8 empty] | Carpet | [16 empty] | Plaster
12408 | UN-8 | Writing Center | 1st Floor | A | Small Group Instruction |  |  | 319 | 9' 10" | Plaster Partitions/Metal Stud Framing | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 16 | 20 | 18 | Fair | 0.5 |  |  |  | Painted Walls | 10+ | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Metal tin | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Wood Stud Framing | 60+ | 60 | Fair | 0.5 | [53 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 2 |  | Desktops
12409 | UN-9 | Main Office | 1st Floor | A | Administration |  |  | 216 | 8' | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 2012-06-10 |  | 1900-01-07 | Good | 0.75 |  |  |  | Painted Walls | 10+ | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Wood Stud Framing | 60+ | 60 | Fair | 0.5 | [53 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 |  |  | Portable ac | [15 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 pc
12410 | A-5 | 1st Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 686 | 10' | [8 empty] | Carpet | [16 empty] | Acoustical Panel
12411 | A-6 | 1st Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 673 | 10' | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Carpet | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ | 10 | Poor | 0.25 |  |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Poor | 0.25 |  |  |  | Wood/Metal Frame | 2012-06-10 | 1900-01-07 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Wood Stud Framing | 60+ | 60 | Fair | 0.5 | [53 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 |  | Desktops
12412 | A-7 | 1st Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 614 | 10' | [8 empty] | Carpet | [16 empty] | Acoustical Panel
12413 | A-8 | Kindergarten | 2nd Floor | A | Kindergarten Classroom |  |  | 681 | 10' | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Carpet | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Wood/Metal Frame | 2012-06-10 | 1900-01-07 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Wood Stud Framing | 60+ | 60 | Fair | 0.5 | [53 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 |  | Desktops
12414 | UN-10 | Girls\' Water Closet | 2nd Floor | A | Support |  |  | 140 | N/A | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Ceramic Tile Walls | 10+ | 10 | Fair | 0.5 |  |  | wainscot | Plaster | 30+ |  | 30 | Fair | 0.5 | [11 empty] | Drywall (Gypsum)/Wood Stud Framing | 60+ | 60 | Fair | 0.5 | [8 empty] | 2 | [7 empty] | 2 | [7 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Fair | 0.5 |  |  |  | Fluorescent Linear Surface Mount Fixture | 2012-08-15 |  | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Good | 0.75 |  |  | Toilet exhaust fan | [24 empty] | Present
12415 | UN-11 | Boys' Water Closet | 2nd Floor | A | Support |  |  | 74 | N/A | [8 empty] | Ceramic Tile | [16 empty] | Plaster | [29 empty] | 1 | [7 empty] | 1 | [7 empty] | 2
12416 | UN-12 | Faculty Water Closet | 2nd Floor | A | Faculty Support |  |  | 24 | N/A | [8 empty] | Ceramic Tile | [16 empty] | Plaster | [29 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
12417 | UN-13 | Custodial Closet | 2nd Floor | A | Support |  |  | 37 | N/A
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [8 empty] | Wall Finish | [7 empty] | Ceiling Finish | [8 empty] | Standpipes | [7 empty] | Partitions | [7 empty] | Plumbing Fixtures - Drinking Fountains | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
47 | A | @ prospect street | 1st | [14 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ | 10 | Poor | 0.25 |  |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 | [11 empty] | Plaster/Wood Stud Framing | 60+ | 60 | Poor | 0.25 | [11 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [11 empty] | Other (describe) | 0 | 7 | 3.5 | Very Good | 0.9 |  |  | Water based
Corridors | [9 empty] | Floor Finish | [7 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Standpipes | [8 empty] | Partitions | [7 empty] | Plumbing Fixtures - Drinking Fountains | [7 empty] | Lockers | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
148 | A | @ A-2 (kindergarten) | 1st | [6 empty] | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 |  |  | Tin panels | [9 empty] | Drywall (Gypsum)/Wood Stud Framing | 60+ | 60 | Fair | 0.5 |  |  | Repair needed in areas due to doorknob | [16 empty] | Fluorescent Linear Surface Mount Fixture | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [27 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Stair Construction | [8 empty] | Wall Finish | [7 empty] | Ceiling Finish | [8 empty] | Tread Finish | [7 empty] | Landing Finish | [7 empty] | Interior Door | [7 empty] | Standpipes | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
142 | A | Entry lobby #1 | 1st-2nd | [6 empty] | Plaster on Metal Lath | 60+ | 60 | Fair | 0.5 |  |  |  | Steel Pan | 30+ |  | 30 | Good | 0.75 |  |  |  | Painted Walls | 10+ | 10 | Poor | 0.25 |  |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Epoxy on concrete | Vinyl/VCT | 30+ | 30 | Poor | 0.25 |  |  |  | Metal/Metal Frame | 20+ | 20 | Poor | 0.25 | [11 empty] | Fluorescent Lay-In Fixture (Troffer) | 2012-08-15 | 1900-01-10 12:00 | Good | 0.75 |  |  | Missing cover | Toggle Wall Switches | 30+ | 30 | Poor | 0.25 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Poor | 0.25 | [19 empty] | Present

## Master File (Systems)
systems | Question | Value1 |  | Average1 | systems | Question | Value1 | Average1
Systems | Seg ID | 1381 |  |  | InfoTech | Seg ID | 434
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1911 |  |  |  | Year Built | 1911
Domestic Water Heaters | Location | UN/7 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Sanitary Drainage | Location |  |  |  | Main Dist. Facility (MDF) | Location | Ground Level Floor
| Description |  |  |  |  | Description | wall mounted rack
| Age |  |  |  |  | Age | 41100 | 8.5
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | UN/7
Building Support (other) Plumbing Systems | Location |  |  |  | MDF, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Piping | Location |  |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Fired Boilers | Location | UN/14 |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Oil/Fired Boilers |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location |  |  |  | IDF #4, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location | Typical |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Two Pipe |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location |  |  |  | Inter. Data Facility (IDF #5) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location |  |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Fans | Location |  |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | UN/3
| Description | D5010 120
| Age | 60+ |  | 60
| Condition | Poor |  | 0.25
CheckBox
Quantity
| Voltage | 120/208
| Power Output | 200
Elec Power
| Notes | single phase
Voice Communication Terminal Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | ENT/1
| Description | Fire Alarm Annunciation Panels
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 1662
| Bldg.Phase | A
| Original | 1
| Addition | 0
| Year Built | 1911
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typical
| Description | Stone, Solid (Mass)
| Age | 60+ |  | 60
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Standard Slabs On Grade, Primary | Location | Typical
| Description | Concrete, Cast/In/Place
| Age | 60+ |  | 60
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Standard Slabs On Grade, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Floor Construction, Primary | Location | Typical
| Description | Wood, Beams and Joists
| Age | 60+ |  | 60
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Floor Construction, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof Construction, Structural Frame, Primary | Location | Typical
| Description | Wood, Beams and Joists
| Age | 60+ |  | 60
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof Construction, Structural Frame, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Walls / Exterior Assembly, Primary | Location | Typical
| Description | Brick, Solid (Mass)
| Age | 60+ |  | 60
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Walls / Exterior Assembly, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary | Location | Floors 2 & 3
| Description | Aluminum, Awning/Hopper
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Single Pane
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location | Floor 1
| Description | Other (describe)
| Age | 30+ |  | 30
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Wood, Double Hung
Exterior Windows, Secondary / Glazing | Location
| Description | Glass, Single Pane
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | Typical
| Description | Wood
| Age | 46 | 60 | 53
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | Typical
| Description | Asphalt Shingle
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | Typical
| Description | Aluminum
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | Typical
| Description | Aluminum
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes