## FCI Summary
Building Name: | Morton Street (Off-Line)
Building Square Footage: | 99903 | 2013 LRFP CONDITION SUMMARY
Number of Floors: | B + 4
School Age (years): | 114
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 43.47%
Facility Condition = | POOR
FCI Deficiency Cost = | 9770996.4348
FCI Replacement Cost = | 22478175
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 0
Historic 2005 LRFP Capacity = | NA
Adjusted 2012 Capacity = | 545.5322
Recent Occupancy % = | 0%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 92.21%
Classroom Adequacy = | GOOD
Special Spaces Adequacy % Score = | 43.48%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Morton Street (Off-Line) | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 99903
Largest Floor Level Area: |  | 24573
Vertical FAR Ratio: |  | 4.0656
School Age (years): |  | 114
Replacement Constr Cost/SF: |  | 300 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 225 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 1.8% | 4.05 | 99903 | 404607.15 | 100 | 114 | 0 | 0.5 | 5 | 5 | 20230.3575 | 384376.7925 | 95%
|  |  | A1030 - SLAB ON GRADE | 1.5% | 3.375 | 99903 | 337172.625 | 100 | 114 | 0 | 0.625 | 5 | 5 | 16858.6313 | 320313.9938 | 95%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.95 | 99903 | 494519.85 | 100 | 114 | 0 | 0.5 | 5 | 5 | 24725.9925 | 469793.8575 | 95%
|  |  | SUBTOTAL SUBSTRUCTURE | 5.5% | 12.375 | 99903 | 1236299.625
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 24.75 | 99903 | 2472599.25 | 100 | 114 | 0 | 0.5 | 5 | 5 | 123629.9625 | 2348969.2875 | 95%
|  |  | B1020 - ROOF CONSTRUCTION | 2.5% | 5.625 | 99903 | 561954.375 | 100 | 114 | 0 | 0.5 | 5 | 5 | 28097.7188 | 533856.6562 | 95%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 9.5% | 21.375 | 99903 | 2135426.625 | 100 | 114 | 0 | 0.54392 | 5 | 5 | 106771.3313 | 2028655.2937 | 95%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 5.5% | 12.375 | 99903 | 1236299.625 | 30 | 5.5 | 24.5 | 0.75 | 22.5 | 30 | 1236299.625 | 0 | 0%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 2% | 4.5 | 99903 | 449563.5 | 30 | 3.5 | 26.5 | 0.75 | 22.5 | 30 | 449563.5 | 0 | 0%
|  |  | SUBTOTAL SHELL | 30.5% | 68.625 | 99903 | 6855843.375
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 9 | 99903 | 899127 | 60 | 56.3333 | 3.6667 | 0.58333 | 35 | 38.6667 | 579437.4 | 319689.6 | 35.56%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.375 | 99903 | 337172.625 | 20 | 20.1053 | 0 | 0.50658 | 5 | 5 | 84293.1562 | 252879.4688 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 9 | 99903 | 899127 | 20 | 7.5 | 12.5 | 0.75 | 15 | 20 | 899127 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.375 | 99903 | 337172.625 | 30 | 114 | 0 | 0.5 | 5 | 5 | 56195.4375 | 280977.1875 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 4% | 9 | 99903 | 899127 | 10 | 6.9103 | 3.0897 | 0.50641 | 5.0641 | 8.1538 | 733134.3231 | 165992.6769 | 18.46%
|  |  | C3020 - FLOOR FINISHES | 6% | 13.5 | 99903 | 1348690.5 | 20 | 18.5897 | 1.4103 | 0.3641 | 7.2821 | 8.6923 | 586161.6404 | 762528.8596 | 56.54%
|  |  | C3030 - CEILING FINISHES | 6% | 13.5 | 99903 | 1348690.5 | 30 | 27.8784 | 2.1216 | 0.52703 | 15.8108 | 17.9324 | 806176.7088 | 542513.7912 | 40.23%
|  |  | SUBTOTAL INTERIORS | 27% | 60.75 | 99903 | 6069107.25
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 1% | 2.25 | 99903 | 224781.75 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 224781.75 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.375 | 99903 | 337172.625 | 60 | 23.5679 | 36.4321 | 0.53333 | 32 | 60 | 337172.625 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.925 | 99903 | 292216.275 | 60 | 3.5 | 56.5 | 0.75 | 45 | 60 | 292216.275 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.7 | 99903 | 269738.1 | 60 | 7.5 | 52.5 | 0.75 | 45 | 60 | 269738.1 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.125 | 99903 | 112390.875 | 30 | 60 | 0 | 0.75 | 5 | 5 | 18731.8125 | 93659.0625 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 3.2% | 7.2 | 99903 | 719301.6 | 60 | 7.5 | 52.5 | 0.75 | 45 | 60 | 719301.6 | 0 | 0%
|  |  | D3020 - BOILERS | 2.5% | 5.625 | 99903 | 561954.375 | 60 | 30.25 | 29.75 | 0.625 | 37.5 | 60 | 561954.375 | 0 | 0%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4.5% | 10.125 | 99903 | 1011517.875 | 40 | 60 | 0 | 0.25 | 5 | 5 | 126439.7344 | 885078.1406 | 87.5%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4.5% | 10.125 | 99903 | 1011517.875 | 40 | 20.75 | 19.25 | 0.54375 | 21.75 | 40 | 1011517.875 | 0 | 0%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 0% | 0 | 99903 | 0 | 40 | 0 | 40 | 0 | 0 | 40 | 0 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.375 | 99903 | 337172.625 | 20 | 0 | 20 | 0 | 0 | 20 | 337172.625 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.25 | 99903 | 224781.75 | 20 | 0 | 20 | 0 | 0 | 20 | 224781.75 | 0 | 100%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.45 | 99903 | 44956.35 | 20 | 11.5 | 8.5 | 0.75 | 15 | 20 | 44956.35 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.925 | 99903 | 292216.275 | 60 | 38 | 22 | 0.5 | 30 | 52 | 253254.105 | 38962.17 | 13.33%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 15.75 | 99903 | 1573472.25 | 30 | 11.7574 | 18.2426 | 0.73529 | 22.0588 | 30 | 1573472.25 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.75 | 99903 | 674345.25 | 20 | 6.3571 | 13.6429 | 0.67857 | 13.5714 | 20 | 674345.25 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.675 | 99903 | 67434.525 | 20 | 18.75 | 1.25 | 0.63258 | 12.6515 | 13.9015 | 46872.1036 | 20562.4214 | 30.49%
|  |  | SUBTOTAL SERVICES | 34.5% | 77.625 | 99903 | 7754970.375
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 99903
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 99903
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 99903
|  |  | E1090 - OTHER EQUIPMENT |  |  | 99903
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 99903
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 99903
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 99903
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 99903
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 99903
|  |  | G2020 - PARKING LOTS | 1% | 2.25 | 99903 | 224781.75 | 30 | 0 | 30 | 0.25 | 7.5 | 30 | 224781.75 | 0 | 0%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.125 | 99903 | 112390.875 | 30 | 0 | 30 | 0 | 0 | 30 | 112390.875 | 0 | 0%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.125 | 99903 | 112390.875 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 28097.7188 | 84293.1562 | 75%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.125 | 99903 | 112390.875 | 30 | 18.5 | 11.5 | 0.5 | 15 | 26.5 | 99278.6062 | 13112.2688 | 11.67%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 99903 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 99903
|  |  | REPLACEMENT COST PER SF |  | 225 | 99903 | 22478175 | [7 empty] | 9770996.4348 | 43.47%
100%
Note on J41: Tessier, Matthew: No Survey Data
Note on J42: Tessier, Matthew: No Survey Data
Note on J58: Tessier, Matthew: No Survey Data
Note on J59: Tessier, Matthew: No Survey Data

## Master File (Interior)
West Side NAF Academy
School Code: | 560
NPS Code: | 84
Street: | 75 Morton St.
City/Town: | Newark,
Database ID: | 81
Total size (gsf):
ROOM INFORMATION | [12 empty] | 57.3649 | Ave Condition | 0.58784 | [6 empty] | 18.5897 | Ave Condition | 0.3641 | [6 empty] | 6.9103 | Ave Condition | 0.50641 | [6 empty] | 27.8784 | Ave Condition | 0.52703 | [6 empty] | 20.1053 | Ave Condition | 0.50658 | [6 empty] | 56.3333 | Ave Condition | 0.58333 | [6 empty] | 21.5417 | Ave Condition | 0.58333 | [6 empty] | 25.7143 | Ave Condition | 0.5 | [5 empty] | 23.8333 | Ave Condition | 0.45833 | [5 empty] | 30 | Ave Condition | 0.5 | [6 empty] | 16.75 | Ave Condition | 0.625 | [6 empty] | 7.5 | Ave Condition | 0.75 | [6 empty] | 12.0147 | Ave Condition | 0.72059 | [5 empty] | 30 | Ave Condition | 0.51515 | [5 empty] | 30 | Ave Condition | 0.4875 | [5 empty] | 11.5 | Ave Condition | 0.6 | [5 empty] | 11.5 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 10 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [7 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [7 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
6580 | UN-73 | Storage | 4th Floor | A | General Classroom (Grades 9-12) |  |  | 164 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6581 | UN-74 | Teachers' Lounge | 4th Floor | A | Faculty Support |  |  | 152 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6582 | UN-75 | Faculty Water Closet | 4th Floor | A | Faculty Support |  |  | 23 | 9' 0" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
6583 | UN-76 | Girls' Water Closet | 4th Floor | A | Support |  |  | 300 | 12' 0" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 6 | [8 empty] | 6 | [7 empty] | 0
6584 | UN-77 | Storage | 4th Floor | A | General Classroom (Grades 9-12) |  |  | 138 | 12' 0"
6585 | UN-78 | Storage | Basement | A | Support |  |  | 2129 | 6' 9" | [9 empty] | Epoxy | [17 empty] | Plaster
6586 | UN-79 | Storage | Basement | A | Support |  |  | 523 | 6' 9" | [9 empty] | Unfinished | [17 empty] | Plaster
6587 | UN-80 | N/A | Basement | A | N/A |  |  | 1326 | N/A
6588 | UN-81 | Service | Basement | A | Support |  |  | 74 | 6' 9" | [9 empty] | Unfinished | [17 empty] | Plaster
6589 | UN-82 | Storage | Basement | A | Support |  |  | 955 | 6' 9" | [9 empty] | Epoxy | [17 empty] | Plaster
6590 | UN-83 | Water Closet | Basement | A | Faculty Support |  |  | 65 | 6' 9" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
6591 | UN-84 | N/A | Basement | A | N/A |  |  | 976 | N/A
6592 | UN-85 | N/A | Basement | A | N/A |  |  | 195 | N/A
6593 | UN-86 | N/A | Basement | A | N/A |  |  | 143 | N/A
6594 | UN-87 | Boiler Room | Basement | A | Support |  |  | 1843 | N/A | [9 empty] | Other (describe) | [7 empty] | Grate | [9 empty] | Plaster
6595 | UN-88 | Dressing Room | Basement | A | Assembly/Large Group (9-12) |  |  | 107 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6596 | UN-89 | Storage | Basement | A | Support |  |  | 887 | 12' 0" | [9 empty] | Epoxy | [17 empty] | Plaster
6597 | UN-90 | Custodial Office | Basement | B | Administration |  |  | 731 | 12' 0 | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Other (describe) | 20+ |  | 20 | Fair | 0.5 | 0 |  | Concrete | Other (describe) | 10+ |  | 10 | Poor | 0.25 | 0 |  | Clay | Plaster | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 0 | 5 | 2.5 | Very Good | 0.9 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Clay | [52 empty] | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 | 0 |  | Wall mounted Fluor | Toggle Wall Switches | 30+ | 30 | Good | 0.75 | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | Present | [7 empty] | 0 | [7 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [98 empty] | 0 | Present
6598 | UN-91 | Custodial Closet | Basement | A | Small Group Instruction |  |  | 11 | 12' 0" | [9 empty] | Unfinished | [17 empty] | Plaster
6599 | UN-92 | N/A | Basement | A | N/A |  |  | 731 | N/A
6600 | UN-93 | Faculty Lounge | Basement | B | Faculty Support |  |  | 703 | 10' 1 | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Fair | 0.5 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Acoustical Panel | 41136 |  | 11.5 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Poor | 0.25 |  |  | Plaster on masonry | [52 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Good | 0.75 | [26 empty] | Present - Present | [133 empty] | Present - Present
6601 | UN-94 | N/A | Basement | A | N/A |  |  | 86 | N/A
6602 | UN-95 | Storage | Basement | A | Faculty Support |  |  | 86 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6603 | UN-96 | Cafeteria / Kitchen | Basement | B | Food Services (9-12) |  |  | 2218 | 11' 0 | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Acoustical Panel | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | Stainless Steel Sinks | 41136 |  | 11.5 | Fair | 0.5 | 4 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | [11 empty] | Dry Chemical | 41136 | 11.5 | Good | 0.75 |  |  | Ansil system | [7 empty] | Present - Present - Present | [133 empty] | Present - Present - Present | [26 empty] | Present
6604 | UN-97 | N/A | Basement | A | N/A |  |  | 107 | N/A
6605 | UN-98 | Auditorium | Basement | B | Assembly/Large Group (9-12) |  |  | 4343 | 32' 0 | [9 empty] | Carpet | 41228 |  | 13 | Poor | 0.25 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 41070 |  | 8 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on Masonry | [52 empty] | Other (describe) | 30+ |  | 30 | Good | 0.75 |  |  | Decorative Chandeliers | [8 empty] | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | [26 empty] | Present | [133 empty] | Present
6606 | 101 | Classroom (History) | 1st Floor | A | General Classroom (Grades 9-12) |  |  | 872 | 12' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6633 | 102 | Biology Lab | 1st Floor | A | Science (6-12) |  |  | 610 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6634 | 103 | Biology Lab | 1st Floor | B | Science (6-12) |  |  | 715 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 41228 |  | 13 | Good | 0.75 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 41136 | 11.5 | Good | 0.75 | [18 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present
6635 | 104 | Teachers\' Lounge | 1st Floor | B | Faculty Support |  |  | 741 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 16 | 20 | 18 | Fair | 0.5 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 41228 |  | 13 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 | 11.5 | Fair | 0.5 | [18 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present
6636 | 105 | Late Room | 1st Floor | A | Small Group Instruction |  |  | 749 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6637 | 106 | Music Room | 1st Floor | B | Visual & Performing Arts |  |  | 749 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [26 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present
6638 | 107 | Community Parent Room | 1st Floor | A | Small Group Instruction |  |  | 722 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6639 | 108A | Guidance | 1st Floor | A | Administration |  |  | 375 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6640 | 108B | Nurse | 1st Floor | B | Health Services |  |  | 334 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Poor | 0.25 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 | 0 |  | Plaster on masonry | Wall-Mounted Lavatories | 0 | 7 | 3.5 | Good | 0.75 | [46 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 41136 | 11.5 | Fair | 0.5 | [17 empty] | 0 | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [107 empty] | 0 | Present - Present - Present - Present
6641 | 109 | Guidance | 1st Floor | A | Administration |  |  | 744 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
6642 | 110 | Environmental Science | 1st Floor | A | Science (6-12) |  |  | 870 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 16 | 20 | 18 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Poor | 0.25 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Wood | Wood/Wood Frame | 16 | 20 | 18 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Isolated crack | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | 1 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [25 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present - Present - Present - Present - Present | Falling off wall
6643 | 112 | CST & Attendance Office | 1st Floor | A | Administration |  |  | 824 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Wood | Wood/Wood Frame | 41228 |  | 13 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 | 11.5 | Fair | 0.5 | [18 empty] | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present
6644 | UN-1 | N/A | 1st Floor | A | N/A |  |  | 47 | N/A
6645 | UN-2 | Water Closet | 1st Floor | A | Small Group Instruction |  |  | 47 | 12' 0 | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 2 | [8 empty] | 2 | [7 empty] | 0
6646 | UN-3 | Water Closet | 1st Floor | A | Health Services |  |  | 72 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [32 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
6647 | UN-4 | Exam Room | 1st Floor | A | Health Services |  |  | 73 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6648 | UN-5 | N/A | 1st Floor | A | N/A |  |  | 145 | N/A
6649 | UN-6 | Boys\' Water Closet | 1st Floor | B | Support |  |  | 247 | 9' 0" | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Good | 0.75 |  |  | Ceramic tile wainscot | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on masonry | Wall-Mounted Lavatories | 30+ |  | 30 | Good | 0.75 | 4 |  |  | Wall Hung Flush Valve | 30+ |  | 30 | Good | 0.75 | 6 |  |  | Floor Unit | 30+ | 30 | Fair | 0.5 | 5 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Very Poor | 0.1 | [26 empty] | Present - Present - Present - Present - Present - Present - Present
6650 | UN-7 | Custodial Closet | 1st Floor | A | Support |  |  | 11 | 12' 0" | [9 empty] | Unfinished | [17 empty] | Plaster
6651 | UN-8 | N/A | 1st Floor | A | N/A |  |  | 117 | N/A
6652 | UN-9 | N/A | 1st Floor | A | N/A |  |  | 85 | N/A
6653 | UN-10 | Main Office | 1st Floor | A | Administration |  |  | 424 | 11' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Fair | 0.5 |  |  |  | Painted Walls | 41100 |  | 8.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [26 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present - Present | Head end paging system
6654 | UN-12 | Office | 1st Floor | A | Administration |  |  | 124 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
6655 | UN-13 | Storage | 1st Floor | A | Administration |  |  | 57 | 12' 0 | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
6656 | UN-14 | Principal's Office | 1st Floor | A | Administration |  |  | 181 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
6657 | UN-15 | Storage | 1st Floor | A | Administration |  |  | 88 | 12' 0 | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
6658 | UN-16 | N/A | 1st Floor | A | N/A |  |  | 26 | N/A
6659 | UN-17 | Storage | 1st Floor | A | Support |  |  | 107 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6660 | UN-18 | Vice Principal's Office | 1st Floor | A | Administration |  |  | 297 | 11' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
6661 | UN-19 | Storage | 1st Floor | A | Administration |  |  | 99 | 11' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
6662 | UN-20 | Office | 1st Floor | A | Administration |  |  | 90 | 12' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6663 | UN-21 | N/A | 1st Floor | A | N/A |  |  | 84 | N/A
6664 | UN-22 | Storage | 1st Floor | A | Science (6-12) |  |  | 156 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6665 | UN-23 | Security | 1st Floor | A | Support |  |  | 107 | N/A
6666 | UN-24 | N/A | 1st Floor | A | N/A |  |  | 26 | N/A
6667 | UN-25 | Girls' Water Closet | 1st Floor | A | Support |  |  | 300 | 12' 0" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 6 | [8 empty] | 6 | [7 empty] | 0
6668 | UN-26 | N/A | 1st Floor | A | N/A |  |  | 152 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6669 | UN-27 | Faculty Water Closet | 1st Floor | A | Faculty Support |  |  | 23 | 9' 0" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
6670 | UN-28 | Storage | 1st Floor | A | Science (6-12) |  |  | 164 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6671 | UN-29 | N/A | 1st Floor | A | N/A |  |  | 44 | N/A
6672 | UN-30 | Water Closet | 1st Floor | B | Faculty Support |  |  | 44 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 16 | 20 | 18 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Poor | 0.25 |  |  | Plaster on masonry | Wall-Mounted Lavatories | 16 | 21 | 18.5 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Tank | 16 | 21 | 18.5 | Good | 0.75 | 2 | [7 empty] | 0 | [28 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [34 empty] | Present - Present - Present - Present - Present - Present - Present
6673 | UN-31 | Balcony | 1st Floor | A | Assembly/Large Group (9-12) |  |  | 794 | 13' 0" | [9 empty] | Carpet | [17 empty] | Plaster
6674 | 201 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 870 | 12' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6675 | 202 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 643 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Poor | 0.25 | 0 |  | Wood | Wood/Wood Frame | 16 | 20 | 18 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [25 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present
6676 | 203 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 715 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6677 | 204 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 707 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6678 | 205 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 807 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6679 | 205A | Vice Principals' Office | 2nd Floor | A | Administration |  |  | 308 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6680 | 206 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 861 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6681 | 207 | Classroom (Math) | 2nd Floor | B | General Classroom (Grades 9-12) |  |  | 719 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 16 | 20 | 18 | Good | 0.75 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [25 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present - Present
6682 | 208 | Classroom (English) | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 744 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6683 | 209 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 744 | 12' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6684 | 210 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 870 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
6685 | 211 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 874 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 | 0 |  |  | Wood | 41228 |  | 13 | Poor | 0.25 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Wood | Wood/Wood Frame | 16 | 20 | 18 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on Masonry - Isolated crack | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [24 empty] | 0 | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [107 empty] | 0 | Present - Present - Present
6686 | 212 | Classroom | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 876 | 12' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6687 | 212A | Security | 2nd Floor | A | Administration |  |  | 188 | 10' 1" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6688 | UN-32 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 110 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6689 | UN-33 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 197 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6690 | UN-34 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 164 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6691 | UN-35 | Teachers' Lounge | 2nd Floor | A | Faculty Support |  |  | 152 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
6692 | UN-36 | Faculty Water Closet | 2nd Floor | A | Faculty Support |  |  | 23 | 9' 0" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 1 | [8 empty] | 1 | [7 empty] | 0
6693 | UN-37 | Girls' Water Closet | 2nd Floor | A | Support |  |  | 300 | 9' 0" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 6 | [8 empty] | 6 | [7 empty] | 0
6694 | UN-38 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 123 | 12' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6695 | UN-39 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 85 | 12' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6696 | UN-40 | Storage | 2nd Floor | A | Administration |  |  | 99 | 10' 1 | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6697 | UN-41 | Storage | 2nd Floor | A | Administration |  |  | 99 | 10' 1 | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6698 | UN-42 | Book Room | 2nd Floor | A | Support |  |  | 281 | N/A
6699 | UN-43 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 85 | 12' 0" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
6700 | UN-44 | Storage | 2nd Floor | A | General Classroom (Grades 9-12) |  |  | 117 | 12' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6701 | UN-45 | Custodial Closet | 2nd Floor | A | Support |  |  | 11 | 12' 0" | [9 empty] | Unfinished | [17 empty] | Plaster
6702 | UN-46 | N/A | 2nd Floor | A | N/A |  |  | 247 | N/A
6703 | UN-47 | Boys' Water Closet | 2nd Floor | A | Support |  |  | 240 | 9' 0" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 4 | [8 empty] | 6 | [7 empty] | 5
6704 | 301 | Media Center | 3rd Floor | A | Media Center |  |  | 801 | 11' 0 | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 | 0 |  |  | Carpet | 20+ |  | 20 | Very Poor | 0.1 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Wood | Wood/Wood Frame | 20+ |  | 20 | Very Poor | 0.1 | 0 |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 | 0 |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [25 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present
6705 | 302 | Classroom | 3rd Floor | A | General Classroom (Grades 9-12) |  |  | 783 | 12' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6706 | 303 | Classroom | 3rd Floor | B | General Classroom (Grades 9-12) |  |  | 715 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  | Isolated damage | Wood/Wood Frame | 16 | 20 | 18 | Good | 0.75 | 0 |  |  | Other (describe) | 60+ |  | 60 | Poor | 0.25 | 0 |  | Damage at door frame entry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [25 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present - Present
6707 | 304 | Classroom | 3rd Floor | A | General Classroom (Grades 9-12) |  |  | 707 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6708 | 305 | Classroom | 3rd Floor | A | General Classroom (Grades 9-12) |  |  | 807 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6709 | 305A | Office | 3rd Floor | B | Administration |  |  | 312 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 16 | 20 | 18 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [26 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present
6710 | 306 | Classroom (Business Finance) | 3rd Floor | B | General Classroom (Grades 9-12) |  |  | 861 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 16 | 20 | 18 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 | 0 |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [25 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present - Present - Present - Present
6711 | 307 | Classroom | 3rd Floor | A | General Classroom (Grades 9-12) |  |  | 719 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6712 | 308 | Computer Lab | 3rd Floor | A | Technological Literacy |  |  | 744 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6713 | 308A | Guidance Office | 3rd Floor | B | Administration |  |  | 247 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Sheet Vinyl | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [26 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present
6714 | 310 | Gym | 3rd Floor | A | Phys. Ed. (Gym + Storage) |  |  | 3211 | 26' 5" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Unfinished Ceiling | 30+ |  | 30 | Fair | 0.5 |  |  | Wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [52 empty] | Fluorescent Linear Surface Mount Fixture | 16 | 21 | 18.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [26 empty] | Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present
6715 | UN-48 | Storage | 3rd Floor | A | General Classroom (Grades 9-12) |  |  | 110 | N/A
6716 | UN-49 | Boys' Water Closet | 3rd Floor | A | Support |  |  | 240 | 9' 4" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 4 | [8 empty] | 6 | [7 empty] | 5
6717 | UN-50 | Custodial Closet | 3rd Floor | A | Support |  |  | 11 | 12' 0" | [9 empty] | Unfinished | [17 empty] | Plaster
6718 | UN-51 | Data Room | 3rd Floor | A | Technological Literacy |  |  | 117 | N/A
6719 | UN-52 | Computer Lab | 3rd Floor | A | Technological Literacy |  |  | 729 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 41228 |  | 13 | Poor | 0.25 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 | 0 |  | Wood | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Conduits penetration not fire sealed | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [25 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present - Present - Present - Present - Present - Present - Present
6720 | UN-53 | Locker Room | 3rd Floor | A | Phys. Ed. (Gym + Storage) |  |  | 160 | 11' 0" | [9 empty] | Epoxy | [17 empty] | Unfinished Ceiling
6721 | UN-54 | Storage | 3rd Floor | A | Phys. Ed. (Gym + Storage) |  |  | 229 | 11' 0" | [9 empty] | Epoxy | [17 empty] | Unfinished Ceiling
6722 | UN-55 | Locker Room | 3rd Floor | A | Phys. Ed. (Gym + Storage) |  |  | 353 | 11' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Other (describe) | 20+ |  | 20 | Fair | 0.5 |  |  | Painted concrete | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Wood | Wood/Wood Frame | 16 | 20 | 18 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [52 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 |  |  | Ceiling mounted radiant pipes | [23 empty] | Present - Present - Present - Present - Present - Present - Present
6723 | UN-56 | Storage | 3rd Floor | A | Phys. Ed. (Gym + Storage) |  |  | 207 | 11' 0" | [9 empty] | Epoxy | [17 empty] | Unfinished Ceiling
6724 | UN-57 | Office | 3rd Floor | A | Phys. Ed. (Gym + Storage) |  |  | 188 | 9' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [26 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present - Present
6725 | UN-58 | Office | 3rd Floor | A | Phys. Ed. (Gym + Storage) |  |  | 99 | 9' 0" | [9 empty] | Wood | [17 empty] | Plaster
6726 | UN-59 | Storage | 3rd Floor | A | Phys. Ed. (Gym + Storage) |  |  | 99 | 9' 0" | [9 empty] | Wood | [17 empty] | Plaster
6727 | UN-60 | Storage | 3rd Floor | A | Media Center |  |  | 138 | N/A
6728 | UN-61 | Girls\' Water Closet | 3rd Floor | B | Support |  |  | 300 | 9' 0 | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 41004 |  | 4.5 | Good | 0.75 |  |  | Ceramic tile wainscot | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on masonry | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 6 |  |  | Wall Hung Flush Valve | 30+ |  | 30 | Fair | 0.5 | 6 | [7 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [26 empty] | Present - Present - Present - Present - Present - Present - Present
6729 | UN-62 | Teachers\' Lounge | 3rd Floor | B | Faculty Support |  |  | 152 | 12' 0 | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 16 | 20 | 18 | Poor | 0.25 |  |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [26 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present - Present
6730 | UN-63 | Faculty Water Closet | 3rd Floor | B | Faculty Support |  |  | 23 | 9' 0 | [9 empty] | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 |  |  | Ceramic tile wainscot | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  | Hole in ceiling | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on masonry | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Fair | 0.5 | 1 | [7 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 |  |  | Toilet exhaust grill | [23 empty] | Present - Present - Present - Present - Present - Present - Present
6731 | UN-64 | Storage | 3rd Floor | A | General Classroom (Grades 9-12) |  |  | 164 | 12' 0" | [9 empty] | Wood | [17 empty] | Unfinished Ceiling
6732 | UN-65 | Storage | 3rd Floor | A | General Classroom (Grades 9-12) |  |  | 197 | N/A
6733 | 401 | Classroom | 4th Floor | B | General Classroom (Grades 9-12) |  |  | 801 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 16 | 20 | 18 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 | 0 |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 41136 | 11.5 | Good | 0.75 | [18 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present
6734 | 402 | Diploma Plus Main Office | 4th Floor | B | Administration |  |  | 783 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 16 | 20 | 18 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [26 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present
6735 | 403 | Classroom | 4th Floor | A | General Classroom (Grades 9-12) |  |  | 715 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6736 | 404 | Classroom | 4th Floor | B | General Classroom (Grades 9-12) |  |  | 707 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 16 | 20 | 18 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 | 0 |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [25 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present - Present - Present
6737 | 405 | Classroom | 4th Floor | A | General Classroom (Grades 9-12) |  |  | 807 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6738 | 405A | Office | 4th Floor | A | Administration |  |  | 312 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6739 | 406 | Classroom | 4th Floor | B | General Classroom (Grades 9-12) |  |  | 861 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 16 | 20 | 18 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 | 0 |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [25 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present - Present - Present - Present
6740 | 407 | Classroom (Math) | 4th Floor | A | General Classroom (Grades 9-12) |  |  | 719 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6741 | 408 | Classroom | 4th Floor | A | General Classroom (Grades 9-12) |  |  | 744 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6742 | 409 | Computer Lab | 4th Floor | B | Technological Literacy |  |  | 729 | 12' 0" | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  | Water damage | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 | 0 |  | Water damage | Wood/Wood Frame | 16 | 20 | 18 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on masonry | [52 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  | Several not working | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [25 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [108 empty] | Present - Present - Present - Present - Present
6743 | 410 | Science Lab | 4th Floor | B | Science (6-12) |  |  | 859 | 11' 0" | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 16 | 20 | 18 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 | 0 |  | Plaster on masonry | In-Counter Lavatories | 41136 |  | 11.5 | Poor | 0.25 | 1 |  | Not connected | [43 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Good | 0.75 | 0 | [25 empty] | Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [45 empty] | Present | [17 empty] | Present | [8 empty] | Present | [8 empty] | Present | [26 empty] | Present - Present - Present - Present - Present - Present
6744 | UN-66 | Storage | 4th Floor | A | Science (6-12) |  |  | 147 | N/A | [27 empty] | Acoustical Panel
6745 | UN-67 | Storage | 4th Floor | A | Technological Literacy |  |  | 117 | 12' 0 | [9 empty] | Wood | [17 empty] | Plaster
6746 | UN-68 | Custodial Closet | 4th Floor | A | Support |  |  | 11 | 12' 0" | [9 empty] | Unfinished | [17 empty] | Plaster
6747 | UN-69 | N/A | 4th Floor | A | Faculty Support |  |  | 247 | 12' 0" | [9 empty] | Epoxy | [17 empty] | Plaster
6748 | UN-70 | Boys' Water Closet | 4th Floor | A | Support |  |  | 240 | 12' 0" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [32 empty] | 4 | [8 empty] | 6 | [7 empty] | 5
6749 | UN-71 | Storage | 4th Floor | A | General Classroom (Grades 9-12) |  |  | 110 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
6750 | UN-72 | Storage | 4th Floor | A | General Classroom (Grades 9-12) |  |  | 197 | 12' 0" | [9 empty] | Wood | [17 empty] | Plaster
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
52 | A | @ 105 (late room) | Basement | [6 empty] | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Solid Terrazzo | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  | Needs repainting | [9 empty] | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on masonry | [9 empty] | Incandescent Pendant Mount Fixture | 30+ |  | 30 | Poor | 0.25 |  |  | Fluorescent wall mounted linear at walls - good condition 8-15 yrs | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [19 empty] | Present
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
161 | A |  | Ground floor | [6 empty] | Wood | 0 | 5 | 2.5 | Fair | 0.5 | 0 |  | Half Painted wood Half painted concrete | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  | W/ half plaster | [6 empty] | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on clay tile | Wall Mounted Stainless Steel Drinking Fountains | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Half height | Fluorescent Linear Surface Mount Fixture | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 | 0 |  | Water base | [6 empty] | 0 | Present | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | Present | Strobes
162 | B |  | 2nd floor | [6 empty] | Other (describe) | 20+ |  | 20 | Fair | 0.5 |  |  | Half painted concrete half painted wood | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  | Half decorative metal, paint in poor condition | [9 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on clay tile | Wall Mounted Stainless Steel Drinking Fountains | 16 | 21 | 18.5 | Good | 0.75 |  |  |  | Other (describe) | 0 | 15 | 7.5 | Good | 0.75 |  |  | Half height | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Poor | 0.25 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water type | [7 empty] | Present | [16 empty] | Present | Camera | [6 empty] | Present | Strobes
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
157 | A |  | 1st floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Reinforced Concrete | 30+ |  | 30 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Painted Wood | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Painted Wood, Painted Concrete (3rd-4th floor) | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Painted Wood, Painted Concrete (3rd-4th floor) | Labeled Metal/Metal Frames | 16 | 20 | 18 | Good | 0.75 | [12 empty] | Fluorescent Pendant Mount Fixture | 41136 | 11.5 | Poor | 0.25 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present | [15 empty] | Present | Camera
158 | B |  | 4th floor | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  | With glazed brick wainscot, water damage at roof bulk head | Steel Pan | 30+ |  | 30 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Other (describe) | 41136 |  | 11.5 | Good | 0.75 |  |  | Exposed landing structure | Exposed Concrete | 30+ |  | 30 | Fair | 0.5 |  |  | Painted | Exposed Concrete | 30+ |  | 30 | Fair | 0.5 |  |  | Painted | Labeled Metal/Metal Frames | 41070 |  | 8 | Good | 0.75 | [12 empty] | Fluorescent Pendant Mount Fixture | 41136 | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present | [15 empty] | Present | Camera
EXTERIORs INFORMATION

## Master File (Systems)
Systems | Question | Value1 |  | Average1 | Exterior | Question | Value1 | Average1
Systems | Seg ID | 1461 |  |  | InfoTech | Seg ID | 463
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1898 |  |  |  | Year Built | 1898
Domestic Water Heaters | Location | UN87 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  |  | Description
| Age | 0 | 7 | 3.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Sanitary Drainage | Location | Roof |  |  | Main Dist. Facility (MDF) | Location
| Description | Other (describe) |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Vent pipe |  |  |  | Notes
Building Support (other) Plumbing Systems | Location | Roof |  |  | MDF, HVAC Terminal Units | Location
| Description | Stormwater Area Drains |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Piping | Location | UN87 |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location | UN/10
| Description |  |  |  |  | Description | Wall mounted
| Age |  |  |  |  | Age | 41004 | 4.5
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  |  | Description | Other (describe)
| Age |  |  |  |  | Age | 41136 | 11.5
| Condition |  |  |  |  | Condition | Fair | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Fail coil unit
Fuel Fired Boilers | Location | UN87 |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas/Fired Boilers |  |  |  | Description
| Age | 46 | 60 | 53 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Steam |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location | UN51
| Description |  |  |  |  | Description | Wall mounted
| Age |  |  |  |  | Age | 41004 | 4.5
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location | UN66
| Description |  |  |  |  | Description | Floor
| Age |  |  |  |  | Age | 41004 | 4.5
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location | UN77
| Description |  |  |  |  | Description | Floor
| Age |  |  |  |  | Age | 41004 | 4.5
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location | UN87 |  |  | IDF #4, HVAC Terminal Units | Location
| Description | Other (describe) |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Sump pump |  |  |  | Notes
Steam Piping System | Location | UN87 |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Single/Pipe |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location |  |  |  | Inter. Data Facility (IDF #5) | Location | UN26
| Description |  |  |  |  | Description | Floor
| Age |  |  |  |  | Age | 41004 | 4.5
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location |  |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Fans | Location |  |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location | UN89
| Description | Gas Engine Generators
| Age | 0 | 15 | 7.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | UN89
| Description | D5010 120
| Age | 31 | 45 | 38
| Condition | Fair |  | 0.5
CheckBox
Quantity
| Voltage | 12208 volt
Power Output
Elec Power
Notes
Voice Communication Terminal Equipment | Location | UN81
| Description | PDX/Key Systems
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | UN10
| Description | Public Address and Mass Notification Systems
| Age | 41233 |  | 10.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | UN23
| Description | Digital Video Recorders
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | UN89
| Description | Fire Alarm Annunciation Panels
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Value2 |  | Average2 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 1805 |  |  | 1819 |  |  | SiteElements | Seg ID | 410
| Bldg.Phase | A |  |  | B |  |  |  | Bldg.Phase | A
| Original | 1 |  |  | 0 |  |  |  | Original | 1
| Addition | 0 |  |  | 1 |  |  |  | Addition | 0
| Year Built | 1898 |  |  | 1910 |  |  |  | Year Built | 1898
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typical |  |  | Typical |  |  | Roadways | Location | Typical
| Description | Brick, Solid (Mass) |  |  | Brick, Solid (Mass) |  |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | With one concrete wall | [6 empty] | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location | [6 empty] | Parking Lots | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Standard Slabs On Grade, Primary | Location | Typical |  |  | Typical |  |  | Pedestrian Plazas and Walkways, Primary | Location
| Description | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  |  |  | Description
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age
| Condition | Good |  | 0.75 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Standard Slabs On Grade, Secondary | Location | [6 empty] | Pedestrian Plazas and Walkways, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Floor Construction, Primary | Location | Typical |  |  | Typical |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Other (describe) |  |  | Concrete, CIP Beams and Slab |  |  |  | Description
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Concrete with clay tile infill | [6 empty] | Notes
Floor Construction, Secondary | Location | [6 empty] | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Roof Construction, Structural Frame, Primary | Location |  |  |  | Typical |  |  | Site Lighting, Primary | Location | Typical
| Description |  |  |  | Concrete, CIP |  |  |  | Description | Pole Mounted H.I.D.
| Age |  |  |  | 60+ |  | 60 |  | Age | 41136 |  | 11.5
| Condition |  |  |  | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Roof Construction, Structural Frame, Secondary | Location | [6 empty] | Site Lighting, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Walls / Exterior Assembly, Primary | Location | Typical |  |  | Typical |  |  | Playground Surface | Location | Typical
| Description | Brick Veneer w/ Steel Stud |  |  | Brick Veneer w/ Steel Stud |  |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes |  |  |  | Cement plaster base |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location | [6 empty] | Playground Equipment | Location
| Description | [7 empty] | Description | B/Ball Backstops
| Age | [7 empty] | Age | 16 | 21 | 18.5
| Condition | [7 empty] | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Windows, Primary | Location | Typical / Inner |  |  | Typical / Inner |  |  | TCUs | Location
| Description | Aluminum, Double Hung |  |  | Aluminum, Double Hung |  |  |  | Description
| Age | 0 | 7 | 3.5 | 0 | 7 | 3.5 |  | Age
| Condition | Good |  | 0.75 | Good |  | 0.75 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated) |  |  | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location | Typical / Peripheral |  |  | Typical / Peripheral
| Description | Aluminum, Double Hung |  |  | Aluminum, Double Hung
| Age | 30+ |  | 30 | 30+ |  | 30
| Condition | Poor |  | 0.25 | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | 2 windows
Exterior Windows, Secondary / Glazing | Location
| Description | Glass, Double Pane (Insulated) |  |  | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles |  |  | Security Grilles
Quantity
Voltage
Power Output
Elec Power
| Notes | Security grilles at ground floor |  |  | Security grilles at ground floor
Exterior Doors, Primary | Location | Typical |  |  | Typical
| Description | Fiber Reinforced Panel (FRP) |  |  | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5 | 0 | 15 | 7.5
| Condition | Good |  | 0.75 | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location |  |  |  | Typical
| Description |  |  |  | Asphalt, Modified Bitumen
| Age |  |  |  | 0 | 7 | 3.5
| Condition |  |  |  | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | Mineral surface cap sheet
Roofing, Secondary | Location |  |  |  | Auditorium
| Description |  |  |  | Metal, Seam
| Age |  |  |  | 0 | 7 | 3.5
| Condition |  |  |  | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location |  |  |  | Typical
| Description |  |  |  | Metal, Galvanized/Painted
| Age |  |  |  | 0 | 7 | 3.5
| Condition |  |  |  | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location |  |  |  | Typical
| Description |  |  |  | Other (describe)
| Age |  |  |  | 30+ |  | 30
| Condition |  |  |  | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  |  | Cast iron roof drains with secondary scupper
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes