## FCI Summary
Building Name: | New Jersey Regional | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 21714
Number of Floors: | 1
School Age (years): | 29
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 8.651%
Facility Condition = | GOOD
FCI Deficiency Cost = | 387451.8169
FCI Replacement Cost = | 4478512.5
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 120
Historic 2005 LRFP Capacity = | 97
Adjusted 2012 Capacity = | 119
Recent Occupancy % = | 100.8%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 99.68%
Classroom Adequacy = | VERY GOOD
Special Spaces Adequacy % Score = | 31.2%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | New Jersey Regional | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 21714
Largest Floor Level Area: |  | 21714
Vertical FAR Ratio: |  | 1
School Age (years): |  | 29
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 5.5% | 11.3438 | 21714 | 246318.1875 | 100 | 29 | 71 | 0.5 | 50 | 100 | 246318.1875 | 0 | 0%
|  |  | A1030 - SLAB ON GRADE | 4% | 8.25 | 21714 | 179140.5 | 100 | 29 | 71 | 0.75 | 75 | 100 | 179140.5 | 0 | 0%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 0% | 0 | 21714 | 0 | 100 | 29 | 71 | 0.75 | 75 | 100 | 0 | 0 | 0%
|  |  | SUBTOTAL SUBSTRUCTURE | 9.5% | 19.5938 | 21714 | 425458.6875
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 21714 | 492636.375 | 100 | 29 | 71 | 0.5 | 50 | 100 | 492636.375 | 0 | 0%
|  |  | B1020 - ROOF CONSTRUCTION | 4.7% | 9.6937 | 21714 | 210490.0875 | 100 | 29 | 71 | 0.75 | 75 | 100 | 210490.0875 | 0 | 0%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 6% | 12.375 | 21714 | 268710.75 | 100 | 29 | 71 | 0.74342 | 74.3421 | 100 | 268710.75 | 0 | 0%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 3.3% | 6.8063 | 21714 | 147790.9125 | 30 | 16.75 | 13.25 | 0.1 | 3 | 16.25 | 80053.4109 | 67737.5016 | 45.83%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 4% | 8.25 | 21714 | 179140.5 | 30 | 26 | 4 | 0.66667 | 20 | 24 | 143312.4 | 35828.1 | 20%
|  |  | SUBTOTAL SHELL | 29% | 59.8125 | 21714 | 1298768.625
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 21714 | 179140.5 | 60 | 23.1034 | 36.8966 | 0.74138 | 44.4828 | 60 | 179140.5 | 0 | 0%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 21714 | 67177.6875 | 20 | 20.2069 | 0 | 0.69828 | 5 | 5 | 16794.4219 | 50383.2656 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 21714 | 179140.5 | 20 | 7.5 | 12.5 | 0.75 | 15 | 20 | 179140.5 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 21714 | 67177.6875 | 30 | 29 | 1 | 0.5 | 15 | 16 | 35828.1 | 31349.5875 | 46.67%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 2.5% | 5.1562 | 21714 | 111962.8125 | 10 | 6.6667 | 3.3333 | 0.66379 | 6.6379 | 9.9713 | 111641.0803 | 321.7322 | 0.2874%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 21714 | 268710.75 | 20 | 18.1167 | 1.8833 | 0.705 | 14.1 | 15.9833 | 214744.6744 | 53966.0756 | 20.08%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 21714 | 268710.75 | 30 | 24.7833 | 5.2167 | 0.68833 | 20.65 | 25.8667 | 231688.38 | 37022.37 | 13.78%
|  |  | SUBTOTAL INTERIORS | 25.5% | 52.5938 | 21714 | 1142020.6875
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0% | 0 | 21714 | 0 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 0 | 0%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 21714 | 67177.6875 | 60 | 18.9583 | 41.0417 | 0.6925 | 41.55 | 60 | 67177.6875 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 21714 | 58220.6625 | 60 | 11.5 | 48.5 | 0.75 | 45 | 60 | 58220.6625 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 21714 | 53742.15 | 60 | 23 | 37 | 0.75 | 45 | 60 | 53742.15 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 21714 | 22392.5625 | 30 | 23 | 7 | 0.75 | 22.5 | 29.5 | 22019.3531 | 373.2094 | 1.667%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 21714 | 120919.8375 | 60 | 0 | 60 | 0.1 | 6 | 60 | 120919.8375 | 0 | 0%
|  |  | D3020 - BOILERS | 2% | 4.125 | 21714 | 89570.25 | 60 | 0 | 60 | 0.1 | 6 | 60 | 89570.25 | 0 | 0%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 21714 | 179140.5 | 40 | 19.6667 | 20.3333 | 0.58333 | 23.3333 | 40 | 179140.5 | 0 | 0%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 21714 | 179140.5 | 40 | 14.75 | 25.25 | 0.74519 | 29.8077 | 40 | 179140.5 | 0 | 0%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 21714 | 89570.25 | 40 | 0 | 40 | 0 | 0 | 40 | 89570.25 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 21714 | 67177.6875 | 20 | 23 | 0 | 0.75 | 5 | 5 | 16794.4219 | 50383.2656 | 75%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 21714 | 44785.125 | 20 | 23 | 0 | 0.75 | 5 | 5 | 11196.2812 | 33588.8438 | 75%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 21714 | 8957.025 | 20 | 4.6429 | 15.3571 | 0.75 | 15 | 20 | 8957.025 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 21714 | 58220.6625 | 60 | 23 | 37 | 0.75 | 45 | 60 | 58220.6625 | 0 | 0%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 21714 | 313495.875 | 30 | 12.8654 | 17.1346 | 0.71154 | 21.3462 | 30 | 313495.875 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 21714 | 134355.375 | 20 | 9.2556 | 10.7444 | 0.74074 | 14.8148 | 20 | 134355.375 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 21714 | 13435.5375 | 20 | 26 | 0 | 0.73077 | 5 | 5 | 3358.8844 | 10076.6531 | 75%
|  |  | SUBTOTAL SERVICES | 33.5% | 69.0938 | 21714 | 1500301.6875
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 21714
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 21714
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 21714
|  |  | E1090 - OTHER EQUIPMENT |  |  | 21714
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 21714
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 21714
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 21714
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 21714
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 21714
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 21714 | 44785.125 | 30 | 26 | 4 | 0.5 | 15 | 19 | 28363.9125 | 16421.2125 | 36.67%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 21714 | 22392.5625 | 30 | 3.5 | 26.5 | 0.75 | 22.5 | 30 | 22392.5625 | 0 | 0%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 21714 | 22392.5625 | 30 | 3.5 | 26.5 | 0.75 | 22.5 | 30 | 22392.5625 | 0 | 0%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 21714 | 22392.5625 | 30 | 3.5 | 26.5 | 0.75 | 22.5 | 30 | 22392.5625 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 21714 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 21714
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 21714 | 4478512.5 | [7 empty] | 387451.8169 | 8.651%
100%
Note on J36: Tessier, Matthew: No Survey Data
Note on J37: Tessier, Matthew: No Survey Data

## Master File (Interior)
N.J. Regional Day
School Code:
NPS Code: | 600
Street: | 334 Lyons Ave.
City/Town: | Newark, NJ 07114
Database ID: | 73
Total size (gsf): | 21714
ROOM INFORMATION | [12 empty] | 22.6842 | Ave Condition | 0.73684 | [6 empty] | 18.1167 | Ave Condition | 0.705 | [6 empty] | 6.6667 | Ave Condition | 0.66379 | [6 empty] | 24.7833 | Ave Condition | 0.68833 | [6 empty] | 20.2069 | Ave Condition | 0.69828 | [6 empty] | 23.1034 | Ave Condition | 0.74138 | [6 empty] | 20.5417 | Ave Condition | 0.70833 | [6 empty] | 18.75 | Ave Condition | 0.775 | [6 empty] | 26 | Ave Condition | 0.5625 | [6 empty] | 26 | Ave Condition | 0.66667 | [6 empty] | 3.5 | Ave Condition | 0.75 | [6 empty] | 7.5 | Ave Condition | 0.75 | [6 empty] | 12.8654 | Ave Condition | 0.71154 | [6 empty] | 26 | Ave Condition | 0.73077 | [6 empty] | 26 | Ave Condition | 0.74038 | [6 empty] | 3.5 | Ave Condition | 0.75 | [6 empty] | 4.6429 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [6 empty] | 1.5 | Ave Condition | 0.9 | [5 empty] | Average Age | 9.8 | Ave Condition | 0.51667 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [8 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
11935 | 1 | Classroom | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 749 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11936 | 2 | Classroom | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 700 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11937 | 3 | Classroom | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 703 | 9' 8" | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Ceiling mounted diffusers | [25 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 3 | [72 empty] | Present - Present - Present - Present - Present - Present - Present
11938 | 4 | Classroom | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 776 | 9' 8" | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Ceiling mounted diffusers | [9 empty] | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 3 | [72 empty] | Present - Present - Present - Present - Present - Present - Present
11939 | 5 | Classroom | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 673 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11940 | 6 | Classroom | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 702 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11941 | 7 | Classroom | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 729 | 9' 8" | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Ceiling mounted diffusers | [9 empty] | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water type | [7 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 3 | [72 empty] | Present - Present - Present - Present - Present - Present - Present
11942 | 8 | ADL Classroom | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 577 | 9' 8" | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 | 0 |  | Few water damage | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | In-Counter Lavatories | 41136 |  | 11.5 | Good | 0.75 | [48 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Ceiling mounted diffusers | [25 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 2CPUs | [33 empty] | 2 | [72 empty] | Present - Present - Present - Present - Present - Present - Present
11943 | 8A | ADL Storage | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 156 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11944 | 9 | Classroom | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 729 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11945 | 10 | Classroom | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 685 | 9' 8" | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Ceiling mounted diffusers | [9 empty] | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water type | [7 empty] | Present | [8 empty] | Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 3 | [72 empty] | Present
11946 | 11 | Classroom | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 717 | 9' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11947 | 12 | Classroom | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 671 | 9' 8" | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Fair | 0.5 | 0 |  | Water damage | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Ceiling mounted diffusers | Other (describe) | 0 | 7 | 3.5 | Good | 0.75 | 0 |  | Fan coil HVAC unit | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 | 0 |  | Water type | [6 empty] | 0 | Present - Present | [7 empty] | 0 | Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | Present | [9 empty] | Wall Mounted
11948 | 13 | Phys. Ed. OT/PT | Ground Floor | A | Phys. Ed. (Gym + Storage) |  |  | 822 | 9' 8" | CMU Back-up Wall | 16 | 30 | 23 | Fair | 0.5 | 0 |  | Cracking at window lintel | Sheet Vinyl | 41070 |  | 8 | Very Good | 0.9 | 0 |  |  | Painted Walls | 41004 |  | 4.5 |  |  | 0 |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Very Good | 0.9 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Ceiling mounted diffusers | [24 empty] | 0 | Present - Present - Present | [7 empty] | 0 | Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Good | 0.75 | 0 | [17 empty] | 1 | [17 empty] | 3 | [71 empty] | 0 | Present - Present
11949 | 13A | Phys. Ed. Office | Ground Floor | A | Phys. Ed. (Gym + Storage) |  |  | 114 | 8' 2" | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 |  |  | Water damage | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Ceiling diffusers + unit heater | [25 empty] | Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present | [125 empty] | Present - Present - Present
11950 | 15 | Computer Lab | Ground Floor | A | Technological Literacy |  |  | 271 | 8' 2" | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 | 0 |  | N/A | Carpet | 41228 |  | 13 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Ceiling mounted diffusers | [25 empty] | Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 1 | [72 empty] | Present - Present - Present - Present
11951 | 16 | Head Custodian | Ground Floor | A | Support |  |  | 293 | 9' 8" | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 |  |  |  | Epoxy | 0 | 5 | 2.5 | Fair | 0.5 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Specialty Ceilings (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Exposed structure | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Central diffuser on upper wall | [9 empty] | Dry Chemical | 41136 |  | 11.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1CPU | [106 empty] | Present - Present - Present - Present - Present
11952 | 18 | Social Worker | Ground Floor | A | Administration |  |  | 136 | 9'11" | [9 empty] | Carpet | [17 empty] | Acoustical Panel
11953 | 19 | Principal | Ground Floor | A | Administration |  |  | 197 | 8' 2" | [8 empty] | N/A | Carpet | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Central HVAC | [25 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present - Present
11954 | 20 | Nurse | Ground Floor | A | Health Services |  |  | 123 | 8' 2" | [6 empty] | 0 |  | N/A | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | In-Counter Lavatories | 41136 |  | 11.5 | Good | 0.75 | [48 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Ceiling mounted diffusers | [24 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [7 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [107 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | 1CPU
11955 | 21 | Utility Room | Ground Floor | A | Support |  |  | 63 | 8' 2" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel
11956 | 22 | Vice Principal's Office | Ground Floor | A | Administration |  |  | 83 | 8' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11957 | UN-1 | Water Closet | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 31 | 8' 2" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
11984 | UN-2 | Water Closet | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 31 | 8' 2" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
11985 | UN-3 | Office | Ground Floor | A | Administration |  |  | 82 | 9'11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11986 | UN-4 | Office | Ground Floor | A | Administration |  |  | 78 | 9'11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11987 | UN-5 | Water Closet | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 38 | 8' 2" | [6 empty] | 0 |  |  | Ceramic Tile | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Acoustical Panel | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Stainless Steel Sinks | 22 | 30 | 26 | Good | 0.75 | 1 | [8 empty] | 1 | [8 empty] | 0 | [29 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  | Wall mounted | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Toilet exhaust | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0
11988 | UN-6 | Office | Ground Floor | A | Administration |  |  | 104 | 9'11" | [6 empty] | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [56 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Ceiling mounted diffusers | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 1CPU | [6 empty] | 0 | [98 empty] | 0
11989 | UN-7 | Storage | Ground Floor | A | Administration |  |  | 95 | 8' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11990 | UN-8 | Water Closet | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 34 | 8' 2" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
11991 | UN-9 | Office | Ground Floor | A | Administration |  |  | 79 | 9'11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11992 | UN-10 | Office | Ground Floor | A | Administration |  |  | 81 | 9'11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11993 | UN-11 | Water Closet | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 37 | 8' 2" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
11994 | UN-12 | Water Closet | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 39 | 8' 2" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
11995 | UN-13 | Water Closet | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 39 | 8' 2" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
11996 | UN-14 | Water Closet | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 36 | 8' 2" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
11997 | UN-15 | Office | Ground Floor | A | Administration |  |  | 77 | 9'11" | [8 empty] | N/A | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Ceiling mounted diffusers | [25 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [125 empty] | Present - Present - Present - Present - Present - Present - Present
11998 | UN-16 | Office | Ground Floor | A | Administration |  |  | 79 | 9'11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
11999 | UN-17 | Water Closet | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 45 | 8' 2" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
12000 | UN-18 | Water Closet | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 40 | 8' 2" | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 | 0 |  | N/A | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Wall-Mounted Lavatories | 41136 |  | 11.5 | Fair | 0.5 | 1 | [8 empty] | 1 | [8 empty] | 0 | [29 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 | 0 |  |  | Terminal Unit Heaters | 22 | 30 | 26 | Good | 0.75 | 0 |  | Ceiling mounted diffusers | [25 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0
12001 | UN-19 | Garage | Ground Floor | A | Support |  |  | 121 | N/A | [9 empty] | Unfinished | [17 empty] | Specialty Ceilings (describe)
12002 | UN-20 | Water Closet | Ground Floor | A | Administration |  |  | 25 | 8' 2" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
12003 | UN-21 | Janitor\'s closet | Ground Floor | A | Support |  |  | 55 | 8' 2" | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 |  |  |  | Ceramic Tile | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | Floor mop receptor | [45 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | Bathroom exhaust | [25 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present
12004 | UN-22 | Storage | Ground Floor | A | Support |  |  | 127 | 8' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12005 | UN-23 | Storage | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 11 | 8' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12006 | UN-24 | Water Closet | Ground Floor | A | Self-Contained Sp. Ed. Classroom |  |  | 100 | 8' 2" | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 | 0 |  | N/A | Ceramic Tile | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Ceramic Tile Walls | 10+ |  | 10 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Tile | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | In-Counter Lavatories | 22 | 30 | 26 | Good | 0.75 | 1 |  | Wall mounted flush valve toilet | [6 empty] | 1 | [8 empty] | 0 | [29 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Ceiling diffusers | [25 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0
12007 | UN-25 | Storage | Ground Floor | A | Health Services |  |  | 87 | 9'11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12008 | UN-26 | Exam Room | Ground Floor | A | Health Services |  |  | 94 | 8' 2" | [8 empty] | N/A | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 |  |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 |  |  |  | In-Counter Lavatories | 16 | 21 | 18.5 | Good | 0.75 | [48 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | [28 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [125 empty] | Present - Present - Present - Present - Present - Present - Present
12009 | UN-27 | Main Office | Ground Floor | A | Administration |  |  | 217 | 9'11" | [8 empty] | N/A | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [57 empty] | Fluorescent Lay-In Fixture (Troffer) | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | [28 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present | [10 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Fair | 0.5
12010 | UN-28 | Storage | Ground Floor | A | Administration |  |  | 11 | 8' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12011 | UN-29 | Storage | Ground Floor | A | Administration |  |  | 8 | 8' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12012 | UN-30 | Office | Ground Floor | A | Administration |  |  | 152 | 9'11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12013 | UN-31 | Kitchen | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 99 | 8' 2" | [8 empty] | N/A | Sheet Vinyl | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Concrete Block | 16 | 30 | 23 | Fair | 0.5 |  |  |  | In-Counter Lavatories | 41136 |  | 11.5 | Good | 0.75 | 3 | [47 empty] | Fluorescent Lay-In Fixture (Troffer) | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Central HVAC | [9 empty] | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present - Present - Present - Present
12014 | UN-32 | Storage | Ground Floor | A | Support |  |  | 45 | 8' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12015 | UN-33 | Storage | Ground Floor | A | Support |  |  | 48 | 8' 2" | [15 empty] | 0 | [17 empty] | 0
12016 | UN-34 | Storage | Ground Floor | A | Support |  |  | 23 | 8' 2" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
12017 | UN-35 | Storage | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 330 | 8' 2" | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Other (describe) | 20+ |  | 20 | Good | 0.75 | 0 |  | Painted concrete | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Exposed concrete | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [44 empty] | 0 | [11 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Duct work supply diffusers plus unit heater | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [7 empty] | 0 | Present - Present - Present - Present - Present - Present - Present | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0 | [26 empty] | 0 | [8 empty] | 0
12018 | UN-36 | Girls' Water Closet | Ground Floor | A | Support |  |  | 269 | 9' | [6 empty] | 0 |  | N/A | Ceramic Tile | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 | 0 |  | Missing tiles and water damage | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | 2 |  |  | Wall Hung Flush Valve | 22 | 30 | 26 | Good | 0.75 | 2 | [8 empty] | 0 | [17 empty] | 0 |  |  | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 | 0 |  |  | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  | Plus surface mounted | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Ceiling diffusers plus unit heater | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0
12019 | UN-37 | Boys' Water Closet | Ground Floor | A | Support |  |  | 261 | 9' | [8 empty] | N/A | Ceramic Tile | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 | 0 |  | Water damage and few cracks | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | 2 |  |  | Wall Hung Flush Valve | 22 | 30 | 26 | Very Good | 0.9 | 1 |  |  | Floor Unit | 22 | 30 | 26 | Good | 0.75 | 1 | [20 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  | Plus surface mounted | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Ceiling mounted diffusers
12020 | UN-38 | Gym-Cafetorium | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 1823 | 23' | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Sheet Vinyl | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Specialty Ceilings (describe) | 22 | 30 | 26 | Fair | 0.5 | 0 |  | Exposed styructure | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 | [44 empty] | 0 | [11 empty] | HID Vapor Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Duct work supply diffusers | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 |  |  | Wireless (WiFi) | 0 | 3 | 1.5 | Very Good | 0.9 | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0 | [26 empty] | 0 | [8 empty] | 0
12021 | UN-39 | Kitchen | Ground Floor | A | Food Service/Assembly (K-8) |  |  | 228 | 9'11" | CMU Back-up Wall | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Stainless Steel Sinks | 22 | 30 | 26 | Good | 0.75 | [36 empty] | 0 | [17 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 |  |  | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0 | [26 empty] | 0 | [8 empty] | 0
12022 | UN-40 | Water Closet | Ground Floor | A | Support |  |  | 27 | 8' 2" | [6 empty] | 0 |  | N/A | Ceramic Tile | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | 0 |  |  | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Valve | 22 | 30 | 26 | Good | 0.75 | 1 | [8 empty] | 0 | [17 empty] | 0 | [8 empty] | 0 |  |  | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 22 | 30 | 26 | Good | 0.75 | 0 |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 | 0 |  | Unit heater plus bathroom exhaust | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0
12023 | UN-41 | Water Closet | Ground Floor | A | Support |  |  | 30 | 8' 2" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [32 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
59 | A | @ UN-27 Main Office | 1st | [6 empty] | Other (describe) | 16 | 30 | 23 | Good | 0.75 |  |  | Hollow metal doorway | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 | [12 empty] | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [12 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | Supply Air Diffusers / Unit Heaters - near doors | [16 empty] | Present | [8 empty] | Present | [8 empty] | Present | [8 empty] | Present
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
191 | A | @ classrooms 1-12 | 1st | [6 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Good | 0.75 |  |  | Skylights | Fire Hose Equipment | 22 | 30 | 26 | Good | 0.75 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 |  |  | Isolated crack | Wall Mounted Electric Water Coolers | 22 | 30 | 26 | Good | 0.75 | [12 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Supply Air Diffusers / Unit Heaters - near doors | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present | [8 empty] | Present | [8 empty] | Present | [8 empty] | Present
192 | B | @ 20 (nurse) | 1st | [6 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 |  |  | Isolated cracks near room doorways | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Suspended Acoustical | 22 | 30 | 26 | Fair | 0.5 |  |  | Isolated water damage / mold at room doorways | Fire Hose Equipment | 22 | 30 | 26 | Good | 0.75 |  |  |  | Concrete Block | 16 | 30 | 23 | Good | 0.75 | [21 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 22 | 30 | 26 | Fair | 0.5 |  |  |  | Other (describe) | 22 | 30 | 26 | Good | 0.75 |  |  | Supply Air Diffusers / Unit Heaters - near doors | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present | [8 empty] | Present | [8 empty] | Present | [8 empty] | Present

## Master File (Systems)
systems | Question | Value1 |  | Average1 | systems | Question | Value1 |  | Average1
Systems | Seg ID | 1666 |  |  | InfoTech | Seg ID | 522
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1983 |  |  |  | Year Built | 1983
Domestic Water Heaters | Location | 16 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Electric Water Heater |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Copper piping good |  |  |  | Notes
Sanitary Drainage | Location | Roof |  |  | Main Dist. Facility (MDF) | Location | Ground Level Floor
| Description | Other (describe) |  |  |  | Description | 8A
| Age | 16 | 30 | 23 |  | Age | 41067 |  | 6.5
| Condition | Good |  | 0.75 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Bathroom vent piping |  |  |  | Notes
Building Support (other) Plumbing Systems | Location | Roof |  |  | MDF, HVAC Terminal Units | Location
| Description | Stormwater Area Drains |  |  |  | Description
| Age | 16 | 30 | 23 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Piping | Location |  |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location | 15
| Description |  |  |  |  | Description | Wall mounted
| Age |  |  |  |  | Age | 41067 |  | 6.5
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  |  | Description | Other (describe)
| Age |  |  |  |  | Age | 16 | 21 | 18.5
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Central HVAC
Fuel Fired Boilers | Location |  |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location | 21
| Description |  |  |  |  | Description | Wall mounted
| Age |  |  |  |  | Age | 41067 |  | 6.5
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Admin only
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location |  |  |  | IDF #4, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location |  |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location | Typ |  |  | Inter. Data Facility (IDF #5) | Location
| Description | Insulated Sheet Metal Ducts |  |  |  | Description
| Age | 16 | 30 | 23 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location | Un38, 16 |  |  | IDF #5, HVAC Terminal Units | Location
| Description | Indoor Air Handling Units (AHU) |  |  |  | Description
| Age | 21 | 30 | 25.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 2 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Outdoor condensing unit on roof poor |  |  |  | Notes
HVAC Fans | Location | Roof |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description | Other (describe) |  |  |  | Description
| Age | 41233 |  | 10.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Exhaust fans |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location | Typ |  |  | Backbone Cable Dist. | Location
| Description | Wet/Pipe System |  |  |  | Description
| Age | 16 | 30 | 23 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location | Typ |  |  | Horizontal Cable Dist. | Location
| Description | D4020 310 |  |  |  | Description
| Age | 16 | 30 | 23 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | 16
| Description | D5010 120
| Age | 16 | 30 | 23
| Condition | Good |  | 0.75
CheckBox
Quantity
| Voltage | 460
| Power Output | 600
Elec Power
Notes
Voice Communication Terminal Equipment | Location | 16
| Description | PDX/Key Systems
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | UN27
| Description | Public Address and Mass Notification Systems
| Age | 21 | 30 | 25.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | Entry
| Description | Digital Video Recorders
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | 16
| Description | Fire Alarm Annunciation Panels
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 2076 |  |  | SiteElements | Seg ID | 476
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1983 |  |  |  | Year Built | 1983
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typical |  |  | Roadways | Location | S/4
| Description | Concrete, Cast/In/Place |  |  |  | Description | Asphalt (Bituminous)
| Age | 16 | 30 | 23 |  | Age | 22 | 30 | 26
| Condition | Good |  | 0.75 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location |  |  |  | Parking Lots | Location | S/4
| Description |  |  |  |  | Description | Asphalt (Bituminous)
| Age |  |  |  |  | Age | 22 | 30 | 26
| Condition |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Cracks & ponding
Standard Slabs On Grade, Primary | Location | Typical |  |  | Pedestrian Plazas and Walkways, Primary | Location | S/16
| Description | Concrete, Cast/In/Place |  |  |  | Description | Asphalt (Bituminous)
| Age | 16 | 30 | 23 |  | Age | 0 | 7 | 3.5
| Condition | Good |  | 0.75 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Secondary | Location |  |  |  | Pedestrian Plazas and Walkways, Secondary | Location | S/16 (near building entries)
| Description |  |  |  |  | Description | Concrete, CIP
| Age |  |  |  |  | Age | 22 | 30 | 26
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Primary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Secondary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Primary | Location | Typical |  |  | Site Lighting, Primary | Location | Typical
| Description | Steel Framing, w/ Steel Deck |  |  |  | Description | Pole Mounted H.I.D.
| Age | 16 | 30 | 23 |  | Age | 41136 |  | 11.5
| Condition | Good |  | 0.75 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location |  |  |  | Site Lighting, Secondary | Location | Typical
| Description |  |  |  |  | Description | Building Mounted H.I.D.
| Age |  |  |  |  | Age | 22 | 30 | 26
| Condition |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Primary | Location | Typical |  |  | Playground Surface | Location | S/11
| Description | CMU, Split Faced |  |  |  | Description | Rubberized
| Age | 16 | 30 | 23 |  | Age | 0 | 7 | 3.5
| Condition | Good |  | 0.75 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location |  |  |  | Playground Equipment | Location | S/11
| Description |  |  |  |  | Description | Multi/Component Play Equipment Set
| Age |  |  |  |  | Age | 0 | 7 | 3.5
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary | Location | Typical |  |  | TCUs | Location
| Description | Aluminum, Awning/Hopper |  |  |  | Description
| Age | 22 | 30 | 26 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Screens, Insect / Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location | @ green house
| Description | Aluminum, Casement
| Age | 22 | 30 | 26
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
| Description | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
| CheckBox | Screens, Insect
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | Typical
| Description | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | Typical
| Description | Polyurethane, Spray Applied
| Age | 22 | 30 | 26
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | Typical
| Description | Aluminum
| Age | 22 | 30 | 26
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | Typical
| Description | Other (describe)
| Age | 22 | 30 | 26
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Cast iron internal roof drains
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes