## FCI Summary
Building Name: | Oliver Street | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 89294
Number of Floors: | B + 4
School Age (years): | 108
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 57.03%
Facility Condition = | VERY POOR
FCI Deficiency Cost = | 10503937.4767
FCI Replacement Cost = | 18416887.5
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 905
Historic 2005 LRFP Capacity = | 557
Adjusted 2012 Capacity = | 627
Recent Occupancy % = | 144.3%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 93.14%
Classroom Adequacy = | GOOD
Special Spaces Adequacy % Score = | 55.26%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Oliver Street | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 89294
Largest Floor Level Area: |  | 24700
Vertical FAR Ratio: |  | 3.6151
School Age (years): |  | 108
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 1.8% | 3.7125 | 89294 | 331503.975 | 100 | 108 | 0 | 0.5 | 5 | 5 | 16575.1987 | 314928.7762 | 95%
|  |  | A1030 - SLAB ON GRADE | 1.5% | 3.0938 | 89294 | 276253.3125 | 100 | 108 | 0 | 0.5 | 5 | 5 | 13812.6656 | 262440.6469 | 95%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 89294 | 405171.525 | 100 | 108 | 0 | 0.5 | 5 | 5 | 20258.5762 | 384912.9487 | 95%
|  |  | SUBTOTAL SUBSTRUCTURE | 5.5% | 11.3438 | 89294 | 1012928.8125
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 89294 | 2025857.625 | 100 | 108 | 0 | 0.5 | 5 | 5 | 101292.8813 | 1924564.7437 | 95%
|  |  | B1020 - ROOF CONSTRUCTION | 2.5% | 5.1562 | 89294 | 460422.1875 | 100 | 108 | 0 | 0.5 | 5 | 5 | 23021.1094 | 437401.0781 | 95%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 9.5% | 19.5938 | 89294 | 1749604.3125 | 100 | 108 | 0 | 0.48203 | 5 | 5 | 87480.2156 | 1662124.0969 | 95%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 5.5% | 11.3438 | 89294 | 1012928.8125 | 30 | 37.5 | 0 | 0.45 | 5 | 5 | 168821.4688 | 844107.3438 | 83.33%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 2% | 4.125 | 89294 | 368337.75 | 30 | 30 | 0 | 0.5625 | 16.875 | 16.875 | 207189.9844 | 161147.7656 | 43.75%
|  |  | SUBTOTAL SHELL | 30.5% | 62.9063 | 89294 | 5617150.6875
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 89294 | 736675.5 | 60 | 54.9688 | 5.0312 | 0.48438 | 29.0625 | 34.0938 | 418600.5055 | 318074.9945 | 43.18%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 89294 | 276253.3125 | 20 | 24.6875 | 0 | 0.52419 | 5 | 5 | 69063.3281 | 207189.9844 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 89294 | 736675.5 | 20 | 7.5 | 12.5 | 0.6875 | 13.75 | 20 | 736675.5 | 0 | 0%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 89294 | 276253.3125 | 30 | 108 | 0 | 0.5 | 5 | 5 | 46042.2188 | 230211.0938 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 4% | 8.25 | 89294 | 736675.5 | 10 | 9.6061 | 0.39394 | 0.43788 | 4.3788 | 4.7727 | 351595.125 | 385080.375 | 52.27%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 89294 | 1105013.25 | 20 | 18.7879 | 1.2121 | 0.49545 | 9.9091 | 11.1212 | 614454.3375 | 490558.9125 | 44.39%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 89294 | 1105013.25 | 30 | 30 | 0 | 0.53333 | 16 | 16 | 589340.4 | 515672.85 | 46.67%
|  |  | SUBTOTAL INTERIORS | 27% | 55.6875 | 89294 | 4972559.625
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 1% | 2.0625 | 89294 | 184168.875 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 184168.875 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 89294 | 276253.3125 | 60 | 23.7046 | 36.2954 | 0.61032 | 36.619 | 60 | 276253.3125 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 89294 | 239419.5375 | 60 | 30 | 30 | 0.5 | 30 | 60 | 239419.5375 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 89294 | 221002.65 | 60 | 0 | 60 | 0 | 0 | 60 | 221002.65 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 89294 | 92084.4375 | 30 | 60 | 0 | 0.25 | 5 | 5 | 15347.4062 | 76737.0312 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 89294 | 497255.9625 | 60 | 26.5 | 33.5 | 0.375 | 22.5 | 56 | 464105.565 | 33150.3975 | 6.667%
|  |  | D3020 - BOILERS | 2% | 4.125 | 89294 | 368337.75 | 60 | 23 | 37 | 0.375 | 22.5 | 59.5 | 365268.2687 | 3069.4813 | 0.8333%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 89294 | 736675.5 | 40 | 43 | 0 | 0.5 | 5 | 5 | 92084.4375 | 644591.0625 | 87.5%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 89294 | 736675.5 | 40 | 23.5357 | 16.4643 | 0.50962 | 20.3846 | 36.8489 | 678642.066 | 58033.434 | 7.878%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 89294 | 368337.75 | 40 | 0 | 40 | 0 | 0 | 40 | 368337.75 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 89294 | 276253.3125 | 20 | 0 | 20 | 0 | 0 | 20 | 276253.3125 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 89294 | 184168.875 | 20 | 0 | 20 | 0 | 0 | 20 | 184168.875 | 0 | 100%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 89294 | 36833.775 | 20 | 7.5 | 12.5 | 0.625 | 12.5 | 20 | 36833.775 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 89294 | 239419.5375 | 60 | 60 | 0 | 0.25 | 15 | 15 | 59854.8844 | 179564.6531 | 75%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 89294 | 1289182.125 | 30 | 24.3077 | 5.6923 | 0.49359 | 14.8077 | 20.5 | 880941.1188 | 408241.0063 | 31.67%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 89294 | 552506.625 | 20 | 24.4167 | 0 | 0.54167 | 5 | 5 | 138126.6562 | 414379.9688 | 75%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 89294 | 55250.6625 | 20 | 18.75 | 1.25 | 0.63462 | 12.6923 | 13.9423 | 38516.0868 | 16734.5757 | 30.29%
|  |  | SUBTOTAL SERVICES | 34.5% | 71.1563 | 89294 | 6353826.1875
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 89294
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 89294
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 89294
|  |  | E1090 - OTHER EQUIPMENT |  |  | 89294
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 89294
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 89294
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 89294
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 89294
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 89294
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 89294 | 184168.875 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 46042.2188 | 138126.6562 | 75%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 89294 | 92084.4375 | 30 | 26 | 4 | 0.25 | 7.5 | 11.5 | 35299.0344 | 56785.4031 | 61.67%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 89294 | 92084.4375 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 23021.1094 | 69063.3281 | 75%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 89294 | 92084.4375 | 30 | 30 | 0 | 0.1 | 3 | 3 | 9208.4438 | 82875.9937 | 90%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 89294 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 89294
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 89294 | 18416887.5 | [7 empty] | 10503937.4767 | 57.03%
100%
Note on J34: Tessier, Matthew: No Survey Data
Note on J41: Tessier, Matthew: No Survey Data
Note on J42: Tessier, Matthew: No Survey Data

## Master File (Interior)
Oliver Street
School Code: | 590
NPS Code: | 87
Street: | 104 Oliver St.
City/Town: | Newark,
Database ID: | 14
Total size (gsf):
ROOM INFORMATION | [12 empty] | 55.7031 | Ave Condition | 0.46406 | [6 empty] | 18.7879 | Ave Condition | 0.49545 | [6 empty] | 9.6061 | Ave Condition | 0.43788 | [5 empty] | 30 | Ave Condition | 0.53333 | [5 empty] | 24.6875 | Ave Condition | 0.52419 | [6 empty] | 54.9688 | Ave Condition | 0.48438 | [6 empty] | 23.5 | Ave Condition | 0.6 | [6 empty] | 20.4444 | Ave Condition | 0.69444 | [6 empty] | 23.65 | Ave Condition | 0.65 | [5 empty] | 30 | Ave Condition | 0.5 | [6 empty] | 20.9286 | Ave Condition | 0.60714 | [6 empty] | 7.5 | Ave Condition | 0.6875 | [5 empty] | 12.9231 | Ave Condition | 0.73077 | [5 empty] | 30 | Ave Condition | 0.51923 | [5 empty] | 30 | Ave Condition | 0.51923 | [6 empty] | 17.0714 | Ave Condition | 0.5 | [6 empty] | 7.5 | Ave Condition | 0.625 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 10 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Interior Door | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [8 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
7798 | 129 | ESL | Basement | A | Small Group Instruction |  |  | 176 | N/A
7799 | UN-1 | Custodial Office | Basement | A | Support |  |  | 160 | 14' 8" | [9 empty] | Unfinished | [17 empty] | Plaster
7800 | UN-2 | Storage | Basement | A | Support |  |  | 4612 | N/A
7801 | UN-3 | Mechanical Room | Basement | A | Support |  |  | 1215 | 14' 8" | [9 empty] | Unfinished | [17 empty] | Plaster
7802 | UN-4 | Mechanical Room | Basement | A | Support |  |  | 1931 | 14' 8" | [9 empty] | Unfinished | [17 empty] | Plaster
7803 | UN-5 | Storage | Basement | A | Support |  |  | 307 | N/A
7804 | UN-6 | Instrument Room | Basement | A | Visual & Performing Arts |  |  | 250 | N/A
7805 | UN-7 | N/A | Basement | A | N/A |  |  | 32 | N/A
7806 | UN-9 | Lower Auditorium | Basement | A | Food Service/Assembly (K-8) |  |  | 2990 | 20' 3" | Brick, Exposed/Unfinished | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Poor | 0.25 |  |  | Water damage | Wood/Metal Frame | 20+ | 20 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Brick | [53 empty] | HID Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [12 empty] | Other (describe) | 41136 |  | 11.5 | Fair | 0.5 |  |  | Water based | [7 empty] | Present | [133 empty] | Present | Auditorium speaker system
7807 | 102 | Child Study Team | 1st Floor | A | Administration |  |  | 121 | 12' 8" | [9 empty] | Wood | [17 empty] | Plaster
7808 | 103 | Office | 1st Floor | A | Administration |  |  | 127 | 12' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
7809 | 105 | Kindergarten Classroom | 1st Floor | D | Kindergarten Classroom |  |  | 837 | 12' 8" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ | 20 | Good | 0.75 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on masonry and foldable partition | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present | [60 empty] | 3 | [71 empty] | 0 | Present
7810 | 106 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 562 | 12' 8" | [9 empty] | Wood | [17 empty] | Plaster
7811 | 121 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 832 | 12' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
7812 | 125 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 443 | 9' 8" | [9 empty] | Wood | [17 empty] | Acoustical Panel
7813 | 127 | Spanish Kindergarten Classroom | 1st Floor | B | Kindergarten Classroom |  |  | 969 | 9' 8" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Suspended Acoustical | 30+ | 30 | Fair | 0.5 |  |  | Water damage | Wood/Metal Frame | 20+ | 20 | [5 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | In-Counter Lavatories | 30+ |  | 30 | Good | 0.75 | [29 empty] | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Free standing electric water cooler | [9 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Vent. AND Fin Tube | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 30+ |  | 30 | Fair | 0.5 |  |  | Exhaust fan | [16 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | [41 empty] | 3 | [72 empty] | Present - Present
7814 | 128 | ESL | 1st Floor | A | Small Group Instruction |  |  | 389 | 9' 8 | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
7815 | TCU-1 | General Classroom | 1st Floor | A | General Classroom |  |  | 650 | 8' | [9 empty] | Carpet | [17 empty] | Acoustical Panel
7816 | TCU-1A | N/A | 1st Floor | A | General Classroom |  |  | 27 | N/A
7817 | TCU-1B | Water Closet | 1st Floor | A | General Classroom |  |  | 45 | 8' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7818 | TCU-2 | General Classroom | 1st Floor | A | General Classroom |  |  | 650 | 8' | [9 empty] | Carpet | [17 empty] | Acoustical Panel
7819 | TCU-2A | Water Closet | 1st Floor | A | General Classroom |  |  | 45 | 8' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7820 | TCU-2B | N/A | 1st Floor | A | General Classroom |  |  | 27 | N/A
7821 | UN-10 | Cafeteria | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 850 | 12' | [9 empty] | Wood | [17 empty] | Plaster
7822 | UN-11 | Kitchen/Cafeteria | 1st Floor | C | Food Service/Assembly (K-8) |  |  | 1620 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  | Damage on kitchen side | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 20+ | 20 | Good | 0.75 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on masonry | Stainless Steel Sinks | 22 | 30 | 26 | Fair | 0.5 | 4 | [46 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Good | 0.75 | 0 | [11 empty] | Wet Chemical | 41136 |  | 11.5 | Fair | 0.5 | 0 |  | Ansul exhaust hood | [6 empty] | 0 | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [107 empty] | 0 | Present - Present - Present | [25 empty] | 0 | Present | [7 empty] | 0 | Present
7823 | UN-12 | N/A | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 57 | N/A
7824 | UN-13 | Fan Room | 1st Floor | A | Support |  |  | 833 | N/A
7825 | UN-14 | Storage | 1st Floor | A | Support |  |  | 19 | 8' 5" | [9 empty] | Unfinished | [17 empty] | Plaster
7826 | UN-15 | Custodial Closet | 1st Floor | A | Support |  |  | 13 | 7' 2" | [9 empty] | Ceramic Tile | [17 empty] | Plaster
7827 | UN-16 | Water Closet | 1st Floor | A | Support |  |  | 48 | 7' 11" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7828 | UN-17 | Locker Room | 1st Floor | A | Support |  |  | 107 | 7' 11" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
7829 | UN-18 | N/A | 1st Floor | A | Kindergarten Classroom |  |  | 133 | N/A
7830 | UN-19 | N/A | 1st Floor | A | Administration |  |  | 87 | N/A
7831 | UN-20 | Office | 1st Floor | A | Administration |  |  | 120 | N/A | [9 empty] | Unfinished | [17 empty] | Plaster
7832 | UN-21 | Book Closet | 1st Floor | A | Support |  |  | 177 | N/A
7833 | UN-22 | Storage | 1st Floor | A | Administration |  |  | 25 | N/A
7834 | UN-23 | Parent Room | 1st Floor | A | Administration |  |  | 249 | 10' 6 | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Poor | 0.25 |  |  | Water damage | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 1 | [72 empty] | Present - Present - Present - Present
7835 | UN-24 | Storage | 1st Floor | A | Administration |  |  | 26 | N/A
7836 | UN-25 | Boys\' Water Closet | 1st Floor | A | Support |  |  | 284 | 12' 4" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  | Ceramic tile wainsot | Plaster | 30+ | 30 | Poor | 0.25 |  |  |  | Metal/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Masonry on masonry | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | 4 |  |  | Wall Hung Flush Valve | 22 | 30 | 26 | Good | 0.75 | 5 |  |  | Wall Hung | 22 | 30 | 26 | Good | 0.75 | 4 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  | Ceiling mounted steam pipes | [25 empty] | Present - Present - Present - Present - Present
7837 | UN-26 | Water Closet | 1st Floor | A | Support |  |  | 30 | 8' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7838 | UN-27 | Office | 1st Floor | A | Administration |  |  | 225 | N/A
7839 | UN-28 | Workroom | 1st Floor | A | Administration |  |  | 168 | N/A
7840 | UN-29 | N/A | 1st Floor | A | N/A |  |  | 4 | N/A
7841 | UN-30 | Storage | 1st Floor | A | Support |  |  | 23 | N/A
7842 | UN-31 | Water Closet | 1st Floor | A | Administration |  |  | 37 | 9' 5" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7843 | UN-32 | Storage | 1st Floor | A | Support |  |  | 32 | N/A
7844 | UN-33 | Custodial Closet | 1st Floor | A | Support |  |  | 11 | 8' 2" | [9 empty] | Unfinished | [17 empty] | Plaster
7845 | UN-34 | Girls' Water Closet | 1st Floor | A | Support |  |  | 288 | 12' 7" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [30 empty] | 6 | [8 empty] | 7 | [8 empty] | 0
7846 | UN-35 | N/A | 1st Floor | A | Administration |  |  | 100 | N/A
7847 | UN-36 | Nurse\'s Office | 1st Floor | D | Health Services |  |  | 300 | 12' 8" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Poor | 0.25 |  |  | Plaster on masonry | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ | 30 | Good | 0.75 |  |  |  | Window Mounted | 41136 |  | 11.5 | Fair | 0.5 | [19 empty] | Present - Present - Present - Present - Present - Present
7848 | UN-37 | Water Closet | 1st Floor | A | Health Services |  |  | 14 | 8' 10" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7849 | UN-38 | N/A | 1st Floor | A | Health Services |  |  | 58 | N/A
7850 | UN-39 | N/A | 1st Floor | A | N/A |  |  | 144 | N/A
7851 | UN-40 | Principal's Office | 1st Floor | A | Administration |  |  | 242 | N/A
7852 | UN-41 | Main Office | 1st Floor | D | Administration |  |  | 263 | N/A | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 46 | 60 | 53 | Poor | 0.25 |  |  | Plaster on masonry | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present - Present | Head end system
7853 | UN-42 | N/A | 1st Floor | A | Administration |  |  | 17 | N/A
7854 | UN-43 | N/A | 1st Floor | A | Administration |  |  | 15 | N/A
7855 | UN-44 | N/A | 1st Floor | A | Kindergarten Classroom |  |  | 10 | N/A
7856 | UN-45 | N/A | 1st Floor | A | Kindergarten Classroom |  |  | 7 | N/A
7857 | UN-46 | N/A | 1st Floor | A | Kindergarten Classroom |  |  | 3 | N/A
7858 | UN-47 | N/A | 1st Floor | A | Kindergarten Classroom |  |  | 10 | N/A
7859 | UN-48 | N/A | 1st Floor | A | Kindergarten Classroom |  |  | 10 | N/A
7860 | UN-49 | N/A | 1st Floor | A | Kindergarten Classroom |  |  | 5 | N/A
7861 | UN-50 | N/A | 1st Floor | A | Kindergarten Classroom |  |  | 7 | N/A
7862 | UN-51 | Water Closet | 1st Floor | D | Kindergarten Classroom |  |  | 66 | 12' 6" | Plaster on Metal Lath | 60+ |  | 60 | Very Poor | 0.1 |  |  | Water damage | Ceramic Tile | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls | 10+ |  | 10 | Very Poor | 0.1 |  |  |  | Plaster | 30+ | 30 | Poor | 0.25 |  |  |  | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Poor | 0.25 |  |  | Plastering masonry | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | 1 |  |  | Floor Mounted Flush Tank | 22 | 30 | 26 | Fair | 0.5 | 1 | [8 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present - Present - Present - Present
7863 | UN-52 | Upper Auditorium | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 1197 | N/A | [9 empty] | Unfinished | [17 empty] | Plaster
7864 | 201 | 8th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 797 | 12' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
7865 | 202 | 8th Grade Classroom | 2nd Floor | D | General Classroom (Grades 6-8) |  |  | 795 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Poor | 0.25 |  |  | Plaster on masonry | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 | [72 empty] | Present
7866 | 203 | Vice Principal Office | 2nd Floor | A | Administration |  |  | 201 | 12' | [9 empty] | Wood | [17 empty] | Plaster
7867 | 204 | 8th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 797 | 12' | [9 empty] | Wood | [17 empty] | Plaster
7868 | 205 | 8th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 798 | 12' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
7869 | 206 | Classroom | 2nd Floor | D | General Classroom |  |  | 818 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 16 | 21 | 18.5 | Fair | 0.5 | [19 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 4 | [72 empty] | Present - Present
7870 | 210 | Strategy Room | 2nd Floor | D | Faculty Support |  |  | 453 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present
7871 | 211 | Language/ Speech | 2nd Floor | A | Small Group Instruction |  |  | 799 | 12' | [9 empty] | Wood | [17 empty] | Plaster
7872 | 221 | 6th Grade Classroom | 2nd Floor | C | General Classroom (Grades 6-8) |  |  | 835 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on Masonry | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present - Present | [7 empty] | 0 | [7 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [98 empty] | 0 | Present - Present
7873 | 222 | 6th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 835 | 12' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
7874 | 223 | 6th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 839 | 12' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
7875 | 224 | 6th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 828 | 12' | [9 empty] | Wood | [17 empty] | Plaster
7876 | 225 | 7th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 772 | 10' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
7877 | 226 | 7th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 823 | 10' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
7878 | 227 | 7th Grade Classroom | 2nd Floor | B | General Classroom (Grades 6-8) |  |  | 791 | 10' 8" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on masonry | [53 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Vent. AND Fin Tube | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 4 | [72 empty] | Present - Present - Present
7879 | 228 | 7th Grade Classroom | 2nd Floor | A | General Classroom (Grades 6-8) |  |  | 832 | 10' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
7880 | UN-53 | Boys\' Water Closet | 2nd Floor | C | Support |  |  | 308 | 12' 6" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Good | 0.75 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | Wall-Mounted Lavatories | 30+ |  | 30 | Good | 0.75 | 3 |  | 1janitor's sink | Floor Mounted Flush Valve | 30+ |  | 30 | Good | 0.75 | 4 |  |  | Wall Hung | 30+ |  | 30 | Good | 0.75 | 4 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Toilet exhaust vents | [25 empty] | Present - Present - Present - Present
7881 | UN-54 | Girls' Water Closet | 2nd Floor | A | Support |  |  | 288 | 12' 6" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 4 | [8 empty] | 6 | [8 empty] | 0
7882 | UN-55 | Book Closet | 2nd Floor | A | Support |  |  | 48 | N/A
7883 | UN-56 | Book Closet | 2nd Floor | A | Support |  |  | 38 | N/A
7884 | UN-57 | Boys\' Water Closet | 2nd Floor | D | Support |  |  | 209 | 12' 6" | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 | 0 |  |  | Epoxy | 20+ |  | 20 | Very Poor | 0.1 | 0 |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Other (describe) | 60+ |  | 60 | Poor | 0.25 | 0 |  | Plaster on masonry - water damage | Wall-Mounted Lavatories | 16 | 21 | 18.5 | Good | 0.75 | 3 |  |  | Wall Hung Flush Valve | 22 | 30 | 26 | Good | 0.75 | 2 |  |  | Wall Hung | 22 | 30 | 26 | Good | 0.75 | 3 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 | 0 |  |  | Keyed Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  | Ceiling mounted steam pipes | [24 empty] | 0 | Present - Present - Present
7885 | UN-58 | Girls' Water Closet | 2nd Floor | A | Support |  |  | 140 | 12' 6" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 3 | [8 empty] | 3 | [8 empty] | 0
7886 | UN-59 | N/A | 2nd Floor | A | N/A |  |  | 50 | N/A
7887 | UN-60 | Custodial closet | 2nd Floor | A | N/A |  |  | 25 | N/A
7888 | UN-61 | N/A | 2nd Floor | A | N/A |  |  | 32 | N/A
7889 | 301 | General Classroom | 3rd Floor | A | General Classroom |  |  | 813 | 12' | [9 empty] | Wood | [17 empty] | Plaster
7890 | 302 | 5th Grade Classroom | 3rd Floor | D | General Classroom (Grades 4-5) |  |  | 819 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Good | 0.75 | [28 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 4 | [72 empty] | Present
7891 | 303 | Vice Principal's Office | 3rd Floor | A | Administration |  |  | 208 | 12' | [9 empty] | Wood | [17 empty] | Plaster
7892 | 304 | 5th Grade Classroom | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 817 | 12' | [9 empty] | Wood | [17 empty] | Plaster
7893 | 305 | 5th Grade Classroom | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 824 | 12' | [9 empty] | Wood | [17 empty] | Plaster
7894 | 306 | 4th Grade Classroom | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 827 | 12' | [9 empty] | Wood | [17 empty] | Plaster
7895 | 310 | Teachers\' Lounge | 3rd Floor | D | Faculty Support |  |  | 291 | 12' 3" | Plaster on Metal Lath | 60+ |  | 60 | Good | 0.75 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 | 0 |  |  | Plaster | 30+ | 30 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on masonry | In-Counter Lavatories | 30+ |  | 30 | Poor | 0.25 | [47 empty] | Fluorescent Linear Pendant Mount Fixture | 30+ | 30 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 16 | 21 | 18.5 | Fair | 0.5 | [18 empty] | 0 | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 1 CPU | [6 empty] | 0 | Present | [97 empty] | 0 | Present - Present
7896 | 311 | 4th Grade Classroom | 3rd Floor | A | General Classroom (Grades 4-5) |  |  | 832 | 12' | [9 empty] | Wood | [17 empty] | Plaster
7897 | 321 | 3rd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 818 | 12' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
7898 | 322 | 3rd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 827 | 12' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
7899 | 323 | 3rd Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 809 | 12' | [9 empty] | Wood | [17 empty] | Plaster
7900 | 324 | 3rd Grade Classroom | 3rd Floor | C | General Classroom (Grades 1-3) |  |  | 810 | 12' | Plaster on Metal Lath | 60+ |  | 60 | Poor | 0.25 |  |  | Water damage | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 30+ | 30 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 | [72 empty] | Present - Present - Present
7901 | 325 | Resource Room | 3rd Floor | A | Small Group Instruction |  |  | 266 | 10' 8 | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
7902 | 326 | Speech Therapy | 3rd Floor | A | Small Group Instruction |  |  | 282 | 10' 8 | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
7903 | 327 | Art Studio | 3rd Floor | B | Visual & Performing Arts |  |  | 927 | 10' 8" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ | 30 | Poor | 0.25 |  |  |  | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  | Hinges need adjustment | Drywall (Gypsum)/Metal Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | In-Counter Lavatories | 30+ |  | 30 | Poor | 0.25 | 1 | [46 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Ventilators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [109 empty] | Present - Present - Present - Present
7904 | 328 | Computer Room | 3rd Floor | B | Technological Literacy |  |  | 1385 | 10' 8" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Suspended Acoustical | 30+ | 30 | Poor | 0.25 |  |  |  | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 60+ |  | 60 | Good | 0.75 |  |  |  | In-Counter Lavatories | 22 | 30 | 26 | Fair | 0.5 | 1 | [46 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Vent. AND Fin Tube | 30+ | 30 | Poor | 0.25 |  |  |  | Window Mounted | 22 | 30 | 26 | Poor | 0.25 |  |  |  | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 29 | [72 empty] | Present - Present - Present - Present - Present
7905 | UN-62 | Book Closet | 3rd Floor | A | Support |  |  | 59 | 10' 8" | [9 empty] | Unfinished | [17 empty] | Plaster
7906 | UN-63 | Book Closet | 3rd Floor | A | Support |  |  | 59 | 10' 8" | [9 empty] | Unfinished | [17 empty] | Plaster
7907 | UN-64 | Girls' Water Closet | 3rd Floor | A | Support |  |  | 301 | 9' | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 4 | [8 empty] | 6 | [8 empty] | 0
7908 | UN-65 | Boys' Water Closet | 3rd Floor | A | Support |  |  | 299 | 9' | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 4 | [8 empty] | 4 | [8 empty] | 4
7909 | UN-66 | N/A | 3rd Floor | A | Visual & Performing Arts |  |  | 184 | N/A
7910 | UN-67 | Art Storage | 3rd Floor | A | Visual & Performing Arts |  |  | 196 | 10' 6" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
7911 | UN-68 | Boys' Water Closet | 3rd Floor | A | Support |  |  | 201 | 12' 3" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 3 | [8 empty] | 2 | [8 empty] | 3
7912 | UN-69 | Girls' Water Closet | 3rd Floor | D | Support |  |  | 133 | 12' 3" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 3 | [8 empty] | 3 | [8 empty] | 0
7913 | UN-70 | N/A | 3rd Floor | A | N/A |  |  | 54 | N/A
7914 | UN-71 | Closet | 3rd Floor | A | Support |  |  | 29 | 7' 9" | [9 empty] | Ceramic Tile | [17 empty] | Plaster
7915 | UN-72 | Mens' Water Closet | 3rd Floor | A | Faculty Support |  |  | 72 | 8' 3" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 1
7916 | UN-73 | Womens\' Water Closet | 3rd Floor | D | Faculty Support |  |  | 115 | 8' 7" | [9 empty] | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Metal Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on masonry | Wall-Mounted Lavatories | 22 | 30 | 26 | Good | 0.75 | 2 |  |  | Floor Mounted Flush Valve | 30+ |  | 30 | Fair | 0.5 | 2 | [8 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Fair | 0.5 |  |  |  | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | Toilet exhaust grill | [24 empty] | 0 | Present - Present - Present - Present - Present - Present
7917 | 401 | 2nd Grade Classroom | 4th Floor | A | General Classroom (Grades 1-3) |  |  | 801 | 12' 6" | [9 empty] | Wood | [17 empty] | Plaster
7918 | 402 | 2nd Grade Classroom | 4th Floor | A | General Classroom (Grades 1-3) |  |  | 804 | 12' 6" | [9 empty] | Wood | [17 empty] | Plaster
7919 | 403 | Vice Principal\'s Office | 4th Floor | D | Administration |  |  | 236 | 12' 6" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on Masonry | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 41136 |  | 11.5 | Fair | 0.5 | 0 | [17 empty] | 0 | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 |  | 1 | [105 empty] | 0 | Present
7920 | 404 | 2nd Grade Classroom | 4th Floor | A | General Classroom (Grades 1-3) |  |  | 798 | 12' 6" | [9 empty] | Wood | [17 empty] | Plaster
7921 | 405 | 2nd Grade Classroom | 4th Floor | A | General Classroom (Grades 1-3) |  |  | 818 | 12' 6" | [9 empty] | Wood | [17 empty] | Plaster
7922 | 406 | General Classroom | 4th Floor | D | General Classroom |  |  | 815 | 12' 10" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Plaster | 30+ | 30 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 20+ | 20 | Good | 0.75 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 | 0 |  | Plaster on Masonry | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | Present - Present | [7 empty] | 0 | [7 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [26 empty] | 4 | [71 empty] | 0 | Present - Present
7923 | 410 | 1st Grade Classroom | 4th Floor | A | General Classroom (Grades 1-3) |  |  | 758 | 12' 8" | [9 empty] | Wood | [17 empty] | Plaster
7924 | 411 | 1st Grade Classroom | 4th Floor | D | General Classroom (Grades 1-3) |  |  | 806 | 12' 8" | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 | 0 |  |  | Plaster | 30+ | 30 | Good | 0.75 | 0 |  |  | Wood/Metal Frame | 20+ | 20 | Good | 0.75 | 0 |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on Masonry | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | 0 | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [35 empty] | 4 | [71 empty] | 0 | Present - Present - Present
7925 | UN-74 | Gymnasium | 4th Floor | A | Phys. Ed. (Gym + Storage) |  |  | 2765 | 24' | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Unfinished Ceiling
7926 | UN-75 | Gymnasium | 4th Floor | C | Phys. Ed. (Gym + Storage) |  |  | 2747 | 24' | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41004 |  | 4.5 | Poor | 0.25 |  |  |  | Unfinished Ceiling | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 20+ | 20 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [56 empty] | HID Vapor Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Hvac duct work | [25 empty] | Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present
7927 | UN-76 | Locker Room | 4th Floor | A | Phys. Ed. (Gym + Storage) |  |  | 116 | 8' | [9 empty] | Epoxy | [17 empty] | Plaster
7928 | UN-77 | Water Closet | 4th Floor | A | Phys. Ed. (Gym + Storage) |  |  | 38 | 7' 4" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7929 | UN-78 | Locker Room | 4th Floor | C | Phys. Ed. (Gym + Storage) |  |  | 116 | 8' | [9 empty] | Epoxy | [17 empty] | Plaster
7930 | UN-79 | Water Closet | 4th Floor | A | Phys. Ed. (Gym + Storage) |  |  | 38 | 7' 4" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 1 | [8 empty] | 1 | [8 empty] | 0
7931 | UN-80 | N/A | 4th Floor | A | General Classroom (Grades 1-3) |  |  | 101 | N/A
7932 | UN-81 | Boys' Water Closet | 4th Floor | A | Support |  |  | 197 | 12' 6" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [30 empty] | 2 | [8 empty] | 3 | [8 empty] | 4
7933 | UN-82 | Storage | 4th Floor | A | Support |  |  | 49 | 8' 4" | [9 empty] | Wood | [17 empty] | Plaster
7934 | UN-83 | N/A | 4th Floor | A | N/A |  |  | 27 | N/A
12545 | UN-84 | Storage | Basement | A | Support |  |  | 346 | N/A
12546 | UN-85 | Storage | 1st Floor | A | Support |  |  | 13 | N/A
12547 | UN-86 | Storage | 1st Floor | A | Support |  |  | 71 | N/A
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Standpipes | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
42 | A | @ Oliver Street | 1st | [6 empty] | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Epoxy | 0 | 5 | 2.5 | Fair | 0.5 |  |  | Painted Concrete | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 | [11 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on metal lath | [9 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 | [11 empty] | Other (describe) | 41136 |  | 11.5 | Good | 0.75 |  |  | Water | [7 empty] | Present | [23 empty] | Present
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [7 empty] | Partitions | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
131 | A | @ UN-11 (Cafeteria) | 1st | [6 empty] | Epoxy | 0 | 5 | 2.5 | Fair | 0.5 |  |  |  | Painted Walls | 41004 |  | 4.5 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | [11 empty] | Other (describe) | 60+ | 60 | Fair | 0.5 |  |  | Plaster on Metal lath | Full Recessed Stainless Steel Drinking Fountains | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 41136 |  | 11.5 | Good | 0.75 |  |  | Water | [7 empty] | Present | [15 empty] | Present | [7 empty] | Present
132 | B | @ 227 (Classroom) | 2nd | [6 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Suspended Acoustical | 16 | 21 | 18.5 | Poor | 0.25 |  |  | Water damage | [8 empty] | Other (describe) | 60+ | 60 | Fair | 0.5 |  |  | Plaster on metal lath | Full Recessed China Drinking Fountains | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | [11 empty] | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present | [15 empty] | Present | [7 empty] | Present
133 | C | @ 310 (Teacher's Lounge) | 3rd | [6 empty] | Carpet | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | [11 empty] | Other (describe) | 60+ | 60 | Fair | 0.5 | [21 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [19 empty] | Present | [15 empty] | Present | [7 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Tread Finish | [7 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [7 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
148 | A | @ un-41 (Main Office) | 1st-4th | [6 empty] | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Epoxy | Other (describe) | 22 | 30 | 26 | Fair | 0.5 |  |  | Epoxy | Wood/Metal Frame | 41070 |  | 8 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | [11 empty] | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [18 empty] | Present
149 | B | @ Building Phase B | 1st-3rd | [6 empty] | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | CIP Concrete | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Epoxy | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Epoxy | Wood/Metal Frame | 41070 |  | 8 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [18 empty] | Present
150 | C | @ UN-11 (Kitchen/Cafeteria) | 1st-4th | [6 empty] | Plaster on Metal Lath | 60+ |  | 60 | Fair | 0.5 |  |  |  | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | CIP Concrete | Painted Walls | 10+ |  | 10 | Very Poor | 0.1 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Epoxy | Other (describe) | 30+ |  | 30 | Fair | 0.5 |  |  | Epoxy | Wood/Metal Frame | 41070 |  | 8 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [18 empty] | Present

## Master File (Systems)
systems | Question | Value1 |  | Average1 | systems | Question | Value1 |  | Average1
Systems | Seg ID | 1047 |  |  | InfoTech | Seg ID | 388
| Bldg.Phase | C |  |  |  | Bldg.Phase | B
| Original | 0 |  |  |  | Original | 0
| Addition | 1 |  |  |  | Addition | 1
| Year Built | 1915 |  |  |  | Year Built | 1904
Domestic Water Heaters | Location | Boiler room |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  |  | Description
| Age | 30+ |  | 30 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Sanitary Drainage | Location |  |  |  | Main Dist. Facility (MDF) | Location | Above Ground Level Floor
| Description |  |  |  |  | Description | 328. Floor mounted
| Age |  |  |  |  | Age | 41100 |  | 8.5
| Condition |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Building Support (other) Plumbing Systems | Location | Boiler room |  |  | MDF, HVAC Terminal Units | Location
| Description | Other (describe) |  |  |  | Description | Unit Vent. AND Fin Tube
| Age | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Poor |  | 0.25 |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Sump pump |  |  |  | Notes
Fuel Piping | Location | Boiler room |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description | Window Mounted
| Age | 46 |  | 23 |  | Age | 22 | 30 | 26
| Condition | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location
| Description | Fuel/Oil Pumps |  |  |  | Description
| Age | 46 |  | 23 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description | Below/ground |  |  |  | Description
| Age | 0 |  | 0 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Fired Boilers | Location |  |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas/Fired Boilers |  |  |  | Description
| Age | 46 |  | 23 |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location
| Description | Single Loop Hot Water System |  |  |  | Description
| Age | 46 | 60 | 53 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location |  |  |  | IDF #4, HVAC Terminal Units | Location
| Description | Steam Condensate Pumps |  |  |  | Description
| Age | 46 | 60 | 53 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location |  |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Two Pipe |  |  |  | Description
| Age | 46 | 60 | 53 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location |  |  |  | Inter. Data Facility (IDF #5) | Location
| Description | Other (describe) |  |  |  | Description
| Age | 16 | 30 | 23 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Exhaust fans |  |  |  | Notes
Air Handling Units | Location |  |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Fans | Location |  |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location
| Description | Diesel Engine Generators
| Age | 0 | 15 | 7.5
| Condition | Good |  | 0.75
CheckBox
Quantity
| Voltage | 208
| Power Output | 24kva
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location
| Description | D5010 120
| Age | 60+ |  | 60
| Condition | Poor |  | 0.25
CheckBox
Quantity
| Voltage | 208
Power Output
Elec Power
Notes
Voice Communication Terminal Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location
| Description | Public Address and Mass Notification Systems
| Age | 31 | 40 | 35.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location
| Description | Analog Video Recording Devices
| Age | 40+ |  | 40
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location
| Description | Fire Alarm Annunciation Panels
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 | Average1 | Value2 |  | Average2 | Value3 | Average3 | Value4 |  | Average4 | systems | Question | Value1 |  | Average1
Exterior | Seg ID | 1385 |  | 1399 |  |  | 1727 |  | 1424 |  |  | SiteElements | Seg ID | 330
| Bldg.Phase | A |  | B |  |  | C |  | D |  |  |  | Bldg.Phase | A
| Original | 1 |  | 0 |  |  | 0 |  | 0 |  |  |  | Original | 1
| Addition | 0 |  | 1 |  |  | 1 |  | 1 |  |  |  | Addition | 0
| Year Built | 1869 |  | 1904 |  |  | 1915 |  | 1921 |  |  |  | Year Built | 1869
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typical |  | Typical |  |  | Typical |  | Typical |  |  | Roadways | Location | Typical
| Description | Concrete, Cast/In/Place |  | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  | Concrete, Cast/In/Place |  |  |  | Description | Asphalt (Bituminous)
| Age | 60+ | 60 | 60+ |  | 60 | 60+ | 60 | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Fair | 0.5 | Fair |  | 0.5 | Fair | 0.5 | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox | [11 empty] | CheckBox
| Quantity | [11 empty] | Quantity
| Voltage | [11 empty] | Voltage
| Power Output | [11 empty] | Power Output
| Elec Power | [11 empty] | Elec Power
| Notes | [11 empty] | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location | [10 empty] | Parking Lots | Location | Typical
| Description | [11 empty] | Description | Asphalt (Bituminous)
| Age | [11 empty] | Age | 30+ |  | 30
| Condition | [11 empty] | Condition | Poor |  | 0.25
| CheckBox | [11 empty] | CheckBox
| Quantity | [11 empty] | Quantity
| Voltage | [11 empty] | Voltage
| Power Output | [11 empty] | Power Output
| Elec Power | [11 empty] | Elec Power
| Notes | [11 empty] | Notes
Standard Slabs On Grade, Primary | Location | Typical |  | Typical |  |  | Typical |  | Typical |  |  | Pedestrian Plazas and Walkways, Primary | Location | Typical
| Description | Concrete, Cast/In/Place |  | Concrete, Cast/In/Place |  |  | Concrete, Cast/In/Place |  | Concrete, Cast/In/Place |  |  |  | Description | Concrete, CIP
| Age | 60+ | 60 | 60+ |  | 60 | 60+ | 60 | 60+ |  | 60 |  | Age | 22 | 30 | 26
| Condition | Fair | 0.5 | Fair |  | 0.5 | Fair | 0.5 | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox | [11 empty] | CheckBox
| Quantity | [11 empty] | Quantity
| Voltage | [11 empty] | Voltage
| Power Output | [11 empty] | Power Output
| Elec Power | [11 empty] | Elec Power
| Notes | [11 empty] | Notes
Standard Slabs On Grade, Secondary | Location | [10 empty] | Pedestrian Plazas and Walkways, Secondary | Location
| Description | [11 empty] | Description
| Age | [11 empty] | Age
| Condition | [11 empty] | Condition
| CheckBox | [11 empty] | CheckBox
| Quantity | [11 empty] | Quantity
| Voltage | [11 empty] | Voltage
| Power Output | [11 empty] | Power Output
| Elec Power | [11 empty] | Elec Power
| Notes | [11 empty] | Notes
Floor Construction, Primary | Location | Typical |  | Typical |  |  | Typical |  | Typical |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Other (describe) |  | Other (describe) |  |  | Other (describe) |  | Other (describe) |  |  |  | Description
| Age | 60+ | 60 | 60+ |  | 60 | 60+ | 60 | 60+ |  | 60 |  | Age
| Condition | Fair | 0.5 | Fair |  | 0.5 | Fair | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [11 empty] | CheckBox
| Quantity | [11 empty] | Quantity
| Voltage | [11 empty] | Voltage
| Power Output | [11 empty] | Power Output
| Elec Power | [11 empty] | Elec Power
| Notes | Composite Masonry |  | Composite Masonry |  |  | Composite Masonry |  | Composite Masonry |  |  |  | Notes
Floor Construction, Secondary | Location | [10 empty] | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description | [11 empty] | Description
| Age | [11 empty] | Age
| Condition | [11 empty] | Condition
| CheckBox | [11 empty] | CheckBox
| Quantity | [11 empty] | Quantity
| Voltage | [11 empty] | Voltage
| Power Output | [11 empty] | Power Output
| Elec Power | [11 empty] | Elec Power
| Notes | [11 empty] | Notes
Roof Construction, Structural Frame, Primary | Location | Typical |  | Typical |  |  | Typical |  | Typical |  |  | Site Lighting, Primary | Location | Typical
| Description | Other (describe) |  | Wood, Beams and Joists |  |  | Other (describe) |  | Other (describe) |  |  |  | Description | Pole Mounted H.I.D.
| Age | 60+ | 60 | 60+ |  | 60 | 60+ | 60 | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Fair | 0.5 | Fair |  | 0.5 | Fair | 0.5 | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox | [11 empty] | CheckBox
| Quantity | [11 empty] | Quantity
| Voltage | [11 empty] | Voltage
| Power Output | [11 empty] | Power Output
| Elec Power | [11 empty] | Elec Power
| Notes | Composite Masonry |  | Wood truss |  |  | Composite Masonry |  | Composite Masonry |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location | [10 empty] | Site Lighting, Secondary | Location | Typical
| Description | [11 empty] | Description | Building Mounted H.I.D.
| Age | [11 empty] | Age | 30+ |  | 30
| Condition | [11 empty] | Condition | Poor |  | 0.25
| CheckBox | [11 empty] | CheckBox
| Quantity | [11 empty] | Quantity
| Voltage | [11 empty] | Voltage
| Power Output | [11 empty] | Power Output
| Elec Power | [11 empty] | Elec Power
| Notes | [11 empty] | Notes
Exterior Walls / Exterior Assembly, Primary | Location | Typical |  | Typical |  |  | Typical |  | Typical |  |  | Playground Surface | Location | Typical
| Description | Other (describe) |  | Other (describe) |  |  | Other (describe) |  | Other (describe) |  |  |  | Description | Asphalt (Bituminous)
| Age | 60+ | 60 | 60+ |  | 60 | 60+ | 60 | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Fair | 0.5 | Fair |  | 0.5 | Fair | 0.5 | Fair |  | 0.5 |  | Condition | Poor |  | 0.25
| CheckBox | [11 empty] | CheckBox
| Quantity | [11 empty] | Quantity
| Voltage | [11 empty] | Voltage
| Power Output | [11 empty] | Power Output
| Elec Power | [11 empty] | Elec Power
| Notes | Brick veneer with cmu backup wall |  | Brick veneer with cmu backup wall |  |  | Brick veneer with cmu backup wall |  | Brick veneer with cmu backup wall |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location | Typical | [9 empty] | Playground Equipment | Location | Typical
| Description | Stucco w/ Brick B/U | [10 empty] | Description | B/Ball Backstops
| Age | 60+ | 60 | [9 empty] | Age | 30+ |  | 30
| Condition | Fair | 0.5 | [9 empty] | Condition | Very Poor |  | 0.1
| CheckBox | [11 empty] | CheckBox
| Quantity | [11 empty] | Quantity
| Voltage | [11 empty] | Voltage
| Power Output | [11 empty] | Power Output
| Elec Power | [11 empty] | Elec Power
| Notes | damage near windows | [10 empty] | Notes | Replace
Exterior Windows, Primary | Location | Typical |  | Typical |  |  | Typical |  | Typical |  |  | TCUs | Location | Typical
| Description | Aluminum, Double Hung |  | Aluminum, Double Hung |  |  | Aluminum, Double Hung |  | Aluminum, Double Hung |  |  |  | Description | Other (describe)
| Age | 30+ | 30 | 30+ |  | 30 | 30+ | 30 | 30+ |  | 30 |  | Age | 41136 |  | 11.5
| Condition | Fair | 0.5 | Fair |  | 0.5 | Fair | 0.5 | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox | [11 empty] | CheckBox
| Quantity | [11 empty] | Quantity
| Voltage | [11 empty] | Voltage
| Power Output | [11 empty] | Power Output
| Elec Power | [11 empty] | Elec Power
| Notes | [11 empty] | Notes | Classrooms
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Single Pane |  | Glass, Single Pane |  |  | Glass, Single Pane |  | Glass, Single Pane
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles |  | Security Grilles |  |  | Security Grilles |  | Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location | Typical
| Description | Aluminum, Awning/Hopper
| Age | 30+ | 30
| Condition | Fair | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
| Description | Glass, Single Pane
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles / Other
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | Typical |  | Typical |  |  | Typical |  | Typical
| Description | Wood |  | Wood |  |  | Wood |  | Wood
| Age | 60+ | 60 | 60+ |  | 60 | 60+ | 60 | 60+ |  | 60
| Condition | Poor | 0.25 | Poor |  | 0.25 | Poor | 0.25 | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location |  |  | Typical |  |  | Typical |  | Typical
| Description |  |  | Fiber Reinforced Panel (FRP) |  |  | Fiber Reinforced Panel (FRP) |  | Fiber Reinforced Panel (FRP)
| Age |  |  | 0 | 15 | 7.5 | 60+ | 60 | 0 | 15 | 7.5
| Condition |  |  | Good |  | 0.75 | Good | 0.75 | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | Typical |  | Typical |  |  | Typical |  | Typical
| Description | Other (describe) |  | Asphalt Shingle |  |  | Other (describe) |  | Other (describe)
| Age | 30+ | 30 | 22 | 30 | 26 | 30+ | 30 | 30+ |  | 30
| Condition | Fair | 0.5 | Good |  | 0.75 | Fair | 0.5 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | EPDM |  |  |  |  | EPDM |  | EPDM
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | Typical |  | Typical |  |  | Typical |  | Typical
| Description | Aluminum |  | Other (describe) |  |  | Aluminum |  | Aluminum
| Age | 30+ | 30 | 30+ |  | 30 | 30+ | 30 | 30+ |  | 30
| Condition | Good | 0.75 | Poor |  | 0.25 | Good | 0.75 | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes |  |  | Wood trim
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | Typical |  | Typical |  |  | Typical
| Description | Other (describe) |  | Aluminum |  |  | Other (describe)
| Age | 30+ | 30 | 41136 |  | 11.5 | 30+ | 30
| Condition | Good | 0.75 | Good |  | 0.75 | Fair | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Cast Iron Internal Drains |  |  |  |  | Cast Iron Internal Drains
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes