## FCI Summary
Building Name: | Ridge Street | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 42582
Number of Floors: | B + 2
School Age (years): | 101 | Note: Includes Ridge Street ECC enrollment & capacity
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 44.52%
Facility Condition = | POOR
FCI Deficiency Cost = | 3909874.0549
FCI Replacement Cost = | 8782537.5
CAPACITY UTILIZATION
Recent 2012 Enrollment = | 596
Historic 2005 LRFP Capacity = | 462
Adjusted 2012 Capacity = | 470
Recent Occupancy % = | 126.8%
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 83.49%
Classroom Adequacy = | FAIR
Special Spaces Adequacy % Score = | 43.36%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Ridge Street | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 42582
Largest Floor Level Area: |  | 15321
Vertical FAR Ratio: |  | 2.7793
School Age (years): |  | 101
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 2.7% | 5.5687 | 42582 | 237128.5125 | 100 | 101 | 0 | 0.5 | 5 | 5 | 11856.4256 | 225272.0869 | 95%
|  |  | A1030 - SLAB ON GRADE | 2.65% | 5.4656 | 42582 | 232737.2437 | 100 | 101 | 0 | 0.25 | 5 | 5 | 11636.8622 | 221100.3816 | 95%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 42582 | 193215.825 | 100 | 101 | 0 | 0.25 | 5 | 5 | 9660.7913 | 183555.0337 | 95%
|  |  | SUBTOTAL SUBSTRUCTURE | 7.55% | 15.5719 | 42582 | 663081.5813
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 42582 | 966079.125 | 100 | 101 | 0 | 0.5 | 5 | 5 | 48303.9563 | 917775.1687 | 95%
|  |  | B1020 - ROOF CONSTRUCTION | 3.4% | 7.0125 | 42582 | 298606.275 | 100 | 101 | 0 | 0.5 | 5 | 5 | 14930.3138 | 283675.9613 | 95%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 7.7% | 15.8812 | 42582 | 676255.3875 | 100 | 101 | 0 | 0.49537 | 5 | 5 | 33812.7694 | 642442.6181 | 95%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 4.4% | 9.075 | 42582 | 386431.65 | 30 | 22.625 | 7.375 | 0.5625 | 16.875 | 24.25 | 312365.5837 | 74066.0662 | 19.17%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 3% | 6.1875 | 42582 | 263476.125 | 30 | 23.8333 | 6.1667 | 0.66667 | 20 | 26.1667 | 229809.7313 | 33666.3937 | 12.78%
|  |  | SUBTOTAL SHELL | 29.5% | 60.8438 | 42582 | 2590848.5625
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 42582 | 351301.5 | 60 | 56.3958 | 3.6042 | 0.51042 | 30.625 | 34.2292 | 200412.6266 | 150888.8734 | 42.95%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 42582 | 131738.0625 | 20 | 23.6154 | 0 | 0.48462 | 5 | 5 | 32934.5156 | 98803.5469 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 42582 | 351301.5 | 20 | 15.25 | 4.75 | 0.425 | 8.5 | 13.25 | 232737.2437 | 118564.2563 | 33.75%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 42582 | 131738.0625 | 30 | 101 | 0 | 0.5 | 5 | 5 | 21956.3438 | 109781.7188 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 3.2% | 6.6 | 42582 | 281041.2 | 10 | 9.2692 | 0.73077 | 0.44615 | 4.4615 | 5.1923 | 145925.2385 | 135115.9615 | 48.08%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 42582 | 526952.25 | 20 | 16.6964 | 3.3036 | 0.33621 | 6.7241 | 10.0277 | 264206.2005 | 262746.0495 | 49.86%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 42582 | 526952.25 | 30 | 21.7292 | 8.2708 | 0.51458 | 15.4375 | 23.7083 | 416438.6531 | 110513.5969 | 20.97%
|  |  | SUBTOTAL INTERIORS | 26.2% | 54.0375 | 42582 | 2301024.825
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.75% | 1.5469 | 42582 | 65869.0312 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 65869.0312 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 42582 | 131738.0625 | 60 | 23.3976 | 36.6024 | 0.52976 | 31.7857 | 60 | 131738.0625 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 42582 | 114172.9875 | 60 | 3.5 | 56.5 | 0.75 | 45 | 60 | 114172.9875 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 42582 | 105390.45 | 60 | 0 | 60 | 0 | 0 | 60 | 105390.45 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 42582 | 43912.6875 | 30 | 0 | 30 | 0 | 0 | 30 | 43912.6875 | 0 | 0%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 3.2% | 6.6 | 42582 | 281041.2 | 60 | 0 | 60 | 0.5 | 30 | 60 | 281041.2 | 0 | 0%
|  |  | D3020 - BOILERS | 2.5% | 5.1562 | 42582 | 219563.4375 | 60 | 60 | 0 | 0.175 | 10.5 | 10.5 | 38423.6016 | 181139.8359 | 82.5%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4.5% | 9.2812 | 42582 | 395214.1875 | 40 | 0 | 40 | 0.5 | 20 | 40 | 395214.1875 | 0 | 0%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4.5% | 9.2812 | 42582 | 395214.1875 | 40 | 22.0595 | 17.9405 | 0.5 | 20 | 37.9405 | 374865.3618 | 20348.8257 | 5.149%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 0% | 0 | 42582 | 0 | 40 | 0 | 40 | 0 | 0 | 40 | 0 | 0 | 0%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 42582 | 131738.0625 | 20 | 0 | 20 | 0 | 0 | 20 | 131738.0625 | 0 | 100%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 42582 | 87825.375 | 20 | 0 | 20 | 0 | 0 | 20 | 87825.375 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 42582 | 17565.075 | 20 | 11.5 | 8.5 | 0.75 | 15 | 20 | 17565.075 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 42582 | 114172.9875 | 60 | 0 | 60 | 0 | 0 | 60 | 114172.9875 | 0 | 0%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 42582 | 614777.625 | 30 | 10.2273 | 19.7727 | 0.72159 | 21.6477 | 30 | 614777.625 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 42582 | 263476.125 | 20 | 13.0391 | 6.9609 | 0.52734 | 10.5469 | 17.5078 | 230644.5297 | 32831.5953 | 12.46%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 42582 | 26347.6125 | 20 | 21.9318 | 0 | 0.52273 | 5 | 5 | 6586.9031 | 19760.7094 | 75%
|  |  | SUBTOTAL SERVICES | 34.25% | 70.6406 | 42582 | 3008019.0938
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 42582
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 42582
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 42582
|  |  | E1090 - OTHER EQUIPMENT |  |  | 42582
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 42582
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 42582
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 42582
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 42582
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 42582
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 42582 | 87825.375 | 30 | 0 | 30 | 0.25 | 7.5 | 30 | 87825.375 | 0 | 0%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 42582 | 43912.6875 | 30 | 30 | 0 | 0.5 | 15 | 15 | 21956.3438 | 21956.3438 | 50%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 42582 | 43912.6875 | 30 | 18.5 | 11.5 | 0.75 | 22.5 | 30 | 43912.6875 | 0 | 0%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 42582 | 43912.6875 | 30 | 0 | 30 | 0.1 | 3 | 30 | 43912.6875 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 42582 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 42582
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 42582 | 8782537.5 | [7 empty] | 3909874.0549 | 44.52%
100%
Note on J34: Tessier, Matthew: No Survey Data
Note on J35: Tessier, Matthew: No Survey Data
Note on J36: Tessier, Matthew: No Survey Data
Note on J38: Tessier, Matthew: No Survey Data
Note on J41: Tessier, Matthew: No Survey Data
Note on J42: Tessier, Matthew: No Survey Data
Note on J44: Tessier, Matthew: No Survey Data
Note on J58: Tessier, Matthew: No Survey Data
Note on J61: Tessier, Matthew: No Survey Data

## Master File (Interior)
Ridge Street
School Code:
NPS Code:
Street: | 735 Ridge St.
City/Town: | Newark,
Database ID: | 56
Total size (gsf):
ROOM INFORMATION | [12 empty] | 53.6111 | Ave Condition | 0.49074 | [6 empty] | 16.6964 | Ave Condition | 0.33621 | [6 empty] | 9.2692 | Ave Condition | 0.44615 | [6 empty] | 21.7292 | Ave Condition | 0.51458 | [5 empty] | 23.6154 | Ave Condition | 0.48462 | [6 empty] | 56.3958 | Ave Condition | 0.51042 | [6 empty] | 25.6429 | Ave Condition | 0.5 | [5 empty] | 19.4286 | Ave Condition | 0.60714 | [5 empty] | 26.9167 | Ave Condition | 0.54167 | [5 empty] | 30 | Ave Condition | 0.33333 | [6 empty] | 15 | Ave Condition | 0.66667 | [6 empty] | 15.25 | Ave Condition | 0.425 | [6 empty] | 8.9545 | Ave Condition | 0.69318 | [6 empty] | 21.9318 | Ave Condition | 0.52273 | [5 empty] | 29.119 | Ave Condition | 0.41667 | [6 empty] | 15 | Ave Condition | 0.58333 | [5 empty] | 11.5 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 9.8125 | Ave Condition | 0.46875 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Interior Door | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [7 empty] | Plumbing Fixtures - Urinals | [7 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
10657 | 100 | Storage | Basement | A | Small Group Instruction |  |  | 406 | 12' 1" | [9 empty] | Ceramic Tile | [17 empty] | Plaster
10658 | 101 | Small Group Instruction | Basement | A | Small Group Instruction |  |  | 380 | 12' 1" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Poor | 0.25 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | [51 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Poor | 0.25 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present | [18 empty] | Other (describe) | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 |  | Desktops | [70 empty] | Present
10659 | 102 | Classroom | Basement | A | General Classroom |  |  | 745 | 11' 10" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | [51 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Poor | 0.25 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 2 |  | Desktops | [70 empty] | Present - Present
10660 | 103 | Storage | Basement | A | Support |  |  | 564 | 10' 11" | [9 empty] | Unfinished | [17 empty] | Plaster
10661 | 104 | Library | Basement | A | Media Center |  |  | 657 | 12' 1" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Poor | 0.25 |  |  | Brick Giant hole on wall | [51 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Poor | 0.25 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 2 |  | Desktops | [70 empty] | Present - Present - Present
10662 | 104A | N/A | Basement | A | Media Center |  |  | 122 | 12' 1" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
10663 | 105 | Parent Room | Basement | A | Administration |  |  | 299 | 12' 1" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
10664 | 106 | Boys' Water Closet | Basement | A | Support |  |  | 299 | 12' 1" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 2 | [7 empty] | 4 | [7 empty] | 5
10665 | 107 | Boiler Room | Basement | A | Support |  |  | 753 | N/A
10666 | 108 | Classroom | Basement | A | General Classroom |  |  | 615 | 11' 10" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Good | 0.75 |  |  |  | Unfinished Ceiling | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 41070 | 8 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | [51 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41136 |  | 11.5 | Good | 0.75 | [18 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 25 |  | Desktops | [70 empty] | Present - Present - Present - Present
10667 | 109 | Gymnasium | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 2846 | N/A | CMU Back-up Wall | 60+ |  | 60 | Poor | 0.25 |  |  |  | Wood | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Very Poor | 0.1 |  |  |  | Plaster | 30+ |  | 30 | Very Poor | 0.1 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Poor | 0.25 |  |  | Brick | [51 empty] | Incandescent Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  | Ceiling | [24 empty] | Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present
10668 | 109A | Gym Office | Basement | A | Phys. Ed. (Gym + Storage) |  |  | 128 | 12' 1" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10669 | 110 | Storage | Basement | A | Support |  |  | 578 | N/A
10670 | 111 | Storage | Basement | A | Support |  |  | 595 | N/A
10671 | 112 | Custodial Office | Basement | A | Support |  |  | 321 | N/A
10672 | 113 | Cafeteria | Basement | A | Food Service/Assembly (K-8) |  |  | 1397 | 12' 1" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Poor | 0.25 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | [51 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Good | 0.75 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [27 empty] | Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present
10673 | 113A | Kitchen | Basement | A | Food Service/Assembly (K-8) |  |  | 86 | 12' 1" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Poor | 0.25 |  |  |  | Vinyl Asbestos Tile (VAT) | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ | 20 | Very Poor | 0.1 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | [51 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 | [11 empty] | Other (describe) | 30+ |  | 30 | Poor | 0.25 |  |  | Kitchen exahust hood | Dry Chemical | 41136 | 11.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present - Present - Present - Present | [160 empty] | Present | [8 empty] | Present
10674 | UN-1 | Storage | Basement | A | General Classroom |  |  | 112 | N/A
10675 | UN-2 | Custodial Closet | Basement | A | Support |  |  | 21 | N/A
10676 | UN-3 | Storage | Basement | A | Support |  |  | 14 | N/A
10677 | UN-4 | N/A | Basement | A | N/A |  |  | 161 | N/A
10678 | 201 | Classroom | 1st Floor | A | General Classroom |  |  | 721 | 12' 8" | [9 empty] | Wood | [17 empty] | Plaster
10679 | 202 | Classroom | 1st Floor | A | General Classroom |  |  | 761 | 12' 8" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present | [60 empty] | 4 | [72 empty] | Present
10680 | 203 | Classroom | 1st Floor | A | General Classroom |  |  | 727 | 12' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
10681 | 204 | Office | 1st Floor | A | Administration |  |  | 411 | 12' 8" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Poor | 0.25 |  |  |  | Painted Walls | 41004 |  | 4.5 | Good | 0.75 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [27 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 3 CPUs | [106 empty] | Present - Present
10682 | 208 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 702 | 12' 8" | [9 empty] | Wood | [17 empty] | Plaster
10683 | 209 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 715 | 12' 8" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 | 0 |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | In-Counter Lavatories | 30+ |  | 30 | Fair | 0.5 | [45 empty] | Fluorescent Linear Pendant Mount Fixture | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ |  | 30 | Good | 0.75 | 0 |  |  | Fin Tube Radiation | 30+ | 30 | Poor | 0.25 | 0 | [26 empty] | Present - Present - Present | [18 empty] | Other (describe) | 10+ |  | 10 | Poor | 0.25 | [36 empty] | 5 | [72 empty] | Present - Present - Present
10684 | 210 | Classroom | 1st Floor | A | General Classroom |  |  | 762 | 12' 8" | [9 empty] | Wood | [17 empty] | Plaster
10685 | 211 | Classroom | 1st Floor | A | General Classroom |  |  | 763 | 12' 8" | [9 empty] | Wood | [17 empty] | Plaster
10686 | 212 | Computer Room | 1st Floor | A | Technological Literacy |  |  | 241 | 8' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
10687 | 213 | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 221 | 9' 0" | [9 empty] | Unfinished | [17 empty] | Plaster
10688 | 216 | Classroom | 1st Floor | B | General Classroom |  |  | 791 | N/A | Drywall(Gypsum)/Metal Stud Framing | 0 | 15 | 7.5 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Good | 0.75 |  |  |  | Other (describe) | 41100 |  | 8.5 | Fair | 0.5 |  |  | Vinyl panels | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Metal/Metal Frame | 41070 | 8 | Fair | 0.5 | [63 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Other (describe) | 41136 | 11.5 | Good | 0.75 |  |  | Central hvac | [9 empty] | Dry Chemical | 41136 | 11.5 | Good | 0.75 | [10 empty] | Present - Present - Present - Present | [8 empty] | Present | [9 empty] | Hardwired CAT 5/6 | 41100 |  | 8.5 | Fair | 0.5 | [36 empty] | 2 | [72 empty] | Present - Present - Present - Present
10689 | 217 | Classroom | 1st Floor | A | General Classroom |  |  | 791 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10690 | 218 | Classroom | 1st Floor | A | General Classroom |  |  | 791 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10691 | 219 | Classroom | 1st Floor | A | General Classroom |  |  | 791 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10692 | 219A | ESL | 1st Floor | B | Small Group Instruction |  |  | 362 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10693 | 220 | Faculty Lounge | 1st Floor | B | Faculty Support |  |  | 790 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | 41070 |  | 8 | Very Poor | 0.1 | [12 empty] | Suspended Acoustical | [126 empty] | Present - Present - Present - Present - Present | [8 empty] | Present - Present | [17 empty] | 1 CPU | [106 empty] | Present - Present - Present - Present - Present
10694 | 221 | Classroom | 1st Floor | A | General Classroom |  |  | 790 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10695 | 222 | Classroom | 1st Floor | B | General Classroom |  |  | 784 | N/A | [9 empty] | Vinyl Composition Tile (VCT) |  |  |  | Fair | 0.5 | [12 empty] | Suspended Acoustical | [111 empty] | Dry Chemical | [14 empty] | Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present | [51 empty] | 3 | [72 empty] | Present - Present - Present - Present - Present - Present
10696 | 223 | Classroom | 1st Floor | A | General Classroom |  |  | 784 | N/A | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Acoustical Panel
10697 | UN-5 | Boys' Water Closet | 1st Floor | A | Support |  |  | 191 | 10' 6" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 2 | [7 empty] | 2 | [7 empty] | 5
10698 | UN-6 | Custodial Closet | 1st Floor | A | Support |  |  | 18 | N/A
10699 | UN-7 | Custodial Closet | 1st Floor | A | Support |  |  | 10 | N/A
10700 | UN-8 | Office | 1st Floor | A | Administration |  |  | 117 | 12' 8" | [9 empty] | Vinyl Composition Tile (VCT) | [17 empty] | Plaster
10701 | UN-9 | Principal\'s Office | 1st Floor | A | Administration |  |  | 190 | 12' 8" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 41228 |  | 13 | Fair | 0.5 |  |  |  | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 | [18 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 CPU | [106 empty] | Present - Present - Present - Present - Present - Present - Present
10702 | UN-10 | Office | 1st Floor | A | Health Services |  |  | 86 | 12' 8" | [9 empty] | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 |  |  | Exhaust ventilation grille | [24 empty] | Present - Present - Present - Present - Present - Present - Present
10703 | UN-11 | Clinic | 1st Floor | A | Health Services |  |  | 108 | 12' 8" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | [17 empty] | Plaster | [25 empty] | Wall-Mounted Lavatories | 30+ |  | 30 | Good | 0.75 | 1 | [62 empty] | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [27 empty] | Present - Present - Present - Present - Present - Present - Present | [26 empty] | 1 CPU | [106 empty] | Present - Present - Present - Present - Present - Present - Present
10704 | UN-12 | Water Closet | 1st Floor | A | Health Services |  |  | 24 | 10' 6" | [9 empty] | Ceramic Tile | [17 empty] | Acoustical Panel | [31 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10705 | UN-13 | Faculty Lounge | 1st Floor | A | Faculty Support |  |  | 215 | 12' 8" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 0 | 7 | 3.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Poor | 0.25 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [27 empty] | Present - Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present - Present
10706 | UN-14 | Faculty Water Closet | 1st Floor | A | Faculty Support |  |  | 19 | 10' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 |  |  | Floor Mounted Flush Tank | 30+ | 30 | Fair | 0.5 | 1 | [7 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Poor | 0.25 | [35 empty] | Present - Present - Present - Present - Present - Present - Present
10707 | UN-15 | Storage | 1st Floor | A | Kindergarten Classroom |  |  | 11 | N/A
10708 | UN-16 | Storage | 1st Floor | A | Kindergarten Classroom |  |  | 18 | N/A
10709 | UN-17 | Girls\' Water Closet | 1st Floor | A | Support |  |  | 169 | 10' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Sheet Vinyl | 20+ |  | 20 | Very Poor | 0.1 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | 2 |  |  | Floor Mounted Flush Valve | 30+ | 30 | Poor | 0.25 | 4 | [7 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 16 | 30 | 23 | Very Poor | 0.1 |  |  | Painted | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 |  |  | Ceiling radiator pipes | [24 empty] | Present - Present - Present - Present - Present - Present - Present
10710 | UN-18 | Auditorium | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 3695 | 25' 0" | [9 empty] | Wood | [17 empty] | Plaster
10711 | UN-19 | N/A | 1st Floor | A | General Classroom |  |  | 49 | N/A
10712 | UN-20 | N/A | 1st Floor | A | General Classroom |  |  | 49 | N/A
10713 | UN-21 | N/A | 1st Floor | A | General Classroom |  |  | 44 | N/A
10714 | UN-22 | N/A | 1st Floor | A | Faculty Support |  |  | 44 | N/A
10715 | UN-23 | N/A | 1st Floor | A | General Classroom |  |  | 42 | N/A
10716 | UN-24 | N/A | 1st Floor | A | General Classroom |  |  | 42 | N/A
10717 | UN-25 | N/A | 1st Floor | A | General Classroom |  |  | 42 | N/A
10718 | UN-26 | N/A | 1st Floor | A | General Classroom |  |  | 42 | N/A | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Sheet Vinyl | 41070 |  | 8 | Poor | 0.25 | 0 |  |  | Other (describe) | 41100 |  | 8.5 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Metal/Metal Frame | 41070 | 8 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 41136 |  | 11.5 | Fair | 0.5 | 1 |  | Tank floor Fair | [42 empty] | Fluorescent Lay-In Fixture (Troffer) | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  | Toilet exhaust vent | [24 empty] | Present - Present - Present - Present - Present - Present - Present | [8 empty] | Present - Present - Present - Present
10719 | 301 | Classroom | 2nd Floor | A | General Classroom |  |  | 717 | 10' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Very Poor | 0.1 | 0 |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present | [60 empty] | 4 | [72 empty] | Present
10720 | 302 | Classroom | 2nd Floor | A | General Classroom |  |  | 761 | 10' 6" | [9 empty] | Wood | [17 empty] | Acoustical Panel
10721 | 303 | Classroom | 2nd Floor | A | General Classroom |  |  | 743 | 10' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 | 0 |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Poor | 0.25 | 0 |  | Water damaged tiles | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 | [26 empty] | Present - Present | [60 empty] | 4 | [72 empty] | Present - Present
10722 | 304 | Classroom | 2nd Floor | A | General Classroom |  |  | 735 | 10' 9" | [9 empty] | Wood | [17 empty] | Acoustical Panel
10723 | 305 | Classroom | 2nd Floor | A | General Classroom |  |  | 850 | 10' 9" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41067 |  | 6.5 | Fair | 0.5 | 0 |  |  | Acoustical Panel | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 |  | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Unit Vent. AND Radiators | 30+ | 30 | Poor | 0.25 | 0 | [26 empty] | Present - Present - Present | [60 empty] | 4 | [72 empty] | Present - Present - Present
10724 | 306 | Classroom | 2nd Floor | A | General Classroom |  |  | 762 | 10' 6" | [9 empty] | Wood | [17 empty] | Acoustical Panel
10725 | 307 | Classroom | 2nd Floor | A | General Classroom |  |  | 733 | 10' 6" | [9 empty] | Wood | [17 empty] | Acoustical Panel
10726 | 308 | Classroom | 2nd Floor | A | General Classroom |  |  | 762 | 10' 6" | [9 empty] | Wood | [17 empty] | Acoustical Panel
10727 | 309 | Classroom | 2nd Floor | A | General Classroom |  |  | 763 | 10' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ |  | 20 | Poor | 0.25 | 0 |  |  | Painted Walls | 41067 |  | 6.5 | Poor | 0.25 | 0 |  |  | Suspended Acoustical | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [53 empty] | Fluorescent Lay-In Fixture (Troffer) | 0 | 7 | 3.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 0 | 7 | 3.5 | Poor | 0.25 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | 0 | [26 empty] | Present - Present - Present - Present | [60 empty] | 4 | [72 empty] | Present - Present - Present - Present
10728 | UN-27 | Boys\' Water Closet | 2nd Floor | A | Support |  |  | 191 | 10' 6" | Plaster Partitions/on CMU Back-up Wall | 60+ |  | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls with Wainscot | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 2 |  |  | Floor Mounted Flush Valve | 30+ | 30 | Fair | 0.5 | 2 |  |  | Wall Hung | 30+ | 30 | Fair | 0.5 | 5 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Good | 0.75 |  |  |  | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  | Ceiling radiator pipes | [33 empty] | Present
10729 | UN-28 | Custodial Closet | 2nd Floor | A | Support |  |  | 18 | N/A
10730 | UN-29 | Custodial Closet | 2nd Floor | A | Support |  |  | 10 | N/A
10731 | UN-30 | Storage | 2nd Floor | A | Support |  |  | 234 | 12' 4" | [9 empty] | Wood | [17 empty] | Plaster
10732 | UN-31 | Girls' Water Closet | 2nd Floor | A | Support |  |  | 168 | 10' 6" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 2 | [7 empty] | 4 | [7 empty] | 0
10733 | UN-32 | Counselor's Office | 2nd Floor | A | Administration |  |  | 165 | 10' 11" | [9 empty] | Wood | [17 empty] | Plaster
10734 | UN-33 | Faculty Water Closet | 2nd Floor | A | Administration |  |  | 21 | 10' 6" | [9 empty] | Ceramic Tile | [17 empty] | Plaster | [31 empty] | 1 | [7 empty] | 1 | [7 empty] | 0
10735 | UN-34 | Storage | 2nd Floor | A | Administration |  |  | 20 | N/A
10736 | UN-35 | Auditorium Seating | 2nd Floor | A | Assembly/Large Group (9-12) |  |  | 800 | N/A
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
55 | A |  | 1st | [6 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on brick | Other (describe) | 20+ |  | 20 | Fair | 0.5 |  |  | Concrete | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | [11 empty] | Other (describe) | 60+ |  | 60 | Good | 0.75 |  |  | Plaster on brick | [9 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 | [19 empty] | Present | [18 empty] | Monitor
Corridors | [9 empty] | Floor Finish | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Standpipes | [8 empty] | Partitions | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [8 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
171 | A |  | 1st | [6 empty] | Unfinished | 20+ |  | 20 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  |  | Plaster | [17 empty] | Other (describe) | 60+ | 60 | Good | 0.75 |  |  | Plaster on brick | [18 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Poor | 0.25 |  |  |  | Wet Chemical | 0 | 7 | 3.5 | Good | 0.75 |  |  | Water | [7 empty] | Present | [17 empty] | Present | [7 empty] | Present
172 | B |  | Basement | [6 empty] | Other (describe) | 20+ |  | 20 | Fair | 0.5 |  |  | Concrete | Painted Walls | 41004 |  | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  | Water damage | [9 empty] | Other (describe) | 60+ | 60 | Good | 0.75 |  |  | Brick | [18 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 | [11 empty] | Wet Chemical | 41136 |  | 11.5 | Good | 0.75 |  |  | Water | [7 empty] | Present | [17 empty] | Present | [7 empty] | Present
173 | C |  | 2nd | [6 empty] | Other (describe) | 20+ |  | 20 | Good | 0.75 |  |  | Concrete | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | [12 empty] | Other (describe) | 60+ | 60 | Good | 0.75 |  |  | Plaster on brick | Wall Mounted Stainless Steel Drinking Fountains | 0 | 7 | 3.5 | Good | 0.75 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 | [27 empty] | Present | [25 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [8 empty] | Stair Construction | [8 empty] | Wall Finish | [8 empty] | Ceiling Finish | [8 empty] | Tread Finish | [7 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
166 | A |  | Basement - 2nd | [6 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on brick | Reinforced Concrete | 30+ |  | 30 | Good | 0.75 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Fair | 0.5 |  |  | Water damage on top floor | Plaster | 30+ |  | 30 | Fair | 0.5 |  |  | Water damage | Other (describe) | 30+ | 30 | Good | 0.75 |  |  | Concrete | Other (describe) | 30+ |  | 30 | Good | 0.75 |  |  | Concrete | Metal/Metal Frame | 16 | 20 | 18 | Fair | 0.5 | [11 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Fair | 0.5 | [19 empty] | Present

## Master File (Systems)
systems | Question | Value1 |  | Average1 | systems | Question | Value1 |  | Average1
Systems | Seg ID | 1543 |  |  | InfoTech | Seg ID | 491
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1911 |  |  |  | Year Built | 1911
Domestic Water Heaters | Location | 107 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  |  | Description
| Age | 0 | 7 | 3.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Sanitary Drainage | Location |  |  |  | Main Dist. Facility (MDF) | Location | Above Ground Level Floor
| Description |  |  |  |  | Description | Un30 floor mount rack
| Age |  |  |  |  | Age | 41067 |  | 6.5
| Condition |  |  |  |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Building Support (other) Plumbing Systems | Location |  |  |  | MDF, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | N/a
Fuel Piping | Location | 107 |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | N/a
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location | 108
| Description |  |  |  |  | Description | Wall mount
| Age |  |  |  |  | Age | 41067 |  | 6.5
| Condition |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  |  | Description | Cast Iron Radiators
| Age |  |  |  |  | Age | 30+ |  | 30
| Condition |  |  |  |  | Condition | Poor |  | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Fired Boilers | Location | 107 |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas/Fired Boilers |  |  |  | Description | Window Mounted
| Age | 60+ |  | 60 |  | Age | 0 | 7 | 3.5
| Condition | Very Poor |  | 0.1 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location | Un8
| Description |  |  |  |  | Description | Wall mount
| Age |  |  |  |  | Age | 41067 |  | 6.5
| Condition |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description | Cast Iron Radiators
| Age |  |  |  |  | Age | 30+ |  | 30
| Condition |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description | Window Mounted
| Age |  |  |  |  | Age | 41136 |  | 11.5
| Condition |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location |  |  |  | IDF #4, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location | 107 |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Two Pipe |  |  |  | Description
| Age | 60+ |  |  |  | Age
| Condition | Poor |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location | Attic |  |  | Inter. Data Facility (IDF #5) | Location
| Description | Insulated Sheet Metal Ducts |  |  |  | Description
| Age | 16/30 |  |  |  | Age
| Condition | Fair |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location | Attic |  |  | IDF #5, HVAC Terminal Units | Location
| Description | Indoor Air Handling Units (AHU) |  |  |  | Description
| Age | 21/30 |  |  |  | Age
| Condition | Fair |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity | 1 |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Fans | Location |  |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location | 110
| Description | Gas Engine Generators
| Age | 0 / 15
| Condition | Fair
CheckBox
Quantity
| Voltage | 120/208
| Power Output | 25kva
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | 104a
| Description | D5010 120
| Age | 31/45
| Condition | Fair
CheckBox
Quantity
| Voltage | 120/208
Power Output
Elec Power
Notes
Voice Communication Terminal Equipment | Location | 204
| Description | PDX/Key Systems
| Age | 0/10
| Condition | Good
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | Un8
| Description | Public Address and Mass Notification Systems
| Age | 0/10
| Condition | Fair
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | Lobby
| Description | Analog Video Recording Devices
| Age | 2012-11-20
| Condition | Fair
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | 108
| Description | Fire Alarm Annunciation Panels
| Age | 2012-11-20
| Condition | Fair
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
| Description | Condensate return package
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | 60, poor

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Value2 |  | Average2 | systems | Question | Value1 |  | Average1
Exterior | Seg ID | 1902 |  |  | 1912 |  |  | SiteElements | Seg ID | 428
| Bldg.Phase | A |  |  | B |  |  |  | Bldg.Phase | A
| Original | 1 |  |  | 1 |  |  |  | Original | 1
| Addition | 0 |  |  | 0 |  |  |  | Addition | 0
| Year Built | 1911 | [6 empty] | Year Built | 1911
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typ. | [5 empty] | Roadways | Location | S/3
| Description | Brick, Solid (Mass) | [6 empty] | Description | Concrete
| Age | 60+ |  | 60 |  |  |  |  | Age | 30+ |  | 30
| Condition | Poor |  | 0.25 |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Leaking | [6 empty] | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location | [6 empty] | Parking Lots | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Standard Slabs On Grade, Primary | Location | Typ. | [5 empty] | Pedestrian Plazas and Walkways, Primary | Location | S/5
| Description | Concrete, Cast/In/Place | [6 empty] | Description | Concrete, CIP
| Age | 60+ |  | 60 |  |  |  |  | Age | 30+ |  | 30
| Condition | Poor |  | 0.25 |  |  |  |  | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Standard Slabs On Grade, Secondary | Location | [6 empty] | Pedestrian Plazas and Walkways, Secondary | Location | EXT B
| Description | [7 empty] | Description | Asphalt (Bituminous)
| Age | [7 empty] | Age | 30+ |  | 30
| Condition | [7 empty] | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Floor Construction, Primary | Location | Typ. |  |  | Typ. |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, CIP Beams and Slab |  |  | Wood, Beams and Joists |  |  |  | Description
| Age | 60+ |  | 60 | 16 | 30 | 23 |  | Age
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | Clay tile infill | [6 empty] | Notes
Floor Construction, Secondary | Location | [6 empty] | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Roof Construction, Structural Frame, Primary | Location | Typ. |  |  | Typ. |  |  | Site Lighting, Primary | Location | Typ.
| Description | Wood, Beams and Joists |  |  | Wood, Beams and Joists |  |  |  | Description | Pole Mounted H.I.D.
| Age | 60+ |  | 60 | 16 | 30 | 23 |  | Age | 41136 |  | 11.5
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Roof Construction, Structural Frame, Secondary | Location | [6 empty] | Site Lighting, Secondary | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Walls / Exterior Assembly, Primary | Location | Tro. |  |  | Typ. |  |  | Playground Surface | Location | S/1
| Description | Brick, Solid (Mass) |  |  | Other (describe) |  |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 |  |  |  |  | Age | 16 | 21 | 18.5
| Condition | Fair |  | 0.5 |  |  |  |  | Condition | Good |  | 0.75
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes |  |  |  | Wood stud w/ plywood siding |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location | [6 empty] | Playground Equipment | Location
| Description | [7 empty] | Description
| Age | [7 empty] | Age
| Condition | [7 empty] | Condition
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes | [7 empty] | Notes
Exterior Windows, Primary | Location | Typ. |  |  | Typ. |  |  | TCUs | Location
| Description | Aluminum, Double Hung |  |  | Other (describe) |  |  |  | Description | Other (describe)
| Age | 30+ |  | 30 | 30+ |  | 30 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 | Fair |  | 0.5 |  | Condition | Fair |  | 0.5
| CheckBox | [7 empty] | CheckBox
| Quantity | [7 empty] | Quantity
| Voltage | [7 empty] | Voltage
| Power Output | [7 empty] | Power Output
| Elec Power | [7 empty] | Elec Power
| Notes |  |  |  | Slider |  |  |  | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated) |  |  | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox |  |  |  | Screens, Insect / Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | Typ. |  |  | Typ.
| Description | Fiber Reinforced Panel (FRP) |  |  | Steel (Hollow)
| Age | 0 | 15 | 7.5 | 16 | 30 | 23
| Condition | Good |  | 0.75 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | Typ. |  |  | Typ.
| Description | Other (describe) |  |  | Membrane, Singly Ply
| Age | 30+ |  | 30 | 22 | 30 | 26
| Condition | Good |  | 0.75 | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Slate
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | Typ.
| Description | Copper
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | Typ.
| Description | Aluminum
| Age | 41136 |  | 11.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes