## FCI Summary
Building Name: | Ridge Street ECC | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 14128
Number of Floors: | B + 1
School Age (years): | 88
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 34.24%
Facility Condition = | FAIR
FCI Deficiency Cost = | 997784.4344
FCI Replacement Cost = | 2913900
CAPACITY UTILIZATION
Recent 2011/12 Enrollment = | IN RIDGE
Historic 2005 LRFP Capacity = | 189
Adjusted 2012 Capacity = | IN RIDGE
Recent Occupancy % = | NA
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 64.43%
Classroom Adequacy = | VERY POOR
Special Spaces Adequacy % Score = | 12.51%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Ridge Street ECC | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 14128
Largest Floor Level Area: |  | 11229
Vertical FAR Ratio: |  | 1.2582
School Age (years): |  | 88
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 3.5% | 7.2188 | 14128 | 101986.5 | 100 | 88 | 12 | 0.5 | 50 | 62 | 63231.63 | 38754.87 | 38%
|  |  | A1030 - SLAB ON GRADE | 3.8% | 7.8375 | 14128 | 110728.2 | 100 | 88 | 12 | 0.75 | 75 | 87 | 96333.534 | 14394.666 | 13%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 14128 | 64105.8 | 100 | 88 | 12 | 0.5 | 50 | 62 | 39745.596 | 24360.204 | 38%
|  |  | SUBTOTAL SUBSTRUCTURE | 9.5% | 19.5938 | 14128 | 276820.5
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 14128 | 320529 | 100 | 88 | 12 | 0.75 | 75 | 87 | 278860.23 | 41668.77 | 13%
|  |  | B1020 - ROOF CONSTRUCTION | 4.4% | 9.075 | 14128 | 128211.6 | 100 | 88 | 12 | 0.1 | 10 | 22 | 28206.552 | 100005.048 | 78%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 5.8% | 11.9625 | 14128 | 169006.2 | 100 | 88 | 12 | 0.36071 | 36.0714 | 48.0714 | 81243.6947 | 87762.5053 | 51.93%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 3.3% | 6.8063 | 14128 | 96158.7 | 30 | 9.5 | 20.5 | 0.625 | 18.75 | 30 | 96158.7 | 0 | 0%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 4% | 8.25 | 14128 | 116556 | 30 | 30 | 0 | 0.625 | 18.75 | 18.75 | 72847.5 | 43708.5 | 37.5%
|  |  | SUBTOTAL SHELL | 28.5% | 58.7812 | 14128 | 830461.5
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 14128 | 116556 | 60 | 53.8235 | 6.1765 | 0.55882 | 33.5294 | 39.7059 | 77132.6471 | 39423.3529 | 33.82%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 14128 | 43708.5 | 20 | 16.1944 | 3.8056 | 0.71111 | 14.2222 | 18.0278 | 39398.3563 | 4310.1437 | 9.861%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 14128 | 116556 | 20 | 30 | 0 | 0.25 | 5 | 5 | 29139 | 87417 | 75%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 14128 | 43708.5 | 30 | 88 | 0 | 0.5 | 5 | 5 | 7284.75 | 36423.75 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 2.5% | 5.1562 | 14128 | 72847.5 | 10 | 10.1842 | 0 | 0.51316 | 5 | 5 | 36423.75 | 36423.75 | 50%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 14128 | 174834 | 20 | 16.8947 | 3.1053 | 0.47368 | 9.4737 | 12.5789 | 109961.3842 | 64872.6158 | 37.11%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 14128 | 174834 | 30 | 30 | 0 | 0.48529 | 14.5588 | 14.5588 | 84845.9118 | 89988.0882 | 51.47%
|  |  | SUBTOTAL INTERIORS | 25.5% | 52.5938 | 14128 | 743044.5
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.5% | 1.0312 | 14128 | 14569.5 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 14569.5 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 14128 | 43708.5 | 60 | 38.0611 | 21.9389 | 0.52 | 31.2 | 53.1389 | 38710.3521 | 4998.1479 | 11.44%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 14128 | 37880.7 | 60 | 3.5 | 56.5 | 0.5 | 30 | 60 | 37880.7 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 14128 | 34966.8 | 60 | 60 | 0 | 0.5 | 30 | 30 | 17483.4 | 17483.4 | 50%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 14128 | 14569.5 | 30 | 60 | 0 | 0.5 | 5 | 5 | 2428.25 | 12141.25 | 83.33%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 14128 | 78675.3 | 60 | 60 | 0 | 0.25 | 15 | 15 | 19668.825 | 59006.475 | 75%
|  |  | D3020 - BOILERS | 2% | 4.125 | 14128 | 58278 | 60 | 7.5 | 52.5 | 0.5 | 30 | 60 | 58278 | 0 | 0%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 14128 | 116556 | 40 | 33.5 | 6.5 | 0.45 | 18 | 24.5 | 71390.55 | 45165.45 | 38.75%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 14128 | 116556 | 40 | 18.6477 | 21.3523 | 0.3 | 12 | 33.3523 | 97185.1875 | 19370.8125 | 16.62%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 14128 | 58278 | 40 | 19 | 21 | 0.25 | 10 | 31 | 45165.45 | 13112.55 | 22.5%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 14128 | 43708.5 | 20 | 88 | 0 | 0.1 | 5 | 5 | 10927.125 | 32781.375 | 75%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 14128 | 29139 | 20 | 0 | 20 | 0 | 0 | 20 | 29139 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 14128 | 5827.8 | 20 | 11.5 | 8.5 | 0.5 | 10 | 18.5 | 5390.715 | 437.085 | 7.5%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 14128 | 37880.7 | 60 | 60 | 0 | 0.5 | 30 | 30 | 18940.35 | 18940.35 | 50%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 14128 | 203973 | 30 | 12.7333 | 17.2667 | 0.66667 | 20 | 30 | 203973 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 14128 | 87417 | 20 | 10.4 | 9.6 | 0.65 | 13 | 20 | 87417 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 14128 | 8741.7 | 20 | 24.65 | 0 | 0.36667 | 5 | 5 | 2185.425 | 6556.275 | 75%
|  |  | SUBTOTAL SERVICES | 34% | 70.125 | 14128 | 990726
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 14128
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 14128
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 14128
|  |  | E1090 - OTHER EQUIPMENT |  |  | 14128
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 14128
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 14128
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 14128
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 14128
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 14128
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 14128 | 29139 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 7284.75 | 21854.25 | 75%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 14128 | 14569.5 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 3642.375 | 10927.125 | 75%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 14128 | 14569.5 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 3642.375 | 10927.125 | 75%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 14128 | 14569.5 | 30 | 0 | 30 | 0 | 0 | 30 | 14569.5 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 14128 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 14128
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 14128 | 2913900 | [7 empty] | 997784.4344 | 34.24%
100%
Note on J41: Weston, Ronald: No Sprinklers

## Master File (Interior)
Ridge Street ECC
School Code:
NPS Code:
Street: | 13 Arlington Ave.
City/Town: | Newark,
Database ID: | 57
Total size (gsf):
ROOM INFORMATION | [11 empty] | 53.2857 | Ave Condition | 0.47143 | [5 empty] | 16.8947 | Ave Condition | 0.47368 | [5 empty] | 10.1842 | Ave Condition | 0.51316 | [5 empty] | 30 | Ave Condition | 0.48529 | [6 empty] | 16.1944 | Ave Condition | 0.71111 | [6 empty] | 53.8235 | Ave Condition | 0.55882 | [5 empty] | 27.5556 | Ave Condition | 0.5 | [5 empty] | 20.75 | Ave Condition | 0.58333 | [6 empty] | 24 | Ave Condition | 0.6 | [5 empty] | Average Age | 30 | Ave Condition | 0.66667 | [5 empty] | 88 | Ave Condition | 0.25 | [6 empty] | 30 | Ave Condition | 0.25 | [5 empty] | 12.7333 | Ave Condition | 0.66667 | [5 empty] | 26.3 | Ave Condition | 0.48333 | [5 empty] | 16.5455 | Ave Condition | 0.35 | [5 empty] | 20.75 | Ave Condition | 0.25 | [5 empty] | 11.5 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 10 | Ave Condition | 0.5 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [7 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Interior Door | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [7 empty] | Plumbing Fixtures - Toilets | [7 empty] | Plumbing Fixtures - Urinals | [8 empty] | Plumbing Fixtures - Showers | [8 empty] | Plumbing Fixtures - Drinking Fountains | [7 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [7 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
10476 | UN-1 | Boiler Room | Basement | A | Support |  |  | 929 | 9' 0" | [8 empty] | Unfinished | [15 empty] | Specialty Ceilings (describe)
10477 | UN-2 | Storage | Basement | A | Support |  |  | 33 | 9' 0" | [8 empty] | Unfinished | [15 empty] | Plaster
10478 | UN-3 | N/A | Basement | A | Support |  |  | 132 | N/A
10479 | UN-4 | Storage | Basement | A | Support |  |  | 624 | 9' 0" | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  |  | Other (describe) | 20+ | 20 | Poor | 0.25 |  |  | Painted concrete | Unfinished Walls | 10+ | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 |  |  | Clay tiles | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 | [63 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Poor | 0.25 | [34 empty] | Present
10480 | UN-5 | Storage | Basement | A | Support |  |  | 18 | 9' 0" | [8 empty] | Unfinished | [15 empty] | Plaster
10481 | UN-6 | Custodial Office | Basement | A | Support |  |  | 262 | 9' 0" | [8 empty] | Other (describe) | 20+ | 20 | Poor | 0.25 |  |  | Painted concrete | Painted Walls | 10+ | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 |  |  | Clay tile | Metal/Metal Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | [51 empty] | Fluorescent Linear Surface Mount Fixture | 30+ | 30 | Poor | 0.25 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [34 empty] | Present - Present
10482 | UN-7 | Storage | Basement | A | Support |  |  | 55 | 9' 0" | [8 empty] | Unfinished | [15 empty] | Plaster
10483 | UN-8 | Storage | Basement | A | Support |  |  | 161 | 9' 0" | [8 empty] | Unfinished | [15 empty] | Plaster
10484 | UN-9 | Water Closet | Basement | A | Support |  |  | 51 | 9' 0" | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  |  | Other (describe) | 20+ | 20 | Poor | 0.25 |  |  | Painted concrete | Painted Walls | 10+ | 10 | Poor | 0.25 |  |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 |  |  | Clay tile | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Wood | Wall-Mounted Lavatories | 30+ | 30 | Poor | 0.25 | 1 |  |  | Floor Mounted Flush Valve | 30+ | 30 | Poor | 0.25 | 3 | [8 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [34 empty] | Present - Present - Present
10485 | 1 | 1st Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 475 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
10486 | 2 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 720 | 12' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Poor | 0.25 | 0 |  |  | Vinyl Composition Tile (VCT) | 41228 | 13 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 | 4.5 | Good | 0.75 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 41136 | 11.5 | Poor | 0.25 | 0 | [25 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 |  | Desktops | [70 empty] | Present - Present
10487 | 3 | 1st Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 640 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
10488 | 4 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 680 | 12' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Poor | 0.25 | 0 |  | Damage and mold near exterior window | Vinyl Composition Tile (VCT) | 41228 | 13 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 | 4.5 | Good | 0.75 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 41136 | 11.5 | Poor | 0.25 | 0 | [25 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 |  | Desktops | [70 empty] | Present - Present - Present
10489 | 5 | Kindergarten Classroom | 1st Floor | A | Kindergarten Classroom |  |  | 686 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
10490 | 6 | 1st Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 341 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
10491 | 7 | 1st Grade Classroom | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 627 | 12' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Very Poor | 0.1 | 0 |  |  | Vinyl Composition Tile (VCT) | 41228 | 13 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 | 4.5 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 20+ |  | 20 | Good | 0.75 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 41136 | 11.5 | Poor | 0.25 | 0 | [25 empty] | Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 3 |  | Desktops | [70 empty] | Present - Present - Present - Present
10492 | 8 | Resource Room | 1st Floor | A | Small Group Instruction |  |  | 193 | 12' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Wood | 20+ | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Poor | 0.25 |  |  |  | Wood/Metal Frame | 0 | 5 | 2.5 | Very Good | 0.9 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ | 30 | Fair | 0.5 | [46 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Ventilators | 41136 | 11.5 | Poor | 0.25 |  |  |  | Window Mounted | 41136 | 11.5 | Poor | 0.25 | [18 empty] | Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | [36 empty] | 2 |  | Desktops | [70 empty] | Present - Present - Present - Present - Present
10493 | 111 | Principal\'s Office | 1st Floor | A | Administration |  |  | 122 | 12' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Good | 0.75 |  |  |  | Vinyl Composition Tile (VCT) | 41228 | 13 | Good | 0.75 |  |  |  | Painted Walls | 10+ | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 0 | 5 | 2.5 | Very Good | 0.9 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ | 30 | Fair | 0.5 | [46 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Ventilators | 41136 | 11.5 | Poor | 0.25 | [26 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 pc | [106 empty] | Present
10494 | 113 | Office | 1st Floor | A | Administration |  |  | 122 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
10495 | UN-10 | Kitchen | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 472 | 12' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 41228 | 13 | Good | 0.75 |  |  |  | Ceramic Tile Walls | 10+ | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 0 | 5 | 2.5 | Very Good | 0.9 |  |  |  | Tile | 60+ |  | 60 | Fair | 0.5 |  |  |  | In-Counter Lavatories | 30+ | 30 | Fair | 0.5 | [46 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Fair | 0.5 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 |  |  |  | Other (describe) | 30+ | 30 | Poor | 0.25 |  |  | Exhaust fan, kitchen exhaust hood | Wet Chemical | 41136 | 11.5 | Fair | 0.5 |  |  | And C02 dry chemical | [7 empty] | Present - Present - Present - Present - Present - Present | [133 empty] | Present - Present - Present - Present - Present - Present | [26 empty] | Present | [8 empty] | Present
10496 | UN-11 | Storage | 1st Floor | A | Small Group Instruction |  |  | 17 | 12' 0" | [8 empty] | Wood | [15 empty] | Plaster
10497 | UN-12 | Water Closet | 1st Floor | A | Small Group Instruction |  |  | 17 | 12' 0" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [30 empty] | 1 | [7 empty] | 1 | [8 empty] | 0
10498 | UN-13 | Nurse's Office | 1st Floor | A | Health Services |  |  | 150 | 12' 0" | [8 empty] | Wood | [15 empty] | Plaster
10499 | UN-14 | Water Closet | 1st Floor | A | Health Services |  |  | 11 | 12' 0" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [30 empty] | 1 | [7 empty] | 1 | [8 empty] | 0
10500 | UN-15 | Storage | 1st Floor | A | Health Services |  |  | 9 | 12' 0" | [7 empty] | N/a | Wood | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41004 | 4.5 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Metal Frame | 0 | 5 | 2.5 | Very Good | 0.9 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 |  |  |  | Wall-Mounted Lavatories | 30+ | 30 | Fair | 0.5 | [46 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Unit Ventilators | 41136 | 11.5 | Good | 0.75 | [26 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 pc | [106 empty] | Present - Present - Present - Present - Present - Present - Present
10501 | UN-16 | Storage | 1st Floor | A | Health Services |  |  | 12 | 12' 0" | [8 empty] | Wood | [15 empty] | Plaster
10502 | UN-17 | Storage | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 13 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
10503 | UN-18 | Storage | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 21 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
10504 | UN-19 | Storage | 1st Floor | A | General Classroom (Grades 1-3) |  |  | 13 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
10505 | UN-20 | Main Office | 1st Floor | A | Administration |  |  | 133 | 12' 0" | [7 empty] | N/a | Vinyl Composition Tile (VCT) | 41228 | 13 | Good | 0.75 |  |  |  | Painted Walls | 10+ | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Metal Frame | 0 | 5 | 2.5 | Very Good | 0.9 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ | 30 | Fair | 0.5 | [46 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [34 empty] | Present - Present - Present - Present - Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1 pc | [106 empty] | Present - Present - Present - Present - Present - Present - Present
10506 | UN-21 | Storage | 1st Floor | A | Administration |  |  | 9 | 12' 0" | [8 empty] | Vinyl Composition Tile (VCT) | [15 empty] | Plaster
10507 | UN-22 | Water Closet | 1st Floor | A | Faculty Support |  |  | 14 | 12' 0" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [30 empty] | 1 | [7 empty] | 1 | [8 empty] | 0
10508 | UN-23 | Cafeteria | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 1769 | 16' 1" | Brick, Exposed/Unfinished | 60+ | 60 | Poor | 0.25 |  |  |  | Wood | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41004 | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Poor | 0.25 |  |  |  | Wood/Metal Frame | 0 | 5 | 2.5 | Good | 0.75 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | [51 empty] | HID Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 41136 | 11.5 | Good | 0.75 |  |  |  | Fin Tube Radiation | 30+ | 30 | Fair | 0.5 | [26 empty] | Present - Present - Present - Present - Present - Present - Present | [160 empty] | Present - Present
10509 | UN-24 | Storage | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 91 | N/A
10510 | UN-25 | Faculty Room | 1st Floor | A | Faculty Support |  |  | 128 | 12' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 | 0 |  |  | Wood | 20+ | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 41004 | 4.5 | Good | 0.75 | 0 |  |  | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 0 | 5 | 2.5 | Very Good | 0.9 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 30+ | 30 | Fair | 0.5 | [34 empty] | 0 | [8 empty] | 0 |  |  | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Unit Ventilators | 41136 | 11.5 | Good | 0.75 | 0 | [7 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 |  |  | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 | 0 | [8 empty] | 0 | [98 empty] | 0
10511 | UN-26 | Storage | 1st Floor | A | Faculty Support |  |  | 11 | 12' 0" | [8 empty] | Wood | [15 empty] | Plaster
10512 | UN-27 | Water Closet | 1st Floor | A | Faculty Support |  |  | 16 | 12' 0" | [5 empty] | 0 |  |  | Ceramic Tile | 20+ | 20 | Poor | 0.25 | 0 |  |  | Ceramic Tile Walls | 10+ | 10 | Fair | 0.5 | 0 |  | Wainscot | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Wood Frame | 20+ |  | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Good | 0.75 | 0 | [7 empty] | 1 |  |  | Floor Mounted Flush Valve | 30+ | 30 | Fair | 0.5 | 1 | [8 empty] | 0 | [16 empty] | 0 | [8 empty] | 0 |  |  | Fluorescent Linear Surface Mount Fixture | 41136 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 41136 | 11.5 | Poor | 0.25 | 0 |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 | 0 |  | Toilet exhaust grill | [5 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0
10513 | UN-28 | Custodial Closet | 1st Floor | A | Support |  |  | 5 | 12' 0" | [8 empty] | Unfinished | [15 empty] | Plaster
10514 | UN-29 | Boys' Water Closet | 1st Floor | A | Support |  |  | 126 | 12' 0" | [5 empty] | 0 |  |  | Ceramic Tile | 20+ | 20 | Fair | 0.5 | 0 |  |  | Ceramic Tile Walls | 10+ | 10 | Fair | 0.5 | 0 |  | Wainscot | Plaster | 30+ | 30 | Fair | 0.5 | 0 |  |  | Wood/Metal Frame | 0 | 5 | 2.5 | Very Good | 0.9 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 |  |  | Wall-Mounted Lavatories | 30+ | 30 | Fair | 0.5 | 2 |  |  | Floor Mounted Flush Valve | 30+ | 30 | Fair | 0.5 | 2 |  |  | Wall Hung | 16 | 21 | 18.5 | Good | 0.75 | 4 | [16 empty] | 0 |  |  | Solid Surface (Plastic) | 0 | 15 | 7.5 | Poor | 0.25 | 0 |  |  | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 | 0 |  |  | Panel Breaker Switching | 41136 | 11.5 | Fair | 0.5 | 0 |  |  | Fin Tube Radiation | 41136 | 11.5 | Good | 0.75 | 0 |  | Wall | [5 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [98 empty] | 0
10515 | UN-30 | Pantry | 1st Floor | A | Support |  |  | 117 | N/A
10516 | UN-31 | Storage | 1st Floor | A | Support |  |  | 11 | 12' 0" | [8 empty] | Unfinished | [15 empty] | Plaster
10517 | UN-32 | Storage | 1st Floor | A | Support |  |  | 10 | 12' 0" | [8 empty] | Unfinished | [15 empty] | Plaster
10518 | UN-33 | Girls' Water Closet | 1st Floor | A | Support |  |  | 177 | 11' 10" | [8 empty] | Ceramic Tile | [15 empty] | Plaster | [30 empty] | 2 | [7 empty] | 4 | [8 empty] | 0
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [7 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Standpipes | [8 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
36 | A | building phase a | 1st | [6 empty] | Other (describe) | 60+ | 60 | Good | 0.75 |  |  | plaster on brick | Ceramic Tile | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41067 | 6.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 | [12 empty] | Other (describe) | 60+ |  | 60 | Good | 0.75 | [11 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Unit Vent. AND Radiators | 30+ |  | 30 | Good | 0.75 | [18 empty] | Present
Corridors | [9 empty] | Floor Finish | [7 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Standpipes | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [7 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
117 | A | building phase a | 1st | [6 empty] | Other (describe) | 41228 | 13 | Fair | 0.5 |  |  | painted | Painted Walls | 41067 | 6.5 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 | [11 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | plaster on clay tile | [17 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Other (describe) | 41136 | 30 | Poor | 0.25 |  |  | water based | [7 empty] | Present | [15 empty] | Present
118 | B | building phase a | 1st | [6 empty] | Other (describe) | 41228 | 13 | Fair | 0.5 |  |  | painted | Painted Walls | 41067 | 6.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 | [11 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | plaster on clay tile; isolated water damage | Wall Mounted Electric Water Coolers | 0 | 7 | 3.5 | Good | 0.75 | [11 empty] | Fluorescent Linear Pendant Mount Fixture | 41136 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ |  | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ |  | 30 | Good | 0.75 |  |  |  | Other (describe) | 41136 | 30 | Poor | 0.25 | [10 empty] | Present | water based
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Stair Construction | [7 empty] | Wall Finish | [7 empty] | Ceiling Finish | [7 empty] | Tread Finish | [8 empty] | Landing Finish | [8 empty] | Interior Door | [7 empty] | Standpipes | [7 empty] | Lighting Fixtures | [8 empty] | Lighting Controls | [8 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [7 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
113 | A | building phase a | basement-1st | [6 empty] | Brick, Exposed/Unfinished | 60+ | 60 | Good | 0.75 |  |  | painted | Reinforced Concrete | 30+ | 30 | Good | 0.75 |  |  |  | Painted Walls | 10+ | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Other (describe) | 41136 |  | 11.5 | Fair | 0.5 |  |  | paint | Other (describe) | 41136 |  | 11.5 | Fair | 0.5 |  |  | paint | Metal/Metal Frame | 41070 | 8 | Good | 0.75 | [11 empty] | Fluorescent Linear Surface Mount Fixture | 41136 |  | 11.5 | Good | 0.75 |  |  |  | Keyed Wall Switches | 30+ |  | 30 | Fair | 0.5 | [26 empty] | Present

## Master File (Systems)
systems | Question | Value1 |  | Average1 | systems | Question | Value1 | Average1
Systems | Seg ID | 883 |  |  | InfoTech | Seg ID | 349
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1924 |  |  |  | Year Built | 1924
Domestic Water Heaters | Location |  |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Fuel/Fired Water Heater |  |  |  | Description
| Age | 0 | 7 | 3.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Sanitary Drainage | Location |  |  |  | Main Dist. Facility (MDF) | Location
| Description | Sanitary Sewers |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Building Support (other) Plumbing Systems | Location | Roof |  |  | MDF, HVAC Terminal Units | Location
| Description | Stormwater Area Drains |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Piping | Location |  |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location | Boiler room
| Description |  |  |  |  | Description | Wall mounted
| Age |  |  |  |  | Age | 41067 | 6.5
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox | Secure
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | Not labeled
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Fired Boilers | Location | Boiler room |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Other (describe) |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | 1 Steam boiler and Condensate return package |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  | 88 |  | Age
| Condition |  |  | 0.1 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location |  |  |  | IDF #4, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location |  |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Single/Pipe |  |  |  | Description
| Age | 0 | 15 | 7.5 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location |  |  |  | Inter. Data Facility (IDF #5) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location |  |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Fans | Location | Roof |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description | Other (describe) |  |  |  | Description
| Age | 0 | 10 | 5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Exhaust fan |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  | 88 |  | Age
| Condition |  |  | 0.1 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location
| Description | Gas Engine Generators
| Age | 16 | 30 | 23
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
| Power Output | 24kva
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | Electrical room 003
| Description | D5010 120
| Age | 60+ |  | 60
| Condition | Fair |  | 0.5
CheckBox
Quantity
| Voltage | 208v
| Power Output | 2000amps
Elec Power
Notes
Voice Communication Terminal Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location | Main office
| Description | Public Address and Mass Notification Systems
| Age | 21 | 30 | 25.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | Entry lobby
| Description | Digital Video Recorders
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location
| Description | Fire Alarm Annunciation Panels
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
| Age |  |  | 18
| Condition |  |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Exterior | Question | Value1 | Average1
Exterior | Seg ID | 1106 |  |  | SiteElements | Seg ID | 273
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1924 |  |  |  | Year Built | 1924
(Foundation) Walls for Subgrade Enclosures, Primary | Location | typical |  |  | Roadways | Location
| Description | Brick, Solid (Mass) |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location |  |  |  | Parking Lots | Location | s/5
| Description |  |  |  |  | Description | Asphalt (Bituminous)
| Age |  |  |  |  | Age | 30+ | 30
| Condition |  |  |  |  | Condition | Poor | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Primary | Location | typical |  |  | Pedestrian Plazas and Walkways, Primary | Location | s/3
| Description | Concrete, Cast/In/Place |  |  |  | Description | Concrete, CIP
| Age | 60+ |  | 60 |  | Age | 30+ | 30
| Condition | Good |  | 0.75 |  | Condition | Poor | 0.25
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes | painted
Standard Slabs On Grade, Secondary | Location |  |  |  | Pedestrian Plazas and Walkways, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Primary | Location | typical |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, CIP Beams and Slab |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | clay tile infill |  |  |  | Notes
Floor Construction, Secondary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Primary | Location |  |  |  | Site Lighting, Primary | Location | s/5
| Description |  |  |  |  | Description | Pole Mounted H.I.D.
| Age |  |  |  |  | Age | 41136 | 11.5
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location |  |  |  | Site Lighting, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Primary | Location | typical |  |  | Playground Surface | Location
| Description | Brick, Solid (Mass) |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location |  |  |  | Playground Equipment | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary | Location | typical |  |  | TCUs | Location
| Description | Aluminum, Double Hung |  |  |  | Description
| Age | 41136 |  | 11.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Double Pane (Insulated)
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | typical
| Description | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | roof
| Description | Asphalt, Built Up
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | aluminum coating; ponding and soft spots
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | roof
| Description | Metal, Galvanized/Painted
| Age | 30+ |  | 30
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | scuppers
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes