## FCI Summary
Building Name: | Wilson ECC (Alyea Street) | 2012 LRFP CONDITION SUMMARY
Building Square Footage: | 6628
Number of Floors: | 3
School Age (years): | 112
FACILITY CONDITION
Facility Condition Index (FCI) Score = | 55.79%
Facility Condition = | VERY POOR
FCI Deficiency Cost = | 762708.4799
FCI Replacement Cost = | 1367025
CAPACITY UTILIZATION
Recent 2011/12 Enrollment = | NA
Historic 2005 LRFP Capacity = | 83
Adjusted 2012 Capacity = | 67.5743
Recent Occupancy % = | NA
EDUCATION ADEQUECY
Classroom Adequacy % Score = | 44.69%
Classroom Adequacy = | VERY POOR
Special Spaces Adequacy % Score = | 23.47%
Special Spaces Adequacy = | VERY POOR

## Uniformat FCI
Building Name: |  | Wilson ECC (Alyea Street) | [13 empty] | FACILITY CONDITION INDEX (FCI) VALUE
Building Square Footage: |  | 6628
Largest Floor Level Area: |  | 2284
Vertical FAR Ratio: |  | 2.9019
School Age (years): |  | 112
Replacement Constr Cost/SF: |  | 275 | * Includes Sitework and Furnishings, Fixtures & Equipment
FCI Bldg Replace Cost/SF: |  | 206.25 | * Excludes Sitework and Furnishings, Fixtures & Equipment
UNIFORMAT FCI VALUE
|  |  |  | ELEMENT | 7 | QTY. | RPV | SL | AGE | BAL | CR | EL | RL | RSV | DEF | FCI
|  |  |  | % OF | COST | BLDG | VALUE | SERVICE | INSTALL | BALANCE | COND | EXTEND | REMAIN | RESID | DEFIC | %
| LEVEL 1 INFORMATION | LEVEL 2 INFORMATION | LEVEL 3 INFORMATION | TOTAL² | $ / S. F. | S. F. | $ | LIFE | LIFE | LIFE | RATING | LIFE | LIFE | VALUE | VALUE | SCORE
A | SUBSTRUCTURE | A10 - FOUNDATIONS | A1010 - STANDARD FOUNDATIONS | 2.7% | 5.5687 | 6628 | 36909.675 | 100 | 112 | 0 | 0.5 | 5 | 5 | 1845.4837 | 35064.1912 | 95%
|  |  | A1030 - SLAB ON GRADE | 2.65% | 5.4656 | 6628 | 36226.1625 | 100 | 112 | 0 | 0.5 | 5 | 5 | 1811.3081 | 34414.8544 | 95%
|  | A20 - BASEMENT CONSTRUCTION | A2020 - BASEMENT WALLS | 2.2% | 4.5375 | 6628 | 30074.55 | 100 | 112 | 0 | 0.5 | 5 | 5 | 1503.7275 | 28570.8225 | 95%
|  |  | SUBTOTAL SUBSTRUCTURE | 7.55% | 15.5719 | 6628 | 103210.3875
B | SHELL | B10 - SUPERSTRUCTURE | B1010 - FLOOR CONSTRUCTION | 11% | 22.6875 | 6628 | 150372.75 | 100 | 112 | 0 | 0.75 | 5 | 5 | 7518.6375 | 142854.1125 | 95%
|  |  | B1020 - ROOF CONSTRUCTION | 3.4% | 7.0125 | 6628 | 46478.85 | 100 | 112 | 0 | 0.5 | 5 | 5 | 2323.9425 | 44154.9075 | 95%
|  | B20 - EXTERIOR CLOSURE | B2010 - EXTERIOR WALLS | 7.7% | 15.8812 | 6628 | 105260.925 | 100 | 112 | 0 | 0.46094 | 5 | 5 | 5263.0463 | 99997.8788 | 95%
|  |  | B2020 - EXTERIOR WINDOWS & DOORS | 4.4% | 9.075 | 6628 | 60149.1 | 30 | 18.75 | 11.25 | 0.5 | 15 | 26.25 | 52630.4625 | 7518.6375 | 12.5%
|  | B30 - ROOFING | B3010 - ROOF COVERING & OPENINGS | 3% | 6.1875 | 6628 | 41010.75 | 30 | 30 | 0 | 0.5 | 15 | 15 | 20505.375 | 20505.375 | 50%
|  |  | SUBTOTAL SHELL | 29.5% | 60.8438 | 6628 | 403272.375
C | INTERIORS | C10 - INTERIOR CONSTRUCTION | C1010 - PARTITIONS | 4% | 8.25 | 6628 | 54681 | 60 | 52.7812 | 7.2188 | 0.5 | 30 | 37.2188 | 33919.3078 | 20761.6922 | 37.97%
|  |  | C1020 - INTERIOR DOORS | 1.5% | 3.0938 | 6628 | 20505.375 | 20 | 26 | 0 | 0.46667 | 5 | 5 | 5126.3438 | 15379.0312 | 75%
|  |  | C1030 - FITTINGS / SPECIALTIES | 4% | 8.25 | 6628 | 54681 | 20 | 26 | 0 | 0.25 | 5 | 5 | 13670.25 | 41010.75 | 75%
|  | C20 - STAIRCASES | C2010 - STAIR CONSTRUCTION | 1.5% | 3.0938 | 6628 | 20505.375 | 30 | 112 | 0 | 0.5 | 5 | 5 | 3417.5625 | 17087.8125 | 83.33%
|  | C30 - INTERIOR FINISHES | C3010 - WALL FINISHES | 3.2% | 6.6 | 6628 | 43744.8 | 10 | 10.8824 | 0 | 0.41176 | 5 | 5 | 21872.4 | 21872.4 | 50%
|  |  | C3020 - FLOOR FINISHES | 6% | 12.375 | 6628 | 82021.5 | 20 | 18.0588 | 1.9412 | 0.41176 | 8.2353 | 10.1765 | 41734.4691 | 40287.0309 | 49.12%
|  |  | C3030 - CEILING FINISHES | 6% | 12.375 | 6628 | 82021.5 | 30 | 26.3 | 3.7 | 0.53333 | 16 | 19.7 | 53860.785 | 28160.715 | 34.33%
|  |  | SUBTOTAL INTERIORS | 26.2% | 54.0375 | 6628 | 358160.55
D | SERVICES | D10 - CONVEYING SYSTEMS | D1010 - ELEVATORS & LIFTS | 0.75% | 1.5469 | 6628 | 10252.6875 | 60 | NONE | 0 | 0.1 | 0 | 0 | 0 | 10252.6875 | 100%
|  | D20 - PLUMBING | D2010 - PLUMBING FIXTURES | 1.5% | 3.0938 | 6628 | 20505.375 | 60 | 22.3333 | 37.6667 | 0.60833 | 36.5 | 60 | 20505.375 | 0 | 0%
|  |  | D2020 - DOMESTIC WATER DISTRIBUTION | 1.3% | 2.6812 | 6628 | 17771.325 | 60 | 11.5 | 48.5 | 0.75 | 45 | 60 | 17771.325 | 0 | 0%
|  |  | D2030 - SANITARY WASTE | 1.2% | 2.475 | 6628 | 16404.3 | 60 | 0 | 60 | 0 | 0 | 60 | 16404.3 | 0 | 0%
|  |  | D2040 - RAIN WATER DRAINAGE | 0.5% | 1.0312 | 6628 | 6835.125 | 30 | 0 | 30 | 0 | 0 | 30 | 6835.125 | 0 | 0%
|  | D30 - HVAC | D3010 - ENERGY SUPPLY | 2.7% | 5.5687 | 6628 | 36909.675 | 60 | 60 | 0 | 0.25 | 15 | 15 | 9227.4187 | 27682.2562 | 75%
|  |  | D3020 - BOILERS | 2% | 4.125 | 6628 | 27340.5 | 60 | 60 | 0 | 0.25 | 15 | 15 | 6835.125 | 20505.375 | 75%
|  |  | D3040 - DISTRIBUTION SYSTEMS | 4% | 8.25 | 6628 | 54681 | 40 | 60 | 0 | 0.25 | 5 | 5 | 6835.125 | 47845.875 | 87.5%
|  |  | D3050 - TERMINAL AND PACKAGE UNITS | 4% | 8.25 | 6628 | 54681 | 40 | 18.9286 | 21.0714 | 0.60714 | 24.2857 | 40 | 54681 | 0 | 0%
|  |  | D3060 - HVAC CONTROLS & INSTRUMENTATION | 2% | 4.125 | 6628 | 27340.5 | 40 | 53 | 0 | 0.1 | 5 | 5 | 3417.5625 | 23922.9375 | 87.5%
|  | D40 - FIRE PROTECTION | D4010 - FIRE PROTECTION SPRINKLER SYSTEM | 1.5% | 3.0938 | 6628 | 20505.375 | 20 | 112 | 0 | 0.1 | 5 | 5 | 5126.3438 | 15379.0312 | 75%
|  |  | D4020 - STAND-PIPE & HOSE SYSTEMS | 1% | 2.0625 | 6628 | 13670.25 | 20 | 0 | 20 | 0 | 0 | 20 | 13670.25 | 0 | 0%
|  |  | D4030 - FIRE PROTECTION SPECIALTIES | 0.2% | 0.4125 | 6628 | 2734.05 | 20 | 3.5 | 16.5 | 0.75 | 15 | 20 | 2734.05 | 0 | 0%
|  | D50 - ELECTRICAL | D5010 - ELECTRICAL SERVICE & DISTRIBUTION | 1.3% | 2.6812 | 6628 | 17771.325 | 60 | 7.5 | 52.5 | 0.75 | 45 | 60 | 17771.325 | 0 | 0%
|  |  | D5020 - LIGHTING & BRANCH WIRING | 7% | 14.4375 | 6628 | 95691.75 | 30 | 11.5 | 18.5 | 0.73077 | 21.9231 | 30 | 95691.75 | 0 | 0%
|  |  | D5030 - COMMUNICATION & SECURITY | 3% | 6.1875 | 6628 | 41010.75 | 20 | 5.1389 | 14.8611 | 0.72222 | 14.4444 | 20 | 41010.75 | 0 | 0%
|  |  | D5090 - OTHER ELECTRICAL SYSTEMS | 0.3% | 0.61875 | 6628 | 4101.075 | 20 | 30 | 0 | 0.48077 | 5 | 5 | 1025.2687 | 3075.8062 | 75%
|  |  | SUBTOTAL SERVICES | 34.25% | 70.6406 | 6628 | 468206.0625
E | EQUIPMENT & FURNISHINGS | E10 - EQUIPMENT | E1010 - COMMERCIAL EQUIPMENT |  |  | 6628
|  |  | E1020 - INSTITUTIONAL EQUIPMENT |  |  | 6628
|  |  | E1030 - VEHICULAR EQUIPMENT |  |  | 6628
|  |  | E1090 - OTHER EQUIPMENT |  |  | 6628
|  | E20 - FURNISHINGS | E2010 - FIXED FURNISHINGS |  |  | 6628
|  |  | E2020 - MOVABLE FURNISHINGS |  |  | 6628
|  |  | SUBTOTAL EQUIPMENT & FURNISHINGS | 0% |  | 6628
F | SPECIAL CONSTRUCTION | F10 - SPECIAL CONSTRUCTION | F1010 - SPECIAL STRUCTURES |  |  | 6628
|  |  | SUBTOTAL SPECIAL CONST. & DEMO | 0% |  | 6628
|  |  | G2020 - PARKING LOTS | 1% | 2.0625 | 6628 | 13670.25 | 30 | 30 | 0 | 0.25 | 7.5 | 7.5 | 3417.5625 | 10252.6875 | 75%
|  |  | G3030 - PEDESTRIAN PAVING | 0.5% | 1.0312 | 6628 | 6835.125 | 30 | 30 | 0 | 0.1 | 3 | 3 | 683.5125 | 6151.6125 | 90%
|  |  | G2040 - PLAYGROUND SURFACE | 0.5% | 1.0312 | 6628 | 6835.125 | 30 | 3.5 | 26.5 | 0.75 | 22.5 | 30 | 6835.125 | 0 | 0%
|  |  | G2040 - PLAYGROUND EQUIPMENT | 0.5% | 1.0312 | 6628 | 6835.125 | 30 | 0 | 30 | 0.1 | 3 | 30 | 6835.125 | 0 | 0%
|  |  | G2050 - LANDSCAPING | 0% | 0 | 6628 | 0
|  |  | SUBTOTAL BUILDING SITE WORK | 2.5% |  | 6628
|  |  | REPLACEMENT COST PER SF |  | 206.25 | 6628 | 1367025 | [7 empty] | 762708.4799 | 55.79%
100%
Note on J34: Tessier, Matthew: No Survey Data
Note on J35: Tessier, Matthew: No Survey Data
Note on J40: Tessier, Matthew: No Survey Data
Note on J41: Tessier, Matthew: No Sprinklers
Note on J42: Tessier, Matthew: No Survey Data
Note on J58: Tessier, Matthew: No Survey Data
Note on J61: Tessier, Matthew: No Survey Data

## Master File (Interior)
Wilson ECC (Alyea Street)
School Code:
NPS Code:
Street: | 13 Patterson St.
City/Town: | Newark, NJ 07105
Database ID: | 20
Total size (gsf): | 6628
ROOM INFORMATION | [11 empty] | 55 | Ave Condition | 0.42188 | [5 empty] | 18.0588 | Ave Condition | 0.41176 | [6 empty] | 10.8824 | Ave Condition | 0.41176 | [5 empty] | 26.3 | Ave Condition | 0.53333 | [5 empty] | 26 | Ave Condition | 0.46667 | [6 empty] | 52.7812 | Ave Condition | 0.5 | [6 empty] | 24.75 | Ave Condition | 0.5 | [5 empty] | 17.6667 | Ave Condition | 0.66667 | [5 empty] | 20.75 | Ave Condition | 0.625 | [5 empty] | 30 | Ave Condition | 0.5 | [6 empty] | 18.5 | Ave Condition | 0.75 | [6 empty] | 8.8333 | Ave Condition | 0.25 | [5 empty] | 11.5 | Ave Condition | 0.73077 | [5 empty] | 30 | Ave Condition | 0.48077 | [5 empty] | 30 | Ave Condition | 0.5 | [6 empty] | 7.8571 | Ave Condition | 0.71429 | [6 empty] | 3.5 | Ave Condition | 0.75 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | 5.4167 | Ave Condition | 0.66667 | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0! | [5 empty] | Average Age | #DIV/0! | Ave Condition | #DIV/0!
[10 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [7 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Interior Door | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Lavatories | [8 empty] | Plumbing Fixtures - Toilets | [7 empty] | Plumbing Fixtures - Urinals | [7 empty] | Plumbing Fixtures - Showers | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Toilet Partitions | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Package Terminal Air Conditioner | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [8 empty] | Wifi | [7 empty] | Ethernet | [8 empty] | CCTV | [8 empty] | Smartboard | [8 empty] | Projectors | [8 empty] | CPUs | [8 empty] | Fumehood | [8 empty] | Compressed Air | [8 empty] | Gas | [8 empty] | Eyewash Station | [8 empty] | Fixed Lab Stations | [8 empty] | Branch Wiring | [8 empty] | Comm/Security | [8 empty] | Voice Communication Terminal Equipment | [8 empty] | Fittings | [8 empty] | HVAC Controls/Instrumentation | [8 empty] | Warming Station | [8 empty] | Full Service Kitchen
RoomID | Number | Room Name | Level | Phase | Use | Length | Width | Area | Height | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes | Description | Age |  |  | Condition |  | Quantity | Checkbox | Notes
FORMULA BAR
12386 | AB | Storage/Electric | 1st Floor | A | Support |  |  | 81 | 8' 3" | [8 empty] | Wood | [16 empty] | Plaster
12387 | UN-1 | Art Storage | 1st Floor | A | Visual & Performing Arts |  |  | 72 | 8' 3" | [8 empty] | Wood | [16 empty] | Plaster
12388 | UN-2 | Boys\' Water Closet | 1st Floor | A | Support |  |  | 60 | N/A | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  |  | Ceramic Tile | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 41369 |  | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Plaster on masonry | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | 1 |  |  | Floor Mounted Flush Valve | 30+ | 30 | Fair | 0.5 | 2 | [7 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Poor | 0.25 |  |  |  | Fluorescent Linear Pendant Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [36 empty] | Present
12389 | UN-3 | Mechanical | 1st Floor | A | Support |  |  | 208 | 8' 11" | [8 empty] | Wood | [16 empty] | Plaster
12390 | UN-4 | Girls\' Water Closet | 1st Floor | A | Support |  |  | 105 | N/A | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  |  | Other (describe) | 20+ | 20 | Poor | 0.25 |  |  | Conc | Painted Walls | 41369 |  | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 2 |  |  | Floor Mounted Flush Valve | 30+ | 30 | Fair | 0.5 | 2 | [7 empty] | 0 | [19 empty] | Solid Surface (Plastic) | 0 | 15 | 7.5 | Poor | 0.25 |  |  |  | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Other (describe) | 30+ | 30 | Fair | 0.5 |  |  | Push button | [33 empty] | Present - Present
12391 | UN-5 | Kitchen | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 141 | 8' 5" | Other (describe) | 60+ | 60 | Poor | 0.25 |  |  |  | Other (describe) | 20+ | 20 | Poor | 0.25 |  |  | Concrete | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  |  | Stainless Steel Sinks | 22 | 30 | 26 | Good | 0.75 | [45 empty] | Fluorescent Pendant Mount Fixture | 41501 | 11.5 | Fair | 0.5 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | [28 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 10+ |  | 10 | Fair | 0.5 |  |  | 1CPU | [133 empty] | Present
12392 | UN-6 | Art | 1st Floor | A | Visual & Performing Arts |  |  | 255 | 8' 3" | Brick, Exposed/Unfinished | 60+ | 60 | Poor | 0.25 |  |  |  | Other (describe) | 20+ | 20 | Poor | 0.25 |  |  | Conc | Painted Walls | 41369 |  | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Drywall (Gypsum)/Metal Stud Framing | 16 | 30 | 23 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Fair | 0.5 | 1 | [44 empty] | Fluorescent Linear Pendant Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Poor | 0.25 | [36 empty] | Present - Present - Present
12393 | UN-7 | Cafeteria | 1st Floor | A | Food Service/Assembly (K-8) |  |  | 815 | 8' 5" | Brick, Exposed/Unfinished | 60+ | 60 | Fair | 0.5 |  |  | Water damages | Other (describe) | 20+ | 20 | Poor | 0.25 |  |  | Concrete | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 | [11 empty] | Other (describe) | 60+ |  | 60 | Fair | 0.5 |  |  | Brick | [51 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 22 | 30 | 26 | Fair | 0.5 |  |  | 2 units | Dry Chemical | 0 | 7 | 3.5 | Good | 0.75 | [10 empty] | Present - Present | [133 empty] | Present
12394 | A-1 | Kindergarten Classroom | 2nd Floor | A | Kindergarten Classroom |  |  | 308 | 11' 10" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Wood | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 | [19 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 41369 |  | 4.5 | Good | 0.75 | [36 empty] | 3
12395 | A-2 | Kindergarten Classroom | 2nd Floor | A | Kindergarten Classroom |  |  | 411 | 11' 10" | [8 empty] | Wood | [16 empty] | Plaster
12396 | A-3 | 1st Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 408 | 11' 10" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Poor | 0.25 | 0 |  |  | Wood | 20+ | 20 | Fair | 0.5 | 0 |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 | 0 |  |  | Plaster | 30+ | 30 | Poor | 0.25 | 0 |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 | 0 |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | 0 | [53 empty] | Fluorescent Linear Pendant Mount Fixture | 41501 | 11.5 | Good | 0.75 | 0 |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | 0 |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 | 0 |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 | 0 | [8 empty] | 0 | [8 empty] | 0 | [8 empty] | 0 | [7 empty] | 0 |  |  | Hardwired CAT 5/6 | 41369 |  | 4.5 | Good | 0.75 | 0 | [8 empty] | 0 | [26 empty] | 3 | [71 empty] | 0
12481 | A-4 | 1st Grade Classroom | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 398 | 11' 10" | [8 empty] | Wood | [16 empty] | Plaster
12482 | UN-8 | Multi-Purpose/Staff Only | 2nd Floor | A | Faculty Support |  |  | 87 | 10' 10" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41593 | 13 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Acoustical Panel | 41501 | 11.5 | Fair | 0.5 |  |  | Water stains | Wood/Wood Frame | 20+ | 20 | Good | 0.75 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Lay-In Fixture (Troffer) | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 | [19 empty] | Present - Present - Present | [18 empty] | Hardwired CAT 5/6 | 41369 |  | 4.5 | Good | 0.75 | [109 empty] | Present
12483 | UN-9 | Storage | 2nd Floor | A | General Classroom (Grades 1-3) |  |  | 4 | 11' 10" | [8 empty] | Wood | [16 empty] | Plaster
12484 | UN-10 | Storage | 2nd Floor | A | Kindergarten Classroom |  |  | 4 | 11' 10" | [8 empty] | Wood | [16 empty] | Plaster
12485 | UN-11 | N/A | 2nd Floor | A | N/A |  |  | 22 | N/A
12486 | UN-12 | N/A | 2nd Floor | A | Kindergarten Classroom |  |  | 15 | N/A
12487 | UN-13 | N/A | 2nd Floor | A | Kindergarten Classroom |  |  | 40 | N/A | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Acoustical Panel | 41501 | 11.5 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Lay-In Fixture (Troffer) | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [36 empty] | Present - Present
12488 | A-5 | Kindergarten Classroom | 3rd Floor | A | Kindergarten Classroom |  |  | 381 | 12' 0" | [8 empty] | Wood | [16 empty] | Plaster
12489 | A-6 | Kindergarten Classroom | 3rd Floor | A | Kindergarten Classroom |  |  | 411 | 12' 0" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Wood | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 0 | 3 | 1.5 | Good | 0.75 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 | [19 empty] | Present | [18 empty] | Hardwired CAT 5/6 | 41369 |  | 4.5 | Good | 0.75 | [36 empty] | 3
12490 | A-7 | 1st Grade Classroom | 3rd Floor | A | General Classroom (Grades 1-3) |  |  | 354 | 11' 11" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Poor | 0.25 |  |  |  | Wood | 20+ | 20 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Poor | 0.25 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Linear Pendant Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 0 | 7 | 3.5 | Good | 0.75 | [19 empty] | Present - Present | [18 empty] | Hardwired CAT 5/6 | 41369 |  | 4.5 | Fair | 0.5 | [36 empty] | 3
12491 | A-8 | Kindergarten Classroom | 3rd Floor | A | Kindergarten Classroom |  |  | 452 | N/A | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
12492 | UN-14 | Teachers\' Room | 3rd Floor | A | Faculty Support |  |  | 87 | 10' 10" | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 20+ | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Acoustical Panel | 41501 | 11.5 | Good | 0.75 |  |  |  | Wood/Wood Frame | 20+ | 20 | Fair | 0.5 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [54 empty] | Fluorescent Lay-In Fixture (Troffer) | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 |  |  |  | Cast Iron Radiators | 30+ | 30 | Fair | 0.5 |  |  |  | Window Mounted | 41501 |  | 11.5 | Good | 0.75 | [19 empty] | Present - Present - Present
12493 | UN-15 | Staff Water Closet | 3rd Floor | A | Faculty Support |  |  | 16 | 11' 0" | [8 empty] | Ceramic Tile | 20+ | 20 | Poor | 0.25 |  |  |  | Painted Walls | 10+ |  | 10 | Poor | 0.25 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Wood/Wood Frame | 20+ | 20 | Poor | 0.25 |  |  |  | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 |  |  |  | Wall-Mounted Lavatories | 30+ |  | 30 | Poor | 0.25 | 1 |  |  | Floor Mounted Flush Tank | 41501 | 11.5 | Good | 0.75 | 1 | [7 empty] | 0 | [28 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Toggle Wall Switches | 30+ | 30 | Fair | 0.5 | [36 empty] | Present - Present - Present - Present
12494 | UN-16 | Storage | 3rd Floor | A | Support |  |  | 49 | N/A
12495 | UN-17 | Storage | 3rd Floor | A | Support |  |  | 41 | 9' 2" | [8 empty] | Ceramic Tile | [16 empty] | Plaster
12496 | UN-18 | Storage | 3rd Floor | A | Support |  |  | 11 | 7' 10" | [8 empty] | Vinyl Composition Tile (VCT) | [16 empty] | Plaster
12497 | UN-18 | Storage | 3rd Floor | A | Support |  |  | 11 | 7' 10"
12498 | UN-18 | Storage | 3rd Floor | A | Support |  |  | 11 | 7' 10"
INTERIORs INFORMATION
Lobbys | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Floor Finish | [7 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Standpipes | [7 empty] | Partitions | [8 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
83 | A |  | 2nd | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Fair | 0.5 |  |  |  | Vinyl Composition Tile (VCT) | 41593 | 13 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Good | 0.75 | [11 empty] | Plaster/Wood Stud Framing | 60+ |  | 60 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Good | 0.75 | [35 empty] | Present
Corridors | [9 empty] | Floor Finish | [7 empty] | Wall Finish | [7 empty] | Ceiling Finish | [8 empty] | Standpipes | [7 empty] | Partitions | [7 empty] | Plumbing Fixtures - Drinking Fountains | [8 empty] | Lockers | [8 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [7 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [8 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
242 | A |  | 1st | [6 empty] | Unfinished | 20+ | 20 | Poor | 0.25 |  |  | Conc | Painted Walls | 41369 | 4.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Poor | 0.25 | [11 empty] | Other (describe) | 60+ | 60 | Fair | 0.5 |  |  | Brick | [18 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Good | 0.75 | [35 empty] | Present
243 | B | Original | 3rd | [6 empty] | Vinyl Composition Tile (VCT) | 20+ | 20 | Poor | 0.25 |  |  |  | Painted Walls | 41432 | 6.5 | Fair | 0.5 |  |  |  | Plaster | 30+ |  | 30 | Good | 0.75 | [11 empty] | Plaster/Wood Stud Framing | 60+ | 60 | Fair | 0.5 |  |  |  | Wall Mounted Stainless Steel Drinking Fountains | 30+ |  | 30 | Fair | 0.5 | [12 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 | [11 empty] | Wet Chemical | 16 | 21 | 18.5 | Good | 0.75 |  |  | Water | [7 empty] | Present
Stairs | [9 empty] | Exterior Walls - Interior Assembly | [7 empty] | Stair Construction | [7 empty] | Wall Finish | [8 empty] | Ceiling Finish | [7 empty] | Tread Finish | [7 empty] | Landing Finish | [8 empty] | Interior Door | [8 empty] | Standpipes | [7 empty] | Lighting Fixtures | [7 empty] | Lighting Controls | [7 empty] | HVAC Terminal Units | [8 empty] | Fire Extinguishing Systems | [8 empty] | Fire Detection and Alarm Systems | [7 empty] | Fire-Suppression (Sprinklers), Water-Based | [7 empty] | CCTV | [7 empty] | Voice Communication Terminal Equipment
Int ID | Index | Location | Level | Notes | [5 empty] | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes | Description | Age |  | #VALUE! | Condition | FALSE | Quantity | Checkbox | Notes
232 | A |  | 1st-3rd | [6 empty] | Plaster Partitions/on CMU Back-up Wall | 60+ | 60 | Good | 0.75 |  |  |  | Reinforced Concrete | 30+ | 30 | Fair | 0.5 |  |  |  | Painted Walls | 10+ |  | 10 | Fair | 0.5 |  |  |  | Plaster | 30+ | 30 | Fair | 0.5 |  |  |  | Exposed Concrete | 30+ | 30 | Fair | 0.5 |  |  |  | Vinyl/VCT | 41501 |  | 11.5 | Fair | 0.5 |  |  |  | Metal/Metal Frame | 0 | 5 | 2.5 | Good | 0.75 | [11 empty] | Fluorescent Linear Surface Mount Fixture | 41501 | 11.5 | Good | 0.75 |  |  |  | Panel Breaker Switching | 30+ | 30 | Fair | 0.5 | [12 empty] | Dry Chemical | 41501 |  | 11.5 | Good | 0.75 | [9 empty] | Present

## Master File (Systems)
Systems | Question | Value1 |  | Average1 | Systems | Question | Value1 | Average1
Systems | Seg ID | 2186 |  |  | InfoTech | Seg ID | 574
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1900 |  |  |  | Year Built | 1900
Domestic Water Heaters | Location | UN/03 |  |  | Entrance Facilities (Demarc or Cable Vault) | Location
| Description | Electric Water Heater |  |  |  | Description
| Age | 41501 |  | 11.5 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Sanitary Drainage | Location |  |  |  | Main Dist. Facility (MDF) | Location | Above Ground Level Floor
| Description |  |  |  |  | Description | UN/13
| Age |  |  |  |  | Age | 41369 | 4.5
| Condition |  |  |  |  | Condition | Good | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Building Support (other) Plumbing Systems | Location |  |  |  | MDF, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Piping | Location | UN/03 |  |  | MDF, Packaged Terminal Air Conditioner | Location
| Description | Gas Piping |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Pumps | Location |  |  |  | Inter. Data Facility (IDF #1) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Storage Tanks | Location |  |  |  | IDF #1, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fuel Fired Boilers | Location | UN/03 |  |  | IDF #1, Packaged Terminal Air Conditioner | Location
| Description | Gas/Fired Boilers |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Furnaces | Location |  |  |  | Inter. Data Facility (IDF #2) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Unit Ventilators | Location |  |  |  | IDF #2, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fan Coil Units | Location |  |  |  | IDF #2, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Water Chillers | Location |  |  |  | Inter. Data Facility (IDF #3) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Cooling Towers | Location |  |  |  | IDF #3, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Packaged Terminal Air Conditioner | Location |  |  |  | IDF #3, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Hydronic Piping System | Location |  |  |  | Inter. Data Facility (IDF #4) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Pumps | Location | UN/03 |  |  | IDF #4, HVAC Terminal Units | Location
| Description | Steam Condensate Pumps |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Steam Piping System | Location | UN/03 |  |  | IDF #4, Packaged Terminal Air Conditioner | Location
| Description | Single/Pipe |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Air Distribution | Location |  |  |  | Inter. Data Facility (IDF #5) | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Air Handling Units | Location |  |  |  | IDF #5, HVAC Terminal Units | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
HVAC Fans | Location |  |  |  | IDF #5, Packaged Terminal Air Conditioner | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Sprinklers), Water/Based | Location |  |  |  | Backbone Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Fire/Suppression (Standpipes), Water/Based | Location |  |  |  | Horizontal Cable Dist. | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Facility Power Generation, Packaged Generator Assemblies | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Facility Power Generation (Alternative Sources) | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Electrical Service & Distribution | Location | AB
| Description | D5010 120
| Age | 0 | 15 | 7.5
| Condition | Good |  | 0.75
CheckBox
Quantity
| Voltage | 120 volt
| Power Output | 20 amps
Elec Power
Notes
Voice Communication Terminal Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Distributed AV Communication (Paging) Systems | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Video Surveillance Systems | Location | 2nd floor lobby
| Description | Analog Video Recording Devices
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Fire Detection and Alarm Systems | Location | 2nd floor lobby
| Description | Fire Alarm Annunciation Panels
| Age | 0 | 10 | 5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Integrated Automation (BMS/EMS) Systems | Location
Description
| Age |  |  | 53
| Condition | V Poor |  | 0.1
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Other Equipment | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes

## Master File (Exterior)
Exterior | Question | Value1 |  | Average1 | Exterior | Question | Value1 |  | Average1
Exterior | Seg ID | 2666 |  |  | SiteElements | Seg ID | 600
| Bldg.Phase | A |  |  |  | Bldg.Phase | A
| Original | 1 |  |  |  | Original | 1
| Addition | 0 |  |  |  | Addition | 0
| Year Built | 1900 |  |  |  | Year Built | 1900
(Foundation) Walls for Subgrade Enclosures, Primary | Location | Typical |  |  | Roadways | Location
| Description | Brick, Solid (Mass) |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Fair |  | 0.5 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
(Foundation) Walls for Subgrade Enclosures, Secondary | Location |  |  |  | Parking Lots | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Primary | Location | Typical |  |  | Pedestrian Plazas and Walkways, Primary | Location | S/4
| Description | Concrete, Cast/In/Place |  |  |  | Description | Asphalt (Bituminous)
| Age | 60+ |  | 60 |  | Age | 30+ |  | 30
| Condition | Fair |  | 0.5 |  | Condition | Fair |  | 0.1
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Standard Slabs On Grade, Secondary | Location |  |  |  | Pedestrian Plazas and Walkways, Secondary | Location | S/1, S/2
| Description |  |  |  |  | Description | Concrete, CIP
| Age |  |  |  |  | Age | 30+ |  | 30
| Condition |  |  |  |  | Condition | Poor
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Floor Construction, Primary | Location | Typical |  |  | Athletic, Recreational, and Playfield Areas, Primary | Location
| Description | Concrete, CIP Beams and Slab |  |  |  | Description
| Age | 60+ |  | 60 |  | Age
| Condition | Good |  | 0.75 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Clay tile arch |  |  |  | Notes
Floor Construction, Secondary | Location |  |  |  | Athletic, Recreational, and Playfield Areas, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Primary | Location | Typical |  |  | Site Lighting, Primary | Location | Typical
| Description | Wood, Heavy Timber |  |  |  | Description | Pole Mounted H.I.D.
| Age | 60+ |  | 60 |  | Age | 41501 |  | 11.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Roof Construction, Structural Frame, Secondary | Location |  |  |  | Site Lighting, Secondary | Location
| Description |  |  |  |  | Description
| Age |  |  |  |  | Age
| Condition |  |  |  |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Walls / Exterior Assembly, Primary | Location | Typical |  |  | Playground Surface | Location | S/3
| Description | Brick, Solid (Mass) |  |  |  | Description | Rubberized
| Age | 60+ |  | 60 |  | Age | 0 | 7 | 3.5
| Condition | Fair |  | 0.5 |  | Condition | Good |  | 0.75
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes | Emergency stair rusted |  |  |  | Notes
Exterior Walls / Exterior Assembly, Secondary | Location |  |  |  | Playground Equipment | Location | S/3
| Description |  |  |  |  | Description | Multi/Component Play Equipment Set
| Age |  |  |  |  | Age | 0 | 7 | 3.5
| Condition |  |  |  |  | Condition | Good
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary | Location | Typical |  |  | TCUs | Location
| Description | Wood, Painted |  |  |  | Description
| Age | 30+ |  | 30 |  | Age
| Condition | Poor |  | 0.25 |  | Condition
| CheckBox |  |  |  |  | CheckBox
| Quantity |  |  |  |  | Quantity
| Voltage |  |  |  |  | Voltage
| Power Output |  |  |  |  | Power Output
| Elec Power |  |  |  |  | Elec Power
| Notes |  |  |  |  | Notes
Exterior Windows, Primary / Glazing | Location
| Description | Glass, Single Pane
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Primary / Accessories | Location
Description
Age
Condition
| CheckBox | Security Grilles
Quantity
Voltage
Power Output
Elec Power
| Notes | Security grilles at 1st floor
Exterior Windows, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Glazing | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Windows, Secondary / Accessories | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Primary | Location | Typical
| Description | Fiber Reinforced Panel (FRP)
| Age | 0 | 15 | 7.5
| Condition | Good |  | 0.75
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Exterior Doors, Secondary | Location | South east back doors
| Description | Wood
| Age | 60+ |  | 60
| Condition | Poor |  | 0.25
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Primary | Location | Typical
| Description | Asphalt Shingle
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roofing, Secondary | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Roof (Accessories) Supplementary Components / Flashing and Trim | Location | Typical
| Description | Metal, Galvanized/Painted
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
| Notes | Facets in poor condition
Roof (Accessories) Appurtenances / Rainwater Management (Gutters, Downspouts) | Location | Typical
| Description | Metal, Galvanized/Painted
| Age | 30+ |  | 30
| Condition | Fair |  | 0.5
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes
Lightning Protection | Location
Description
Age
Condition
CheckBox
Quantity
Voltage
Power Output
Elec Power
Notes